## Base Option
Roofing Contract
Attachment J-0200000-05
Exhibit Line Item Numbers
Solicitation/Contract No.: N40085-26-D-XXXX
ELIN Number | Supplies/Services | Est. Quantity | Unit |  | Unit Price | Total
ROOF DECKS
A0001 | Remove existing metal roof decks (ALL OR PARTIAL) and replace with new steel roof decking, shall include all closures and accessories. | 200 | SQ | X |  | 0
Remove existing wood roof deck and replace with new wood decking
A0002 | 1" nominal T & G (treated) | 1200 | BF | X |  | 0
A0003 | 2" nominal T & G (treated) | 1200 | BF | X |  | 0
A0004 | 3/4" plywood | 1200 | SF | X |  | 0
A0005 | 1/2" plywood | 1200 | SF | X |  | 0
ROOF INSULATION
Remove and replace rigid roof insulation in conjunction with roofing systems specified herein.
A0006 | Remove and replace polyisocyanurate tapered insulation panels | 120 | SQ | X |  | 0
A0007 | Remove and replace tapered roof insulation | 120 | SQ | X |  | 0
A0008 | Remove and replace vapor barrier in conjunction with built up roofing system | 120 | SQ | X |  | 0
A0009 | Remove and replace resin sized building paper (5 lb) | 15 | SQ | X |  | 0
A0010 | Remove existing cants and replace with new fiberboard cants 4 x 4 | 30 | LF | X |  | 0
A0011 | Remove existing cants and replace with new treated wood cants 4 x 4 | 90 | LF | X |  | 0
A0012 | Remove existing Nailers and replace with new treated 2" x 6" wood | 300 | BF | X |  | 0
SHINGLED ROOF SYSTEMS
Remove existing composition shingles and replace with new composition shingles, shall include starter
A0013 | Twenty Five Year (3 tab ) | 100 | SQ | X |  | 0
A0014 | Thirty Year (architectural) | 100 | SQ | X |  | 0
A0015 | Forty Year (architectural) | 100 | SQ | X |  | 0
A0016 | Remove and dispose of existing composition shingles (all types)(where new shingles are not going to be installed) | 18 | SQ | X |  | 0
A0017 | Remove and dispose of existing slate shingles. | 18 | SQ | X |  | 0
A0018 | Remove and re-install existing slate shingles (All or Partial) | 6 | SQ | X |  | 0
A0019 | Install new slate shingles (Weathering green, Vermont)(All or Partial) | 9 | SQ | X |  | 0
A0020 | Install new slate shingles (Buckingham)(All or Partial) | 9 | SQ | X |  | 0
Remove existing preformed metal (All or Partial) roofing and replace with new preformed metal roofing
A0021 | Coated steel | 20 | SQ | X |  | 0
A0022 | Coated aluminum | 20 | SQ | X |  | 0
ROOF COATING (ALUMINUM PIGMENTED FIBERED BITUMINOUS ROOF COATING)
A0023 | Coat roofing with aluminum pigmented slate shingles (All or Partial) slate shingles (All or Partial) fibered bitumen roof coating | 100 | SQ | X |  | 0
Field paint roof mounted equipment
A0024 | Up to 25 SF X in surface area X | 100 | SF | X |  | 0
A0025 | Over 25 SF X in surface area X | 100 | SF | X |  | 0
BUILT UP ROOF
Remove existing roof system and replace with new aggregate surfaced BU roofing system
A0026 | System GAA (Gravel) | 100 | SQ | X |  | 0
Remove existing roof system and replace with new smooth surfaced BU roofing system.
A0027 | System Gas | 100 | SQ | X |  | 0
Remove existing roof system and replace with new single ply reinforced modified bitumen sheet roofing system
A0028 | Torch Applied | 100 | SQ | X |  | 0
A0029 | Mop Applied | 100 | SQ | X |  | 0
A0030 | Remove existing base flashing and replace with new 2 ply glass felt base flashing | 150 | SF | X |  | 0
A0031 | Remove existing base flashing and replace with new 3-ply bituminous base flashing | 36 | SF | X |  | 0
A0032 | Remove existing base flashing and replace with new single ply reinforced modified, bitumen sheet roofing flashing modified. | 100 | SF | X |  | 0
A0033 | Remove and Dispose of Second layer | 100 | SQ | X |  | 0
A0034 | (1) Walkway/Asphalt Planks | 300 | SF | X |  | 0
ROOF AND PARAPET WALL DAMPROOFING
A0035 | Coat Existing BU Roof or Parapet Wall | 150 | SF | X |  | 0
E.P.D.M. (RUBBER ROOF SYSTEM) (Install new E.P.D.M. Roof System over Existing Built-up Roof)
A0036 | Ballasted System | 100 | SQ | X |  | 0
A0037 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0038 | Full Adhered System | 100 | SQ | X |  | 0
Remove existing roof system and replace with new E.P.D.M. roof system
A0039 | Ballasted System | 100 | SQ | X |  | 0
A0040 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0041 | Full Adhered System | 100 | SQ | X |  | 0
A0042 | Install new E.P.D.M. Wall/Curb Flashings | 100 | SF | X |  | 0
A0043 | Install Rubber Pipe Vents | 100 | EA | X |  | 0
A0044 | Install Termination Bars. Shall include caulking | 100 | LF | X |  | 0
A0045 | Install E.P.D.M Walk Pads | 100 | EA | X |  | 0
Remove existing roof system and replace with new Thermoplastic alloy roof system (TPA)
A0046 | Mechanically Fastened | 100 | SQ | X |  | 0
A0047 | Ballasted | 100 | SQ | X |  | 0
A0048 | Install new TPA wall/curb flashing | 100 | SF | X |  | 0
A0049 | Install new TPA pipe vent flashing | 100 | EA | X |  | 0
Remove existing metal base flashing and replace with new metal base flashing
A0050 | Copper | 100 | SF | X |  | 0
A0051 | Aluminum | 100 | SF | X |  | 0
A0052 | Aluminum/various colors | 100 | SF | X |  | 0
A0053 | Stainless Steel | 100 | SF | X |  | 0
Remove existing and install new metal coping. Shall include caulking.
A0054 | Copper | 100 | SF | X |  | 0
A0055 | Aluminum | 100 | SF | X |  | 0
A0056 | Aluminum/various colors | 100 | SF | X |  | 0
A0057 | Stainless Steel | 100 | SF | X |  | 0
Remove metal drip edge and replace with new metal drip edge
A0058 | Copper | 100 | LF | X |  | 0
A0059 | Aluminum | 100 | LF | X |  | 0
A0060 | Aluminum/various colors | 100 | LF | X |  | 0
A0061 | Stainless Steel | 100 | LF | X |  | 0
METAL GUTTERS AND DOWNSPOUTS
Install Metal Gutters
A0062 | Copper/5" ogee | 100 | LF | X |  | 0
A0063 | Copper/6" ogee | 100 | LF | X |  | 0
A0064 | Copper/6" half round | 100 | LF | X |  | 0
A0065 | Copper/6" box | 100 | LF | X |  | 0
A0066 | Copper/8" box | 100 | LF | X |  | 0
A0067 | Prefinished Alum/5" ogee | 100 | LF | X |  | 0
A0068 | Prefinished Alum/6" ogee | 100 | LF | X |  | 0
A0069 | Prefinished Alum/6" Box | 100 | LF | X |  | 0
A0070 | Prefinished Alum/8" Box | 100 | LF | X |  | 0
A0071 | Stainless steel/6" box | 100 | LF | X |  | 0
A0072 | Stainless steel/8" box | 100 | LF | X |  | 0
Install Metal Downspouts
A0073 | Copper 2" x 3" | 100 | LF | X |  | 0
A0074 | Copper 3" x 4" | 100 | LF | X |  | 0
A0075 | Copper/3" round | 100 | LF | X |  | 0
A0076 | Copper/4" round | 100 | LF | X |  | 0
A0077 | Copper/6" round | 100 | LF | X |  | 0
A0078 | Prefinished alum 2" x 3" | 100 | LF | X |  | 0
A0079 | Prefinished alum 3" x 4" | 100 | LF | X |  | 0
A0080 | Stainless Steel 3" x 4" | 100 | LF | X |  | 0
A0081 | Provide and place new concrete splash block | 100 | EA | X |  | 0
(standard commercial size)
Gutters, Downspouts and Drains
A0082 | Remove and dispose of existing gutters and/or downspouts | 200 | LF | X |  | 0
A0083 | Remove and reinstall existing gutters and/or downspouts. Reseal all joints | 200 | LF | X |  | 0
A0084 | Realign and resecure existing gutters and/or downspouts (Replace hangers, fasteners and straps) as needed. Reseal all joints. | 200 | LF | X |  | 0
A0085 | Resolder broken gutter joints | 20 | EA | X |  | 0
A0086 | Reseal, broken gutter joints | 20 | EA | X |  | 0
A0087 | Clean and clear gutters and dispose of all debris from site | 5000 | LF | X |  | 0
Remove existing metal open valley flashing and replace with new metal valley flashing
A0088 | Copper | 100 | SF | X |  | 0
A0089 | Aluminum | 100 | SF | X |  | 0
A0090 | Aluminum/various colors | 100 | SF | X |  | 0
A0091 | Stainless Steel | 100 | SF | X |  | 0
Remove existing metal flashing/miscellaneous
A0092 | Copper | 100 | SF | X |  | 0
A0093 | Aluminum | 100 | SF | X |  | 0
A0094 | Aluminum/various colors | 100 | SF | X |  | 0
A0095 | Stainless Steel | 100 | SF | X |  | 0
A0096 | Compatible w/EPDM & CPE | 100 | SF | X |  | 0
Remove existing pitch pocket and 'replace with new
A0097 | Copper | 100 | SF | X |  | 0
A0098 | Aluminum | 100 | SF | X |  | 0
A0099 | Stainless steel | 100 | SF | X |  | 0
DRAINS, STRAINERS, SCUPPERS, CONDUCTOR HEADS & SPLASH HEADS
A0100 | Clean and clear roof drains | 20 | EA | X |  | 0
Remove/Replace existing roof drain sumps
A0101 | 6-Pound Lead TPA EPDM roof drain Sumps | 20 | EA | X |  | 0
A0102 | TPA EPDM roof drain sumps (removal only) | 20 | EA | X |  | 0
Provide and install TPA EPDM roof 'drain sumps
A0103 | Provide down spout and roof drain cleaning. | 1500 | LF | X |  | 0
A0104 | Provide power washing The Contractor shall Power Wash roof surfaces and clear drain baskets. (Does not include gutter or down spout cleaning.) | 2000 | LF |  |  | 0
Strainers
A0105 | Metal Strainers | 20 | EA | X |  | 0
A0106 | PVC Strainers | 20 | EA | X |  | 0
A0107 | Metal Strainers | 300 | EA | X |  | 0
A0108 | PVC Strainers | 300 | EA | X |  | 0
Remove existing metal scupper lining and replace with new metal scupper lining
A0109 | Copper | 300 | EA | X |  | 0
A0110 | Stainless Steel | 300 | EA | X |  | 0
Remove existing metal conductor heads and replace with new metal conductor heads
A0111 | Copper | 100 | EA | X |  | 0
A0112 | Stainless Steel | 100 | EA | X |  | 0
Install new metal splash pans
A0113 | Copper | 100 | EA | X |  | 0
A0114 | Stainless Steel | 100 | EA | X |  | 0
Remove existing expansion joints and replace bituminous base flashing, metal counterflashing and metal joint cover
A0115 | Copper | 100 | SF | X |  | 0
A0116 | Aluminum | 100 | SF | X |  | 0
A0117 | Stainless Steel | 100 | SF | X |  | 0
A0118 | Remove existing pipe vent flashing and replace with new lead pipe vent flashing | 100 | EA | X |  | 0
A0119 | Remove existing metal vent collars and replace with new vent collars and accessories | 100 | EA | X |  | 0
A0120 | Install caulking | 110 | LF | X |  | 0
A0121 | Remove existing caulking and replace with new sealant/caulking | 100 | LF | X |  | 0
A0122 | Cut new Reglet In masonry | 100 | LF | X |  | 0
A0123 | Cut new Reglet In concrete | 100 | LF | X |  | 0
A0124 | Remove existing fascia and replace with new fascia board | 100 | BF | X |  | 0
A0125 | Prime and paint fascia board | 100 | SF | X |  | 0
A0126 | Cover existing fascia board with aluminum coil stock (various colors) ASBESTOS ABATEMENT/REMOVAL | 100 | SF | X |  | 0
A0127 | Min. costs incurred for asbestos abatement, for trailer (provide, set-up,& removal) | 100 | EA | X |  | 0
A0128 | Additional cost incurred for the removal and disposal of asbestos containing substances. Regular roofing only. | 2000 | SF | X |  | 0
A0129 | Additional cost incurred for the removal and disposal of asbestos containing substance. (Flashings, Pitch pockets, etc.) | 2000 | SF | X |  | 0
A0130 | Removal of lead based paint. 'Contractor removes loose paint from surface. The contractor furnishes container and the Government disposes. | 2000 | SF | X |  | 0
NON-PREPRICED LABOR, MATERIAL and COMMAND INTEREST WORK
A0131 | Provide all materials and equipment to perform Unit Priced Labor work per the scope and delivery schedule specified in the order. Material costs shall BE NEGOTIATED BY KO. | 1 | LS | X |  | 0
A0132 | Provide labor to perform all Unit Priced Labor work per the scope and delivery schedule specified in the order. MUST BE NEGOTIATED BY KO. | 2000 | HRS | X |  | 0
A0133 | Perform Service call. | 20 | EA | X |  | 0
The Contractor shall respond to service calls within 24 hours of service call request. The contractor shall make necessary repairs to roof or roof system. Service calls are limited to a combined labor and material cost not to exceed $2,500.00.
A0134 | Perform Roof Survey / Assessment up to 50,000 SF in accordance with Attachment B | 1000 | SF | X |  | 0
A0135 | Perform Roof Survey / Assessment over 50,000 SF and up to 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0136 | Perform Roof Survey / Assessment over 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0137 | Bldg. 1 NSAP Spring power washing, minor deficiency repairs, drain cleaning, and analysis report. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
A0138 | Bldg. 1 NSAP Fall drain cleaning, Roof analysis and minor repairs. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
| Total Price for BASE OPTION YEAR (IQ) Price Work Items - CLIN 0001 (Sum of Exhibit Line Items A0001- A0138) |  |  |  |  | 0

## Option 1
Roofing Contract
Attachment J-0200000-05
Exhibit Line Item Numbers
Solicitation/Contract No.: N40085-26-D-XXXX
ELIN Number | Supplies/Services | Est. Quantity | Unit |  | Unit Price | Total
ROOF DECKS
A0001 | Remove existing metal roof decks (ALL OR PARTIAL) and replace with new steel roof decking, shall include all closures and accessories. | 200 | SQ | X |  | 0
Remove existing wood roof deck and replace with new wood decking
A0002 | 1" nominal T & G (treated) | 1200 | BF | X |  | 0
A0003 | 2" nominal T & G (treated) | 1200 | BF | X |  | 0
A0004 | 3/4" plywood | 1200 | SF | X |  | 0
A0005 | 1/2" plywood | 1200 | SF | X |  | 0
ROOF INSULATION
Remove and replace rigid roof insulation in conjunction with roofing systems specified herein.
A0006 | Remove and replace polyisocyanurate tapered insulation panels | 120 | SQ | X |  | 0
A0007 | Remove and replace tapered roof insulation | 120 | SQ | X |  | 0
A0008 | Remove and replace vapor barrier in conjunction with built up roofing system | 120 | SQ | X |  | 0
A0009 | Remove and replace resin sized building paper (5 lb) | 15 | SQ | X |  | 0
A0010 | Remove existing cants and replace with new fiberboard cants 4 x 4 | 30 | LF | X |  | 0
A0011 | Remove existing cants and replace with new treated wood cants 4 x 4 | 90 | LF | X |  | 0
A0012 | Remove existing Nailers and replace with new treated 2" x 6" wood | 300 | BF | X |  | 0
SHINGLED ROOF SYSTEMS
Remove existing composition shingles and replace with new composition shingles, shall include starter
A0013 | Twenty Five Year (3 tab ) | 100 | SQ | X |  | 0
A0014 | Thirty Year (architectural) | 100 | SQ | X |  | 0
A0015 | Forty Year (architectural) | 100 | SQ | X |  | 0
A0016 | Remove and dispose of existing composition shingles (all types)(where new shingles are not going to be installed) | 18 | SQ | X |  | 0
A0017 | Remove and dispose of existing slate shingles. | 18 | SQ | X |  | 0
A0018 | Remove and re-install existing slate shingles (All or Partial) | 6 | SQ | X |  | 0
A0019 | Install new slate shingles (Weathering green, Vermont)(All or Partial) | 9 | SQ | X |  | 0
A0020 | Install new slate shingles (Buckingham)(All or Partial) | 9 | SQ | X |  | 0
Remove existing preformed metal (All or Partial) roofing and replace with new preformed metal roofing
A0021 | Coated steel | 20 | SQ | X |  | 0
A0022 | Coated aluminum | 20 | SQ | X |  | 0
ROOF COATING (ALUMINUM PIGMENTED FIBERED BITUMINOUS ROOF COATING)
A0023 | Coat roofing with aluminum pigmented slate shingles (All or Partial) slate shingles (All or Partial) fibered bitumen roof coating | 100 | SQ | X |  | 0
Field paint roof mounted equipment
A0024 | Up to 25 SF X in surface area X | 100 | SF | X |  | 0
A0025 | Over 25 SF X in surface area X | 100 | SF | X |  | 0
BUILT UP ROOF
Remove existing roof system and replace with new aggregate surfaced BU roofing system
A0026 | System GAA (Gravel) | 100 | SQ | X |  | 0
Remove existing roof system and replace with new smooth surfaced BU roofing system.
A0027 | System Gas | 100 | SQ | X |  | 0
Remove existing roof system and replace with new single ply reinforced modified bitumen sheet roofing system
A0028 | Torch Applied | 100 | SQ | X |  | 0
A0029 | Mop Applied | 100 | SQ | X |  | 0
A0030 | Remove existing base flashing and replace with new 2 ply glass felt base flashing | 150 | SF | X |  | 0
A0031 | Remove existing base flashing and replace with new 3-ply bituminous base flashing | 36 | SF | X |  | 0
A0032 | Remove existing base flashing and replace with new single ply reinforced modified, bitumen sheet roofing flashing modified. | 100 | SF | X |  | 0
A0033 | Remove and Dispose of Second layer | 100 | SQ | X |  | 0
A0034 | (1) Walkway/Asphalt Planks | 300 | SF | X |  | 0
ROOF AND PARAPET WALL DAMPROOFING
A0035 | Coat Existing BU Roof or Parapet Wall | 150 | SF | X |  | 0
E.P.D.M. (RUBBER ROOF SYSTEM) (Install new E.P.D.M. Roof System over Existing Built-up Roof)
A0036 | Ballasted System | 100 | SQ | X |  | 0
A0037 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0038 | Full Adhered System | 100 | SQ | X |  | 0
Remove existing roof system and replace with new E.P.D.M. roof system
A0039 | Ballasted System | 100 | SQ | X |  | 0
A0040 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0041 | Full Adhered System | 100 | SQ | X |  | 0
A0042 | Install new E.P.D.M. Wall/Curb Flashings | 100 | SF | X |  | 0
A0043 | Install Rubber Pipe Vents | 100 | EA | X |  | 0
A0044 | Install Termination Bars. Shall include caulking | 100 | LF | X |  | 0
A0045 | Install E.P.D.M Walk Pads | 100 | EA | X |  | 0
Remove existing roof system and replace with new Thermoplastic alloy roof system (TPA)
A0046 | Mechanically Fastened | 100 | SQ | X |  | 0
A0047 | Ballasted | 100 | SQ | X |  | 0
A0048 | Install new TPA wall/curb flashing | 100 | SF | X |  | 0
A0049 | Install new TPA pipe vent flashing | 100 | EA | X |  | 0
Remove existing metal base flashing and replace with new metal base flashing
A0050 | Copper | 100 | SF | X |  | 0
A0051 | Aluminum | 100 | SF | X |  | 0
A0052 | Aluminum/various colors | 100 | SF | X |  | 0
A0053 | Stainless Steel | 100 | SF | X |  | 0
Remove existing and install new metal coping. Shall include caulking.
A0054 | Copper | 100 | SF | X |  | 0
A0055 | Aluminum | 100 | SF | X |  | 0
A0056 | Aluminum/various colors | 100 | SF | X |  | 0
A0057 | Stainless Steel | 100 | SF | X |  | 0
Remove metal drip edge and replace with new metal drip edge
A0058 | Copper | 100 | LF | X |  | 0
A0059 | Aluminum | 100 | LF | X |  | 0
A0060 | Aluminum/various colors | 100 | LF | X |  | 0
A0061 | Stainless Steel | 100 | LF | X |  | 0
METAL GUTTERS AND DOWNSPOUTS
Install Metal Gutters
A0062 | Copper/5" ogee | 100 | LF | X |  | 0
A0063 | Copper/6" ogee | 100 | LF | X |  | 0
A0064 | Copper/6" half round | 100 | LF | X |  | 0
A0065 | Copper/6" box | 100 | LF | X |  | 0
A0066 | Copper/8" box | 100 | LF | X |  | 0
A0067 | Prefinished Alum/5" ogee | 100 | LF | X |  | 0
A0068 | Prefinished Alum/6" ogee | 100 | LF | X |  | 0
A0069 | Prefinished Alum/6" Box | 100 | LF | X |  | 0
A0070 | Prefinished Alum/8" Box | 100 | LF | X |  | 0
A0071 | Stainless steel/6" box | 100 | LF | X |  | 0
A0072 | Stainless steel/8" box | 100 | LF | X |  | 0
Install Metal Downspouts
A0073 | Copper 2" x 3" | 100 | LF | X |  | 0
A0074 | Copper 3" x 4" | 100 | LF | X |  | 0
A0075 | Copper/3" round | 100 | LF | X |  | 0
A0076 | Copper/4" round | 100 | LF | X |  | 0
A0077 | Copper/6" round | 100 | LF | X |  | 0
A0078 | Prefinished alum 2" x 3" | 100 | LF | X |  | 0
A0079 | Prefinished alum 3" x 4" | 100 | LF | X |  | 0
A0080 | Stainless Steel 3" x 4" | 100 | LF | X |  | 0
A0081 | Provide and place new concrete splash block | 100 | EA | X |  | 0
(standard commercial size)
Gutters, Downspouts and Drains
A0082 | Remove and dispose of existing gutters and/or downspouts | 200 | LF | X |  | 0
A0083 | Remove and reinstall existing gutters and/or downspouts. Reseal all joints | 200 | LF | X |  | 0
A0084 | Realign and resecure existing gutters and/or downspouts (Replace hangers, fasteners and straps) as needed. Reseal all joints. | 200 | LF | X |  | 0
A0085 | Resolder broken gutter joints | 20 | EA | X |  | 0
A0086 | Reseal, broken gutter joints | 20 | EA | X |  | 0
A0087 | Clean and clear gutters and dispose of all debris from site | 5000 | LF | X |  | 0
Remove existing metal open valley flashing and replace with new metal valley flashing
A0088 | Copper | 100 | SF | X |  | 0
A0089 | Aluminum | 100 | SF | X |  | 0
A0090 | Aluminum/various colors | 100 | SF | X |  | 0
A0091 | Stainless Steel | 100 | SF | X |  | 0
Remove existing metal flashing/miscellaneous
A0092 | Copper | 100 | SF | X |  | 0
A0093 | Aluminum | 100 | SF | X |  | 0
A0094 | Aluminum/various colors | 100 | SF | X |  | 0
A0095 | Stainless Steel | 100 | SF | X |  | 0
A0096 | Compatible w/EPDM & CPE | 100 | SF | X |  | 0
Remove existing pitch pocket and 'replace with new
A0097 | Copper | 100 | SF | X |  | 0
A0098 | Aluminum | 100 | SF | X |  | 0
A0099 | Stainless steel | 100 | SF | X |  | 0
DRAINS, STRAINERS, SCUPPERS, CONDUCTOR HEADS & SPLASH HEADS
A0100 | Clean and clear roof drains | 20 | EA | X |  | 0
Remove/Replace existing roof drain sumps
A0101 | 6-Pound Lead TPA EPDM roof drain Sumps | 20 | EA | X |  | 0
A0102 | TPA EPDM roof drain sumps (removal only) | 20 | EA | X |  | 0
Provide and install TPA EPDM roof 'drain sumps
A0103 | Provide down spout and roof drain cleaning. | 1500 | LF | X |  | 0
A0104 | Provide power washing The Contractor shall Power Wash roof surfaces and clear drain baskets. (Does not include gutter or down spout cleaning.) | 2000 | LF |  |  | 0
Strainers
A0105 | Metal Strainers | 20 | EA | X |  | 0
A0106 | PVC Strainers | 20 | EA | X |  | 0
A0107 | Metal Strainers | 300 | EA | X |  | 0
A0108 | PVC Strainers | 300 | EA | X |  | 0
Remove existing metal scupper lining and replace with new metal scupper lining
A0109 | Copper | 300 | EA | X |  | 0
A0110 | Stainless Steel | 300 | EA | X |  | 0
Remove existing metal conductor heads and replace with new metal conductor heads
A0111 | Copper | 100 | EA | X |  | 0
A0112 | Stainless Steel | 100 | EA | X |  | 0
Install new metal splash pans
A0113 | Copper | 100 | EA | X |  | 0
A0114 | Stainless Steel | 100 | EA | X |  | 0
Remove existing expansion joints and replacebituminous base flashing, metal counterflashing and metal joint cover
A0115 | Copper | 100 | SF | X |  | 0
A0116 | Aluminum | 100 | SF | X |  | 0
A0117 | Stainless Steel | 100 | SF | X |  | 0
A0118 | Remove existing pipe vent flashing and replace with new lead pipe vent flashing | 100 | EA | X |  | 0
A0119 | Remove existing metal vent collars and replace with new vent collars and accessories | 100 | EA | X |  | 0
A0120 | Install caulking | 110 | LF | X |  | 0
A0121 | Remove existing caulking and replace with new sealant/caulking | 100 | LF | X |  | 0
A0122 | Cut new Reglet In masonry | 100 | LF | X |  | 0
A0123 | Cut new Reglet In concrete | 100 | LF | X |  | 0
A0124 | Remove existing fascia and replace with new fascia board | 100 | BF | X |  | 0
A0125 | Prime and paint fascia board | 100 | SF | X |  | 0
A0126 | Cover existing fascia board with aluminum coil stock (various colors) ASBESTOS ABATEMENT/REMOVAL | 100 | SF | X |  | 0
A0127 | Min. costs incurred for asbestos abatement, for trailer (provide, set-up,& removal) | 100 | EA | X |  | 0
A0128 | Additional cost incurred for the removal and disposal of asbestos containing substances. Regular roofing only. | 2000 | SF | X |  | 0
A0129 | Additional cost incurred for the removal and disposal of asbestos containing substance. (Flashings, Pitch pockets, etc.) | 2000 | SF | X |  | 0
A0130 | Removal of lead based paint. 'Contractor removes loose paint from surface. The contractor furnishes container and the Government disposes. | 2000 | SF | X |  | 0
NON-PREPRICED LABOR, MATERIAL and COMMAND INTEREST WORK
A0131 | Provide all materials and equipment to perform Unit Priced Labor work per the scope and delivery schedule specified in the order. Material costs shall BE NEGOTIATED BY KO. | 1 | LS | X |  | 0
A0132 | Provide labor to perform all Unit Priced Labor work per the scope and delivery schedule specified in the order. MUST BE NEGOTIATED BY KO. | 2000 | HRS | X |  | 0
A0133 | Perform Service call. | 20 | EA | X |  | 0
The Contractor shall respond to service calls within 24 hours of service call request. The contractor shall make necessary repairs to roof or roof system. Service calls are limited to a combined labor and material cost not to exceed $2,500.00.
A0134 | Perform Roof Survey / Assessment up to 50,000 SF in accordance with Attachment B | 1000 | SF | X |  | 0
A0135 | Perform Roof Survey / Assessment over 50,000 SF and up to 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0136 | Perform Roof Survey / Assessment over 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0137 | Bldg. 1 NSAP Spring power washing, minor deficiency repairs, drain cleaning, and analysis report. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
A0138 | Bldg. 1 NSAP Fall drain cleaning, Roof analysis and minor repairs. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
| Total Price for BASE OPTION YEAR (IQ) Price Work Items - CLIN 0001 (Sum of Exhibit Line Items A0001- A0138) |  |  |  |  | 0

## Option 2
Roofing Contract
Attachment J-0200000-05
Exhibit Line Item Numbers
Solicitation/Contract No.: N40085-26-D-XXXX
ELIN Number | Supplies/Services | Est. Quantity | Unit |  | Unit Price | Total
ROOF DECKS
A0001 | Remove existing metal roof decks (ALL OR PARTIAL) and replace with new steel roof decking, shall include all closures and accessories. | 200 | SQ | X |  | 0
Remove existing wood roof deck and replace with new wood decking
A0002 | 1" nominal T & G (treated) | 1200 | BF | X |  | 0
A0003 | 2" nominal T & G (treated) | 1200 | BF | X |  | 0
A0004 | 3/4" plywood | 1200 | SF | X |  | 0
A0005 | 1/2" plywood | 1200 | SF | X |  | 0
ROOF INSULATION
Remove and replace rigid roof insulation in conjunction with roofing systems specified herein.
A0006 | Remove and replace polyisocyanurate tapered insulation panels | 120 | SQ | X |  | 0
A0007 | Remove and replace tapered roof insulation | 120 | SQ | X |  | 0
A0008 | Remove and replace vapor barrier in conjunction with built up roofing system | 120 | SQ | X |  | 0
A0009 | Remove and replace resin sized building paper (5 lb) | 15 | SQ | X |  | 0
A0010 | Remove existing cants and replace with new fiberboard cants 4 x 4 | 30 | LF | X |  | 0
A0011 | Remove existing cants and replace with new treated wood cants 4 x 4 | 90 | LF | X |  | 0
A0012 | Remove existing Nailers and replace with new treated 2" x 6" wood | 300 | BF | X |  | 0
SHINGLED ROOF SYSTEMS
Remove existing composition shingles and replace with new composition shingles, shall include starter
A0013 | Twenty Five Year (3 tab ) | 100 | SQ | X |  | 0
A0014 | Thirty Year (architectural) | 100 | SQ | X |  | 0
A0015 | Forty Year (architectural) | 100 | SQ | X |  | 0
A0016 | Remove and dispose of existing composition shingles (all types)(where new shingles are not going to be installed) | 18 | SQ | X |  | 0
A0017 | Remove and dispose of existing slate shingles. | 18 | SQ | X |  | 0
A0018 | Remove and re-install existing slate shingles (All or Partial) | 6 | SQ | X |  | 0
A0019 | Install new slate shingles (Weathering green, Vermont)(All or Partial) | 9 | SQ | X |  | 0
A0020 | Install new slate shingles (Buckingham)(All or Partial) | 9 | SQ | X |  | 0
Remove existing preformed metal (All or Partial) roofing and replace with new preformed metal roofing
A0021 | Coated steel | 20 | SQ | X |  | 0
A0022 | Coated aluminum | 20 | SQ | X |  | 0
ROOF COATING (ALUMINUM PIGMENTED FIBERED BITUMINOUS ROOF COATING)
A0023 | Coat roofing with aluminum pigmented slate shingles (All or Partial) slate shingles (All or Partial) fibered bitumen roof coating | 100 | SQ | X |  | 0
Field paint roof mounted equipment
A0024 | Up to 25 SF X in surface area X | 100 | SF | X |  | 0
A0025 | Over 25 SF X in surface area X | 100 | SF | X |  | 0
BUILT UP ROOF
Remove existing roof system and replace with new aggregate surfaced BU roofing system
A0026 | System GAA (Gravel) | 100 | SQ | X |  | 0
Remove existing roof system and replace with new smooth surfaced BU roofing system.
A0027 | System Gas | 100 | SQ | X |  | 0
Remove existing roof system and replace with new single ply reinforced modified bitumen sheet roofing system
A0028 | Torch Applied | 100 | SQ | X |  | 0
A0029 | Mop Applied | 100 | SQ | X |  | 0
A0030 | Remove existing base flashing and replace with new 2 ply glass felt base flashing | 150 | SF | X |  | 0
A0031 | Remove existing base flashing and replace with new 3-ply bituminous base flashing | 36 | SF | X |  | 0
A0032 | Remove existing base flashing and replace with new single ply reinforced modified, bitumen sheet roofing flashing modified. | 100 | SF | X |  | 0
A0033 | Remove and Dispose of Second layer | 100 | SQ | X |  | 0
A0034 | (1) Walkway/Asphalt Planks | 300 | SF | X |  | 0
ROOF AND PARAPET WALL DAMPROOFING
A0035 | Coat Existing BU Roof or Parapet Wall | 150 | SF | X |  | 0
E.P.D.M. (RUBBER ROOF SYSTEM) (Install new E.P.D.M. Roof System over Existing Built-up Roof)
A0036 | Ballasted System | 100 | SQ | X |  | 0
A0037 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0038 | Full Adhered System | 100 | SQ | X |  | 0
Remove existing roof system and replace with new E.P.D.M. roof system
A0039 | Ballasted System | 100 | SQ | X |  | 0
A0040 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0041 | Full Adhered System | 100 | SQ | X |  | 0
A0042 | Install new E.P.D.M. Wall/Curb Flashings | 100 | SF | X |  | 0
A0043 | Install Rubber Pipe Vents | 100 | EA | X |  | 0
A0044 | Install Termination Bars. Shall include caulking | 100 | LF | X |  | 0
A0045 | Install E.P.D.M Walk Pads | 100 | EA | X |  | 0
Remove existing roof system and replace with new Thermoplastic alloy roof system (TPA)
A0046 | Mechanically Fastened | 100 | SQ | X |  | 0
A0047 | Ballasted | 100 | SQ | X |  | 0
A0048 | Install new TPA wall/curb flashing | 100 | SF | X |  | 0
A0049 | Install new TPA pipe vent flashing | 100 | EA | X |  | 0
Remove existing metal base flashing and replace with new metal base flashing
A0050 | Copper | 100 | SF | X |  | 0
A0051 | Aluminum | 100 | SF | X |  | 0
A0052 | Aluminum/various colors | 100 | SF | X |  | 0
A0053 | Stainless Steel | 100 | SF | X |  | 0
Remove existing and install new metal coping. Shall include caulking.
A0054 | Copper | 100 | SF | X |  | 0
A0055 | Aluminum | 100 | SF | X |  | 0
A0056 | Aluminum/various colors | 100 | SF | X |  | 0
A0057 | Stainless Steel | 100 | SF | X |  | 0
Remove metal drip edge and replace with new metal drip edge
A0058 | Copper | 100 | LF | X |  | 0
A0059 | Aluminum | 100 | LF | X |  | 0
A0060 | Aluminum/various colors | 100 | LF | X |  | 0
A0061 | Stainless Steel | 100 | LF | X |  | 0
METAL GUTTERS AND DOWNSPOUTS
Install Metal Gutters
A0062 | Copper/5" ogee | 100 | LF | X |  | 0
A0063 | Copper/6" ogee | 100 | LF | X |  | 0
A0064 | Copper/6" half round | 100 | LF | X |  | 0
A0065 | Copper/6" box | 100 | LF | X |  | 0
A0066 | Copper/8" box | 100 | LF | X |  | 0
A0067 | Prefinished Alum/5" ogee | 100 | LF | X |  | 0
A0068 | Prefinished Alum/6" ogee | 100 | LF | X |  | 0
A0069 | Prefinished Alum/6" Box | 100 | LF | X |  | 0
A0070 | Prefinished Alum/8" Box | 100 | LF | X |  | 0
A0071 | Stainless steel/6" box | 100 | LF | X |  | 0
A0072 | Stainless steel/8" box | 100 | LF | X |  | 0
Install Metal Downspouts
A0073 | Copper 2" x 3" | 100 | LF | X |  | 0
A0074 | Copper 3" x 4" | 100 | LF | X |  | 0
A0075 | Copper/3" round | 100 | LF | X |  | 0
A0076 | Copper/4" round | 100 | LF | X |  | 0
A0077 | Copper/6" round | 100 | LF | X |  | 0
A0078 | Prefinished alum 2" x 3" | 100 | LF | X |  | 0
A0079 | Prefinished alum 3" x 4" | 100 | LF | X |  | 0
A0080 | Stainless Steel 3" x 4" | 100 | LF | X |  | 0
A0081 | Provide and place new concrete splash block | 100 | EA | X |  | 0
(standard commercial size)
Gutters, Downspouts and Drains
A0082 | Remove and dispose of existing gutters and/or downspouts | 200 | LF | X |  | 0
A0083 | Remove and reinstall existing gutters and/or downspouts. Reseal all joints | 200 | LF | X |  | 0
A0084 | Realign and resecure existing gutters and/or downspouts (Replace hangers, fasteners and straps) as needed. Reseal all joints. | 200 | LF | X |  | 0
A0085 | Resolder broken gutter joints | 20 | EA | X |  | 0
A0086 | Reseal, broken gutter joints | 20 | EA | X |  | 0
A0087 | Clean and clear gutters and dispose of all debris from site | 5000 | LF | X |  | 0
Remove existing metal open valley flashing and replace with new metal valley flashing
A0088 | Copper | 100 | SF | X |  | 0
A0089 | Aluminum | 100 | SF | X |  | 0
A0090 | Aluminum/various colors | 100 | SF | X |  | 0
A0091 | Stainless Steel | 100 | SF | X |  | 0
Remove existing metal flashing/miscellaneous
A0092 | Copper | 100 | SF | X |  | 0
A0093 | Aluminum | 100 | SF | X |  | 0
A0094 | Aluminum/various colors | 100 | SF | X |  | 0
A0095 | Stainless Steel | 100 | SF | X |  | 0
A0096 | Compatible w/EPDM & CPE | 100 | SF | X |  | 0
Remove existing pitch pocket and 'replace with new
A0097 | Copper | 100 | SF | X |  | 0
A0098 | Aluminum | 100 | SF | X |  | 0
A0099 | Stainless steel | 100 | SF | X |  | 0
DRAINS, STRAINERS, SCUPPERS, CONDUCTOR HEADS & SPLASH HEADS
A0100 | Clean and clear roof drains | 20 | EA | X |  | 0
Remove/Replace existing roof drain sumps
A0101 | 6-Pound Lead TPA EPDM roof drain Sumps | 20 | EA | X |  | 0
A0102 | TPA EPDM roof drain sumps (removal only) | 20 | EA | X |  | 0
Provide and install TPA EPDM roof 'drain sumps
A0103 | Provide down spout and roof drain cleaning. | 1500 | LF | X |  | 0
A0104 | Provide power washing The Contractor shall Power Wash roof surfaces and clear drain baskets. (Does not include gutter or down spout cleaning.) | 2000 | LF |  |  | 0
Strainers
A0105 | Metal Strainers | 20 | EA | X |  | 0
A0106 | PVC Strainers | 20 | EA | X |  | 0
A0107 | Metal Strainers | 300 | EA | X |  | 0
A0108 | PVC Strainers | 300 | EA | X |  | 0
Remove existing metal scupper lining and replace with new metal scupper lining
A0109 | Copper | 300 | EA | X |  | 0
A0110 | Stainless Steel | 300 | EA | X |  | 0
Remove existing metal conductor heads and replace with new metal conductor heads
A0111 | Copper | 100 | EA | X |  | 0
A0112 | Stainless Steel | 100 | EA | X |  | 0
Install new metal splash pans
A0113 | Copper | 100 | EA | X |  | 0
A0114 | Stainless Steel | 100 | EA | X |  | 0
Remove existing expansion joints and replacebituminous base flashing, metal counterflashing and metal joint cover
A0115 | Copper | 100 | SF | X |  | 0
A0116 | Aluminum | 100 | SF | X |  | 0
A0117 | Stainless Steel | 100 | SF | X |  | 0
A0118 | Remove existing pipe vent flashing and replace with new lead pipe vent flashing | 100 | EA | X |  | 0
A0119 | Remove existing metal vent collars and replace with new vent collars and accessories | 100 | EA | X |  | 0
A0120 | Install caulking | 110 | LF | X |  | 0
A0121 | Remove existing caulking and replace with new sealant/caulking | 100 | LF | X |  | 0
A0122 | Cut new Reglet In masonry | 100 | LF | X |  | 0
A0123 | Cut new Reglet In concrete | 100 | LF | X |  | 0
A0124 | Remove existing fascia and replace with new fascia board | 100 | BF | X |  | 0
A0125 | Prime and paint fascia board | 100 | SF | X |  | 0
A0126 | Cover existing fascia board with aluminum coil stock (various colors) ASBESTOS ABATEMENT/REMOVAL | 100 | SF | X |  | 0
A0127 | Min. costs incurred for asbestos abatement, for trailer (provide, set-up,& removal) | 100 | EA | X |  | 0
A0128 | Additional cost incurred for the removal and disposal of asbestos containing substances. Regular roofing only. | 2000 | SF | X |  | 0
A0129 | Additional cost incurred for the removal and disposal of asbestos containing substance. (Flashings, Pitch pockets, etc.) | 2000 | SF | X |  | 0
A0130 | Removal of lead based paint. 'Contractor removes loose paint from surface. The contractor furnishes container and the Government disposes. | 2000 | SF | X |  | 0
NON-PREPRICED LABOR, MATERIAL and COMMAND INTEREST WORK
A0131 | Provide all materials and equipment to perform Unit Priced Labor work per the scope and delivery schedule specified in the order. Material costs shall BE NEGOTIATED BY KO. | 1 | LS | X |  | 0
A0132 | Provide labor to perform all Unit Priced Labor work per the scope and delivery schedule specified in the order. MUST BE NEGOTIATED BY KO. | 2000 | HRS | X |  | 0
A0133 | Perform Service call. | 20 | EA | X |  | 0
The Contractor shall respond to service calls within 24 hours of service call request. The contractor shall make necessary repairs to roof or roof system. Service calls are limited to a combined labor and material cost not to exceed $2,500.00.
A0134 | Perform Roof Survey / Assessment up to 50,000 SF in accordance with Attachment B | 1000 | SF | X |  | 0
A0135 | Perform Roof Survey / Assessment over 50,000 SF and up to 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0136 | Perform Roof Survey / Assessment over 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0137 | Bldg. 1 NSAP Spring power washing, minor deficiency repairs, drain cleaning, and analysis report. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
A0138 | Bldg. 1 NSAP Fall drain cleaning, Roof analysis and minor repairs. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
| Total Price for BASE OPTION YEAR (IQ) Price Work Items - CLIN 0001 (Sum of Exhibit Line Items A0001- A0138) |  |  |  |  | 0

## Option 3
Roofing Contract
Attachment J-0200000-05
Exhibit Line Item Numbers
Solicitation/Contract No.: N40085-26-D-XXXX
ELIN Number | Supplies/Services | Est. Quantity | Unit |  | Unit Price | Total
ROOF DECKS
A0001 | Remove existing metal roof decks (ALL OR PARTIAL) and replace with new steel roof decking, shall include all closures and accessories. | 200 | SQ | X |  | 0
Remove existing wood roof deck and replace with new wood decking
A0002 | 1" nominal T & G (treated) | 1200 | BF | X |  | 0
A0003 | 2" nominal T & G (treated) | 1200 | BF | X |  | 0
A0004 | 3/4" plywood | 1200 | SF | X |  | 0
A0005 | 1/2" plywood | 1200 | SF | X |  | 0
ROOF INSULATION
Remove and replace rigid roof insulation in conjunction with roofing systems specified herein.
A0006 | Remove and replace polyisocyanurate tapered insulation panels | 120 | SQ | X |  | 0
A0007 | Remove and replace tapered roof insulation | 120 | SQ | X |  | 0
A0008 | Remove and replace vapor barrier in conjunction with built up roofing system | 120 | SQ | X |  | 0
A0009 | Remove and replace resin sized building paper (5 lb) | 15 | SQ | X |  | 0
A0010 | Remove existing cants and replace with new fiberboard cants 4 x 4 | 30 | LF | X |  | 0
A0011 | Remove existing cants and replace with new treated wood cants 4 x 4 | 90 | LF | X |  | 0
A0012 | Remove existing Nailers and replace with new treated 2" x 6" wood | 300 | BF | X |  | 0
SHINGLED ROOF SYSTEMS
Remove existing composition shingles and replace with new composition shingles, shall include starter
A0013 | Twenty Five Year (3 tab ) | 100 | SQ | X |  | 0
A0014 | Thirty Year (architectural) | 100 | SQ | X |  | 0
A0015 | Forty Year (architectural) | 100 | SQ | X |  | 0
A0016 | Remove and dispose of existing composition shingles (all types)(where new shingles are not going to be installed) | 18 | SQ | X |  | 0
A0017 | Remove and dispose of existing slate shingles. | 18 | SQ | X |  | 0
A0018 | Remove and re-install existing slate shingles (All or Partial) | 6 | SQ | X |  | 0
A0019 | Install new slate shingles (Weathering green, Vermont)(All or Partial) | 9 | SQ | X |  | 0
A0020 | Install new slate shingles (Buckingham)(All or Partial) | 9 | SQ | X |  | 0
Remove existing preformed metal (All or Partial) roofing and replace with new preformed metal roofing
A0021 | Coated steel | 20 | SQ | X |  | 0
A0022 | Coated aluminum | 20 | SQ | X |  | 0
ROOF COATING (ALUMINUM PIGMENTED FIBERED BITUMINOUS ROOF COATING)
A0023 | Coat roofing with aluminum pigmented slate shingles (All or Partial) slate shingles (All or Partial) fibered bitumen roof coating | 100 | SQ | X |  | 0
Field paint roof mounted equipment
A0024 | Up to 25 SF X in surface area X | 100 | SF | X |  | 0
A0025 | Over 25 SF X in surface area X | 100 | SF | X |  | 0
BUILT UP ROOF
Remove existing roof system and replace with new aggregate surfaced BU roofing system
A0026 | System GAA (Gravel) | 100 | SQ | X |  | 0
Remove existing roof system and replace with new smooth surfaced BU roofing system.
A0027 | System Gas | 100 | SQ | X |  | 0
Remove existing roof system and replace with new single ply reinforced modified bitumen sheet roofing system
A0028 | Torch Applied | 100 | SQ | X |  | 0
A0029 | Mop Applied | 100 | SQ | X |  | 0
A0030 | Remove existing base flashing and replace with new 2 ply glass felt base flashing | 150 | SF | X |  | 0
A0031 | Remove existing base flashing and replace with new 3-ply bituminous base flashing | 36 | SF | X |  | 0
A0032 | Remove existing base flashing and replace with new single ply reinforced modified, bitumen sheet roofing flashing modified. | 100 | SF | X |  | 0
A0033 | Remove and Dispose of Second layer | 100 | SQ | X |  | 0
A0034 | (1) Walkway/Asphalt Planks | 300 | SF | X |  | 0
ROOF AND PARAPET WALL DAMPROOFING
A0035 | Coat Existing BU Roof or Parapet Wall | 150 | SF | X |  | 0
E.P.D.M. (RUBBER ROOF SYSTEM) (Install new E.P.D.M. Roof System over Existing Built-up Roof)
A0036 | Ballasted System | 100 | SQ | X |  | 0
A0037 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0038 | Full Adhered System | 100 | SQ | X |  | 0
Remove existing roof system and replace with new E.P.D.M. roof system
A0039 | Ballasted System | 100 | SQ | X |  | 0
A0040 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0041 | Full Adhered System | 100 | SQ | X |  | 0
A0042 | Install new E.P.D.M. Wall/Curb Flashings | 100 | SF | X |  | 0
A0043 | Install Rubber Pipe Vents | 100 | EA | X |  | 0
A0044 | Install Termination Bars. Shall include caulking | 100 | LF | X |  | 0
A0045 | Install E.P.D.M Walk Pads | 100 | EA | X |  | 0
Remove existing roof system and replace with new Thermoplastic alloy roof system (TPA)
A0046 | Mechanically Fastened | 100 | SQ | X |  | 0
A0047 | Ballasted | 100 | SQ | X |  | 0
A0048 | Install new TPA wall/curb flashing | 100 | SF | X |  | 0
A0049 | Install new TPA pipe vent flashing | 100 | EA | X |  | 0
Remove existing metal base flashing and replace with new metal base flashing
A0050 | Copper | 100 | SF | X |  | 0
A0051 | Aluminum | 100 | SF | X |  | 0
A0052 | Aluminum/various colors | 100 | SF | X |  | 0
A0053 | Stainless Steel | 100 | SF | X |  | 0
Remove existing and install new metal coping. Shall include caulking.
A0054 | Copper | 100 | SF | X |  | 0
A0055 | Aluminum | 100 | SF | X |  | 0
A0056 | Aluminum/various colors | 100 | SF | X |  | 0
A0057 | Stainless Steel | 100 | SF | X |  | 0
Remove metal drip edge and replace with new metal drip edge
A0058 | Copper | 100 | LF | X |  | 0
A0059 | Aluminum | 100 | LF | X |  | 0
A0060 | Aluminum/various colors | 100 | LF | X |  | 0
A0061 | Stainless Steel | 100 | LF | X |  | 0
METAL GUTTERS AND DOWNSPOUTS
Install Metal Gutters
A0062 | Copper/5" ogee | 100 | LF | X |  | 0
A0063 | Copper/6" ogee | 100 | LF | X |  | 0
A0064 | Copper/6" half round | 100 | LF | X |  | 0
A0065 | Copper/6" box | 100 | LF | X |  | 0
A0066 | Copper/8" box | 100 | LF | X |  | 0
A0067 | Prefinished Alum/5" ogee | 100 | LF | X |  | 0
A0068 | Prefinished Alum/6" ogee | 100 | LF | X |  | 0
A0069 | Prefinished Alum/6" Box | 100 | LF | X |  | 0
A0070 | Prefinished Alum/8" Box | 100 | LF | X |  | 0
A0071 | Stainless steel/6" box | 100 | LF | X |  | 0
A0072 | Stainless steel/8" box | 100 | LF | X |  | 0
Install Metal Downspouts
A0073 | Copper 2" x 3" | 100 | LF | X |  | 0
A0074 | Copper 3" x 4" | 100 | LF | X |  | 0
A0075 | Copper/3" round | 100 | LF | X |  | 0
A0076 | Copper/4" round | 100 | LF | X |  | 0
A0077 | Copper/6" round | 100 | LF | X |  | 0
A0078 | Prefinished alum 2" x 3" | 100 | LF | X |  | 0
A0079 | Prefinished alum 3" x 4" | 100 | LF | X |  | 0
A0080 | Stainless Steel 3" x 4" | 100 | LF | X |  | 0
A0081 | Provide and place new concrete splash block | 100 | EA | X |  | 0
(standard commercial size)
Gutters, Downspouts and Drains
A0082 | Remove and dispose of existing gutters and/or downspouts | 200 | LF | X |  | 0
A0083 | Remove and reinstall existing gutters and/or downspouts. Reseal all joints | 200 | LF | X |  | 0
A0084 | Realign and resecure existing gutters and/or downspouts (Replace hangers, fasteners and straps) as needed. Reseal all joints. | 200 | LF | X |  | 0
A0085 | Resolder broken gutter joints | 20 | EA | X |  | 0
A0086 | Reseal, broken gutter joints | 20 | EA | X |  | 0
A0087 | Clean and clear gutters and dispose of all debris from site | 5000 | LF | X |  | 0
Remove existing metal open valley flashing and replace with new metal valley flashing
A0088 | Copper | 100 | SF | X |  | 0
A0089 | Aluminum | 100 | SF | X |  | 0
A0090 | Aluminum/various colors | 100 | SF | X |  | 0
A0091 | Stainless Steel | 100 | SF | X |  | 0
Remove existing metal flashing/miscellaneous
A0092 | Copper | 100 | SF | X |  | 0
A0093 | Aluminum | 100 | SF | X |  | 0
A0094 | Aluminum/various colors | 100 | SF | X |  | 0
A0095 | Stainless Steel | 100 | SF | X |  | 0
A0096 | Compatible w/EPDM & CPE | 100 | SF | X |  | 0
Remove existing pitch pocket and 'replace with new
A0097 | Copper | 100 | SF | X |  | 0
A0098 | Aluminum | 100 | SF | X |  | 0
A0099 | Stainless steel | 100 | SF | X |  | 0
DRAINS, STRAINERS, SCUPPERS, CONDUCTOR HEADS & SPLASH HEADS
A0100 | Clean and clear roof drains | 20 | EA | X |  | 0
Remove/Replace existing roof drain sumps
A0101 | 6-Pound Lead TPA EPDM roof drain Sumps | 20 | EA | X |  | 0
A0102 | TPA EPDM roof drain sumps (removal only) | 20 | EA | X |  | 0
Provide and install TPA EPDM roof 'drain sumps
A0103 | Provide down spout and roof drain cleaning. | 1500 | LF | X |  | 0
A0104 | Provide power washing The Contractor shall Power Wash roof surfaces and clear drain baskets. (Does not include gutter or down spout cleaning.) | 2000 | LF |  |  | 0
Strainers
A0105 | Metal Strainers | 20 | EA | X |  | 0
A0106 | PVC Strainers | 20 | EA | X |  | 0
A0107 | Metal Strainers | 300 | EA | X |  | 0
A0108 | PVC Strainers | 300 | EA | X |  | 0
Remove existing metal scupper lining and replace with new metal scupper lining
A0109 | Copper | 300 | EA | X |  | 0
A0110 | Stainless Steel | 300 | EA | X |  | 0
Remove existing metal conductor heads and replace with new metal conductor heads
A0111 | Copper | 100 | EA | X |  | 0
A0112 | Stainless Steel | 100 | EA | X |  | 0
Install new metal splash pans
A0113 | Copper | 100 | EA | X |  | 0
A0114 | Stainless Steel | 100 | EA | X |  | 0
Remove existing expansion joints and replacebituminous base flashing, metal counterflashing and metal joint cover
A0115 | Copper | 100 | SF | X |  | 0
A0116 | Aluminum | 100 | SF | X |  | 0
A0117 | Stainless Steel | 100 | SF | X |  | 0
A0118 | Remove existing pipe vent flashing and replace with new lead pipe vent flashing | 100 | EA | X |  | 0
A0119 | Remove existing metal vent collars and replace with new vent collars and accessories | 100 | EA | X |  | 0
A0120 | Install caulking | 110 | LF | X |  | 0
A0121 | Remove existing caulking and replace with new sealant/caulking | 100 | LF | X |  | 0
A0122 | Cut new Reglet In masonry | 100 | LF | X |  | 0
A0123 | Cut new Reglet In concrete | 100 | LF | X |  | 0
A0124 | Remove existing fascia and replace with new fascia board | 100 | BF | X |  | 0
A0125 | Prime and paint fascia board | 100 | SF | X |  | 0
A0126 | Cover existing fascia board with aluminum coil stock (various colors) ASBESTOS ABATEMENT/REMOVAL | 100 | SF | X |  | 0
A0127 | Min. costs incurred for asbestos abatement, for trailer (provide, set-up,& removal) | 100 | EA | X |  | 0
A0128 | Additional cost incurred for the removal and disposal of asbestos containing substances. Regular roofing only. | 2000 | SF | X |  | 0
A0129 | Additional cost incurred for the removal and disposal of asbestos containing substance. (Flashings, Pitch pockets, etc.) | 2000 | SF | X |  | 0
A0130 | Removal of lead based paint. 'Contractor removes loose paint from surface. The contractor furnishes container and the Government disposes. | 2000 | SF | X |  | 0
NON-PREPRICED LABOR, MATERIAL and COMMAND INTEREST WORK
A0131 | Provide all materials and equipment to perform Unit Priced Labor work per the scope and delivery schedule specified in the order. Material costs shall BE NEGOTIATED BY KO. | 1 | LS | X |  | 0
A0132 | Provide labor to perform all Unit Priced Labor work per the scope and delivery schedule specified in the order. MUST BE NEGOTIATED BY KO. | 2000 | HRS | X |  | 0
A0133 | Perform Service call. | 20 | EA | X |  | 0
The Contractor shall respond to service calls within 24 hours of service call request. The contractor shall make necessary repairs to roof or roof system. Service calls are limited to a combined labor and material cost not to exceed $2,500.00.
A0134 | Perform Roof Survey / Assessment up to 50,000 SF in accordance with Attachment B | 1000 | SF | X |  | 0
A0135 | Perform Roof Survey / Assessment over 50,000 SF and up to 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0136 | Perform Roof Survey / Assessment over 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0137 | Bldg. 1 NSAP Spring power washing, minor deficiency repairs, drain cleaning, and analysis report. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
A0138 | Bldg. 1 NSAP Fall drain cleaning, Roof analysis and minor repairs. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
| Total Price for BASE OPTION YEAR (IQ) Price Work Items - CLIN 0001 (Sum of Exhibit Line Items A0001- A0138) |  |  |  |  | 0

## Option 4
Roofing Contract
Attachment J-0200000-05
Exhibit Line Item Numbers
Solicitation/Contract No.: N40085-26-D-XXXX
ELIN Number | Supplies/Services | Est. Quantity | Unit |  | Unit Price | Total
ROOF DECKS
A0001 | Remove existing metal roof decks (ALL OR PARTIAL) and replace with new steel roof decking, shall include all closures and accessories. | 200 | SQ | X |  | 0
Remove existing wood roof deck and replace with new wood decking
A0002 | 1" nominal T & G (treated) | 1200 | BF | X |  | 0
A0003 | 2" nominal T & G (treated) | 1200 | BF | X |  | 0
A0004 | 3/4" plywood | 1200 | SF | X |  | 0
A0005 | 1/2" plywood | 1200 | SF | X |  | 0
ROOF INSULATION
Remove and replace rigid roof insulation in conjunction with roofing systems specified herein.
A0006 | Remove and replace polyisocyanurate tapered insulation panels | 120 | SQ | X |  | 0
A0007 | Remove and replace tapered roof insulation | 120 | SQ | X |  | 0
A0008 | Remove and replace vapor barrier in conjunction with built up roofing system | 120 | SQ | X |  | 0
A0009 | Remove and replace resin sized building paper (5 lb) | 15 | SQ | X |  | 0
A0010 | Remove existing cants and replace with new fiberboard cants 4 x 4 | 30 | LF | X |  | 0
A0011 | Remove existing cants and replace with new treated wood cants 4 x 4 | 90 | LF | X |  | 0
A0012 | Remove existing Nailers and replace with new treated 2" x 6" wood | 300 | BF | X |  | 0
SHINGLED ROOF SYSTEMS
Remove existing composition shingles and replace with new composition shingles, shall include starter
A0013 | Twenty Five Year (3 tab ) | 100 | SQ | X |  | 0
A0014 | Thirty Year (architectural) | 100 | SQ | X |  | 0
A0015 | Forty Year (architectural) | 100 | SQ | X |  | 0
A0016 | Remove and dispose of existing composition shingles (all types)(where new shingles are not going to be installed) | 18 | SQ | X |  | 0
A0017 | Remove and dispose of existing slate shingles. | 18 | SQ | X |  | 0
A0018 | Remove and re-install existing slate shingles (All or Partial) | 6 | SQ | X |  | 0
A0019 | Install new slate shingles (Weathering green, Vermont)(All or Partial) | 9 | SQ | X |  | 0
A0020 | Install new slate shingles (Buckingham)(All or Partial) | 9 | SQ | X |  | 0
Remove existing preformed metal (All or Partial) roofing and replace with new preformed metal roofing
A0021 | Coated steel | 20 | SQ | X |  | 0
A0022 | Coated aluminum | 20 | SQ | X |  | 0
ROOF COATING (ALUMINUM PIGMENTED FIBERED BITUMINOUS ROOF COATING)
A0023 | Coat roofing with aluminum pigmented slate shingles (All or Partial) slate shingles (All or Partial) fibered bitumen roof coating | 100 | SQ | X |  | 0
Field paint roof mounted equipment
A0024 | Up to 25 SF X in surface area X | 100 | SF | X |  | 0
A0025 | Over 25 SF X in surface area X | 100 | SF | X |  | 0
BUILT UP ROOF
Remove existing roof system and replace with new aggregate surfaced BU roofing system
A0026 | System GAA (Gravel) | 100 | SQ | X |  | 0
Remove existing roof system and replace with new smooth surfaced BU roofing system.
A0027 | System Gas | 100 | SQ | X |  | 0
Remove existing roof system and replace with new single ply reinforced modified bitumen sheet roofing system
A0028 | Torch Applied | 100 | SQ | X |  | 0
A0029 | Mop Applied | 100 | SQ | X |  | 0
A0030 | Remove existing base flashing and replace with new 2 ply glass felt base flashing | 150 | SF | X |  | 0
A0031 | Remove existing base flashing and replace with new 3-ply bituminous base flashing | 36 | SF | X |  | 0
A0032 | Remove existing base flashing and replace with new single ply reinforced modified, bitumen sheet roofing flashing modified. | 100 | SF | X |  | 0
A0033 | Remove and Dispose of Second layer | 100 | SQ | X |  | 0
A0034 | (1) Walkway/Asphalt Planks | 300 | SF | X |  | 0
ROOF AND PARAPET WALL DAMPROOFING
A0035 | Coat Existing BU Roof or Parapet Wall | 150 | SF | X |  | 0
E.P.D.M. (RUBBER ROOF SYSTEM) (Install new E.P.D.M. Roof System over Existing Built-up Roof)
A0036 | Ballasted System | 100 | SQ | X |  | 0
A0037 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0038 | Full Adhered System | 100 | SQ | X |  | 0
Remove existing roof system and replace with new E.P.D.M. roof system
A0039 | Ballasted System | 100 | SQ | X |  | 0
A0040 | Mechanically Fastened System | 100 | SQ | X |  | 0
A0041 | Full Adhered System | 100 | SQ | X |  | 0
A0042 | Install new E.P.D.M. Wall/Curb Flashings | 100 | SF | X |  | 0
A0043 | Install Rubber Pipe Vents | 100 | EA | X |  | 0
A0044 | Install Termination Bars. Shall include caulking | 100 | LF | X |  | 0
A0045 | Install E.P.D.M Walk Pads | 100 | EA | X |  | 0
Remove existing roof system and replace with new Thermoplastic alloy roof system (TPA)
A0046 | Mechanically Fastened | 100 | SQ | X |  | 0
A0047 | Ballasted | 100 | SQ | X |  | 0
A0048 | Install new TPA wall/curb flashing | 100 | SF | X |  | 0
A0049 | Install new TPA pipe vent flashing | 100 | EA | X |  | 0
Remove existing metal base flashing and replace with new metal base flashing
A0050 | Copper | 100 | SF | X |  | 0
A0051 | Aluminum | 100 | SF | X |  | 0
A0052 | Aluminum/various colors | 100 | SF | X |  | 0
A0053 | Stainless Steel | 100 | SF | X |  | 0
Remove existing and install new metal coping. Shall include caulking.
A0054 | Copper | 100 | SF | X |  | 0
A0055 | Aluminum | 100 | SF | X |  | 0
A0056 | Aluminum/various colors | 100 | SF | X |  | 0
A0057 | Stainless Steel | 100 | SF | X |  | 0
Remove metal drip edge and replace with new metal drip edge
A0058 | Copper | 100 | LF | X |  | 0
A0059 | Aluminum | 100 | LF | X |  | 0
A0060 | Aluminum/various colors | 100 | LF | X |  | 0
A0061 | Stainless Steel | 100 | LF | X |  | 0
METAL GUTTERS AND DOWNSPOUTS
Install Metal Gutters
A0062 | Copper/5" ogee | 100 | LF | X |  | 0
A0063 | Copper/6" ogee | 100 | LF | X |  | 0
A0064 | Copper/6" half round | 100 | LF | X |  | 0
A0065 | Copper/6" box | 100 | LF | X |  | 0
A0066 | Copper/8" box | 100 | LF | X |  | 0
A0067 | Prefinished Alum/5" ogee | 100 | LF | X |  | 0
A0068 | Prefinished Alum/6" ogee | 100 | LF | X |  | 0
A0069 | Prefinished Alum/6" Box | 100 | LF | X |  | 0
A0070 | Prefinished Alum/8" Box | 100 | LF | X |  | 0
A0071 | Stainless steel/6" box | 100 | LF | X |  | 0
A0072 | Stainless steel/8" box | 100 | LF | X |  | 0
Install Metal Downspouts
A0073 | Copper 2" x 3" | 100 | LF | X |  | 0
A0074 | Copper 3" x 4" | 100 | LF | X |  | 0
A0075 | Copper/3" round | 100 | LF | X |  | 0
A0076 | Copper/4" round | 100 | LF | X |  | 0
A0077 | Copper/6" round | 100 | LF | X |  | 0
A0078 | Prefinished alum 2" x 3" | 100 | LF | X |  | 0
A0079 | Prefinished alum 3" x 4" | 100 | LF | X |  | 0
A0080 | Stainless Steel 3" x 4" | 100 | LF | X |  | 0
A0081 | Provide and place new concrete splash block | 100 | EA | X |  | 0
(standard commercial size)
Gutters, Downspouts and Drains
A0082 | Remove and dispose of existing gutters and/or downspouts | 200 | LF | X |  | 0
A0083 | Remove and reinstall existing gutters and/or downspouts. Reseal all joints | 200 | LF | X |  | 0
A0084 | Realign and resecure existing gutters and/or downspouts (Replace hangers, fasteners and straps) as needed. Reseal all joints. | 200 | LF | X |  | 0
A0085 | Resolder broken gutter joints | 20 | EA | X |  | 0
A0086 | Reseal, broken gutter joints | 20 | EA | X |  | 0
A0087 | Clean and clear gutters and dispose of all debris from site | 5000 | LF | X |  | 0
Remove existing metal open valley flashing and replace with new metal valley flashing
A0088 | Copper | 100 | SF | X |  | 0
A0089 | Aluminum | 100 | SF | X |  | 0
A0090 | Aluminum/various colors | 100 | SF | X |  | 0
A0091 | Stainless Steel | 100 | SF | X |  | 0
Remove existing metal flashing/miscellaneous
A0092 | Copper | 100 | SF | X |  | 0
A0093 | Aluminum | 100 | SF | X |  | 0
A0094 | Aluminum/various colors | 100 | SF | X |  | 0
A0095 | Stainless Steel | 100 | SF | X |  | 0
A0096 | Compatible w/EPDM & CPE | 100 | SF | X |  | 0
Remove existing pitch pocket and 'replace with new
A0097 | Copper | 100 | SF | X |  | 0
A0098 | Aluminum | 100 | SF | X |  | 0
A0099 | Stainless steel | 100 | SF | X |  | 0
DRAINS, STRAINERS, SCUPPERS, CONDUCTOR HEADS & SPLASH HEADS
A0100 | Clean and clear roof drains | 20 | EA | X |  | 0
Remove/Replace existing roof drain sumps
A0101 | 6-Pound Lead TPA EPDM roof drain Sumps | 20 | EA | X |  | 0
A0102 | TPA EPDM roof drain sumps (removal only) | 20 | EA | X |  | 0
Provide and install TPA EPDM roof 'drain sumps
A0103 | Provide down spout and roof drain cleaning. | 1500 | LF | X |  | 0
A0104 | Provide power washing The Contractor shall Power Wash roof surfaces and clear drain baskets. (Does not include gutter or down spout cleaning.) | 2000 | LF |  |  | 0
Strainers
A0105 | Metal Strainers | 20 | EA | X |  | 0
A0106 | PVC Strainers | 20 | EA | X |  | 0
A0107 | Metal Strainers | 300 | EA | X |  | 0
A0108 | PVC Strainers | 300 | EA | X |  | 0
Remove existing metal scupper lining and replace with new metal scupper lining
A0109 | Copper | 300 | EA | X |  | 0
A0110 | Stainless Steel | 300 | EA | X |  | 0
Remove existing metal conductor heads and replace with new metal conductor heads
A0111 | Copper | 100 | EA | X |  | 0
A0112 | Stainless Steel | 100 | EA | X |  | 0
Install new metal splash pans
A0113 | Copper | 100 | EA | X |  | 0
A0114 | Stainless Steel | 100 | EA | X |  | 0
Remove existing expansion joints and replacebituminous base flashing, metal counterflashing and metal joint cover
A0115 | Copper | 100 | SF | X |  | 0
A0116 | Aluminum | 100 | SF | X |  | 0
A0117 | Stainless Steel | 100 | SF | X |  | 0
A0118 | Remove existing pipe vent flashing and replace with new lead pipe vent flashing | 100 | EA | X |  | 0
A0119 | Remove existing metal vent collars and replace with new vent collars and accessories | 100 | EA | X |  | 0
A0120 | Install caulking | 110 | LF | X |  | 0
A0121 | Remove existing caulking and replace with new sealant/caulking | 100 | LF | X |  | 0
A0122 | Cut new Reglet In masonry | 100 | LF | X |  | 0
A0123 | Cut new Reglet In concrete | 100 | LF | X |  | 0
A0124 | Remove existing fascia and replace with new fascia board | 100 | BF | X |  | 0
A0125 | Prime and paint fascia board | 100 | SF | X |  | 0
A0126 | Cover existing fascia board with aluminum coil stock (various colors) ASBESTOS ABATEMENT/REMOVAL | 100 | SF | X |  | 0
A0127 | Min. costs incurred for asbestos abatement, for trailer (provide, set-up,& removal) | 100 | EA | X |  | 0
A0128 | Additional cost incurred for the removal and disposal of asbestos containing substances. Regular roofing only. | 2000 | SF | X |  | 0
A0129 | Additional cost incurred for the removal and disposal of asbestos containing substance. (Flashings, Pitch pockets, etc.) | 2000 | SF | X |  | 0
A0130 | Removal of lead based paint. 'Contractor removes loose paint from surface. The contractor furnishes container and the Government disposes. | 2000 | SF | X |  | 0
NON-PREPRICED LABOR, MATERIAL and COMMAND INTEREST WORK
A0131 | Provide all materials and equipment to perform Unit Priced Labor work per the scope and delivery schedule specified in the order. Material costs shall BE NEGOTIATED BY KO. | 1 | LS | X |  | 0
A0132 | Provide labor to perform all Unit Priced Labor work per the scope and delivery schedule specified in the order. MUST BE NEGOTIATED BY KO. | 2000 | HRS | X |  | 0
A0133 | Perform Service call. | 20 | EA | X |  | 0
The Contractor shall respond to service calls within 24 hours of service call request. The contractor shall make necessary repairs to roof or roof system. Service calls are limited to a combined labor and material cost not to exceed $2,500.00.
A0134 | Perform Roof Survey / Assessment up to 50,000 SF in accordance with Attachment B | 1000 | SF | X |  | 0
A0135 | Perform Roof Survey / Assessment over 50,000 SF and up to 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0136 | Perform Roof Survey / Assessment over 100,000 SF in accordance with Attachment B. | 1000 | SF | X |  | 0
A0137 | Bldg. 1 NSAP Spring power washing, minor deficiency repairs, drain cleaning, and analysis report. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
A0138 | Bldg. 1 NSAP Fall drain cleaning, Roof analysis and minor repairs. 100,000 sq ft epoxy coated roofing system. | 1 | EV |  |  | 0
| Total Price for BASE OPTION YEAR (IQ) Price Work Items - CLIN 0001 (Sum of Exhibit Line Items A0001- A0138) |  |  |  |  | 0

## Summary
Roofing Summary
Base Option | 0
Option Year 1 | 0
Option Year 2 | 0
Option year 3 | 0
Option Year 4 | 0
Total | 0