## ATTACHMENT 2
Attachment 2 |  |  | USCA26R0001 - National On-Site Drug Lab - Location_Volume_Info
Laboratory Info | Instruments to be delivered | Estimated tests conducted monthly | Work stations for data mgmt training | Installation Space Considerations
San Diego Pretrial regional lab | (2) instruments capable | 45000 | total stations: 5 | Deliveries must call 24 hours before delivery/pick up.
U.S. Pretrial Laboratory | of testing no less than | (performs testing for |  | There is a low clearance to the loading dock. The truck cannot be taller than 13'4". If truck is too tall, you must wheel items down to the loading dock.
333 W. Broadway, Ste. 600 | 800 tests per hour | 3 districts) |  | Deliveries must enter on State Street and all to be delivered inside. All deliveries must be brought up to office suite and all trash must be removed by vendor.
San Diego, CA 92101 |  |  |  | Lab is the 6th floor and the freight elevator has a weight limit.
There is a narrow hallway and the door to the lab is 32 inches wide.
Central Islip Probation lab | (1) instruments capable | 2000 | total stations: 1 | 120 sq. ft
U.S. Courthouse | of testing no less than | (single district testing only) |  | no direct lines to water source
202 Federal Plaza | 100 tests per hour |  |  | no moving restrictions
2nd Floor |  |  |  | loading dock available - security needs notification before delivery
Central Islip, NY 11722
St. Louis Probation regional lab | (2) instruments capable | 36000 | total stations: 2 | delivery/removal personal will have to pass security clearance required of the courthouse
U.S. Probation Office | of testing no less than | (performs testing for |  | Narrow doorways that will need the doors removed
111 S. 10th Street, Ste. 1.424 | 800 tests per hour | 8 districts) |  | Loading dock available
St. Louis, MO 63102
NY City (Pearl St) Pretrial lab | (1) instruments capable | 1000 | total stations: 1 | No direct lines to water source
U.S. Courthouse | of testing no less than | (single district testing only) |  | Need date and eta so security clearance available
500 Pearl St., Room 550 | 100 tests per hour
New York, NY 10007
NY City (Pearl St) Probation lab | (1) instruments capable | 3500 | total stations: 1 | need 24 hours advance notice for dock access
U.S. Courthouse | of testing no less than | (single district testing only) |  | info: company name, address, phone #, delivery date, eta
500 Pearl St., 7th floor | 100 tests per hour |  |  | driver/occupant names must match ID, last 4 digits of SS#, and driver cell #
New York, NY 70007 |  |  |  | vehicle year, make, model, color, plate and state of issuance
desription of goods arriving
Charlotte Consolidated lab | (1) instruments capable | 6000 | total stations: 1 | Need to complete loading dock info form (has to be submitted 2 p.m. 2 days prior to delivery).
U.S. Probation Office | of testing no less than | (single district testing only) |  | Max height for any vehicle cannot exceed 12'6".
401 W. Trade St., Ste. 1100 | 400 tests per hour
Charlotte, NC 28202
Jacksonville Pretrial lab | (1) instruments capable | 5000 | total stations: 2 | has a loading dock
U.S. Courthouse | of testing no less than | (single district testing only) |  | lab entry doorway is 34.5" wide
300 N, Hogan St., Ste 2-200 | 400 tests per hour
Jacksonville, FL 32202
Miami Consolidated lab | (2) instruments capable | 5500 | total stations: 2 | Marshals need 1 week for clearance for removal and install
Wilkie D. Ferguson Federal Courthouse | of testing no less than | (single district testing only) |  | Need to provide 1 week advance notice of technician names
400 N. Miami Ave., 9th floor N | 100 tests per hour |  |  | Need advance notice of delivery date
Miami, FL 33128
San Antonio Pretrial regional lab | (2) instruments capable | 34500 | total stations: 3 | security checkpoint to access a back loading dock
U.S. Pretrial Services Office | of testing no less than | (performs testing for
262 W. Nueva, Ste. 1-200 | 800 tests per hour | 5 districts)
San Antonio, TX 78207-4529
Seattle Consolidated lab | (1) instruments capable | 7000 | total stations: 1 | Need to schedule with court security/Marshal service for delivery
U.S. District Court | of testing no less than | (single district testing only)
700 Stewart St., Ste. 10101 | 400 tests per hour
Seattle, WA 98101
Indianpolis Consolidated lab | (1) instruments capable | 2500 | total stations: 1
U.S. Courthouse | of testing no less than | (single district testing only) |  | Loading dock available
46 East Ohio St., Suite 101 | 100 tests per hour
Indianapolis, IN 46204
Chicago Pretrial lab | (2) instruments capable | 6500 | total stations: 2 | official govt ID required to enter building
U.S. Courthouse | of testing no less than | (single district testing only) |  | loading dock in subfloor - clearance 13.6'
219 S. Dearborn, Suite 15100 | 100 tests per hour |  |  | lab space is 288 sq feet approx. with a 75 sq feet for storage
Chicago, IL 60630 |  |  |  | main water source is approx 5 feet away from analyzers
Taunton Consolidated regional lab | (1) instruments capable | 7500 | total stations: 1 | depending on size of instrument, may need to remove door frame
U.S. Courthouse | of testing no less than | (performs testing for
104 Dean St., Ste. 102 | 400 tests per hour | 4 districts)
Taunton, MA 02780
Albuquerque Consolidated regional lab | (2) instruments capable | 68000 | total stations: 6 | move of equipment requires prior approval for GSA and FPS; truck inspected by FPS
Dennis Chavez Federal Building | of testing no less than | (performs testing for |  | those entering building subject to metal detectro screening and security screen by FPS
500 Gold Ave., Ste. 10226 | 800 tests per hour | 12 districts) |  | equipment has to load through basement entrance on E side of bldg
Albuquerque, NM 87102 |  |  |  | trucks cannot drive into basement but can drive down ramp to parking and unload and roll into basement
clearance height 6'9" - platform lift in the basement; freight elevator clearance is 81"Hx66"W
doorway: basement to freight elevator 84"H x 90 W"; elevator door 84"Hx58"W, 92" front to back
door elevator to hallway 82"Hx58"W; lab entry door 83"x55"W; interior lab door 83"Hx70W (can remove doors if necessary)
Buffalo Consolidated regional lab | (1) instruments capable | 10500 | total stations: 2 | GSA will assist with loading dock and can escort all reps for deintall and install
U.S. Courthouse | of testing no less than | (performs testing for |  | Door openings from docl to lab 32.5" and hallways measure 4'2.5" wide
2 Niagara Square, Room 140 | 400 tests per hour | 4 districts)
Buffalo, NY 14224
San Juan Consolidated lab | (2) instruments capable | 7000 | total stations: 2 | loading dock available 8:30 a.m. - 4:00 p.m. M-F
Federico Degetau Federal Bldg | of testing no less than | (single district testing only) |  | access restrictions - coordinate 1 week in advance for deinstall/install
150 Carlos Chardon Ave, Room G1051 | 100 tests per hour |  |  | need info on vehicle, license, names, up to date real ID or passport
San Juan, PR 00198 |  |  |  | no storage capability
lab will be relocating in 2026
Alexandria Consolidated lab | (1) instruments capable | 7000 | total stations: 1
Albert V. Bryan Courthouse | of testing no less than | (single district testing only) |  | instrument may need to be disassemble for install
401 Courthouse Square, 3rd floor | 400 tests per hour |  |  | if contractor present more than 2 days, needs clearance through USMS (names, identifier) - background takes 2 days
Alexandria, VA 22314
Brooklyn Probation lab | (1) instruments capable | 3500 | total stations: 1 | loading dock entrance is narrow and unable to have high truck enter
U.S. Probation Office | of testing no less than | (single district testing only)
27 Johnson St., Room 1525 | 100 tests per hour
Brooklyn, NY 11201