SOLICITATION FORMAT OF STATEMENT OF WORK

SECTION – CARESTREAM HEALTH INC

DESCRIPTION/SPECIFICATIONS

FOR PREVENTIVE MAINTENANCE/EMERGENCY SERVICE

FOR MEDICAL EQUIPMENT

### 1.	EQUIPMENT IDENTIFICATION:

A.	NAME/DESCRIPTION OF EQUIPMENT:

MANUFACTURER - CARESTREAM	 HEALTH, INC.

MODEL - 	X-RAY DETECTORS

SERIAL NUMBERS - T248H306NV01, 221330100589, 221330100586, T2381276NG01, 210630100549, 210560110635, 210830100607, 154930100273, 133600138523, T238C287NH01

LOCATION – SFVA BUILDING 200, RADIOLOGY; OAKLAND CBOC

2.	DEFINITIONS/ACRONYMS:

A.	Biomedical Engineer(ing) - Supervisor or designee.

B.	CO - Contracting Officer

C.	COTR - Contracting Officer's Technical Representative

D.	PM - Preventive Maintenance Inspection.  Services which are periodic in nature and are required to maintain the equipment in such condition that it may be operated in accordance with its intended design and functional capacity with minimal incidence of malfunction or inoperative conditions.

E.	FSE - Field Service Engineer.  A person who is authorized by the contractor to perform maintenance (corrective and/or preventive) services on the VAMC premises.

F.	ESR - Vendor Engineering Service Report.  A documentation of the services rendered for each incidence of work performance under the terms and conditions of the contract.

G.	Acceptance Signature - VA employee who is authorized to sign-off on the ESR which indicates that the PM has been concluded or is still pending completion, or that the Emergency Repair has been accomplished or is still in a pending status.

H.	Authorization Signature - COTR signature; indicates COTR accepts work status as stated in ESR.

I.	NFPA - National Fire Protection Association.

J.	CDRH - Center for Devices and Radiological Health.

K.	VAMC - Department of Veterans Affairs Medical Center

L.	VAH - Department of Veterans Affairs Hospital

3.	CONFORMANCE STANDARDS: - Contract service shall ensure that the equipment functions in conformance with the latest published edition of NFPA-99, UL, VA, and CDRH.

4.	OPERATIONAL UPTIME - REQUIREMENTS: - The CARESTREAM X-RAY DETECTORS shall be operable and available for use 94% of the normal operating hours of the equipment as detailed in paragraph V., HOURS OF COVERAGE.  Downtime will be computed from notification of problem during normal work hours.  Scheduled maintenance will be excluded from downtime.  Operational Uptime will be computed during a month-long time period.  Repeated failure to meet this requirement can subject the contractor to DEFAULT action.

5.	HOURS OF COVERAGE:

- Normal hours of coverage are Monday through Friday from 8:00 AM to 5:00 PM, excluding federal holidays.  24-hour expert phone support is also included. All service/repairs will be performed during normal hours of coverage unless requested or approved by Contracting Officer Representative or Designee.

B.	Preventive maintenance will be performed in accordance with manufacturer’s recommendations. Preventive maintenance will be performed at the OEM and a loaner will be provided prior to service. Loaner will be free of charge including freight.

C.	Work performed outside the normal hours of coverage at the request of Contracting Officer Representative or Designee will be billed at the price listed in the Service Contract.  Billing will include service time plus one (1) hour for travel time and exclude parts.  Work performed outside the normal hours of coverage at the request of FSE will be considered service during normal hours of coverage.

NOTE: - Hardware/software update/upgrade installations will be scheduled and performed outside normal hours of coverage at no additional charge to the Government (unless it would be detrimental to equipment up-time; to be determined by Contracting Officer Representative or Designee).  Government provides software/hardware upgrade/update.

D.	Federal Holidays observed by the VAMC are:

New Years' Day

Martin Luther King Day

Presidents' Day

Memorial Day

Independence Day

Labor Day

Columbus Day

Veterans' Day

Thanksgiving Day

Christmas Day

6.	UNSCHEDULED MAINTENANCE (Emergency Repair Service):

A.	Contractor shall maintain the equipment in accordance with the original equipment manufacturer's specifications.  The Contractor will provide repair service which may consist of calibration, cleaning, oiling, adjusting, replacing parts, and maintaining the equipment, including all intervening calls necessary between regular services and calibrations.  All required parts shall be furnished. All required parts shall be furnished with OEM parts.

B.	The CO, Contracting Officer Representative or designated alternate has the authority to approve/request a service call from the Contractor.

C.	Response Time: - Contractor's FSE must respond with a phone call to Contracting Officer Representative or Designee within 4 hours after receipt of telephoned notification during normal hours of coverage.  If the problem cannot be corrected by phone, the FSE will commence work (on-site physical response) within 2 business days, or as agreed upon per event, after receipt of this second notification and will proceed progressively to completion without undue delay.  For example, if hours of coverage are 08:00 AM to 05:00 PM, Mon. thru Fri., a 4-hour response means, if a call is placed at 8:45 AM., Monday August 10th; the FSE must start on-site service before 8:45 AM, Wednesday, August 12th.  Emergency Repairs performed outside the normal hours of coverage, at the request of Contracting Officer Representative or Designee will be billed at the price listed in Section B.

7.	SCHEDULED MAINTENANCE:

- The Contractor shall perform PM Service to ensure that equipment listed in the schedule performs in accordance with Section 3, Conformance Standards.  (An outline of the PM procedures and schedule shall be provided to Contracting Officer Representative or Designee).  The Contractor shall provide and utilize procedures and checklists with worksheet originals indicating work performed and actual values obtained (as applicable).  This documentation shall be provided to Designee at the completion of the PM (preferably in electronic format).  The contractor shall provide written description of Preventive Maintenance Inspections (PMI).  This description shall include an itemized list of the procedures performed, including electrical safety.  PM services shall include, but need not be limited to, the following:

1)	Cleaning of equipment.

2)	Reviewing operating system software diagnostics to ensure that the system is operating in accordance with Section 3, Conformance Standards or the manufacturer's specifications.

3)	Calibrating and lubricating the equipment.

4)	Performing remedial maintenance of non-emergent nature.

5)	Testing and replacing faulty and worn parts and/or parts likely to become faulty, fail or become worn.

6)	Inspecting and replacing where indicated, electrical wiring and cables for wear and fraying.

7)	Inspecting, and replacing where indicated, all mechanical components which may include, but is not limited to: X-ray tube mounting hardware, patient restraints and support devices, cables and mounting hardware, chains, belts, bearings and tracks, interlocks, clutches, motors, keyboards, and patient couches for mechanical integrity, safety, and performance.

8)	Returning the equipment to the operating condition [defined in Section 3, Conformance Standards].

9)	Providing documentation of services performed.

10)	Inspecting and calibrating the hard copy image device.

B.	PM Services shall be performed in accordance with, and during the hours defined in, the preventive maintenance schedule established herein.  All exceptions to the PM schedule shall be arranged and approved in advance with Contracting Officer Representative or Designee.

C.	Any charges for parts, services, manuals, tools, or software required to successfully complete scheduled PM are included within this contract, and its agreed upon price, unless specifically stated in writing otherwise.

8.	PARTS: - The Contractor shall furnish and replace parts to meet uptime requirements.  The Contractor has ready access to all Original Equipment Manufacture parts, including unique and/or high mortality replacement parts.  All parts supplied shall be from the Original Equipment Manufacturer.  The contract shall include all parts; all parts shall be of current manufacture and have complete versatility with the presently installed equipment. All parts shall perform identically to the original equipment specifications.  The contract allows for one free rental up to 5 days per contract year per device.

9.	SERVICE MANUALS/TOOLS/EQUIPMENT: - The VAMC shall not provide tools, (test) equipment, service manuals or service diagnostic software to the contractor.  The contractor shall obtain, have on file, and make available to its FSE's all operational and technical documentation (such as; operational and service manuals, schematics, and parts list) which are necessary to meet the performance requirements of this contract.  The location and listing of the service data manuals, by name and/or the manuals themselves shall be provided to the CO upon request.

10.	DOCUMENTATION/REPORTS: - The documentation shall include detailed descriptions of the scheduled and unscheduled maintenance (i.e., Emergency repairs) procedures performed, including replaced parts and prices (for outside normal working hour services) required to maintain the equipment in accordance with {Section 3, Conformance Standards or the manufacturer's specifications}.  Such documentation shall meet the guidelines as set forth in the {Conformance Standards section}. The ESR will consist of a separate PM report for the item(s) covered under the "specific" contract.  Grouping different equipment from different contracts on "one" ESR is prohibited. In addition, each ESR must, at a minimum, document the following data legibly and in complete detail:

A.	Name of contractor and contract number.

B.	Name of FSE who performed services.

C.	Contractor service ESR number/log number.

D.	Date, time (starting and ending), equipment downtime and hours on-site for service call.

E.	VA purchase order number(s) covering the call if outside normal working hours.

F.	Description of problem reported by Contracting Officer Representative, Designee, or user (if applicable).

G.	Identification of equipment to be serviced:

1)	Inventory ID number,

2)	Manufacturer's name,

3)	Device name,

4)	Model number,

5)	Serial number,

6)	Any other manufacturer's identification numbers.

H.	Itemized Description of Service Performed (including, if applicable, Costs associated with after normal working hour services) including:

1)	Labor and Travel,

2)	Parts (with part numbers),

3)	Materials and Circuit Location of problem/corrective action.

I.	Total Cost to be billed (if applicable - i.e., part(s) not covered, or service rendered after normal hours of coverage).

J.	Signatures:

1)	FSE performing services described.

2)	Authorized VA Employee who witnessed service described.

NOTE: - Any additional charges claimed must be approved by Contracting Officer Representative or Designee before service is completed!

11.	REPORTING REQUIREMENTS: - The Contractor shall be required to report to Biomedical Engineering to log in.  This check in is mandatory.  When the service is completed, the FSE shall document services rendered on a legible ESR(s).  The FSE shall be required to log out with Biomedical Engineering and submit the ESR(s) to Contracting Officer Representative or Designee.  ALL ESRs shall be submitted to the equipment user for an "acceptance signature" and to Contracting Officer Representative or Designee for an "authorization signature".  If Designee is unavailable, a signed, authorized copy of the ESR will be sent to the Contractor after the work can be reviewed (if requested or noted on the ESR).

VA Biomedical Contact Person(s): Menitte Eroy				_____

Telephone Number & Extension(s): 415-221-4810 x24296			__________

Location: Building 203, Room 1B-79, Biomedical Engineering Office

- PAYMENT: - Invoices will be paid in arrears on a quarterly basis. Invoices, MUST

INCLUDE, at a minimum, the following information: Contract No., Purchase

Order No., Item(s) covered (to include serial #'s) by the PMI and covered period

of service.

13.	ADDITIONAL CHARGES: - There will be no additional charge for time spent at the site (during, or after the normal hours of coverage) awaiting the arrival of additional FSE and/or delivery of parts.

14.	REPORTING REQUIRED SERVICES BEYOND THE CONTRACT SCOPE: - The Contractor shall immediately, but no later than 24 (twenty-four) consecutive hours after discovery, notify the CO and Contracting Officer Representative (in writing) of the existence or the development of any defects in, or repairs required, to the scheduled equipment which the Contractor considers he/she is not responsible for under the terms of the contract.  The Contractor shall furnish the CO and Contracting Officer Representative or Designee with a written estimate of the cost to make necessary repairs.

15.	CONDITION OF EQUIPMENT: - The Contractor accepts responsibility for the equipment described in Section C, paragraph I., in "as is" condition.  Failure to inspect the equipment prior to contract award will not relieve the Contractor from performance of the requirements of this contract.

16.	COMPETENCY OF PERSONNEL SERVICING EQUIPMENT:

A.	Each respondent must have an established business, with an office and full-time staff.  The staff includes a "fully qualified" FSE and a "fully qualified" FSE who will serve as the backup.

B.	"Fully Qualified" is based upon training and on experience in the field.  For training, the FSE(s) has successfully completed a formalized training program, for the equipment identified in the Section B schedule.  For field experience, the FSE(s) has a minimum of two years of experience (except for equipment newly on the market) with respect to scheduled and unscheduled preventive and remedial maintenance.

C.	The FSEs shall be authorized by the Contractor to perform the maintenance services.  All work shall be performed by "Fully Qualified" competent FSEs.  The Contractor shall provide written assurance of the competency of their personnel and a list of credentials of approved FSEs for each make and model the Contractor services at the VAMC.  The CO may authenticate the training requirements, request training certificates or credentials from the Contractor at any time for any personnel who are servicing or installing any VAMC equipment.  The CO and/or Contracting Officer Representative specifically reserve the right to reject any of the Contractor's personnel and refuse them permission to work on the VAMC equipment.

D.	If subcontractor(s) are used, they must be approved by the CO; the Contractor shall submit any proposed change in subcontractor(s) to the CO for approval/disapproval.

17.	TEST EQUIPMENT: - Prior to commencement of work on this contract, the Contractor shall provide the VAMC with a copy of the current calibration certification of all test equipment which is to be used by the Contractor on VAMC's equipment.  This certification shall also be provided on a periodic basis when requested by the VAMC.  Test equipment calibration shall be traceable to a national standard.

18.	MOBILE MEDIA SCANNING: - The Contractor will identify if removable media (i.e. USB or DVD/CD Device) is required to perform his/her duties. Contracting Officer Representative or Designee will ensure the removable media is scanned with anti-virus software running current virus definitions prior to connection to any medical device system. The computer system for scanning removable media is in the Biomedical Engineering Shop, Building 6, Room 11.

19.	IDENTIFICATION, PARKING, SMOKING, AND VA REGULATIONS: - The Contractor's FSEs shall always wear visible identification while on the premises of the VAMC.  It is the responsibility of the Contractor to park in the appropriate designated parking areas.  Information on parking is available from the VA Police Section.  The VAMC will not invalidate or make reimbursement for parking violations of the Contractor under any conditions.  Smoking is prohibited inside any buildings at the VAMC.  Possession of weapons is prohibited.  Enclosed containers, including tool kits, shall be subject to search.  Violations of VA regulations may result in citation answerable in the United States (Federal) District Court, not a local district, state, or municipal court.

20.	INSURANCE:

A.	Worker compensation and employer's liability: - Contractors are required to comply with applicable Federal and State Worker Compensation and occupational disease statutes.

B.	General Liability: - Contractors are required to have Bodily Injury Liability Insurance coverage written on the comprehensive form of policy of at least $500,000 per occurrence.

C.	Property Damage Liability: - Contractors are required to have Property Damage Liability insurance coverage of at least $500,000.

Device will be sent to vendor or Contractor will be on site to perform maintenance/repair/upgrades. Contractor will not touch VA network and no VA sensitive information or PHI/PII is involved.

# APPENDIX C — VA INFORMATION AND INFORMATION SYSTEM SECURITY AND PRIVACY LANGUAGE FOR INCLUSION IN CONTRACTS, AS APPROPRIATE

NOTE: Any sections (1-14) which DO NOT apply should not be included in the Statement of Work (SOW), Performance Work Statement (PWS), Product Description (PD) or contract.

- GENERAL. This entire section applies to all acquisitions requiring any Information Security and Privacy language. Contractors, contractor personnel, subcontractors and subcontractor personnel will be subject to the same federal laws, regulations, standards, VA directives and handbooks, as VA personnel regarding information and information system security and privacy.

- VA INFORMATION CUSTODIAL LANGUAGE. This entire section applies to all acquisitions requiring any Information Security and Privacy language.

  - The Government shall receive unlimited rights to data/intellectual property first produced and delivered in the performance of this contract or order (hereinafter “contract”) unless expressly stated otherwise in this contract. This includes all rights to source code and all documentation created in support thereof. The primary clause used to define Government and Contractor data rights is FAR 52.227-14 Rights in Data – General. The primary clause used to define computer software license (not data/intellectual property first produced under this contractor or order) is FAR 52.227-19, Commercial Computer Software License.

  - Information made available to the contractor by VA for the performance or administration of this contract will be used only for the purposes specified in the service agreement, SOW, PWS, PD, and/or contract. The contractor shall not use VA information in any other manner without prior written approval from a VA Contracting Officer (CO). The primary clause used to define Government and Contractor data rights is FAR 52.227-14 Rights in Data – General.

  - VA information will not be co-mingled with any other data on the contractor’s information systems or media storage systems. The contractor shall ensure compliance with Federal and VA requirements related to data protection, data encryption, physical data segregation, logical data segregation, classification requirements and media sanitization.

  - VA reserves the right to conduct scheduled or unscheduled audits, assessments, or investigations of contractor Information Technology (IT) resources to ensure information security is compliant with Federal and VA requirements. The contractor shall provide all necessary access to records (including electronic and documentary materials related to the contracts and subcontracts) and support (including access to contractor and subcontractor staff associated with the contract) to VA, VA's Office Inspector General (OIG), and/or Government Accountability Office (GAO) staff during periodic control assessments, audits, or investigations.

  - The contractor may only use VA information within the terms of the contract and applicable Federal law, regulations, and VA policies. If new Federal information security laws, regulations or VA policies become applicable after execution of the contract, the parties agree to negotiate contract modification and adjustment necessary to implement the new laws, regulations, and/or policies.

  - The contractor shall not make copies of VA information except as specifically authorized and necessary to perform the terms of the contract. If copies are made for restoration purposes, after the restoration is complete, the copies shall be destroyed in accordance with VA Directive 6500, VA Cybersecurity Program and VA Information Security Knowledge Service.

  - If a Veterans Health Administration (VHA) contract is terminated for default or cause with a business associate, the related local Business Associate Agreement (BAA) shall also be terminated and actions taken in accordance with VHA Directive 1605.05, Business Associate Agreements. If there is an executed national BAA associated with the contract, VA will determine what actions are appropriate and notify the contactor.

  - The contractor shall store and transmit VA sensitive information in an encrypted form, using VA-approved encryption tools which are, at a minimum, Federal Information Processing Standards (FIPS) 140-2, Security Requirements for Cryptographic Modules (or its successor) validated and in conformance with VA Information Security Knowledge Service requirements. The contractor shall transmit VA sensitive information using VA approved Transport Layer Security (TLS) configured with FIPS based cipher suites in conformance with National Institute of Standards and Technology (NIST) 800-52, Guidelines for the Selection, Configuration and Use of Transport Layer Security (TLS) Implementations.

  - The contractor’s firewall and web services security controls, as applicable, shall meet or exceed VA’s minimum requirements.

  - Except for uses and disclosures of VA information authorized by this contract for performance of the contract, the contractor may use and disclose VA information only in two situations: (i) in response to a qualifying order of a court of competent jurisdiction after notification to VA CO (ii) with written approval from the VA CO. The contractor shall refer all requests for, demands for production of or inquiries about VA information and information systems to the VA CO for response.

  - Notwithstanding the provision above, the contractor shall not release VA records protected by Title 38 U.S.C. § 5705, Confidentiality of medical quality- assurance records and/or Title 38 U.S.C. § 7332, Confidentiality of certain medical records pertaining to drug addiction, sickle cell anemia, alcoholism or alcohol abuse or infection with Human Immunodeficiency Virus (HIV). If the contractor is in receipt of a court order or other requests for the above-mentioned information, the contractor shall immediately refer such court order or other requests to the VA CO for response.

  - Information made available to the contractor by VA for the performance or administration of this contract or information developed by the contractor in performance or administration of the contract will be protected and secured in accordance with VA Directive 6500 and Identity and Access Management (IAM) Security processes specified in the VA Information Security Knowledge Service.

  - Any data destruction done on behalf of VA by a contractor shall be done in accordance with National Archives and Records Administration (NARA) requirements as outlined in VA Directive 6300, Records and Information Management, VA Handbook 6300.1, Records Management Procedures, and applicable VA Records Control Schedules.

  - The contractor shall provide its plan for destruction of all VA data in its possession according to VA Directive 6500 and NIST 800-88, Guidelines for Media Sanitization prior to termination or completion of this contract. If directed by the COR/CO, the contractor shall return all Federal Records to VA for disposition.

  - Any media, such as paper, magnetic tape, magnetic disks, solid state devices or optical discs that is used to store, process, or access VA information that cannot be destroyed shall be returned to VA. The contractor shall hold the appropriate material until otherwise directed by the Contracting Officer’s Representative (COR) or CO. Items shall be returned securely via VA-approved methods. VA sensitive information must be transmitted utilizing VA-approved encryption tools which are validated under FIPS 140-2 (or its successor) and NIST 800-52. If mailed, the contractor shall send via a trackable method (USPS, UPS, FedEx, etc.) and immediately provide the COR/CO with the tracking information. Self-certification by the contractor that the data destruction requirements above have been met shall be sent to the COR/CO within 30 business days of termination of the contract.

  - All electronic storage media (hard drives, optical disks, CDs, back-up tapes, etc.) used to store, process or access VA information will not be returned to the contractor at the end of lease, loan, or trade-in. Exceptions to this paragraph will only be granted with the written approval of the VA CO.

- ACCESS TO VA INFORMATION AND VA INFORMATION SYSTEMS. This section

applies when any person requires access to information made available to the contractor by VA for the performance or administration of this contract or information developed by the contractor in performance or administration of the contract. A contractor/subcontractor shall request logical (technical) or physical access to VA information and VA information systems for their employees and subcontractors only to the extent necessary to perform the services specified in the solicitation or contract. This includes indirect entities, both affiliate of contractor/subcontractor and agent of contractor/subcontractor.

  - Contractors and subcontractors shall sign the VA Information Security Rule of Behavior (ROB) before access is provided to VA information and information systems (see Section 4, Training, below). The ROB contains the minimum user compliance requirements and does not supersede any policies of VA facilities or other agency components which provide higher levels of protection to VA’s information or information systems. Users who require privileged access shall complete the VA elevated privilege access request processes before privileged access is granted.

  - All contractors and subcontractors working with VA information are subject to the same security investigative and clearance requirements as those of VA appointees or employees who have access to the same types of information. The level and process of background security investigations for contractors shall be in accordance with VA Directive and Handbook 0710, Personnel Suitability and Security Program. The Office of Human Resources and Administration/Operations, Security and Preparedness (HRA/OSP) is responsible for these policies and procedures. Contract personnel who require access to classified information or information systems shall have an appropriate security clearance. Verification of a Security Clearance shall be processed through the Special Security Officer located in HRA/OSP. Contractors shall conform to all requirements stated in the National Industrial Security Program Operating Manual (NISPOM).

  - All contractors and subcontractors shall comply with conditions specified in VAAR 852.204-71(d); Contractor operations required to be in United States. All contractors and subcontractors working with VA information must be permanently located within a jurisdiction subject to the law of the United States or its Territories to the maximum extent feasible. If services are proposed to be performed abroad the contractor must state where all non-U.S. services are provided. The contractor shall deliver to VA a detailed plan specifically addressing communications, personnel control, data protection and potential legal issues. The plan shall be approved by the COR/CO in writing prior to access being granted.

  - The contractor shall notify the COR/CO in writing immediately (no later than 24 hours) after personnel separation or occurrence of other causes. Causes may include the following:

    - Contractor/subcontractor personnel no longer has a need for access to VA information or VA information systems.

    - Contractor/subcontractor personnel are terminated, suspended, or otherwise has their work on a VA project discontinued for any reason.

    - Contractor believes their own personnel or subcontractor personnel may pose a threat to their company’s working environment or to any company- owned property. This includes contractor-owned assets, buildings, confidential data, customers, employees, networks, systems, trade secrets and/or VA data.

    - Any previously undisclosed changes to contractor/subcontractor background history are brought to light, including but not limited to changes to background investigation or employee record.

    - Contractor/subcontractor personnel have their authorization to work in the United States revoked.

    - Agreement by which contractor provides products and services to VA has either been fulfilled or terminated, such that VA can cut off electronic and/or physical access for contractor personnel.

  - In such cases of contract fulfillment, termination, or other causes; the contractor shall take the necessary measures to immediately revoke access to VA network, property, information, and information systems (logical and physical) by contractor/subcontractor personnel. These measures include (but are not limited to): removing and then securing Personal Identity Verification (PIV) badges and PIV – Interoperable (PIV-I) access badges, VA-issued photo badges, credentials for VA facilities and devices, VA-issued laptops, and authentication tokens. Contractors shall notify the appropriate VA COR/CO immediately to initiate access removal.

  - Contractors/subcontractors who no longer require VA accesses will return VA- issued property to VA. This property includes (but is not limited to): documents, electronic equipment, keys, and parking passes. PIV and PIV-I access badges shall be returned to the nearest VA PIV Badge Issuance Office. Once they have had access to VA information, information systems, networks and VA property in their possessions removed, contractors shall notify the appropriate VA COR/CO.

- TRAINING. This entire section applies to all acquisitions which include section 3.

  - All contractors and subcontractors requiring access to VA information and VA information systems shall successfully complete the following before being granted access to VA information and its systems:

    - VA Privacy and Information Security Awareness and Rules of Behavior course (Talent Management System (TMS) #10176) initially and annually thereafter. Sign and acknowledge (electronically through TMS #10176) understanding of and responsibilities for compliance with the Organizational Rules of Behavior, relating to access to VA information and information systems initially and annually thereafter; and

    - Successfully complete any additional cyber security or privacy training, as required for VA personnel with equivalent information system or information access [to be defined by the VA program official and provided to the VA CO for inclusion in the solicitation document – i.e., any role- based information security training].

  - The contractor shall provide to the COR/CO a copy of the training certificates and certification of signing the Organizational Rules of Behavior for each applicable employee within five days of the initiation of the contract and annually thereafter, as required.

  - Failure to complete the mandatory annual training is grounds for suspension or termination of all physical or electronic access privileges and removal from work on the contract until such time as the required training is complete.

- SECURITY INCIDENT INVESTIGATION. This entire section applies to all acquisitions requiring any Information Security and Privacy language.

  - The contractor, subcontractor, their employees, or business associates shall immediately (within one hour) report suspected security / privacy incidents to the VA OIT’s Enterprise Service Desk (ESD) by calling (855) 673-4357 (TTY: 711). The ESD is OIT’s 24/7/365 single point of contact for IT-related issues. After reporting to the ESD, the contractor, subcontractor, their employees, or business associates shall, within one hour, provide the COR/CO the incident number received from the ESD.

  - To the extent known by the contractor/subcontractor, the contractor/ subcontractor's notice to VA shall identify the information involved and the circumstances surrounding the incident, including the following:

    - The date and time (or approximation of) the Security Incident occurred.

    - The names of individuals involved (when applicable).

    - The physical and logical (if applicable) location of the incident.

    - Why the Security Incident took place (i.e., catalyst for the failure).

    - The amount of data belonging to VA believed to have been compromised.

  - The remediation measures the contractor is taking to ensure no future incidents of a similar nature. After the contractor has provided the initial detailed incident summary to VA, they will continue to provide written updates on any new and relevant circumstances or facts they discover. The contractor, subcontractor, and their employes shall fully cooperate with VA or third-party entity performing an independent risk analysis on behalf of VA. Failure to cooperate may be deemed a material breach and grounds for contract termination.

  - VA IT contractors shall follow VA Handbook 6500, Risk Management Framework for VA Information Systems VA Information Security Program, and VA Information Security Knowledge Service guidance for implementing an Incident Response Plan or integrating with an existing VA implementation.

  - In instances of theft or break-in or other criminal activity, the contractor/subcontractor must concurrently report the incident to the appropriate law enforcement entity (or entities) of jurisdiction, including the VA OIG, and the VA Office of Security and Law Enforcement. The contractor, its employees, and its subcontractors and their employees shall cooperate with VA and any law enforcement authority responsible for the investigation and prosecution of any possible criminal law violation(s) associated with any incident. The contractor/subcontractor shall cooperate with VA in any civil litigation to recover VA information, obtain monetary or other compensation from a third party for damages arising from any incident, or obtain injunctive relief against any third party arising from, or related to, the incident.

  - The contractor shall comply with VA Handbook 6500.2, Management of Breaches Involving Sensitive Personal Information, which establishes the breach management policies and assigns responsibilities for the oversight, management and reporting procedures associated with managing of breaches.

  - With respect to unsecured Protected Health Information (PHI), the contractor is deemed to have discovered a data breach when the contractor knew or should have known of breach of such information. When a business associate is part of VHA contract, notification to the covered entity (VHA) shall be made in accordance with the executed BAA.

If the contractor or any of its agents fails to protect VA sensitive personal information or otherwise engages in conduct which results in a data breach involving any VA sensitive personal information the contractor/subcontractor processes or maintains under the contract; the contractor shall pay liquidated damages to the VA as set forth in clause 852.211-76, Liquidated Damages— Reimbursement for Data Breach Costs.

Based upon review of the PWS/SOW as presented, the contractor will have access to VA sensitive information to fulfill the terms of the contract. However, the contractor does not have access to PII/PHI. A BAA will not be required.

RECORDS MANAGEMENT OBLIGATIONS

A.  Applicability

This clause applies to all Contractors whose employees create, work with, or otherwise handle Federal records, as defined in Section B, regardless of the medium in which the record exists.

B.  Definitions

“Federal record” as defined in 44 U.S.C. § 3301, includes all recorded information, regardless of form or characteristics, made or received by a Federal agency under Federal law or in connection with the transaction of public business and preserved or appropriate for preservation by that agency or its legitimate successor as evidence of the organization, functions, policies, decisions, procedures, operations, or other activities of the United States Government or because of the informational value of data in them.

The term Federal record:

- includes VHA records.

- does not include personal materials.

- applies to records created, received, or maintained by Contractors pursuant to their VHA contract.

- may include deliverables and documentation associated with deliverables.

C.  Requirements

- Contractor shall comply with all applicable records management laws and regulations, as well as National Archives and Records Administration (NARA) records policies, including but not limited to the Federal Records Act (44 U.S.C. chs. 21, 29, 31, 33), NARA regulations at 36 CFR Chapter XII Subchapter B, and those policies associated with the safeguarding of records covered by the Privacy Act of 1974 (5 U.S.C. 552a). These policies include the preservation of all records, regardless of form or characteristics, mode of transmission, or state of completion.

- In accordance with 36 CFR 1222.32, all data created for Government use and delivered to, or falling under the legal control of, the Government are Federal records subject to the provisions of 44 U.S.C. chapters 21, 29, 31, and 33, the Freedom of Information Act (FOIA) (5 U.S.C. 552), as amended, and the Privacy Act of 1974 (5 U.S.C. 552a), as amended and must be managed and scheduled for disposition only as permitted by statute or regulation.

- In accordance with 36 CFR 1222.32, the Contractor shall maintain all records created for Government use or created in the course of performing the contract and/or delivered to, or under the legal control of the Government and must be managed in accordance with Federal law. Electronic records and associated metadata must be accompanied by sufficient technical documentation to permit understanding and use of the records and data.

- VHA and its contractors are responsible for preventing the alienation or unauthorized destruction of records, including all forms of mutilation. Records may not be removed from the legal custody of VHA or destroyed except in accordance with the provisions of the agency records schedules and with the written concurrence of the Head of the Contracting Activity. Willful and unlawful destruction, damage, or alienation of Federal records is subject to the fines and penalties imposed by 18 U.S.C. 2701. In the event of any unlawful or accidental removal, defacing, alteration, or destruction of records, the Contractor must report to VHA. The agency must report promptly to NARA in accordance with 36 CFR 1230.

- The Contractor shall immediately notify the appropriate Contracting Officer upon discovery of any inadvertent or unauthorized disclosures of information, data, documentary materials, records, or equipment. Disclosure of non-public information is limited to authorized personnel with a need-to-know as described in the [contract vehicle]. The Contractor shall ensure that the appropriate personnel, administrative, technical, and physical safeguards are established to ensure the security and confidentiality of this information, data, documentary material, records, and/or equipment is properly protected. The Contractor shall not remove material from Government facilities or systems, or facilities or systems operated or maintained on the Government’s behalf, without the express written permission of the Head of the Contracting Activity. When information, data, documentary material, records, and/or equipment is no longer required, it shall be returned to VHA control or the Contractor must hold it until otherwise directed. Items returned to the Government shall be hand-carried, mailed, emailed, or securely electronically transmitted to the Contracting Officer or address prescribed in the [contract vehicle]. Destruction of records is EXPRESSLY PROHIBITED unless in accordance with Paragraph (4).

- The Contractor is required to obtain the Contracting Officer's approval prior to engaging in any contractual relationship (sub-contractor) in support of this contract requiring the disclosure of information, documentary material, and/or records generated under, or relating to, contracts. The Contractor (and any sub-contractor) is required to abide by Government and VHA guidance for protecting sensitive, proprietary information, classified, and controlled unclassified information.

- The Contractor shall only use Government IT equipment for purposes specifically tied to or authorized by the contract and in accordance with VHA policy.

- The Contractor shall not create or maintain any records containing any non-public VHA information that is not specifically tied to or authorized by the contract.

- The Contractor shall not retain, use, sell, or disseminate copies of any deliverable that contains information covered by the Privacy Act of 1974 or that which is generally protected from public disclosure by an exemption to the Freedom of Information Act.

- The VHA owns the rights to all data and records produced as part of this contract. All deliverables under the contract are the property of the U.S. Government for which VHA shall have unlimited rights to use, dispose of, or disclose such data contained therein as it determines to be in the public interest. Any Contractor rights in the data or deliverables must be identified as required by FAR 52.227-11 through FAR 52.227-20.

- Training.  All Contractor employees assigned to this contract who create, work with or otherwise handle records are required to take VHA-provided records management training. The Contractor is responsible for confirming training has been completed according to agency policies, including initial training and any annual or refresher training.

[Note: To the extent an agency requires contractors to complete records management training, the agency must provide the training to the contractor.]

D.  Flow down of requirements to subcontractors

- The Contractor shall incorporate the substance of this clause, its terms, and requirements including this paragraph, in all subcontracts under this [contract vehicle], and require written subcontractor acknowledgment of same.

- Violation by a subcontractor of any provision set forth in this clause will be attributed to the Contractor.