Specifications

Disposable Trocar Instruments

- 12x150MM KII OPTICAL ACCESS SYSTEM, 6/BX, CFR71

- 5X100MM KII OPTICAL ACCESS SYSTEM, 6/BX, CFR03

- 5X150MM KII OPTICAL ACCESS SYSTEM, 6/BX CFR01

- 11X100MM KII OPTICAL ACCESS SYSTEM, 6/BX, CFR33

- 12X150MM KII FIOS FIRST ENTRY, 6/BX, CFF71

- ALEXIS LAPORASCOPIC SYSTEM, 6/BX, C8501

- 12X100MM OPTICAL ACCESS SYSTEM, 6/BX, CFR73

- 12X130MM KII BALLOON BLUNT TIP, 6/BX, C0R50

- GELPORT HAND ACCESS LAPROSCOPIC SYSTEM, EACH, C8XX2

- 12X100MM KII SHIELD BLADED ACCESS SYSTEM, 6/BX, CFB73

- 12X100MM KII BALLOON BLUNT TIP SYSTEM, 6/BX, C0R47

- 5X100MM KII SHIELD BLADED ACCESS SYSTEM, 6/BX, CFB03

- 5X150MM KII OPTICAL ACCESS SYSTEM, 6/BX, CTR01

- 5X150MMKII FIOS FIRST ENTRY, 6/BX, CFF01

- 8X100MM KII OPTICAL ACCESS SYSTEM , 6/BX, C0Q19

- 11X100MM KII SHIELD BLADED ACCESS SYSTEM, 6/BX, CFB33

- 5X100MM KII SLEEVE, 12/BX, CFS02

- 5X100MM KII OPTICAL ACCESS SYSTEM, 6/BX, CTR03

- 12/15MM RETRIEVAL SYSTEM, 10/BX, CD004

- EPIX UNIVERSAL CLIP APPLIER, 3/BX, CA500

- 10MM RETRIEVAL SYSTEM, 10/BX, CD001

- SCISSOR 5MM LAPAROSCOPY EPIX, 10/BX, CB030