Specifications

Nitrile Exam Gloves

Powder Free Exam Glove, Single-Use, Non-Sterile

Need to meet ASTM D6319

Not made with natural rubber latex

Tested for use with Chemotherapy Drugs per ASTM D6978

Protected against Chemotherapy Drugs exposure

Quantity per box 100, 250, or 300 each accepted

Barrier tested against Fentanyl Exposure and Chemotherapy Drugs

Patient examination gloves use to prevent contamination between patients and examiners

Sizes: Xsmall, Small, Medium, Large and XLarge