## Master PM
DEA HQ Facility Equipment Inventory 1-13-26
Line | BUILDING | LOCATION | MAKE | ASSET # | EQUIPMENT DISCRIPTION | Model | Serial # | SIZE | PM Guide | Frequency
West HVAC Units
1 | 700 Building | 12th Fl CRAC Room | Vertiv-Liebert | CRAC-W12-01 | A/C Critical System | DMC040WGP0N | Y20AG1A181 | 3T | A-07 | 12
2 | 700 Building | 12th Fl CRAC Room | Vertiv-Liebert | CER-W12-01 | A/C Critical System | DME037-PHN | Y20A30A071 | 3T | A-07 | 12
3 | 700 Building | 11th Fl CRAC Room | Vertiv-Liebert | CRAC-W11-01 | A/C Critical System | DMC029WGP0N | Y20AG1A175 | 3T | A-07 | 12
4 | 700 Building | 11th Fl CRAC Room | Vertiv-Liebert | CRAC-W11-01 | A/C Critical System | DME027E-PHN | Y20A30A054 | 3T | A-07 | 12
5 | 700 Building | 11th Fl Roof Top Unit | TRANE | Roof Top Unit to VAV | 2 Compressors Unit | THH150G4RGB100HE1 | 201610082D | 12T | A-07 | 12
6 | 700 Building | 11th Fl-Comm Cntr | TRANE | Vari-Trane FP VAV Un | From Roof Top Unit on Roof | FP-W11070 | N/A |  | A-07 | 12
7 | 700 Building | 11th Fl-Comm Cntr | TRANE | Vari-Trane FP VAV Un | From Roof Top Unit on Roof | FP-W11060 | N/A |  | A-07 | 12
8 | 700 Building | 11th Fl-Comm Cntr | TRANE | Vari-Trane FP VAV Un | From Roof Top Unit on Roof | FP-W11050 | N/A |  | A-07 | 12
9 | 700 Building | 11th Fl-Comm Cntr | TRANE | Vari-Trane FP VAV Un | From Roof Top Unit on Roof | FP-W11055 | N/A |  | A-07 | 12
10 | 700 Building | 10th Fl. CRAC Room | Vertiv-Liebert | CRAC-W10-01 | A/C Critical System | DMC029WGP0N | Y20AG1A102 | 3T | A-07 | 12
11 | 700 Building | 10th Fl.CRAC Room | Vertiv-Liebert | CRAC-W10-01 | A/C Critical System | DME027E-PHN | Y20A30A049 | 3T | A-07 | 12
12 | 700 Building | 9th Fl CRAC Room | Vertiv-Liebert | CRAC-W09-01 | A/C Critical System | DME027E-PHN | Y20A30A068 | 3T | A-07 | 12
13 | 700 Building | 9th Fl CRAC Room | Vertiv-Liebert | CRAC-W09-01 | A/C Critical System | DMC029WGP0N | Y20AG1A138 | 3T | A-07 | 12
14 | 700 Building | 9th Fl Multipurpose RM | Vertiv-Liebert | Multipurpose RM | A/C Critical System | DME027E-PHN | Y20A30A048 | 3T | A-07 | 12
15 | 700 Building | 9th Fl Multipurpose RM | Vertiv-Liebert | Multipurpose RM | A/C Critical System | DME027E-PHN | Y20A30A048 | 3T | A-07 | 12
16 | 700 Building | 8th Fl CRAC Room | Vertiv-Liebert | CRAC-W08-01 | A/C Critical System | DMC029WGP0N | Y20AG1A174 | 3T | A-07 | 12
17 | 700 Building | 8th Fl CRAC Room | Vertiv-Liebert | CRAC-W08-01 | A/C Critical System | DME027E-PHN | Y20A30A056 | 3T | A-07 | 12
18 | 700 Building | 7th Fl SCCR- Room | Vertiv-Liebert | CRAC-W07-01 | A/C Critical System | PX029UW1ADE976 | Y20A6S0023 | 5T | A-07 | 12
19 | 700 Building | 7th Fl COMSEC Room | Vertiv-Liebert | COMSEC Room W-07 | A/C Critical System | VS035-042 | MG012065 | 8T | A-07 | 12
20 | 700 Building | 6th Fl CRAC Room | Vertiv-Liebert | CRAC-W06-01 | A/C Critical System | DMC029WGP0N | Y20AG1A168 | 3T | A-07 | 12
21 | 700 Building | 6th Fl CRAC Room | Vertiv-Liebert | CRAC-W06-01 | A/C Critical System | DME027E-PHN | Y20A30A018 | 3T | A-07 | 12
22 | 700 Building | 5th Fl UPS Room | Vertiv-Liebert | W05 UPS Room | A/C Critical System | DME037E-PHN | Y20A30A079 | 3T | A-07 | 12
23 | 700 Building | 5th Fl UPS Room | Vertiv-Liebert | W05 UPS Room | A/C Critical System | DMC040WGP0N | Y20AG1A185 | 3T | A-07 | 12
24 | 700 Building | 5th Fl CRAC Room | Vertiv-Liebert | CRAC-W05-01 | A/C Critical System | DME027E-PHN | Y20A30A69 | 3T | A-07 | 12
25 | 700 Building | 5th Fl CRAC Room | Vertiv-Liebert | CRAC-W05-01 | A/C Critical System | DMC029WGP0N | Y20AG1A137 | 3T | A-07 | 12
26 | 700 Building | 4th Fl CRAC Room | Vertiv-Liebert | CRAC-W04-01 | A/C Critical System | DMC029WGP0N | Y20AG1A106 | 3T | A-07 | 12
27 | 700 Building | 4th Fl CRAC Room | Vertiv-Liebert | CRAC-W04-01 | A/C Critical System | DME027E-PHN | Y20A30A067 | 3T | A-07 | 12
28 | 700 Building | 3rd Fl A/V-Room | Vertiv-Liebert | W03-AV Room | A/C Critical System | DMC029WGP0N | Y20AG1A172 | 3T | A-07 | 12
29 | 700 Building | 3rd Fl A/V-Room | Vertiv-Liebert | W03-AV Room | A/C Critical System | DME027E-PHN | Y20A30A055 | 3T | A-07 | 12
30 | 700 Building | 3rd Fl CRAC Room | Vertiv-Liebert | W03-CRAC Room | A/C Critical System | DME027E-PHN | Y20A30A051 | 3T | A-07 | 12
31 | 700 Building | 3rd Fl CRAC Room | Vertiv-Liebert | W03-CRAC Room | A/C Critical System | DMC029WGP0N | Y20AG1A108 | 3T | A-07 | 12
32 | 700 Building | 2nd Fl CRAC Room | Vertiv-Liebert | CRAC-W02-01 | A/C Critical System | DME027E-PHN | Y20A30A022 | 3T | A-07 | 12
33 | 700 Building | 2nd Fl CRAC Room | Vertiv-Liebert | 700A070018 | A/C Critical System | DMC029WGP0N | Y20AG1A161 | 3T | A-07 | 12
34 | 700 Building | 1st Fl CRAC Room | Vertiv-Liebert | CRAC-W01 | A/C Critical System | DMC040WGP0N | Y20AG1A176 | 3T | A-07 | 12
35 | 700 Building | 1st Fl CRAC Room | Vertiv-Liebert | CRAC-W01- | A/C Critical System | DME037E-PHN | Y20A30A076 | 3T | A-07 | 12
36 | 700 Building | 1st Fl Museum CER Rm | Vertiv-Liebert | CER Museum | A/C Critical System | DMC029WGP0N | Y20AG1A170 | 3T | A-07 | 12
37 | 700 Building | 1st Fl Museum CER Rm | Vertiv-Liebert | CER Museum | A/C Critical System | DME027E-PHN | Y20A30A053 | 3T | A-07 | 12
38 | 700 Building | 1st Fl-Security Control | TRANE | Security Ceiling Unit | A/C Critical System | GEHV-HP-W-01 | W-01-121 | 7T | A-10 | 12
39 | 700 Building | 1st Fl-A/V Control Rm | TRANE | Control AV Ceiling Un | A/C Critical System | GEHV-HP-W-02 | W-01-122 | 4T | A-10 | 12
40 | 700 Building | 1st Floor Auditorium | TRANE | Rear Room Area | A/C Critical System | GEHV-HP-W-03 | W-01-123 | 4T | A-10 | 12
41 | 700 Building | 1st Fl-Auditorium | TRANE | Middle Room Area | A/C Critical System | GEHV-HP-W-04 | W-01-124 | 4T | A-10 | 12
42 | 700 Building | 1st Floor Auditorium | TRANE | Front Room Area | A/C Critical System | GEHV-HP-05 | W-01-125 | 6T | A-10 | 12
43 | 700 Building | 1st Floor Auditorium | TRANE | Stage Area | A/C Critical System | GEHV-HP-06 | W-01-126 | 4T | A-10 | 12
44 | 700 Building | 1st Fl-Auditorium | Desert Aire | DOAS Unit | Self Contained Heat Pump | Fresh Air Unit | W-01-127 | 12T | A-11 | 12
45 | 700 Building | Hayes St.Guard Booth | Coleman | HVAC Unit | HVAC System | AJEQ12DCF | AS0209811 | 1.5T | A-12 | 12
46 | 700 Building | 1st Floor Auditorium | GreenHeck | 600A120002 | Fresh Air Unit | SQ-130-VG | W-01-654 |  | A-12 | 12
47 | 700 Building | Courtyard Guard Booth | Coleman | 600B010002 | HVAC System | AJEQ12DCF | AS0209810 |  | A-123 | 12
East HVAC Units
48 | 600 Building | 12th Fl CER Room | Vertiv-Liebert | CRAC-E12-01 | A/C Critical Cooling | DMC040WGPON | Y20AG1A181 | 3T | A-07 | 12
49 | 600 Buiding | 12th Fl CER Room | Vertiv-Liebert | CRAC-E12-01 | AC Critical Cooling | DME037EPHN | Y20A30A071 | 3T | A-07 | 12
50 | 600 Building | 11th Fl CER Room | Vertiv-Liebert | CRAC-E11-01 | A/C Critical Cooling | DMC029WGPON | Y20AG1A222 | 3T | A-07 | 12
51 | 600 Building | 11th Fl CER Room | Vertiv-Liebert | CRAC-E11-01 | A/C Critical Cooling | DME027EPHN | Y20A30047 | 3T | A-07 | 12
52 | 600 Building | 10th Fl CER Room | Vertiv-Liebert | CRAC-E10-01 | A/C Critical Cooling | DMC040WGPON | Y20AG1A179 | 3T | A-07 | 12
53 | 600 Building | 10th Fl CER Room | Vertiv-Liebert | CRAC-E10-01 | A/C Critical Cooling | DME037EPHN | Y20A30A061 | 3T | A-07 | 12
54 | 600 Building | 9th Fl CER Room | Vertiv-Liebert | CRAC-E09-01 | A/C Critical Cooling | DMC029WGPON | Y20AG1A130 | 3T | A-07 | 12
55 | 600 Building | 9th Fl CER Room | Vertiv-Liebert | CRAC-E09-01 | A/C Critical Cooling | DME027EPHN | Y20A30A021 | 3T | A-07 | 12
56 | 600 Building | 8th Fl CER Room | Vertiv-Liebert | CRAC-E08-01 | A/C Critical Cooling | DMC029WGPON | Y20AG1A223 | 3T | A-07 | 12
57 | 600 Building | 8th Fl CER Room | Vertiv-Liebert | CRAC-E08-01 | A/C Critical Cooling | DME027EPHN | Y20A30A070 | 3T | A-07 | 12
58 | 600 Building | 7th Fl CER Room | Vertiv-Liebert | CRAC-E07-01 | A/C Critical Cooling | DMC029WGPON | Y20AG1A219 | 3T | A-07 | 12
59 | 600 Building | 7th Fl CER Room | Vertiv-Liebert | CRAC-E07-01 | A/C Critical Cooling | DME027EPHN | Y20A30A050 | 3T | A-07 | 12
60 | 600 Building | 6th Fl CER Room | Vertiv-Liebert | CRAC-E06-01 | A/C Critical Cooling | DMC029WGPON | Y20AG1A104 | 3T | A-07 | 12
61 | 600 Building | 6th Fl CER Room | Vertiv-Liebert | CRAC-06-01 | A/C Critical Cooling | DME027EPHN | Y20A30A066 | 3T | A-07 | 12
62 | 600 Buiding | 5th Fl CER Room | Vertiv-Liebert | CRAC-E05-01 | A/C Critical Cooling | DMC029WGPON | Y20AG1A134 | 3T | A-07 | 12
63 | 600 Building | 5th Fl CER Room | Vertiv-Liebert | CRAC-E05-01 | A/C Critical Cooling | DME027EPHN | Y20A30A043 | 3T | A-07 | 12
64 | 600 Building | 4th Fl-Health Unit | PHC BI | Medical Refri Unit | Meds Critical Refrigeration | SR-L61111W | 180900804 | 0.25 | A-07 | 4 | 1
65 | 600 Building | 4th Fl-Health Unit | GE Electric | Reg.Refri Units | 5.6 CU FT Refrig Units | GCE06GSHSB | 120V-60HZ,2.7A | 0.25 | A-07 | 4 | 1
66 | 600 Building | 4th Fl-Health Unit | GE Electric | Reg.Refri Units | 5.6 CU FT Refrig Units | GCE06GSHSB | 120V-60HZ,2.7A | 0.25 | A-07 | 4 | 1
67 | 600 Building | 4th Fl-Health Unit | GE Electric | Reg.Refri Units | 5.6 CU FT Refrig Units | GCE06GSHSB | 120V-60HZ,2.7A | 0.25 | A-07 | 4 | 1
68 | 600 Building | 4th Fl-Health Unit | GE Electric | Reg.Refri Units | 5.6 CU FT Refrig Units | GCE06GSHSB | 120V-60HZ,2.7A | 0.25 | A-07 | 4 | 1
69 | 600 Building | 4th Fl CER Room | Vertiv-Liebert | CRAC-E04-01 | A/C Critical Cooling | DMC029WGPON | Y20AG1A135 | 3T | A-07 | 12
70 | 600 Building | 4th Fl CER Room | Vertiv-Liebert | CRAC-E04-01 | A/C Critical Cooling | DME027EPHN | Y20A30A057 | 3T | A-07 | 12
71 | 600 Building | 3rd Fl CER Room | Vertiv-Liebert | CRAC-E03-01 | A/C Critical Cooling | DMC029WGPON | Y20AG1A218 | 3T | A-07 | 12
72 | 600 Building | 3rd Fl CER Room | Vertiv-Liebert | CRAC-E03-01 | A/C Critical Cooling | DME027EPHN | Y20A30A065 | 3T | A-07 | 12
73 | 600 Building | 2nd Fl CER Room | Vertiv-Liebert | CRAC-E02-01 | A/C Critical Cooling | DMC029WGPON | Y20AG1A103 | 3T | A-07 | 12
74 | 600 Building | 2nd Fl CER Room | Vertiv-Liebert | CRAC-E02-01 | A/C Critical Cooling | DME027EPHN | Y20A30A046 | 3T | A-07 | 12
75 | 600 Building | 2nd Fl UPS Room | Vertiv-Liebert | UPS-E02-01 | A/C Critical Cooling | MCD38W2PHN | Y20AG1A078 | 4T | A-07 | 12
76 | 600 Building | 2nd Fl UPS Room | Vertiv-Liebert | UPS-E02-01 | A/C Critical Cooling | MMD36ENPJED4 | Y20ABIA120 | 4T | A-07 | 12
77 | 600 building | 2nd Fl PCCR Room | Vertiv-Liebert | PCCR-E02-01 | AC-PCCR-E02-01 | VS105WVA1EI990B | N19M8G0024 | 30T | A-07 | 12
78 | 600 Building | 2nd Fl PCCR Room | Vertiv-Liebert | PCCR-E02-01 | AC-PCCR-E02-02 | VS105WVA1EI990B | N19M8G0023 | 30T | A-07 | 12
79 | 600 building | 2nd Fl PCCR Room | Vertiv-Liebert | PCCR-E02-01 | AC-PCCR-E02-03 | VS105WVA1EI990B | N19M8G0022 | 30T | A-07 | 12
80 | 600 building | 2nd Fl PCCR Room | Vertiv-Liebert | PCCR-E02-01 | AC-PCCR-E02-04 | VS105WVA1EI990B | N20A8G0005 | 30T | A-07 | 12
81 | 600 Building | 1st Fl CER Room | Vertiv-Liebert | CRAC-E01-01 | A/C Critical Cooling | DME037E-PHN | Y20A30A073 | 3T | A-07 | 12
82 | 600 Building | 1st Fl CER Room | Vertiv-Liebert | CRAC-E01-01 | A/C Critical Cooling | DMC040WGPON | Y20AG1A184 | 3T | A-07 | 12
83 | 600 Building | 1st Fl-Fitness Center | DESERT AIRE | DOAS Unit | Dedicated Outside Unit | DH |  | 12T | A-07 | 12
84 | 600 Building | 1st Fl-Fitness Center | TRANE | Gym | A/C Critical Cooling | EXHV | Main Fitness Ctr | 5T | A-07 | 12
85 | 600 Building | 1st Fl-Fitness Center | TRANE | Gym | A/C Critical Cooling | GEHV | Main Fitness Ctr | 5T | A-07 | 12
86 | 600 building | 1st Fl-Fitness Center | TRANE | Gym | A/C Critical Cooling | GEHV | Main Fitness Ctr | 5T | A-07 | 12
87 | 600 Building | 1st Fl-Fitness Center | TRANE | Gym | A/C Critical Cooling | GEHV | Main Fitness Ctr | 5T | A-07 | 12
88 | 600 building | 1st Fl-Fitness Center | TRANE | Gym | A/C Critical Cooling | GEHV | Main Fitness Ctr | 5T | A-07 | 12
89 | 600 Building | 1st Fl-Fitness Center | 1st Floor Fitness Center | GreenHeck | Exhaust Fan | SQ-130-VG | Locker Rooms |  | A-07 | 12
90 | 600 Building | Fern St Guard Booth | General Electric | Gbooth HVAC | HVAC Critical | AJEQ12DCHK1 | AS0209601 | 1.4T | A-07 | 12
91 | 600 Building | Cafeteria | Imbera Cooler | Food/Drink Cooler | Commercial Refrigerator | Imberra G319ss | 120V-60HZ,5.7A | 0.75 | A-07 | 4 | 3
92 | 600 Building | Cafeteria | Imbera Cooler | Food/Drink Cooler | Commercial Refrigerator | Imberra G319ss | 120V-60HZ,5.7A | 0.75 | A-07 | 4 | 3
93 | 600 Building | Cafeteria | Imbera Cooler | Food/Drink Cooler | Commercial Refrigerator | Imberra G319ss | 120V-60HZ,5.7A | 0.75 | A-07 | 4 | 3
94 | 600 Building | Cafeteria | Imbera Cooler | Food/Drink Cooler | Commercial Refrigerator | Imberra G319ss | 120v,60HZ,5.7A | 0.75 | A-07 | 4 | 3
95 | 600 Building | Cafeteria | Imbera Cooler | Food/Drink Cooler | Commercial Refrigerator | Imberra G319ss | 120v,60HZ,5.7A | 0.75 | A-07 | 4 | 3
96 | 600 Building | Cateteria | Imbera Cooler | Food Cooler | Commercial Refrigerator | Imberra G319 SS | 120V-60HZ,5.6A | 0.75 | A-07 | 4 | 3
GENERATORS
97 | 700 Building | B-2 Main Electrical Room | ONAN | 700B010002 | Battery Chargers 24V DC | Inside ATS Cabinet |  |  | B-01 | 12
98 | 600 Building | B-2 Main Electrical Room | ONAN | 600B010001 | Battery Chargers 24V DC | Inside ATS Cabinet |  |  | B-01 | 12
99 | 600 Building | B-2 Main Electrical Room | ONAN | 600E360001 | ATS | ONCU800G1495G | C900308284 |  | E-36 | 1
100 | 700 Building | B-2 Main Electrical Room | ONAN | 700E360001 | ATS | ONCU800G1495G | C900308285 |  | E-36 | 1
101 | 600 Building | B-2 Gen.Room | ONAN/Cummins | 600E420001 | Generator | 500DFFB37094E | C900308287 |  | E-42 | 12
102 | 700 Building | B-2 Gen.Room | ONAN/Cummins | 700E420002 | Generator | 500DFFB37094E | C900308288 |  | E-42 | 12
103 | 700 Building | B-2-Fuel Tank Room | Highland Tank | 2000 Gallons | Main Fuel Storage Tank | S-548298 | 32150 |  | E-42 | 12
104 | 600 Building | B-2-Fuel Tank Room | Highland Tank | 2000 Gallons | Main Fuel Storage Tank | S-548298 | 32151 |  | E-42 | 12
105 | 600 Building | B-2 fuel tank room | Pneumercator | Printer/Monitor | Tank Management System | TMS 3000 |  |  | E-42 | 12
106 | 700 Building | B-2 fuel tank room | Pneumercator | Printer/Monitor | Tank Management System | TMS 3000 |  |  | E-42 | 12
107 | 600 Parking | Loading Zone Parking | Simplex | Remote Fuel Station | Vents 4 Day tank/Main Tank | CAFP-2 | 85574-14-52/1 |  |  | 12
108 | 700 Parking | Loading Zone Parking | Simplex | Remote Fuel Station | Vents 4 Day tank/Main Tank | CAFP-2 | 85574-14-52/2 |  |  | 12
UNISEX Bathrooms, Sump Pumps, Drain Lines
109 | East Building | All Floors--Entire Building | 600 Buildng | 2-12th floors Drain Lines | Kitchens/ Canteens | North & South | Domestic Water & drain line to main |  |  | 4
110 | 600 Building | 7Th Floor Bathrooms | 600 Building Hlwy | Both Bathrooms 1& 2 | Toilet,sink,mirror,closer,sensors | All appurtenances | Drainlines to Vertical |  |  | 12
111 | 600 Building | 4th Floor Bathrooms | 600 Building Hlwy | Four Clinic Bathrooms | Toilet,sink,mirror,closer,sensors | All appurtenances | Drainlines to Vertical |  |  | 12
112 | 600 Building | 2nd Floor Nursery Room | 600 Building Hlwy | Both Bathrooms 1 & 2 | Refrigerator,sink,faucet,curtains | All appurtenances | Drainlines to Vertical |  |  | 12
113 | West Building | Entire Building | 700 Buildng | 2-12th floors | Kitchens/Canteens | North & South | Domestic Water & drain line to main |  |  | 4
114 | 700 Building | 12th Floor Unisex Baths | 700 Building Hlwy | Both Bathrooms 1 & 2 | Toilet,sink,mirror,closer,sensors | All appurtenances | Drain lines to Vertical |  |  | 12
115 | 700 Building | Command Center Space | 700 Building Hlwy | Bathroom | Shwer,Toilet,Sink & Sensors,Light | All appurtenances | Drain lines to Vertical |  |  | 12
116 | 700 Building | Command Center Space | 700 Building Hlwy | Kitchen | Refrigerator,sink,faucet,Grbge dis | All appurtenances | Drain lines to Vertical |  |  | 12
117 | 700 Building | 9th Floor Unisex Baths | 700 Building Hlwy | Both Bathrooms 1 & 2 | Toilet,sink,mirror,closer,sensors | All appurtenances | Drain lines to Vertical |  |  | 12
118 | 700 Building | 8th Floor Unisex Baths | 700 Buildg Hallwy | Both Bathrooms 1 & 2 | Toilet,sink,mirror,closer,sensors | All appurtenances | Drain line to Vertical |  |  | 12
119 | 700 Building | 5th Floor Unisex Baths | 700 Building Hlwy | Both Bathrooms 1 & 2 | Toilet,sink,mirror,closer,sensors | All appurtenances | Drainlines to Vertical |  |  | 12
120 | 700 Building | 1st Fl.Unisex Bathrooms | 700 Lobby | Both Bathrooms 1 & 2 | Toilet,sink,mirror,closer,sensors | All appurtenances | Drainlines to Vertical |  |  | 12
121 | West Building | 9th Floor-West | Liberty Pumps | 9th to 10th fl discharge | Main Canteen Drain Sump Pump | 404 L,1/3 HP,120V | 12NP3L |  |  | 12
122 | West Building | 8th Floor West | Liberty Pumps | 8th to 9th Fl discharge | Main Canteen Drain Sump Pump | 404 L,1/3 HP,120V | 13NLPZ |  |  | 12
123 | East Building | East 4th Floor | 600 Buildng | 4th Floor Health Clinic | Mixed | All Cabinets,lights | All Cabinets and Locks |  |  | 4
124 | East Building | East 1st Floor | 600 Building | 1st floor Gym | Mixed | All Plumbing fixtures and drain lines to main drain |  |  |  | 4
125 | East Building | 1st Fl Fitness Center | 600 Building | 1st floor Gym | ELKAY Water Fauntain | LRPBD8WSC | 200845097
126 | West Building | 12th Floor | 700 Building | 12th Floor Admnistrator | Mixed | Water Closets (2) | All Fixtures |  |  | 4
127 | West Building | 11th Floor | 700 Building | Command Center | Mixed | All Plumbing fixtures and drain lines to main drain |  |  |  | 4
| 600/700 | Various | Various | Unisex/Lactation Rooms | Mixed | All Instahot water heaters , fixcture, drains, etc |  |  |  | 1
|  | Plumbing hot water heaters |  | Hot Water Heaters
128 | 600 Building | 12th Fl North Side | Hubbell | 12th Fl Canteen North | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11904S | 277V | 3KW,11A | 12
129 | 600 Building | 12th Fl South Side | Hubbell | 12th Fl Canteen-South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11909S | 277V | 3KW,11A | 12
130 | 600 Building | 11th Fl North Side | Hubbell | 11th Fl Canteen North | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11916S | 277V | 3KW,11A | 12
130 | 600 Building | 11th Fl South Side | Hubbell | 11th Fl Canteen South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11917S | 277V | 3KW,11A | 12
131 | 600 Building | 9th Fl North side | Hubbell | 9th Fl Canteen North | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11913S | 277V | 3KW,11A | 12
132 | 600 Building | 9th Fl South Side | Hubbell | 9th Fl Canteen South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11907S | 277V | 3KW,11A | 12
133 | 600 Building | 7th Fl North side | Hubbell | 7th Fl Canteen North | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11899S | 277V | 3KW,11A | 12
134 | 600 Building | 7th Fl South side | Hubbell | 7th Fl Canteen South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11896S | 277V | 3KW,11A | 12
135 | 600 Building | 6th Fl.South side | Hubbell | 6th Fl Canteen South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11895S | 277V | 3KW,11A | 12
136 | 600 Building | 5th Fl North side | Hubbell | 5th Fl Canteen North | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11898S | 277V | 3KW,11A | 12
137 | 600 Building | 5th Fl South side | Hubbell | 5th Fl Canteen South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11905S | 277V | 3KW,11A | 12
138 | 600 Building | 4th Fl Clinic | Hubbell | 4th Floor Clinic | Electric Water Heater,30 gallons | SE30-0-10SL-T4-XX | S11918S | 480V | 1 | 4
139 | 600 Building | 3rd Fl North side | Hubbell | 3rd Fl Canteen North | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11897S | 277V | 3KW,11A | 12
140 | 600 Building | 3rd Fl South side | Hubbell | 3rd Fl Canteen South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11901S | 277V | 3KW,11A | 12
141 | 600 Building | 2nd Fl North Side | Hubbell | 2nd Fl Canteen North | Electric Water Heater,6 Gallons | SE06-3SLW-XX | S11902S | 277 V | 3KW,11A | 12
142 | 600 Building | 2nd Fl South Side | Hubbell | 2nd Fl Canteen South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11903S | 277V | 3KW,11A | 12
143 | 600 Building | 1st Fl Fitness Center | AquaPLEX | 1st East Mechanical Rm | DURA WATT ELECTRIC | 140 L 200A-VE | F012595 | 480v | 1.5 | 4 | 6
144 | 700 Building | 12th Floor North Side | Chronomite | 12th Fl.Canteen-North | Instant Hot Water Heater | M-40/277 104-125F | 1219566 | 277V | 11KW,40A | 12
145 | 700 Building | 12th Floor South Side | Hubbell | 12th Fl Canteen-South | Electric Water Heater,6 gallons | SE06-JSLW-XX | S11902S | 277V | 3KW,11A | 12
146 | 700 Building | 12th Fl.Admntrator showr | Hubell | Both Showers,sinks,pmp | Circltng pump,thrmo controllr | SE30-0-10SL-T4-XX | S1191586 | 480V | 1 | 4 | 4
147 | 700 Building | 11th Fl-Command Center | Hubell | shower,sinks,kitchen | Circltng pump,thrmo controllr | SE30-0-10SL-T4-XX | S1191588 | 480V | 1 | 4 | 4
148 | 700 Building | 10th Fl South Side | Hubbell | 10th Canteen South | Electric Water Heater,6 gallons | SE06-JSLW-XX | S119105 | 277V | 3KW,11A | 12
149 | 700 Building | 10th Fl North Side | Hubbell | 10th Fl North | Electric Water Heater,6 gallons | SE06-JSLW-XX | S11915S | 277V | 3KW,11A | 12
150 | 700 Building | 9th Fl South Side | Chronomite | 9th Fl Canteen South | Instant Hot Water heater | M-301/277 104-125F | 1312750 | 277V | 8KW,30A | 12
151 | 700 Building | 9th Fl North Side | Chronomite | 9th Fl Canteen North | Instant Hot Water heater | M-301/277 P 110B | 1199241 | 277V | 8KW,30A | 12
152 | 700 Building | 8th Fl South Side | Hubbell | 8th Fl Canteen South | Electric Water Heater,6 gallons | SE06-JSLW-XX | S119108 | 277V | 3KW,11A | 12
153 | 700 Building | 8th Fl North Side | Hubbell | 8th Fl Canteen north | Electric Water Heater,6 gallons | SE06-JSLW-XX | S119109 | 277V | 3KW,11A | 12
154 | 700 Building | 6th Fl South Side | Hubbell | 6th Fl Canteen South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11911S | 277V | 3KW,11A | 12
155 | 700 Building | 6th Fl North Side | Hubbell | 6th Fl Canteen North | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11912S | 277V | 3KW,11A | 12
156 | 700 Building | 4th Fl North Side | Hubbell | 4th Fl Canteen North | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11906S | 277v | 3KW,11A | 12
157 | 700 Building | 4th Fl South Side | Hubbell | 4th Fl Canteen South | Electric Water Heater,6 gallons | SE06-3SLW-XX | S11903S | 277V | 3KW,11A | 12
158 | 700 Building | 3rd Fl North side | Chronomite | 3rd Fl Canteen North | Instant Hot Water heater | OM30L/277 104-125 | 1338958 | 277V | 8.3KW,30A | 12
159 | 700 Building | 3rd Fl South side | Chronomite | 3rd Fl Canteen South | Instant Hot Water heater | CM30L/277 104-125H | 1338955 | 277V | 8.3KW,30A | 12
160 | 700 Building | 2nd Fl North side | Chronomite | 2nd Fl Canteen North | Instant Hot Water heater | CM30L/277 104125H | 13729029 | 277V | 8.3KW,30A | 12
161 | 700 Building | 2nd Fl South Side | Chronomite | 2nd Fl Canteen South | Instant Hot Water heater | CM30L/277 104125H | 1405678 | 277 | 8.3KW,30A | 12
Food Waste Disposers
| WEST | Location | Make: | Location | Equipment Description | Model: | Serial: |  |  | Frequncy
162 | 700 Building | 12th Floor North Side | Emerson Electric | 12th Fl.Canteen-North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 9113109142 | 120V | 10 Amp | 12
163 | 700 Building | 12th Floor South Side | Emerson Electric | 12th Fl Canteen-South | 1H.P. 120V,10Amp Disposer | EXCEL-4 | 19113109151 | 120V | 10 AMP | 12
164 | 700 Building | 12th Fl Administrator Suite | Emerson Electric | 12th Fl Suite Canteen | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 19113109148 | 120V | 10 Amp | 12
165 | 700 Building | 11th Fl North side | Emerson Electric | 11th Fl.Canteen North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 19113109141 | 120V | 10 AMP | 12
166 | 700 Building | 11th Fl South side | Emerson Electric | 11th Fl.Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 19113109136 | 120V | 10 AMP | 12
167 | 700 Building | 10th Fl South Side | Emerson Electric | 10th Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 19113109151 | 120V | 10 Amp | 12
168 | 700 Building | 10th Fl North Side | Emerson Electric | 10th Fl North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 19113109134 | 120V | 10 Amp | 12
169 | 700 Building | 9th Fl South Side | Emerson Electric | 9th Fl Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20073005400 | 120V | 10 Amp | 12
170 | 700 Building | 9th Fl North Side | Emerson Electric | 9th Fl Canteen North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20063028147 | 120V | 10 Amp | 12
171 | 700 Building | 8th Fl South Side | Emerson Electric | 8th Fl Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113049866 | 120V | 10 Amp | 12
172 | 700 Building | 8th Fl North Side | Emerson Electric | 8th Fl Canteen north | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113049871 | 120V | 10 Amp | 12
173 | 700 Building | 7th Fl North Side | Emerson Electric | 7th Fl Canteen north | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113049868 | 120V | 10 Amp | 12
174 | 700 Building | 7Th Fl South Side | Emerson Electric | 7th Fl Canteen south | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113046532 | 120V | 10 Amp | 12
175 | 700 Building | 6th Fl South Side | Emerson Electric | 6th Fl Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 19103084643 | 120V | 10 Amp | 12
176 | 700 Building | 6th Fl North Side | Emerson Electric | 6th Fl Canteen North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 19113109140 | 120V | 10 Amp | 12
177 | 700 Building | 5th Fl North Side | Emerson Electric | 5th Fl Canteen North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 19113109149 | 120V | 10 Amp | 12
178 | 700 Building | 5th Fl South Side | Emerson Electric | 5th Fl Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 19113109137 | 120V | 10 Amp | 12
179 | 700 Building | 4th Fl North Side | Emerson Electric | 4th Fl Canteen North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20063028148 | 120V | 10 Amp | 12
180 | 700 Building | 4th Fl South Side | Emerson Electric | 4th Fl Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20073005400 | 120V | 10 Amp | 12
181 | 700 Building | 3rd Fl North side | Emerson Electric | 3rd Fl Canteen North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20073055402 | 120V | 10 Amp | 12
182 | 700 Building | 3rd Fl South side | Emerson Electric | 3rd Fl Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20073054301 | 120V | 10 Amp | 12
183 | 700 Building | 2nd Fl North side | Emerson Electric | 2nd Fl Canteen North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20103029000 | 120V | 10 Amp | 12
184 | 700 Building | 2nd Fl South Side | Emerson Electric | 2nd Fl Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113049879 | 120V | 10 Amp | 12
EAST
185 | 600 Building | 12th Fl North Side | Emerson Electric | 12th Fl Canteen North | 1 HP. 120V,10Amp Disposer | EXCEL-4 | 20113049882 | 120V | 10 Amp | 12
186 | 600 Building | 12th Fl South side | Emerson Electric | 12th Fl Canteen South | 1 HP. 120V,10Amp Disposer | EXCEL-4 | 20113049862 | 120V | 10 Amp | 12
187 | 600 Building | 11th Fl North Side | Emerson Electric | 11th FL Canteen North | 1 HP. 120V,10Amp Disposer | EXCEL-4 | 20113049756 | 120V | 10 Amp | 12
188 | 600 Building | 11th Fl South Side | Emerson Electric | 11th FL Canteen South | 1HP. 120V,10Amp Disposer | EXCEL-4 | 20113029672 | 120V | 10 Amp | 12
189 | 600 Building | 10th Fl North Side | Emerson Electric | 10th FL Canteen North | 1 HP. 120V,10Amp Disposer | EXCEL-4 | 20103029002 | 120V | 10 Amp | 12
190 | 600 Building | 10th Fl South Side | Emerson Electric | 10th FL Canteen South | 1 HP. 120V,10Amp Disposer | EXCEL-4 | 20113049883 | 120V | 10 Amp | 12
191 | 600 Building | 9th Fl North Side | Emerson Electric | 9th FL Canteen North | 1 HP. 120V,10Amp Disposer | EXCEL-4 | 20103028989 | 120V | 10Amp | 12
192 | 600 Building | 9th Fl South Side | Emerson Electric | 9th FL Canteen South | 1HP. 120V,10Amp Disposer | EXCEL-4 | 20113049756 | 120V | 10 Amp | 12
193 | 600 Building | 8th Fl North Side | Emerson Electric | 8th FL Canteen North | 1 HP. 120V,10Amp Disposer | EXCEL-4 | 20103028984 | 120V | 10 Amp | 12
194 | 600 Building | 8th Fl South Side | Emerson Electric | 8th FL Canteen South | 1HP. 120V,10Amp Disposer | EXCEL-4 | 20103028983 | 120V | 10 Amp | 12
195 | 600 Building | 7th Fl North Side | Emerson Electric | 7th FL Canteen North | 1HP. 120V,10Amp Disposer | EXCEL-4 | 20063028149 | 120V | 10 Amp | 12
196 | 600 Building | 7Th Fl South Side | Emerson Electric | 7th Fl Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20073005399 | 120V | 10 Amp | 12
197 | 600 Building | 6th Fl North side | Emerson Electric | 6th Fl Canteen North | 1H.P. 120V,10Amp Disposer | EXCEL-4 | 20103029005 | 120V | 10 Amp | 12
198 | 600 Building | 6th Fl South Side | Emerson Electric | 6th Fl Canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20103029002 | 120V | 10 Amp | 12
199 | 600 Building | 5th Fl North Side | Emerson Electric | 5th Fl Canteen North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20103029001 | 120V | 10 Amp | 12
200 | 600 Building | 5th Fl South Side | Emerson Electric | 5th Fl canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20103029003 | 120V | 10 Amp | 12
201 | 600 Building | 4th Fl North Side | Emerson Electric | 4th Fl Canteen north | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113049873 | 120V | 10 Amp | 12
202 | 600 Building | 4th Fl South Side | Emerson Electric | 4th Fl Canteen south | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113049755 | 120V | 10 Amp | 12
203 | 600 Building | 3rd Fl North side | Emerson Electric | 3rd Fl Canteen North | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113029664 | 120V | 10 Amp | 12
204 | 600 Building | 3rd Fl South side | Emerson Electric | 3rd Fl canteen South | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113029667 | 120V | 10 Amp | 12
205 | 600 Building | 2nd Fl North Side | Emerson Electric | 2nd Fl Canteen north | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113029668 | 120V | 10 Amp | 12
206 | 600 Building | 2nd Fl South Side | Emerson Electric | 2nd Fl Canteen south | 1 H.P. 120V,10Amp Disposer | EXCEL-4 | 20113049877 | 120V | 10 Amp | 12
| WEST |  |  | Refrigerators
207 | 700 Building | 12th Floor North Side | Fischer & Paykel | 12th Fl.Canteen-North | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
208 | 700 Building | 12th Floor South Side | Fischer & Paykel | 12th Fl Canteen-South | South side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
209 | 700 Building | 12th Fl Administrator Suite | Fischer & Paykel | 12th Fl Suite Canteen | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
210 | 700 Building | 11th Floor N.E Side | Fischer & Paykel | 11th Fl Coomand Center | Command Center | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
211 | 700 Building | 11th Fl North side | Fischer & Paykel | 11th Fl.Canteen North | South side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
212 | 700 Building | 11th Fl South side | Fischer & Paykel | 11th Fl.Canteen South | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
213 | 700 Building | 10th Fl South Side | Fischer & Paykel | 10th Canteen South | South side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
214 | 700 Building | 10th Fl North Side | Fischer & Paykel | 10th Fl North | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
215 | 700 Building | 9th Fl South Side | Fischer & Paykel | 9th Fl Canteen South | South side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
216 | 700 Building | 9th Fl North Side | Fischer & Paykel | 9th Fl Canteen North | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
217 | 700 Building | 8th Fl South Side | Fischer & Paykel | 8th Fl Canteen South | South side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
218 | 700 Building | 8th Fl North Side | Fischer & Paykel | 8th Fl Canteen north | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
219 | 700 Building | 7th Fl North Side | Fischer & Paykel | 7th Fl Canteen north | South side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
220 | 700 Building | 7Th Fl South Side | Fischer & Paykel | 7th Fl Canteen south | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
221 | 700 Building | 6th Fl South Side | Fischer & Paykel | 6th Fl Canteen South | South side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
222 | 700 Building | 6th Fl North Side | Fischer & Paykel | 6th Fl Canteen North | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
223 | 700 Building | 5th Fl North Side | Fischer & Paykel | 5th Fl Canteen North | South side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
224 | 700 Building | 5th Fl South Side | Fischer & Paykel | 5th Fl Canteen South | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
225 | 700 Building | 4th Fl North Side | Fischer & Paykel | 4th Fl Canteen North | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
226 | 700 Building | 4th Fl South Side | Fischer & Paykel | 4th Fl Canteen South | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
227 | 700 Building | 4th Fl North SIde | Fischer & Paykel | 4th Fl Internatnl Confrnc | Conference/Meeting Room | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
228 | 700 Building | 3rd Fl North side | Fischer & Paykel | 3rd Fl Canteen North | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
229 | 700 Building | 3rd Fl South side | Fischer & Paykel | 3rd Fl Canteen South | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
230 | 700 Building | 2nd Fl North side | Fischer & Paykel | 2nd Fl Canteen North | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
231 | 700 Building | 2nd Fl South Side | Fischer & Paykel | 2nd Fl Canteen South | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
| WEST |  |  | KEURIG Cofee Makers
232 | 700 Building | 12th Floor North Side | Keurig K-150-P | 12th Fl.Canteen-North | North side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
233 | 700 Building | 12th Floor South Side | Keurig K-150-P | 12th Fl Canteen-South | South side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
234 | 700 Building | 12th Fl Administrator Suite | Keurig K-150-P | 12th Fl Suite Canteen | North side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
235 | 700 Building | 11th Floor N.E Side | Keurig K-150-P | 11th Fl Coomand Center | Command Center | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
236 | 700 Building | 11th Fl North side | Keurig K-150-P | 11th Fl.Canteen North | South side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
237 | 700 Building | 11th Fl South side | Keurig K-150-P | 11th Fl.Canteen South | North side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
238 | 700 Building | 10th Fl South Side | Keurig K-150-P | 10th Canteen South | South side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
239 | 700 Building | 10th Fl North Side | Keurig K-150-P | 10th Fl North | North Side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
240 | 700 Building | 9th Fl South Side | Keurig K-150-P | 9th Fl Canteen South | South side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
241 | 700 Building | 9th Fl North Side | Keurig K-150-P | 9th Fl Canteen North | North side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
242 | 700 Building | 8th Fl South Side | Keurig K-150-P | 8th Fl Canteen South | South side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
243 | 700 Building | 8th Fl North Side | Keurig K-150-P | 8th Fl Canteen north | North side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
244 | 700 Building | 7th Fl North Side | Keurig K-150-P | 7th Fl Canteen north | South side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
245 | 700 Building | 7Th Fl South Side | Keurig K-150-P | 7th Fl Canteen south | North Side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
246 | 700 Building | 6th Fl South Side | Keurig K-150-P | 6th Fl Canteen South | South side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
247 | 700 Building | 6th Fl North Side | Keurig K-150-P | 6th Fl Canteen North | North Side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
248 | 700 Building | 5th Fl North Side | Keurig K-150-P | 5th Fl Canteen North | South side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
249 | 700 Building | 5th Fl South Side | Keurig K-150-P | 5th Fl Canteen South | North Side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
250 | 700 Building | 4th Fl North Side | Keurig K-150-P | 4th Fl Canteen North | South Side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
251 | 700 Building | 4th Fl South Side | Keurig K-150-P | 4th Fl Canteen South | North Side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
252 | 700 Building | 4th Fl North SIde | Keurig K-150-P | 4th Fl Internatnl Confrnc | Conference/Meeting Room | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
253 | 700 Building | 3rd Fl North side | Keurig K-150-P | 3rd Fl Canteen North | South Side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
254 | 700 Building | 3rd Fl South side | Keurig K-150-P | 3rd Fl Canteen South | North Side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
255 | 700 Building | 2nd Fl North side | Keurig K-150-P | 2nd Fl Canteen North | South Side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
256 | 700 Building | 2nd Fl South Side | Keurig K-150-P | 2nd Fl Canteen South | North side | K150-Coom.Plumbing | Descaling | 120V | 1 | 4 | 4
hours
| EAST |  |  | KEURIG Coffe Makers
257 | 600 Building | 12th Fl North Side | KEURIG | 12th Fl Canteen North | South Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
258 | 600 Building | 12th Fl South side | KEURIG | 12th Fl Canteen South | North Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
259 | 600 Building | 11th Fl North Side | KEURIG | 11th FL Canteen North | North Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
260 | 600 Building | 11th Fl South Side | KEURIG | 11th FL Canteen South | South Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
261 | 600 Building | 10th Fl North Side | KEURIG | 10th FL Canteen North | North side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
262 | 600 Building | 10th Fl South Side | KEURIG | 10th FL Canteen South | South Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
263 | 600 Building | 9th Fl North Side | KEURIG | 9th FL Canteen North | North side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
264 | 600 Building | 9th Fl South Side | KEURIG | 9th FL Canteen South | South side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
265 | 600 Building | 8th Fl North Side | KEURIG | 8th FL Canteen North | North Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
266 | 600 Building | 8th Fl South Side | KEURIG | 8th FL Canteen South | South Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
267 | 600 Building | 7th Fl North Side | KEURIG | 7th FL Canteen North | North Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
268 | 600 Building | 7Th Fl South Side | KEURIG | 7th Fl Canteen South | South Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
269 | 600 Building | 6th Fl North side | KEURIG | 6th Fl Canteen North | North side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
270 | 600 Building | 6th Fl South Side | KEURIG | 6th Fl Canteen South | South Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
271 | 600 Building | 5th Fl North Side | KEURIG | 5th Fl Canteen North | North side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
272 | 600 Building | 5th Fl South Side | KEURIG | 5th Fl canteen South | South Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
273 | 600 Building | 4th Fl North Side | KEURIG | 4th Fl Canteen north | North Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
274 | 600 Building | 4th Fl South Side | KEURIG | 4th Fl Canteen south | South Side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
275 | 600 Building | 3rd Fl North side | KEURIG | 3rd Fl Canteen North | North side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
276 | 600 Building | 3rd Fl South side | KEURIG | 3rd Fl canteen South | North side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
277 | 600 Building | 2nd Fl North Side | KEURIG | 2nd Fl Canteen north | North side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4
278 | 600 Building | 2nd Fl South Side | KEURIG | 2nd Fl Canteen south | North side | K150-Commercial Plmb | Descaling | 120V | 1 | 4 | 4 | hours
| EAST |  |  | REFRIGERATORS
279 | 600 Building | 12th Fl North Side | Fischer & Paykel | 12th Fl Canteen North | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
280 | 600 Building | 12th Fl South side | Fischer & Paykel | 12th Fl Canteen South | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
281 | 600 Building | 11th Fl North Side | Fischer & Paykel | 11th FL Canteen North | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
282 | 600 Building | 11th Fl South Side | Fischer & Paykel | 11th FL Canteen South | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
283 | 600 Building | 10th Fl North Side | Fischer & Paykel | 10th FL Canteen North | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
284 | 600 Building | 10th Fl South Side | Fischer & Paykel | 10th FL Canteen South | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
285 | 600 Building | 9th Fl North Side | Fischer & Paykel | 9th FL Canteen North | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
286 | 600 Building | 9th Fl South Side | Fischer & Paykel | 9th FL Canteen South | South side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
287 | 600 Building | 8th Fl North Side | Fischer & Paykel | 8th FL Canteen North | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
288 | 600 Building | 8th Fl South Side | Fischer & Paykel | 8th FL Canteen South | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
289 | 600 Building | 7th Fl North Side | Fischer & Paykel | 7th FL Canteen North | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
290 | 600 Building | 7Th Fl South Side | Fischer & Paykel | 7th Fl Canteen South | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
291 | 600 Building | 6th Fl North side | Fischer & Paykel | 6th Fl Canteen North | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
292 | 600 Building | 6th Fl South Side | Fischer & Paykel | 6th Fl Canteen South | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
293 | 600 Building | 5th Fl North Side | Fischer & Paykel | 5th Fl Canteen North | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
294 | 600 Building | 5th Fl South Side | Fischer & Paykel | 5th Fl canteen South | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
295 | 600 Building | 4th Fl North Side | Fischer & Paykel | 4th Fl Canteen north | North Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
296 | 600 Building | 4th Fl South Side | Fischer & Paykel | 4th Fl Canteen south | South Side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
297 | 600 Building | 3rd Fl North side | Fischer & Paykel | 3rd Fl Canteen North | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
298 | 600 Building | 3rd Fl South side | Fischer & Paykel | 3rd Fl canteen South | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
299 | 600 Building | 2nd Fl North Side | Fischer & Paykel | 2nd Fl Canteen north | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
300 | 600 Building | 2nd Fl South Side | Fischer & Paykel | 2nd Fl Canteen south | North side | Fischer & Paykel | S51 Active Smart | 120V | 2.5 | 12
| WEST |  |  | FILTRINE Water Filters | UNDER SINKS
301 | 700 Building | 12th Floor North Side | Filtrene TMS2 | 12th Floor Pantry | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
302 | 700 Building | 12th Floor South Side | Filtrene TMS2 | 12th Floor Pantry | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
303 | 700 Building | 12th Fl Administrator Suite | Filtrene TMS2 | 11th Floor Pantry | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
304 | 700 Building | 11th Fl North side | Filtrene TMS2 | 11th Floor Pantry | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
305 | 700 Building | 11th Fl South side | Filtrene TMS2 | 10th Floor Pantry | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
306 | 700 Building | 10th Fl South Side | Filtrene TMS2 | 10th Floor Pantry | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
307 | 700 Building | 10th Fl North Side | Filtrene TMS2 | 9th Floor Pantries | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
308 | 700 Building | 9th Fl South Side | Filtrene TMS2 | 9th Floor Pantries | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
309 | 700 Building | 9th Fl North Side | Filtrene TMS2 | 8th Floor Pantries | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
310 | 700 Building | 8th Fl South Side | Filtrene TMS2 | 8th Floor Pantries | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
311 | 700 Building | 8th Fl North Side | Filtrene TMS2 | 7th Floor Pantries | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
312 | 700 Building | 7th Fl North Side | Filtrene TMS2 | 7th Floor Pantris | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
313 | 700 Building | 7Th Fl South Side | Filtrene TMS2 | 6th Floor Pantry | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
314 | 700 Building | 6th Fl South Side | Filtrene TMS2 | 6th Floor Pantry | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
315 | 700 Building | 6th Fl North Side | Filtrene TMS2 | 5th Floor Pantry | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
316 | 700 Building | 5th Fl North Side | Filtrene TMS2 | 5th Floor Pantry | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
317 | 700 Building | 5th Fl South Side | Filtrene TMS2 | 4th Floor Pantry | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
318 | 700 Building | 4th Fl North Side | Filtrene TMS2 | 4th Floor Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
319 | 700 Building | 4th Fl South Side | Filtrene TMS2 | 3rd Floor Pantry | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
320 | 700 Building | 3rd Fl North side | Filtrene TMS2 | 3rd Floor Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
321 | 700 Building | 3rd Fl South side | Filtrene TMS2 | 2nd Floor | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
322 | 700 Building | 2nd Fl North side | Filtrene TMS2 | 2nd Floor | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
323 | 700 Building | 2nd Fl South Side | Filtrene TMS2 | 12th Floor Pantry | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
| EAST |  |  | FILTRINE FILTERS
324 | 600 Building | 12th Fl North Side | Filtrene TMS2 | 12th Fl.Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
325 | 600 Building | 12th Fl South side | Filtrene TMS2 | 12th Floor Pantry | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
326 | 600 Building | 11th Fl North Side | Filtrene TMS2 | 11th Floor Pantries | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
327 | 600 Building | 11th Fl South Side | Filtrene TMS2 | 11th Floor Pantris | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
328 | 600 Building | 10th Fl North Side | Filtrene TMS2 | 10th Floor Pantry | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
329 | 600 Building | 10th Fl South Side | Filtrene TMS2 | 10th Floor Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
330 | 600 Building | 9th Fl North Side | Filtrene TMS2 | 9th Floor Pantry | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
331 | 600 Building | 9th Fl South Side | Filtrene TMS2 | 9th Floor Pantry | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
332 | 600 Building | 8th Fl North Side | Filtrene TMS2 | 8th Floor Pantry | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
333 | 600 Building | 8th Fl South Side | Filtrene TMS2 | 8th Floor Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
334 | 600 Building | 7th Fl North Side | Filtrene TMS2 | 7th Floor Pantry | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
335 | 600 Building | 7Th Fl South Side | Filtrene TMS2 | 7th Floor Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
336 | 600 Building | 6th Fl North side | Filtrene TMS2 | 6th Floor Pantry | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
337 | 600 Building | 6th Fl South Side | Filtrene TMS2 | 6th Floor Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
338 | 600 Building | 5th Fl North Side | Filtrene TMS2 | 5th Floor Pantry | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
339 | 600 Building | 5th Fl South Side | Filtrene TMS2 | 5th Floor Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
340 | 600 Building | 4th Fl North Side | Filtrene TMS2 | 4th Floor Pantry | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
341 | 600 Building | 4th Fl South Side | Filtrene TMS2 | 4th Floor Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
342 | 600 Building | 3rd Fl North side | Filtrene TMS2 | 3rd Floor Pantry | North side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
343 | 600 Building | 3rd Fl South side | Filtrene TMS2 | 3rd Floor Pantry | South side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
344 | 600 Building | 2nd Fl North Side | Filtrene TMS3 | 2nd Floor Pantry | North Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
345 | 600 Building | 2nd Fl South Side | Filtrine TMS2 | 2nd Floor Pantry | South Side | Filtrene TMS2 | Elem 10-5-CB #462622 |  |  | 2
FIRE ,LIFE ,SAFETY
EAST BUILDING
346 | 600 Building | 12th Fl CER Room | 600 Buildng | CRAC-E12-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10 LB |  | 12
347 | 600 Building | 11th Fl CER Room | 600 Buildng | CRAC-E11-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
348 | 600 Building | 10th Fl CER Room | 600 Building | CRAC-E10-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
349 | 600 Building | 9th Fl CER Room | 600 Buildng | CRAC-E09-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
350 | 600 Building | 8th Fl CER Room | 600 Buildng | CRAC-E08-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
351 | 600 Building | 7th Fl CER Room | 600 Buildng | CRAC-E07-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
352 | 600 Building | 6th Fl CER Room | 600 Building | CRAC-E06-01 | AMEREX | ABC-DRY Chemical | Fire Extinguisher | 10 LB |  | 12
353 | 600 Building | 5th Fl CER Room | 600 Building | CRAC-E05-01 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10 LB |  | 12
354 | 600 Building | 4th Fl CER Room | 600 Building | CRAC-E04-01 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10LB |  | 12
355 | 600 Building | 3rd Fl CER Room | 600 Buildng | CRAC-E03-01 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10LB |  | 12
356 | 600 Building | 2nd Floor UPS Room | 600 Building | UPS Room | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10LB |  | 12
357 | 600 Building | 2nd Fl CER Room | 600 Buildng | CRAC-E02-01 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10LB |  | 12
358 | 600 Building | 2nd PCCR Room | 600 Building | PCCR-E02-01 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10LB |  | 12
359 | 600 Building | 1st Floor CER Room | 600 Buildng | CRAC-E01-01 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10LB |  | 12
360 | 600 Building | 1st Fl-Fitness Center | 600 Building | Fitness Center | AMEREX | ABC DRY Chemical | Fire Extinguisher | 10LB | 0.33 | 12 | 4 | hours
361 | 600 Building | B-2 Fl-Genertr Room | 600 Building | Generator Room | AMEREX | ABC DRY Chemical | Fire Extinguisher | 10LB | 0.33 | 12 | 4 | hours
362 | 600 Building | B-2 Fl-Fuel Storage Room | 600 Building | Generator Room | AMEREX | ABC DRY Chemical | Fire Extinguisher | 20 LB | 0.33 | 12 | 4 | hours
WEST BUILDING
363 | 700 Building | 12th CER Room | WEST Building | CRAC-W12-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
364 | 700 Building | 11th Fl CER Room | WEST Building | CRAC-w11-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
365 | 700 Building | 11th Fl-Command Center | WEST Building | Comm.Center | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
366 | 700 Building | 10th CER Room | WEST Building | CRAC-W10-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
367 | 700 Building | 9th CER Room | WEST Building | CRAC-W09-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10LB |  | 12
368 | 700 Building | 8th CER Room | WEST Building | CRAC-W08-01 | AMEREX | ABC -Dry Chemical | Fire Extinguisher | 10lB |  | 12
369 | 700 Building | 7Th SCCR- Room | WEST Building | SCCR-W07-01 | AMEREX | ABC-DRY Chemical | Fire Extinguisher | 10LB |  | 12
370 | 700 Building | 7th Floor-SCIF | WEST Building | PREACTION System | VIKING FM 200 Chemical | G2000 | AA100725 | 326 | 2 | 2 | 4 | hours
371 | 700 Building | 7th Floor -SCIF | WEST Building | PREACTION System | ARIES-Addresable | KIDDE | Cross zone-FACP |  | 2 | 2 | 4 | hours
372 | 700 Building | 7th Floor-SCIF | WEST Building | VESDA Filter | VESDA-8 Batteries | Early Detection System | Fire Extinguisher |  | 1 | 2 | 2 | hours
373 | 700 Building | 7th Floor-SCIF | WEST Building | Voltage Filter | [5 empty] | 1
374 | 700 Building | 7th Floor SCIF FLOR | WEST Building | Canteen Area,N & South | AMEREX | ABC DRY Chemical | Fire Extinguisher | 10LB | 0.5 | 12 | 6 | hours
375 | 700 Building | 6th Floor CER Room | WEST Building | CRAC-W06-01 | AMEREX | ABC DRY Chemical | Fire Extinguisher | 10 LB |  | 12
376 | 700 Building | 5th Floor CER Room | WEST Building | CRAC-W05-01 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10 LB |  | 12
377 | 700 Building | 4th Floor CER Room | WEST Building | CRAC-W04-01 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10LB |  | 12
378 | 700Building | 3rd Floor CER Room | WEST Building | CRAC-W03-01 | AMEREX | Dry chemical | Fire Extinguisher | 10LB |  | 12
379 | 700Building | 2nd Floor CER Room | WEST Building | CRAC-W02-01 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10LB |  | 12
380 | 700 Building | 1st Floor CER Room | WEST Building | CRAC-W01-02 | AMEREX | ABC Dry Chemical | Fire Extinguisher | 10LB |  | 12
381 | 700 Building | 1st Fl. Museum CRAC Room | WEST Building | CRAC-WMUS | AMEREX | ABC DRY Chemical | Fire Extinguisher | 10LB |  | 12
382 | 700 Building | B-2 Fl-Genertr Room | WEST Building | Generator Room | AMEREX | ABC DRY Chemical | Fire Extinguisher | 10 LB | 0.33 | 12 | 4 | Hours
383 | 700 Building | B-2 Fl-Fuel Storage Room | WEST Building | Fuel Storage Room | AMEREX | ABC DRY Chemical | Fire Extinguisher | 10LB | 0.33 | 12 | 4 | Hours
UPS Units
384 | 600 Building | 2nd Floor South | SITE ID:199657 | TAG:1995459 | VERTIV-UPS Unit | 51SA250LAA003AW | M20A2U0004 | 250KW |  | 2
385 | 600 Building | 2nd Floor South | VERTIV | 2nd Floor UPS Batt Cab | Vertiv Battery Cabinet | 51BPNWXE2L200HH | M20AV40025 | 432A |  | 2
386 | 600 Building | 2nd Floor South | VERTIV | 2nd Floor UPS Batt Cab | Vertiv Battery Cabinet | 51BPHWXE1L100IS | M20AV40024 | 432A |  | 2
387 | 600 Building | 2nd Floor South | VERTIV | 2nd Floor UPS Room | PDU-3PH,480V | 51X250HCAOKAS94 | M20B640011 | 250kva |  | 2
388 | 700 Building | 5th Floor North | SITE ID:199657 | TAG:1997295 | PDU-3PH,480V | 51X150HCANEAS94 | M20B640022 | 150kva |  | 2
389 | 700 Building | 5th Floor North | VERTIV | 5th Fl.UPS Room | UPS System-150KVA,432DC Volt | 51SA150HAA003LQ | M20B4L0019 | 150kva |  | 2
390 | 700 Building | 5th Floor North | VERTIV | 5th Fl.UPS Room | Battery Cabinet,581A,432 VDC | 51BPNWXE2L100HH | M20AV40023 | 150kva |  | 2
Building Structure
391 | 600 Building | All Floors, All Glass Doors | 600 Building | Office Doors and Locks | Stairwells,Main Bathrooms,Doors | By Landlord | Repair as needed
392 | 700 Buiding | All Floors, All Glass Doors | 700 Buildng | Office Doors and Locks | Stairwells,Main Bathrooms,Doors | By Landlord | Repair As Needed
393 | 700/600 Blds | All 3 flags | Courtyard | Flag Maintenance | Flag Poles,Hardware by Landlord |  | AS Requested
394 | 700 Bld Roof | 2 LEED lights w. Hardware | 700 Buildng | Yearly installation of Red Ribbon Flag |  | DEA to provide flags | to include Daily Setup and Removal | 7 days
395 | 700 Bld Roof | 4 LEED light with hardware | 700 Buildng | Yearly installation of 9-11 Flag + Lighting |  | DEA to provide flags | to include Daily Setup and Removal | 7 days
396 | 600 Building | All Floors, all Canteens | 600 Building | Pantry cabinets, doors, garbage receptacles, faucets, water fountains |  |  | As needed
397 | 700 Building | All Floors,all canteens | 700 Buildng | Pantry cabinets, doors, garbage receptacles, faucets, water fountains |  |  | As needed
398 | 600 Building | Sweep,dust,mop CRAC RMs | All Comptr Rooms | Clean all CER Rooms | Vacuum Included |  | As needed
399 | 700 Building | Sweep,dust,mop CRAC RMs | All Comptr Rooms | Clean all CER Rooms | Vacuum Included |  | As needed
400 | 700 Building | Auditorium | 700 Building | Maintain/setup scaffolding to service 5 Auditorium HVAC |  |  | As needed
401 | 700/600 Blds | Courtyard | Courtyard | Raise/Lower Flags |  |  | As needed
402 | 600/700 Blds | All Floors,both Building | Various | Minor Cosmetic Repair | Canteen Floors,lights, carpet, |  | As needed
403 | 600 Building | Fitness Center | Gym | Shower Curtains |  |  | Replace once Yearly
404 | 600 Building | Fitness Center | Gym | Shower Curtains | Include curtain rods,Liners,anchor | X 9 Showers | Replace 4 times a Year |  | 3 | 4 | 12 | Hours
[5 empty] | Curtains,liners,rods | more than$1150 yearly cost
405 | 600 Building | Fitness Center | Gym | Lockers |  |  | Repair as needed
406 | 600 Building | Fitness Center | Gym | Diaper Changing Tables |  |  | Repair/Replace as needed
407 | 600 Building | Fitness Center | Gym | Towel Hooks, Soap dishes, Shower Matting |  |  | Repair/Replace as needed
408 | 600 Building | Fitness Center | Gym | Drinking Water Fountains |  |  | Repair/Replace as needed
409 | 600/700 Bldg | Both Buildings | Various | Specialty Lighting ?? | 440 Units |  | Repair/Replace as needed
410 | 700 Building | Auditorium | Various | Auditorium Chairs |  |  | Repair/Replace as needed
411 | 700 Building | West 11th Floor | 700 Building | Command Center Personal Lockers |  |  | Repair/Replace as needed
412 | 600/700 Bld | All Floors,both buildings | Various | Minor electrical Repairs | include Electrical & Data rooms |  | Repair/Replace as needed
413 | 600/700 bld | All Floors,both buildings | Various | Lighting Motion sensors | include sensor switches |  | Repair/Replace as needed
414 | 600/700 | All Floors,both Buildings | Various | Automatic Towel Dispensers |  |  | Repair/Replace as needed
415 | 600 Building | 4th Floor Clicnic | 600 Building | 4 Floor Exam Rooms 1-5 Plumbing fixtures |  |  | Repair/Replace as needed
416 | 600 Building | 4th Floor Clicnic | 600 Building | 4 Floor Dedicated Hot Water Heater in W4614 |  |  | Repair/Replace as needed
417 | 600/700 bld | All Floors, both buildings | Various | Unisex Bathroom Fixtures |  |  | Repair/Replace as needed
418 | 600 Building | All floors | door openers | Push buttons door openers,door closers.DEA spaces only |  |  | Repair/Replace as needed
419 | 600 Building | All floors | Window blids |  |  |  | Repair/Replace as needed
420 | 700 Building | All floors | Window blids |  |  |  | Repair/Replace as needed
421 | 700 Building | All Floors | Door openers | Push buttons door openers,door closers.DEA spaces only |  |  | Repair/Replace as needed
422 | 600/700 Blds | Unisex mirror ballasts | 12 units per year | approximately |  |  | Repair/Replace as needed
423 | 600/700 Blds | [5 empty] | Repair/Replace as needed
424 | 600 Building | All Refrigerators | Water Filters | All 24 Units | 48 Filters a year x .50 Hrs | Approx $5800 X year | Replace twice a year |  | 0.5 | 2 | 24 | Hours
425 | 700 Building | All Refrigerators | Water Filters | All 26 Units | 52 Filters a year x.50 Hrs | Approx $6200 X year | Replace twice a year |  | 0.5 | 2 | 52 | Hours
426 | 600 Building | All Keurig Coffee Makers | Water Filters | All 24 Units | 48 Filters a year x .50 Hrs | Approx $3200 x year | Replace twice a year |  | 0.5 | 2 | 48 | Hours
427 | 700 Building | All Keurig Coffee Makers | Walter Filters | All 24 Units | 48 Filters a year x .50 Hrs | Approx$3200 x year | Replace twice a year |  | 0.5 | 2 | 48 | Hours
| 600/700 Blds | All High Density Filing | Various | All High Density Systems | Moveable file shelves | Various | Various |  |  | 2 | 445 | Total Hrs | $38715 Lbr
[5 empty] | Descaling Materials | $1150 X year
[5 empty] | New Fire Supp. System | $8200.00 SCIF pre action
[5 empty] | New Lights specialty fixtures | $800 ballasts Specialty | light fixtures
Green items are new items
Red Items = total labor additional per year