| SUBJECT* | PHILIPS MRI AND CHILLER MAINTENANCE |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 66048 |
| --- | --- |
| SOLICITATION NUMBER* | 36C25526Q0303 |
| RESPONSE DATE/TIME/ZONE | 04-13-2026 11:00 am CENTRAL TIME, CHICAGO, USA |
| ARCHIVE | 10 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | J065 |
| NAICS CODE* | 811210 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office (NCO) 15 3450 S 4th Street Trafficway Leavenworth KS 66048 |
| POINT OF CONTACT* | Contracting Officer Betty Flores veronica.flores@va.gov |

PLACE OF PERFORMANCE

| ADDRESS | Department of Veterans Affairs |
| --- | --- |
|  | Harry S. Truman Memorial Veterans Hospital |
|  | 800 Hospital Drive |
|  | Columbia MO |
| POSTAL CODE | 65201-5275 |
| COUNTRY |  |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

This is a SOURCES SOUGHT announcement only. It is neither a solicitation announcement nor a request for proposal or quote and does not obligate the Government to award a contract. Responses to this Sources Sought must be in writing. The purpose of this Sources Sought Announcement is for market research, to make appropriate acquisition decisions, and to gain knowledge of potential qualified businesses capable of providing the following:

Philips MRI and Chiller Maintenance and Repair for Columbia VAMC

*** See Statement of Work below for details ***

If this is within your capability, please respond with the information below:

- Company Name

- Address

- Point of Contact

- Phone, Fax, and Email

- UEI number

- GSA Contract (as applicable)

- Capability Statement that clearly and convincingly identifies your ability to fulfill this requirement.

- Brochures of services being offered, to include specifications.

- Authorized service provider letter from OEM

Interested firms are reminded that in accordance with FAR 4.203, prospective contractors shall complete electronic annual representations and certifications to be considered for award. In addition, FAR 4.203 states that prospective contractors shall be registered in the System for Award Management (www.SAM.gov) database. All Service-Disabled Veteran Owned Small Businesses (SDVOSB) and Veteran Owned Small Businesses (VOSB) shall be verified in SBA at Small Business Search .

Point of Contact for this Sources Sought is:

veronica.flores@va.gov

Department of Veterans Affairs

Network Contracting Office -15

3450 S. 4th Street Trafficway

Leavenworth, KS. 66048

STATEMENT OF WORK (SOW)

MR Elastography and Chiller Coverage Service Plan

1. Overview

This Statement of Work (SOW) outlines the services required to maintain and support the Magnetic Resonance (MR) Elastography system and associated chiller equipment. The Contractor shall provide all preventive and corrective maintenance necessary to ensure optimal performance, reliability, and longevity of the covered equipment.

Covered Equipment:

- Philips Ingenia Ambition X 1.5T MRI, Serial Number 47835, EE# 295184

- KKT Chiller, Model CBOXX60, Serial Number 90604295, EE# 295173

2. Service Specifications

a. Priority Scheduling and Spare Parts Inventory Access

- Priority scheduling for all service requests.

- Access to Contractor-maintained spare parts inventory.

b. Priority Remote Service Response

- Requires connectivity to the Remote Services network.

- Provides prioritized remote diagnostic and troubleshooting support.

c. Labor and Travel Coverage

- All labor and travel expenses covered during standard service hours: Monday through Friday, 8:00 AM to 5:00 PM, excluding federal holidays.

d. Response Times

- One-hour initial response time.

- Four-hour on-site response time when required.

e. Spare Parts

- All necessary replacement parts covered for failures under normal use, excluding consumables.

- Next-business-day delivery of parts by 10:30 AM.

f. Lifecycle Catalogue Discount

- 15% discount on lifecycle catalog items, excluding UPS systems.

g. Planned Maintenance Services

- Preventive maintenance performed per manufacturer specifications during standard coverage hours.

h. Software Enhancements

- Provision of operating system software enhancements that do not require hardware changes, excludes software upgrades.

i. Technical and Clinical Support

- Unlimited technical support 24/7.

- Clinical applications support Monday–Friday, 8:00 AM–5:00 PM.

j. Remote Service Support

- Includes Remote Desktop support.

k. Remote Proactive Monitoring

- Requires Remote Services connection.

- Provides continuous monitoring and proactive issue detection.

l. Reporting

- Reports including PSI eligibility, service history, and PM summaries.

m. Provide service and maintenance support on the existing MR Elastography hardware/software.

- Ongoing maintenance and service support for the Elastography hardware/software already licensed on the system.

- Troubleshooting and issue resolution related to Elastography functionality as part of the service agreement.

3. Chiller Coverage

Coverage Hours: Monday–Friday, 8:00 AM–9:00 PM, excluding holidays.

Services:

- Corrective maintenance as needed.

- Preventive maintenance per manufacturer requirements.

4. Deliverables

- Preventive Maintenance Reports

- Corrective Maintenance Documentation

- Remote Monitoring Notifications

- Remote Service Logs

- Spare Parts Delivery Confirmations

- Software Enhancement Records

- Technical Support Summaries

- Planned Maintenance Schedule

- Chiller Maintenance Reports

- Quarterly or On-Demand Service Reports

5. Contractor Responsibilities

- Provide labor, tools, parts, and materials.

- Perform work per manufacturer specifications.

- Maintain qualified personnel.

- Meet all response times.

- Support Remote Services connectivity.

- Coordinate PM with Government.

- Maintain documentation and deliverables.

- Notify Government of risks or failures.

- Ensure proper delivery of parts.

- Comply with facility security and safety.

6. Government Responsibilities

- Provide access to equipment and infrastructure.

- Maintain Remote Services connectivity.

- Notify Contractor of issues.

- Make equipment available for PM.

- Provide required utilities.

- Designate a point of contact.

- Notify Contractor of facility issues.

7. Place of Performance

Harry S. Truman Memorial Veterans Hospital

800 Hospital Drive

Columbia, MO 65201-5275

- Remote services may be performed from Contractor facilities.

- Contractor personnel shall comply with security and safety requirements.

8. Observed Holidays

| Federal Holidays Observed by the VA Medical Center |  |
| --- | --- |
| New Year's Day | Labor Day |
| Martin Luther King, Jr. Day | Columbus Day |
| President's Day | Veterans Day |
| Memorial Day | Thanksgiving Day |
| Juneteenth | Christmas Day |
| Independence Day |  |
| and any other day specifically designated by the President of the United States. |  |