| SUBJECT* | Vocera Software & Service coverage (VA-26-00047269) |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 07724 |
| --- | --- |
| SOLICITATION NUMBER* | 36C10B26Q0306 |
| RESPONSE DATE/TIME/ZONE | 04-15-2026 10AM EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 45 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE | SDVOSBC |
| PRODUCT SERVICE CODE* | 7A21 |
| NAICS CODE* | 541519 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Technology Acquisition Center 23 Christopher Way Eatontown NJ 07724 |
| POINT OF CONTACT* | Contract Specialist Ivan Varela Ivan.Varela@va.gov (848) 377-5328 |

PLACE OF PERFORMANCE

| ADDRESS |  |
| --- | --- |
| POSTAL CODE |  |
| COUNTRY |  |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

Please find all pertinent information pertaining to this Request for Information (RFI) below.

## REQUEST FOR INFORMATION (RFI)

INTRODUCTION: THIS IS NOT A SOLICITATION.  This RFI is issued for information and planning purposes only, do not submit a proposal/quotation.  There is no obligation for the Government to acquire any products or services described in this RFI.  No funds have been authorized, appropriated, or received for this effort. The information provided may be used by the Department of Veterans Affairs (VA) in developing its acquisition strategy. Interested parties are responsible for adequately marking proprietary, restricted or competition sensitive information contained in their response. The Government does not intend to pay for the information submitted in response to this RFI.

## BACKGROUND

The Department of Veterans Affairs (VA), Office of Information & Technology (OIT), VASTLHCS Healthcare Technology Management Service strives to provide high quality, effective, and efficient Information Technology (IT) services to those responsible for providing care to the Veterans at the point-of-care as well as throughout all the points of the Veterans’ health care in an effective, timely and compassionate manner.  VA depends on Information Management/Information Technology (IM/IT) systems to meet mission goals.

This contract will ensure the continuous reliability of the Vocera badge systems and ancillary equipment identified in the statement of work. The equipment is critical for communication between nurses, doctors, and other providers to communicate patient and care needs. The reliable and accurate operation of the equipment at all times is considered critical to the health of patients. This system is located at John Cochran (JC) and Jefferson Barracks (JB). Please refer to the attached DRAFT Performance Work Statement (PWS) for more specific information on the requirement.

## QUESTIONS AND CRITICAL CONSIDERATIONS FOR INTERESTED CONTRACTORS

Responses are solely treated as information for the Government to consider.  Direct or indirect costs incurred in response to this RFI are at the expense of the vendor, not the Government. In accordance with RFO 15.101(c)(2), responses to RFIs are not offers and cannot be accepted by the Government to form a binding contract. The Government does not intend to award a contract on the basis of the RFI or otherwise pay for the information requested; and responses will be treated as information only and not as a proposal/quotation.

It is requested that all companies interested in participating in this effort to note their interest and respond to the areas identified in the “Capabilities Statement” section below. Provide a summary of your technical approach to meet each functional requirement.

## Capabilities Statement

The page limit for responses to this section is 5 pages.

- Provide Point of Contact information (name, email address, address, telephone, and fax numbers).

- Please identify your company’s size status based upon the applicable NAICS code of 541519. If in responding to this RFI, you believe another NAICS code should be applicable, please identify the NAICS code you consider appropriate for this effort along with detailed supporting rationale.

- Please provide details regarding proposed joint ventures, teaming arrangements, strategic alliances or other business arrangements to satisfy requirements of the “Draft” Performance Work Statement (PWS).  Small businesses are encouraged to identify teams whereby each team member is considered small business based upon the proposed North American Industrial Classification System (NAICS) code of 541519 (small business size standard of $34.0M average annual receipts) to support set-aside considerations.

- Provide Vocera Software/hardware capabilities and deployment experience.

- Provide a brief summary of your technical approach to meet VA’s requirements in the attached “Draft” PWS. Identify any expected modifications that would be required to support the requirements detailed in the PWS.

- Please confirm your proposed solution will be the commercial-off-the-shelf software – Vocera Software, and that you are a authorized/licenses reseller of Vocera software and hardware support.

- Proposed staffing plan to meet PWS requirements.

- Ability to meet the timelines needed to successfully implement requirements set

by the PWS.

- Provide information if services and products are available under any Federal Contract Vehicle, e.g., GWACs, GSA Federal Supply Schedule, T4NG, etc.

## RESPONSE SUBMISSION

Please submit responses via email to Ivan Varela, Contract Specialist at Ivan.Varela@va.gov by 10:00 am Eastern Standard Time, April 15th, 2026. VA reserves the right to not reply to any emails, responses, and/or materials submitted.

# PERFORMANCE WORK STATEMENT (PWS)

# DEPARTMENT OF VETERANS AFFAIRS

Office of Information & Technology (OIT)

VASTLHCS Healthcare Technology Management

VASTLHCS Vocera Maintenance and Support Contract

Date: 4/1/2026

VA-26-00047269

PWS Version Number:  1.0

Disclaimer: The TAC accepts no liability for the completeness or correctness concerning the Information Technology content of this template.  This template is a means to simply assist the requiring activity in developing their requirements.  It is the Requiring Activity’s responsibility to ensure the correctness of all requirements within their final Performance Work Statement

# Contents

REQUEST FOR INFORMATION (RFI)	4

BACKGROUND	4

QUESTIONS AND CRITICAL CONSIDERATIONS FOR INTERESTED CONTRACTORS	4

Capabilities Statement	4

RESPONSE SUBMISSION	5

1.0	BACKGROUND	10

2.0	APPLICABLE DOCUMENTS	10

3.0	SCOPE OF WORK	15

4.0	PERFORMANCE DETAILS	15

4.1	PERFORMANCE PERIOD	15

4.2	PLACE OF PERFORMANCE	15

4.3	TRAVEL	16

5.0	SPECIFIC TASKS AND DELIVERABLES	16

5.1	PROJECT MANAGEMENT	19

5.1.1	CONTRACTOR PROJECT MANAGEMENT PLAN	19

5.1.2	REPORTING REQUIREMENTS	19

5.2	<ADDITIONAL TASK(S)>	20

6.0	GENERAL REQUIREMENTS	20

6.1	ENTERPRISE AND IT FRAMEWORK	20

6.1.1	VA TECHNICAL REFERENCE MODEL	20

6.1.2	ZERO TRUST – VA CRITICAL SECURITY CONTROLS	20

6.1.3	FEDERAL IDENTITY, CREDENTIAL, AND ACCESS MANAGEMENT (FICAM)	21

6.1.4	INTERNET PROTOCOL VERSION 6 (IPv6)	22

6.1.5	TRUSTED INTERNET CONNECTION (TIC)	22

6.1.6	STANDARD COMPUTER CONFIGURATION	23

6.1.7	VETERAN FOCUSED INTEGRATION PROCESS (VIP) AND PRODUCT LINE MANAGEMENT (PLM)	23

6.1.8	PROCESS ASSET LIBRARY (PAL)	24

6.1.9	AUTHORITATIVE DATA SOURCES	24

6.1.10	SOCIAL SECURITY NUMBER (SSN) REDUCTION	25

6.1.11	SOFTWARE AND LICENSING REQUIREMENTS	25

6.1.12	GENERATIVE ARTIFICIAL INTELLIGENCE REQUIREMENTS	26

AI SYSTEM/LLM DEVELOPMENT AND OPERATION DOCUMENTATION REQUIREMENTS	28

MONITORING, REPORTING, AND CORRECTIVE ACTION	30

AI MODEL UPDATES AND CHANGE DISCLOSURES	30

6.1.13	SOURCE CODE HARMONIZATION AND REUSE IN INFORMATION TECHNOLOGY (SHARE IT Act)	30

6.2	SECURITY AND PRIVACY REQUIREMENTS	31

6.2.1	POSITION/TASK RISK DESIGNATION LEVEL(S)	31

6.2.2	CONTRACTOR PERSONNEL SECURITY REQUIREMENTS	32

6.3	METHOD AND DISTRIBUTION OF DELIVERABLES	34

6.4	PERFORMANCE METRICS	34

6.5	FACILITY/RESOURCE PROVISIONS	35

6.6	GOVERNMENT FURNISHED PROPERTY	36

6.7	SHIPMENT OF HARDWARE OR EQUIPMENT	36

ADDENDUM A – ADDITIONAL VA REQUIREMENTS, CONSOLIDATED	39

# BACKGROUND

The Department of Veterans Affairs (VA), Office of Information & Technology (OIT), VASTLHCS Healthcare Technology Management Service strives to provide high quality, effective, and efficient Information Technology (IT) services to those responsible for providing care to the Veterans at the point-of-care as well as throughout all the points of the Veterans’ health care in an effective, timely and compassionate manner.  VA depends on Information Management/Information Technology (IM/IT) systems to meet mission goals.

This contract is issued to ensure the continuous reliability of the Vocera badge systems and ancillary equipment identified in the statement of work. The equipment is critical for communication between nurses, doctors, and other providers to communicate patient and care needs. The reliable and accurate operation of the equipment at all times is considered critical to the health of patients. This system is located at John Cochran (JC) and Jefferson Barracks (JB).

# APPLICABLE DOCUMENTS

In the performance of the tasks associated with this Performance Work Statement, the Contractor shall comply with the following:

- “Federal Information Security Modernization Act of 2014”

- Federal Information Processing Standards (FIPS) Publication 140-3, “Security Requirements for Cryptographic Modules”, March 22, 2019

- FIPS Pub 199. “Standards for Security Categorization of Federal Information and Information Systems,” February 2004

- FIPS Pub 200, “Minimum Security Requirements for Federal Information and Information Systems,” March 2006

- FIPS Pub 201-3, “Personal Identity Verification of Federal Employees and Contractors,” January 2022

- 10 U.S.C. § 2224, "Defense Information Assurance Program", as amended

- 5 U.S.C. § 552a, as amended, “The Privacy Act of 1974”

- Public Law 109-461 (P.L. 109-461), Veterans Benefits, Health Care, and Information Technology Act of 2006, as amended, Title IX, Information Security Matters

- 42 U.S.C. § 2000d “Title VI of the Civil Rights Act of 1964”, as amended

- VA Directive 0710, “Personnel Vetting Program,” September 8, 2025, https://www.va.gov/vapubs/index.cfm

- VA Handbook 0710, “Personnel Vetting Program,” September 8, 2025, https://www.va.gov/vapubs/index.cfm

- VA Directive 6102, “Internet/Intranet Services,” August 5, 2019

- 36 C.F.R. Part 1194 “Information and Communication Technology Standards and Guidelines,” as amended

- Office of Management and Budget (OMB) Circular A-130, “Managing Federal Information as a Strategic Resource,” July 28, 2016

- 32 C.F.R. Part 199, “Civilian Health and Medical Program of the Uniformed Services (CHAMPUS)”, as amended

- NIST SP 800-66 Rev. 2, “Implementing the Health Insurance Portability and Accountability Act (HIPAA) Security Rule: A Cybersecurity Resource Guide,” February 2024

- 45 C.F.R Parts 160 and 164, Subparts A and E, the Standards for Privacy of Individually Identifiable Health Information (“Privacy Rule”); and 45 C.F.R. Parts 160 and 164, Subparts A and C, the Security Standard (“Security Rule”); as amended

- Sections 504 and 508 of the Rehabilitation Act (29 U.S.C. § 794d), as amended

- Homeland Security Presidential Directive (12) (HSPD-12), August 27, 2004

- VA Directive 6500, “VA Cybersecurity Program,” February 24, 2021 (see VA NOTICE 24-18, dated September 27, 2024, “Update to VA Directive 6500 Cybersecurity Program”, and VA Notice 25-07, dated 3/18/25, “Amending VA Directive 6500 to incorporate M-24-15”)

- VA Handbook 6500, “Risk Management Framework for VA Information Systems VA Information Security Program,” February 24, 2021 (see VA Notice 25-01, dated October 15, 2024, “Update to VA Handbook 6500 Risk Management Framework for VA Information Systems VA Information Security Program”, and VA Notice 25-06, dated 3/18/25, “Amending VA Directive 6500 to incorporate M-24-15”, VA Notice 25-16, dated September 15, 2025, “Amending VA Handbook 6500 to Replace Enterprise Mission Assurance Support Services Tool With Office of Information Technology Governance Risk Compliance Tool, and VA Notice 25-17, dated September 22, 2025, “Rescission Of Office Of Information Security (OIS) Deputy Assistant Secretary (DAS) Memorandum – Requirements of Proper Plan of Action and Milestones (POA&M) Completion)

- VA Handbook 6500.2, “Management of Breaches Involving Sensitive Personal Information (SPI),” June 30, 2023

- VA Handbook 6500.6, “Contract Security,” March 12, 2010 (see VA Notice 24-12, dated April 22, 2024, “Update to VA Handbook 6500.6, Contract Security, Appendix C VA Information and Information System Security/Privacy Language For Inclusion Into Contracts, As Appropriate”)

- VA Handbook 6500.8, “Information System Contingency Planning,” March 25, 2025

- VA Handbook 6500.10, “Mobile Device Security Policy,” February 15, 2018 (see VA NOTICE 25-10, dated June 9, 2025, “Use of Personally Owned Mobile Devices Policy Amendment of Department of Veterans Affairs Handbook 6500.10”, and VA Notice 25-15, dated August 22, 2025, “Update to VA Handbook 6500.10 Mobile Device Security Policy”)

- VA Handbook 6500.11, “VA Firewall Configuration,” August 22, 2017

- OIT Process Asset Library (PAL), OIT Process Asset Library.

- One-VA Technical Reference Model (TRM) (reference at https://www.va.gov/trm/TRMHomePage.aspx)

- VA Directive 6508, “Implementation of Privacy Threshold Analysis and Privacy Impact Assessment,” October 15, 2014

- VA Directive 6510, “VA Identity, Credential and Access Management,” September 3, 2024

- VA Handbook 6510, “VA Identity, Credential and Access Management,” September 27, 2024

- VA Directive and Handbook 6513, “Secure External Connections,” October 12, 2017

- VA Directive 6300, “Records and Information Management,” September 21, 2018

- VA Handbook, 6300.1, “Records Management Procedures,“ March 24, 2010

- NIST SP 800-37 Rev 2, “Risk Management Framework for Information Systems and Organizations: A System Life Cycle Approach for Security and Privacy,” December 2018

- NIST SP 800-53 Rev. 5, “Security and Privacy Controls for Federal Information Systems and Organizations,” September 23, 2020 (includes updates as of 12/10/2020)

- VA Directive 0735, “Homeland Security Presidential Directive 12 (HSPD-12) Program,” October 26, 2015

- VA Handbook 0735, “Homeland Security Presidential Directive 12 (HSPD-12) Program,” March 24, 2014

- OMB Memorandum 05-24, “Implementation of Homeland Security Presidential Directive (HSPD) 12 – Policy for a Common Identification Standard for Federal Employees and Contractors,” August 5, 2005

- OMB Memorandum M-19-17, “Enabling Mission Delivery Through Improved Identity, Credential, and Access Management,” May 21, 2019

- OMB Memorandum, “Guidance for Homeland Security Presidential Directive (HSPD) 12 Implementation,” May 23, 2008

- Federal Identity, Credential, and Access Management (FICAM) Architecture, June 30, 2023 (FICAM Architecture (idmanagement.gov))

- NIST SP 800-116 Rev 1, “Guidelines for the Use of Personal Identity Verification (PIV) Credentials in Facility Access,“ June 2018

- NIST SP 800-63 Rev 4, 800-63A-4, 800-63B-4, 800-63C-4, “Digital Identity Guidelines,” August 1, 2025

- NIST SP 800-157, “Guidelines for Derived PIV Credentials,” December 2014

- VA Memorandum, VAIQ #7100147, “Continued Implementation of Homeland Security Presidential Directive 12 (HSPD-12),” April 29, 2011 (reference https://www.voa.va.gov/documentlistpublic.aspx?NodeID=514)

- IAM Identity Management Business Requirements Guidance document, May 2013, (reference Enterprise Architecture Section, PIV/IAM (reference https://www.voa.va.gov/documentlistpublic.aspx?NodeID=514)

- VA Memorandum “Personal Identity Verification (PIV) Logical Access Policy Clarification,” July 17, 2019, https://www.voa.va.gov/DocumentView.aspx?DocumentID=4896

- Trusted Internet Connections (TIC) 3.0 Core Guidance Documents, https://www.cisa.gov/publication/tic-30-core-guidance-documents

- OMB Memorandum M-19-26, “Update to the Trusted Internet Connections (TIC) Initiative,” September 12, 2019

- OMB Memorandum M-08-23, “Securing the Federal Government’s Domain Name System Infrastructure,” August 22, 2008

- Sections 524 and 525 of the Energy Independence and Security Act of 2007, (P.L. 110–140), December 19, 2007

- Section 104 of the Energy Policy Act of 2005, (P.L. 109–58), August 8, 2005

- Executive Order 13221, “Energy-Efficient Standby Power Devices,” August 2, 2001

- Executive Order 14148, “Initial Rescissions of Harmful Executive Orders and Actions,” dated January 20, 2025

- VA Directive 0057, “VA Environmental Management Program,” October 25, 2022

- OIS VAIQ #7424808 Memorandum, “Remote Access,” January 15, 2014, https://www.voa.va.gov/DocumentListPublic.aspx?NodeId=28

- Clinger-Cohen Act of 1996, 40 U.S.C. §11101 and §11103

- “Veteran Focused Integration Process (VIP) Guide 4.0,” March  2021, https://www.voa.va.gov/DocumentView.aspx?DocumentID=4371

- VA Memorandum “Proper Use of Email and Other Messaging Services,” January 2, 2018, https://www.voa.va.gov/DocumentListPublic.aspx?NodeId=28

- “Product Line Management Transformation Playbook” version 3.1, August 2023, https://www.voa.va.gov/DocumentView.aspx?DocumentID=4946

- NIST SP 500-267B Revision 1, “USGv6 Profile,” November 2020

- OMB Memorandum M-21-07, “Completing the Transition to Internet Protocol Version 6 (IPv6),” November 19, 2020

- Social Security Number (SSN) Fraud Prevention Act of 2017

- Section 240 of the Consolidated Appropriations Act (CAA) 2018, March 23, 2018

- C.F.R Title 15 Part 7, “Securing the Information and Communications Technology and Services (ICTS) Supply Chain”, as amended

- Executive Order 14028, “Executive Order on Improving the Nation's Cybersecurity,” May 12, 2021, https://bidenwhitehouse.archives.gov/briefing-room/presidential-actions/2025/01/16/executive-order-on-strengthening-and-promoting-innovation-in-the-nations-cybersecurity/

- OMB Memorandum M-22-09, “Moving the U.S. Government Toward Zero Trust Cybersecurity Principles”, January 26, 2022, https://www.whitehouse.gov/wp-content/uploads/2022/01/M-22-09.pdf.

- NIST SP 800-52 Revision 2, “Guidelines for the Selection, Configuration, and Use of Transport Layer Security (TLS) Implementations

- OMB M-26-05, “Adopting a Risk-based Approach to Software and Hardware Security,” January 23, 2026

- OMB M-21-31, “Improving the Federal Government’s Investigative and Remediation Capabilities Related to Cybersecurity Incidents,” August 27, 2021

- NIST SP 800-88 Revision 1 “Guidelines for Media Sanitization,” December 2014

- CISA Binding Operational Directive (BOD) 19-02: “Vulnerability Remediation Requirements of Internet-Accessible Systems,” April 29, 2019, BOD 19-02: Vulnerability Remediation Requirements for Internet-Accessible Systems | CISA

- CISA BOD 22-01: “Reducing the Significant Risk of Known Exploited Vulnerabilities,” November 3, 2021, BOD 22-01: Reducing the Significant Risk of Known Exploited Vulnerabilities | CISA

- CISA BOD 23-01: Improving Asset Visibility and Vulnerability Detection on Federal Networks.” Cybersecurity & Infrastructure Security Agency (CISA), BOD 23-01: Improving Asset Visibility and Vulnerability Detection on Federal Networks | CISA

- VA Directive 6550, Pre-Procurement Assessment and Implementation of Medical Devices/Systems, June 03, 2019

- VA Memorandum, “VA Security Controls,” January 17, 2025, https://www.voa.va.gov/DocumentView.aspx?DocumentID=5010

- E.O. 13960, “Promoting the Use of Trustworthy Artificial Intelligence in the Federal Government,” December 3, 2020

- E.O. 14319, “Preventing Woke AI in the Federal Government,” July 23, 2025

- OMB Memorandum M-25-21, “Accelerating Federal Use of AI through Innovation, Governance, and Public Trust,” April 3, 2025

- OMB Memorandum M-25-22, “Driving Efficient Acquisition of Artificial Intelligence in Government,” April 3, 2025

- OMB Memorandum M-26-04, “Increasing Public Trust in Artificial Intelligence (AI) Through Unbiased AI Principles,” December 11, 2025

- VA Directive 6066, “Protected Health Information (PHI) And Business Associate Agreements Management”, September 2, 2014

# SCOPE OF WORK

The Contractor shall supply all labor, travel, materials, equipment, tools, supervision, and all incidentals required to complete on-site full-service preventative maintenance and corrective maintenance (repair) of the Vocera badge communication system being utilized within the VASTLHCS, in accordance with Manufacturer’s recommendations, Joint Commission standards, design specifications, and the specifications, terms, and conditions of this contract.

# PERFORMANCE DETAILS

## PERFORMANCE PERIOD

The PoP shall be for 1 year starting September 30, 2026 through September 29, 2027 with up to 4 additional option periods.

Any work at the Government site shall not take place on Federal holidays or weekends unless directed by the Contracting Officer (CO).

There are 11 Federal holidays set by law (USC Title 5 Section 6103) that VA follows:

Under current definitions, five are set by date:

New Year's Day			January 1

Juneteenth				June 19

Independence Day			July 4

Veterans Day			November 11

Christmas Day			December 25

If any of the above falls on a Saturday, then Friday shall be observed as a holiday.  Similarly, if one falls on a Sunday, then Monday shall be observed as a holiday.

The other six are set by a day of the week and month:

Martin Luther King's Birthday	Third Monday in January

Washington's Birthday	Third Monday in February

Memorial Day	Last Monday in May

Labor Day	First Monday in September

Columbus Day	Second Monday in October

Thanksgiving	Fourth Thursday in November

## PLACE OF PERFORMANCE

Tasks under this PWS shall be performed in VA facilities located in the VASTLHCS.  Work may be performed at remote locations with prior concurrence from the Contracting Officer’s Representative (COR). The equipment is located at the following locations:

John Cochran Division

915 N. Grand Blvd.

St. Louis, MO 63106

Jefferson Barracks Division

1 Jefferson Barracks Drive

St. Louis, MO 63125

## TRAVEL

The Government anticipates travel under this effort to perform the tasks associated with the effort, as well as to attend program-related meetings or conferences throughout the PoP.  Include all estimated travel costs in your firm-fixed price line items.  These costs will not be directly reimbursed by the Government.

# SPECIFIC TASKS AND DELIVERABLES

The Contractor shall perform the following:

a. Each of the following items is to be serviced in accordance with the specifications, terms and conditions of this contract.

i. 900 Enterprise Voice Licenses and Messaging Licenses

ii. 579 Engage Enterprise Licenses

iii. 3 servers:

Vocera Platform Server Cluster (2 server array)

Vocera SIP Telephony service

Vocera Voice service

Vocera Messaging service

Engage Service

Vocera Analytics Server

iv. Integration with the following systems:

| 3rd Party System | Integration | Model | Middleware | Campus | Staff Assignment |
| --- | --- | --- | --- | --- | --- |
| Rauland | Nurse Call | ResponderV | Engage | Both | Vocera |
| Vista/CPRS | ADT, PRN, Orders | EMR | Engage | Both | Vocera |
| Active Directory | ID Management | N/A | Engage | Both | Vocera |

b. Summary of Services

i. Vocera Data Management

Establish, update, and maintain processes for submitting data and devices changes to system database

Add/delete/update database entries as requested by using departments

ii. Vocera Device Management

Maintain device management systems

Partner with customer to develop, update, and maintain processes for device inventory management

iii. Vocera Software Management

Apply appropriate Vocera system updates, service packs, and hot fixes as necessary

iv. Vocera Service Monitoring

Proactively monitor Vocera system services for any issues

Escalate identified service issues, as appropriate, to Vocera Technical Support

v. Vocera Deployment Optimization

Refine deployment call flows to improve usability of the Vocera system

Provide guidance to customer as it relates to the Engage workflow improvement as required

Refine deployment messaging groups to improve usability of the Vocera messaging solution

Round on units to coach staff, learn workflow, uncover issues, resolve issues, and develop relationships

Provide data driven performance metrics on routine basis

vi. Vocera Onsite Training and Support

Partner with customer to support training for new and existing Vocera users, include New Employee Orientation and ongoing education needs

Review usage reports to identify areas of opportunity for increased support and education

Provide training materials and make them easily available to staff for self-review and refresher education as necessary

Provide ongoing training for changes in functionality affecting end users

vii. Vocera Issue Escalation Management

Address and resolve issues regarding Vocera equipment, database, and users

Escalate issues regarding network or servers to appropriate customer contact

Escalate issues with the Vocera product to Vocera Technical Support

Partner with customer to institute process improvements where possible to reduce issue escalations

viii. Vocera Report Management

Partner with customer to educate on what information is required and what reports are available

Set up scheduled reports as requested by end user unit leaders

Review reports and provide consultation to end user units, network staff and other key support staff, and stakeholders regarding actions needed to optimize Vocera system and user performance

ix. Vocera Administrator

A ProAssure Services specialist will be assigned to the customer at the beginning of the period of performance

ProAssure Services will be provided 8 hours a day, scheduled during normal business hours of 7am-4pm

For absences of 10 business days or fewer, Vocera will collaborate with customer to define an agreed upon short-term support plan including partial remote support

For absences 10+ business days, planned or unexpected, Vocera will provide a coverage plan that may include a combination of remote and on-site support

All absences will be communicated to the facility in advance or in a timely manner

Administrators will be responsible for the following activities:

1.	Data and device management

2.	Software management

3.	Platform service monitoring

4.	Deployment optimization

5.	Training and Orientation Management

6.	Issue Escalation Management

7.	Report Management

8.	End User Satisfaction

- Parts

The Contractor shall have ready access to all parts, including unique and/or high mortality replacement parts. All parts supplied shall be compatible with existing equipment and adhere to the Buy American Act.  The contract shall include all parts except -if applicable - those parts specifically listed as being EXCLUDED. The Contractor shall use only new Original Equipment Manufacturer (OEM) or OEM-approved parts.  All parts shall be of current manufacture and have complete versatility with the presently installed equipment.  All parts shall perform identically to the original equipment specifications.  Parts removed from another system, rebuilt and/or used, shall not be installed without specific approval by the COR.  All defective parts replaced become the property of the Contractor, unless otherwise specified by the COR or Alt COR.

Consumables are excluded.

- Service Manuals/Tools/Equipment

  - The VA shall not provide tools, test equipment, service manuals, or service diagnostic software to the contractor. Contractor shall obtain, have on file, and make available to its Field Service Engineer (FSE) all operational and technical documentation (such as operational and service manuals, schematics, and parts list) which are necessary to meet the performance requirements of this contract.  The location and listing of the service manuals, by name and/or the manuals themselves shall be provided to the COR upon request.

  - The Contractor shall provide the COR and the Biomedical Engineering Shop Supervisor copies of all documentation that pertains to any hardware, software, or firmware upgrade or repair.

  - Copies of the latest version(s) of all documentation and licensing agreements, which shall include operation, service, and diagnostic software. The COR shall have access to the same operation, service, diagnostic software, and documentation as the OEM's FSE. Contractor shall provide to the COR OEM Service Bulletins for the equipment covered under this contract.  All documentation and service bulletins, etc. shall be provided within 30 days of award in either hard copy or electronic format.  Any future service bulletins generated during the contract period shall be provided to the COR within 30 days of receipt in either hard copy or electronic format.

## PROJECT MANAGEMENT

### CONTRACTOR PROJECT MANAGEMENT PLAN

(If this effort is for development, the following CPMP paragraph is required otherwise determine applicability with customer.)  The Contractor shall deliver a Contractor Project Management Plan (CPMP) that lays out the Contractor’s approach, timeline, and tools to be used in execution of the contract.  The CPMP should take the form of both a narrative and graphic format that displays the schedule, milestones, risks, and resource support.  The CPMP shall also include how the Contractor shall coordinate and execute planned, routine, and ad hoc data collection reporting requests as identified within the PWS.  The initial baseline CPMP shall be concurred upon and updated in accordance with Section B of the contract.  The Contractor shall update and maintain the VA Program Manager (PM) approved CPMP throughout the PoP.

Deliverable:

- Contractor Project Management Plan

### REPORTING REQUIREMENTS

The Contractor shall provide the COR with <Weekly or Monthly> Progress Reports in electronic form in Microsoft Word and Project formats.  The report shall include detailed instructions/explanations for each required data element, to ensure that data is accurate and consistent.  These reports shall reflect data as of the last day of the preceding <Week or Month>.

The <Weekly or Monthly> Progress Reports shall cover all work completed during the reporting period and work planned for the subsequent reporting period.  The report shall also identify any problems that arose and a description of how the problems were resolved.  If problems have not been completely resolved, the Contractor shall provide an explanation including their plan and timeframe for resolving the issue.  The report shall also include an itemized list of all Information and Communication Technology (ICT) deliverables and their current Section 508 conformance status.  The Contractor shall monitor performance against the CPMP and report any deviations.  It is expected that the Contractor will keep in communication with VA accordingly so that issues that arise are transparent to both parties to prevent escalation of outstanding issues.

(If a specific minimum teleconference progress meeting timeframe (weekly or monthly) is required between the Contractor and COR, please indicate as such.)

Deliverable:

- <Weekly or Monthly> Progress Report

## <ADDITIONAL TASK(S)>

<Deliverables :>

- <List deliverable>

- <List deliverable>

# GENERAL REQUIREMENTS

## ENTERPRISE AND IT FRAMEWORK

### VA TECHNICAL REFERENCE MODEL

The Contractor shall comply with the VA OIT Technical Reference Model (VA TRM). Compliance with the VA TRM is achieved by using only technologies and standards that are listed as approved for use in the VA TRM.  The Contractor shall provide all necessary information requested by VA to ensure TRM approval is obtained prior to use on VA’s network.

### ZERO TRUST – VA CRITICAL SECURITY CONTROLS

VA has established minimum mandatory security requirements and requires that any network connected software system or service must meet the VA Critical Security Controls as outlined in the VA Memorandum, “VA Security Controls”, https://www.voa.va.gov/DocumentView.aspx?DocumentID=5010.  VA Critical Security Controls identify the minimum mandatory requirements that must be implemented across all VA enterprise infrastructure, cloud computing environments, information systems, networks, and specialized devices (medical devices/systems, special-purpose systems, and research scientific computing devices) that process, store, and/or transmit VA data.  Effective July 1, 2025, the Contractor shall implement these VA Critical Security Controls, within any network connected software system or service prior to being authorized for use in the VA.  This functional requirement is not negotiable, and Plan of Action & Milestones (POAM) will not be accepted in the event these controls cannot be implemented for new systems.  Critical Security Controls are intended to increase VA’s security posture and provide security and privacy risk visibility into the VA network and is not a new requirement.  The Contractor’s failure to maintain these VA Critical Controls after implementation will result in VA discontinuing the use of the system.

### FEDERAL IDENTITY, CREDENTIAL, AND ACCESS MANAGEMENT (FICAM)

The Contractor shall ensure Commercial Off-The-Shelf (COTS) product(s), software configuration and customization, and/or new software are Personal Identity Verification (PIV) card-enabled by accepting HSPD-12 PIV credentials using VA Enterprise Architecture (EA), and VA Identity and Access Management (IAM) approved Enterprise Technology Guidelines (ETG).  The Contractor shall ensure all Contractor delivered applications and systems comply with the VA Identity, Credential, and Access Management policies and guidelines set forth in Executive Order 14028, VA Handbook 6510 VA Identity and Access Management, VA Handbook 0735 Homeland Security Presidential Directive 12 (HSPD-12) Program, CISA Binding Operational Directive 23-01, and align with the Federal Identity, Credential, and Access Management Roadmap and Implementation Guidance v2.0.

The Contractor shall ensure all Contractor delivered applications and systems provide user authentication services compliant with the National Institute of Standards and Technology (NIST) Special Publication (SP) 800-63-3, VA Handbook 6500, and VA IAM enterprise requirements for direct, assertion based authentication, and/or trust based authentication, as determined by the ETGs. Direct authentication at a minimum must include Public Key Infrastructure (PKI) based authentication supportive of PIV card and/or Common Access Card (CAC), as determined by the business need.

The Contractor shall ensure all Contractor delivered applications and systems conform to the specific Identity and Access Management PIV requirements set forth in the Office of Management and Budget (OMB) Memoranda  M-05-24, M-19-17, M-22-09, and NIST Federal Information Processing Standard (FIPS) 201-3.  Contractor delivered applications and systems shall be on the FIPS 201 Approved Product List (APL). If the Contractor delivered application and system is not on the APL, the Contractor shall be responsible for taking the application and system through the FIPS 201 Evaluation Program.

The Contractor shall ensure all Contractor delivered applications and systems support:

- Automated provisioning and are able to use enterprise provisioning service.

- Interfacing with VA’s Master Person Index (MPI) to provision identity attributes, if the solution relies on VA user identities. MPI is the authoritative source for VA user identity data.

- The VA defined unique identity (Secure Identifier [SEC ID] / Integrated Control Number [ICN]).

- Multiple authenticators for a given identity and authenticators at every Authenticator Assurance Level (AAL) appropriate for the solution.

- Identity proofing for each Identity Assurance Level (IAL) appropriate for the solution.

- Federation for each Federation Assurance Level (FAL) appropriate for the solution, if applicable.

- Two-factor authentication (2FA) through an applicable Technology Guideline as outlined in VA ETG.

- A Security Assertion Markup Language (SAML) implementation if the solution relies on assertion-based authentication. Additional assertion implementations, besides the required SAML assertion, may be provided as long as they are compliant with NIST SP 800-63-3 guidelines.

- Authentication/account binding based on trusted Hypertext Transfer Protocol (HTTP) headers if the solution relies on Trust based authentication.

- Role Based Access Control.

- Auditing and reporting capabilities.

- Compliance with VIEWS 00155984, PIV Logical Access Policy Clarification https://www.voa.va.gov/DocumentView.aspx?DocumentID=4896.

The required Assurance Levels for this specific effort are Identity Assurance Level 3, Authenticator Assurance Level 3, and Federation Assurance Level 3.

### INTERNET PROTOCOL VERSION 6 (IPv6)

The Contractor solution shall support IPv6-Only based upon the memo issued by the Office of Management and Budget (OMB) on November 19, 2020 (https://www.whitehouse.gov/wp-content/uploads/2020/11/M-21-07.pdf). Which defines IPv6-only as the state of an operational system or service when IPv4 protocol functions (addressing, packet forwarding) are not in use. The NIST USGv6 profile defines technical requirements for a product to be capable of operating in IPv6-Only environments.  IPv6-Only technology, in accordance with the USGv6 Program (https://www.nist.gov/programs-projects/usgv6-program/usgv6-revision-1), NIST Special Publication (SP) 500-267B Revision 1 “USGv6 Profile” (https://doi.org/10.6028/NIST.SP.500-267Br1), and NIST SP 800-119 “Guidelines for the Secure Deployment of IPv6” (https://doi.org/10.6028/NIST.SP.800-119), compliance shall be included in all IT infrastructures, application designs, application development, operational systems and sub-systems, and their integration.  In addition to the above requirements, all devices, applications, and systems shall support all applicable functionality on native IPv6-Only as well as dual stack (IPv6 / IPv4) connectivity without additional memory or other resources being provided by the Government, so that they can function in a mixed environment.  All public/external facing servers and services (e.g., web, email, DNS, ISP services, etc.) shall support native IPv6-Only and dual stack (IPv6 / IPv4) users and all internal infrastructure and applications shall support using native IPv6-Only and dual stack (IPv6 / IPv4) for all functionality and operations.

### TRUSTED INTERNET CONNECTION (TIC)

The Contractor solution shall meet the requirements outlined in Office of Management and Budget Memorandum M-19-26, “Update to the Trusted Internet Connections (TIC) Initiative“ (https://www.whitehouse.gov/wp-content/uploads/2019/09/M-19-26.pdf), VA Directive 6513 “Secure External Connections”, and shall comply with the TIC 3.0 Core Guidance Documents, including all Volumes and TIC Use Cases, found at the Cybersecurity & Infrastructure Security Agency (CISA) (https://www.cisa.gov/publication/tic-30-core-guidance-documents).

### STANDARD COMPUTER CONFIGURATION

The Contractor IT end user solution that is developed for use on standard VA computers shall be compatible with and be supported on the standard VA operating system, Windows 11, Edge (Chromium based), and 365 Apps for enterprise.  Applications delivered to VA and intended to be deployed to Windows 11 workstations shall be delivered as a signed .msi package with switches for silent and unattended installation and updates shall be delivered in signed .msp file formats for easy deployment using Microsoft Endpoint Configuration Manager (CM) VA’s current desktop application deployment tool.  Signing of the software code shall be through a vendor provided certificate that is trusted by VA using a code signing authority such as Verizon/Cybertrust or Symantec/VeriSign.  The Contractor shall also ensure and certify that their solution functions as expected when used from a standard VA computer, with non-admin, standard user rights that have been configured using the Defense Information Systems Agency (DISA) Secure Technical Implementation Guide (STIG) specific to the particular client operating system being used.

### VETERAN FOCUSED INTEGRATION PROCESS (VIP) AND PRODUCT LINE MANAGEMENT (PLM)

The Contractor shall support VA efforts IAW the Veteran-Focused Integration Process (VIP) Guide and Product Line Management (PLM) Playbook. The major focus of VIP is on Enterprise Oversight, Governance, reporting, and establishing practices that focus on outcomes and continuously delivering sustainable IT capabilities to benefit the Veteran. PLM is a framework that focuses on delivering functional products that provide the highest priority work to customers while delivering simplified, reliable, and practical solutions to the business, medical staff, and our Veterans.  The VIP Guide is a companion guide to the PLM Transformation Playbook and can be found at: https://www.voa.va.gov/DocumentView.aspx?DocumentID=4371 and the PLM Transformation Playbook can be found at https://www.voa.va.gov/DocumentView.aspx?DocumentID=4946.  VIP and PLM are the authoritative processes that IT projects must follow to ensure development and delivery of IT products.

The VIP Guide provides guidance for transitioning from project-centric to product-centric delivery.  The VIP guide applies to all OIT Office of Management and Budget (OMB) reportable products that are required to collect and report costs, schedules, risks, and other valuable information in VA PARS (whether products are procured or developed by VA) and any VA Information Technology project effort in Software Product Management (SPM) and Infrastructure Operations (IO), or their successors, that touch the VA network regardless of IT organizational alignment (whether it spends government funding from VA's Congressional IT Appropriation or any other appropriation).

The PLM Transformation Playbook details how OIT leadership expects Product Lines (PLs) to implement PLM, DevOps, and Lean-Agile principles, methods, practices, and techniques through levels of maturity.  The PLM Transformation Playbook applies to all Information Technology (IT) products aligned to PLs in the Software Product Management, Infrastructure Operations and Product Engineering organizations within the OIT organization.

Others outside the referenced groups or organizations may use the VIP Guide and PLM Transformation Playbook for situational awareness as needed.

### PROCESS ASSET LIBRARY (PAL)

The Contractor shall perform their duties consistent with the processes defined in the OIT Process Asset Library (PAL).  The PAL includes a spectrum of OIT functions and activities, such as project management, operations, service delivery, communications, acquisition, and resource management. PAL serves as an authoritative and informative repository of searchable processes, activities or tasks, roles, artifacts, tools and applicable standards and guides to assist the OIT workforce, Government and Contractor personnel. OIT utilizes PAL processes to ensure compliance with policies and regulations and to meet VA quality standards.  The PAL includes the contractor onboarding process consistent with Section 6.2.2 and can be found at process_CONB_ext.docx (live.com).  The main PAL can be accessed at www.va.gov/process.

### AUTHORITATIVE DATA SOURCES

The VA Enterprise Architecture Repository (VEAR) is one component within the overall EA that establishes the common framework for data taxonomy for describing the data architecture used to develop, operate, and maintain enterprise applications.  The Contractor shall comply with the department’s Authoritative Data Source (ADS) requirement that VA systems, services, and processes throughout the enterprise shall access VA data solely through official VA ADSs where applicable, see below.  The Information Classes which compose each ADS are located in the VEAR, in the Data & Information domain.  The Contractor shall ensure that all delivered applications and system solutions support:

- Interfacing with VA’s Master Person Index (MPI) (formerly the Master Veteran Index (MVI)) to provision identity attributes, if the solution relies on VA user identities.  MPI is the authoritative source for VA user identity data.

- Interfacing with Capital Asset Inventory (CAI) to conduct real property record management actions, if the solution relies on real property records data.  CAI is the authoritative source for VA real property record management data.

- Interfacing with electronic Contract Management System (eCMS) for access to contract, contract line item, purchase requisition, offering vendor, and solicitation information above the micro-purchase threshold, if the solution relies on procurement data.  ECMS is the authoritative source for VA procurement actions data.

- Interfacing with HRSmart Human Resources Information System to conduct personnel action processing, on-boarding, benefits management, and compensation management, if the solution relies on personnel data.  HRSmart is the authoritative source for VA personnel information data.

- Interfacing with VA Profile to access personal contact information, if the solution relies on VA Veteran personal contact information data.  VA Profile is the authoritative source for VA Veteran Personal Contact Data.

- Interfacing with VA/Department of Defense (DoD) Identity Repository (VADIR) for determining eligibility for VA benefits under Title 38, if the solution relies on qualifying active duty military service data.  VADIR is the authoritative source for qualifying active duty military service in VA.

- Interfacing with VA Systems Inventory (VASI) to access VA systems information, if the solution relies on VA system information. VASI is the authoritative source for VA Information Technology systems.

- Interfacing with Enterprise Mission Assurance Support Service (eMASS) to access the historical Authority to Operate (ATO) status of all VA Information Systems prior to migrating to ServiceNow Continuous Authorization and Monitoring (SNowCAM) until it is determined the migration is completed and eMASS is sunset. eMASS contains the historical Authority to Operate (ATO) status of all VA Information Systems prior to September 30, 2025, with all status provided through SNowCAM once migration is completed.

### SOCIAL SECURITY NUMBER (SSN) REDUCTION

The Contractor solution shall support the Social Security Number (SSN) Fraud Prevention Act (FPA) of 2017 which prohibits the inclusion of SSNs on any document sent by mail.  The Contractor support shall also be performed in accordance with Section 240 of the Consolidated Appropriations Act (CAA) 2018, enacted March 23, 2018, which mandates VA to discontinue using SSNs to identify individuals in all VA information systems as the Primary Identifier.  The Contractor shall ensure that any new IT solution discontinues the use of SSN as the Primary Identifier to replace the SSN with the ICN in all VA information systems for all individuals.  The Contractor shall ensure that all Contractor delivered applications and systems integrate with the VA MPI for identity traits to include the use of the ICN as the Primary Identifier. The Contractor solution may only use a Social Security Number to identify an individual in an information system if and only if the use of such number is required to obtain information VA requires from an information system that is not under the jurisdiction of VA.

### SOFTWARE AND LICENSING REQUIREMENTS

The Contractor shall be responsible for the provision of all software licenses and any associated licensing maintenance required for any development, delivery, integration, operation, and/or maintenance associated with its proposed application(s), software products, software solution, and/or system including, but not limited to, any and all application(s), software and/or software products that comprise, are a part of, or integrate with the Contractor’s proposed application(s), software products, software solution, and/or system for the life of any resulting contract.

### GENERATIVE ARTIFICIAL INTELLIGENCE REQUIREMENTS

If Artificial Intelligence (AI) is part of the Contractor system/solution, the Contractor shall be in compliance with E.O. 13960 and 14319, OMB Memorandums M-25-21, M-25-22, and M-26-04, and VA Directive and Handbook 6500 to support VA in trustworthy, secure, responsible, accountable, Truth Seeking, and Ideologically Neutral AI innovation.

No web-based, publicly available generative AI service has been approved for use with VA-sensitive data including, but not limited to OpenAI’s ChatGPT, Microsoft’s Copilot, Google’s Gemini, and Anthropic’s Claude.  No PII, protected health information (PHI), or VA-sensitive data should be entered into these unapproved services.  The entire definition of VA Sensitive Data can be found at 38 U.S.C. § 5727 (23).  The Contractor shall protect VA Sensitive data from unauthorized disclosure or use, and from being used to train or improve the functionality of the vendor's commercial offerings without express permission from VA.

The Contractor shall deliver the services, technical data, configurations, models, weights, documentation or other information, including source code, developed during contract performance.  The Contractor, in collaboration with VA, must evaluate the output of any AI tool for accuracy prior to using the output in VA efforts.  All data, including models, weights, algorithms, and outputs generated using either Government-furnished data or data first developed under this contract shall be the property of the Government with unlimited rights as defined by FAR 52.227-14.  The Contractor shall also deliver any custom-developed code developed with AI methodologies in accordance with the SHARE IT Act, if applicable.  VA shall also retain unlimited rights to any improvements to that data, including the continued design, development, testing, and operation of AI systems and/or systems utilizing AI.

The Contractor shall ensure that all AI Systems, including Large Language Models (LLM), whether standalone LLMs or integrated into broader software platforms,  procured under this effort and/or used in performance of this contract complies with the Unbiased AI Principles as defined in Executive Order 14319 and OMB Memorandum M-26-04, e.g. Truth Seeking and Ideologically Neutral, as applicable to the intended use of the system.

The Contractor shall ensure that AI System/LLM generated outputs are truthful in responding to user prompts seeking factual information or analysis, prioritize historical accuracy, scientific inquiry, and objectivity, as well as acknowledge uncertainty where reliable information is incomplete or contradictory and do not fabricate, hallucinate, or present unverifiable information as fact.

The Contractor shall ensure that LLMs and AI outputs are neutral, nonpartisan tools that do not manipulate responses in favor of ideological dogmas such as Diversity, Equity, and Inclusion (DEI).  The Contractor shall ensure that the LLMs, including the AI System, are not intentionally encoded with partisan or ideological judgments within an AI System’s/LLM’s outputs unless those judgments are prompted by or otherwise readily accessible to the end user.

Compliance with the AI requirements of this contract, including adherence to the Unbiased AI Principles, Truth-Seeking and Ideological Neutrality requirements, disclosure obligations, monitoring and reporting requirements, and corrective action responsibilities, is a material condition of eligibility for payment and continued performance. In accordance with OMB Memorandum M-26-04, failure to comply with these requirements, or refusal to take timely and appropriate corrective action to remedy identified noncompliance, may constitute a material breach of contract and may result in remedies consistent with the terms of the contract and applicable law including but not limited to withholding of payment, termination for cause/default, or other appropriate contractual remedies, as determined by the Contracting Officer.

All AI for delivery and/or use in performance of the contract shall adhere to the VA Trustworthy AI Framework, available at https://department.va.gov/ai/trustworthy/.  Once the Contractor has obtained CO authorization to use specific AI in contract performance, the Contractor shall provide the COR a signed Statement of Attestation prior to AI implementation as identified in the Artificial Intelligence in VA Contracts clause, to include its associated list of AI being used in contract performance.

Deliverable:

- Statement of Attestation

#### AI SYSTEM/LLM DEVELOPMENT AND OPERATION DOCUMENTATION REQUIREMENTS

To enable Government continued assessment of compliance with Trustworthy AI requirements and both Unbiased AI Principles, Truth-seeking and Ideological Neutrality, in accordance with OMB M-26-04, the Contractor shall provide AI System/LLM Development and Operation Documentation Package to include, at a minimum:

- Acceptable Use Policy

The Contractor shall provide an Acceptable Use Policy document governing its AI operation that characterizes and differentiates appropriate and inappropriate use of their product offering

- Model Cards, System Cards and/or Data Cards

The Contractor shall provide documentation describing essential information about the model, system, and or data as it relates to the AI/LLM product offering.  The documentation shall address summaries of training process, identified risks and mitigations, and model evaluation scores on LLM benchmarks at a minimum, where appropriate

- End User Resources

The Contractor shall provide documentation to include product tutorials, developer guides, and/or other tools to assist VA in ensuring proper use of the AI/LLM to maximize utility

- Mechanism for End User Feedback

The Contractor shall provide documentation describing the mechanism employed to provide feedback to the Offeror on outputs identified that violate the Unbiased AI Principles.  This may be satisfied by a general inbox, specific Point of Contact, or similar feedback mechanism.

- Pre-Training and Post-Training Activities of the AI System/LLM

The Contractor shall provide documentation of Pre-Training and Post Training Activity that provides details on:

  - Actions taken that impact the factuality and grounding of AI System/LLM outputs

  - System-level prompts that provide natural language instructions to the model specifying guidelines on responding to user-generated queries, to include how a model responds when reliable information is incomplete, contradictory, or subject to individual interpretation

  - The type of outputs restricted via content moderation and safety filters

  - The use of red teaming as a means of continuously assessing the model to protect against incidents of bias in generated output.

  - Training or development, if any, that occurred outside the United States, to include the type of activity and the country in which it occurred.

  - Any modifications or configurations undertaken to comply with any regulation from a government other than the U.S. Federal Government.

- Model Evaluation Results and Methodologies

The Contractor shall provide documentation describing the Evaluation Results of bias evaluations conducted by the Vendor to include the methodology for performing such tests (e.g., testing prompt pairs for politically oriented topics).

The documentation shall also include Benchmark scoring results measuring the model’s bias, helpfulness, honesty, or accuracy when provided with ambiguous versus straightforward questions.  (Including any benchmarks comparing performance across multiple languages, where applicable).

- Description of Enterprise-Level Controls

The Contractor shall provide documentation describing the Enterprise Governance tools and controls, such as:

  - Customizable system instructions that are additive to a base model’s system prompts or content generation filters.

  - Product features that require a model to cite sources of its outputs or otherwise provide visibility into the provenance of the model’s outputs.

  - AI System/LLM model evaluation tools that enable comparisons either between a model’s outputs, or across various models.

- Third Party Modification Disclosure

The Contractor shall disclose of any additional controls to modify an AI Model’s/LLM’s output applied by the Contractor if the Contractor is not a direct developer of the LLM (e.g., classifiers, system prompts, fine-tuning, content moderation and filters, etc.)

Deliverable:

- AI System/LLM Development and Operation Documentation Package

#### MONITORING, REPORTING, AND CORRECTIVE ACTION

The Contractor shall develop and implement a Compliance Monitoring and Reporting Plan supporting ongoing monitoring processes to evaluate AI outputs for compliance with Trustworthy AI and Unbiased AI principles. This plan shall include the mechanism for authorized users to provide end user feedback to report suspected violations of Truth-Seeking or Ideological Neutrality requirements.

The Contractor shall notify the COR within 10 business days of identifying any material deviation from these principles and shall submit a written Corrective Action Plan describing mitigation steps, responsible parties, and timelines.  Any material deviation, corrective action taken, and results shall be detailed in the <Weekly or Monthly> Progress Reports.

Deliverable:

- Compliance Monitoring and Reporting Plan

- Corrective Action Plan

#### AI MODEL UPDATES AND CHANGE DISCLOSURES

The Contractor, in an AI Model/LLM Change Disclosure, shall notify the Government throughout the PoP in advance of any material changes to AI models, including new AI enhancements, features and/or components, controls, retraining, classifiers, system prompts, fine-tuning, content moderation, filters, version replacement, or architectural changes, that could reasonably affect compliance with Trustworthy AI or Unbiased AI principles. Updated documentation shall be provided to VA for VA approval prior to implementation of such changes.

Deliverable:

- AI Model/LLM Change Disclosure

### SOURCE CODE HARMONIZATION AND REUSE IN INFORMATION TECHNOLOGY (SHARE IT Act)

(If it is determined that the SHARE IT Act applies, please include this entire section to the PWS as a new Section 6.1.13, entitled “Source Code Harmonization and Reuse in Information Technology (SHARE IT) Act”, change the text to black and convert to “No Spacing” style font.  Otherwise remove this Section)

The Contractor shall comply with the Source Code Harmonization and Reuse in Information Technology (SHARE IT) Act, P.L. 118-187, when developing and delivering custom code first produced for the VA in the performance of this Contract/Order.  The Contractor shall deliver to the Government all data first produced under this Contract/Order with unlimited rights as defined by FAR 52.227-14, to include without limitation, all custom-developed code and other key technical components of the code (including documentation, data models, schemas, metadata, architecture designs, configuration scripts, and artifacts required to develop, build, test, and deploy the code).  Custom-developed code includes source code, or segregable portions of source code and all documentation created in support thereof to include source code written for a software project, product, module, plugin, script, middleware, or application programming interface.

## SECURITY AND PRIVACY REQUIREMENTS

It has been determined that protected health information may be disclosed or accessed and a signed Business Associate Agreement (BAA) shall be required.  The Contractor shall adhere to the requirements set forth within the BAA, referenced in Section D of the contract, and shall comply with VA Directive 6066.

### POSITION/TASK RISK DESIGNATION LEVEL(S)

In accordance with VA Handbook 0710, Personnel Vetting Program, the position sensitivity and the level of background investigation commensurate with the required level of access for the following tasks within the PWS are:

# Position Sensitivity and Background Investigation Requirements by Task

| Task Number | Tier1 / Low Risk | Tier 2 / Moderate Risk | Tier 4 / High Risk |
| --- | --- | --- | --- |
| 5.1 | ☐ | ☐ | ☐ |
| <5.2> | ☐ | ☐ | ☐ |
|  | ☐ | ☐ | ☐ |
|  | ☐ | ☐ | ☐ |
|  | ☐ | ☐ | ☐ |
|  | ☐ | ☐ | ☐ |

The Tasks identified above and the resulting Position Sensitivity and Background Investigation requirements identify, in effect, the Background Investigation requirements for Contractor individuals, based upon the tasks the particular Contractor individual will be working.  The submitted Contractor Staff Roster must indicate the required Background Investigation Level for each Contractor individual based upon the tasks the Contractor individual will be working, in accordance with their submitted proposal.

### CONTRACTOR PERSONNEL SECURITY REQUIREMENTS

Contractor Responsibilities:

- The Contractor shall prescreen all personnel requiring access to the computer systems to ensure they maintain the appropriate Background Investigation, and are able to read, write, speak, and understand the English language.

Within 3 business days after award, the Contractor shall provide a roster of Contractor and Subcontractor employees to the COR to begin their background investigations in accordance with the PAL template artifact.  The Contractor Staff Roster shall contain the Contractor’s Full Name, Date of Birth, Place of Birth, individual background investigation level requirement (based upon Section 6.2.1 Tasks), etc.  The Contractor shall submit full Social Security Numbers either within the Contractor Staff Roster or under separate cover to the COR.  The Contractor Staff Roster shall be updated and provided to VA within 1 day of any changes in employee status, training certification completion status, Background Investigation level status, additions/removal of employees, etc. throughout the Period of Performance.  The Contractor Staff Roster shall remain a historical document indicating all past information and the Contractor shall indicate in the Comment field, employees no longer supporting this contract.  The preferred method to send the Contractor Staff Roster or Social Security Number is by encrypted e-mail. If unable to send encrypted e-mail, other methods which comply with FIPS 140-2 (or its successor) are to encrypt the file, use a secure fax, or use a traceable mail service. (Note that by September 22, 2026, all FIPS 140-2 certificate validations will be placed on the Historical List. See FIPS Transition Effort Timeline for more details:  https://csrc.nist.gov/projects/fips-140-3-transition-effort#schedule)

- The Contractor should coordinate with the location of the nearest VA fingerprinting office through the COR.  Only electronic fingerprints are authorized.  The Contractor shall bring their completed Personnel Security Adjudication Center (PSAC) Fingerprint request form with them (see paragraph d.4. below) when getting fingerprints taken.

- The Contractor shall ensure the following required forms are submitted to the COR within 5 days after contract award:

- Optional Form 306

- Self-Certification of Continuous Service

- VA Form 0710

- Completed PSAC Fingerprint Request Form

The Contractor personnel shall submit all required information related to their background investigations (completion of the investigation documents (SF85, SF85P, or SF 86) utilizing the Defense Counterintelligence and Security Agency (DCSA) National Background Investigation Services (NBIS) Electronic Application (eAPP) (formerly e-QIP) after receiving an email notification from the PSAC.

The Contractor employee shall certify and release the eAPP document, print, and sign the signature pages, and send them encrypted to the COR for electronic submission to the PSAC.  These documents shall be submitted to the COR within 3 business days of receipt of the eAPP notification email.  (Note:  DCSA is moving towards a “click to sign” process.  If click to sign is used, the Contractor employee should notify the COR within 3 business days that documents were signed via eAPP).

- The Contractor shall be responsible for the actions of all personnel provided to work for VA under this contract.  In the event that damages arise from work performed by Contractor provided personnel, under the auspices of this contract, the Contractor shall be responsible for all resources necessary to remedy the incident.

- A Contractor may be granted unescorted access to VA facilities and/or access to VA Information Technology resources (network and/or protected data) with a favorably adjudicated Special Agreement Check (SAC), completed training delineated in VA Handbook 6500.6 (Appendix C, Section 4), signed “Contractor Rules of Behavior”, and with a valid, operational Personal Identity Verification (PIV) credential for PIV-only logical access to VA’s network.  A PIV card credential can be issued once your SAC has been favorably adjudicated and your background investigation has been scheduled by DCSA.  However, the Contractor will be responsible for the actions of the Contractor personnel they provide to perform work for VA.  The investigative history for Contractor personnel working under this contract must be maintained in the database of DCSA.

- The Contractor, when notified of an unfavorably adjudicated background investigation on a Contractor employee as determined by the Government, shall withdraw the employee from consideration in working under the contract.

Failure to comply with the Contractor personnel security investigative requirements may result in loss of physical and/or logical access to VA facilities and systems by Contractor and Subcontractor employees and/or termination of the contract for default.

PIV Credential Holders must follow all HSPD-12 policies and procedures as well as use and protect their assigned identity credentials in accordance with VA policies and procedures, displaying their badges at all times, and returning the identity credentials upon termination of their relationship with VA.

Deliverable:

- Contractor Staff Roster

## METHOD AND DISTRIBUTION OF DELIVERABLES

The Contractor shall deliver documentation in electronic format, unless otherwise directed in Section B of the solicitation/contract.  Acceptable electronic media include:  Microsoft 365 suite, MS Word, MS Excel, MS PowerPoint, MS Project, MS Access, MS Visio, AutoCAD, and Adobe Postscript Data Format (PDF).

## PERFORMANCE METRICS

The table below defines the Performance Standards and Acceptable Levels of Performance associated with this effort.

| Performance Objective | Performance Standard | Acceptable Levels of Performance |
| --- | --- | --- |
| - Technical / Quality of Product or Service | - Demonstrates understanding of requirements - Efficient and effective in meeting requirements - Meets technical needs and mission requirements - Provides quality services/products | Satisfactory or higher |
| - Project Milestones and Schedule | - Established milestones and project dates are met - Products completed, reviewed, delivered in accordance with the established schedule - Notifies customer in advance of potential problems | Satisfactory or higher |
| - Cost & Staffing | - Currency of expertise and staffing levels appropriate to perform tasks required - Personnel possess necessary knowledge, skills, and abilities to perform tasks | Satisfactory or higher |
| - Management | - Integration and coordination of all activities to execute effort | Satisfactory or higher |

The COR will utilize a Quality Assurance Surveillance Plan (QASP) throughout the life of the contract to ensure that the Contractor is performing the services required by this PWS in an acceptable level of performance.  The Government reserves the right to alter or change the surveillance methods in the QASP at its own discretion. A Performance Based Service Assessment will be used by the COR in accordance with the QASP to assess Contractor performance.

## FACILITY/RESOURCE PROVISIONS

The Government will provide office space, telephone service and system access when authorized contract staff work at a Government location as required in order to accomplish the Tasks associated with this PWS.  All procedural guides, reference materials, and program documentation for the project and other Government applications will also be provided on an as-needed basis.

The Contractor shall request other Government documentation deemed pertinent to the work accomplishment directly from the Government officials with whom the Contractor has contact.  The Contractor shall consider the COR as the final source for needed Government documentation when the Contractor fails to secure the documents by other means.  The Contractor is expected to use common knowledge and resourcefulness in securing all other reference materials, standard industry publications, and related materials that are pertinent to the work.

VA may provide remote access to VA specific systems/network in accordance with VA Handbook 6500, which requires the use of a VA approved method to connect external equipment/systems to VA’s network.  Citrix Access Gateway (CAG) and now the Azure Virtual Desktop (AVD) (as VA is currently transitioning from CAG to the AVD), are the current and only VA approved methods for remote access users when using or manipulating VA information for official VA Business.  VA permits CAG remote access through approved Personally Owned Equipment (POE) and Other Equipment (OE) provided the equipment meets all applicable 6500 Handbook requirements for POE/OE.  All of the security controls required for Government furnished equipment (GFE) must be utilized in approved POE or OE.   The Contractor shall provide proof to the COR for review and approval that their POE or OE meets the VA Handbook 6500 requirements and VA Handbook 6500.6 Appendix C, herein incorporated as Addendum B, before use. CAG authorized users shall not be permitted to copy, print, or save any VA information accessed via CAG at any time.  VA prohibits remote access to VA’s network from non-North Atlantic Treaty Organization (NATO) countries.   The exception to this are countries where VA has approved operations established (e.g. Philippines and South Korea).  Exceptions are determined by the COR in coordination with the Information System Security Officer (ISSO) and Privacy Officer (PO).

This remote access may provide access to VA specific software such as Veterans Health Information System and Technology Architecture (VistA), ClearQuest, PAL, Primavera, and Remedy, including appropriate seat management and user licenses, depending upon the level of access granted.  The Contractor shall utilize government-provided software development and test accounts, documents, and requirements repositories, etc. as required for the development, storage, maintenance, and delivery of products within the scope of this effort.  All VA sensitive information shall be protected at all times in accordance with VA Handbook 6500, local security field office System Security Plans (SSP’s) and Authority to Operate (ATO)’s for all systems/LAN’s accessed while performing the tasks detailed in this PWS.  The Contractor shall ensure all work is performed in countries deemed not to pose a significant security risk.  For detailed Security and Privacy Requirements (additional requirements of the contract consolidated into an addendum for easy reference) refer to ADDENDUM A – ADDITIONAL VA REQUIREMENTS, CONSOLIDATED and ADDENDUM B - VA INFORMATION AND INFORMATION SYSTEM SECURITY/PRIVACY LANGUAGE.

## GOVERNMENT FURNISHED PROPERTY

N/A

## SHIPMENT OF HARDWARE OR EQUIPMENT

Inspection:  Destination
Acceptance:  Destination
Free on Board (FOB):  Destination

Ship To and Mark For:

|  | Primary |  | Alternate |
| --- | --- | --- | --- |
| Name: |  | Name: |  |
| Address: |  | Address: |  |
| Voice: |  | Voice: |  |
| Email: |  | Email: |  |

# Special Shipping Instructions:

Prior to shipping, Contractor shall notify Site POCs, by phone followed by email, of all incoming deliveries including line-by-line details for review of requirements.  Contractor shall not make any changes to the delivery schedule at the request of Site POC.

Contractors shall coordinate deliveries with Site POCs before shipment of <hardware> hardware to ensure sites have adequate storage space.

All shipments, either single or multiple container deliveries, shall bear the VA Integrated Funds Distribution, Control Point Activity, Accounting and Procurement (IFCAP) Purchase Order (PO) number (if applicable) on external shipping labels and associated manifests or packing lists.  In the case of multiple container deliveries, a statement readable near the VA IFCAP PO or Contract number shall indicate total number of containers for the complete shipment (e.g. “Package 1 of 2”), clearly readable on manifests and external shipping labels.

Packing Slips/Labels and Lists shall also include the following:

IFCAP PO # or Contract No.: ____________ (e.g., 166-E11234 (the IFCAP PO number is located in block #20 of the Standard Form, SF 1449))

Project Description:  (e.g. Tier I Lifecycle Refresh)

Total number of Containers:  Package ___ of ___.  (e.g., Package 1 of 3)

Shipment/Delivery Kick-off Meeting

The Contractor shall conduct a Shipment/Delivery Kick-off Meeting with the VA PM, COR, Delivery Date Coordinator, Implementation Manager, and Facility CIOs (or designee) to discuss delivery schedule requirements and facilitate delivery of equipment.  This meeting may be held in conjunction with the post award conference or identified technical kickoff meeting.  The Contractor shall also present the Shipment/Delivery Weekly Progress Report format for review and approval by the Government.  This meeting, if held independently, shall be conducted telephonically within ten days after award and shall incorporate any delivery schedule changes to the draft Delivery Schedule identified by the Government.

Shipment/Delivery Weekly Progress Report

The Contractor shall provide a Shipment/Delivery Weekly Progress Report which shall identify the items shipped, the serial number associated with each piece of equipment; the date of each shipment; the status of each shipment, tracking information, and information relative to Government-receipt of the equipment items at each delivery site.  In addition, the Shipment/Delivery Weekly Progress Report shall identify any problems and provide a description of how the problems were resolved/addressed.  If problems have not been completely resolved, the Contractor shall provide an explanation and status of resolution.  Shipment/Delivery Weekly Progress Reports shall be submitted in Microsoft Excel Format and shall clearly identify each serial number of the equipment being delivered with one (1) serial number per cell.

Inspection:  Destination
Acceptance:  Destination
Free on Board (FOB):  Destination

Packing Slips/Labels and Lists shall also include the following:

IFCAP PO #: ____________ (e.g., 166-E11234 (the IFCAP PO number is located in block #20 of the SF 1449))

Project Description:  (e.g. Tier 1 Lifecycle Refresh)

Total number of Containers:  Package ___ of ___.  (e.g., Package 1 of 3)

Deliverables:

- Master Delivery Schedule

- Shipment/Delivery Weekly Progress Report

# ADDENDUM A – ADDITIONAL VA REQUIREMENTS, CONSOLIDATED

Cyber and Information Security Requirements for VA IT Services

The Contractor shall ensure adequate LAN/Internet, data, information, and system security in accordance with VA standard operating procedures and standard PWS language, conditions, laws, and regulations.  The Contractor’s firewall and web server shall meet or exceed VA minimum requirements for security.  All VA data shall be protected behind an approved firewall.  Any security violations or attempted violations shall be reported to the VA Program Manager and VA Information Security Officer as soon as possible.  The Contractor shall follow all applicable VA policies and procedures governing information security, especially those that pertain to assessment and authorization and continuous monitoring.

Contractor supplied equipment, PCs of all types, equipment with hard drives, etc. for contract services must meet all security requirements that apply to Government Furnished Equipment (GFE) and Government Owned Equipment (GOE).  Security Requirements include:  a) VA Approved Encryption Software must be installed on all laptops or mobile devices before being placed into operation, b) Bluetooth equipped devices are prohibited within VA; Bluetooth must be permanently disabled or removed from the device, unless the connection uses FIPS 140-2 (or its successor) validated encryption, c) VA approved anti-virus and firewall software, d) Equipment must meet all VA sanitization requirements and procedures before disposal.  The Contractor shall notify the COR/CO within one hour of disclosure or successful exploits of any vulnerability which can compromise the confidentiality, integrity, or availability of the information systems.

Each documented initiative under this contract incorporates VA Handbook 6500.6, “Contract Security,” March 12, 2010 (Appendix C updated April 22, 2024) by reference as though fully set forth therein.  The VA Handbook 6500.6, “Contract Security” shall also be included in every related agreement, contract, or order.  The VA Handbook 6500.6, Appendix C, is included in this document as Addendum B.

Training requirements:  The Contractor shall complete all mandatory training courses on the current VA training site, the VA Talent Management System (TMS) 2.0, and will be tracked therein.  The TMS 2.0 may be accessed at https://www.tms.va.gov/SecureAuth35/.  If you do not have a TMS 2.0 profile, go to

https://www.tms.va.gov/SecureAuth35/ and click on the “Create New User” link on the TMS 2.0 to gain access.

Contractor employees shall complete a VA Systems Access Agreement if they are provided access privileges as an authorized user of the computer system of VA.

VA Enterprise Architecture Compliance

The applications, supplies, and services furnished under this contract must comply with VA Enterprise Architecture (EA), available at http://www.ea.oit.va.gov/index.asp in force at the time of issuance of this contract, including the Program Management Plan and VA's rules, standards, and guidelines in the Technical Reference Model/Standards Profile (TRMSP).  VA reserves the right to assess contract deliverables for EA compliance prior to acceptance.

VA Internet and Intranet Standards

The Contractor shall adhere to and comply with VA Directive 6102 and VA’s Web Governance if the Contractor’s work includes building and maintaining VA’s digital presence.  This pertains, but is not limited to: websites, social media, creating announcements; collecting information; databases to be accessed, graphics and links to external sites.

Internet/Intranet Services Directive 6102 is posted at (copy and paste the following URL to browser):  https://www.va.gov/vapubs/viewPublication.asp?Pub_ID=1056&FType=2

VA Web Governance website can be found at Home - VA Web Governance.

Notice of the Federal Accessibility Law Affecting All Information and Communication Technology (ICT) Procurements (Section 508)

On January 18, 2017, the Access Board issued a final rule that updated accessibility requirements covered by Section 508 and refreshed guidelines for telecommunications equipment subject to Section 255 of the Communications Act.  The final rule went into effect on January 18, 2018.  The revisions and updates to the Section 508-based standards and Section 255-based guidelines are intended to ensure that information and communication technology (ICT) covered by the respective statutes is accessible to and usable by individuals with disabilities.

Section 508 – Information and Communication Technology (ICT) Standards

The Section 508 standards established by the Access Board are incorporated into, and made part of all VA orders, solicitations and purchase orders developed to procure ICT.  These standards are found in their entirety at: Revised 508 Standards and 255 Guidelines (access-board.gov).  A single PDF file version of the Revised Section 508 Standards and 255 Guidelines will be supplied upon request, or can be obtained from the Access Board website.  Federal agencies must comply with the Rehabilitation Act of 1973, as amended.

The Contractor shall comply with “508 Chapter 2: Scoping Requirements” for all electronic ICT and content delivered under this contract. Specifically, as appropriate for the technology and its functionality, the Contractor shall comply with the technical standards marked here:

☒	E205 Electronic Content – (Accessibility Standard -WCAG 2.0 Level A and AA Guidelines)

☒	E204 Functional Performance Criteria

☒	E206 Hardware Requirements

☒	E207 Software Requirements

☒	E208 Support Documentation and Services Requirements

Compatibility with Assistive Technology

The standards do not require installation of specific accessibility-related software or attachment of an assistive technology device.  Section 508 requires that ICT be compatible with such software and devices so that ICT can be accessible to and usable by individuals using assistive technology, including but not limited to screen readers, screen magnifiers, and speech recognition software.

Acceptance and Acceptance Testing

Deliverables resulting from this solicitation will be accepted based in part on satisfaction of the Section 508 Chapter 2:  Scoping Requirements standards identified above.

The Government reserves the right to test for Section 508 Compliance before delivery.  The Contractor shall be able to demonstrate Section 508 Compliance upon delivery.

Physical Security & Safety Requirements:

The Contractor and their personnel shall follow all VA policies, standard operating procedures, applicable laws and regulations while on VA property.  Violations of VA regulations and policies may result in citation and disciplinary measures for persons violating the law.

- The Contractor and their personnel shall wear visible identification at all times while they are on the premises.

- VA does not provide parking spaces at the work site; the Contractor must obtain parking at the work site if needed.  It is the responsibility of the Contractor to park in the appropriate designated parking areas.  VA will not invalidate or make reimbursement for parking violations of the Contractor under any conditions.

- Smoking is prohibited inside/outside any building other than the designated smoking areas.

- Possession of weapons is prohibited.

- The Contractor shall obtain all necessary licenses and/or permits required to perform the work, with the exception of software licenses that need to be procured from a Contractor or vendor in accordance with the requirements document.  The Contractor shall take all reasonable precautions necessary to protect persons and property from injury or damage during the performance of this contract.

Confidentiality and Non-Disclosure

The Contractor shall follow all VA rules and regulations regarding information security to prevent disclosure of sensitive information to unauthorized individuals or organizations.

The Contractor may have access to Protected Health Information (PHI) and Electronic Protected Health Information (ePHI) that is subject to protection under the regulations issued by the Department of Health and Human Services, as mandated by the Health Insurance Portability and Accountability Act of 1996 (HIPAA); 45 CFR Parts 160 and 164, Subparts A and E, the Standards for Privacy of Individually Identifiable Health Information (“Privacy Rule”); and 45 CFR Parts 160 and 164, Subparts A and C, the Security Standard (“Security Rule”).  Pursuant to the Privacy and Security Rules, the Contractor must agree in writing to certain mandatory provisions regarding the use and disclosure of PHI and ePHI.

- The Contractor will have access to some privileged and confidential materials of VA.  These printed and electronic documents are for internal use only, are not to be copied or released without permission, and remain the sole property of VA.  Some of these materials are protected by the Privacy Act of 1974 (revised by PL 93-5791) and Title 38.  Unauthorized disclosure of Privacy Act or Title 38 covered materials is a criminal offense.

- The VA CO will be the sole authorized official to release in writing, any data, draft deliverables, final deliverables, or any other written or printed materials pertaining to this contract. The Contractor shall release no information.  Any request for information relating to this contract presented to the Contractor shall be submitted to the VA CO for response.

- Contractor personnel recognize that in the performance of this effort, Contractor personnel may receive or have access to sensitive information, including information provided on a proprietary basis by carriers, equipment manufacturers and other private or public entities.  Contractor personnel agree to safeguard such information and use the information exclusively in the performance of this contract.  Contractor shall follow all VA rules and regulations regarding information security to prevent disclosure of sensitive information to unauthorized individuals or organizations as enumerated in this section and elsewhere in this Contract and its subparts and appendices.

- Contractor shall limit access to the minimum number of personnel necessary for contract performance for all information considered sensitive or proprietary in nature.  If the Contractor is uncertain of the sensitivity of any information obtained during the performance this contract, the Contractor has a responsibility to ask the VA CO.

- Contractor shall train all of their employees involved in the performance of this contract on their roles and responsibilities for proper handling and nondisclosure of sensitive VA or proprietary information.  Contractor personnel shall not engage in any other action, venture or employment wherein sensitive information shall be used for the profit of any party other than those furnishing the information. The sensitive information transferred, generated, transmitted, or stored herein is for VA benefit and ownership alone.

- Contractor shall maintain physical security at all facilities housing the activities performed under this contract, including any Contractor facilities according to VA-approved guidelines and directives.  The Contractor shall ensure that security procedures are defined and enforced to ensure all personnel who are provided access to patient data must comply with published procedures to protect the privacy and confidentiality of such information as required by VA.

- Contractor must adhere to the following:

- The use of “thumb drives” or any other medium for transport of information is expressly prohibited.

- Controlled access to system and security software and documentation.

- Recording, monitoring, and control of passwords and privileges.

- All terminated personnel are denied physical and electronic access to all data, program listings, data processing equipment and systems.

- VA, as well as any Contractor (or Subcontractor) systems used to support development, provide the capability to cancel immediately all access privileges and authorizations upon employee termination.

- Contractor PM and VA PM are informed within twenty-four (24) hours of any employee termination.

- Acquisition sensitive information shall be marked "Acquisition Sensitive" and shall be handled as "For Official Use Only (FOUO)".

- Contractor does not require access to classified data.

- Regulatory standard of conduct governs all personnel directly and indirectly involved in procurements.  All personnel engaged in procurement and related activities shall conduct business in a manner above reproach and, except as authorized by statute or regulation, with complete impartiality and with preferential treatment for none.  The general rule is to strictly avoid any conflict of interest or even the appearance of a conflict of interest in VA/Contractor relationships.

- VA Form 0752 shall be completed by all Contractor employees working on this contract and shall be provided to the CO before any work is performed.  In the case that Contractor personnel are replaced in the future, their replacements shall complete VA Form 0752 prior to beginning work.

Information Technology Using Sustainable Products

The Contractor shall comply with Sections 524 and Sections 525 of the Energy Independence and Security Act of 2007; Section 104 of the Energy Policy Act of 2005; Executive Order 14148, “Initial Rescissions of Harmful Executive Orders and Actions,” dated January 20, 2025; Executive Order 13221, “Energy-Efficient Standby Power Devices,” dated August 2, 2001; and the Revolutionary Federal Acquisition Regulation (FAR) Overhaul (RFO) to provide ENERGY STAR® certified and Federal Energy Management Program (FEMP) Designated Low Standby Power information technology products, see https://www.energy.gov/femp/search-energy-efficient-products.  See http://www.energystar.gov for complete product specifications and updated lists of Energy Star certified products.  FEMP low standby power product listing can be found at https://www.energy.gov/femp/low-standby-power-product-list.

The Contractor shall provide products that meet the definition of sustainable products if the products are delivered to the Government; furnished by the Contractor for use by the Government, incorporated into the construction of a public building or public work, or acquired by the Contractor for use in performing services under a Government contract where the cost of the products is a direct cost to a Government contract (versus costs which are normally applied to a contractor's general and administrative expenses or indirect costs).

Specifically, the Contractor shall provide sustainable products under this contract in accordance with RFO 52.223-23 (NOV 2025).  The applicable products with their associated certification and/or designation required (e.g. Energy Star, FEMP Low Standby Power) are identified within the product requirements specifications in this PWS.  The Contractor shall self-certify that its proposed products meet the certification(s) and/or designation(s) specified.