| SUBJECT* | Live Cell Imaging and Analysis System |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 53214-1476 |
| --- | --- |
| SOLICITATION NUMBER* | 36C25226Q0371 |
| RESPONSE DATE/TIME/ZONE | 04-15-2026 15:00 CENTRAL TIME, CHICAGO, USA |
| ARCHIVE | 5 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | 6640 |
| NAICS CODE* | 334516 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs 36C252 115 South 84th Street, Suite 101 Milwaukee WI 53214-1476 |
| POINT OF CONTACT* | Contracting Officer Erica Grimslid Erica.Grimslid@va.gov |

PLACE OF PERFORMANCE

| ADDRESS | William S Middleton Memorial Veterans Hospital |
| --- | --- |
|  | Department of Veterans Affairs |
|  | 2500 Overlook Terrace |
|  | Madison WI |
| POSTAL CODE | 53705-2286 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

## SOURCES SOUGHT NOTICE

Live-Cell Imaging and Analysis System
William S. Middleton Memorial Veterans Hospital
2500 Overlook Terrace, Madison, WI 53705-2286

Notice Type: Sources Sought / Market Research
NAICS: 334516 – Analytical Laboratory Instrument Manufacturing
PSC: 6640 – Laboratory Equipment and Supplies
Response Due: April 15, 2026, 17:00 CST
Submission Email: Erica.Grimslid@va.gov
Point of Contact: Erica Grimslid, Contracting Officer

### 1. PURPOSE

This is a Sources Sought Notice for market research only. The Department of Veterans Affairs (VA), William S. Middleton Memorial Veterans Hospital (Madison, WI), is conducting market research to identify qualified sources capable of providing a benchtop, plate-based live-cell imaging and analysis system that meets the minimum technical requirements listed in Section 4.

This notice is not a solicitation and does not commit the Government to issuing a solicitation or making an award. No reimbursement will be provided for responses to this notice.

### 2. BACKGROUND

The Research Service at the William S. Middleton VAMC requires a modern live-cell imaging and analysis system to support ongoing and future biomedical research, including long-term cell culture studies, phenotypic characterization, and drug response assays. Current imaging capabilities do not support continuous, automated live-cell monitoring under physiologically controlled conditions, limiting the ability to perform time-resolved, quantitative cell-based experiments.

Acquisition of a new system will significantly enhance research infrastructure, improve data quality and reproducibility, and advance the facility’s mission of supporting high-quality translational and preclinical research.

### 3. SCOPE

This requirement is for the procurement of one (1) complete live-cell imaging and analysis system, including:

- All necessary hardware and optical components

- System control and analysis software

- Accessories, environmental modules, and required installation items

- Delivery and setup at the Madison VAMC

- Operational qualification and validation (as applicable)

- On-site user training and initial support

The system will be installed within a single VA research laboratory located at 2500 Overlook Terrace, Madison, WI.

### 4. MINIMUM SALIENT CHARACTERISTICS

Vendors must provide detailed responses demonstrating how their system meets or exceeds each of the following requirements:

a. Must be a benchtop, plate-based live-cell imaging system capable of long-term culture and imaging of adherent and suspension cells.

b. Must support continuous, non-invasive live-cell monitoring inside a controlled environment with temperature, CO₂, and humidity control suitable for mammalian cell culture.

c. Must accommodate standard SBS-format microplates, including 6-, 12-, 24-, 48-, and 96-well plates.

d. Must provide label-free imaging (e.g., phase contrast or equivalent) to assess cell morphology, confluence, and growth over time.

e. Must support fluorescence imaging with at least two fluorescent channels plus transmitted light, compatible with commonly used biological fluorophores.

f. Must enable automated, time-lapse image acquisition across multiple wells and plates without user intervention once the run has started.

g. Must include integrated software for automated analysis, including cell confluence, proliferation, morphology, and other basic phenotypic measurements.

h. Must support real-time or near-real-time visualization and allow export of raw images and quantitative data in standard formats suitable for downstream analysis.

i. Must minimize phototoxicity and photobleaching through low-light imaging modes and optimized acquisition strategies suitable for long-term experimentation.

j. Must allow unattended operation for multiple days to weeks with reliable environmental and operational stability.

### 5. RESPONSE REQUIREMENTS

Interested vendors should submit a Capability Statement (recommended 10 pages or less) addressing the following:

- Company information:

  - Legal business name

  - UEI and CAGE code

  - Business size and socio-economic status under NAICS 334516

  - Confirmation of SAM.gov registration

- Technical response:

  - Detailed, point-by-point explanation of how the proposed system meets or exceeds all salient characteristics (Section 4).

  - Product literature, specifications, or user guides supporting compliance.

- Delivery and installation capability:

  - Standard lead time

  - Installation and training availability

  - Warranty and service options

- Past performance:

  - At least two recent installations of similar imaging systems (if available).

- Country of Origin (COO):

  - Required for BAA/TAA compliance assessment.

- Rough Order of Magnitude (ROM) pricing:

  - Non-binding estimate for planning purposes.

### 6. SUBMISSION DETAILS

Responses must be submitted by email to:
Erica.Grimslid@va.gov
Subject line: “Sources Sought – Live-Cell Imaging System – [Company Name]”

Responses are due no later than April 15, 2026, at 17:00 CST.

Late submissions may not be reviewed.

### 7. DISCLAIMER

This Sources Sought Notice is issued solely for information and planning purposes. It does not constitute a solicitation and shall not be construed as an obligation or commitment by the Department of Veterans Affairs. No contract will be awarded from this notice, and no solicitation exists at this time.