STATEMENT OF WORK (SOW)

Completion and Expansion of Weight-Based Inventory Management System

Salt Lake City VA Medical Center (SLCVA)

- CONTRACT TITLE

  - Completion and Expansion of Weight-Based Inventory Management System for Salt Lake City VA Medical Center (SLCVA)

- BACKGROUND

  - The Salt Lake City VA Medical Center (SLCVA) transitioned from manual, non-weighted Point-of-Use (POU) inventory systems to a weight-based automated inventory management solution to reduce labor burden, stock-outs, and supply costs.

  - SLCVA previously procured a PAR Excellence weight-based inventory management system; however, full installation was not completed due to circumstances beyond the Government’s control, including:

  - Flood damage at select locations

  - Active construction delays

  - Dissolution of a subcontractor relationship

  - Failure of a separate third-party electrical and data contract

  - This Statement of Work provides for completion and expansion of the previously procured system.

- SCOPE

  - General

    - This is a contract to complete the installation of the PAR Excellence Weight Based Inventory System. This is a Sole Source Justification as there are no other alternatives.  Must be fully integrated into the current PAR Excellence network.

    - The Contractor, as the Original Equipment Manufacturer (OEM), shall provide turn-key completion and expansion of a free-standing, weight-based inventory Point-of-Use (POU) system.

    - The Contractor shall provide all bins, scales, accessories, hardware, software, parts, labor, training, and services necessary to complete installation and place the system into full operational use.

    - The Contractor shall remove all debris and trash resulting from installation activities to the facility’s designated trash and recycling collection points.

  - Locations and Item Counts

    - The list of locations and estimated item counts are provided in Attachment A – SOW Remaining Locations and Item Counts.

- SYSTEM REQUIREMENTS

  - Salient Characteristics

    - The Inventory Point-of-Use (POU) system shall meet the following minimum requirements:

      - System Characteristics

        - Weight-based inventory system

        - Easily calibrated and accurate

        - Capable of handling a wide range of products by size, thickness, and weight

        - Provides real-time visibility of secondary inventory locations

      - Inventory Control

        - Automated depletion tracking

        - Pick ticket generation triggered by:

          - PAR levels

          - Reorder points

          - Emergency stock levels

      - Software

        - Intuitive and easy to train

        - Supports multiple users with varying permission levels

        - Web-based access from any computer or mobile device

        - Unlimited user access

        - Automatic software upgrades

      - Reporting and Analytics

        - Open orders

        - Emergency/critical item levels

        - Negative quantities on-hand

        - Item locator

        - Customer item requisitions

        - PAR level analysis

        - Current inventory levels

        - Items over PAR

        - Stock-outs and critical hits

        - PAR value over time

        - Consumption reporting:

          - Average monthly usage

          - Consumption analysis by time

          - Consumption deviation

          - Consumption over time

      - Item Management

        - Item master

        - Item history

        - Item classification

        - Reconciliation history

        - Most recent reconciliation per item

- GIP / IFCAP INTERFACE

  - The PAR Bin System shall interface with the Generic Inventory Package (GIP) within IFCAP.

  - The interface shall:

    - Identify out-of-balance on-hand quantities and values

    - Display due-ins and due-outs separately

    - Automatically clear PAR Bin due-ins and due-outs when corresponding GIP transactions are cleared

- TASKS

  - Project Management

    - Conduct kickoff meeting within 30 days of contract award

    - Verify site readiness (space, power, data availability)

    - Develop phased installation schedule

    - Provide monthly status reports to the Contracting Officer’s Representative (COR)

  - Equipment Installation

    - Install PAR bins, scales, controllers, and accessories

    - Verify secure mounting and connectivity

    - No disassembly of existing storage devices unless authorized

    - Furnish and install all required electrical power and network data drops

  - System Configuration and Integration

    - Calibrate all scales

    - Configure PAR levels, reorder points, and emergency stock levels

    - Configure user permissions

    - Validate GIP/IFCAP integration for:

      - On-hand quantities

      - Due-ins and due-outs

      - Out-of-balance conditions

  - Expansion Equipment

    - Furnish and install additional PAR Excellence equipment required to complete all locations and item counts listed in Attachment A

  - Testing and Acceptance

    - Perform functional and accuracy testing

    - Resolve deficiencies

    - Support go-live at each location

    - Acceptance verified by Government COR

  - Training

    - Training shall be conducted primarily through hands-on instruction during installation and supplemented by up to three classroom-style sessions.

      - Training shall include:

        - Adding items

        - Removing items

        - Assigning items

        - Weighing items

        - Editing items

        - Troubleshooting

        - Reporting functions

        - Par Vision

        - Process definition

    - The Government shall maintain at least two trained personnel capable of:

      - Powering equipment on/off

      - Disconnecting and reconnecting power

      - Adding, changing, and registering scales

      - Registering and exchanging PAR equipment

      - Assisting with troubleshooting

      - Maintaining the system database

- HARDWARE, SOFTWARE, AND LICENSING

  - Installation

    - Install software on one Government-owned server

    - Install software on one Government-owned desktop or laptop

    - Install software on one Government-owned laptop for system setup

    - Prepare Government server for data transmission and remote monitoring

  - Licensing

    - License agreement for Inventory Management System and related support

    - Automatic software upgrades

    - Web-based reporting access

    - Unlimited users

- SUPPORT AND MAINTENANCE

  - Warranty

    - Three (3) year warranty on all PAR Excellence manufactured equipment and software

    - Up to one (1) year warranty on third-party provided equipment

    - Warranty includes replacement for defects or damage not caused by Government personnel

    - Warranties begin upon delivery and acceptance

    - Acceptance shall not exceed 30 days after receipt or software installation

  - Support Services

    - Continuous monitoring via PAR Excellence Proactive Technical Product Support (PTPS)

    - Minimum of four (4) remote system checks every 24 hours

    - Remote response to service calls within 24 hours of notification

    - Hardware replacement:

      - Within 48 hours if backup equipment is onsite, or

      - Via RMA process if backup equipment is not onsite.

  - Post-Warranty

    - Active support agreement required after warranty expiration

    - Optional extended warranty for PAR-manufactured components

    - Third-party equipment replacement at Government expense after warranty expiration

- PERFORMANCE MONITORING

  - Installation completion verified by Government COR

  - Ongoing monitoring by VA Logistics staff

  - Monthly Contractor/Government meetings

  - Unresolved issues escalated to the Contracting Officer

- Quality Assurance Surveillance Plan

| Performance Area | Standard | Surveillance Method |
| --- | --- | --- |
| Installation Accuracy | 100% per design | Site inspections |
| Schedule Adherence | 90% | Progress reports |
| System Accuracy | 95% | Functional testing |
| Training Completion | 95% | Attendance records |
| Issue Resolution | 90% within 48 hrs | COR tracking |

- SECURITY REQUIREMENTS

  - Contractor personnel shall complete VA security screening

  - Contractor ID badges required and worn at all times

  - No patient contact or access to sensitive patient information

  - Subject to inspection of personal effects

- GOVERNMENT-FURNISHED EQUIPMENT (GFE)

  - The Government shall furnish:

    - Server

    - Desktop computer

    - Laptop computer

- PLACES OF PERFORMANCE

  - Primary Location Salt Lake City VA Medical Center 500 Foothill Blvd Salt Lake City, UT 84148

    - Buildings 550 / 590

  - Secondary Locations

    - Cache Valley 2380 North 400 East, Suite G North Logan, UT 84341 Elko – Elko, NV

    - Elko 2767 Mountain City Highway Elko, NV 89801-2414

    - Idaho Falls 640 South Woodruff Avenue Idaho Falls, ID 83401

    - Ogden 3945 South Washington Boulevard, Suite 1 South Ogden, UT 84403.

    - Orem 774 South State Street Orem, UT 84058

    - Pocatello 500 South 11th Avenue Pocatello, ID 83201

    - Price 189 South 600 West, Suite B Price, UT 84501

    - Roosevelt 245 West 200 North Roosevelt, UT 84066

    - South Jordan 5119 West Daybreak Parkway South Jordan, UT 84009

    - St. George 230 North 1680 East, Building N St. George, UT 84790

- PERIOD OF PERFORMANCE

  - Installation and setup shall be completed no later than 12 months after contract award. Installation shall be phased by location.