SALIENT CHARACTERISCTICS

USSC CCTV EQUIPMENT AND INSTALLATION

Indoor Cameras Salient Characteristics

| Video Quality | Provides minimum HDTV 1080p resolution, ensuring clear and detailed video footage. |
| --- | --- |
| Wide Dynamic Range (WDR) | Features WDR to handle scenes with both bright and dark areas, delivering sharp video in all lighting conditions. |
| Day/Night Functionality | Equipped with an automatically removable infrared-cut filter, allowing it to function effectively in both day and night conditions. |
| Field of View | Offers a wide 102° horizontal and 55° vertical field of view. |
| HDMI Output | Includes an HDMI output that enables live video streaming to a public view monitor. |
| Video Compression | Supports H.264, H.265, and Motion JPEG video compression formats. |
| Frame Rate | Capable of capturing video at a frame rate of 25/30 frames per second. |
| Storage | Record to a network-attached storage (NAS). |
| Durability | Has an IP42 rating for water and dust resistance and an IK08 rating for impact resistance. |