Performance Work Statement (PWS) / Statement of Work (SOW)

LAN Room HVAC Maintenance

Technology Services Organization (TSO)

- Background

The Technology Services Organization (TSO) office spaces are served by four local area network (LAN) rooms.  The LAN rooms require climate control for temperature and humidity.  The TSO is responsible for maintaining the HVAC equipment that maintains the proper climate for the IT equipment in the LAN rooms.  The HVAC equipment requires routine and emergency maintenance in order to maintain proper cooling and climate control.

The mission of the TSO is to maintain automate information systems that support military pay and personnel management for the Marine Corps enterprise.

- Scope

The TSO needs a service contract to maintain HVAC equipment requires routine and emergency maintenance in order to maintain proper cooling and climate control.

- Performance Requirements

  - Tasks: The Contractor shall…

    - Semiannual inspection, preventative maintenance, and cleaning

    - Filter replacement with at least a MERV11 rated filter every 60 days.

    - Repair or replace components as required

    - Maintain an adequate parts inventory in order to avoid equipment outages lasting more than six hours.

    - Acknowledge emergency requests within 2 hours and be onsite within six hours.

    - A written list of all work completed will be provided to the COR. Preventive Maintenance Service to include if a piece of equipment needs to be repaired and identified during the PM, the contractor must notify the COR informing of cost of part that needs to be order and for approval of the order and provide a written quote.

    - Contractor personnel will be certified to maintain and repair Liebert Air Conditioning and Climate Control equipment.

- Applicable Information and/or Documents

  - Government Technical Point of Contact (TPOC): TPOC contact information to be provided to the Contractor at time of award.

Wayne Soehnlin, email: wayne.r.soehnlin@usmc.mil, Work Cell: (816) 317-5812

  - Period of Performance:

| Option Period | Period of Performance |
| --- | --- |
| Base Period | April 30, 2026 – April 29, 2027 |
| Option 1 | April 30, 2027 – April 29, 2028 |
| Option 2 | April 30, 2028 – April 29, 2029 |
| Option 3 | April 30, 2029 – April 29, 2030 |
| Option 4 | April 30, 2030 – April 29, 2031 |

  - Place of Performance:

Technology Services Organization (TSO)

8899 E. 56th St.

Suite 338T

Indianapolis, IN 46249

  - List of Deliverables:

| Deliverable Name | Description | Frequency or Required Date | Method of Delivery |
| --- | --- | --- | --- |
| Assessment Report | Report of condition of equipment and recommended repairs/replacements. | Semi-annually | Email to TPOC |

☐ Not applicable

  - Delivery Address: If applicable, specify the required delivery address for deliverables, including any names/titles and physical address(es).

☒ Not applicable

  - Hours of Operation: Services must be performed during normal working hours in coordination with the TPOC, 8:00AM – 4:00PM, Monday – Friday, except U.S. Federal Holidays. Visit Federal Holidays (opm.gov) to view the applicable listing of U.S. Federal Holidays. Service personnel must contact the TPOC at a minimum of 3 working days prior to date of service in order to allow sufficient time to add service personnel to the approved visitors list.

☐ Not applicable

Contractor Personnel / Qualifications: HVAC equipment requires routine and emergency maintenance in order to maintain proper cooling and climate control.

        - Contractor personnel will be certified to maintain and repair Liebert Air Conditioning and Climate Control equipment.

☐ Not applicable

  - Travel: If applicable, include the following travel subsection:

☒ Not applicable

  - Security Requirements: If applicable, describe any security requirements that the Contractor will need to perform this contract.

☒ Not applicable

  - Government Facility Access:

    - Contractor personnel will be screened for security reasons prior to entry into the place of performance.  The possession of weapons will not be permitted in the building.  If contractor personnel require vehicle access to the building, the vehicle and personnel will be screened for security purposes.  The possession of weapons will not be permitted in the building.

☐ Not applicable

  - Specifications:

        - The TSO possess four Liebert Mini-Mate 2 Thermal Management Systems located in rooms

          - 3390AA

          - 339-N

          - 338-VB

          - 335-R3.

☐ Not applicable

  - List of Attachments:

        - Attachment 1: Fuller Engineering Quote

☐ Not applicable