Request for Information/Sources Sought Notice

Commercial Supply

Contract Type: Firm Fixed Price Purchase Order

Title: Sources Sought Notice Digital Recorders

Notice ID Number: NIST-SS26-86

PURPOSE

The purpose of this sources sought notice is to conduct market research and identify potential sources of commercial products/services that satisfy the Government’s anticipated needs.  This notice shall not be construed as a Request for Quote. Respondents are advised that the U.S. Government will not pay for information or administrative costs incurred in the response to this notice.  All costs associated with responding to the notice will be solely at the interested party’s expense.  Not responding to this notice does not preclude participation in any future RFQ or other solicitation (if any are issued).  This is a market survey, not a pre-solicitation notice.  There is no formal solicitation available at this time. No award will be made as a result of this market survey.  If a formal solicitation is generated at a later date, a pre-solicitation notice will be published.  Respondents will not be notified of the results of this survey, or results of information submitted. The government is seeking a domestic product, if commercially available, that meets all the technical specifications.

BACKGROUND

The National Institute of Standards and Technology (NIST) Center for Neutron Research (NCNR) owns and operates a 20 MW test reactor called the National Bureau of Standards Reactor (NBSR). The NBSR is located on the NIST campus in Gaithersburg, Maryland, USA. The NBSR is a heavy water D2O-cooled and moderated reactor.

The NBSR utilizes Yokogawa GX-20s in a multitude of its digital control systems. The digital recorders are used as a human-machine interface (HMI) for subsystems on the control room console including the Radiation Monitoring System, the Tritium Monitoring System, and the Linear Power Nuclear Channels. Due to ongoing development for the NCNR Control Room Upgrade, the spare quantity has been consumed without being replenished.

REQUIREMENTS

Description: Yokogawa GX-20 Digital Recorders (part number GX20-1E/CG/D5/AS/MT/MC/FL/LG)

Quantity: Five (5)

The requirement is inclusive of all necessary hardware and components.  Delivery terms will be FOB Destination (or equivalent INCOTERMS such as DDP).

NOTICE RESPONSE

Interested firms/companies are encouraged to respond to this notice by submitting documentation that clearly demonstrates how the minimum requirements and technical specifications will be met.  Response which merely repeat the minimum requirements, and technical specifications without providing demonstration of how the minimum requirements and technical specifications will be met, will not be considered or evaluated by the government. Responses can demonstrate their capabilities to meet the requirements and specifications described above by providing brochures, manuals, reports, demonstration videos, other technical data, and identification of current customers.

In responding to this notice, please DO NOT PROVIDE PROPRIETARY INFORMATION. In addition to the technical documentation, the response must include the following:

- Company name and address

- Point of Contact for questions and/or clarifications, including telephone number and email address

- Teaming partners (if applicable)

- For supplies – If the supply is a commercial off the shelf item, modified commercial off the shelf item, or prototype.

- Any additional information as deemed pertinent by the respondent.

The Government will accept written questions by email to Contract Specialist Ranae Armstrong at ranae.armstrong@nist.gov and Contracting Officer Don Collie at Donald.collie@nist.gov. Questions must be submitted by 03/20/26, 4:00pm, ET to receive a government response.   Telephone and faxed inquiries will not be accepted.

Interested responses must be submitted to Contract Specialist Ranae Armstrong at ranae.armstrong@nist.gov and Contracting Officer Don Collie at Donald.collie@nist.gov no later than 03/27/26, 4:00pm, ET. Telephone and faxed responses will not be accepted.