BASE OPERATIONS SUPPORT SERVICES

FORWARD OPERATING SITE APIAY

LUIS GOMEZ NIÑO AIR BASE APIAY, COLOMBIA

13 February 2026

Part 1

General Information

1.  GENERAL:  This is a non-personal services contract under which the personnel rendering the services are not subject, either by the contract’s terms or by the manner of its administration, to the supervision and control usually prevailing in relationships between the Government and its employees. The United States (U.S.) Government shall not exercise any supervision or control over the Contractor’s employees performing the tasks herein. Such contract employees shall be accountable solely to the Contractor who, in turn shall be responsible to the U.S. Government.

1.1 Description of Services/Introduction:  The contractor shall provide all personnel, equipment, supplies, facilities, transportation, tools, materials, supervision, and other items and non-personal services necessary to perform base operation support serviceas defined in this PWS except for those items specified as government furnished property (GFP) and government furnished services (GFS).  The contractor shall perform to the standards in this contract.

1.2 Background: U.S.Army Westeran Hemisphere Command (USAWHC) operates an operational support complex consisting of 94 billetingrooms (approximately 50 in use per rotational unit), six (6) office facilities, two (2) kitchens, two (2) dayrooms, 10 storage areas, two (2) aircraft hangars and other support facilities. Apiay is located near Villavicencio which is approximately 55 miles southeast of Bogotá, Colombia.

1.3 Objectives:  To obtain Contractor assistance with the administrative and operational functions required at FOS Apiay.

1.4 Scope:  Contractor shall provide non-personal services to include repair and maintenance of facilities and equipment, grounds maintenance, housekeeping/janitorial services, administrative support, property accountability, cargo movement, and management of billeting facilities.The contractor shall accomplish.

1.5 Period of Performance:  The period of performance shall be for one (1) Base Period of 6 months and four (4) twelve (12) month option periods. The Period of Performance schedule is as follows:

Base Full Performance: 30 July 2026 to 29 January 2027

Option 1: 30 January 2027 to 29 January 2028

Option 2: 30 January 2028 to 29 January 2029

Option 3: 30 January 2029 to 29 January 2030

Option 4: 30 January 2030 to 29 January 2031

1.6 General Information:

1.6.1 Quality Control Plan (QCP): The Contractor shall develop, implement, and maintain a QCP and program to ensure all work described in this contract is performed at or above the standard defined in the Performance Requirements Summary (PRS).  The QCP is developed by the contractor for its internal use to ensure that it performs and delivers high-quality service.  The contractor’s QCP is the means by which the contractor ensures all work complies with the requirements of the contract.  The QCP identifies and corrects potential and actual problem areas throughout the entire scope of the contract.

1.6.1.1The contractor shall develop and implement procedures to identify, prevent, and ensure non-recurrence of defective services. The QCP shall be submitted within thirty (30) days of contract award.  After acceptance of the QCP, the contractor shall receive the contracting officer’s (KO) acceptance in writing of proposed changes to the QC procedures.  The contractor shall submit QCP changes within five (5) days to the KO and Contracting Officer’s Representative (COR) for review and approval prior to implementation.

1.6.1.2 The Quality Control Plan shall address as a minimum:

1.6.1.2.1 Inspection Program. Included shall be a quality control inspection program covering all general and specific tasks included in the contract scope of work.  It shall specify tasks or areas to be inspected on a scheduled or unscheduled basis, the manner in which inspections are to be conducted, the titles of the individuals who will perform the inspections, and the percentage of the work that will be inspected on a recurring basis.  In developing this inspection program, the Contractor shall identify the key activities and associated characteristics in each process that have a significant influence on specific services and provide for methods for evaluation of the selected characteristics.

1.6.1.2.2 Deficiency Identification.  The QCP shall include a method of identifying deficiencies in the quality of services performed before the level of performance becomes unacceptable as defined in the PRS.  This shall contain processes for corrective action without dependence upon Government direction.

1.6.1.2.3 Deficiency Correction. The program shall contain process control and process performance measurement procedures that shall include how the Contractor shall implement preventive corrective actions.  The Contractor shall demonstrate that it has designed quality into the delivery of services thereby mitigating the risk(s) associated with delivery of deficient or nonconforming services.

1.6.1.2.4 Documentation and Enforcement. The QCP shall include a method of documenting and enforcing quality control operations of both prime contractor and subcontractor work; including inspection and testing.

1.6.1.2.5 Trend Analysis. The QCP shall include a method of performing trend analysis and assessments through the use of metrics.

1.6.1.2.6 Surveillance Methods. The QCP shall contain specific surveillance techniques for all contract services.  The surveillance methods shall be comprehensive and adaptable to the reporting system of the plan.

1.6.2 Operations Security (OPSEC) SOP/Plan Requirements. The Contractor shall implement and maintain an OPSEC program for preventing the disclosure of critical information or sensitive information which could jeopardize the Government’s ability to execute its mission or to adequately protect its personnel and/or equipment.  The Contractor shall develop an OPSEC Standing Operating Procedure (SOP)/plan within 90 calendar days of contract award to the Contracting Officer Representative (COR) or Contracting Officer (KO) to be reviewed and approved by the Government OPSEC Officer on the supporting installation.  The SOP must contain a training plan that includes an initial OPSEC brief, continuous awareness, and annual OPSEC training. Awareness/training includes, but not limited to information disclosure via letters, conversations, photographs, resumes, electronic mail (e-mail), Social media/networking sites, dissemination of information and documents disposal. OPSEC Program shall fully comply with the provisions of AR 530-1, Operations Security.

1.6.2.1 Quality Assurance (QA):  The government shall evaluate the contractor’s performance under this contract in accordance with (IAW) the Quality Assurance Surveillance Plan.  This plan is primarily focused on what the Government must do to ensure that the contractor has performed IAW the performance standards and contract quality requirements are met.  Contract quality requirements” means the technical requirements in the contract relating to the quality of the product or service and those contract clauses

prescribing inspection, and other quality controls incumbent on the contractor, to ensure the product or service conforms to the contractual requirements.  It defines how the performance standards will be applied, the frequency of surveillance, the performance threshold, and deductions, if applicable.

1.6.3 Recognized Holidays:  With the exception of certain high priority/emergency services, the contractor will not be required to perform services on the following holidays:

American/Colombian New Year’s Day                        Colombian Sts. Peter and Paul

Colombian Epiphany                                                    American Independence Day

Colombian St. Joseph’s Day                         		Colombian Independence Day

Colombian Holy Thursday               		Colombian Assumption Day

Colombian Good Friday                	  		Colombian Columbus Day

Colombian Labor Day 				Colombian Feast of the Immaculate Conception

Colombian Ascension Day				American/Colombian Christmas Day

Colombian Corpus Christie			Any other holiday designated under Colombian law

Juneteenth Day

1.6.4 Hours of Operation:  The contractor is responsible for conducting business betweet 0800 to 1700 Monday through Friday, except Federal holidays or when the Government facility is closed due to local or national emergencies, administrative closings, or similar Government directed facility closings.  For other than firm fixed price contracts, the contractor will not be reimbursed when the government facility is closed for the above reasons.  The Contractor must, at all times, maintain an adequate workforce for the uninterrupted performance of all tasks defined within this PWS when the Government facility is not closed for the above reasons.

1.6.5 Place of Performance:  The work to be performed under this contract will be performed at the Cooperative Security Location “CSL” is co-located on the Apiay Air Base, Villavicencio, Colombia.

1.6.6 Type of Contract: The Government anticipates the award of a firm-fixed price contract.

1.6.7 Access and General Protection Policy and Procedures:

1.6.7.1 FPCON: In addition to the changes otherwise authorized by the changes of clause of contract, should the US Government Force Protection Condition (FPCON) at any individual installation change, the Government may require changes in contractor security matters or process in accordance with DoDI 2000.16.  During FPCONs Charlie and Delta, only contract services that have been deemed “mission essential” by the Government will continue.  Contract services will resume when the FPCON is reduced to Bravo or lower.

1.6.7.2 Physical Security:  The contractor shall be responsible for safeguarding all government equipment, information, and property provided for contractor use.

1.6.7.3 Escorts: The Contractor and all associated sub-contractor employees performing services under this contract shall be escorted at all times by host nation security personnel or by an individual designated by the Contracting Officer Representative (COR) while accessing U.S. facilities or activities.

1.6.7.4 Personnel Security Clearance Requirements: Contractor personnel performing work under this contract must have an active personnel security clearance at the level in the Joint Personnel Adjudication System (JPAS) at time of the proposal submission, and must maintain the level of security required for the life of the contract.  The security requirements are IAW with the attached DD Form 254, “Department of Defense (DOD) Security Classification Specification”. The Contractor shall ensure that contractor employees and sub-contractor employees performing services under this contract comply with FAR 52.204-2, Security Requirements when the employee has access to information classified “Confidential,” “Secret,” or “Top Secret.”  The Contract will ensure the employee complies with the Security Agreement (DD Form 441), including the National Industrial Security Program Operating Manual (DOD 5220.22-M), and any revisions to DOD 5220.22-M, notice of which has been furnished to the Contractor.

1.6.7.4.1 The contractor shall follow DOD Federal Acquisition Regulation Supplement (DFARS) clause 252.223-7004, Drug-free Work Force; and local USSOUTHCOM policies regarding drug testing.  The contractor shall conduct drug tests, ensuring all top secret cleared contractor employees are tested at least once per year, each year of the contract, as well as when there is a reasonable suspicion that an employee uses illegal drugs.  The drug testing shall be at the contractor’s expense.  Positive drug test results shall be made available to both the KO and COR within 24 hours of known test results.  Records of drug testing shall be made available to the COR.

1.6.7.5 Background Checks: The Contractor shall ensure contractor employees and subcontractor employees performing services under this contract have passed a security check conducted by the Host Nation Police Department of their residence or the State Police Department of their U.S. residence.  Security checks that have been completed as part of a personnel security clearance background investigation, or a previous background check that was a condition of employment, meet this requirement.  Documentation of these checks will be made available to the KO or COR within 10 days of request.  The Government retains the right to exclude any employee from performance of duties under this contract if a background security check reveals an employee is a security risk.  The exclusion of an employee for security reasons will not relieve the Contractor from performance of services required under this contract.  If the Government determines additional background checks are required, at a minimum, and upon request from the Government, the Contractor shall provide to the KO or COR, the following information on any contractor or subcontractor employee performing services under this contract:

- Full birth name

- Married name (if applicable)

- SSN or local equivalent (ID card number)

- Date of birth

- Place of birth (city, country)

1.6.7.5.1 Background Check Notification Requirements:  If a background check on any employee or subcontractor employee performing services under this contract, whether the check was conducted as a condition of employment or as part of the contract with the Government, reveals any information from any source (including host country law enforcement) of criminal activity by Contractor employees, subcontractors, or subcontractor employees, the Contractor shall notify the KO and COR of that information within 24 hours. The Contractor shall make notification of:

(1)  Traffic violations, other than parking, will be reported to the KO or COR only if the contract is for drivers for the Government;

(2)  Any suspicious activity by Contractor employees, subcontractors, or subcontractor employees the Contractor believes may pose a risk to U.S. or host nation national security or imminent risk of deadly bodily harm to any person; and

(3)  Any actions taken against Contractor employees, subcontractors, or subcontractor employees pursuant to this requirement.

1.6.7.5.2 Remedies. In addition to other remedies available to the Government, the Contractor’s failure to comply with the requirements of this paragraph my result in requiring the Contractor to remove a Contractor employee or employees from the performance of the contract.

1.6.7.5.3 Subcontracts. The Contractor shall include the substance of this paragraph and the preceding paragraph in all subcontracts.

1.6.7.6 Reserve.

1.6.7.6.1  Reserve.

1.6.7.6.1.1 Reserve.

1.6.7.6.2. Resreve.

1.6.7.7 Employment Eligibility: The Contractor shall ensure that all Contractor employees and sub-contractor employees performing services under this contract in the U.S. or its territories have been pre-screened for employment eligibility using the E-verify Program on the Department of Homeland Security website http://www.uscis.gov/e-verify. Personnel that have not met the employment eligibility requirement on this website are not authorized to perform services under this contract.  Verification of the eligibility check will be made available to the KO or COR within 5 days of request.  This requirement is not in lieu of and does not relieve the Contractor from the I-9 Employment Eligibility Verification Forms for employment of personnel.

1.6.7.8 Access to Government Information Systems: All Contractor employees and subcontractor employees performing services under this contract who have access to a government information system must be registered in the ATCTS (Army Training Certification Tracking System) at commencement of services and must successfully completed the DoD Information Assurance Awareness training prior to access to the information system and then annually thereafter.

1.6.7.9 Key Control: The Contractor shall establish and implement methods of making sure all keys/key cards issued to the Contractor by the Government are not lost or misplaced and are not used by unauthorized persons.  NOTE:  All references to keys include key cards.  Contractor shall not duplicate keys provided by the Government.  The Contractor shall develop procedures covering key control that shall be included in the Quality Control Plan.  Such procedures shall include turn-in of any issued keys by personnel who no longer require access to locked areas.

1.6.7.9.1 The Contractor shall report any occurrences of lost or duplicate keys/key cards to the KO and the COR (and physical property manager, if applicable) within two (2) hours or the next business day if after hours to request key or lock(s) replacement.  This notification and request for key(s) and lock replacement shall be submitted in writing. The total cost of the replacement may be at the Contractor’s expense.

1.6.7.9.2. Only authorized Contractor personnel shall use Government issued key(s) and/or key card(s). Contractor personnel shall follow security access requirements when entering secure areas.  Contractor shall receive appropriate security clearance approval to allow visitor(s) access in secure areas.

1.6.7.10 Lock Combinations: The Contractor shall establish and implement methods to ensure all lock combinations are protected from unauthorized persons.  The Contractor shall ensure lock combinations are changed when personnel with access to the combinations no longer have a need to know IAW local security procedures and policies. These procedures shall be included in the Contractor’s QCP.

1.6.8 Post Award Conference/Contract Periodic Progress Meetings:  The Contractor shall attend the post award conference convened by the contracting activity or contract administration office IAW Federal Acquisition Regulation (FAR) Subpart 42.5. The KO, COR, with other Government personnel, as appropriate, may meet periodically with the Contractor to review the Contractor's performance.  At these meetings the KO will apprise the contractor of how the government views the Contractor's performance and the Contractor will apprise the Government of problems, if any, being experienced.  Appropriate action shall be taken to resolve outstanding issues.  These meetings shall be at no additional cost to the government.

1.6.9 Contracting Officer Representative (COR):  The COR will be identified by separate letter.  The COR monitors all technical aspects of the contract and assists in contract administration.  The COR is authorized to perform the following functions:  ensure the Contractor performs the technical requirements of the contract; perform inspections necessary in connection with contract performance; maintain written and oral communications with the Contractor concerning technical aspects of the contract; issue written interpretations of technical requirements, including Government drawings, designs, specifications; monitor

Contractor's performance and notifies both the KO and Contractor of any deficiencies; coordinate availability of government furnished property; and provide site entry of Contractor personnel.  A letter of designation issued to the COR, a copy of which is sent to the Contractor, states the responsibilities and limitations of the COR, especially with regard to changes in cost or price, estimates, or changes in delivery dates.  The COR is not authorized to change any of the terms and conditions of the resulting order.

1.6.10 Key Personnel:  The following contractor personnel are considered key personnel by the government: Site Manager / Alternate Site Manager and Fuels Manager. The contractor shall provide a full time, onsite Site Manager who shall be responsible for the performance of work. The name of this person and an Alternate Site Manager who shall be onsite to act for the contractor when the Site Manager is absent shall be designated in writing to the Contracting Officer. The Site Manager and alternate shall have full authority to act for the contractor on all contract matters relating to daily operation of this contract. Qualifications for all key personnel are listed below.

1.6.10.1 Site Manager / Alternate Site Manager.

1.6.10.1.1 Minimum qualifications for Site Manager and Alternate are: U.S. Citizenship with a minimum of seven (7) years of experience in a Supervisory / Management capacity;

1.6.10.1.2 Minimum of four (4) years of background experience in a facility / equipment maintenance and base operations support; W912CL21C0001 P00018 Page 33 of 81

1.6.10.1.3 Bi-lingual in English and Spanish, with the ability to speak, read, and write Spanish at a 2/Level 2+ proficiency level. Proof of proficiency level shall be made within ten (10) calendar days of contract award and submitted to the COR.

1.6.10.1.4 Contractor’s Site-Manager and Alternate Site Manager shall have a Secret security clearance (DD 254, Department of Defense Contract Security Classification Specification, refer Attachment 4).

1.6.10.1.5 If Manager on Site (Site Manager or Alternate) is unable to perform duties, an alternate (Bilingual with Secret Security Clearance) Site Manager shall be on site within 48 hours. Minimum qualifications for Site Manager and Alternate are: U.S. Citizenship with a minimum of seven (7) years of experience in a Supervisory / Management capacity.

1.6.10.2 Fuels Manager: Minimum of six (6) years background experience in fixed and rotary wing aviation fuel servicing, bulk fuel receipt, petroleum distribution, quality surveillance, and accounting; types of preferred experience would be operations journeyman or supervisor at an airport, or prior military experience managing petroleum distribution and

servicing of aviation assets.

1.6.11 Special Qualifications or Certifications: Contractor personnel shall meet the U. S. in Colombian Law for specific job perform.

1.6.11.1 All personnel operating a motor vehicle, to include GFP vehicles, Gators, and material handling equipment, shall be qualified licensed drivers.

1.6.12 Identification of Contractor Employees:  Contractor employees shall identify themselves as Contractor personnel and shall avoid representing themselves as Government employees.  This identification includes meeting attendance, answering Government telephones, email communications, and working in other situations where Contractor status is not obvious.  Contractor personnel identification shall be easily identifiable through the display of badges, name tags, lanyards, etc.

1.6.12.1 Badging of Contractor Employees: If required by the Government, contract personnel and all associated subcontractors employees accessing U.S. facilities or activities, shall present a valid picture ID provided by the Government while accessing Government owned or contracted facilities and shall adhere

to facility security policies and restrictions. If applicable, Government issued access badges will not be worn outside designated facility where visible to the general public.  Contractor personnel shall return all U.S. Government issued identification to appropriate U.S. Government authorities within 5 day of the end of their contractual duties.

1.6.12.2 Uniform: The Contractor shall provide a standard uniform for all Contractor and subcontractor employees performing services under this contract, and ensure they wear the uniform during appointed duty hours.  The uniform may consist of the same type and color shirt and slacks for all workers.  Company logo is optional.

1.6.13 Contractor Travel:  The Contractor may be required to travel to Bogota or other off-site locations in support of this PWS, such as disposal of GFP. In the event travel is necessary for the performance of this contract, Contractor will be authorized travel expenses consistent with the substantive provisions of the Joint Travel Regulation (JTR), https://www.defensetravel.dod.mil/site/travelreg.cfm and the limitation of funds specified in this contract. All travel requires Government approval / authorization from the COR prior to travel. Contractor Travel does not include picking up supplies from local vendors.

1.6.14 Other Direct Costs (ODC): The Contractor will be responsible for the direct payment of utilities to include water, sewage, electricity, satellite TV, wireless internet, as well as cleaning supplies, office supplies, disinfecting supplies for the gym, fuel for GFP, parts for minor repairs, and COR pre-approved major repair parts. A separate Contract Line Item (CLIN) is established for the reimbursement of ODC to the Contractor. Reimbursement shall be limited to actual payments made for the above mentioned items. No indirect costs such as G&A or additional fees are authorized, with the exception of Renovation (see PWS 5.2.5).

Supplies and services not identified above are not authorized for reimbursement under the ODC CLIN. Receipts or invoices to support the ODC CLIN shall be submitted to the COR & KO as an attachment to the monthly invoices.

1.6.15 Data Rights: The Government has unlimited rights to all documents/material produced under this contract.  All documents and materials, to include the source codes of any software, produced under this contract shall be Government owned and are the property of the Government with all rights and privileges of ownership/copyright belonging exclusively to the Government.  These documents and materials may not be used or sold by the Contractor without written permission from the Contracting Officer.  All materials supplied to the Government shall be the sole property of the Government and may not be used for any other purpose.  This right does not abrogate any other Government rights.

1.6.16 Non-Disclosure Requirements:  Performance under this contract may require the Contractor to access data and information proprietary to a Government agency, another Government Contractor, or of such nature that its dissemination or use other than as specified in this work statement would be adverse to the interests of the Government or others.  Neither the Contractor, nor Contractor personnel, shall divulge, nor release data or information developed, or obtained under performance of this work statement, except to authorize Government personnel or upon written approval of the KO.  The Contractor shall not use, disclose, or reproduce proprietary data, which bears a restrictive legend, other than as specified in this PWS.  All documentation showing individual names or other personal information shall apply, and shall be controlled and protected under the provisions of the Privacy Act of 1974, Public Law 93-579, 5 United States Code (U.S.C.) Section 552a.

1.6.16.1 Reserved

1.6.16.2 Advertisement and Social Media: The Contractor shall NOT post information to public website or social media locations, personal or professional, that in any way disclose names, locations, hotel data, participants, discussions, pictures, etc. before, during or after the contract period of performance without

the express consent of the Government. The use of propaganda violates DOD Commercial Use of Imagery Guidelines stated at (www.dimoc.mil/resourcess/limitations/).  The Contractor shall not cite any information

(e.g., contract information, pictures, locations, etc.) obtained through this contract on any marketing tools to include its company website.

1.6.16.3 INFORMATION ASSURANCE:  At no time will the Contractor or associated sub-contractor employees transmit government documents or information over using methods that do not meet the security requirements specified in the National Institute of Standards and Technology (NIST)  Special Publication

(SP) 800-171, "Protecting Controlled Unclassified Information in Nonfederal Information Systems and Organizations" such as personal electronic mail accounts, public digital data storage sites (cloud storage), social media platforms or instant messaging.  Approved government sites such as U.S. Army Aviation and Missile Research Development and Engineering Center (ARMDEC) Safe Exchange at https://safe.amrdec.army.mil/SAFE/About.aspx, or All Partners Access Network (APAN) at https://community.apan.org/, or other transmission means determined by the government must be used.

1.6.17 Reserved

1.6.18  Phase-in/Phase-Out (PIPO) Period: To minimize any decreases in productivity and to prevent possible negative impacts on additional services, the Contractor shall have personnel on board,  during the Fifteen days (15), phase in/ phase out periods.  During the phase in period, the Contractor shall become familiar with performance requirements in order to commence full performance of services at the end of the phase-in period.

1.6.19 General Training Requirements:

1.6.19.1 Anti-Terrorism (AT) Level I Training:  The Contractor shall complete AT Level I Training within 30 calendar days after contract start date or effective date of incorporation of this requirement into the contract, whichever applies, or 30 calendar days after employment of new personnel, all Contractor employees, including subcontractor employees, who are employed under the contract shall complete AT Level I awareness training within 30 calendar days after contract start date or effective date of incorporation of this requirement into the contract, whichever applies. The contractor shall submit certificates of completion for each affected Contractor employee and subcontractor employee to the COR or KO within 10 calendar days after completion of training by all employees and subcontractor personnel.  For Common Access Card (CAC) holders, AT Level I awareness training is available at https://jkodirect.jten.mil, course number “JS-US007-14”.  For non-CAC holders, AT Level I awareness training is available at http://jko.jten.mil/courses/atl1/launch.html (this standalone version is intended for non-CAC users without a JKO account only).  Training must have been completed within the last 12 months and maintained yearly thereafter.  If training cannot be conducted on the website, the Contractor will coordinate with the local AT Officer at their assigned location for classroom training by a Level 2 trained AT Officer and a copy of either the training certificate or the training attendance roster signed by the AT Officer will be maintained by the Contractor. Verification of the training will be provided to the COR or KO within 10 calendar days after completion of the training.

1.6.19.2 OPSEC Awareness: If the Contractor, or a subcontractor, or employees of either disclose any information that disrupts or harms the Government's operations or activities, then the Government retains the right to exclude any employee from performance of duties under this contract.  The exclusion of an employee for security reasons will not relieve the Contractor from performance of services required under this contract.  By way of example, personnel shall not sketch or take photos of government facilities or activities, unless related to service to be provided.  All government paper products and removable digital storage material that is received, generated, or stored during the contract will be destroyed completely when no longer needed to preclude recognition of information.

1.6.19.3 Reserved.

1.6.19.4 Reserved.

1.6.19.5 Threat Awareness Reporting Program (TARP Training): Within 30 calendar days after contract start date or effective date of incorporation of this requirement into the contract, whichever applies, or 30 calendar days after employment of new personnel, all Contractor employees, including subcontractor employees, who are employed under the contract and require a security clearance, shall complete TARP training within 30 calendar days after contract start date or effective date of incorporation of this requirement into the contract, whichever applies.  The Contractor shall submit certificates of completion for each affected Contractor employee and subcontractor employee to the Government Representative within 10 calendar days after completion of training by all employees and subcontractor personnel.  TARP training is available at the Army Learning Management System (ALMS) https://www.lms.army.mil/.  Training must have been completed within the last 12 months and maintained yearly thereafter.  If training cannot be conducted on the website, the Contractor will coordinate with the local Counter Intelligence (CI) Officer at their assigned location for classroom training and a copy of either the training certificate or the training attendance roster signed by the CI Officer will be maintained by the Contractor. Verification of the training will be provided to the Contracting Officer (KO) or Contracting Officer Representative (COR) within 10 calendar days after completion of the training.

1.6.19.6 iWATCH Training:The Contractor will ensure that all Contractor employees and sub-contractor employees performing services under this contract have been briefed on the iWATCH Program, or equivalent for their supporting DoD Agency, within 30 days of employment under the contract.  The Contractor will coordinate with the supporting DoD Agency AT Officer through the COR or KO for the briefing.  This training will be updated as required by the supporting installation AT policies. A copy of the training attendance will be maintained by the Contractor and made available to the COR or KO within 24 hours of the request.

1.6.19.7 OPSEC Training: All Contractor employees and sub-Contractor employees performing services under this contract will complete Level I OPSEC training within 30 calendar days of employment under this contract.  OPSEC Level I training is available at https://jkodirect.jten.mil, course number “EUC-ECJ6-110-N-LB”.  Training must have been completed within the last 12 months and maintained yearly thereafter.  If training cannot be conducted on the website, the Contractor will coordinate with the local OPSEC Officer at their assigned location for classroom training by a Level 2 trained OPSEC Officer and a copy of either the training certificate or the training attendance roster signed by the OPSEC Officer will be maintained by the Contractor. Verification of the training will be provided to the COR or KO within 5 days of the request.

1.6.20 Overseas Training Requirements:

1.6.20.1 Antiterrorism (AT) Awareness Training for Contractor Personnel Traveling: Upon award of the contract, or within 30 days of employment of new personnel performing services under this contract, the Contractor will coordinate with the supporting DoD Agency AT Officer through the COR or KO, for AOR specific AT awareness training for U.S. based Contractor employees and associated subcontractor employees.  This training will be updated as required by the supporting installation AT policies. Verification of the training will be made available to the COR or KO upon request.

1.6.20.2 SERE Training: All Contractor employees and subcontractor employees must complete the computer based SERE 100.1 Code of Conduct training course prior to theater entry.  Training is available at http://jko.jten.mil.  Completed training meets the requirement for three (3) years. Verification of the training will be made available to the KO or COR within 24 hours of the request.

1.6.21 Foreign (OCONUS) Requirements: All U.S. citizen or resident, and TCN contractor personnel not normally residing in the USSOUTHCOM AOR, must comply with the training requirements listed in the

Foreign Clearance Guide (FCG). Verification of the training shall be made available to the COR or KO upon request. Additionally, they must receive personal security training that includes at a minimum:

(a) Safety and security issues facing employees within the USSOUTHCOM AOR,

(b) Identifies safety and security contingency planning activities, and

(c) Identifies ways to utilize safety and security personnel and other resources appropriately.

1.6.21.1 Theater and Country Clearance Requirements: Contractor shall ensure all U.S. citizen or U.S. resident Contractor employees and sub-contractor employees performing services under this who are traveling in the USSOUTHCOM AOR follow the requirements identified in the electronic Foreign Clearance Guide (FCG) at https://www.fcg.pentagon.mil/fcg.cfm and must have all necessary passports, visas, and other documents required to enter, exit, or work in the USSOUTHCOM AOR; must have the appropriate DOD identity credential(s); must have the appropriate special area, country, and theater clearance as required in DOD Directive 4500.54E.

1.6.21.2 Vetting : have been vetted by the US Embassy in the country which the contract will be performed.  For the purposes of this contract, the company is considered vetted if the company is located in the country which the contract will be performed unless the company has been previously barred from performing services for the Government. If during a previous vetting process the company was barred from performing service for the Government, then that is grounds for termination of the contract.  If the company is located outside of the country which the contract will be performed, the company must be vetted by the US Embassy in the country of performance.  Vetting will coordinated through the US Embassy's DOD Security Cooperation Office (SCO) in the country of performance.  If during any previous vetting process in other countries, the company is found to be barred from performing services for the Government; this finding is grounds for termination of the contract.

1.6.21.2.1: The Contractor shall provide a fully qualified workforce who possesses the training, skills, licenses, clearances, certifications and experience to successfully perform the services required in this PWS. Contractor employees remain under the direct supervision of the contractor

and will not be considered employees of the Government.  All contractor personnel shall be cleared by the Regional Security Office (RSO) prior to employment and at the contractor’s expense (see Para 1.6.7.1 for more information).  The contractor shall not employ any person whose employment results in a conflict of interest under DoD 5500.7-R, Joint Ethics Regulation.  The contractor must demonstrate registry or other certification which authorizes the company to perform and do business in the country of

Colombia.

1.6.21.3 Installation Access to DOD Facility or Host Nation Installation:  Contractor and all subcontractor employees performing services under this contract shall comply with adjudication standards and procedures using the National Crime Information Center Interstate Identification Index (NCIC-III) (U.S. citizen and residents only), and Terrorist Screening Database (TSDB) (Army Directive 2014-05/AR 190-13), applicable installation, facility and areas commander installation/facility access and local security policies and procedures (provided by the COR or KO), and status of forces agreements or other diplomatic agreements. The employee performing services under this contract shall provide all information required for background checks to meet installation access requirements to the installation Provost Marshal Office, Director of Emergency Services, Security Office, or host nation equivalent.

1.6.21.4 Host Nation Installation Access with No DOD Facility: Contractor and all associated subcontractor employees shall comply with applicable installation, facility and area commander installation/facility access and local security policies and procedures. The employee performing services under this contract shall also provide all information required for background checks to meet installation access requirements to be accomplished by installation Provost Marshal Office, Director of Emergency Services, Security Office or the host nation equivalent.

1.6.21.5 Deoxyribonucleic Acid (DNA) Samples: The Contractor shall collect a DNA record for all U.S. citizen Contractor and subcontractor personnel traveling to the USSOUTHCOM AOR and shall have arrangements for storage of the DNA referenced specimen through a private facility or arrange for the

storage of the specimen by contacting the Armed  Forces Repository of Specimen Samples for the Identification of Remains (AFRSSIR) at http://www.afmes.mil/index.cfm?pageid=afdil.afrssir.overview or phone: (302) 346-8800.  In addition, U.S. citizen Contractor and subcontractor personnel shall comply with the requirements of DODI 3020.41, Enclosure 3, paragraph 8.b., or its successor.

1.6.21.6 Medical Travel Requirement: Contractor shall ensure that all Contractor employees and subcontractor employees are medically, dentally, and psychologically fit for performance of their duties.  All U.S. citizen and third country national (TCN) Contractor and subcontractor personnel must meet the medical screening requirements established by the USSOUTHCOM Commander in the Medical Suitability Screening Regulation (SC Reg 40-501), as well as the requirements identified in FORCE HEALTH PROTECTION (FHP) GUIDANCE FOR DEPLOYMENT in the USSOUTHCOM AOR or their successors and follow immunization and health protection guidelines outlined therein.  All immunizations must be obtained prior to traveling to the USSOUTHCOM AOR.  U.S. citizen and TCN Contractor and subcontractor personnel traveling from a country outside of the USSOUTHCOM AOR must travel into the USSOUTHCOM AOR with a current copy of the Public Health Service Form 791, “International Certificate of Vaccination”.  In addition, U.S. citizen and TCN Contractor and subcontractor personnel traveling to the USSOUTHCOM AOR are required to be beneficiaries of a medical evacuation plan and service through an insurance plan provided by their employer or paid for individually.

1.6.22 Synchronized Pre-deployment and Operational Tracker (SPOT): Upon award of this contract, or employment of new personnel, the Contractor shall enter Contractor employees and subcontractor employees performing services under this contract into the SPOT database who meet one of the following conditions:

(1) All U.S. citizen and resident, and third country national (TCN) personnel who travel into the USSOUTHCOM AOR for periods of performance anticipated to exceed 30 consecutive days.

(2) TCNLN personnel who reside with or work in the immediate vicinity of U.S. Armed Forces and/or DOD Civilian personnel for periods of performance anticipated to exceed 30 consecutive days.

(3) Private security Contractors and contingency Contractor personnel authorized to carry weapons regardless of proximity to U.S. Armed Forces or DOD Civilian personnel and regardless of the length of the anticipated period of performance.

(4) Contractor and subcontractor personnel with a place of performance in the continental United States, including the USSOUTHCOM Headquarters and Joint Interagency Task Force-South (JIATF-S) Headquarters, that may, within the terms of the contract, deploy to the USSOUTHCOM AOR for periods anticipated to exceed 30 consecutive days.

1.6.22.1 The COR or KO will approve all employees in the SPOT database and a Letter of Authorization (LOA) is generated to the Contractor on each employee.  The signed LOA is required prior to travel to, from, or within the USSOUTHCOM AOR.  The LOA will identify any additional authorizations, privileges, or Government support to which Contractor personnel are entitled under this contract.  The LOA will be regenerated by the Contractor upon expiration of the LOA.  Changes to the status of individual personnel relating to their in-theater arrival date and their duty location, to include closing out the trip with their proper status (e.g., mission complete, wounded, ect.) shall be annotated within the SPOT database in accordance with the timeliness established in the SPOT business rules.  Information and standards for the SPOT system is posted on the U.S. Government Foreign Clearance Guide website at https://www.fcg.pentagon.mil/fcg.cfm for the country of employment.  Access to SPOT is https://spot.dmdc.mil.

1.6.23 Reserved

1.6.24  Environmental Compliance: Se PWS 5.15

1.6.24.1 Reserved

PART 2

DEFINITIONS & ACRONYMS

2.  Definitions and Acronyms:

2.1. Definitions:

2.1.1 Area of Responsibility.  The U.S. Southern Command (USSOUTHCOM) area of responsibility (AOR) includes the geographic areas of Antigua and Barbuda, Argentina, Aruba, Barbados, Belize, Bolivia, Brazil, British Virgin Islands, Cayman Islands, Chile, Colombia, Costa Rica, Cuba, Curacao, Dominica, Dominican Republic, Ecuador, El Salvador, Falkland Islands, French Guiana, Grenada, Guadeloupe, Guatemala, Guyana, Haiti, Honduras, Jamaica, Martinique, Mayotte, Montserrat, Nicaragua, Panama, Paraguay, Peru, Saint Barthélemy, Saint Martin, Saint Kitts and Nevis, Saint Lucia, Saint Vincent and the Grenadines, Saint Maarten, Suriname, Trinidad and Tobago, Turks and Caicos Islands, Uruguay, and Venezuela.

2.1.2. Contractor.  The total contractor organization or a separate entity of it; such as an affiliate, division, or plant that performs its own purchasing.

2.1.3. Contracting officer (KO).  A person with the authority to enter into, administer, and/or terminate contracts and make related determinations and findings.

2.1.4. Contracting Officer’s Representative (COR).  An individual designated and authorized in writing by the contracting officer to perform specific technical or administrative functions.

2.1.5. Defective Service.  A service output that does not meet the standard of performance associated with the Performance Work Statement.

2.1.6. Deliverable.  Anything that can be physically delivered, but may include non-manufactured things such as meeting minutes or reports.

2.1.7. Foreign National.  A foreign national is not a U.S. citizen.  Green card holders are also identified as foreign nationals.  A foreign national is further categorized as either a third country national or a local national based on the person’s citizenship and location of performance of duty.

2.1.8. Key Personnel.  Contractor personnel that are evaluated in a source selection process and that may be required to be used in the performance of a contract by the Key Personnel listed in the PWS.  When key personnel are used as an evaluation factor in best value procurement, an offer can be rejected if it does not have a firm commitment from the persons that are listed in the proposal.

2.1.9. Local National.  Local nationals are foreign nationals who are citizens of the country where the performance of duty will occur.

2.1.10. Performance Work Statement (PWS).  A statement of work for performance-based acquisitions that describes the required results in clear, specific, and objective terms with measurable outcomes.

2.1.11. Physical Security.  Protection of the perimeter area, government property, and assets that prevent the loss or damage of Government property.

2.1.12. Quality Assurance.  The various functions, including inspection, performed by the government to determine whether a Contractor has fulfilled the contract obligations pertaining to quality and quantity.

2.1.13. Quality Assurance Surveillance Plan (QASP).  A plan describing how the agency will survey, observe, test, sample, evaluate and document the Contractor’s performance in meeting critical performance standards identified in the contract.

2.1.14. Quality Control (QC).  Tasks performed by the Contractor to improve the quality of the organization’s output.

2.1.15. Shall. An imperative command; has a duty to or is required to. Denotes that a regulation must be followed unless the contracting officer has obtained a deviation.

2.1.16. Subcontractor.  Any supplier, distributor, vendor, or firm that furnishes supplies or services to or for a prime contractor or another subcontractor.

2.1.17. Third Country National.  Third country nationals are foreign nationals who are not citizens of the country where the performance of duty will occur.

2.1.18. Work Day.  The number of hours per day the Contractor provides services in accordance with the contract.

2.1.19. Work Week.  Monday through Friday, unless specified otherwise.

2.2 Acronyms:

AFFSSIR		Armed Forces Repository of Specimen Samples

ALMS			Army Learning Management System

ANSI			American National Standards Institute

AOR			Area of Responsibility

AR			Army Regulation

ATCTS			Army Training Certification Tracking System

AT			Anti-Terrorism

CAC			Common Access Card

CFR			Code of Federal Regulations

CI			Counter Intelligence

CLIN			Contract Line Item Number

CONUS			Continental United States (excludes Alaska and Hawaii)

COR			Contracting Officer Representative

DD Form 254		Department of Defense Contract Security Requirement List

DNA 			Deoxyribonucleic Acid (DNA)

DOD			Department of Defense

DODD			Department of Defense Directive

DODI			Department of Defense Instruction

FAR			Federal Acquisition Regulation

FHP			Force Health Protection

FCG			Foreign Clearance Guide
FN			Foreign National

FY			Fiscal Year
GFE			Government Furnished Equipment

GFP			Government Furnished Property

GFS			Government Furnished Services

GOC			Government of Colombia

IA			Information Assurance

IAW			In Accordance With

IT			Information Technology

JPAS			Joint Personnel Adjudication System

JTR			Joint Travel Regulation

KO			Contracting Officer

LN			Local National

LOA			Letter of Authorization

NCIC-III		National Crime Information Center Interstate Identification Index

NIST			National Institute of Standards and Technology

ODC			Other Direct Costs

OCI			Organizational Conflict of Interest

OCONUS		Outside Continental United States (includes Alaska and Hawaii)

ODC 			Other Direct Costs

OSHA			Occupational Safety and Health Administration

OPSEC 			Operation Security

PIPO			Phase In/Phase Out

PRS			Performance Requirements Summary

PWS			Performance Work Statement

QA			Quality Assurance

QASP			Quality Assurance Surveillance Plan

QCP			Quality Control Program

RA			Requiring Activity

SCR			Service Contract Reporting

SOP			Standard Operating Procedures

SPOT			Synchronized Predeployment and Operational Tracker

TCN			Third Country National

TE			Technical Exhibit

TSDB			Terrorist Screening Data Base

U.S.C.			United States Code

USSOUTHCOM		United States Southern Command

THIS SECTION INTENTIONALLY LEFT BLANK

PART 3

Government Furnished Equipment (GFE), Government Furnished Property (GFP), and Government Furnished Services (GFS)

3.  GOVERNMENT FURNISHED ITEMS AND SERVICES:

3.1. Services: RESERVED

3.2 Facilities: The USG will provide all essential work spaces and facilities, to include one trailer for office space, storage space, and maintenance areas in order to meet the work requirements.

3.3 Utilities: The USG will provide all electricity, water, sewer, land line telephones, and wireless internet through reimbursement under the Other Direct Costs CLIN. The Contractor shall instruct employees and billeting facility occupants in utilities conservation practices. The Contractor shall be responsible for operating under conditions that preclude the waste of utilities, which include turning off the faucets, turning off lights, and setting air conditioning units to minimum use levels to prevent mold in unoccupied spaces.

3.4 Equipment: The Government will furnish equipment including vehicles, tools, and grounds maintenance equipment as identified in Attachment 5 Government Furnished Property (GFP) for contractor use in the performance of this contract.

.

3.4.1 The contractor shall coordinate decisions to repair, replace, or dispose of GFP with the COR and Property Administrator (PA)/Plant Clearance Officer (PLCO). Labor for repair and preventive maintenance of GFP is included in PWS 5.2. Repair parts are classified as Materials, see PWS 3.5. GFP items that are replaced by the Contractor shall be reimbursed using the Contractor Acquired Property (CAP) – Equipment CLIN. The contractor shall process acquisition and disposal of GFP by following the PIEE procedures at 5.6.3 and transportation / disposal procedures at 5.6.3.1.

3.4.2 Changes to the GFP Attachment require a contract modification. Property records such as acquisition, hand receipt, and turn-in (DA 3161) shall be emailed to the COR and Property Administrator (PA)/Plant Clearance Officer (PLCO) on a quarterly basis.

3.4.3 USG personnel are authorized to operate GFP vehicles such as Gators, pickup trucks, etc. on the air base only. GFP vehicles are not authorized for use outside of Apiay Air Base.

3.5 Materials: .  Materials include consumabls, repair parts, and other Government Property that may require repair or replacement. A current Materials list is provided as Technical Exhibit B. The contractor shall include a replenishment schedule in the Property Management Plan to maintain an adequate stock of Materials on site. Materials shall be purchased by the Contractor and reimbursed under Contractor Acquired Property – Materials CLIN X003 as needed, and in accordance with the replenishment schedule.

3.5.1. Consumables include fuel for GFP equipment and generators used solely within Apiay Air Base, office supplies, cleaning supplies and other items (i.e. light bulbs, batteries) that are fully used or non-reparable. Repair parts include supplies used to return equipment or facility to an improved or usable condition. Other Government Property includes appliances, towels, linens and other materials that are not equipment furnished for contractor use in the performance of the contract, but may require repair, replacement or disposal by the contractor.

3.5.1 Control. The Contractor shall maintain control of materials to prevent loss. Government material shall be kept physically separate from contractor owned materials.

3.5.2 Reporting. The contractor shall generate a semi-annual report, submitted to the COR, that lists material quantities and locations in accordance with the Property Management Plan.

3.5.3 Inventory Requirements. The contractor’s Property Management Plan shall include a replenishment schedule and re-stock levels for materials inventory.

3.5.4 Maintenance: The Contractor is responsible for maintenance of Other Government Property as described at PWS 5.2, under Equipment Maintenance.

3.5.5 Repair: Materials such as Other Government Property that is damaged shall be referred to the COR for a decision on repair, replacement, or disposal without replacement. The Contractor shall provide at least one quote for repair and one quote for replacement of Materials if requested by the COR. Costs for repair or replacement of materials shall be reimbursed under the CAP – Materials CLIN.

3.5.6 Disposition: Materials that will not be repaired or replaced by the Government shall be disposed of. Property managed by serial number shall be disposed of through the same channels as GFP. Non-serial numbered incidental property may be disposed of through local trash after generating records of quantity disposed.

3.5.7 Loss: Materials lost shall be recorded and reported within 5 days of notice to the COR.

3.6 Incidental Property: Government property that is provided to the contractor as incidental to the place of performance. Includes but not limited to furniture, gym equipment, and kitchen supplies. See Attachment #.

3.6.1 Control. The Contractor shall maintain control of incidental Government property to prevent loss. Government property shall be kept physically separate from contractor owned materials.

3.6.2 Reporting. The contractor shall generate an annual report, submitted to the COR, that lists incidental property quantities and locations in accordance with the Property Management Plan.

3.6.3 Inventory Requirements. The contractor’s Property Management Plan shall include records for incidental property inventory to document cases of loss or disposal. Billeting Facility occupants shall be discouraged from leaving any property at Apiay Air Base. In cases where property is left, these items will be identified as incidental to the place of performance and added to the Incidental Property Inventory unless the COR approves of on-site trash disposal.

3.6.4 Maintenance: The Contractor is responsible for maintenance of incidental property as described at PWS 5.2, under Equipment Maintenance.

3.6.5 Repair: Incidental property that is damaged shall be referred to the COR for a decision on repair, replacement, or disposal without replacement. The Contractor shall provide at least one quote for repair and one quote for replacement of incidental property if requested by the COR. Costs for repair or replacement of incidental property shall be reimbursed under the CAP – Equipment CLIN.

3.6.6 Disposition: Incidental property that will not be repaired or replaced by the Government shall be disposed of. Property managed by serial number shall be disposed of through the same channels as GFP. Non-serial numbered incidental property may be disposed of through local trash after generating records of quantity disposed.

3.6.7 Loss: Incidental property lost shall be recorded and reported to the COR within 10 days of notice.

PART 4

CONTRACTOR FURNISHED ITEMS AND SERVICES

4.  CONTRACTOR FURNISHED ITEMS AND RESPONSIBILITIES:

4.1 General: The Contractor shall furnish all supplies, equipment, facilities and services required to perform work under this contract that are not listed under Part 3 of this PWS.

4.1.1 List of Employees. Prior to start of performance, and any change thereafter, the Contractor shall

submit a Contractor’s Personnel Qualifications and Certifications Listing to the COR. The listing shall

cover at a minimum, the information identified below.

1. Complete name to include maiden name if applicable

2. Last four of Social Security Number, or cedula for Colombia citizens

3. Employment status (current employee, new hire, subcontracted employee, departed employee)

4. Type of employment (full time, part time, temporary)

5. Orientation/start date

6. Position Title

7. Certifications and technical licenses

8. Past experience / qualifications of employee (condensed)

9. Level of security access required

10. Date of Synchronized Pre-deployment and Operational Tracker (SPOT) Letter of Authorization

and expiration date

11. Date of AT Level I training

12. Residency Status

4.1.2 If employee ceases employment, indicate whether identification, badges, and decals are returned to

the Governme

4.2 Facility Security Clearance: Reserved

4.3. Materials: The Contractor shall furnish all materials needed to perform tasks that are specifically unique or required in support of the Contractor.

4.4. Equipment: The Contractor shall furnish equipment needed to perform tasks that are specifically unique or required in support of the Contractor (i.e. computers, software, printers, scanners, fax machines, cell phones, and other equipment needed to support the Contractor’s administrative functions). Contractor is responsible to provide any vehicle required for off base pickup of supplies, No costs associated with this section, such as training of personnel, vehicles used off base, or cell phone service, are reimbursable.

4.5 Insurance: All insurances required by the Government of Colombia to operate within the country shall be obtained and maintained as required by the Government of Colombia (GOV). Insurance requirements include but are not limited to Third Party Damage, First Person Fatality, Additional person Fatalities, Criminal court representation and Civil Representation.

4.5.1 Worker’s Compensation and Employers Liability Insurance as required by law except that if the contract is to be performed in a country which does not require or permit private insurance, then compliance with the statutory or administrative requirements for the Country of Colombia.  The required Worker’s Compensation insurance shall extend to cover employer’s liability for accidental bodily injury or death and for occupational disease with a minimum liability limit as required by the Government of Colombia.

4.5.1.2 General Liability Insurance: Bodily injury liability insurance, in the minimum limits as established by the Government of Colombia, per occurrence shall be required on the comprehensive form of policy.

4.5.1.3 Automobile Liability Insurance for Contractor Owned/Leased Vehicles. This insurance shall be required on the comprehensive form of policy and shall provide bodily injury liability and property damage liability covering the operation of all automobiles used in connection with the performance of the contract.  At least the minimum limits as established by the Government of Colombia shall be required.

4.5.1.4 Payment of Wages/Salaries: The contractor shall be responsible for payment of all employee salaries, vacations, social security, medical insurance, family subsistence and all other entitlements required by Colombian labor laws.  At a minimum, the Contractor shall adhere to applicable wages established by the GOC.  Additionally, the Contractor will make a good faith attempt to provide reasonable wages to maintain stability in the workforce.

4.6 Contractor Vehicles and Passes: All contractor employees’ and Contractor’s subcontractor vehicles used for the performance of this contract shall comply with all Colombian Government Regulations.  In addition, all vehicles described above must be registered through theGovernment of Colombia or with the installation office for the Colombian Military Base that they are working on.  Pass and Registration will comply with Colombian Installation Commander Directives.  The contractor is responsible to provide maintenance or fuel for contractor vehicles.

4.6.1 Vehicle and personal passes are the property of the Government of Colombia and will be surrendered upon termination of employment or the end of the contract performance period to the COR.  Any pass will be surrendered to US or Colombian Security Forces upon demand to positively identify a person’s need to be on Colombian Military Installation or the grounds of the US Embassy, Bogota, Colombia, or other facilities based on duty location.

4.6.2. Operation of any vehicles on base by Contractor personnel constitute adherence to Host nation  (HN) traffic laws and vehicle safety requriements. Contractor shall ensure Contractor owned vehicles meet or comply with HN regulations and are insured accordingly. Each vehicle to be operated off base shall be insured to the limits required by HN law in the name of the vehicle’s owner.

4.6.3 Vehicle Damage. The USG is not responsible for maintenance or damage to Contractor or Contractor employee owned vehicles used in support of contract performance unless directly caused by USG Personnel. The ODC and CAP CLINs shall not be used to reimburse for any parts or services attributable to

Contractor vehicles. USG personnel are not authorized to operate Contractor owned vehicles. USG personnel are authorized to operate GFP vehicles such as Gators, pickup trucks, etc. on the air base only.

PART 5

SPECIFIC TASKS

5.  Specific Tasks:

5.1 Basic Services.  The contractor shall provide services to include repair and maintenance of facilities and equipment, grounds maintenance, housekeeping/janitorial services, administrative support, property accountability, cargo movement, and management of billeting facilities.

5.2 Facilities/Equipment Maintenance and Repairs:

5.2.1  Preventive Maintenance:

5.2.1.1 The Contractor shall perform preventive maintenance of Government facilities, . Facility maintenance includes but is not limited to plumbing, electrical, and structural.

5.2.1.1 (a) STD: The Contractor shall establish a preventive maintenance schedule and perform preventive maintenance of installed and mission support equipment and facilities as prescribed by manufacturer or warranty recommendations/requirements. Maintenance records for all services completed shall be available for inspection by the U.S. Government upon request. All records shall be in English or be bilingual in English and Spanish.

AQL: 90% on time.

Deliverable: Preventive maintenance schedule 15 days after award.

Deliverable: Maintenance Records available upon request.

5.2.1.2 The Contractor shall perform preventive maintenance of equipment. Installed and mission support equipment include air conditioners, water heaters, stoves, refrigerators, microwaves, washers, dryers, associated lighting or electrical units, vehicles, generators, fitness equipment, grounds maintenance equipment, and cargo movement equipment.

5.2.1.2 (a) STD: The Contractor shall establish a preventive maintenance schedule and perform preventive maintenance of installed and mission support equipment as prescribed by manufacturer or warranty recommendations/requirements. Maintenance records for all services completed shall be available for inspection by the U.S. Government upon request. All records shall be in English or be bilingual in English and Spanish.

AQL: 90% on time.

Deliverable: Preventive maintenance schedule 15 days after award, updated w/in 5 days of new equipment receipt.

Deliverable: Maintenance Records available upon request.

5.2.2 Standard Repairs

5.2.2.1 Minor Repairs: The Contractor shall make minor repairs of Government facilities, vehicles, installed equipment and mission support equipment. Facilities repairs include plumbing, electrical, and structural to include re-keying at Government discretion if not Contractor caused (PWS 1.6.7.9). Installed and mission support equipment include air conditioners, water heaters, stoves, refrigerators, microwaves, washers, dryers, associated lighting or electrical units, vehicles, generators, fitness equipment, grounds maintenance equipment, and cargo movement equipment. Minor repairs are those that do not to exceed $500 USD for the parts.

5.2.2.1 (a) STD: Contractor shall establish a system by which minor repair work orders can be requested by U.S. Government personnel. During normal working hours, all submitted work orders will be reviewed within thirty (30) minutes. Non-emergency work orders shall be resolved within 3 days. Repair records for all services completed shall be available for inspection by the U.S. Government upon request. All records shall be in English or be bilingual in English and Spanish. The Contractor shall perform minor repairs to Government facilities, vehicles, installed equipment and mission support equipment as unanticipated breakdowns occur to keep said facilities, vehicles, and equipment in fully operational condition.

AQL: 95% on time

Deliverable: Work order with time/date of resolution identified.

5.2.2.2 Major Repairs: A major repair is a repair that exceeds $500 which is not considered to be preventive maintenance. Pre-approval must be obtained from the COR prior to execution of any major repairs.

5.2.2.2 (a) STD: The contractor shall provide at least two quotes for repair parts from different companies to the COR. If the repair is for equipment (not facilities), the contractor shall include a quote for replacement of the Government Property and/or repair parts from different companies to the COR. .

AQL: 95% on time

Deliverable: Two quotes

5.2.2.2 (b) STD: All repairs shall be completed within eight (8) working hours of Government approval notification to restore facilities and equipment to fully operational condition. The contractor shall notify the COR of any delays due to acquisition and or the delivery of repair parts.

AQL: 95% on time

Deliverable: Work order with time/date of resolution <8 hours identified.

5.2.2.3 Renovation: Is a repair that restores a facility or equipment to an improved condition through replacing and upgrading present components to meet required standards without altering the original design.

5.2.2.3 STD: The contractor shall perform renovation when the requirements exceed the definitions of a minor repair (PWS 5.2.2) or major repair (PWS 5.2.3). Renovation may include subcontracted labor in addition to parts. Pre-approval must be obtained from the Contracting Officer prior to execution of any renovation. The contractor shall provide at least two quotes for parts and labor from different companies to the COR. Any indirect costs associated with Renovation shall be included in the two quotes. Approved renovations shall be funded under the Contractor Acquired Property – Materials CLIN.

AQL: 95% on time

5.2.3 Emergency Repairs:

5.2.3.1 (a) STD: Any work order that impacts the immediate health and safety of equipment or personnel, or must be completed within eight (8) hours, is considered an Emergency work order. Examples include electrical live wire or plumbing failures/leaks that can cause illness and/or unsanitary conditions. Emergency work orders shall be immediately acted upon and corrected within eight (8) hours.

AQL: 95% on time

Deliverable: Work order with time/date of resolution <2 hours identified.

5.3 Ground Maintenance.

5.3.1 Mowing grass and weeds, trimming trees, hedges and bushes. The approximate area to be mowed/trimmed is four acres.

5.3.1.1 STD: Grass shall be serviced when grass reaches a height not to exceed four (4) inchesThis is estimated weekly, but may be required more or less frequently. Trees, hedges, and bushes shall be trimmed as required to maintain a uniform and neat appearance. See tecnichal exibit C for areas to be mowed.

AQL: 95% on time.

5.3.2 Cleanliness. The contractor shall perform sidewalk cleaning, litter and debris removal from the sidewalk area, approximately 900 yards.

5.3.2.1 STD: The grounds and sidewalks shall be free of litter and debris.

AQL: 90% on time.

5.3.3 Trailer washing.

5.3.3.1 STD: Wash and clean the exterior walls of approximately 60 trailers every six (6) months.

AQL: 90% on time.

Deliverable: In complice provided maintenance schedule per 5.2.1.1

5.4 Housekeeping/Janitorial Service.

5.4.1 The Contractor shall perform housekeeping / janitorial services

5.4.1.1 STD (a): The contractor shall perform housekeeping  and janitorial services every 3 days when billeting facilities are occupied of 94 rooms. Floors shall be free of dirt; bathrooms and showers shall be cleaned and disinfected; surfaces shall be free of dust; trash containers shall be stocked sufficiently with trash bags to meet the needs of a seven (7) day period; toilet paper shall be stocked sufficiently to meet the needs of a 24-hour period, IE one complete extra roll per room.

AQL: 90% on time.

Deliverable: Cleaning records available upon request.

5.4.1.1 STD (b): Bi-weekly cleaning of common facilities six (6) offices, and 1,500 square feet of common areas (bathrooms, gyms, kitchens, etc.). Floors shall be free of dirt; bathrooms shall be cleaned and disinfected; surfaces shall be free of dust; trash containers will be emptied; toilet paper and soap shall

be stocked sufficiently to meet the needs of a 24-hour period.

AQL: 90% on time.

Deliverable: Cleaning records available upon request.

5.4.1.1 STD (c): Exchange of Linens: Initial placement of clean towels and bed linens prior to arrival on

date of occupancy. Replacement towels and bed linens shall be unsoiled.

AQL: 90% on time.

Deliverable: Cleaning records available upon request.

5.4.1.1.1 Weekly exchange of bed linens and one bath towel in occupied rooms.

5.4.1.1 STD (d) Laundry service: Washing, drying, folding, and storage of hand towels, towels, pillow cases, comforters, rugs and sheets. An average of 100 hand towels per day and 100 bath towels, sheets and pillowcases per week shall require washing when Billeted Facilities are occupied. Laundering shall be done to acceptable commercial practices and standards. The Contractor shall not be responsible for the washing of personal laundry.

AQL: 95% on time.

Deliverable: Cleaning records available upon request.

5.5 Administrative Support.

5.5.1 The Contractor shall perform a variety of administrative tasks

5.5.1.1 STD (a) Translation of correspondence from English to Spanish or Spanish to English for USG personnel.Translation of correspondence includes the preparation, distribution and processing of base access security badges, also known as OFICIOs, with the CACOM 2 Command Group. Documents shall be

free of typing and translation errors. At a minimum, administrative support personnel must be Bilingual in English and Spanish, with the ability to speak, read, and write Spanish at a 2/Level 2+ proficiency. IAW https://www.govtilr.org/Skills/ILRscale2.htm

AQL: 95% on time.

Deliverable: Records available upon request.

5.5.1.1 STD (b) Assist U.S. personnel and Very Important Persons (VIP)s with entry into the air base. Requires coordination with the CACOM 2 security and includes meeting, escorting / transporting personnel to and from base entry points to various locations on Apiay. Contractor coordination with CACOM 2 Security shall be initiated at least 48 hours in advance of arrival of U.S. personnel and VIPs.

AQL: 95% on time.

Deliverable: Records available upon request.

5.5.1.1 STD (c) Prepare and e-mail a daily (including weekends/holidays) Situational Report (SITREP) to the USAWHC Combined Operations Integration Cell (COIC) and the COR(s). The COR(s) may add additional email addresses to be included in the daily e-mail distribution. The SITREP will be unclassified and used to report the status of site manager and all U.S. personnel, VIPs and tenants in Temporary Duty (TDY) status. The SITREP will be also used to report any issues or problems at the FOS. The Contractor shall submit the daily SITREP to USAWHC to COIC and COR(s) no later than 1700 local (Apiay).

AQL: 95% on time.

Deliverable: Records available upon request.

5.5.1.1 STD (d) Contractor shall notify any incoming personnel upon initial contact to coordinate with the COR(s) by telephone or by email for scheduling and requirements prior to arrival.

AQL: 95% on time.

Deliverable: Records available upon request.

5.6 Property Accountability.

5.6.1 The Contractor shall provide property accountability support for Logistics

Missions to ensure the proper inventorying and safeguarding of all Government Property. Government Property includes equipment and materials described in PWS section 3.

5.6.1.1 STD (a) The contractor shall submit their Property Management System (PMS) procedures no later than thirty (30) days after award. The PMS shall contain the intricate details of the inner workings of the contractor’s Property Management System and how it will meet the ten (10) established outcomes (i.e. Acquisition, Receipt (includes Identification), Records, Physical Inventory, Subcontractor Control, Reports, Relief of Stewardship Responsibility/Liability, Utilization (includes Consumption, Movement, and Storage), Maintenance and Property Close-Out (includes Disposition). This written document is known as the contractor’s Property Management System procedures. These procedures are used by the contractor’s operational personnel as their daily standard operating procedure (SOP) for the management of Government Property. The contractor’s Property Management System procedures are working document(s) that may require updates as processes change; however, a contractor cannot change its procedures unilaterally. Any proposed changes to the contractor’s processes shall be submitted to the Property Administrator for review/concurrence prior to the implementation of the changes. See FAR 52.245-1(f).

AQL: No later than 5 business days late

Deliverable: Property Management System (PMS)

5.6.1.1 STD (b) A joint inventory of Government-furnished property must be completed within two months after the contract effective date, or during the first COR site visit after award, whichever is later. Items of equipment missing or not in working order shall be recorded and the COR shall be notified in writing. The Contractor and the Government representative shall jointly determine the working order and condition of all equipment and document their findings. Rejection of GFP by the Contractor shall not relieve the Contractor of responsibility in performance of this contract. The Contractor shall not use property provided by the Government for any purpose other than the performance of this contract.

AQL: 100%

Deliverable: Records available upon request.

5.6.1.1 STD (c) The Contractor shall conduct inventories every 6 months and provide the results IAW DFARS PGI 245.103-72. The inventory shall identify GFP and CAP since the last contract modification accepting CAP and transferring as Government Property. The inventory list(s) will include equipment identification by facility location. An inventory of contents in each billeting room shall be annotated on a DA Form 2062, Hand Receipt and the Contractor shall be responsible for having room occupants/guests account and sign for equipment (e.g.TVs, refrigerators, etc.) upon check-in and check-out of billeting facilities.

AQL: 100%

Deliverable: Records available upon request.

5.6.1.1 STD (c) The Contractor shall maintain property inventory records. The PBO will maintain a fiduciary property record for all Government furnished equipment/property IAW FAR 52.245-1. The contractor will no longer be required to assist the PBO with inventories and provide inventory reports to the PBO, however they will be required to process the turn in of equipment through the property book officer. The contractor will also be required to report its GFP listing to the PBO in order to maintain a 90% accuracy between the 3 systems of record (the GFP listing, the PBOs fiduciary record and the contractor's

government property listing. All correspondence with the PBO shall have visibility of the Property

Administrator (PA)/Plant Clearance Officer (PLCO). All property related actions (Turn-Ins, Issue,

Disposal, etc.) must be approved by the PA/PLCO with notice to the COR. The Contractor shall prepare a

DA Form 2062 for any property that is hand issued/receipted to occupants/guests for temporary use.

AQL: 100%

Deliverable: Records available upon request.

5.6.2 The Contractor shall properly dispose of all hazardous material and waste generated by USG, IAW

CACOM 2 (Apiay) policies through Colombian Base authorities at Apiay. This includes fuels, batteries,

and other items considered harmful to the environment. The contractor shall notify the COR within one

business day of accumulation of any hazardous material or waste that is not approved for disposal through

the Base authorities for further coordination including but not limited to the U.S. Embassy.

AQL: 100%

Deliverable: Records available upon request.

5.6.3 The Contractor shall utilize the (PIEE) Procurement Integrated Enterprise Environment GFP module

for the disposition of all government provided equipment not limited to items previously designated as

Government Furnished Property (GFP).

5.6.3.1 STD (a) Once equipment is identified as unserviceable, excess to, and no longer required for use on this contract these items shall be placed into an inventory schedule in the PIEE GFP Module to be accepted or rejected by the Government Property Administrator (PA). The equipment will be assigned a case number

and given disposition instructions from the PA with no screening period.

AQL: 100%

Deliverable: Records available upon request.

5.6.3.1 STD (b) The contractor shall coordinate with the Property Book Officer by providing a list of equipment prepared for disposition on a DA form 3161 to complete the turn for the equipment to be removed from the fiduciary record. The contractor shall transport the equipment for disposal to the turn in point at the logistics and support section of the US Embassy Bogota, Colombia state department (DRMO/DLA), Aeropuerto El Dorado, Via Catam Puerta 6, Hangar DAAVA, as needed in order to maintain a 90% accuracy between the 3 property accounting systems (the PBO fiduciary record, the contractor’s system of records property listing, and the government property listing in the PIEE GFP module). The PBO shall create a document number to be placed on a local form 1348-R that will be received at the turn in point to provide proof of the turn in of equipment and remove the items from their fiduciary record and subsequently from the contract.

AQL: 100%

Deliverable: Records available upon request.

5.6.3.1 STD (c) Items not inherently considered GFE/GFP because of its usage by government personnel will be added to the materials list based on its usage and replacement rate. For these durable items of

Government-owned materials for the performance of the contract the contractor shall notify the Property

Administrator of the changes in quantity during the replacement of each item and prepare written procedures and maintain stocking records pursuant to the terms and conditions of the contract, which at a

minimum shall include basic descriptive information on every item of Government-owned materials,

purchase documents, receiving documentation, accounting, storing, identification, protecting and issuing

Government-owned materials from stock. These procedures shall ensure that Government-owned materials

will be used for the purposes authorized in the funding contract.

AQL: 100%

Deliverable: Records available upon request.

5.6.3.1.1 Perform and document at least quarterly and at contract completion, inventories of stocked materials to determine shortages, losses, damage or destruction of Government-owned materials. Report any and all losses to the Property Administrator.

5.6.3.1.2 Maintain stock issuing receipts that includes the Government contract number, account number,

quantities and date issued, the person(s) name receiving item(s), and signature.

AQL: 100%

Deliverable: Records available upon request.

5.6.3.1.3 Submit timely stock materials inventory valuation reports by Government Property Administrator

when requested for required monthly, quarterly, annual and closeout reports to the government.

AQL: 100%

Deliverable: Records available upon request.

5.6.3.1.4 Make available and provide all records for purchasing, accounting, receiving, issuing and

inventories of Government-owned materials when requested by for Audits, Financial Reports, and Property

Management System Analysis. Maintain these records through the contract end date.

AQL: 100%

Deliverable: Records available upon request.

5.6.3.1.5 At contract closeout, request disposition instructions from the Government for contract materials

remaining on hand and not used based on the valuation provided by the Responsible Department.

AQL: 100%

Deliverable: Records available upon request.

5.6.3.1.6 The COR or the Property Administrator must approve in writing the transfer and use of all

residual materials to a follow-on contract, a different contract, donation to the local economy, order it

transferred or delivered back to the government.

AQL: 100%

Deliverable: Records available upon request.

5.6.3.1.7 The contractor shall not utilize any residual government-owned materials after the completion,

expiration or termination of the government contract, for any reason, unless authorized in writing by the

government.

AQL: 100%

Deliverable: Records available upon request.

5.7 Logistics Support.

5.7.1 The Contractor shall provide logistics support for the Operations and Logistics Missions to ensure the proper inventorying and safeguarding of all Government property. The Contractor shall be responsible for logistical requirements in support of receipt of new and replacement supplies and equipment, whether local purchase or arrival by aircraft or vehicle.

5.7.1.1 STD: The Contractor shall assist with logistics support of 10 storage facilities, to include organization, maintenance, and storage of materials and equipment within.

AQL: 100%

Deliverable: Records available upon request.

5.8 Material Cargo Movement.

5.8.1 The Contractor shall upload and download cargo/equipment from aircraft and

trucks. Approximately 10 aircraft per year is estimated. The types of cargo/equipment to be moved

includes pallets, stand alone equipment, and roll on/roll off cargo. Equipment requiring movement may

also arrive and depart by ground transportation. The amount of cargo being moved by ground

transportation is approximately one (1) truck load per month. Once cargo is downloaded, the Contractor

shall move it to a designated location on base.

AQL: 100% equipment move without damage

5.8.2 Material handling certification requriemnts for personnel performing cargo and equipment moving services are required to be trained and certified per all applicable health and safety laws of the Host Nation. All required licenses, including but not limited to a forklift operator’s license, shall be available for inspection on site. Heavy equipment/forklift operators shall possess appropriate licensures in accordance with safety laws of the Host Nation.

AQL: 100%

Deliverable: Records available upon request.

5.9 Billeting and Facility Oversight.

5.9.1 The Contractor shall perform billeting and facility oversight in support of USAWHC operations. This includes billeting, office and storage space, and other facility allocations.

AQL: 100%

Deliverable: Records available upon request.

5.9.1.1 STD (a): Billeting oversight includes the assignment of living space for assigned personnel, and ensuring rooms are ready for occupancy. This includes verifying that rooms are clean, supplied, and equipment (Microwave ovens, refrigerators, air conditioners, etc.) are fully operational.

AQL: 100%

Deliverable: Records available upon request.

5.9.1.1 STD (b): Inspections of living and common use areas shall be conducted daily to ensure all equipment and utilities are fully functional. All other facilities shall be checked weekly.

AQL: 100%

Deliverable: Records available upon request.

5.9.1.1 STD (c): Contractor shall provide for arrangement, installation, monitoring, and payment of utility services which are reimbursed under the ODC CLIN. This includes: Internet (Oficial Business), water, sewage, trash disposal, telephone service, and electricity. Disruptions of service shall be immediately reported and service restored within 24 hours or earliest ability of utility company.

AQL: 100%

Deliverable: Records available upon request.

5.9.1.1 STD (d): Billeting and facility space assignment shall be made in direct coordination and approval of the USAWHC COR(s). The Contractor shall implement a room assignment check-in and check-out system to record occupants. The Contractor shall be responsible for key control and property receipt. A billeting master list shall be established to indicate occupied and vacant rooms, and updated daily.

5.9.1.1 STD (e): Contractor shall move office furnishings (desks / chairs) and billeting furnishings (beds /

refrigerators, etc.), to accommodate facilities changes.

AQL: 100%

Deliverable: Records available upon request.

5.10 Reserved

5.11 Fuel Management

5.11.1 The contractor shall be responsible for the quality surveillance and accountability of

aviation fuel designated for U.S. aviation assets.

AQL: 100%

Deliverable: Records available upon request.

5.12.1.1 STD (a): The ordering of jet fuel shall be conducted through the Security Cooperation Office (SCO) Logistics Office. The contractor shall notify the SCO Logistics Office of the number of gallons required and the unit requesting the fuel. All aviation fuel will be ordered by the SCO Logistics Group and paid for by the deployed units. All aviation fuel shall be stored at the Colombian Air Force (COLAF) POL tanks on Apiay.

AQL: 100%

Deliverable: Records available upon request.

5.11.1.1 STD (b): The contractor shall escort the fuel delivery tankers on base. Contractor shall verify right type of fuel, right quantity on receipt paperwork, and verify the COLAF tank has sufficient ullage to receive fuel. Contractor shall verify seal numbers/locks have not been tampered with and match paperwork. Contractor shall use PPE, and a glass jar to take a sample of fuel for visual examination for water and or

contaminants. Contractor will assist in ensuring the number of gallons ordered, equals the number of gallons delivered/received. Contractor will describe fuel receipt procedures in Fuel Managers SOP.

AQL: 100%

Deliverable: Records available upon request.

5.11.1.1 STD (c): The host nation or a leased fuel truck with operator shall be responsible for the dispensing of fuel to U.S. aviation assets. When dispensed, the truck operator shall prepare a fuel ticket containing the aircraft tail number, unit, amount of fuel received, date, and the written name and signature of the pilot or mechanic receiving the fuel. The Fuels E will receive a copy of the receipt for accountability and accounting of on- hand balance of fuel.

AQL: 100%

Deliverable: Records available upon request.

5.11.1.1 STD (d): The contractor shall be responsible for maintaining a fuel balance sheet for each deployed unit and, reflect on-hand balance by subtracting the number of gallons received from the number of gallons dispensed. An Excel spreadsheet is an acceptable means of tracking fuel balances and shall contain: Date fuel is dispensed, tail number of aircraft receiving fuel, number of gallons dispensed, unit receiving the fuel, and the name of the U.S. Government representative who signed for the fuel.

AQL: 100%

Deliverable: Records available upon request.

5.11.1.1 STD (e) The contractor shall maintain a Standard Operating Procedure (SOP) that will describe

responsibilities, safety, refueling safety, receipt procedures, fuel requisition process, accounting, quality

surveillance, firefighting, and spill prevention. This SOP shall be included in the Quality Control Plan.

AQL: 100%

Deliverable: See Quality Control Plan

5.11.1.1 STD (f): The contractor shall be responsible for the quality of fuel dispensed to U.S. aviation assets. The contractor shall develop, establish and maintain a quality surveillance program IAW MIL-STD-3004A for unit-owned products from the point of receipt on the installation to the point of sale. The program shall be in accordance MIL-STD-3004A and be in effect from receipt to end-item issue. Quality problems involving

unit owned product (e.g.: off-spec product, downgrading of product, etc.) shall be addressed as outlined in

this Standard. On a weekly basis the contractor shall conduct an Aqua-Glo and Millipore testing of host

nation fuel pits and leased fuel truck. Any irregularities will be reported immediately to the aviation unit

leadership and Contract Site Manager. Until corrected all refueling of U.S. aviation assets will stop. For

assistance with quality issues that are outside of the capabilities of the contractor contact the Army South

Fuels Manager for assistance. On a monthly basis, the contractor shall draw fuel samples from the host

nation fuel pits and the leased truck. These samples shall be marked as to sample location and date, placed

in separate containers, and sent to Bogota for testing.

AQL: 100%

Deliverable: Records available upon request.

5.11.1.1.1 A quality surveillance log shall be maintained and kept on file for a minimum of two years. All fuel samples and documentation shall become the property of the U.S. Government, and remain on-site,

without stipulation.

AQL: 100%

Deliverable: Records available upon request.

5.12 RESERVED

5.13 Environmental Services.

5.13.1 The Contractor shall develop, implement, and maintain an Environmental Program Common Operating Plan (COP) to ensure Environmental performance in accordance with DoDM 4715.05 Overseas Environmental Baseline Guidance Document (OEBGD), Unified Facilities Criteria (UFC) 3-230-02 O&M Water Supply Systems, and DoD Hazard Communication (HAZCOM) Program DODI 6050.05. The Common Operating Plan shall be submitted within 60 days of award to the Contracting Officer and COR for coordination, review, and approval. The COP shall include aspects of Pest Control Management, Environmental Program, Environmental Compliance Services, Environmental Office Services, and Environmental Pollution Prevention Service in accordance with OEBGD. The Government has determined that OEBGD procedures listed in this PWS are applicable at CSL Apiay.

AQL: 100%

Deliverable: Records available upon request.

5.13.1.1 STD (a): Hazardous Waste Operations and Emergency Response (HAZWOPER) Training. In accordance with OEBGD, all contractor personnel are required to complete HAZWOPER training. Certificates of completion are due within 60 days of award and annually thereafter.

AQL: 100% completion, 90% timely

Deliverable #14: HAZWOPER Training certificates

5.13.1.1 STD (b): Environmental Management System. The Contractor shall support for the implementation and maintenance of Environmental Management System (EMS), ensuring compliance with, but not limited to (1) EO 13423, "Strengthening Federal Environmental, Energy and Transportation Management" 24 January 2007; (2) EO 13514, "Federal Leadership in Environmental, Energy and Economic Performance" 05 October 2009; (3) International Standard ISO 14001:2004, "Environmental Management Systems (EMS)". Activities that can cause real or potential significant environmental impact are solid waste generation, hazardous waste generation, energy generation, emissions, effluents, spills, and energy consumption. The EMS is designed to ensure that all military personnel, civilian employees, and

contractors of tenant organizations are aware of how their work supports or is in conflict with the EMS and

are competent to perform their roles, responsibilities and authorities while supporting Apiay's mission.

Contractors and their personnel are also required to be aware of, and comply with, Apiay’s EMS policy

when performing work at Apiay.

AQL: 100%

Deliverable: Records available upon request.

5.13.1.1 STD (c): Storage of Hazardous Material. Hazardous material classes shall be stored in separate GSA cabinets.

AQL: 100%

Deliverable: Records available upon request.

5.13.1.1 STD (d): Spill Prevention and Cleanup. The Contractor shall provide complete response, containment, and cleanup services for all Contractor caused spills. All spills shall be included in the daily SITREP and coordinated with the COR and Base Environmental.

AQL: 100%

Deliverable: Records available upon request.

5.13.1.1 STD (e) Hazardous Materials (HAZMAT) and Waste Programs. Handle, store, transport, and dispose of hazardous materials and wastes in accordance with all base and Colombian laws and policies. All excess or expired hazardous materials must be handled in accordance with AR 710–2 and Apiay procedures. This includes, but is not limited to: pesticides, POL products, hazardous gases, lead acid batteries, anti-freeze, and ozone depleting substances. Comply with AR 710-7, and OEBGD.

AQL: 100%

Deliverable: Records available upon request.

5.13.1.1 STD (f): Environmental Incidents. The Contractor shall provide written notification within 1 hour of an environmental occurrence and a first draft of full root cause analysis within 15 days, to include

recommendations for reducing risk and recurrence of the incident. All incident reporting and completed

investigations shall be completed and delivered to the COR within 30 days per occurrence.

AQL: 100%

Deliverable: Records available upon request.

5.13.1.1 STD (g): Recurring Environmental Reports. The Contractor shall provide monthly data, reports, trend analysis, and recommendations (including, but not limited to: BOSS Contract/PWS, legal requirements, and in accordance with Environmental Management Manual (EMM), TE-DPW-007, Solid Waste Annual Reporting (SWARWEB), AEWRS (Army Energy and Water Reporting System). The Contractor shallprovide monthly follow up on execution and development of projects, purchases, and investments required in support of regulatory compliance (USG, Local, Reports), as well as support and execute administrative tasks required for achieving compliance to be reported to authorities.

AQL: 100%

5.13.1.1 STD (h): Pest Control. At minimum, the Contractor shall schedule and perform quarterly fumigation of all buildings and grounds for vector control. Additionally, the Contractor shall remove all rodents and other small animals that may be present in the areas assigned in this contract.

AQL: 100%

Deliverable: Records available upon request.

5.14 Phase-out.

5.14.1 Contractor shall provide all required information to the incoming Contractor.

Information includes, but not limited to; property list(s) to include property locations, overview of the

Apiay footprint and inclusive facilities, introduction to key personnel on base and basic rules of vehicle

operation within the air base.

5.15. Service Contract Reporting (SCR): The contractor shall report all contractor labor hours (including subcontractor labor hours) required for performance of services provided under this contract for the USSOUTHCOM via a secure data collection site

Reporting inputs will be for the labor executed during the period of performance during each Government fiscal year (FY), which runs October 1 through September 30.  While inputs may be reported any time during the FY, all data shall be reported no later than October 30 of each calendar year using http://sam.gov.

PART 6

APPLICABLE PUBLICATIONS

6.  Applicable Publications (Current Editions)

6.1. The Contractor must abide by all applicable regulations, publications, manuals, and local policies and procedures.

6.1.1 DOD Commercial Use of Imagery Guidelines

6.1.2 AR 190-13, The Army Physical Security Program

6.1.3 Army Directive 2014-05, Policy and Implementation Procedures for CAC Credentialing Access for Uncleared Contractors

6.1.4 DOD 5220.22-M, National Industrial Security Program Operating Manual

6.1.5 Defense Federal Acquisition Regulation Supplement (DFARS)

6.1.6 Joint Travel Regulation (JTR)

6.1.7 AR 735-5, Policies and Procedures for Property Accountability

6.1.8 DODD 8570.01, Information Assurance Training Certification and Workforce Management

6.1.9 DOD 8570.01-M, Information Assurance Workforce Improvement Program

6.1.10 AR 25-2, Information Assurance

6.1.11 DODI 3020.41, Contractor Personnel Authorized to Accompany the U.S. Armed Forces

6.1.12 USSOUTHCOM SC Regulation 40-501, Medical Suitability Screening Regulation

6.1.13 DODI 2000.16 DoD Antiterrorism (AT) Program

6.1.14 FR 36, Tittle 36, Vol 3, Subchapter B, chapter XII, Code of Federal Regulations, Record Management, 29 September 2011.

6.1.15 DoDI 4715.17, Environmental Management Systems, 15 April 2009, Incorporating Change 2, 31 August 2018.

6.1.16 DoDI 5015.02, DoD Records Management Program, 24 February 2015, Incorporating Change 1, 17 August 2017.

6.1.17 DoDM 4715.05, Volume 1, Overseas Environmental Baseline Guidance Document, Conservation,

29 June 2020.

6.1.18 DoDM 4715.05, Volume 2, Overseas Environmental Baseline Guidance Document, Air and Toxics, 29 June 2020.

6.1.19 DoDM 4715.05, Volume 3, Overseas Environmental Baseline Guidance Document, Water, 29 June

2020.

6.1.20 DoDM 4715.05, Volume 4, Overseas Environmental Baseline Guidance Document, HM, Storage Tanks, Spills, and Pesticides, 29 June 2020.

6.1.21 DoDM 4715.05, Volume 5, Overseas Environmental Baseline Guidance Document, Waste, 29 June 2020.

6.1.22 DODM 4150.07-M, Volume 1, DoD Pest Management Training and Certification Program, The DoD Plan for Pesticide Applicators, 23MAY2013, Incorporating Change 2, August 31, 2018.

6.1.23 DODM 4150.07-M, Volume 2, DoD Pest Management Training and Certification Program, The DoD Plan for Non-Federal Pesticide Applicators, 23 May 2013, Incorporating Change 2, August 31, 2018.

6.1.24 DoDM 4150.07-M Volume 3, DoD Pest Management Training and Certification Program, The DoD Plan for the Federal Insecticide, Fungicide, and Rodenticide Act Pesticide Applicators, 23 MAY2013, Incorporating Change 2, August 31, 2018.

6.1.25 DLAI 4145.11_TM 38-410_NAVSUP PUB 573_AFJMAN 23-209_MCO 4450.12A_DLSC-LDD, Storage and Handling of Hazardous Materials, 13 Jan 1999.

PART 7

ATTACHMENT/TECHNICAL EXHIBIT LISTING

7.  Attachment/Technical Exhibit List:

7.1 Attachments:

7.1.1 Attachment 1 – Performance Requirements Summary (below)

7.1.2 Attachment 2 – CDRL / Deliverables Schedule (below)

7.1.3 Attachment 3- DD 254- Department of Defense Contract Security Classification Specification

7.1.4 Attachment 4- GFP List

7.1.5 Attachment 5 - Materials List

7.1.6 Attachment 6 Incidental Property List

7.2 Technical Exhibits:

7.2.1 Technical Exhibit A – Estimated Workload Data (below)

7.1.2 Technical Exhibit B- Apiay Footprint

7.1.3 Technical Exhibit C- Apiay Mowing

7.1.4 Technical Exhibit D – Apiay Buildings

ATTACHMENT 1

Performance Requirements Summary

The contractor service requirements are summarized into performance objectives that relate directly to mission essential items. The standard should relate to timeliness, quality, or quantity (metrics) of service required by the Contractor is stated in the PWS verbiage.  The performance threshold briefly describes the minimum acceptable levels of service required for each requirement.  These thresholds are critical to mission success.

| Performance Objective | Standard | Performance Threshold (This is the maximum error rate. It could possibly be “Zero deviation from standard”) Acceptable Quality Levels (AQL’s) | Method of Surveillance |
| --- | --- | --- | --- |
| PRS#1 – PWS 5.2.1.1 The Contractor shall perform preventive maintenance of Government facilities, GFP vehicles, installed equipment and mission support equipment. | 5.2.1.1 (a) STD: The Contractor shall establish a preventive maintenance schedule and perform preventive maintenance of installed and mission support equipment and facilities as prescribed by manufacturer or warranty recommendations/requirements. Maintenance records for all services completed shall be available for inspection by the U.S. Government upon request. All records shall be in English or be bilingual in English and Spanish. | AQL: 90% on time based on review of Contractor’s maintenance records against Deliverable #X Preventive maintenance schedule. | Periodic Inspection |
| PRS #2 - PWS 5.2.2.1 The Contractor shall make minor repairs of Government facilities, vehicles, installed equipment and mission support equipment. | 5.2.2.1 (b) STD Any work order that impacts the immediate health and safety of equipment or personnel, or must be completed within eight (8) hours, is considered an Emergency work order. Examples include electrical live wire or plumbing failures/leaks that can cause illness and/or unsanitary conditions. Emergency work orders shall be immediately acted upon and corrected within eight (8) hours. | AQL: No more than one (1) Emergency acted upon in more than 8 hours per contract period. | Periodic inspection |
| PRS #3 - PWS 5.3.1 Mowing grass and weeds, trimming trees, hedges and bushes. | 5.3.1.1 STD: The approximate area to be mowed/trimmed is four acres and shall be serviced when grass reaches a height not to exceed four (4) inches. This is estimated weekly, but may be required more or less frequently. Trees, hedges, and bushes shall be trimmed as required to maintain a uniform and neat appearance. | AQL: NTE height shall not be exceeded more than one day per month. Excusable delay in performance on days in which it rains. | Periodic Inspection |
| PRS #4 - PWS 5.4.1 The Contractor shall perform housekeeping / janitorial services to include cleaning of 94 billeting facility rooms and common facilities - six (6) offices, and 1,500 square feet of common areas (bathrooms, gyms, kitchens, etc.). | 5.4.1.1 STD (a): Floors shall be free of dirt; bathrooms and showers shall be cleaned and disinfected; surfaces shall be free of dust; trash containers shall be stocked sufficiently with trash bags to meet the needs of a seven (7) day period; toilet paper shall be stocked sufficiently to meet the needs of a 24-hour period. | AQL: Minimum biweekly (twice per week) servicing of all areas, with standard met 95% of the time. Precise schedule shall be included in the Quality Control Plan. | Periodic Inspection, customer complaints |
| PRS #5 – PWS 5.5.1 The Contractor shall perform a variety of administrative tasks to assist U.S. personnel and Very Important Persons (VIP)s with entry into the air base. Requires coordination with the CACOM 2 security and includes meeting, escorting / transporting personnel to and from base entry points to various locations on Apiay. Contractor coordination with CACOM 2 Security shall be initiated at least 2 weeks in advance of arrival of U.S. personnel and VIPs. | 5.5.1.1 STD (a) Contractor shall perform translation of correspondence from English to Spanish or Spanish to English for USG personnel. Translation of correspondence includes the preparation, distribution and processing of base access security badges, also known as OFICIOs, with the CACOM 2 Command Group. Documents shall be free of typing and translation errors. | AQL: 100% timely and accurate, demonstrated by U.S. personnel gaining base access as scheduled without Contractor caused delay. | Periodic Inspection |
| PRS #6 – PWS 5.5.2 Prepare and e-mail a daily (including weekends/holidays) Situational Report (SITREP) to the USAWHC Combined Operations Integration Cell (COIC) and the COR(s)… The SITREP will be unclassified and used to report the status of site manager and all U.S. personnel, VIPs and tenants in Temporary Duty (TDY) status. The SITREP will be also used to report any issues or problems at the FOS. | 5.5.2.1 STD (a) The Contractor shall submit the daily SITREP to USAWHC to COIC and COR(s) no later than 1700 local (Apiay). | AQL: 90% Timely. 90% Accurate on monthly basis Deliverable: SITREP attachment with Personnel Quantity, Visitor, Report any situation or issues, and Force Protection Level. | Periodic Inspection |
| PRS #7 – PWS 5.6.1.1 The Contractor shall provide property accountability support for Logistics Missions to ensure the proper inventorying and safeguarding of all Government property. In accordance with FAR 52.245-1, the contractor is required to inventory GFP as stated the approved Property Management Plan/System (PMS/P). | 5.6.1.1 STD (a) For all Government Property for this contract, the Contractor shall submit a Property Management Plan (PMP) no later than 10 days after the start of the base period to the COR(s) and the KO that addresses the requirements as listed in FAR Clause 52.245-1, Government Property. | AQL: Pass or Fail, reassessed during annual PMSA Deliverable: Property Management Plan | Periodic inspection |
| PRS #8 – PWS 5.8.1 The Contractor shall assist with uploading and downloading cargo/equipment from aircraft and trucks…Once cargo is downloaded, the Contractor shall move it to a designated location on base. | 5.8.1.1 STD (a): Three hours prior to the arrival/departure of aircraft or ground transportation, the Contractor shall have personnel and all equipment ready and operational to receive or ship cargo. Contractor shall be responsible for accident or incident free operations when operating cargo movement equipment. Contractor shall safely operate cargo movement equipment to include forklifts, trucks, tugs, pallet trailers and other associated equipment. | AQL: 100% movement without any property damage | Random Sampling, customer comments |
| PRS #9 – PWS 5.9.1 The Contractor shall perform billeting and facility oversight in support of USAWHC operations. Billeting oversight includes the assignment of living space for assigned personnel, and ensuring rooms are ready for occupancy... This includes verifying that rooms are clean, supplied, and equipment (refrigerators, air conditioners, etc.) are fully operational. | 5.9.1.1 STD (b): The Contractor shall implement a room assignment check-in and check-out system to record occupants. The Contractor shall be responsible for key control and property receipt. A billeting master list shall be established to indicate occupied and vacant rooms, and updated daily. | AQL: 90% daily accuracy, available to COR upon request. | Random inspection |
| PRS #11 – PWS 5.11.5.1 The contractor shall maintain an Standard Operating Procedure (SOP) that will describe responsibilities, safety, refueling safety, receipt procedures, fuel requisition process, accounting, quality surveillance, firefighting, and spill prevention. The SOP shall be submitted for approval by the COR within 30 calendar days of contract award. Corrections shall be submitted within 7 calendar days of COR notification. A quality surveillance log shall be maintained and kept on file for a minimum of two years. | 5.11.5.1.1 STD (a): COR approved Fuels SOP and all fuel samples and documentation shall become the property of the U.S. Government, and remain on-site, without stipulation. | AQL: Documentation in accordance with approved SOP available on site, provided to COR within 3 days of request. 100% compliance | Random Sampling |
| PRS #12 – PWS Contractor/subcontractor personnel shall possess the qualifications identified in PWS sections 1.6.7, 1.6.10, 1.6.19, 1.6.20 and 1.6.21 | See PWS sections 1.6.7, 1.6.10, 1.6.19, 1.6.20 and 1.6.21 | 100% Compliance | Annual inspection |
| PRS #13 – PWS RESERVED |  |  |  |
| PRS #14 – PWS RESERVED |  |  |  |
| PRS #15 – PWS RESERVED |  |  |  |
| PRS #16 – PWS RESERVED |  |  |  |
| PRS #17 - 5.16. Service Contract Reporting (SCR): Service Contract Reporting PWS para. 5.14 and CLIN X006. | The Contractor shall completely fill in all the information in the format at the following web address http://sam.gov . The contractor shall provide the estimated total cost (if any) incurred to comply with this reporting requirement. Reporting period shall be the period of performance not to exceed 12 months ending September 30 of each government fiscal year and must be reported by 31 October of each calendar year. If contract period of performance ends prior to September 30, the contractor has 30 day from end date of the contract to complete the SCR requirement. (as applicable) | 100% Compliance | 100% Inspection |

ATTACHMENT 2

Deliverables Schedule

| Deliverable | Frequency | # of Copies | Medium/Format | Submit To |
| --- | --- | --- | --- | --- |
| 1. Quality Control Plan PWS 1.6.1.1 | Once within 30 days of contract award. | One | Electronic. Contractor Format. | Contract KO Contract COR |
| 2. AT Level I training certificates of completion PWS1.6.19.1 | Once within 30 days of contract award; once within 30 days of new personnel employment; annually thereafter for all employees. | One | Electronic. Government Trainer Format. | Contract COR |
| 3. TARP training certificates of completion PWS 1.6.19.5 | Once within 30 days of contract award; once within 30 days of new personnel employment; annually thereafter for all employees. | One | Electronic. Government Trainer Format. | Contract COR |
| 4. Level 1 OPSEC Training PWS 1.6.19.7 | Once by start of base period; once within 30 days of new personnel employment. | One | Electronic. Government Trainer Format. | Contract COR |
| 5. Synchronized Pre-deployment and Operational Tracker (SPOT) PWS 1.6.22 | Upon award or employment of new personnel | One | Electronic. Government Trainer Format. | Contract KO https://spot.dmdc. mil/ |
| 6. Contractor’s Personnel Qualifications and Certifications Listing PWS 4.1.1 | Prior to performance, any change thereafter. | One | Electronic Contractor Format | Contract COR |
| 7. Situational Report (SITREP) PWS 5.5.1.1 | Daily | One | Electronic. Government Format. | USAWHC COIC Contract COR |
| 8. 100% Inventory Of Government Property PWS 5.6.1. | Per PBO, Historically Every Six Months. | One | Electronic. Government Format. | Contract COR |
| 9. Property Management Plan for Government Furnished Property PWS 5.6.1.1 | Once within 60 days of contract award. | One | Electronic. Contractor Format. | Contract KO Contract COR |
| 10. DA Form 2062, Hand Receipt PWS 5.6.1.1 | As Required. | One | Electronic or Manually. Government Format. | MILGRP Property Book Officer |
| 11. Copies of utilities invoices to include water, sewage, electricity, trash disposal, land line phone service, and wireless internet. PWS 5.9.1.1 | Monthly. | Once copy of each. | As an attachment to Contractor’s monthly invoice. Utility Company(s) Formats. | Wide Area Work Flow https://wawf.eb.mil/ |
| 12. Fuel tickets / balance log PWS 5.11.1.1 STD (c): | As Required | One | Electronic or Manual | Contract COR |
| 13. Two quotes for repair / replacement of equipment. PWS 5.2.2.2 (a) STD | As Required | One | Electronic or Manual | Contract COR |
| 14. HAZWOPER Training certificates PWS 5.13.1.1 STD (a): | Once within 30 days of contract award; once within 30 days of new personnel employment; annually thereafter for all employees. | One | Electronic or Manual | Contract COR |
| 15. Environmental incident reporting and completed investigations PWS 5.13.1.1 STD (f): | Within 30 days per occurrence. | One | Electronic or Manual | Contract COR |
| 16. Environmental reports PWS 5.13.1.1 STD (g): | Monthly | One | Electronic or Manual | Contract COR |

TECHNICAL EXHIBIT A

Estimated Workload Data

| ## ITEM | NAME | ESTIMATED QUANTITY |  |
| --- | --- | --- | --- |
| 1 | Site Manager – Full Time | 2080 | Hours / Year |
| 2 | Fuel Manager – Full Time | 2080 | Hours / Year |
| 3 | Housekeeping x 3 Full Time | 6240 | [Hours / Year |
| 4 | Maintenance x 3 Full Time | 6240 | Hours / Year |
| 5 | Logistics / Supervisor – Full Time | 2080 | Hours / Year |