| SUBJECT* | JERON Nurse Call Support |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 25704 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24526Q0474 |
| RESPONSE DATE/TIME/ZONE | 04-29-2026 8:00 EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 10 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| PRODUCT SERVICE CODE* | J065 |
| NAICS CODE* | 541511 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office 5 (NCO 5) 90C NCO 5 1540 Spring Valley Dr. Huntington WV 25704 |
| POINT OF CONTACT* | CONTRACT SPECIALIST JENNIFER ELKINS jennifer.elkins2@va.gov |

ADDITIONAL INFORMATION

| AGENCY’S URL | https://www.va.gov/clarksburg-health-care/ |
| --- | --- |
| URL DESCRIPTION | Louis A. Johnson Veterans' Administration Medical Center |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

Jeron Nurse call support services

Veterans Health Affairs, Network Contracting Office 5, is issuing this Notice of Intent to Sole Source in order to identify any potential sources that have the resources and capabilities to provide Help Desk Support Services for the Jeron Nurse Call System, including the Software Support and Assurance, Louis A. Johnson VA Medical Center,1Medical Center Drive, Clarksburg, WV 26301.

The government is contemplating a Base +4 option period Firm Fixed Price contract to satisfy this requirement and meet the needs of the Louis A. Johnson VA Medical Center.

INTERESTED & CAPABLE RESPONSES

NCO 5 is seeking responses from businesses that are interested in this procurement and consider themselves to have the resources, rights, and capabilities necessary to provide these services.

Please respond with your:

•	Business name

•	Business type

•	Socio-economic status (e.g., Veteran-Owned, Woman-Owned, Disadvantaged Small Business, 8(a), etc.)

•	Person of contact (including telephone number & email address)

•	GSA Contract number if applicable

•	DUNS number and SAM UEI number

•	Capability statement

*	MUST PROVIDE Authorized Distributor Letter OR RESPONSE WILL BE DISCARDED

Responses must be submitted by 8:00 AM (EST) Wednesday, April 29, 2026.  Responses to the information requested above may be submitted via email to jennifer.elkins2@va.gov No telephone calls will be accepted.

DISCLAIMERS

This Notice of Intent to Sole Source does not constitute a solicitation. All information received in response to this notice that is marked proprietary will be handled accordingly in accordance with (IAW) Federal Acquisition Regulation (FAR) 15.201(e).  Responses to this notice are not offers and cannot be accepted by the Government to form a binding contract. Responders are solely responsible for all expenses incurred associated with responding to this RFI.

This Special Notice of Intent to Sole Source is for planning purposes ONLY.  The results of this notice will assist in the development of (1) the requirement, and (2) the acquisition strategy (e.g., small business set-aside, full and open competition, etc.).  VA assumes no responsibility for any costs incurred associated with the preparation of responses submitted as a result of this notice.

SCOPE OF WORK: Jeron Nurse Call Support Services

Louis A. Johnson VA Medical Center

1 Medical Center Dr.

Clarksburg, WV 26301

Contractor shall provide Help Desk Support Services for the Jeron Nurse Call System, including the Software Support and Assurance, located at the VAMC in Clarksburg, WV. All services shall be provided in accordance with the specifications, terms and conditions contained herein.

Period of Performance: The Period of Performance is for a base year plus four option years.

Base Year Period: 		May 1, 2026 to April 30, 2027

Option Year 1:			May 1, 2027 to April 30, 2028

Option Year 2:			May 1, 2028 to April 30, 2029

Option Year 3:			May 1, 2029 to April 30, 2030

Option Year 4:			May 1, 2030 to April 30, 2031

| Base Year |  |  |
| --- | --- | --- |
| Part | Description | QTY |
| 0001 | Remote Managed Services and 24/7 Help Desk | 1 |
| 0002 | Software Support and Assurance | 1 |

DESCRIPTION/SPECIFICATIONS/WORK STATEMENT

- SERVICES:

Contractor shall furnish the following:

- Support and Help Desk Services for the Nurse call System, located at the VAMC in Clarksburg, WV.

- 24/7 Support hours

- Software updates are provided.

2.  DEFINITIONS/ACRONYMS:

- Biomedical Engineering - Supervisor or COR designee.

- CO - Contracting Officer.

- COR - Contracting Officer's Technical Representative.

- PM - Preventive Maintenance Inspection.  Services which are periodic in nature and are required to maintain the equipment in such condition that it may be operated in accordance with its intended design and functional capacity with minimal incidence of malfunction or operative conditions.  Service shall consist of calibration and testing in accordance with the manufacturer’s latest established service procedures to ensure operation of equipment within manufacturer’s or VA’s performance specifications, whichever is the most rigorous.  PM includes cleaning, inspecting lubricating and testing all equipment.  All equipment shall be operated at least one complete operating cycle at the end of each PM

- CM – Corrective Maintenance. Maintenance tasks that are undertaken to identify, isolate and repair a fault in order to restore equipment, a machine or a system to an operational condition so it can perform its intended function. Services may include troubleshooting, disassembly, adjustment, repair, part replacement, realignment, and operational verification to manufacturer’s or VA’s performance specifications, whichever is most rigorous.

- FSE - Field Service Engineer.  A person who is authorized by the contractor to perform maintenance (corrective and/or preventive) services on the VA Outpatient Clinic premises.

- ESR - Vendor Engineering Service Report.  A documentation of the services rendered for each incidence of work performance under the terms and conditions of the contract.

- Acceptance Signature - VAMC employee who indicates FSE demonstrated service conclusion/status and user has accepted work as complete/pending as stated in ESR.

- Authorization Signature - COR's signature; indicates COR accepts work status as stated in ESR.

- NFPA - National Fire Protection Association.

- CDRH - Center for Devices and Radiological Health.

- VAMC - Department of Veterans Affairs Medical Center.

- OEM - Original Equipment Manufacturer

3.  CONFORMANCE STANDARDS:

Contractor shall provide services and material to ensure that the equipment functions in conformance with the latest requirements of NFPA-99, TJC, NEC, OSHA, HIPAA, Federal and VA security specifications and requirements as applicable. The equipment shall be maintained such that it meets or exceeds the performance specifications as established in the OEM’s technical specifications. Additional performance specifications that exceed the OEM specifications shall be specified in writing by the VA.

4.  SUPPORT

- Support for emergency issues is available 24x7x365. SCI will respond to Requests for Support based on the severity of the issue reported using the following priority order:

  - Critical Priority (system or production connection down): Critical Priority shall mean a software error that renders the software inoperable and causes a significant, time-dependent stoppage of business operations.

    - Critical Priority instances must be reported via telephone.

  - High Priority (significant business impact): High Priority shall mean a software error that causes the software to fail resulting in significant revenue or operational impact. Certain functions may remain operational. High Priority instances must be reported via telephone.

  - Medium Priority (low-impact failure): Medium Priority shall mean a software error causes a feature of the software to fail, resulting in a non-critical situation which allows business to remain in operation. A Medium Priority incident may include issues impacting a single user, or issues where the business impact under a Critical or High Priority is resolved, but ongoing research is needed to determine the root cause of the failure. Medium Priority instances may be reported via telephone, email or the Customer Web Portal (CWP).

  - Low Priority (assistance): Low Priority shall mean a software error that does not impact the day-to-day functionality of the software, or requests for general assistance/needs or questions. Low Priority instances may be reported via telephone, email or the Customer Web Portal (CWP).

    - Emergency Support is available 24x7x365 by calling (802) 658-1955

    - Email: northamerican-support@datainnovations.com

- All software patches, updates, enhancements, upgrades and new product release versions of  Software.

- All product and user documentation, training materials, tips & tricks and webinars.

5. HOURS OF COVERAGE:

- Support is provided 24x7x365

6.  SERVICE MANUALS:

The VAMC shall not provide service manuals or service diagnostic software to the contractor for use in providing services under this contract. The contractor shall obtain, have on file, and make available to its FSE's all operational and technical documentation, (such as:  operational and service manuals, schematics, and parts list), which are necessary to meet the performance requirements of this contract. The location and listing of the service data manuals, by name, and/or the manuals themselves shall be provided to the CO upon request.

7.  DOCUMENTATION/REPORTS:

The documentation will include equipment down time and detailed descriptions of the scheduled and unscheduled maintenance procedures performed, including replaced parts and prices (for outside normal working hour services) required to maintain the equipment in accordance with conformance standards. Such documentation shall meet the guidelines as set forth in the Conformance Standards. In addition, each ESR must at a minimum document the following data legibly and in complete detail:

- Name of Contractor

- Name of FSE who performed services.

- Contractor Service ESR Number/Log Number.

- Date, Time (starting and ending), Hours-On-Site for service call.

- VA Purchase Order Number(s) (if any) covering the call, if outside normal working hours.

- Description of Problem Reported by COR/User.

- Identification of Equipment to be serviced to include the following:  Equipment ID # or EE# from the bar-code, Manufacturer's Name, Device Name, Model#, Serial #, and any other Manufacturer's identification numbers.

- Itemized Description of Service(s) Performed (including Costs associated with after normal working hour services), including:  Labor and Travel, Parts (with part numbers) and Materials and Circuit Location of problem/corrective action.

- Total Cost to be billed.

- Signatures from the following:

  - FSE performing services described.

  - VA Employee who witnessed service described.

- Equipment downtime calculated in accordance with Conformance Standards.

NOTE: ANY ADDITIONAL CHARGES CLAIMED MUST BE APPROVED BY 	THE COR BEFORE SERVICE IS COMPLETED!

8.  REPORTING REQUIREMENTS:

The contractor shall report to Biomedical Engineering to "check-in" upon arrival and prior to performance of work under this contract.  This check-in is mandatory and can be accomplished in person or by phone contact.  When the service(s) is/are completed, the FSE shall document the services rendered on a legible ESR(s). The FSE shall be required to check out with the Biomedical Engineering Department (location to be specified at time of contract award) and submit the ESR(s) to the COR. All ESRs shall be submitted to the equipment user for an "acceptance signature" and to the COR for an "authorization signature."  If the COR is unavailable, a signed accepted copy of the ESR will be sent to the COR within 5 business days of work completion.

Failure to comply, either in whole or in part, with either the notification or ESR requirements will be deemed significant non-compliance with the contract and may be justification for termination of the contract.

9.  ADDITIONAL CHARGES:

There will be no additional charge for time spent at the site during, or after the normal hours of coverage awaiting the arrival of additional FSE and/or delivery of parts.

10.  REPORTING REQUIRED SERVICES BEYOND THE CONTRACT SCOPE:

The Contractor shall immediately, but no later than 24 consecutive hours after discovery, notify the CO and COR, (in writing), of the existence or the development of any defects in, or repairs required to the scheduled equipment which the Contractor considers he/she is not responsible for under the terms of the contract.  The contractor shall furnish the CO and COR with a written estimate of the cost to make necessary repairs.

11.  CONDITION OF EQUIPMENT:

The contractor accepts responsibility for the equipment described in Covered Equipment and Systems Section, in "as is" condition.  Failure to inspect the equipment prior to contract award will not relieve the contractor from performance of the requirements of this contract.

12.  COMPETENCY OF PERSONNEL SERVICING EQUIPMENT:

- Each respondent must have an established business, with an office and full-time staff.  The staff includes a "fully qualified" FSE and a "fully qualified" FSE who will serve as the backup.

- "Fully Qualified" is based upon training and on experience in the field. For training, the FSE(s) shall have successfully completed a formalized training program, for the equipment identified in Covered Equipment and Systems Section.  For field experience, the FSE(s) shall have a minimum of two years of experience, with respect to scheduled and unscheduled preventive and remedial maintenance on equipment identified in Covered Equipment and Systems Section.

- The FSE(s) shall be authorized by the contractor to perform the maintenance services as required.  All work shall be performed by "Fully Qualified" competent FSEs.  The contractor shall provide written assurance of the competency of their personnel and a list of credentials of approved FSEs for each make and model the contractor services at the VAMC.  The CO may authenticate the training requirements, request copies of training certificates or credentials from the contractor at any time for any personnel who are servicing or installing any VAMC equipment. The CO and/or the COR specifically reserve the right to reject any of the contractor's personnel and refuse them permission to work on the VAMC equipment.

13.  TEST EQUIPMENT:

Prior to commencement of work on this contract, the contractor shall make available if requested t a copy of the current calibration certification of all test equipment that is to be used by the contractor in performing work under the contract.  This certification shall also be provided on a periodic basis when requested by the VAMC. Test equipment calibration shall be traceable to a national standard.

14.  IDENTIFICATION, PARKING, SMOKING, CELLULAR PHONE USE AND VA REGULATIONS:

The contractor's FSE shall always wear visible identification while on the premises of the VAMC. It is the responsibility of the contractor to park in the appropriate designated parking areas.  Information on parking is available from the VA Police-Security Service.  The VAMC will not invalidate or make reimbursement for parking violations of the contractor under any conditions.  Smoking is prohibited inside any buildings at the VAMC.  Cellular phones and two-way radios are not to be used within six feet of any medical equipment.  Possession of weapons is prohibited.  Enclosed containers, including tool kits, shall be subject to search.  Violations of VA regulations may result in a citation answerable in the United States (Federal) District Court, not a local district state, or municipal court.

15.  COMPLIANCE WITH OSHA BLOODBORNE PATHOGENS STANDARD:

The contractor shall comply with the Federal/California OSHA Bloodborne Pathogens Standard.  The contractor shall:

- Have methods by which all employees are educated as to risks associated with bloodborne pathogens.

- Have policies and procedures that reduce the risk of employee exposure to bloodborne pathogens.

- Have mechanisms for employee counseling and treatment following exposure to bloodborne pathogens.

- Provide appropriate personal protective equipment/clothing such as gloves, gowns, masks, protective eyewear, mouthpieces for the employee during performance of the contract.

Records Management Language for Contracts Required

The following standard items relate to records generated in executing the contract and should be included in a typical Electronic Information Systems (EIS) procurement contract:

- Citations to pertinent laws, codes and regulations such as 44 U.S.C chapters 21, 29, 31 and 33; Freedom of Information Act (5 U.S.C. 552); Privacy Act (5 U.S.C. 552a); 36 CFR Part 1222 and Part 1228.

- Contractor shall treat all deliverables under the contract as the property of the U.S. Government for which the Government Agency shall have unlimited rights to use, dispose of, or disclose such data contained therein as it determines to be in the public interest.

- Contractor shall not create or maintain any records that are not specifically tied to or authorized by the contract using Government IT equipment and/or Government records.

- Contractor shall not retain, use, sell, or disseminate copies of any deliverable that contains information covered by the Privacy Act of 1974 or that which is generally protected by the Freedom of Information Act.

- Contractor shall not create or maintain any records containing any Government Agency records that are not specifically tied to or authorized by the contract.

- The Government Agency owns the rights to all data/records produced as part of this contract.

- The Government Agency owns the rights to all electronic information (electronic data, electronic information systems, electronic databases, etc.) and all supporting documentation created as part of this contract. Contractor must deliver sufficient technical documentation with all data deliverables to permit the agency to use the data.

- Contractor agrees to comply with Federal and Agency records management policies, including those policies associated with the safeguarding of records covered by the Privacy Act of 1974. These policies include the preservation of all records created or received regardless of format [paper, electronic, etc.] or mode of transmission [e-mail, fax, etc.] or state of completion [draft, final, etc.].

- No disposition of documents will be allowed without the prior written consent of the Contracting Officer. The Agency and its contractors are responsible for preventing the alienation or unauthorized destruction of records, including all forms of mutilation. Willful and unlawful destruction, damage or alienation of Federal records is subject to the fines and penalties imposed by 18 U.S.C. 2701. Records may not be removed from the legal custody of the Agency or destroyed without regard to the provisions of the agency records schedules.

- Contractor is required to obtain the Contracting Officer's approval prior to engaging in any contractual relationship (sub-contractor) in support of this contract requiring the disclosure of information, documentary material and/or records generated under, or relating to, this contract. The Contractor (and any sub-contractor) is required to abide by Government and Agency guidance for protecting sensitive and proprietary information.

INFORMATION SECURITY:

Per VA Handbook 6500.6 Appendix B:

- Due to the threat of data breach, compromise or loss of information that resides on either VA-owned or contractor-owned systems, and to comply with Federal laws and regulations, VA has developed an Information and Information Technology Security clause to be used when VA sensitive information is accessed, used, stored, generated, transmitted, or exchanged by and between VA and a contractor, subcontractor or a third party in any format (e.g., paper, microfiche, electronic or magnetic portable media).

- In solicitations and contracts where VA Sensitive Information or Information Technology will be accessed or utilized, the CO shall insert the clause found at 852.273-75, Security Requirements for Unclassified Information Technology Resources.

- The contractor, their personnel, and their subcontractors shall be subject to the Federal laws, regulations, standards, and VA Directives and Handbooks regarding information and information system security as delineated in this contract.

Per VA Handbook 6500.6 Appendix C:

- Information made available to the contractor or subcontractor by VA for the performance or administration of this contract or information developed by the contractor/subcontractor in performance or administration of the contract shall be used only for those purposes and shall not be used in any other way without the prior written agreement of the VA. This clause expressly limits the contractor/subcontractor's rights to use data as described in Rights in Data - General, FAR 52.227-14(d) (1).