Brand Name Item:

- Maximum dimensions: 9.4 in x 10.3 in x 8.6 in

- Weight: 13.2 pounds with battery

- Includes alternating current (AC) power cord for use in the United States

- Rechargeable Lithium-ion Battery Pack

- Integrated Wi-Fi and Bluetooth (functionality can also be disabled)

- 5-year hospital warranty

- Ability to function as adult or pediatric automated external defibrillator (AED)

- Operational manual included with each defibrillator which includes manufacturer’s instructions – Language, English

Physical/operational features

- Color LCD 800 x 600 touchscreen

- Integrated printer

- Ability to complete self-test directly with specific pre-connected electrodes

- Adult and pediatric dual sensor CPR feedback technology designed to negate “mattress effect”

- Masimo and Nellcor Pulse Oximetry Compatibility

- Non-Invasive Blood Pressure

- For use with adult, pediatric and neonatal patients

- Mainstream End tidal CO2 – Masimo

- Lock screen button

- Ability to operate with touchscreen or rotary dial

- Easily removeable parameter pods designed to decrease downtime for repairs

Configurations

- Offers extensive configuration options for customization including the ability to operate and power on either in AED Mode or Manual mode with the ability override and change with just a few button pushes

- Critical care transport (CCT) device (or configuration) offered

- Dedicated, IT configuration menu that is password-protected

- Configurable for either cardiopulmonary resuscitation (CPR) or shock-first driven protocols

- Energy sequences can be configured for single or multiple shocks with fixed or escalating energy levels

Batteries

- Rechargeable Lithium lon Battery

- Run-Time and power level indicator

- Designed to automatically re-calibrate, Stores history of use and maintenance

- Less than 7 seconds of ready charge time for a new fully charged battery

Clinical features

Defibrillation

- High-current Rectilinear Biphasic Waveform (RBW)

- Configurable option to power on and function as an automated external defibrillator (AED)

- Manual defibrillator to support pediatrics to adults including automatic safety features eliminating the risk of delivering an adult energy dose to a pediatric patient with the use of appropriate pads

- Pediatric specific AED analysis algorithm

Electrodes

- Specific adult and pediatric CPR electrodes

- Specific, color-coded packaging for both patient types

- Pediatric pads which clearly differentiate from adult pads

Audiovisual CPR Coaching Module

- Numeric display of chest compression depth and rate for adult and pediatric patients

- Visual and audio prompts to coach cardiopulmonary resuscitation (CPR) depth for adult patients

- Visual Release bar prompt to indicate appropriate release off the chest

- Metronome to coach rate for adult and pediatric patients.

- Elapsed time counter (since last detected chest compression)

Ventilation Volume Indicators

- Numeric display of tidal volume and ventilation rate delivered by manual oxygen bag

- Visual indicators on screen and cable indicating in or out of range measurements

- Can be used with intubated and non-intubated patients

Compression Artifact Filtering

- Algorithms which filters out chest compression artifact during on-going CPR to assist in reducing pause times

Non-invasive Pacing Capabilities

- 40 msec pacing pulse

- 4:1 button which allows clinicians to visualize the patient’s intrinsic rhythm without losing capture

Rapid Shock Capabilities

- Analyzes ECG rhythm by filtering out chest compression artifact in AED Mode

- Determines shock/no shock decision and enables ability to shock in under [5] seconds

Vitals Display for TBI Patient

- Technology indicated to provide graphical trend data for SpO2, Systolic BP (SBP), and EtCO2 as well as ventilation assistance relevant to the management of a TBI patient.

Shock Conversion Estimator (SCE) Module

- Algorithm which measures the probability that a shockable rhythm will be successfully converted by immediate defibrillation

- Utilizes AMSA measure developed by Weil Institute of Critical Care Medicine

Secondary Tablet

- Tablet based device and software which provides a secondary display of activity on the defibrillator screen

- Provides customized, real-time views of case data

- Ability to rewind, review, and playback data

Per VAAR 811.104 and 811.105, I certify the following regarding the above information:

            - The salient characteristics listed above are essential to the Government’s requirements.

            - To my knowledge, the restrictions listed above will not limit the acquisition to an item peculiar to one manufacture.

Name: Daniel Truong				Date: 4/16/2026

Title, Service: Biomedical Engineering

Telephone Number: (702) 321-1869