POL Shelters Repair – 4CAb

13 March 2026

PART 1

GENERAL INFORMATION

1.  GENERAL:  This is a non-personal service contract under which the personnel rendering the services are not subject, either by the contract’s terms or by the manner of its administration, to the supervision and control usually prevailing in relationships between the Government and its employees. The United States (U.S.) Government shall not exercise supervision or control over the Contractor’s employees performing the tasks herein. Such contract employees shall be accountable solely to the Contractor who, in turn shall be responsible to the U.S. Government.

1.1 Description of Services/Introduction:  The Contractor shall provide all personnel, equipment, tools, materials, vehicles, supervision, and other items necessary to perform the repairs on the three petroleum, oil, and liquid (POL) shelters of 404 Aviation Support Battalion (ASB).

1.2 Background:  404 ASB discovered that the POL shelters were no longer providing the temperature-controlled environment required for the safe storage of their POL in February 2026. 95% of the POL 404 ASB uses for aviation maintenance is required to be stored in a temperature-controlled environment of 60 to 80 degrees; resulting in the stock stored in the shelters becoming unusable.

1.3 Objectives:  The objective of this contract is to make the necessary repairs on 404 ASB’s three POL shelters to enable them to maintain the required temperature-controlled environment necessary for the safe storage of POL. The identified repairs, per POL shelter, are outlined below.

1.3.1 Shelter 1: 24587: Removal of old and installation of new HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O

THERMOSTAT, and KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES).

1.3.2 Shelter 2: 24588: Removal of old and installation of new HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O

THERMOSTAT, KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP.

1.3.3 Shelter 24589: Removal of old and installation of new KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP.

1.4 Scope:  The Contractor shall provide all personnel, equipment, tools, materials, vehicles, supervision, and other items necessary to remove the old heaters, light switch kits, and fans identified in para 1.3.1-1.3.3 and install the replacements.

1.4.1: Contractor shall package and ship the new heaters, light switch kits, and fans identified in paragraph 1.3.1-1.3.3 to 404 ASB.

1.4.2: Contractor shall remove the old heaters, light switch kits, and fans identified in paragraph 1.3.1-1.3.3 and dispose of them.

1.4.3: Contractor shall install the new heaters, light switch kits, and fans identified in paragraph 1.3.1-1.3.3 and test the inside of the shelters to ensure the temperature-controlled environment has been restored.

1.5 Period of Performance: 20 May 2026 to 20 June 2026

1.6 General Information:

1.6.1 Quality Control Plan (QCP):  The Contractor shall remove the old equipment and install the new equipment to restore a temperature-controlled environment to the three POL shelters.

1.6.1.1 The contractor shall develop and implement procedures to identify, prevent, and ensure non-recurrence of defective services.  The QCP shall be submitted within thirty (30) days of contract award.  After acceptance of the QCP, the contractor shall receive the contracting officer’s (KO) acceptance in writing of proposed changes to the QC procedures.  The contractor shall submit QCP changes within five (5) days to the KO and Contracting Officer’s Representative (COR) for review and approval prior to implementation.

1.6.1.2 The Quality Control Plan shall address as a minimum:

1.6.1.2.1 Inspection Program. Included shall be a quality control inspection program covering all general and specific tasks included in the contract scope of work.  It shall specify tasks or areas to be inspected on a scheduled or unscheduled basis, the manner in which inspections are to be conducted, the titles of the individuals who will perform the inspections, and the percentage of the work that will be inspected on a recurring basis.  In developing this inspection program, the Contractor shall identify the key activities and associated characteristics in each process that have a significant influence on specific services and provide for methods for evaluation of the selected characteristics.

1.6.1.2.2 Deficiency Identification.  The QCP shall include a method of identifying deficiencies in the quality of services performed before the level of performance becomes unacceptable as defined in the PRS.  This shall contain processes for corrective action without dependence upon Government direction.

1.6.1.2.3 Deficiency Correction. The program shall contain process control and process performance measurement procedures that shall include how the Contractor shall implement preventive corrective actions.  The Contractor shall demonstrate that it has designed quality into the delivery of services thereby mitigating the risk(s) associated with delivery of deficient or nonconforming services.

1.6.1.2.4 Documentation and Enforcement. The QCP shall include a method of documenting and enforcing quality control operations of both prime contractor and subcontractor work; including inspection and testing.

1.6.1.2.5 Trend Analysis. The QCP shall include a method of performing trend analysis and assessments through the use of metrics.

1.6.1.2.6 Surveillance Methods. The QCP shall contain specific surveillance techniques for all contract services.  The surveillance methods shall be comprehensive and adaptable to the reporting system of the plan.

1.6.2 Operations Security (OPSEC) SOP/Plan Requirements (As determined by AT/OPSEC Review): The Contractor shall implement and maintain an OPSEC program for preventing the disclosure of critical information or sensitive information which could jeopardize the Government’s ability to execute its mission or to adequately protect its personnel and/or equipment.  The Contractor shall develop an OPSEC Standing Operating Procedure (SOP)/plan within 90 calendar days of contract award to the Contracting Officer Representative (COR) or Contracting Officer (KO) to be reviewed and approved by the Government OPSEC Officer on the supporting installation.  The SOP must contain a training plan that includes an initial OPSEC brief, continuous awareness, and annual OPSEC training. Awareness/training includes, but not limited to information disclosure via letters, conversations, photographs, resumes, electronic mail (e-mail), Social media/networking sites, dissemination of information and documents disposal. OPSEC Program shall fully comply with the provisions of AR 530-1, Operations Security.

1.6.2 Quality Assurance (QA): The government shall evaluate the contractor’s performance under this contract in accordance with (IAW) the Quality Assurance Surveillance Plan.  This plan is primarily focused on what the Government must do to ensure that the contractor has performed IAW the performance standards and contract quality requirements are met.  Contract quality requirements” means the technical requirements in the contract relating to the quality of the product or service and those contract clauses prescribing inspection, and other quality controls incumbent on the contractor, to ensure the product or service conforms to the contractual requirements.  It defines how the performance standards will be applied, the frequency of surveillance, the performance threshold, and deductions, if applicable.

1.6.3 Recognized Holidays:

New Year’s Day					Labor Day

Martin Luther King Jr.’s Birthday			Columbus Day

President’s Day					Veteran’s Day

Memorial Day					Thanksgiving Day

Independence Day				Christmas Day

Juneteenth

1.6.4 Hours of Operation:  The contractor is responsible for conducting business between the hours of 0900 – 1700 Monday through Friday, except Federal holidays or when the Government facility is closed due to local or national emergencies, administrative closings, or similar Government directed facility closings.  For other than firm fixed price contracts, the contractor will not be reimbursed when the government facility is closed for the above reasons.  The Contractor must, at all times, maintain an adequate workforce for the uninterrupted performance of all tasks defined within this PWS when the Government facility is not closed for the above reasons.

1.6.5 Place of Performance:  The work to be performed under this contract will be performed at BLDG 9630 on Fort Carson, CO, the 404 ASB maintenance hangar. The three POL shelters (SN 24587, 24588, and 24589) are located behind the hangar.

1.6.6 Type of Contract: Firm-Fixed Price Contract. The Government anticipates the award of a Firm-Fixed Price contract.

1.6.7 Security Requirements:

1.6.7.1 Access and general protection/security policy and procedures: Contractor and all associated subcontractor employees shall provide all information required for background checks to meet installation access requirements to be accomplished by installation Provost Marshal Office, Director of Emergency Services or Security Office. Contractor workforce must comply with all personal identity verification requirements (FAR clause 52.204‐9, Personal Identity Verification of Contractor Personnel) as directed by DOD, HQDA and/or local policy. In addition to the changes otherwise authorized by the changes clause of this contract, should the Force Protection Condition (FPCON) at any individual facility or installation change, the Government may require changes in contractor security matters or processes.

1.6.7.2 Physical Security: The contractor shall be responsible for safeguarding all government equipment, information, and property provided for contractor use.

1.6.7.3 Escorts The Contractor and all associated sub-contractor employees performing services under this contract shall be escorted at all times by host nation security personnel or by an individual designated by the Contracting Officer Representative (COR) while accessing U.S. facilities or activities.

1.6.7.4 Personnel Security Clearance Requirements: Contractor personnel performing work under this contract must have an active personnel security clearance at DOD level in the Joint Personnel Adjudication System (JPAS) at time of the proposal submission and must maintain the level of security required for the life of the contract.  The security requirements are IAW with the attached DD Form 254, “Department of Defense (DOD) Security Classification Specification).  The Contractor shall ensure that contractor employees and sub-contractor employees performing services under this contract comply with FAR 52.204-2, Security Requirements when the employee has access to information classified “Confidential,” “Secret,” or “Top Secret.”  The Contract will ensure the employee complies with the Security Agreement (DD Form 441), including the National Industrial Security Program Operating Manual (DOD 5220.22-M), and any revisions to DOD 5220.22-M, notice of which has been furnished to the Contractor.

1.6.7.4.1 The contractor shall follow DOD Federal Acquisition Regulation Supplement (DFARS) clause 252.223-7004, Drug-free Work Force.  The contractor shall conduct drug tests, ensuring all top secret cleared contractor employees are tested at least once per year, each year of the contract, as well as when there is a reasonable suspicion that an employee uses illegal drugs.  The drug testing shall be at the contractor’s expense.  Positive drug test results shall be made available to both the KO and COR within 24 hours of known test results.  Records of drug testing shall be made available to the COR.

1.6.7.5 Background Checks:  The Contractor shall ensure contractor employees and subcontractor employees performing services under this contract have passed a security check conducted by the State Police Department of their U.S. residence.  Security checks that have been completed as part of a personnel security clearance background investigation, or a previous background check that was a condition of employment, meet this requirement.  Documentation of these checks will be made available to the KO or COR upon request.  The Government retains the right to exclude any employee from performance of duties under this contract if a background security check reveals an employee is a security risk.  The exclusion of an employee for security reasons will not relieve the Contractor from performance of services required under this contract.  If the Government determines additional background checks are required, at a minimum, and upon request from the Government, the Contractor shall provide to the KO or COR, the following information on any contractor or subcontractor employee performing services under this contract:

- Full birth name

- Married name (if applicable)

- SSN or local equivalent (ID card number)

- Date of birth

- Place of birth (city, country)

1.6.7.5.1 Background Check Notification Requirements:  If a background check on any employee or subcontractor employee performing services under this contract, whether the check was conducted as a condition of employment or as part of the contract with the Government, reveals any information from any source (including host country law enforcement) of criminal activity by Contractor employees, subcontractors, or subcontractor employees, the Contractor shall immediately notify the KO and COR of that information. The Contractor shall make notification of:

(1)  Traffic violations, other than parking, will be reported to the KO or COR only if the contract is for drivers for the Government;

(2)  Any suspicious activity by Contractor employees, subcontractors, or subcontractor employees the Contractor believes may pose a risk to U.S. or host nation national security or imminent risk of deadly bodily harm to any person; and

(3)  Any actions taken against Contractor employees, subcontractors, or subcontractor employees pursuant to this requirement.

1.6.7.5.2 Remedies. In addition to other remedies available to the Government, the Contractor’s failure to comply with the requirements of this paragraph my result in requiring the Contractor to remove a Contractor employee or employees from the performance of the contract.

1.6.7.5.3 Subcontracts. The Contractor shall include the substance of this paragraph and the preceding paragraph in all subcontracts.

1.6.7.6 Uncleared Contractor Common Access Card (CAC) Credentialing and Access Procedures

1.6.7.6.1 Contractor Common Access Card (CAC) Eligible Requirements:  Before CAC issuance, the Contractor employee requires, at a minimum, a favorably adjudicated National Agency Check with Inquiries (NACI) or an equivalent or higher investigation in accordance with Army Directive 2014-05.  The Contractor employee will be issued a CAC only if duties involve one of the following: (1) Both physical access to a DOD facility and access, via logon, to DOD networks on-site or remotely; (2) Remote access, via logon, to a DOD network using DOD-approved remote access procedures; or (3) Physical access to multiple DOD facilities or multiple non-DOD federally controlled facilities on behalf of the DOD on a recurring basis for a period of 6 months or more.  At the discretion of the sponsoring activity, an initial CAC may be issued based on a favorable review of the FBI fingerprint check and a successfully scheduled NACI at the Office of Personnel Management.  Contractor personnel shall return CAC to appropriate U.S. Government authorities within five (5) days of the end of their contractual duties.

1.6.7.6.1.1 Federal Installation/Facility Access: Contractor and all associated sub-contractor employees shall comply with applicable installation, facility and area commander installation/facility access and local security policies and procedures (provided by government representative). The employee performing services under this contract shall also provide all information required for background checks to meet installation access requirements to be accomplished by installation Provost Marshal Office, Director of Emergency Services, Security Office or the host nation equivalent.

1.6.7.6.2. Contractor Non CAC Eligible Requirements for DOD Facility and Installation Access: Contractor and all associated sub-contractors employees shall comply with adjudication standards and procedures using the National Crime Information Center Interstate Identification Index (NCIC-III) and Terrorist Screening Database (TSDB) (Army Directive 2014-05/AR 190-13), applicable installation, facility and area commander installation/facility access and local security policies and procedures (provided by government representative), or, at OCONUS locations, in accordance with status of forces agreements and other theater regulations.

1.6.7.7 Access to Government Information Systems : All Contractor employees and subcontractor employees performing services under this contract who have access to a government information system must be registered in the ATCTS (Army Training Certification Tracking System) at commencement of services and must successfully completed the DoD Information Assurance Awareness training prior to access to the information system and then annually thereafter.

1.6.7.8 Key Control: The Contractor shall establish and implement methods of making sure all keys/key cards issued to the Contractor by the Government are not lost or misplaced and are not used by unauthorized persons.  NOTE:  All references to keys include key cards.  Contractor shall not duplicate keys provided by the Government.  The Contractor shall develop procedures covering key control that shall be included in the Quality Control Plan.  Such procedures shall include turn-in of any issued keys by personnel who no longer require access to locked areas.

1.6.7.8.1 The Contractor shall report any occurrences of lost or duplicate keys/key cards to the KO and the COR (and physical property manager, if applicable) within two (2) hours or the next business day if after hours and to request key or lock(s) replacement.  This notification and request for key(s) and lock replacement shall be submitted in writing. The total cost of the replacement may be at the Contractor’s expense.

1.6.7.8.2. Only authorized Contractor personnel shall use Government issued key(s) and/or key card(s). Contractor personnel shall follow security access requirements when entering secure areas.  Contractor shall receive appropriate security clearance approval to allow visitor(s) access in secure areas.

1.6.7.9 Lock Combinations: Reserved

1.6.8 Post Award Conference/Contract Periodic Progress Meetings:  The Contractor shall attend the post award conference convened by the contracting activity or contract administration office IAW Federal Acquisition Regulation (FAR) Subpart 42.5. The KO, COR, with other Government personnel, as appropriate, may meet periodically with the Contractor to review the Contractor's performance.  At these meetings the KO will apprise the contractor of how the government views the Contractor's performance and the Contractor will apprise the Government of problems, if any, being experienced.  Appropriate action shall be taken to resolve outstanding issues.  These meetings shall be at no additional cost to the government.

1.6.9 Contracting Officer Representative (COR):  The COR will be identified by separate letter.  The COR monitors all technical aspects of the contract and assists in contract administration.  The COR is authorized to perform the following functions:  ensure the Contractor performs the technical requirements of the contract; perform inspections necessary in connection with contract performance; maintain written and oral communications with the Contractor concerning technical aspects of the contract; issue written interpretations of technical requirements, including Government drawings, designs, specifications; monitor Contractor's performance and notifies both the KO and Contractor of any deficiencies; coordinate availability of government furnished property; and provide site entry of Contractor personnel.  A letter of designation issued to the COR, a copy of which is sent to the Contractor, states the responsibilities and limitations of the COR, especially with regard to changes in cost or price, estimates, or changes in delivery dates.  The COR is not authorized to change any of the terms and conditions of the resulting order.

1.6.10 Key Personnel:  The following contractor personnel are considered key personnel by the government: The Contractor shall provide a contract manager who shall be responsible for the performance of the work.  The name of this person and an alternate, who shall act for the Contractor when the manager is absent, shall be designated in writing to the Contracting Officer prior to start of contract performance. The Contract Manager and alternate shall have full authority to act for the contractor on all contract matters relating to daily operation of this contract.

Qualifications for all key personnel are listed below:

- Technicians | Certified Technicians | Employed directly by SAFETY STORAGE INC

1.6.11 Special Qualifications or Certifications: Reserved.

1.6.11.1 IA/IT Training Certification: All Contractor employees and subcontractor employees supporting IA/IT functions must be certified upon contract award as directed in DoD 8570.01-M, DFARS 252.239.7001, and AR 25-2.  Baseline certification as stipulated in DoD 8570.01-M must be completed upon contract award.

1.6.12 Identification of Contractor Employees:  Contractor employees shall identify themselves as Contractor personnel and shall avoid representing themselves as Government employees.  This identification includes meeting attendance, answering Government telephones, email communications, and working in other situations where Contractor status is not obvious.  Contractor personnel identification shall be easily identifiable through the display of badges, name tags, lanyards, etc. Contractor personnel will not need to have a government badges to perform the service.

1.6.12.1 Badging of Contractor Employees: If required by the Government, contract personnel and all associated subcontractors employees accessing U.S. facilities or activities, shall present a valid picture ID provided by the Government while accessing Government owned or contracted facilities and shall adhere to facility security policies and restrictions. If applicable, Government issued access badges will not be worn outside designated facility where visible to the general public.  Contractor personnel shall return all U.S. Government issued identification to appropriate U.S. Government authorities within five (5) days of the end of their contractual duties.

1.6.12.2 Uniform: The Contractor shall provide a standard uniform for all Contractor and subcontractor employees performing services under this contract, and ensure they wear the uniform during appointed duty hours.  The uniform may consist of the same type and color shirt and slacks for all workers.  Company logo is optional.

1.6.13 Contractor Travel: The Government shall fund the travel expenses and per diem of the contractors to and from the site for the contract.

1.6.14 Other Direct Costs (ODC): The Government shall pay for the packaging, handling, and shipping of the equipment purchased for the repairs.

1.6.15 Data Rights: The Government has unlimited rights to all documents/material produced under this contract.  All documents and materials, to include the source codes of any software, produced under this contract shall be Government owned and are the property of the Government with all rights and privileges of ownership/copyright belonging exclusively to the Government.  These documents and materials may not be used or sold by the Contractor without written permission from the Contracting Officer.  All materials supplied to the Government shall be the sole property of the Government and may not be used for any other purpose.  This right does not abrogate any other Government rights.

1.6.16. Non-Disclosure Requirements:  Performance under this contract may require the Contractor to access data and information proprietary to a Government agency, another Government Contractor, or of such nature that its dissemination or use other than as specified in this work statement would be adverse to the interests of the Government or others.  Neither the Contractor, nor Contractor personnel, shall divulge, nor release data or information developed, or obtained under performance of this work statement, except to authorize Government personnel or upon written approval of the KO.  The Contractor shall not use, disclose, or reproduce proprietary data, which bears a restrictive legend, other than as specified in this PWS.  All documentation showing individual names or other personal information shall apply, and shall be controlled and protected under the provisions of the Privacy Act of 1974, Public Law 93-579, 5 United States Code (U.S.C.) Section 552a.

1.6.16.1 Non-Disclosure Statements: The Contractor shall provide signed non-disclosure agreements to the Government prior to commencement of work under the contract.  Disclosure of information by Contractor personnel may result in Contractor personnel removal from performance of duties under this contract.

1.6.16.2 Advertisement and Social Media: The Contractor shall NOT post information to public website or social media locations, personal or professional, that in any way disclose names, locations, hotel data, participants, discussions, pictures, etc. before, during or after the contract period of performance without the express consent of the Government. The use of propaganda violates DOD Commercial Use of Imagery Guidelines stated at (http://www.defenseimagery.mil/products/DODimagery/commercialuse.html).  The Contractor shall not cite any information (e.g., contract information, pictures, locations, etc.) obtained through this contract on any marketing tools to include its company website.

1.6.16.3 INFORMATION ASSURANCE:  At no time will the Contractor or associated sub-contractor employees transmit government documents or information over using methods that do not meet the security requirements specified in the National Institute of Standards and Technology (NIST) Special Publication

(SP) 800-171, "Protecting Controlled Unclassified Information in Nonfederal Information Systems and Organizations" such as personal electronic mail accounts, public digital data storage sites (cloud storage), social media platforms or instant messaging.  Approved government sites such as U.S. Army Aviation and Missile Research Development and Engineering Center (ARMDEC) Safe Exchange at https://safe.amrdec.army.mil/SAFE/About.aspx, or All Partners Access Network (APAN) at https://community.apan.org/, or other transmission means determined by the government must be used.

1.6.17 Organizational Conflict of Interest (OCI) Contractor and subcontractor personnel performing work under this contract may receive, have access to, or participate in the development of proprietary or source selection information (e.g., cost or pricing information, budget information or analyses, specifications or work statements, etc.) or perform evaluation services which may create a current or subsequent Organizational Conflict of Interests (OCI) as defined in FAR Subpart 9.5.  The Contractor shall notify the KO immediately whenever it becomes aware that such access or participation may result in any actual or potential OCI and shall promptly submit a plan to the KO to avoid or mitigate any such OCI.  The Contractor’s mitigation plan will be determined to be acceptable solely at the discretion of the KO and in the event the KO unilaterally determines that any such OCI cannot be satisfactorily avoided or mitigated, the KO may affect other remedies as he or she deems necessary, including prohibiting the Contractor from participation in subsequent contracted requirements which may be affected by the OCI.

1.6.18  Phase-in/Phase-Out (PIPO) Period: Reserved

1.6.19 General Training Requirements:

1.6.19.1 Anti-Terrorism (AT) Level I Training:  The Contractor shall complete AT Level I Training within 30 calendar days after contract start date or effective date of incorporation of this requirement into the contract, whichever applies, or 30 calendar days after employment of new personnel, all Contractor employees, including subcontractor employees, who are employed under the contract shall complete AT Level I awareness training within 30 calendar days after contract start date or effective date of incorporation of this requirement into the contract, whichever applies. The contractor shall submit certificates of completion for each affected Contractor employee and subcontractor employee to the COR or KO within ten (10) calendar days after completion of training by all employees and subcontractor personnel.  For Common Access Card (CAC) holders, AT Level I awareness training is available at https://jkodirect.jten.mil, course number “JS-US007-14”.  For non-CAC holders, AT Level I awareness training is available at http://jko.jten.mil/courses/atl1/launch.html (this standalone version is intended for non-CAC users without a JKO account only).  Training must have been completed within the last 12 months and maintained yearly thereafter.  If training cannot be conducted on the website, the Contractor will coordinate with the local AT Officer at their assigned location for classroom training by a Level 2 trained AT Officer and a copy of either the training certificate or the training attendance roster signed by the AT Officer will be maintained by the Contractor. Verification of the training will be provided to the COR or KO within ten (10) calendar days after completion of the training.

1.6.19.2 OPSEC Awareness : If the Contractor, or a subcontractor, or employees of either disclose any information that disrupts or harms the Government's operations or activities, then the Government retains the right to exclude any employee from performance of duties under this contract.  The exclusion of an employee for security reasons will not relieve the Contractor from performance of services required under this contract.  By way of example, personnel shall not sketch or take photos of government facilities or activities, unless related to service to be provided.  All government paper products and removable digital storage material that is received, generated, or stored during the contract will be destroyed completely when no longer needed to preclude recognition of information.

1.6.19.3 Information Assurance (IA) Training: Contractor employees, including subcontractors, requiring access to Government information systems shall complete the DOD IA Cyber Awareness Training.  All employees working information technology (IT)/IA functions must comply with DOD and Army training requirements per DOD Directive (DODD) 8570.01, Information Assurance Training Certification and Workforce Management, DOD 8570.01-M, Information Assurance Workforce Improvement Program, and AR 25-2, Information Assurance, within 30 days of employment.  Training is available at https://ia.signal.army.mil/DODIAA/default.asp.

1.6.19.4 Information Assurance (IA)/Information Technology (IT) Training (As determined by AT/OPSEC Review): All Contractor employees and subcontractor employees requiring access to Government information systems must complete the DoD IA awareness training before issuance of network access and annually thereafter.  All employees working IA/IT functions must comply with DoD and Army training requirements in Per DoD 8570.01, DOD 8570.01-M, and AR 25-2, within 30 days of employment.  Training is available at https://ia.signal.army.mil/DoDIAA/default.asp.

1.6.19.5 Threat Awareness Reporting Program (TARP Training): Within 30 calendar days after contract start date or effective date of incorporation of this requirement into the contract, whichever applies, or 30 calendar days after employment of new personnel, all Contractor employees, including subcontractor employees, who are employed under the contract and require a security clearance, shall complete TARP training within 30 calendar days after contract start date or effective date of incorporation of this requirement into the contract, whichever applies.  The Contractor shall submit certificates of completion for each affected Contractor employee and subcontractor employee to the COR within ten (10) calendar days after completion of training by all employees and subcontractor personnel.  TARP training is available at the Army Learning Management System (ALMS) https://www.lms.army.mil/.  Training must have been completed within the last 12 months and maintained yearly thereafter.  If training cannot be conducted on the website, the Contractor will coordinate with the local Counter Intelligence (CI) Officer at their assigned location for classroom training and a copy of either the training certificate or the training attendance roster signed by the CI Officer will be maintained by the Contractor. Verification of the training will be provided to the Contracting Officer (KO) or Contracting Officer Representative (COR) within ten (10) calendar days after completion of the training.

1.6.19.6 iWATCH Training: The Contractor will ensure that all Contractor employees and sub-contractor employees performing services under this contract have been briefed on the iWATCH Program, or equivalent for their supporting DoD Agency, within 30 days of employment under the contract.  The Contractor will coordinate with the supporting DoD Agency AT Officer through the COR or KO for the briefing.  This training will be updated as required by the supporting installation AT policies. A copy of the training attendance will be maintained by the Contractor and made available to the COR or KO upon request.

1.6.19.7 OPSEC Training :   All Contractor employees and sub-Contractor employees performing services under this contract will complete Level I OPSEC training within 30 calendar days of employment under this contract.  OPSEC Level I training is available at https://jkodirect.jten.mil, course number “EUC-ECJ6-110-N-LB”.  Training must have been completed within the last 12 months and maintained yearly thereafter.  If training cannot be conducted on the website, the Contractor will coordinate with the local OPSEC Officer at their assigned location for classroom training by a Level 2 trained OPSEC Officer and a copy of either the training certificate or the training attendance roster signed by the OPSEC Officer will be maintained by the Contractor. Verification of the training will be provided to the COR or KO upon request.

PART 2

DEFINITIONS & ACRONYMS

2.  Definitions and Acronyms:

2.1. Definitions:

2.1.1. Contractor.  The total contractor organization or a separate entity of it; such as an affiliate, division, or plant that performs its own purchasing.

2.1.2. Contracting officer (KO).  A person with the authority to enter into, administer, and/or terminate contracts and make related determinations and findings.

2.1.3. Contracting Officer’s Representative (COR).  An individual designated and authorized in writing by the contracting officer to perform specific technical or administrative functions.

2.1.4. Defective Service.  A service output that does not meet the standard of performance associated with the Performance Work Statement.

2.1.5. Deliverable.  Anything that can be physically delivered, but may include non-manufactured things such as meeting minutes or reports.

2.1.6. Key Personnel.  Contractor personnel that are evaluated in a source selection process and that may be required to be used in the performance of a contract by the Key Personnel listed in the PWS.  When key personnel are used as an evaluation factor in best value procurement, an offer can be rejected if it does not have a firm commitment from the persons that are listed in the proposal.

2.1.7. Performance Work Statement (PWS).  A statement of work for performance-based acquisitions that describes the required results in clear, specific, and objective terms with measurable outcomes.

2.1.8. Physical Security.  Protection of the perimeter area, government property, and assets that prevent the loss or damage of Government property.

2.1.9. Quality Assurance.  The various functions, including inspection, performed by the government to determine whether a Contractor has fulfilled the contract obligations pertaining to quality and quantity.

2.1.10. Quality Assurance Surveillance Plan (QASP).  A plan describing how the agency will survey, observe, test, sample, evaluate and document the Contractor’s performance in meeting critical performance standards identified in the contract.

2.1.11. Quality Control (QC).  Tasks performed by the Contractor to improve the quality of the organization’s output.

2.1.12. Shall. An imperative command; has a duty to or is required to. Denotes that a regulation must be followed unless the contracting officer has obtained a deviation.

2.1.13. Subcontractor.  Any supplier, distributor, vendor, or firm that furnishes supplies or services to or for a prime contractor or another subcontractor.

2.1.14. Work Day.  The number of hours per day the Contractor provides services in accordance with the contract.

2.1.15. Work Week.  Monday through Friday, unless specified otherwise.

2.2 Acronyms:

ALMS			Army Learning Management System

ANSI			American National Standards Institute

AOR			Area of Responsibility

AR			Army Regulation

ASB			Aviation Support Battalion

ATCTS			Army Training Certification Tracking System

AT			Anti-Terrorism

CAB			Combat Aviation Brigade

CAC			Common Access Card

CFR			Code of Federal Regulations

CI			Counter Intelligence

CLIN			Contract Line Item Number

CONUS			Continental United States (excludes Alaska and Hawaii)

COR			Contracting Officer Representative

DD Form 254		Department of Defense Contract Security Requirement List

DLA			Defense Logistics Agency

DOD			Department of Defense

DODD			Department of Defense Directive

DODI			Department of Defense Instruction

FAR			Federal Acquisition Regulation

FHP			Force Health Protection

FCG			Foreign Clearance Guide
FY			Fiscal Year
GFE			Government Furnished Equipment

GFP			Government Furnished Property

IA			Information Assurance

IAW			In Accordance With

IT			Information Technology

JPAS			Joint Personnel Adjudication System

JTR			Joint Travel Regulation

KO			Contracting Officer

LOA			Letter of Authorization

NCIC-III		National Crime Information Center Interstate Identification Index

NIST			National Institute of Standards and Technology

ODC			Other Direct Costs

OCI			Organizational Conflict of Interest

OCONUS		Outside Continental United States (includes Alaska and Hawaii)

ODC 			Other Direct Costs

OSHA			Occupational Safety and Health Administration

OPSEC 			Operation Security

PIPO			Phase In/Phase Out

POL			Petroleum, Oil, and Liquid

PRS			Performance Requirements Summary

PWS			Performance Work Statement

QA			Quality Assurance

QASP			Quality Assurance Surveillance Plan

QCP			Quality Control Program

RA			Requiring Activity

SCR			Service Contract Reporting

SOP			Standard Operating Procedures

SPOT			Synchronized Predeployment and Operational Tracker

TE			Technical Exhibit

TSDB			Terrorist Screening Data Base

U.S.C.			United States Code

# PART 3

# GOVERNMENT FURNISHED PROPERTY AND SERVICES

## 3.1 Government Furnished Property The Government will not provide property or services in the performance of this contract.

## 3.2 Emergency and Rescue

3.2.1 The Government will furnish emergency medical and rescue services to prevent loss of life, limb, or undue suffering within the areas serviced by the applicable installation emergency services provider. The Government will seek reimbursement for medical services rendered, as appropriate.

3.2.2 The Government will provide installation fire services to include firefighting, fire prevention inspections and investigations; Installation security services; confined space rescue; and Hazardous Material (HAZMAT) first response.

## 3.3 Telecommunications/Utilities

3.3.1 The Government will provide reasonable access to Government-furnished telecommunications for official use related to this effort. Line service will include on-post service, and Defense Switched Network (DSN). The cost of unofficial telephone service (e.g., telephone service not incidental to performance of the contract) shall be reimbursed to the Government. The contractor shall ensure compliance with AR 25-1 Information Assurance as related to telecommunications use and access. The Government will not provide reimbursement for additional services or special connectivity relative to contractor unique equipment, software, or corporate requirements.

3.3.2 The Government will furnish appropriate amounts of heat, heating fuels, gas, electricity, sewage, and water utilities, as currently installed in GFF, for use under this contract. All facilities do not receive the same utility services. The contractor shall not change or modify any Government provided utility systems or components or install any CFE components or system without prior KO or designated representative written approval as coordinated through the DPW.

3.3.3 The Government will provide limited access to the existing Local Area Network (LAN) to include electronic mail (e-mail). The number of active LAN drops and e-mail accounts available will be determined by the Government. The contractor shall not use the LAN or e-mail for purposes other than official Government work required under this contract.

3.3.4 Radio frequency assignments and authorization will be controlled and furnished by the Government. The contractor will not operate any radio (e.g. FMS/GMRS [Family Radio Service / General Mobile Radio Service] typically commercially available with frequencies in the 450-470 MHz band and less than 50 watts) on the installation without proper authorization.

## 3.4 Government Furnished Facilities and Real Property Reserved

## 3.5 Government Furnished Services Reserved

PART 4

CONTRACTOR FURNISHED ITEMS AND SERVICES

4. Contractor Furnished Property and Services

4.1 General: The Contractor shall furnish all personnel, equipment, supplies, facilities, transportation, tools, materials, supervision, and other items necessary to perform services as described in the PWS and associated contract documents.

4.2 Secret Facility Clearance: Reserved

4.3 Materials: The Contractor shall provide all materials necessary to perform services as described in the PWS and associated contract documents.

4.4 Vehicles and Equipment: The Contractor shall provide all vehicles necessary to perform services as described in the PWS and associated contract documents.

4.5 Background Checks: The Contractor shall provide Background Checks in accordance with this PWS and as determined by the Government.

PART 5

SPECIFIC TASKS

5.  Specific Tasks: The Contractor shall provide all personnel, equipment, tools, materials, vehicles, supervision, and other items necessary to perform the repairs on the three petroleum, oil, and liquid (POL) shelters of 404 Aviation Support Battalion (ASB).

5.1. Shipment.  The contractor shall package and ship the purchased equipment to 404 ASB.

5.1.1 The task consists of:

(a) Packaging the purchased equipment into safe packaging to prevent damage to the equipment enroute.

(b) Shipping the equipment to 404 ASB.

(c) Equipment listing consists of:

(1) 2x HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT

(2) 3x KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES)

(3) 2x KIT, LIGHT ASSY, INTERIOR, EP

AQL: 100% Compliant.

5.2. Removal: Contractor shall uninstall the damaged heaters, light switch kits, and fans identified for replacement and disposes of them.

5.2.1 Tasks consists of:

(a) Uninstalling the old HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT and KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES) of shelter 24587.

(b) Uninstalling the old HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT, KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP of shelter 24588.

(c) Uninstalling the old KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP of shelter 24589.

(d) Removing the uninstalled equipment from the 404 ASB footprint and disposing of them in accordance with their company policies.

AQL: 100% Compliant

5.3 Installation: Contractor shall install the new heaters, light switch kits, and fans identified for replacement and testing the shelters are now temperature-controlled environments.

5.3.1 Task consists of:

(a) Installing the new HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT and KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES) for shelter 24587.

(b) Installing the new HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT, KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP for shelter 24588.

(c) Installing the new KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP for shelter 24589.

(d) Testing the newly-installed equipment to ensure the shelters are now temperature-controlled environments.

AQL: 100% Compliant

PART 6

APPLICABLE PUBLICATIONS

6.  Applicable Publications (Current Editions) The following publications, manuals, regulations, etc. are mentioned in this PWS and are listed below.

6.1. Department Of Defense Contract Security Classification Specification (DD Form 254)

6.1.1 Department of Defense Security Agreement (DD Form 441)

6.1.2 National Industrial Security Program Operating Manual (DoD 5220.22-M)

6.1.3 Installation Access Control (AE Reg 190-16)

6.1.4 The Army Physical Security Program (AR 190-13)

6.1.5 Contractor Identification (AE Reg 27-715)

6.1.6 U.S. Army Corps of Engineers Safety and Health Requirements Manual (EM 385-1-1)

6.1.7 Information Assurance Workforce Improvement Program (DoD 8570-M)

6.1.8 Information Assurance Training Certification and Workforce Management Directive (DoDD 8570.01)

6.1.9 Information Assurance (AR 25-2)

PART 7

ATTACHMENT/TECHNICAL EXHIBIT LISTING

7. Attachment and Technical Exhibit List

7.1 Technical Exhibit A – Performance Requirements Summary

7.2 Technical Exhibit B – Deliverables Schedule

7.3 Attachment 1 – Estimated Workload Data

TECHNICAL EXHIBIT A

Performance Requirements Summary

| Performance Objective (The Service required—usually a shall statement) | Standard | Performance Threshold (This is the maximum error rate. It could possibly be “Zero deviation from standard”) | Incentive (Positive and/or Negative) |
| --- | --- | --- | --- |
| PRS # 1. Shipment a. 5.1 b. The contractor shall package and ship the purchased equipment to 404 ASB. | (a) Packaging the purchased equipment into safe packaging to prevent damage to the equipment enroute. (b) Shipping the equipment to 404 ASB. (c) Equipment listing consists of: (1) 2x HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT (2) 3x KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES) (3) 2x KIT, LIGHT ASSY, INTERIOR, EP | 100% Compliance | Non-conforming services will result in non-conformance reports issued to Contractor and potential negative CPARS report. |
| PRS # 2. Removal a. 5.2 b. Contractor shall uninstall the damaged heaters, light switch kits, and fans identified for replacement and disposes of them. | (a) Uninstalling the old HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT and KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES) of shelter 24587. (b) Uninstalling the old HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT, KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP of shelter 24588. (c) Uninstalling the old KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP of shelter 24589. (d) Removing the uninstalled equipment from the 404 ASB footprint and disposing of them in accordance with their company policies. | 100% Compliance | Non-conforming services will result in non-conformance reports issued to Contractor and potential negative CPARS report. |
| PRS # 3. Installation a. 5.3 b. Contractor shall install the new heaters, light switch kits, and fans identified for replacement and testing the shelters are now temperature-controlled environments. | (a) Installing the new HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT and KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES) for shelter 24587. (b) Installing the new HEATER, FF, EP, 10KW, 34K BTU, 208/3/60, W/O THERMOSTAT, KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP for shelter 24588. (c) Installing the new KIT. SWITCH, LIGHT & FAN, NON-EXPLOSION PROOF (2 SWITCHES), and KIT, LIGHT ASSY, INTERIOR, EP for shelter 24589. (d) Testing the newly-installed equipment to ensure the shelters are now temperature-controlled environments. | 100% Compliance | Non-conforming services will result in non-conformance reports issued to Contractor and potential negative CPARS report. |

TECHNICAL EXHIBIT B

Deliverables Schedule

| Deliverable | Frequency | # of Copies | Medium/Format | Submit To |
| --- | --- | --- | --- | --- |
| QCP [PWS para. 1.6.1] | Within 30 days of being awarded the contract. | One digital copy within 30 days of being awarded the contract. | By email. | jacob.l.clark15.mil@army.mil hunter.l.hobbs.mil@army.mil |

ATTACHMENT 1

Estimated Workload Data

Requiring Activity shall list here the estimated workload for this PWS by labor category. If available, this workload data may be used by the RA to prepare the Independent Government Cost Estimate (IGCE). NOTE: Based on the PWS, estimated workload data can be provided in other formats or units of measure (UOM), i.e., the volume of task orders anticipated on an annual basis or over a five (5) year period, the number of users by locations requiring Information Technology Support, etc.

| ## ITEM | NAME | ESTIMATED QUANTITY |  |
| --- | --- | --- | --- |
| 1 | Uninstalling the old equipment | 2x Technicians | 20 hrs |
| 2 | Installing the new equipment and testing it | 2x Technicians | 20 hrs |