JUSTIFICATION & APPROVAL FOR OTHER THAN FULL AND OPEN COMPETITION

for SIMPLIFIED ACQUISITIONS OVER $10,000 ($2,000/$2500 for Construction/Services) AND UP TO $250,000

(See FAR 13.106-1)

Date: 	20Mar2026

PR Number: 	44040681

- Nature and/or description of the item/service being procured and its intended use (include the anticipated cost):

Yosemite National Park has a Brand name specific requirement for the procurement of 2 sets of 24 Absolyte VRLA battery replacements for two critical nodes within Yosemite National Park to ensure reliable backup power for essential communications infrastructure, with an expected cost of $20,956.00.

- Sole Source Justification rationale (Check one and explain below):

Only one responsible source.

Urgent and compelling circumstances exist. Include critical delivery or performance dates, and when you became aware of the requirement. Provide a specific statement of the impact on Government operations, financial or otherwise, if the required delivery or performance dates are not met.

X	 Other 	Brand Name Justification

Explain: Continuing with Absolyte batteries on a “like-for-like” replacement basis ensures full compatibility with existing racks, cabling, charging systems, and site configurations at the two critical nodes, minimizing installation risk and eliminating the need for costly modifications. Maintaining the same battery chemistry and performance profile preserves system reliability, load calculations, and runtime expectations, which are already engineered around Absolyte specifications. This approach also supports operational continuity, simplifies maintenance and training, and reduces the risk of integration issues that could impact mission-critical communications infrastructure within Yosemite National Park.

- Market Research. Please explain the results or why one was not performed. State whether any other offers were received or anyone expressed interest:

Market research was conducted across multiple qualified suppliers of stationary VRLA battery systems to assess availability, lead times, and the ability to meet required quantities and specifications. The research found that supply chain constraints and limited on-hand inventory are impacting this product category, with many vendors unable to meet the full quantity requirement or projecting extended delivery timelines beyond operational needs. However, market research indicates that several vendors are interested in submitting a quote for the requirement.

JUSTIFICATION & APPROVAL FOR OTHER THAN FULL AND OPEN COMPETITION

for SIMPLIFIED ACQUISITIONS OVER $10,000 ($2,000/$2500 for Construction/Services) AND UP TO $250,000

(See FAR 13.106-1)

PR Number 	44040681

- If this is a determination for sole source, the contracting officer certifies:

  - Only one source is available, or urgent and compelling circumstances exist.

  - The anticipated price will be determined fair and reasonable using the price analysis techniques described in FAR Part 13.106-3(a).

(Signature)	(Date)

Type or Print Name:

Title: COR/Project Officer

(Signature) 	(Date) 		 Type or Print Name:

Contracting Officer