| Question | Answer |
| --- | --- |
| - What Grade of Helium is needed? UHP or Balloon? (UHP is for scientific instruments normally, and Balloon grade or Lift grade is not) | UHP |
| - Are cylinders and valves to be brand new? Or are refurbished with 5-year warranty acceptable? | The cylinders do not have to be brand new. They can be refurbished with a 5-year warranty. The valves have to be brand new. |
| - The RFQ indicated a non-standard volume/size. Most of the industry uses K-size (218 c.f.) and T-size (291 c.f.) (also known as 200s, or 300s by some companies). The H-size was a size in the past and it is 244 c.f., but that is likely a special order, as we do not use those currently. | We would like the T-size tanks at 291cu. ft. |
| - Are these 6 cylinder racks, or 16 cylinder racks | 16 cylinder racks |
| - If these are 16 cylinder racks, is this a manifold rack and do you have pictures of either that have used in the past? | The steel racks will resemble traditional wooden pallets at the bottom but they are boarded up on three sides, they need to have one open side for easy loading and unloading of the 16 helium tanks (4 rows and 4 columns). Not the manifold racks, see below. |
| - Please confirm whether the 1500 PSI specification is driven by operation or equipment limitations. If not, we would propose providing cylinders at standard service pressure (approx. 2400 PSI), which would exceed the required capacity and optimize performance of the UHP helium supply. | We will accept the cylinders at the standard service pressure (approximately 2400 PSI) |
| - Are you just talking about a pallet with 3 sides and strap? Or did you want a 16 pack that has all sides bolted together and the cylinders connected by a manifold? | Yes. Three closed sides, with one opening for easy access to the tanks and straps will be used to keep the tanks in place. The three sides are bolted to each other and to the bottom of the racks but not connected by a manifold. See below. |