VA NEW ENGLAND HEALTHCARE SYSTEM

VISN 1 Robotic Delivery System BPA
Performance Work Statement

General:   This document highlights the technical specifications and services being requested by the VA NEW ENGLAND HEALTHCARE SYSTEM (VISN 1) for consideration towards the purchase of Autonomous Mobile Robots (AMRs). The AMRs are utilized to deliver medications, specimens, food, supplies, and materials throughout the medical centers, while being actively monitored and supported 24 hours a day, seven days a week from a remote centralized support center.

Background/Justification: VISN 1 is seeking to replace its fleet of Autonomous Mobile Robots (AMRs) that are end of life and support by establishing a blanket purchase agreement (BPA) that covers all VA Medical Centers in New England (VISN 1). The contractor shall include all equipment, accessories, materials, installation services, support services, and training services specified in this Performance Work Statement (PWS) document.

The AMRs are used in the VISN 1 Medical Centers by Pharmacy, Laboratory, and Clinical Services to transport medications and specimens. The use of AMRs in medical centers has provided numerous benefits, primarily focused on improving efficiency, safety, and patient care.

Description of Work:  Under this proposal, the vendor shall provide all equipment, accessories, operator and service training, manuals and map configuration documents detailing the path of travel for the Autonomous Mobile Robots (AMRs). The vendor shall provide all required service labor, travel, and parts for the AMRs required for it to function normally and safely prior to first Clinical use. All services performed shall be in accordance with the original equipment manufacturer (OEM) specifications. Product delivery will be the responsibility of the vendor working with the VISN 1 VA Medical Centers (VAMC) warehouse POC. The vendor will be responsible for delivery and installation of the AMRs.

Summary of Service & Equipment Specifications: Equipment, Labor, Travel, Delivery & Installation for AMRs and infrastructure required for operation will be provided by vendor including but not limited to the below items:

- ###–System

- #### – User Guide

- #### – Service Manual

- #### - Operators Manual

- ###-year standard warranty

- Applications training

Performance Specifications

Navigation and Mapping: The AMRs must be equipped with advanced navigation and mapping capabilities including lidar, GPS, and other sensors to ensure accurate and autonomous routing within predefined areas. Sensors for obstacle detection and obstacle navigation include ultrasonic sonars, infrared and laser range finders.

Battery Life: The AMRs should be able to autonomously and wirelessly connect to their docking station. The fleet of AMRs should be able to operate continuously for a minimum of 10 hours per day.

Speed and Efficiency: The operating speed of each AMR must be adjustable to ensure safe operations within various clinical and non-clinical areas of travel. The AMR adjust speed in areas of congestion and obstacles.

Maintenance and Support

Technical Support: Vendors must provide 24/7 technical support and proactive monitoring support from a remote centralized support desk, with direct communication to HTM and clinical services for any issues arising during normal operations.

Maintenance Schedules: Vendor to provide a proactive maintenance schedule and efficient process for replacing faulty components to ensure continuous operation and minimize downtime. Maintenance schedule includes software updates and patching.

Notification of Service: Notify onsite HTM with ticket number generated via email immediately upon discovery of delivery robot downtime for more than 2 hours.

Training: Comprehensive training programs for staff on the operation, troubleshooting, and routine maintenance of the AMRs must be included.

Data and Reporting

Monitoring and Reporting: AMRs must have the capability to monitor operations in real-time and generate detailed reports for performance analysis, including metrics on task completion, downtime, and maintenance needs.

Data Security: AMRs must be capable of maintaining access logs in compliance with chain of custody protocols. All data collected by the AMRs should be securely stored and transferred in compliance with relevant data protection regulations.

Integration and Compatibility

System Integration: AMRs should be compatible with existing infrastructure and systems, including IT, communication protocols, and facility layout. Traveling through automatic doors and wireless call the elevators.

System Infrastructure: System must be configurable to allow for the placement of switches/PoE boxes in electrical rooms with 110V outlets or have PoE at each radio instead of in an IT closet.

Software Integration: The AMR system must support integration with facility management systems and notification options (either doorbell/robot sound/phone call) upon arrival at secure clinical areas.

Safety and Compliance

Safety Features: Each AMR must be equipped with obstacle detection and avoidance systems, including emergency stop functions, and be compliant with all relevant safety standards and regulations.

Certifications: The robots must meet industry standards and be certified by recognized bodies (e.g., ISO, CE) for safety and performance.

Evaluation and Feedback

Performance Metrics: Vendors must provide ongoing performance evaluations of performance analysis, including metrics on task completion, downtime, and maintenance needs to ensure that the AMRs meet the contractual obligations and project requirements.

Ongoing Feedback: Mechanisms for providing and addressing ongoing feedback from the point of contact (POC) regarding issues and vendor responses. Example: daily system report emailed to a group of VA HTM staff by VISN/Site.

Contractor Responsibilities:

The contractor will schedule an onsite survey prior to AMR installation.  At this time, the following will occur:

- The contractor must create a series of diagrams to be utilized in determining the placement all infrastructure components needed for the installation of the AMRs.

- The contractor must scan for other devices that may interfere with the operations of the AMRs.

- The contractor will then segment the AMR Com radio’s range appropriately.

The approval of the AMR hardware and software, communication devices, coordination with services involved in this project must be approved by each VISN 1 VAMC and adherence to VA regulations.

- Implementation services shall include the following:

  - A project manager

  - Detailed project timeline with defined roles and responsibilities (including vendor and VA resources)

  - On-site installation coordination of all equipment and accessories, a training plan including all hospital working shifts, and schedule for go-live.

- Materials shall be new equipment, parts and accessories as specified in this PWS.

- The vendor shall deliver materials to the job site in original equipment manufacturers (OEM) original unopened containers, clearly labeled with the OEM’s name, equipment model and serial identification numbers, delivery order number, and VA purchase order number.

- The vendor is responsible for inventorying materials prior to delivery to VA sites to check for accuracy in quantity and part number.

- All on-site installation services shall be vendor-provided by technical staff (not sales reps) fully trained to service and install AMR products, parts, and accessories as specified.

- The vendor shall provide, maintain, and dispose of all material waste and packaging associated with the AMR products and/or waste generated during the installation services.

- The vendor will be responsible for moving waste materials from job site(s) to a vendor-provided waste container, and then off-site.

- The vendor shall provide the following documentation for the proposed AMR configuration and setup:

  - Hard and soft copy of operator’s manual

  - Hard and soft copy of technical service manuals including troubleshooting guides, necessary diagnostic software and equipment, schematic diagrams, and parts lists

  - DVD or web-based training if available

  - *Vendors can include the physical copy as a priced line item in their quote as applicable.

Government Responsibilities:

- Each VA site is responsible for inventorying materials prior to acceptance of order.

- Each VA site shall identify and provide limited daily storage of vendor parts/supplies at the time of delivery.

- Each VA site shall reject items that do not conform to requirements above.

Training Provided / Training Materials:

The vendor shall provide technical training to ensure Healthcare Technology Management (HTM) / Biomed staff at each facility could service and support AMRs equipment at an equivalent level to a vendor-provided fully trained service technician. All costs and expenses for the contractor to provide the technical training required shall be included with each purchase.

- The vendor shall provide any special service tools and/or test equipment comparable to those provided to the OEM’s service personnel for both hardware and software repairs.

- On-site clinical applications training for technologists during go-live

- On-site follow-up clinical applications training for technologists once technologists have hands-on experience with the system

- On-site clinical applications training for physicians during go-live

- Vendor shall be responsible for accommodating different personnel shifts for clinical applications training during go-live

- Vendor to provide all appropriate training materials and equipment manuals for proper end user training and reference

Service Requirements: Vendor is encouraged to include any offerings for service, warranty, and training that may exceed the minimum requirements, to include information on their service support structure during and after the warranty period.

- VPN/Remote Access – The vendor shall provide any and all equipment service programs, such as remote diagnostics, during the warranty period. The vendor shall provide post-warranty remote diagnostic service program as an “Add Option” with the offer. The system shall provide vendor remote diagnostics. The vendor shall either utilize the VA national site-to-site VPN or work with the Office of Cyber and Information Security and the VAMC Information Systems Security Officer to establish a client-based VPN.

- Minimum Warranty – The system and accessories shall be covered under the manufacturer’s warranty and shall include all parts and labor for one year following acceptance by the VAMC. This warranty must include PMs as required by the manufacturer. The manufacturer’s factory-trained field service representatives shall perform installation and maintenance during the warranty period.

- Vendor is to offer technical training to the healthcare technology management (HTM) department for future service of procured devices.

Trade-In or Disposal:

- The vendor shall provide trade-in and/or disposal for existing Aethon TUGs systems.

Hours of Performance: Normal hours of coverage are Monday through Friday 8:00 AM to 6:00 PM EST excluding federal holidays.  Vendor can provide options for Emergency service outside normal business hours.

All service will be performed during normal hours of coverage unless requested or approved by the Contracting Officer’s Representative (COR).

- Federal Holidays observed by the VAMC are:

    - New Year’s Day

    - Martin Luther King Day

    - Presidents’ Day

    - Memorial Day

    - Juneteenth Day

    - Independence Day

    - Labor Day

    - Columbus/Indigenous People’s Day

    - Veterans’ Day

    - Thanksgiving Day

    - Christmas Day

NOTE: Hardware/software update/upgrade installations will be scheduled and performed at a mutually agreed upon time at no additional charge to the Government (unless it would be detrimental to equipment up-time; to be determined by the COR or designated representatives. Government provides software/hardware upgrade/update. There shall be no additional charge for time spent at the site during or after the normal hours of coverage awaiting the arrival of additional FSE and/or delivery of parts.

Conformance Standards: Contractor shall provide service and ensure that the equipment functions in accordance with the equipment manufacturer’s technical performance specifications.

Contractor shall conform to all regulations to include but not be limited to federal, state, and local governing any chemicals, equipment or work which may be used or performed in

the work under this contract.

Preventative Maintenance: Perform system scheduled maintenance inspections as outlined in the user’s manual developed by the manufacturer for the main devices and any peripheral devices of the system.

Unscheduled Maintenance: Contractor shall provide repair service which may consist of calibration, cleaning, adjusting, replacing parts, and maintaining the equipment, including all intervening calls necessary between regular services and calibrations.  All required parts shall be furnished. Response Time: Contractor's FSE must respond with a phone call to the COR or designated representative within 1 hour of receipt of telephone notification during normal hours of coverage.  If the problem cannot be corrected by phone, the FSE will commence work (on-site physical response) within 4 hours after receiving this second notification and will proceed progressively to completion without undue delay.

Parts Exchange: All parts required for the repair of the system (excluding instruments and accessories) are covered.

Part Protection: Preferred pricing on repairs or replacement due to accidental damage.

Labor & Travel Expenses: All labor and travel conducted during normal business hours: Monday through Friday, 8:00 AM to 6:00PM EST (excludes vendor company holidays) are covered.

Certified Trained Technicians and Key Personnel:

Technicians shall include fully qualified Facility Service Engineers (FSE) and a fully qualified FSE who will serve as the backup and show proof of competency, as shown by training conducted on said system. "Fully Qualified" is based upon training and on experience in the field. For training, the FSE(s) has successfully completed a formalized training program, for the equipment identified in this statement of work. For field experience, the FSE(s) has a minimum of two years of experience (except for equipment newly on the market) with respect to scheduled and unscheduled preventive and remedial maintenance. Vendor required to provide VA with proof of training certification of approved FSE technicians that will be sent onsite to complete repairs and service at VA Medical Centers. Anything FSE not listed with certification, VA requests proof of training certification within 24 hours.

All FSE’s and technicians shall be authorized by the Contractor to perform the maintenance services. All work shall be performed by "Fully Qualified" competent FSE's. The COR and/or designated representative specifically reserve the right to reject any of the Contractor's personnel and refuse them permission to work on the VAMC equipment. It is anticipated that any hospital regulatory inspections (TJC, etc.) will have the vendor providing proof that they meet industry standards of quality, and traceable standards, as used to calibrate this device- system, at the time of the maintenance event.

Service Manuals/Tools/Equipment: All required service manuals, tools, and equipment are to be provided by the vendor.

Check-in Requirements: The Field Service Engineer must report to the Healthcare Technology Management (HTM) department to obtain a badge and sign in with the HTM staff before work begins.  Submit any mobile media devices that would be used on the system to a virus scan.  Upon completion of work, the Field Service Engineer must report to HTM to sign out and brief HTM Staff or Supervisor if Healthcare Technology Management staff is unavailable concerning completion of service.  At the end of the briefing Field Service Engineer will return the badge and sign out in the Healthcare Technology Management (HTM) department.

Documentation: Contractor shall furnish a detailed field service report upon completion of work to HTM Staff in the Healthcare Technology Management (HTM) Department. Payment will not be processed until a properly completed service report is received.  The service report shall contain, at a minimum, the following information:

- Identification of equipment to be serviced:

  - VA EE Number

  - Vendor Inventory ID number

  - Manufacturer Name

  - Device Name

  - Model Number

  - Serial Number

  - System ID

- Name of contractor and contract number

- Name of FSE who performed services

- Contractor service ESR number/log number

- Date, time (starting and ending), equipment downtime and hours on-site for service call

- VA purchase order number(s) covering the call if outside normal working hours

- Total time spent performing maintenance.

- Detailed narrative and itemized description of the services required and performed including:

  - Labor and travel

  - Parts (with part numbers)

  - Materials

  - Location

  - Corrective Action

- Copies of all test reports

- Complete list of parts replaced (when applicable)

- Date and time the repair/support was completed

- Total Cost to be billed (if applicable – i.e., part(s) not covered, or service rendered after normal hours of coverage).

- Signatures:

  - FSE performing services described

  - Authorized VA employee who witnessed service described

  - NOTE: - Any additional charges claimed must be approved by the COR or designated representative before service is completed!

The service report shall itemize every item in the specification.  Each item shall state the "as found" condition or values, the "calibrated to" or "adjusted to" values, the factory design tolerances, and a complete description of all work performed concerning the items.  Included will be a list of new parts used and recommended future repairs.

Reporting Requirements: The Contractor shall be required to report to Healthcare Technology Management (HTM) to log in. This check-in is mandatory. When the service is completed, the FSE shall document services rendered on a legible ESR(s). The FSE shall be required to log out with HTM and submit the ESR(s) to the COR or designated representative. ALL ESRs shall be submitted to the equipment user for an "acceptance signature" and to the COR or designated representative for an "authorization signature". If COR or designated representative is unavailable, a signed, authorized copy of the ESR will be left with the user.

VISN 1 Place of Performance:

| VA Boston HCS – Jamaica Plain | White River Junction VAMC |
| --- | --- |
| 150 South Huntington Ave | 215 North Main St |
| Boston, MA 02130 | White River Junction, VT 05009 |
| VA Boston HCS – West Roxbury | Central Western Massachusetts VAMC |
| 1400 VFW Pkwy | 421 North Main St |
| West Roxbury, MA 02132 | Leeds, MA 01053 |
| VA Boston HCS – Brockton | Manchester VAMC |
| 940 Belmont St | 718 Smyth Rd |
| Brockton, MA 02301 | Manchester, NH 03104 |
| Providence VAMC | VA Maine HCS |
| 830 Chalkstone Ave | 1 VA Ctr |
| Providence, RI 02908 | Augusta, ME 04330 |
| VA Connecticut HCS | Edith Nourse Rogers VA |
| 950 Campbell Ave | 200 Springs Road |
| West Haven, CT 06516 | Bedford, MA 01730 |

Contracting Officer Representatives: Prior to contract award, the Contracting Officer shall designate a VA Medical Center employee as the COR.  All work coordination shall be made through the COR.  The Contractor shall be provided a copy of the letter of delegation authorizing the COR at the commencement of the term of the contract.  No other person shall be authorized to act in such capacity unless appointed in writing by the Contracting Officer.

Information Technology Security Requirements: The contractor, their personnel, and their subcontractors shall be subject to the Federal laws, regulations, standards, and VA Directives and Handbooks regarding information and information system security as delineated in this contract. The contractor shall comply with all Federal laws and regulations the VA has developed when VA sensitive information is accessed, used, stored, generated, transmitted, or exchanged by and between VA and a contractor. The information made available to the contractor by VA for the performance of this contract will be used only for the purposes of performance under this contract.   The certification and accreditation requirements do not apply to this requirement and a security accreditation package is not required.

Security Statement: Sensitive VA information is contained within the systems covered by this contract.

Healthcare Technology Management (HTM) shall perform virus scans on all removable media prior to use on VA medical equipment. This includes all types of removable media, including media (e.g., USB devices, CDs, dongles, etc.) that has been issued by VA, media not issued by VA, and media brought in by vendors or independent service organizations. Within accordance of VA Directive 6500, Information Security Program, September 2007

The Vendor will not transfer any VA information to a location outside the VA and only to VA locations determined by the VA System Administrator.  The information in these systems may be covered by the Privacy Act 1974 which contains criminal penalties of abuse of information.

During onsite service, the Vendor shall be chaperoned by VA Personnel.  However, the vendor should not be issued a User ID/Password.

Non-volatile memory devices, working or non-working, shall NOT be removed from the VA Medical Center until the ISO has certified that the data has been destroyed.   For magnetic devices and media, the data destruction will be by degaussing.  Other forms of cleansing will be used for non-magnetic media.

- GENERAL

Contractors, contractor personnel, subcontractors, and subcontractor personnel shall be

subject to the same Federal laws, regulations, standards, and VA Directives and Handbooks

as VA and VA personnel regarding information and information system security.

2. ACCESS TO VA INFORMATION AND VA INFORMATION SYSTEMS

a. A contractor/subcontractor shall request logical (technical) or physical access to VA

information and VA information systems for their employees, subcontractors, and affiliates only

to the extent necessary to perform the services specified in the contract, agreement, or task

order.

b. All contractors, subcontractors, and third-party servicers and associates working with

VA information are subject to the same investigative requirements as those of VA appointees

or employees who have access to the same types of information. The level and process of

background security investigations for contractors must be in accordance with VA Directive

and Handbook 0710, Personnel Suitability and Security Program. The Office for Operations,

Security, and Preparedness is responsible for these policies and procedures.

c. Contract personnel who require access to national security programs must have a valid

security clearance. National Industrial Security Program (NISP) was established by Executive

Order 12829 to ensure that cleared U.S. defense industry contract personnel safeguard the

classified information in their possession while performing work on contracts, programs, bids,

or research and development efforts. The Department of Veterans Affairs does not have a

Memorandum of Agreement with Defense Security Service (DSS). Verification of a Security

Clearance must be processed through the Special Security Officer located in the Planning and

National Security Service within the Office of Operations, Security, and Preparedness.

d. Custom software development and outsourced operations must be located in the U.S.

to the maximum extent practical. If such services are proposed to be performed abroad and

are not disallowed by other VA policy or mandates, the contractor/subcontractor must state

where all non-U.S. services are provided and detail a security plan, deemed to be acceptable

by VA, specifically to address mitigation of the resulting problems of communication, control,

data protection, and so forth. Location within the U.S. may be an evaluation factor.

e. The contractor or subcontractor must notify the Contracting Officer immediately when

an employee working on a VA system or with access to VA information is reassigned or leaves

the contractor or subcontractor’s employ. The Contracting Officer must also be notified

immediately by the contractor or subcontractor prior to an unfriendly termination.

3. VA INFORMATION CUSTODIAL LANGUAGE

a. Information made available to the contractor or subcontractor by VA for the performance or administration of this contract or information developed by the contractor/subcontractor in performance or administration of the contract shall be used only for those purposes and shall not be used in any other way without the prior written agreement of the VA. This clause expressly limits the contractor/subcontractor's rights to use data as described in Rights in Data - General, FAR 52.227-14(d) (1).

b. VA information should not be co-mingled, if possible, with any other data on the

contractors/subcontractor’s information systems or media storage systems in order to ensure

VA requirements related to data protection and media sanitization can be met. If co-mingling

must be allowed to meet the requirements of the business need, the contractor must ensure

that VA’s information is returned to the VA or destroyed in accordance with VA’s sanitization

requirements. VA reserves the right to conduct on site inspections of contractor and

subcontractor IT resources to ensure data security controls, separation of data and job duties,

and destruction/media sanitization procedures are in compliance with VA directive

requirements.

c. Prior to termination or completion of this contract, contractor/subcontractor must not

destroy information received from VA, or gathered/created by the contractor in the course of

performing this contract without prior written approval by the VA. Any data destruction done on

behalf of VA by a contractor/subcontractor must be done in accordance with National Archives

and Records Administration (NARA) requirements as outlined in VA Directive 6300, Records

and Information Management and its Handbook 6300.1 Records Management Procedures,

applicable VA Records Control Schedules, and VA Handbook 6500.1, Electronic Media

Sanitization. Self-certification by the contractor that the data destruction requirements above

have been met must be sent to the VA Contracting Officer within 30 days of termination of the

contract.

d. The contractor/subcontractor must receive, gather, store, back up, maintain, use,

disclose and dispose of VA information only in compliance with the terms of the contract and

applicable Federal and VA information confidentiality and security laws, regulations and

policies. If Federal or VA information confidentiality and security laws, regulations and policies

become applicable to the VA information or information systems after execution of the

contract, or if NIST issues or updates applicable FIPS or Special Publications (SP) after

execution of this contract, the parties agree to negotiate in good faith to implement the

information confidentiality and security laws, regulations and policies in this contract.

e. The contractor/subcontractor shall not make copies of VA information except as

authorized and necessary to perform the terms of the agreement or to preserve electronic

information stored on contractor/subcontractor electronic storage media for restoration in case

any electronic equipment or data used by the contractor/subcontractor needs to be restored to

an operating state. If copies are made for restoration purposes, after the restoration is

complete, the copies must be appropriately destroyed.

f. If VA determines that the contractor has violated any of the information confidentiality,

privacy, and security provisions of the contract, it shall be sufficient grounds for VA to withhold payment to the

contractor or third party or terminate the contract for default or terminate for

cause under Federal Acquisition Regulation (FAR) part 12.

g. If a VHA contract is terminated for cause, the associated BAA must also be terminated

and appropriate actions taken in accordance with VHA Handbook 1600.01, Business

Associate Agreements. Absent an agreement to use or disclose protected health information,

there is no business associate relationship.

h. The contractor/subcontractor must store, transport, or transmit VA sensitive information

in an encrypted form, using VA-approved encryption tools that are, at a minimum, FIPS 140-2

validated.

i. The contractor/subcontractor’s firewall and Web services security controls, if applicable,

shall meet or exceed VA’s minimum requirements. VA Configuration Guidelines are available

upon request.

j. Except for uses and disclosures of VA information authorized by this contract for

performance of the contract, the contractor/subcontractor may use and disclose VA information

only in two other situations: (i) in response to a qualifying order of a court of competent

jurisdiction, or (ii) with VA’s prior written approval. The contractor/subcontractor must refer all

requests for, demands for production of, or inquiries about, VA information and information

systems to the VA contracting officer for response.

k. Notwithstanding the provision above, the contractor/subcontractor shall not release VA

records protected by Title 38 U.S.C. 5705, confidentiality of medical quality assurance records

and/or Title 38 U.S.C. 7332, confidentiality of certain health records pertaining to drug

addiction, sickle cell anemia, alcoholism or alcohol abuse, or infection with human

immunodeficiency virus. If the contractor/subcontractor is in receipt of a court order or other

requests for the above-mentioned information, that contractor/subcontractor shall immediately

refer such court orders or other requests to the VA contracting officer for response.

l. For service that involves the storage, generating, transmitting, or exchanging of VA

sensitive information but does not require C&A or an MOU-ISA for system interconnection, the

contractor/subcontractor must complete a Contractor Security Control Assessment (CSCA) on

a yearly basis and provide it to the COTR.

GENERAL RULES OF BEHAVIOR

a. Rules of Behavior are part of a comprehensive program to provide complete

information security. These rules establish standards of behavior in recognition of the fact that

knowledgeable users are the foundation of a successful security program. Users must

understand that taking personal responsibility for the security of their computer and the

information it contains is an essential part of their job.

b. The following rules apply to all VA contractors. I agree to:

(1) Follow established procedures for requesting, accessing, and closing user accounts

and access. I will not request or obtain access beyond what is normally granted to users or

by what is outlined in the contract.

(2) Use only systems, software, databases, and data which I am authorized to use,

including any copyright restrictions.

(3) I will not use other equipment (OE) (non-contractor owned) for the storage, transfer,

or processing of VA sensitive information without a VA CIO approved waiver, unless it has

been reviewed and approved by local management and is included in the language of the

contract. If authorized to use OE IT equipment, I must ensure that the system meets all

applicable 6500 Handbook requirements for OE.

(4) Not use my position of trust and access rights to exploit system controls or access

information for any reason other than in the performance of the contract.

(5) Not attempt to override or disable security, technical, or management controls

unless expressly permitted to do so as an explicit requirement under the contract or at the

direction of the COTR or ISO. If I am allowed or required to have a local administrator

account on a government-owned computer, that local administrative account does not confer

me unrestricted access or use, nor the authority to bypass security or other controls

except as expressly permitted by the VA CIO or CIO's designee.

(6) Contractors’ use of systems, information, or sites is strictly limited to fulfill the terms

of the contract. I understand no personal use is authorized. I will only use other Federal

government information systems as expressly authorized by the terms of those systems. I

accept that the restrictions under ethics regulations and criminal law still apply.

(7) Grant access to systems and information only to those who have an official need to

know.

(8) Protect passwords from access by other individuals.

(9) Create and change passwords in accordance with VA Handbook 6500 on systems

and any devices protecting VA information as well as the rules of behavior and

security settings for the particular system in question.

(10) Protect information and systems from unauthorized disclosure, use, modification, or

destruction. I will only use encryption that is FIPS 140-2 validated to safeguard VA sensitive

information, both safeguarding VA sensitive information in storage and in transit regarding

my access to and use of any information assets or resources associated with my

performance of services under the contract terms with the VA.

(11) Follow VA Handbook 6500.1, Electronic Media Sanitization to protect VA

information. I will contact the COTR for policies and guidance on complying with this

requirement and will follow the COTR's orders.

(12) Ensure that the COTR has previously approved VA information for public

dissemination, including e-mail communications outside of the VA as appropriate. I will not

make any unauthorized disclosure of any VA sensitive information through the use of any

means of communication including but not limited to e-mail, instant messaging, online chat,

and web bulletin boards or logs.

(13) Not host, set up, administer, or run an Internet server related to my access to and

use of any information assets or resources associated with my performance of services

under the contract terms with the VA unless explicitly authorized under the contract or in

writing by the COTR.

(14) Protect government property from theft, destruction, or misuse. I will follow VA

directives and handbooks on handling Federal government IT equipment, information, and

systems. I will not take VA sensitive information from the workplace without authorization

from the COTR.

(15) Only use anti-virus software, antispyware, and firewall/intrusion detection software

authorized by VA. I will contact the COTR for policies and guidance on complying with this

requirement and will follow the COTR's orders regarding my access to and use of any

information assets or resources associated with my performance of services under the

contract terms with VA.

(16) Not disable or degrade the standard anti-virus software, antispyware, and/or

firewall/intrusion detection software on the computer I use to access and use information

assets or resources associated with my performance of services under the contract terms

with VA. I will report anti-virus, antispyware, firewall or intrusion detection software errors, or

significant alert messages to the COTR.

(17) Understand that restoration of service of any VA system is a concern of all users of

the system.

(18) Complete required information security and privacy training, and complete required

training for the particular systems to which I require access.

PRIVACY

- Contractors and any subcontractors must adhere to the provisions of Public Law 104-191, Health Insurance Portability and Accountability Act (HIPAA) of 1996.  This includes both the Privacy and Security Rules published by the Department of Health and Human Services (HHS).

- As required by HIPAA, HHS has promulgated rules governing the use and disclosure of protected health information by covered entities, Veterans Health Administration (VHA). In accordance with HIPAA, the contractor may be required to enter into a Business Associate Agreement (BAA) with VHA.

- Business associates must follow VHA privacy policies and practices when applicable. All contractors and business associates must receive privacy training annually.

- For contractors and business associates who do not have access to VHA computer systems, this requirement is met by completing VHA National Privacy Policy training, other VHA approved privacy training or contractor furnished training that meets the requirements of the HHS Standards for Privacy of Individually Identifiable Health Information as determined by VHA.

- For contractors and business associates who are granted access to VHA computer systems, this requirement is met by completing VHA National Privacy Policy training or other VHA approved privacy training.  Proof of training is required upon request.

Safety Requirements:  In the performance of this contract, the Contractor shall take such safety precautions as the Contracting Officer may determine to be reasonably necessary to protect the lives and health of occupants of the building.  The Contracting Officer shall notify the Contractor of any safety issues and the action necessary to correct these issues.  Such notice, when served to the Contractor or his representative at the work site shall be deemed sufficient for the corrective actions to be taken.  If the Contractor fails or refuses to comply promptly, the Contracting Officer may issue an order stopping all or part of the work and hold the Contractor in default.

Additional Charges: There shall be no additional charge for time spent at the site (during, or after the normal hours of coverage) awaiting the arrival of additional FSE and/or delivery of parts.

Reporting Required Services Beyond the Contract Scope: The Contractor shall immediately, but no later than 24 (twenty-four) consecutive hours after discovery, notify the COR and/or designated representative (in writing) of the existence or the development of any defects in, or repairs required, to the scheduled equipment which the Contractor considers he/she is not responsible for under the terms of the contract. The Contractor shall furnish to the COR or designated representative a written estimate of the cost to make necessary repairs.

Condition of Equipment: The Contractor shall accept responsibility for the equipment.

Failure to inspect the equipment prior to contract award will not relieve the Contractor from

performance of the requirements of this contract.

Test Equipment: Prior to commencement of work on this contract, the Contractor shall

provide the VAMC with a copy of the current calibration certification of all test equipment which is to be used by the Contractor on VAMC's equipment. This certification shall also be provided on a periodic basis when requested by the VAMC. Test equipment calibration shall be traceable to the Original Equipment Manufacture’s standard.

Identification, Parking, Smoking, and VA Regulations: The Contractor's FSE's

shall always wear visible identification while on the premises of the VAMC. The Contractor shall park in the appropriate designated parking areas. Information on parking is available from the VA Police Section. The VAMC will not invalidate or make reimbursement for parking violations of the Contractor under any conditions. Smoking is prohibited inside any buildings at the VAMC. Possession of weapons is prohibited. Enclosed containers, including tool kits, shall be subject to search. Violations of VA regulations may result in citation answerable in the United States (Federal) District Court, not a local district, state, or municipal court.

Transportation Charges: All costs associated with transportation, from shipping point to

the destination specified above, and all costs of removal after contract completion, shall be paid by the Contractor and incorporated in the price proposal. The Contractor shall be responsible for all damage in transit including any transportation costs for replacement.

Compliance with OSHA Bloodborne Pathogens Standard: The Contractor shall comply with the Federal/State OSHA equivalent Bloodborne Pathogens Standard.

The Contractor shall:

- Have methods by which all employees are educated as to risks associated with

- bloodborne pathogens.

- Have policies and procedures which reduce the risk of employee exposure to bloodborne pathogens.

- Have mechanisms for employee counseling and treatment following exposure to bloodborne pathogens.

- Provide appropriate personal protective equipment/clothing such as gloves, gowns, masks, protective eyewear, mouthpieces for the employee during performance of the contract.

Miscellaneous: Additional equipment may be added and/or removed throughout the life of this contract and shall be considered within scope.

Contractor Personnel Security Requirements: Security Requirements: All contractor personnel shall obtain a short-term identification badge issued by the COR or government designated representative. Such badge shall be worn by the individual and prominently always displayed while on VA Property. No employee of the contractor shall enter the project site without a valid identification badge issued by the VA. To obtain a short-term identification badge, contractor personnel shall present to the COR a valid (non-expired) photo identification issued by a US federal, state, or local government agency. Escort will be provided as required in sensitive work areas. The C&A requirements do not apply, and the security accreditation package is not required. The identified Sole Source Vendor shall be subject to the Federal laws, regulations, standards, and VA Directives and Handbooks regarding information and information system security as delineated in standard acquisition guidelines. Per the VA handbook 6500.6, no VA sensitive information will be transferred, shared, or stored with vendor. As such, no additional mechanisms will be needed to ensure the protection of information.

Records Management Statement:

1.  Contractor shall comply with all applicable records management laws and regulations, as well as National Archives and Records Administration (NARA) records policies, including but not limited to the Federal Records Act (44 U.S.C. chs. 21, 29, 31, 33), NARA regulations at 36 CFR Chapter XII Subchapter B, and those policies associated with the safeguarding of records covered by the Privacy Act of 1974 (5 U.S.C. 552a). These policies include the preservation of all records, regardless of form or characteristics, mode of transmission, or state of completion.

2.  In accordance with 36 CFR 1222.32, all data created for Government use and delivered to, or falling under the legal control of, the Government are Federal records subject to the provisions of 44 U.S.C. chapters 21, 29, 31, and 33, the Freedom of Information Act (FOIA) (5 U.S.C. 552), as amended, and the Privacy Act of 1974 (5 U.S.C. 552a), as amended and must be managed and scheduled for disposition only as permitted by statute or regulation.

3.  In accordance with 36 CFR 1222.32, Contractor shall maintain all records created for Government use or created in the course of performing the contract and/or delivered to, or under the legal control of the Government and must be managed in accordance with Federal law. Electronic records and associated metadata must be accompanied by sufficient technical documentation to permit understanding and use of the records and data.

4. VA Medical Center VISN 1 VA Medical Facilities and its contractors are responsible for preventing the alienation or unauthorized destruction of records, including all forms of mutilation. Records may not be removed from the legal custody of the VISN 1 VA Medical Facilities or destroyed except for in accordance with the provisions of the agency records schedules and with the written concurrence of the Head of the Contracting Activity. Willful and unlawful destruction, damage or alienation of Federal records is subject to the fines and penalties imposed by 18 U.S.C. 2701.

In the event of any unlawful or accidental removal, defacing, alteration, or destruction of records, Contractor must report to the respective VISN 1 VA Medical Center. The agency must report promptly to NARA in accordance with 36 CFR 1230.

5.  The Contractor shall immediately notify the appropriate Contracting Officer upon discovery of any inadvertent or unauthorized disclosures of information, data, documentary materials, records or equipment. Disclosure of non-public information is limited to authorized personnel with a need-to-know as described in the [contract vehicle]. The Contractor shall ensure that the appropriate personnel, administrative, technical, and physical safeguards are established to ensure the security and confidentiality of this information, data, documentary material, records and/or equipment is properly protected. The Contractor shall not remove material from Government facilities or systems, or facilities or systems operated or maintained on the Government’s behalf, without the express written permission of the Head of the Contracting Activity. When information, data, documentary material, records and/or equipment is no longer required, it shall be returned to VISN 1 VA Medical Facilities control or the Contractor must hold it until otherwise directed. Items returned to the Government shall be hand carried, mailed, emailed, or securely electronically transmitted to the Contracting Officer or address prescribed in the [contract vehicle]. Destruction of records is EXPRESSLY PROHIBITED unless in accordance with Paragraph (4).

6.  The Contractor is required to obtain the Contracting Officer's approval prior to engaging in any contractual relationship (sub-contractor) in support of this contract requiring the disclosure of information, documentary material and/or records generated under, or relating to, contracts. The Contractor (and any sub-contractor) is required to abide by Government and VISN 1 VA Medical Facilities guidance for protecting sensitive, proprietary information, classified, and controlled unclassified information.

7.  The Contractor shall only use Government IT equipment for purposes specifically tied to or authorized by the contract and in accordance with VISN 1 VA Medical Facilities policy.

8.  The Contractor shall not create or maintain any records containing any non-public VISN 1 VA Medical Facilities information that are not specifically tied to or authorized by the contract.

9.  The Contractor shall not retain, use, sell, or disseminate copies of any deliverable that contains information covered by the Privacy Act of 1974 or that which is generally protected from public disclosure by an exemption to the Freedom of Information Act.

10.  The VISN 1 VA Medical Facilities owns the rights to all data and records produced as part of this contract. All deliverables under the contract are the property of the U.S. Government for which VISN 1 VA Medical Facilities shall have unlimited rights to use, dispose of, or disclose such data contained therein as it determines to be in the public interest. Any Contractor rights in the data or deliverables must be identified as required by FAR 52.227-11 through FAR 52.227-20.

11.  Training.  All Contractor employees assigned to this contract who create, work with, or otherwise handle records are required to take VHA-provided records management training, Talent Management System (TMS) Item #3873736, Records Management for Records Officers and Liaisons. The Contractor is responsible for confirming training has been completed according to agency policies, including initial training and any annual or refresher training.

VHA Supplemental Contract Requirements for Ensuring Adequate COVID-19 Safety Protocols for Federal Contractors

1. Contractor employees who work in or travel to VHA locations must comply with the following:

- Documentation requirements:

  - If fully vaccinated, shall show proof of vaccination

    - NOTE: Acceptable proof of vaccination includes a signed record of immunization from a health care provider or pharmacy, a copy of the COVID-19 Vaccination Record Card (CDC Form MLS-319813_r, published on September 3, 2020), or a copy of medical records documenting the vaccination

  - If unvaccinated and granted a medical or religious exception, shall show negative COVID-19 test results dated within three calendar days prior to desired entry date. Test must be approved by the Food and Drug Administration (FDA) for emergency use or full approval. This includes tests available by a doctor’s order or an FDA approved over-the-counter test.

  - Documentation cited in this section shall be digitally or physically maintained on each contractor employee while in a VA facility and is subject to inspection prior to entry to VA facilities and after entry for spot inspections by Contracting Officer Representatives (CORs) or other hospital personnel.

  - Documentation will not be collected by the VA; contractors shall, at all times, adhere to and ensure compliance with federal laws designed to protect contractor employee health information and personally identifiable information.

- Contractor employees are subject to daily screening for COVID-19 and may be denied entry to VA facilities if they fail to pass screening protocols. As part of the screening process contractors may be asked screening questions found on the following website: COVID-19 Screening Tool.  Regularly check the website for updates.

- Contractor employees who work away from VA locations, but who will have direct patient contact with VA patients shall self-screen utilizing the COVID-19 Screening Tool, in advance each day that they will have direct patient contact and in accordance with their person or persons who coordinate COVID-19 workplace safety efforts at covered contractor workplaces.  Contractors shall, at all times, adhere to and ensure compliance with federal laws designed to protect contractor employee health information and personally identifiable information.

- Contractor must immediately notify their COR or Contracting Officer if contract performance is jeopardized due to contractor employees being denied entry into VA Facilities.”