SALIENT CHARACTERISTICS

ADEC CHAIRS

- Ergonomic Design: A-dec chairs are designed to support both patient comfort and practitioner efficiency, featuring contoured surfaces and adjustable components.

- Comfort and Support: The chairs offer whole-body support, ensuring patients feel secure and comfortable during procedures.

- Technological Integration: Many models come with integrated touchpad controls and advanced features like the A-dec 500 Pro delivery system, which includes a 7-inch touchscreen and A-dec+ software for updates.

- Durability: A-dec chairs are built to last, with a service life of up to 20 years under normal use, and come with a 10-year warranty.

1

- Versatility: The chairs are designed to integrate with various clinical devices, making them suitable for modern dental practices.

STATEMENT OF WORK

ADEC Dental Chair Installation

Equipment must be installed at VA Greater Los Angeles’ Sepulveda Ambulatory Care Center at 16111 Plummer Street, Sepulveda, CA 91343

Vendor shall install ordered equipment per the below requirements

- Deinstall and remove old equipment that is being replaced

- Move equipment into the dental rooms in the locations specified by VA personnel

- Remove all trash and debris associated with the equipment

- Assemble all equipment per manufacturer requirements

- Anchor all equipment per manufacturer requirements

- Complete final air and vacuum connections

- Connect plumbing and electrical (with VA Facilities assistance)

- Calibrate all equipment

- Function test all equipment to confirm proper function

- Vendor must offer a warranty for installation, should installation issues arise after initial install

Installation must be scheduled through Biomedical Engineering. A site walk may be scheduled before installation.