| SUBJECT* | VISN 1 Robot Delivery System BPA |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 04330 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24126Q0372 |
| RESPONSE DATE/TIME/ZONE | 04-13-2026 1PM EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 30 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE | N/A |
| PRODUCT SERVICE CODE* | 6515 |
| NAICS CODE* | 339113 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office 1 (NCO 1) Contracting Officer (90C) 1 VA Center Augusta ME 04330 |
| POINT OF CONTACT* | Contract Specialist Dewan Britton Dewan.Britton@va.gov (910) 343-5300 |

PLACE OF PERFORMANCE

| ADDRESS | All VISN 1 Locations - to Include |
| --- | --- |
|  | West Roxbury VAMC |
|  | 1400 VFW Parkway |
|  | West Roxbury MA |
| POSTAL CODE | 02132-4927 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL | https://department.va.gov/ |
| --- | --- |
| URL DESCRIPTION | Department of Veterans Affairs |
| AGENCY CONTACT’S EMAIL ADDRESS | Dewan.Britton@va.gov |
| EMAIL DESCRIPTION | Contract Specialist's Email |

DESCRIPTION

The Department of Veterans Affairs, VISN 1 New England Healthcare System, intends to issue a solicitation for the procurement, installation, training, and support of an enterprise-wide Autonomous Mobile Robot (AMR) Delivery System. This requirement will establish a Blanket Purchase Agreement (BPA) covering all VISN 1 Medical Centers. The forthcoming solicitation will be issued as a competitive procurement.

Scope of Requirement
VISN 1 intends to replace its aging fleet of AMRs with a modern, fully integrated robotic delivery solution. The contractor shall furnish all equipment, infrastructure, accessories, installation services, training, technical support, maintenance, documentation, and system configuration necessary to deploy a fully functional AMR system across participating medical centers. The solution will support autonomous delivery of medications, specimens, supplies, materials, and similar items throughout VA medical facilities.

Major Requirements
The forthcoming solicitation will require:
• Delivery and installation of new AMRs with advanced navigation, mapping, obstacle detection, and autonomous docking capability.
• All related infrastructure, communication equipment, docking stations, and system configuration. 
• Development of facility-specific mapping, routes, and travel paths. 
• 24/7 remote monitoring, proactive maintenance, software updates, and technical support. 
• Comprehensive training for Health Technology Management/Biomedical Engineering clinical staff, and physicians across all shifts. 
• Full documentation including operator manuals, service guides, troubleshooting manuals, and installation diagrams. 
• Trade-in or disposal services for existing Aethon TUG robots. 
• Compliance with all VA security, privacy, data protection, safety, and facility access requirements.

Breakdown of Equipment & Services

AMR System Equipment Includes all required AMR hardware and system components. • Autonomous Mobile Robots (AMRs) with navigation, mapping, sensors, obstacle avoidance, charging/docking capabilities • Accessories, radios, communication devices, PoE/IT support hardware • All OEM operator and service manuals (hard + soft copies) • New materials and parts delivered in OEM packaging

System Installation, Configuration & Commissioning Complete turnkey installation of all AMRs and infrastructure. • On-site survey, mapping routes, interference scanning, infrastructure layout diagrams • Delivery, installation, calibration, and commissioning of all AMRs and equipment • Development of travel paths, software setup, and integration with doors and elevators • Waste removal, site cleanup, and packaging disposal

Project Management Covers oversight and coordination of the system rollout. • Project manager, project timeline, coordination with VAMC departments and CORs • Implementation plan, go-live planning, roles/responsibilities

Training Training for all required VA personnel. • Technical training for HTM/Biomed to OEM-equivalent service level (includes tools/test equipment) • On-site clinical training for technologists and physicians at go-live and follow-up sessions across all shifts • Training materials and manuals

Warranty & Preventive Maintenance Complete system warranty and routine service. • OEM one-year warranty covering all parts, labor, PMs, and travel • Scheduled PM in accordance with manufacturer requirements • Software updates, patching, and remote diagnostics during warranty

Unscheduled Maintenance & Technical Support Support services outside normal PM. • 24/7 monitoring, remote support, and technical issue resolution • Required response times (1-hour phone response, 4-hour onsite if needed) • Labor, parts, travel for unscheduled corrective maintenance

Data Integration, Reporting & Cybersecurity Compliance For data reporting features and VA cybersecurity compliance. • Real-time monitoring, analytics, performance reporting, downtime tracking • Chain-of-custody logging and data security compliance • VPN requirements, diagnostics, compliance with VA Directive 6500, privacy/HIPAA requirements

Trade-In or Disposal of Existing TUG Robots As required by site. • Trade-in credit or disposal of Aethon TUG fleet

Year 2 of Service

Year 3 of Service

Year 4 of Service

Year 5 of Service

All ongoing service, maintenance, and support functions described above apply annually for the duration of BPA ordering periods.

Place of Performance
The AMR system will support all VISN 1 medical centers, including Boston (Jamaica Plain, West Roxbury, Brockton), Providence, White River Junction, Manchester, Bedford, VA Maine, Central Western Massachusetts, and VA Connecticut (West Haven).

Anticipated Contract Type
A Blanket Purchase Agreement (BPA) is anticipated. Specific ordering procedures will be provided in the solicitation.

Requested Capability Information
The Government seeks capability information from contractors able to supply Autonomous Mobile Robots (AMRs) for VISN 1, including whether the AMRs and associated components offered are domestic or non-domestic in origin. Vendors should briefly summarize their technical capability, relevant experience, delivery capacity, business size or socioeconomic status, and ability to comply with applicable trade or country-of-origin requirements. The full solicitation will be released at a later date on SAM.gov.

Market Research Disclaimer

This sources sought notice does not constitute a request for offers; the Government is seeking information solely to identify capable sources at this time.

See attached document: PWS - VISN 1 Robotic Delivery System BPA - 03.30.2026.