## Sheet1
NADTC Initial Spares List - NAS Oceana
OEM P/N | ITEM NAME/NOMENCLATURE | TQR
17121000010 | Temperature Sensor, FLZ-530 | 1
1584T8A1 | Hammond Power Strip | 1
2002-2408 | WAGO 4-Conducter Terminal Block | 1
42-360-03 | Extron Speaker | 1
60-1054-01 | Extron DMP 64 | 1
60-1211-01 | Extron DMP 128 | 1
60-1761-01 | Extron XPA U 1002 Amplifier | 1
60-1956-01 | Extron PDU IPL EXP PDU4H | 1
60-952-02 | Extron SW2 USB Switch | 1
703600-EJ1 | Delcom Foot Switch | 1
7148QV-8800 | 10ZiG Zero Client | 1
750-1407 | WAGO Digital Input | 1
750-1505 | WAGO Digital Output | 1
750-315/300-000 | WAGO Fieldbus Coupler MODBUS | 1
750-600 | WAGO End Module | 1
750-613 | WAGO Power Supply | 1
750-631/000-011 | WAGO Encoder | 1
750-652 | WAGO RS-232/485 Serial Interface | 1
750-8212 | WAGO PFC Controller | 1
857-304 | WAGO Relay Module | 1
ANVX-2TB | APRICORN AEGIS NVX SSD 2 TB | 1
AS-4CR | Adder Secure Card Reader | 1
ASI25-5101-AD-1 | Rave AD Computer | 1
ASI25-5101-BU-MAINT-1 | Rave Maintenance Computer | 1
AVS 4214 | Adder Secure KVM | 1
CA-9011237-NA | Corsair HS80 Headset | 5
CH-9109414-NA | Corsair Keyboard | 1
CH-9306011-NA | Corsair Mouse | 1
CVB/C | Shure Microphone | 1
DRS-1215 | Eaton Power Strip | 1
F117 | CyberView 1080p Console Drawer | 1
FPR-1120-ASA-K9 | CISCO 1000 Series Firewall | 2
HB30A7AME | StarTech USB Hub | 1
ICX8200-24P | RUCKUS Ethernet Switch | 2
K117 | CyberView 4K Console Drawer | 1
MDR-60-24 | Power Supply, Single Output, 60W, 24VDC | 1
MDR-60-5 | Power Supply, Single Output, 60W, 5VDC | 1
P5525QC | Dell 55 Inch Monitor | 2
PA147CDV | ASUS ProArt Display | 1
PS-24AS | 24 Vdc Switching Power Supply | 2
R660 (H) | Dell R660 Computer | 1
R660 (L) | Dell R660 Computer | 1
RU-NL2 | RDL Network to Line | 1
S2725QS | Dell 27 Inch Display | 1
S5224F-ON | Dell 24 Port Ethernet Switch | 2
SC628AN | SONALERT | 1
SCR3310V2 | SCM Microsystem Smart Card Reader | 2
SMTL1000RM2UCUS | APC UPS | 2
SRT192RMBPUS | BATTERY PACK, APC SMART-UPS | 1
SRT5KRMXLT | APC UPS | 2
TCF-142-M-SC | TCF-142 SERIES RS-232/422/485 to fiber converter | 1
U4323QE | Dell 43” 4K Display | 2
UB215KKG016B-3JB | Low Profile Pushbutton | 2
UB215KKG016CF-3JB | Switch Push SPDT | 2
VA4N21A1 | Vertiv Geist rPDU Distribution Unit | 2
VM0808HB | Aten 8x8 4K HDMI Matrix | 2
VP6N21A0 | Vertiv Geist rPDU Monitor | 2
VTN-TN PRO | Veracity Timenet Pro Timeserver | 2
DVDO-Switcher-21SS-MV | 4K 2X1 SEAMLESS HDMI SWITCHER WITH MULTIVIEW & AUDIO OUTPUT | 1
ENA1J-B28-L00128L | ENCODER, ROTARY, OPTICAL | 1
PB16250 | Dell Pro 16 Plus Maintenance Laptop | 1
SD5780T | Kensington Docking Station | 1
70-1174-01 | PS Series Desktop Power Supply PS-1242 | 1
Required On-Site Date: | NLT February 15, 2027
Shipment Requirement: | Must be a single