| Question | Answer |
| --- | --- |
| - What Grade of Helium is needed? UHP or Balloon? (UHP is for scientific instruments normally, and Balloon grade or Lift grade is not) | UHP |
| - Are cylinders and valves to be brand new? Or are refurbished with 5-year warranty acceptable? | The cylinders do not have to be brand new. They can be refurbished with a 5-year warranty. The valves have to be brand new. |
| - The RFQ indicated a non-standard volume/size. Most of the industry uses K-size (218 c.f.) and T-size (291 c.f.) (also known as 200s, or 300s by some companies). The H-size was a size in the past and it is 244 c.f., but that is likely a special order, as we do not use those currently. | We would like the T-size tanks at 291cu. ft. |