STATEMENT OF WORK

Relocate T-Mobile Equipment

- PROJECT OVERVIEW

1.1 PURPOSE:

To facilitate the work required for the EHRM Infrastructure upgrades project on the Audie L. Murphy VAMC located at 7400 Merton Minter San Antonio, TX 78229, certain wall mounted equipment is required to be removed and relocated from several IT closet walls. This equipment is owned by T-Mobile and must only be worked on by their authorized contractors.  The equipment must be moved so the walls can be demolished and relocated, fitted with fire retardant plywood, or to coordinate with other utilities within the room.

2.1 SCOPE OF WORK

2.1	General:

The Contractor shall provide all labor, materials, supplies, tools and equipment, supervision, and services necessary to completely remove and relocate T-Mobile equipment within approximately 9 rooms.  The contractor shall coordinate with the COR for the exact placement of the relocated T-Mobile-owned equipment to ensure that relocated equipment does not interfere with construction work being performed by other contractors.  These rooms include room #’s 030, J104, A200, 238, S101, H031, 105, D320, and 020.  The contractor shall ensure that interruptions to services are minimized while performing the required work.  After-hour work may be required to minimize impact to certain areas of the hospital.

2.1.1   Work Shall Include:

The project includes, but is not limited to:

- Careful coordination with the COR and existing Electronic Health Records Modernization (EHRM) general contractor.

- Temporary relocation of T-Mobile owned equipment and its accessories by any means necessary

- Remounting of equipment when the room is deemed sufficiently complete

- Electrical bonding

- Electrical

- Architectural

- Project Building Locations Include:

- Building 1 (Main Hospital Building, Including Tower and SCUI, Community Living Center building, and Polytrauma building)

- Building 4

- All numbers are approximate.  Contractor will need to field verify all amounts.  If there is a discrepancy in the amounts provided or any condition affecting work shall be brought to the attention of the VA Representative before proceeding with the work.

2.1.2 Subcontractors

The contractor shall be responsible for obtaining and coordinating the services of any and all third-party contractors performing other services on site and other entities as part of the contract to ensure the expected quality, timely delivery, and documented final product. O&M manuals, As-Built drawings in CAD, PDF, and a link, applicable permits, installation, testing, and commissioning are also required.

2.1.3 Hours of Operation

Normal hours of operation for VA sites are 8:00AM to 4:30PM Monday through Friday except for Federal Holidays.  If the Contractor desires to work on Saturday, Sunday, holidays, or outside the project site’s normal working hours the contractor must submit a written request for approval to the VA-COR at least five (5) working days prior to the proposed start of such work.

2.1.4 Period of Performance

The period of performance will coincide with the existing EHRM Infrastructure Upgrades contract completion date of 07/22/2027.  The number of visits to the site and the exact dates shall be coordinated with the COR. The project will be accepted and considered completely upon the reinstallation of T-Mobile  equipment in the last IT closet listed and all relocated equipment has been verified to be active.

2.2 DESCRIPTION OF WORK

2.2.1 Existing Conditions

2.2.1.1 Before disabling any of the following systems, the contractor needs to coordinate with the contractor office representative (COR) at least 10 working days in advance. Contractor shall be responsible for relocating and temporary installing all utilities and controls, including, but not limited to, telephone, data, electrical, med/gas, emergency power, AV alarms, smoke detectors, sprinklers heads, speakers, nurse call, card readers, isolation monitor, phone booster, wi-fi boosters, pull stations, etc.  It is the contractor’s responsibility to immediately repair any tampered with system and utilities at no additional cost to the government.

2.2.1.2 Contractor will coordinate all work with existing work to remain and existing conditions.

2.2.1.3 Contractor shall be responsible for complying with all the required documents and applicable Department of Veterans Affairs Master Specifications as part of this project.

2.2.1.4 Contractor must also comply with all applicable city, county, state, and federal regulations / codes and applicable OSHA standards project. Services shall also comply with Infection Control Risk Assessment (ICRA), attached, and IC standards delineated in the specifications.

2.2.1.5 Exterior on-site staging WILL NOT be provided on the VA premises except when noted in the drawings and specification.  Only dumpsters will be allowed for debris removal.  Use a covered lock dumpster and label it with the project name and prime contractor information on it.  Leaving the dumpster open, the contractor will risk having other contractors or VA staff throwing items into it.

2.2.1.6 There will be NO contractor parking allowed on the VA campus.

2.2.1.7 Removal and renovation shall take place with minimal disruption to adjacent workspaces.

2.2.1.8 Remove debris shall be recycled to the best ability of the contractor.  Reports of weight and deposition of all waste are to accompany the monthly progress payments (C&D Waste Form attached). Form also included in corresponding specification.

2.2.1.9 Any item damage during removal is the contractor’s responsibility to replace with no additional cost to the government.

2.2.1.10 All work shall be in accordance with VA specifications.  All costs shall be included in the proposal.  All work shall be coordinated with the VA prior to any work being performed.

2.2.2 Additional Requirements

2.2.2.1 Housekeeping - Accumulation of trash, paper, wood shavings, sawdust, excelsior, boxes and other packing materials will be cleaned up as often as necessary and at the end of each workday.   No items are to remain on site overnight.

2.2.2.2 False Alarms – Fire Department response fees for false alarms caused by the contractor will be paid by the contractor.  To avoid this, dust covers for smoke detectors and alarms are required to be used while work is ongoing. These covers shall be removed at the end of the work shift to keep them operational.

2.2.2.3 Fire Watch - Provide fire watch for impairments more than 4 hours in a 24-hour period. Request interruptions in accordance with Article, OPERATIONS AND STORAGE AREAS, and coordinate with COR and facility safety officer. All existing or temporary fire protection systems (fire alarms, sprinklers) located in work areas shall be tested as coordinated with the medical center. Parameters for the testing and results of any tests performed shall be recorded by the medical center and copies provided to the COR.

2.2.2.4 Smoking is strictly prohibited in all Government facilities.

2.2.2.5 Security – Contractors will wear security badge in plain sight above the waist at all times.  Contractors found without a badge will be immediately removed from VA property by VA Police.

2.2.2.6 Parking – There will be NO contractor parking allowed on the VA campus except for unloading materials & equipment and loading debris & equipment.  Contractor vehicles found parked in VA parking lots will be issued a United States District Court Violation Notice and immediately removed and banned from VA property.

2.2.2.7 Tuberculosis (TB) – Contractor is responsible for ensuring that contracted worker(s) have been screened for TB. The contractor must provide written certification within 24 hours upon receiving notice to proceed to the COR that all contract employees assigned to the work site have had a pre-placement tuberculin screening prior to assignment to the work site and been found to be free of active TB. Testing results must be less than one year old.

2.2.2.8 Safety - Safety and personal protective equipment (PPE) must be provided for each contractor employee by the Contractor.

2.2.2.9 OSHA 10 & 30 -Hour Training Course – All workers are required to have the OSHA 10-hour Construction Safety training certification. The safety manager and/or superintendent shall have the 30-hour Construction Safety course certification. Proof of certification shall be on site at all times.

2.2.2.10 Permits- Contractor shall submit all permits associated with this project to the COR.  This includes permits necessary with the City of San Antonio and local Fire departments. The contractor shall be responsible for coordination with these offices.

2.2.2.11 Infection Control (IC) and Safety– All contractors, workers and COR’s must attend the Infection Prevention training every fiscal year. All workers shall have a current IC training sticker attached to their badges at all times. If this requirement is not met, workers will be removed from work site. Refer to construction documents for additional information.

2.2.2.12 Seasonal Influenza Vaccination – VHA Directive 1192.01 establishes policy and provides guidance for the prevention of seasonal influenza in VHA facilities, through the vaccination of health care personnel (HCP).  HCP are individuals who, during the influenza season, work in VHA locations or who come into contact with VA patients or other HCP as part of their duties. HCP include all VA contractors who are expected to perform any or all of their work at VA facilities.  Contracting Officer (CO) shall ensure the flu vaccination requirements outlined in this directive are expected in all HCP contracts. VA contracting officers are responsible for on-site HCP contract and will inform the contractors about this directive and its requirements.

2.2.2.13 Infection Control (IC) and Safety– All Contractors, workers and CORS must attend the Infection Prevention training annually. (Ten-minute DVD). All workers will have a current IC training sticker attached to their badges at all times. If this requirement is not met, workers shall be removed from work site.

2.2.2.14 All contractors must have proof of positive or negative result purified protein derivative (PPD’s) PRIOR to starting work.

2.2.2.15 The Infection Prevention office will be notified of all meetings prior to work being performed.

2.2.2.16 The infection control risk assessment (ICRA) shall be written into the contract and specifications for all projects to prevent cost discrepancies.

2.2.2.17 Infection Prevention office needs to be notified if the air conditioning (AC) must be interrupted in areas that affect patient care.

2.2.2.18 Work signs and copy of IC permit shall be posted at project site at all times. All IC and dust control measures shall be implemented at all times.

2.2.2.19 Alterations: Infection Prevention Office will be notified of any work changes in areas of the building for anticipated routes of access.

2.2.2.20 All installation work will comply with VA specifications for material and workmanship, NEC, NFPA, all applicable city, county, state, federal regulations, codes and OSHA standards. Refer to construction drawings and specs for requirements.

2.2.2.21 A HEPA filtered vacuum shall be used on site for small clean-ups in patient care areas that have an ICRA of 1 or 2.

2.2.2.22 When using the elevators patients are given first priority, please get off the elevator for the patient. NEVER ride in the elevator with patients in beds and/or food service delivering trays.

2.2.2.23 Conduct work to interfere as least as possible with facility operations. All coordination for utilities shutdown shall be coordinated at least 72 hours prior to event with COR. For major utility system shutdowns, coordination shall be done at least 1 week in advance.

2.2.2.24 All fire and smoke wall penetrations shall be fireproofed according to corresponding wall rating. These shall be through a sleeve and sealed with fire barrier compound to be approved by VA.

4. ACCEPTANCE

4.1 The contractor has relocated and reinstalled all T-Mobile equipment required.

4.2 All relocated equipment has been tested and is in working order.

5. CONFIDENTIALITY AND NONDISCLOSURE

5.1 The preliminary and final deliverables and all associated working papers, application source code, and other material deemed relevant by the VA which has been generated by the contractor in the performance of this Order are the exclusive property of the U.S. Government and shall be submitted to the VA-COR at the conclusion of the contract.

5.2 The Contracting Officer will be the sole authorized official to release verbally or in writing,

any data, the draft deliverables, the final deliverables, or any other written or printed materials

pertaining to this contract.  No information shall be released by the contractor.  Any request

for information relating to this contract presented to the contractor shall be submitted to the

CO for response.

5.3 Press releases, marketing material or any other printed or electronic documentation

related to this project, shall not be publicized without the written approval of the CO.

5.4 To the extent that the work under this contract requires that the contractor be given

access to proprietary business, technical or financial information belonging to the

Government or other companies, the contractor shall treat such information as proprietary

business sensitive and agrees not to appropriate such information to its own use or to

disclose such information to third parties unless specifically authorized by the CO in writing.

A mutually agreed to agreement for exchange of sensitive information or nondisclosure

agreement may be required.

6. ACCESS & RECORDS

6.1 Information Systems Officer, Information Protection:

The contractor shall not have access to any VA desktop computer nor shall they have access to online resources belonging to the government while conducting services. If removal of

equipment from the VA is required, any memory storage devices, such as hard drives, solid state drives and non-volatile memory units shall remain in VA control and shall not be removed from VA custody.

6.2 Privacy Officer:

The contractor shall not have access to protected Patient Health Information (PHI) nor shall

they have the capability of accessing patient information during the services provided to the

VA and if removal of equipment from the VA is required, any memory storage devices, such

as hard drives, solid state drives and non-volatile memory units shall remain in VA control and shall not be removed from VA custody. All research data available for Contractor analyses is de-identified.

6.3 Records Manager:

Contractor shall comply with all applicable records management laws and regulations, as well as National Archives and Records Administration (NARA) records policies, including but not limited to the Federal Records Act (44 U.S.C. chs. 21, 29, 31, 33), NARA regulations at 36

CFR Chapter XII Subchapter B, and those policies associated with the safeguarding of records covered by the Privacy Act of 1974 (5 U.S.C.552a). These policies include the

preservation of all records, regardless of form or characteristics, mode of transmission, or

state of completion.

1. In accordance with 36 CFR 1222.32, all data created for Government use and delivered to,

or falling under the legal control of, the Government are Federal records subject to the

provisions of 44 U.S.C. chapters 21, 29, 31, and 33, the Freedom of Information Act (FOIA)

(5 U.S.C. 552), as amended, and the Privacy Act of 1974 (5 U.S.C. 552a), as amended and

must be managed and scheduled for disposition only as permitted by statute or regulation.

2. In accordance with 36 CFR 1222.32, Contractor shall maintain all records created for

Government use or created in the course of performing the contract and/or delivered to, or

under the legal control of the Government and must be managed in accordance with Federal

law. Electronic records and associated metadata must be accompanied by sufficient technical

documentation to permit understanding and use of the records and data.

3. STVHCS and its contractors are responsible for preventing the alienation or unauthorized

destruction of records, including all forms of mutilation. Records may not be removed from

the legal custody of STVHCS or destroyed except for in accordance with the provisions of the

agency records schedules and with the written concurrence of the Head of the Contracting

Activity. Willful and unlawful destruction, damage or alienation of Federal records is subject

to the fines and penalties imposed by 18 U.S.C. 2701. In the event of any unlawful or

accidental removal, defacing, alteration, or destruction of records, Contractor must report to

STVHCS. The agency must report promptly to NARA in accordance with 36 CFR 1230.

4. The Contractor shall immediately notify the appropriate Contracting Officer upon

discovery of any inadvertent or unauthorized disclosures of information, data, documentary

materials, records or equipment. Disclosure of non-public information is limited to authorized

personnel with a need-to-know as described in the [contract vehicle]. The Contractor shall

ensure that the appropriate personnel, administrative, technical, and physical safeguards are

established to ensure the security and confidentiality of this information, data, documentary

material, records and/or equipment is properly protected. The Contractor shall not remove

material from Government facilities or systems, or facilities or systems operated or

maintained on the Government’s behalf, without the express written permission of the Head

of the Contracting Activity. When information, data, documentary material, records and/or

equipment is no longer required; it shall be returned to STVHCS control or the Contractor

must hold it until otherwise directed. Items returned to the Government shall be hand carried,

mailed, emailed, or securely electronically transmitted to the Contracting Officer or address

prescribed in the [contract vehicle]. Destruction of records is EXPRESSLY PROHIBITED

unless in accordance with Paragraph (4).

5. The Contractor is required to obtain the Contracting Officer's approval prior to engaging in

any contractual relationship (sub-contractor) in support of this contract requiring the

disclosure of information, documentary material and/or records generated under, or relating

to, contracts. The Contractor (and any sub-contractor) is required to abide by Government

and STVHCS guidance for protecting sensitive, proprietary information, classified, and

controlled unclassified information.

6.  The Contractor shall only use Government IT equipment for purposes specifically tied to

or authorized by the contract and in accordance with STVHCS policy.

7.  The Contractor shall not create or maintain any records containing any non-public

STVHCS information that is not specifically tied to or authorized by the contract.

8. The Contractor shall not retain, use, sell, or disseminate copies of any deliverable that

contains information covered by the Privacy Act of 1974 or that which is generally protected

from public disclosure by an exemption to the Freedom of Information Act.

9. The STVHCS owns the rights to all data and records produced as part of this contract. All

deliverables under the contract are the property of the U.S. Government for which STVHCS

shall have unlimited rights to use, dispose of, or disclose such data contained therein as it

determines to be in the public interest. Any Contractor rights in the data or deliverables must

be identified as required by FAR 52.227-11 through FAR 52.227-20.

10. Training. All Contractor employees assigned to this contract who create, work with, or

otherwise handle records are required to take VHA-provided records management training,

Talent Management System (TMS) Item #10176, Privacy and Information Security,

Rules of Behavior. The Contractor is responsible for confirming training has been completed

according to agency policies, including initial training and any annual or refresher training.

End Statement of Work