## TAB A-Directions
1.0 Introduction: Marine Corps Systems Command (MCSC) is conducting market research to identify potential sources for a secure, dual-accreditable, deployable workspace solution. This RFI is issued to assess the current market capabilities of solutions that can support sensitive operations in diverse and austere environments. The solution must provide a high degree of physical security, acoustic and electronic signal protection (to SCIF and SAP standards), and logistical flexibility. The information gathered from this RFI will be used for planning purposes.
2.0 Response Directions: Interested parties are requested to respond by completing the attached 'Security' checklist (Tab B). 2.1 Please evaluate your company's ability to comply with the requirements listed. 2.2 For each requirement, select "Yes" if your facility and company policty meets the specification or "No" if it does not. 2.3 Please include any available certifications, or documentation that validates your responses. *Characteristics outlined in Tab B are subject to change without notice to industry.
Reference Documents:
ICD-705 SCIFs; 26 May 2010
ICS-705-01; 17 Sep 2010
ICS-705-02; 28 Mar 2022
Army Standard Family of Rigid Wall Shelters CDD; 21 Sep 2016
Technical Specifications for Construction and Management of Sensitive Compartmented Information Facilities v.1.5.1; 26 Jul 2022 (Chap 3 & Chap 6)
SCI Administrative Security Manual; Administration of Physical Secuirty, Visitor Control, and Technical Security #5105.21 Vol 2; 02 Nov 2020
DONSAPCO 459-23 (SAP Physcial Standards) DoDM 5205.07; 17 Jan 2025
Special Access Program Security Manual DoDM 5205.07
F-35 Shielding Requirements JPO Letter; 8 Mar 2023
Mandatory RF Countermeasure Requirement for all New DoN SCIFs; Jan 2023
CNSSAM TEMPEST 1-13; 20140117
DoS Best Practices Guideline for Architectural Radio Frequency Shielding

## Tab B-Vendor Response
DS3 Market Research
# | #1-181 are directly taken from the Technical Specifications for Construction and Management of Sensitive Compartmented Information Facilities v.1.5.1; 26 Jul 2022 | Yes | No | Notes
1 | Construction plans and all related documents shall be handled and protected in accordance with the CSP. | [ ] | [ ]
2 | Construction and design of SCIFs should be performed by U.S. companies using U.S. citizens to reduce risk, but may be performed by U.S. companies using U.S. persons (an individual who has been lawfully admitted for permanent residence as defined in 8 U.S.C áŸ› 1101 (a)(20) or who is a protected individuals as defined by Title 8 U.S.C áŸ› 1324b (a)(3)). The AO shall ensure mitigations are implemented when using non-U.S. citizens. These mitigations shall be documented in the CSP. | [ ] | [ ]
3 | All site control measures used shall be documented in the CSP. Among the control measures that may be considered are the following: Identify verification. | [ ] | [ ]
4 | All site control measures used shall be documented in the CSP. Among the control measures that may be considered are the following: Random searches at site entry and exit points. | [ ] | [ ]
5 | All site control measures used shall be documented in the CSP. Among the control measures that may be considered are the following: Signs at all entry points listing prohibited and restricted items (e.g., cameras, firearms, explosives, drugs, etc.). | [ ] | [ ]
6 | All site control measures used shall be documented in the CSP. Among the control measures that may be considered are the following: Physical security barriers to deny unauthorized access. | [ ] | [ ]
7 | All site control measures used shall be documented in the CSP. Among the control measures that may be considered are the following: Vehicle inspections. | [ ] | [ ]
8 | When in transit, the shelter will be monitored by a U.S. SECRET cleared individual | [ ] | [ ]
9 | The vendor would be able to conform to TEMPEST countermeasures as identified by a government assigned CTTA. The AO, in collaboration with the CTTA, shall provide red/black separation and "protected distribution" guidance for field installation in accordance with CNSSAM TEMPEST 1/13 and CNSSI 7003. The CTTA shall conduct a TEMPEST countermeasures inspection and shall recommend safeguards to limit compromising emanations. TEMPEST safeguards should be pre-engineered into platforms to the greatest extent possible. | [ ] | [ ]
Distribution Statement D. Distribution authorized to Department of Defense and DoD Contractors Only; CTI; (July 2025). Other Requests for this Document must be Referred to: Marine Corps Systems Command, Product Manager Maintenance Support Systems (PdM MSS), 220 Lester Street, Quantico, VA 22134-5050