Statement of Work

# Project Description

Task Description:  The Crane Division of the Naval Sea Systems Command (NAVSEA) Naval Surface Warfare Center, (NSWC Crane) has a requirement for the procurement, delivery, installation, and calibration of a TA Instruments Discovery TGA 5500 and Discovery DSC 2500 machine capable of characterizing material thermal properties, material composition, and material degradation methods. Accessories needed include 4-port broadband router for equipment communication, and environmental and sample creation accessories including: Gas Dryer, Press and Dies Kit, Blending Gas Delivery Module, Sample Pan/Bail Ceraminc 100UL, Sample Pan/Bail Ceramic 250UL,  Kit Capsule Hi temp Hi-Press DSC, Hangdown Hook Tare TGA, Hangdown Wire Sample TGA, and Kit Halogen Bulbs – Ceramic Wrap. The contractor shall provide the TA Instruments system delivery, calibration, and system/operator training to NSWC Crane The contractor shall confirm proper interaction of the TGA and DSC equipment with each other and the TA Instruments TRIOS software. The fully operable TA Instruments Discovery TGA 5500 and Discovery DSC 2500 test suite shall meet the specifications identified in the related TA Instruments salient characteristics document.

Dimensional Data in addition to drawings:  N/A

Documentation Requirements: N/A

Inspection Requirements: N/A

Counterfeit Avoidance: N/A

Technical POC:

Code

Phone:

Email:

POC:

Phone:

Email:

Delivery Requirements: The contractor shall coordinate the system delivery and set-up with GXNN a minimum of 45 days prior to the delivery of the system and coordinate calibration within 30 days of GXNN confirming delivery and installation of the equipment.

Documentation Provided to the Contractor N/A