| SUBJECT* | Symbia Mobile Gamma Camera Rental |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 30901 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24726Q0347 |
| RESPONSE DATE/TIME/ZONE | 03-13-2026 12PM EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 15 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | Q522 |
| NAICS CODE* | 621512 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs VISN 7 Network Contracting Activity 501 Greene Street Hatcher Building - Suite 2 Augusta GA 30901 |
| POINT OF CONTACT* | Contract Specialist Holly Bowling Holly.Bowling@va.gov Email only None None |

PLACE OF PERFORMANCE

| ADDRESS | Department of Veterans Affairs |
| --- | --- |
|  | Montgomery VA Medial Center |
|  | 215 Perry Hill Rd. |
|  | Montgomery AL |
| POSTAL CODE | 36109 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

## STATEMENT OF WORK

Mobile Dual Head Gamma Camera, Preventative Maintenance, and Repair Services

Contractor shall provide full leasing, preventative maintenance, and repair services for one mobile gamma camera to Central Alabama Veteran’s Healthcare System (CAVHCS) in Montgomery, Alabama. The expected Period of Performance is six to 8 months.

REQUIRED EQUIPMENT AND THEIR RELATED KEY CHARACTERISTICS:

| QUANTITY | EQUIPMENT DESCRIPTION | Key Characteristics |
| --- | --- | --- |
| # 1 | Siemens Symbia mobile GAMMA CAMERA | Must be Siemens Symbia GAMMA CAMERA or compatible software so current Montgomery VA GAMMA CAMERA protocols can be transferred. Must include acquisition and processing software and must be able to transmit to Philips VUE PACS via DICOM data. |

SERVICES INCLUDED:

The contractor shall deliver the gamma camera to 215 Perry Hill Road and park it in the lot just outside of building #1 in the designated location near the Emergency Department. The unit will remain onsite for 6 to 8 months from the date it arrives.

The Contractor shall provide a plan to minimize the mobile gamma camera down-time for the start of the contract.  Installation of the mobile GAMMA CAMERA unit shall take place within 30 days of award or customer need date, whichever is applicable due to construction timelines. This plan shall include anticipated maintenance and personnel training dates. Training shall include the use, handling, and applications training for the leased equipment.  Onsite training shall be provided by the Contractor. The contractor shall be responsible for all maintenance and costs associated with repairs and will repair or replace the mobile unit within 48 hours as necessary if the equipment fails to function properly or pass quality control tests. Onsite repair services shall be offered during normal business hours from 7am to 4pm.  Technical telephone support services for troubleshooting scopes and related equipment shall be available 24 hours a day, 7 days a week.

The Contractor shall have the ability to repair/service the equipment per the Original Equipment Manufacturers (OEM) specifications in order to not void the leased equipment’s warranty.  The Contractor shall provide full preventative maintenance and repair service coverage for all contracted equipment.  The preventative maintenance and repair services shall be completed by OEM certified service personnel.  The contractor shall submit equipment service reports to the Contracting Officer’s Representative (COR), confirming completion of said repair/maintenance service that was provided.  Contract performance shall be monitored using this report, indicating the timeliness of the repair, the completion of the services provided, and shall act as a guide for confirming that the repaired equipment is operational.

The Contractor shall remove the mobile GAMMA CAMERA unit within one week upon completion of the contract. Hard drives that store patient data will be removed by the contractor and given to an approved VA Healthcare Technology Management (HTM) staff member to be destroyed by the HTM staff at the completion of the contract and prior to removal of the GAMMA CAMERA mobile unit from 215 Perry Hill Road, Montgomery, AL 36109.