# PAINT IDIQ CONTRACT

# STATEMENT of WORK

GENERAL CONTRACT PROVISIONS

Maxwell AFB, Alabama

12 March 2026

TABLE OF CONTENTS

| SECTION | DESCRIPTION | PAGES |
| --- | --- | --- |
| 01000 | GENERAL CONTRACT REQUIREMENTS | 3 thru 14 |
| 01100 | GENERAL SITE REQUIREMENTS | 15 thru 35 |
| 01200 | NOT USED |  |
| 01300 | TASK ORDER EXECUTION | 36 thru 38 |
| 01400 | CONTRACTOR’S QUALITY CONTROL | 40 thru 42 |

# Section 01000 General Contract Requirements

## Contract Description

  - The Multiple Award Construction Contract herein referred to as the Paint IDIQ, is an Indefinite-Delivery, Indefinite-Quantity (IDIQ) contract. The Paint IDIQ is for interior and exterior painting projects that are beyond the capability of the base civil engineers to perform with Government resources. This requirement primarily consists of the following major items as they relate to interior, exterior paint and pressure washing projects:

- Exterior facility painting and other designated surfaces to include all associated work.

- Painting also includes painted mechanical or electrical equipment, ramps, docks, or other attached unnumbered structures.

- Abatement of lead-based paint by various methods including paint removal, encapsulation, enclosure, demolition, and removal of a lead based painted item.

- Abatement of asbestos containing materials.

- Replacement of damaged, rotted, or deteriorated wood surfaces.

- Replacement of damaged or deteriorated concrete, masonry, metal and wood siding, screen fabric, or exterior insulation and finish system.

- Repair of cracks and holes in existing concrete, concrete masonry, plaster, gypsum wallboard or other exterior surfaces.

- Prepare surfaces to be painted by washing, sanding, scraping, blasting, caulking, and sealing, etc.

- Interior painting of walls, doors, and other interior surfaces to include all associated work.

- Abatement of lead-based paint by various methods including paint removal, encapsulation, enclosure, demolition, and removal of a lead based painted item.

- Repair of cracks and holes in plaster, gypsum wallboard or other interior surfaces.

- Prepare surfaces to be painted by washing, sanding, scraping, caulking, and sealing, etc.

- Pressure washing of concrete, masonry, metal and wood surfaces on facility exterior or walking surfaces.

1.2	The contractor shall provide all material, equipment, and labor to accomplish painting task orders (TOs) in an expeditious manner. Individual TO projects will vary in size, with the majority expected to be between $2000.00 and $350,000. The aggregate amount of the IDIQ shall not exceed $3,000,000.00.

1.3	Drawings: The Government will provide project drawings at a level it deems necessary for the contractor to perform the task order work.

1.4	The geographic scope of this contract includes all property controlled by Maxwell AFB. Work may be accomplished at Maxwell AFB, Maxwell AFB-Gunter Annex, Lake Martin recreational site, or Vigilant Warrior training site. All future references to Maxwell shall be construed to include Maxwell, Maxwell-Gunter, Lake Martin, and Vigilant Warrior unless specifically stated otherwise. Work performed under this contract shall be bound by all local, state, federal, and Air Force regulations.

- Contract Requirements

  - The Contractor shall furnish all management, supervision, labor, materials, equipment, and incidentals required for work on various real property facilities covered under this contract, including services incidental to construction. The Contracting Officer (CO) will conduct negotiations with the Contractor and issue individual TO’s for projects identified by the Base Civil Engineer (BCE) as part of this Paint IDIQ program.

## Paint IDIQ Master Specifications

    - This contract will utilize the Unified Facilities Guide Specifications (UFGS). UFGS standard specifications can be obtained from the Whole Building Design Guide website: http:/www.wbdg.org/ffc/dod/unified-%20facilities-guide-specifications-ufgs).%20%20. The Unified Facilities Guide Specifications (UFGS) are hereby incorporated into the solicitation and any resultant contract. The UFGS may be updated by the Contracting Officer by issuance of a unilateral modification to the base contract as determined to be necessary. Each individual TO will remain under the UFGS version that was in effect at the time of TO award or through any supplements issued by the Government when individual TO’s are modified to add additional work. Only the additional work may be applicable to the current UFGS.

2.2.2       The Paint IDIQ Master Specifications are numbered and organized in accordance with the Construction Specification Institute’s (CSI) Master Format. All specifications are filed in Division 1 through 48 per CSI guidelines. The primary section applicable to this contract is 09 90 00 Painting and Coating. Other sections may apply to incidental work when performed under this contract. The specifications are taken from the UFGS

2.2.3      The government will develop the specifications for each task order using the UFGS guide specs and incorporate them into the proposal. Where no specific specifications are provided by the government for an aspect of the SOW, the general UFGS guide specifications will apply as a minimum.

## Contractor Organization

    - The contractor shall have available staff to respond to the requirements of this Paint IDIQ type contract. The contractor’s organizational approach shall integrate with this staff to provide project management, incidental project planning, on-site superintendence, safety, environmental compliance, quality control and administration.

## Ordering Procedures

  - As the need arises for performance under the terms of this contract, the Contracting Officer or authorized representative will issue a Task Order Proposal Request (TOPR). Orders placed will be awarded using Federal Acquisition (FAR)16.504 processes with specific instructions provided within each TOPR.

  - Orders processed under this IDIQ contract will be decentralized meaning installation contracting officers will solicit IDIQ holders for local requirements and administer the resulting orders. Orders will be issued through the Air Force contracting agency.

  - Orders shall be issued on a Firm-Fixed Price (FFP) basis. The Contract Line Item Number (CLIN) structure on each order will reflect the FFP for each line item and must strictly follow the CLIN structure outlined in the IDIQ contract. Order competition for subsequent award is as follows:

## Task Order Proposal Request (TOPR)

    - The ordering CO will initiate the TOPR process by sending a TOPR letter and attachments (herein referred to as the TOPR package) to IDIQ holders following FAR 16.504.

- The TOPR letter may include the following information

  - Date of package

  - Proposal due date and name/email address of POC to submit proposal

  - Date, time and location of pre-proposal site visit

  - Magnitude of construction estimate IAW FAR 36.204

  - Project specific specifications/statement of work

  - Estimated Period of Performance (PoP)

  - Work schedule

  - Other requirement documents

  - Bonding requirements, if applicable

  - Identification of liquidated damages rate, if applicable

  - Applicable Construction Wage Rates

  - Identification of Government furnished property/equipment available, if applicable

  - Other pertinent data such as planned closures for other base-related restriction periods

    - For each TOPR, the CO will provide the Contractor with one (1) copy of the Government’s Specifications or Statement of Work (SOW) and an AF Form 66 Schedule of Material Submittals identifying the minimum required submittals from the Contracting Officer or their designated Contracting Specialist. The Contractor may be provided with one (1) set of drawings as required or applicable.

    - Although the Contractor is given a design package, it is still the Contractor’s responsibility under FAR 52.236-3 to investigate the site and conditions affecting the work prior to proposal submission. The Contractor may reproduce the drawings and specifications at the Contractor’s own expense if additional copies are needed. The Contractor shall check all drawings and specifications for discrepancies upon receipt and notify the Contracting Officer or their designated representative immediately of any discrepancies via a written Request for Information (RFI). The RFI shall be forwarded to the Contracting Officer for review and in-turn forwarded to the assigned Paint IDIQ Technical Monitor(s) for review, clarification, and response. Enlarged plans and details shall govern where the same work is shown at smaller scales. The Contractor shall compare all drawings and verify the installation before laying out the work and shall be responsible for any errors which might have been avoided thereby.

    - Drawings may not be available or provided. Drawings showing the location of equipment, piping, ducts and conduit are diagrammatic and may not show every detail required. In addition, site conditions will not always permit installation in the locations shown on the concept drawings. Drawings showing equipment, piping, ducts, conduit, etc. to be removed, altered, or installed may require deviation from the configuration of the demolition or installation drawings due to existence of conflicting ducts, conduits, hangers, light fixtures, structural items, and temporary walls, etc. All such minor details of work which are not shown on the drawings, as well as such items not specifically mentioned in the specifications, but which are essential and necessary for the completion of the work, and to make all systems or equipment operational, shall be considered as incidental and shall be included as part of the work. When this situation occurs, the final placement of permanently installed items shall be subject to approval by the CO in coordination with the government Technical Monitor. The Contractor shall be responsible for inspecting to their satisfaction all areas/items of possible conflict. Failure to verify the dimensions and locations will be at the Contractor's risk and shall not relieve the Contractor from accomplishing the work required by the task order.

    - Brand Name Descriptions: SOW, drawings and the technical provisions of the specifications may, in some instances, refer to certain items of equipment, material, or article by trade name/brand name. References of this type shall not be construed as limiting competition, but shall be regarded as establishing the physical, functional and performance needs in order to meet the minimum level of quality or reliability desired. These brand name references are not intended to limit materials or services to only the brand name UNLESS a Justification and Approval (J&A) is included with the TOPR. If there are any questions regarding the Government’s definition of minimum quality or reliability standards in reference to a brand name a request for additional information shall be requested in writing to the Contracting Officer within five (5) business days of receiving the TOPR.

## Pre-Proposal Site Visit

    - After the release of a TOPR, the Government and the Contractor will schedule and conduct a pre-proposal site visit for the project.

    - Any questions asked during the site visit or identified after the site visit shall be submitted in writing as a Request for Information (RFI) to the Contracting Officer and designated Contract Specialist within the timeframe set in the solicitation. The Contracting Officer will provide a finalized scope of work by amendment (if necessary) to the TOPR following submission of the site visit questions, unless determined otherwise by the Contracting Officer.

    - As part of meeting the requirements of FAR 52.236-3, Site Investigation and Conditions Affecting the Work, the Contractor shall research all historical drawings related to the project site or facility. Historical records and drawings (if they are available) are located in the 42d CES Civil Engineer Squadron, Bldg. 1060; drawing vault. Contractors will be required to bring a copy of the TOPR signed by the Contracting Officer to the drawing vault in order to be authorized prints. NOTE: Available historical records or drawings may or may not be accurate, therefore; it is the Contractor’s responsibility to perform diligent site investigation prior to the preparation of their project proposal to the Government.

## Proposal Submission Process

    - Normal Response Requirements: If the requirement is determined to be a normal response requirement by the Contracting Officer, the contractor shall submit a Task Order Proposal to fulfill the requirement within a maximum of fourteen (14) calendar days. Additional time may be allowed at the discretion of the Contracting Officer.

    - Quick Response Requirements: If the requirement is determined to be a quick response requirement by the Contracting Officer, the contractor shall submit a Task Order Proposal to fulfill the requirement within a maximum of seven (7) calendar days from written notification.

    - The Contractor’s proposal shall be submitted to the ordering CO on or before the time and date specified in the TOPR letter. Pricing on task order proposals shall be valid for a minimum 90 calendar days after the required submission date or unless otherwise specified in the individual TOPR.

## Project Proposal

    - For every TOPR associated with a new task order, the Contractor shall provide a proposal describing the Contractor’s approach to the proposed project work described in the Government’s Specifications and project drawings (if any). The proposal shall include at a minimum, unless otherwise specified in the TOPR: the approach to the proposed project as described in the Government’s Specifications and Drawings to include all major components of the project.

    - Design Documentation. Design incidental to accomplishing the required tasks outlined in each task order project may be required. The extent of these designs will depend upon the complexity of each task order project. The Contractor shall provide sufficient design documentation to clearly convey to the Government how the project will be completed. After the site validation visit, the Contractor shall begin preparation of design documentation that clearly illustrates the proposed design solution, quantities, dimensions, materials etc.

    - Price Proposal. The Contractor shall provide their proposed price by completely filling out the pricing requested in the TOPR for all identified Contract Line Items (CLIN’s). Contractors will be requested to provide a lump sum cost per CLIN. All CLINS will be added to determine the total proposed price.

      - Detailed Price Proposal (Cost Breakdown). The Contractor shall submit a detailed cost breakdown with their proposal as laid out in the AF Form 3052 Construction Cost Estimate Breakdown provided with each TOPR. The cost breakdown must include a breakout of costs and quantities for all labor, materials, equipment, overhead, and profit for the prime contractor and all subcontractors. The breakout must be organized by division of work and include sub-line items of work, provided in a clear and concise format, to enable a straightforward evaluation of the proposal by the Government.

  - Post TOPR Award Documentation Requirements

    - Drawings. When required, drawings submitted by the Contractor shall show the basic layout and planning of work. Drawings must have sufficient detail to enable both the Contractor and the Government to understand the work to be accomplished.

      - For the purpose of this requirement, the term drawings include actual construction drawings, shop drawings, diagrams, layouts, schematics, descriptive literature, illustrations, performance and test data, and similar materials furnished by the Contractor to explain in detail specific portions as may be required by an individual task order.

      - The Government may indicate minimum drawings that are necessary for each individual task order project.

    - Calculations. The Contractor shall provide, as part of the proposal, calculations to substantiate appropriate equipment or material selection/sizing, component assembly, proposed layout, (Platform Supports, etc.). The Contractor shall supply calculations per each task order project, as applicable.

    - Schedule of Material Submittals. The Contractor shall provide as a minimum, all submittals identified in the AF Form 66, Schedule of Material Submittals. Additional submittal requirements are identified in paragraph 6. Submittals. The submittals shall include all reports, construction materials, and documentation that have a material effect on the construction effort including, but not limited to: large purchase items; long-lead items; required reports; and as-built drawings.

    - Construction Schedules. The progress schedules for Task Orders under this contract must be submitted on the AF Form 3064 and additional schedules may be submitted as supplemental attachments.

      - Progress Schedules shall be prepared IAW FAR Clause 52.236-15 for all projects that exceed the Simplified Acquisition Threshold, as defined in FAR 2.201, and in the time specified in the individual TO.

      - Schedules may be requested by the Government for projects below the SAT or whose performance period is less than 60 days when deemed necessary.

      - Progress Schedules shall breakdown the project into distinct tasks, identifying major work elements. It shall identify all major tasks of construction effort and their associated percentage of the work effort. It should demonstrate a logical progression of the work effort from award to close-out. The purpose of the submitted project schedules is to aid in the determination of the construction period. Following the start work date, the Contractor shall provide bi-monthly construction progress updates on an AF Form 3065 Progress Report, to the Contract Specialist.

    - Progress Payments/Reports. Progress Payments are allowable and should be requested IAW FAR Clause 52.232-16 Progress Payments. Progress reports shall be prepared for all projects when progress payments are requested. AF Form 3065 (Progress Report) in electronic format is the form that must be used when requesting progress payments, or final payment, to justify work completion.

      - When requesting progress payments, the completed AF 3065, shall be submitted to the Contract Administrator for final approval. Once completed the AF 3065 shall be attached to the invoice in Wide Area Workflow (WAWF). Invoices submitted without a completed AF 3065 will be rejected.

## Construction Wage Rate Requirements (Formerly known as Davis-Bacon Act)

    - The most current Construction Wage Rate Requirements Statute wage determination will be incorporated into each task order at the time of award. The current wage determination will be included with the TOPR. The wage determination in effect on the TOPR due date will be the wage determination used for the awarded task order. Once a TOPR is awarded the wage rate in effect at the time of original TO award will remain in effect for the duration of the TO unless changed by TO modification by the CO.

  - Performance and Payment Bonds – Applicable to Individual TOs

    - Contractors shall furnish Performance and Payment Bonds (Standard Form 25/25A) with good and sufficient surety or sureties, acceptable to the Government on all TOs with the following exceptions.

      - TOs up to $35,000 will not normally require performance or payment bonds. Refer to the TOPR for guidance from the Contracting Officer.

      - For TOs exceeding $35,000 but not exceeding $150,000 the Contracting Officer may determine an amount lesser than 100% if deemed adequate for the protection of the Government.

    - The penal sums of the bonds, as shown below, shall be provided to the Contracting Officer for their acceptance.

      - Performance Bond. Unless the Contracting Officer determines that a lesser amount is adequate for the protection of the Government, the penal sum of the performance bonds (Standard Form 25) shall equal one hundred percent (100%) of the contract price for each TO.

      - Payment Bond. Shall equal 100% of the contract price for each TO. One of the following is required:

## A payment bond

        - An irrevocable letter of credit (ILC)

        - A tripartite escrow agreement. The prime contractor establishes an escrow account in a federally insured financial institution and enters into a tripartite escrow agreement with the financial institution, an escrow agent, and all of the suppliers of labor and material. The escrow agreement shall establish the terms of payment under the contractor’s escrow account, and the escrow agent distributes the payments in accordance with the agreement or triggers the disputes resolution procedures if required.

        - Certificates of deposit. The contractor deposits certificates of deposit from a federally insured financial institution with the Contracting Officer, in an acceptable form, executable by the Contracting Officer

        - Other Deposits. A deposit of the types of security listed in FAR 28.204.

## Performance and payment bonds are due within 10 days of the Notice to Proceed.

## Meetings and Conferences

Pre-Construction Conference: The Contract Administrator shall schedule a pre-construction conference prior to issuing a start work notice on any project, unless the requirement is waived by the Government At a minimum there should be a review of all material submittals, drawings, SOW review, schedule review, safety and accident protection, coordination’s required, HAZMAT and Universal Waste storage/disposal, administrative issues, traffic control, as-built criteria, performance requirements, security procedures, and any questions the Contractor may have.

## Working Hours

  - Standard Working Hours. Monday through Friday, 6:00 a.m. to 5:00 p.m, excluding Saturdays, Sundays, and Federal Holidays. If the contractor desires to work during non-standard working hours, on a standard working hour’s task order, additional Government inspection forces may be required. The contractor shall send a request to the Contracting Officer and/or Contract Administrator in writing by email, three working days in advance of the requested work dates for periods other than Standard Working Hours.

    - This notification shall allow the inquiry into the availability of additional Technical Monitors. If the Contracting Officer confirms that additional Technical Monitors are reasonably available, the Contracting Officer may authorize the contractor to perform work during periods other than standard working hours. However, if the Technical Monitors are required to perform in excess of their normal duty days solely for the benefit of the contractor, the actual cost of inspection at overtime rates may be charged to the contractor.

  - Non-Standard Working Hours. Will be defined on individual task orders and shall be outside the

definition of the standard working hours and not in controlled areas.

  - Standard and Non-standard Work in Controlled Areas. Will be specified in each affected task order. All work in restricted areas is assumed to be within standard working hours. All work inside of controlled areas may be subject to brief delays due to security processing (30 minutes time each process on and off per visit to the controlled area) or interruption to the normal work schedule to permit the completion of mission essential operations. Such interruptions, if required, will be given on short notice and expeditious action will be required. The contractor shall not be compensated for said delays.

## Submittals

  - Upon issuance of a Task Order, the contractor shall provide submittals as required by the specifications. The Contracting Officer may request submittals in addition to those specified when deemed necessary to adequately describe the work covered in the respective sections. Units of weights and measures used on all submittals shall be the same as those used in the contract drawings. Each submittal shall be complete and in sufficient detail to allow ready determination of compliance with contract requirements.

## All submittals shall be submitted on an Air Force Form 3000 Material Approval Submittal (provided after contract award).

    - The contractor shall fill out the AF 3000 listing of equipment and materials that are required; this list may not be all inclusive and additional submittals may be required. Submit the material submittals and shop drawings to the Contracting Officer for approval within fourteen (14) calendar days after issuance of the Notice to Proceed for each task order. If additional time is required by the contractor to provide specific submittals, the contractor shall identify the submittals requiring the time extension and request an extension from the Contracting Officer; including the reason for the needed time extension and the date the submittals will be provided. The extension must be approved by the Contracting Officer.

  - Submittals shall include items such as: contractor’s work plans / schedules, material submittal register, samples, brochures, manufacturers data, product data sheets, shop drawings and/or certificates of materials (relative to the construction execution), contractor's, manufacturer's, or fabricator's drawings; descriptive literature including (but not limited to) catalog cuts, diagrams, operating charts or curves; test reports; test cylinders; samples; O&M manuals (including parts list); certifications; warranties; Hazardous Materials Safety Data Sheets, and other such required submittals.

  - Contractor shall plan for and submit all submittals requiring Government approval prior to the acquisition of the material or equipment covered thereby, in accordance with design criteria, specifications and TOPR requirements. If the material submittals provided are in variance from the design criteria and/or contract specifications, the contractor shall describe such variations in writing at the time of submission and request a variance from the design criteria and/or contract specifications in accordance with the terms and conditions of the contract. Failure to provide such notification will not relieve the contractor from his responsibility of meeting the design criteria and/or contract specifications regardless of whether or not the submittal is approved by the Government.

  - Material submittals shall be as specified under each specification section and be submitted in electronic format. All the material submittals as indicated in the applicable specification section shall be submitted at the same time. If the submittal requirement is listed on the drawings, all material submittals of like work shall be submitted simultaneously along with all corresponding specification sections. A system of standard submittals for each contractor will be used to minimize the submittal requirement. Failure to submit all material submittals associated with an individual specification section at the same time may be cause for rejection.

  - Submittal Classifications: Submittals are classified as follows:

    - Government Approved: Governmental approval is required for extensions of design, critical materials, deviations, equipment whose compatibility with the entire system must be checked, shop drawings, and other items as indicated on the Submittal Register or as designated by the Contracting Officer.

    - Re-Certification: Contractor shall provide the requested submittals for each task order unless otherwise specifically approved by the Contracting Officer for the task order in question. If approved and the contractor intends to use previously approved materials or equipment, a letter certifying the specific material or equipment in lieu of a submittal is acceptable. Certification letter will contain the task order number and approved electronic copies of AF Form 3000 submittal.

    - Approved Submittals: The Contracting Officer’s approval of submittals shall not be construed as a complete check, but will indicate only that the general method of construction, materials, methods and other information are satisfactory. Approval will not relieve the contractor of the responsibility for any error that may exist, as the contractor under the Contractor Quality Control (CQC) requirements of this contract is responsible for dimensions, the design of adequate connections and details, and the satisfactory construction of all work. After submittals have been approved by the Contracting Officer, no resubmittal for the purpose of substituting materials or equipment will be considered unless accompanied by an explanation of why a substitution is necessary.

    - Disapproved Submittals: The contractor shall make all corrections required by the Contracting Officer and furnish a corrected submittal. Corrected submittals shall be submitted within three (3) working days, or as required by the disapproved submittal, after receipt of disapproval, in the form and number of copies specified for the initial submittal. If the contractor considers any correction indicated on the submittals to constitute a change to the contract, a notice in accordance with the Contract Clause “Changes” shall be given promptly to the Contracting Officer.

  - Submittal Scheduling: Submittals covering component items forming a system or items that are interrelated shall be scheduled to be coordinated and submitted concurrently. Certifications to be submitted with the pertinent drawings shall be so scheduled. Adequate time (a minimum of fourteen (14) calendar days) shall be allowed for review and approval.

  - Submittal registers (AF Form 66): Submittal Registers shall be submitted by the contractor within fourteen (14) calendar days after issuance of the Notice to Proceed and prior to any material processing.

  - Government Approval (Submittals): Upon completion of review of submittals requiring Government approval, the submittals will be identified as having received approval and dated. A digital copy of the submittal will be returned to the contractor.

## The Contractor is responsible for tracking all open submittals and providing a bi-monthly report to the Government indicating the current status of all open submittals. Open submittals are all submittals required by the AF-66 that have not been approved by the Technical Monitor and the Contracting Office. This listing shall encompass all awarded TOs in the Contractors Paint IDIQ portfolio with open submittals.

- Project Status Updates (Partnering)

  - At a frequency determined by the Contracting Officer, the contractor is required to attend project status update meetings for all active projects.

  - The Contractor shall ensure key management personnel participate in and provide briefings to the Base Civil Engineer (BCE), as required. The BCE will be represented by the Paint IDIQ Program Manager, Project Manager(s), Technical Monitor(s), Contracting Officer’s Representative (CORs) and other authorized Government personnel, as needed. The Contractor's Program Manager and Project Manager(s), as a minimum, will interact in the form of conferences, meetings, and reviews on a bi- monthly or monthly basis at the Contracting Officers discretion with authorized Government personnel regarding the performance and status of task orders. The Contracting Officer may decide to reduce/increase the frequency of these meetings if needed. The purpose of these meetings is to discuss status of active projects, schedules, projections, problems, corrective actions, recommendations, etc., to help accomplish project and program goals.

  - Project Tracking Spreadsheet. The Contractor shall produce and distribute a project tracking spreadsheet. At a minimum the spreadsheet shall include Government project number, Task Order number, Contractor Project Manager initials, Contracting Officer, and the Technical Monitor initials, a brief current project status, task order completion date, scheduled completion date, progress completed to date (shown as a percentage of the entire TO) and other pertinent remarks.

    - All active projects shall be included on the spreadsheet. They are considered inactive when all work has been completed, there are no additional modifications required, and all submittals, including the as-built submittal are approved by the Government. The Contractor shall provide up to 20 print copies of the report at the meeting.

  - In lieu of a meeting the Contracting Officer may only require digital submission of the report described above.

## Interruption of Work

  - If it becomes necessary to interrupt work activities in buildings and/or areas for construction purposes (except as otherwise described in the task order), the contractor shall request permission, in writing, from the Contracting Officer no less than twenty-one (21) working days in advance. The contractor shall submit written requests for approved street closings no less than twenty-one (21) working days prior to closing of the street. Requests shall stipulate the location of the work, the time at which the shutdown will occur, and the duration of the closure. Closures shall be kept to a minimum both in number and duration. Where multiple closures are required, as many as can be accurately scheduled shall be submitted as a group. Contractor must receive written approval of any requested interruption or closure plan prior to implementing the requested closure.

## Project Coordination

  - Final schedules are due at the time of the pre-construction meeting.

  - Temporary construction. Any contractor installed temporary construction intended to prevent interruption of normal work activity or loss of utility services is subject to approval of the Base Civil Engineer through the Contracting Officer.

End of Section

# Section 01100 General Site Requirements

## Regulations

  - The contractor shall comply with all applicable Federal, State, Local, Air Force, and DOD regulations, including supplements pertaining to safety, traffic control, and fire prevention.

## Standard Products

  - Materials and equipment shall be standard products of a manufacturer regularly engaged in the manufacture of-such products, which are of a similar material, design, and workmanship. The standard products shall have been in satisfactory commercial and/or industrial use for 2 years prior to use. The 2- year use shall include applications of equipment and materials under similar circumstances and of similar size. The 2-year experience must be satisfactorily completed by a product that has been sold or is offered for sale on the commercial market through advertisements, manufacturers' catalogs, or brochures. Products having less than a 2-year field service record will be acceptable, if a certified record of satisfactory field operation, for not less than 6,000 hours exclusive of the manufacturer's factory or laboratory tests, can be shown and approved by the Government. The contractor shall not purchase "close-out" products that are being discontinued by the manufacturer.

  - Recovered Materials Procurement: In accordance with FAR 23.4, and the authorities of FAR 23.402, the contractor shall use sustainable environmental materials, including acquisition of bio-based, environmentally preferable, energy- efficient, water-efficient, and recycled-content products. The materials shall be non-ozone depleting and non- toxic odorless products, where such products and services meet project performance requirements. The applicable materials are given by the U.S. EPA Comprehensive Procurement Guidelines and the USDA BioPreferred Catalog. Determination of feasibility of using these materials shall be in accordance with FAR 23.405.

## Safety

  - Compliance with the current U.S. Army Corps of Engineers "Safety and Health Requirements Manual", (EM 385-1-1); Occupational Safety and Health Act (OSHA) standards, and current Maxwell safety regulations is mandatory. The prime contractor shall be held responsible to ensure that their workforce and any subcontractor or supplier workforce comply with the above safety requirements.

  - Maxwell and Gunter are supported by Haynes ambulance service while Lake Martin site and Vigilant Warrior site have local county service.

## Safety Assurance: The contractor shall prepare and submit a safety plan detailing the means and methods that will be implemented to ensure that there is full compliance with all safety regulations, practices, and standards.

    - Pre-construction Safety Meeting: The Pre-construction safety meeting shall be conducted prior to the start of any new task order.

    - Contractor Responsibility: The contractor shall assume full responsibility and liability for compliance with the applicable regulations pertaining to the health and safety of personnel during the execution of work and shall hold the Government harmless for any action on his part or that of his employees or subcontractors, which results in illness, injury, or death.

    - Protect fire alarm / mass notification / fire suppression devices from damage during high pressure water stream during pressure washing or painting operations.

      - Materials and Equipment: Special facilities, devices, equipment, clothing, and similar items used by the contractor in the execution of work shall comply with the applicable regulations.

    - Special Safety Requirements: The contractor shall comply with Air Force and local fire regulations and NFPA 241-2019 "Safeguarding Building Construction and Demolition Operations." Fire extinguishers rated and approved by the National Fire Protection Association, of sufficient size, type, and quantity to cope with all known hazards shall be provided by the contractor at the construction site during the execution of this contract; the extinguishers shall be removed upon acceptance of the project.

## Environmental

4.1        The work covered by this section consists of furnishing all labor, materials, and equipment and       performing all work required for the prevention of environmental degradation during and as a result of construction operations under this contract. These requirements are in addition to any environmental protection requirements elsewhere in these specifications. For the purpose of this specification, environmental pollution is defined as the presence of chemical, physical, or biological elements or agents, not naturally occurring at the site, which adversely affect human health or welfare; unfavorably alter ecological balances; negatively affect plant or animal species; or degrade the utility of the environment for aesthetic and recreational purposes. The control of environmental pollution by the contractor requires consideration of air, water, and land, and involves noise control, solid waste management and management of radiant energy and radioactive materials, as well as other pollutants. This section also requires the protection of natural, cultural and historic resources.

## 4.2         Acronyms and Definitions

ADEM – Alabama Department of Environmental Management

CAA – Clean Air Act

CO – Contracting Officer

CERCLA – Comprehensive Environmental Response, Compensation and Liability Act

CWA – Clean Water Act

EPA – Environmental Protection Agency

MAFB – Maxwell Air Force Base and Gunter Annex. Throughout this environmental protection section, MAFB (including Gunter Annex) may commonly be referred to as the base or installation.

Media – Any soil, water, or air that is moved, disturbed, or released from a site

OSHA – Occupational Safety and Health Administration

TM – Technical Manager

RCRA – Resource Conservation and Recovery Act

SDWA – Safe Drinking Water Act

TSCA – Toxic Substances Control Act

42 CES/CEIE – Maxwell Air Force Base Civil Engineering Squadron, Environmental Section. Throughout this environmental protection section, this office will commonly be referred to as the “installation environmental office.”

The terms hazardous, waste, pollutant, contaminant, and substance have the same meanings and usage here as they commonly do in the CAA, CERCLA, RCRA, SDWA, and TSCA.

4.3         Contractor’s General Environmental Compliance Obligations

Work under this contract is to be performed on a government facility. All environmental rules applying to contractor operations elsewhere shall also apply on the government facility. Contractor (and any of their additional contractors, agents or representatives) shall comply with all applicable Federal, State, and local laws and regulations providing for environmental protection and pollution control and abatement. These include but are not limited to: the Clean Air Act, Clean Water Act, Resource Conservation and Recovery Act, Comprehensive Environmental Response, Compensation and Liability Act, Toxic Substances Control Act, Federal Insecticide Fungicide and Rodenticide Act, Coastal Zone Management Act, Endangered Species Act, Migratory Bird Treaty Act, National Historic Preservation Act, Archeological Resources Protection Act, Safe Drinking Water Act, Emergency Planning and Community Right-to-Know Act, Oil Pollution Act, and Pollution Prevention Act. The Contractor has the duty to determine where such laws and regulations apply. Although the contractor may request assistance from the TM/Contract Administrator or the installation environmental office in delineating applicable environmental laws and regulations, contractor has an independent responsibility to make its own determination and to do so in a timely fashion. Environmental Management System (EMS) significant aspect is Hazardous Waste Compliance. Please ensure all personnel are aware of applicable RCRA requirements and have reviewed the Commander’s Policy at the end of this section.

4.3.1      Contractors are responsible to implement their own environmental compliance programs, to ensure that individuals working at the site are properly trained and aware of potential hazards and proper operating procedures, and to ensure that all personnel follow the guidelines of OSHA, EPA, ADEM, and the Air Force’s policies, in addition to any guidelines of the jurisdiction(s) in which the operations will be performed. Compliance with the provisions of this section by lower tier contractors will be the responsibility of the contractor.

4.3.2      Notification: The Contract Administrator will notify the Contractor in writing of any non-     compliance with environmental provisions and the action to be taken. The Contractor shall, after receipt of such notice, immediately take corrective action. If the Contractor fails or refuses to comply promptly, the Contract Administrator may issue an order stopping all or part of the work until satisfactory corrective action has been taken. No part of the time lost due to any such stop orders shall be made the subject of a claim for extension of time or for excess costs or damages by the Contractor unless it was later determined that the Contractor was in compliance.

4.3.3      Maintenance of Pollution Control Facilities During Construction: During the life of this contract, the Contractor shall maintain all facilities constructed for pollution control under this contract as long as the operations creating the particular pollutant are being carried out or until the material concerned has become stabilized to the extent that pollution is no longer being created.

4.4        Fines or Penalties for Environmental Non-Compliance

4.4.1      Responsibility. The contractor shall be responsible for paying any fines or penalties assessed against the Government for violations of environmental laws or regulations resulting from acts or omissions of the contractor or its employees, contractors, or agents. This obligation is in addition to any fines or penalties that may be assessed against the contractor for the same conduct. Contractor shall either reimburse these fines or penalties through the appropriate Contract Administrator, or with the consent of the Contracting office and installation environmental office, the Contractor shall pay such fines or penalties directly to the regulatory agency or agencies concerned.

4.4.2     Pollution Reporting: No hazardous material can be released into the environment (ground, water, air) without prior approval of the contractor. In the event of an accidental release of a hazardous material to any of these medias, the contractor will be notified immediately. The contractor will supply the means to properly prevent/contain and dispose of an accidental release in accordance with all applicable Federal, State, and Local regulations. All costs incurred by the contractor during the mitigation and disposal from an accidental release shall be the responsibility of the contractor.

4.5       Contractor’s Liability for Environmental Damages

Contractor agrees to hold harmless and indemnify the Government for any and all damages of any kind   resulting from environmentally harmful activities by the contractor, contractor’s employees, agents, or contractors. “Damages” includes personal injury or death, property damages (including diminution of value), environmental restoration and response costs, natural or cultural resource damages or restoration, expert witness and attorney’s fees, and reimbursement of any and all expenses incurred to obtain permits as a result of contractor’s failure to identify or obtain permits for itself, the Government.

## 4.5.1    Contact with Environmental Regulatory Officials

Contractor shall immediately advise the TM/Contract Administrator, 42nd Contracting Office, and the installation environmental office of the content of all contacts with Federal, State, or local environmental regulators; before, during, and after the performance of this contract concerning the performance of this contract.

4.5.2     Permits for Equipment Used by Contractor in Performing Government Contracts

For equipment used in the performance of this contract, contractor shall obtain in contractor’s name and at no additional expense to the Government all permits, coordination, certifications or other regulatory authorization necessary to perform and complete the work required by this contract under applicable environmental laws and regulations. “Applicable environmental laws and regulations” includes but is not limited to: the Clean Air Act, Clean Water Act, Resource Conservation and Recovery Act, Comprehensive Environmental Response, Compensation and Liability Act, (CERCLA), Toxic Substances Control Act, Federal Insecticide Fungicide and Rodenticide Act, Coastal Zone Management Act, Endangered Species Act, National Historic Preservation Act, Safe Drinking Water Act, Emergency Planning and Community Right-to-Know Act, Oil Pollution Act, and Pollution Prevention Act, and State, County, and Local laws and regulations on the same subjects.

4.5.3     Permits Needed for Construction, Excavation, Modification, Renovation, Demolition, Installation, or Other Alteration of Buildings, Structures, Equipment, Installations, Real Property or Systems. Contractor shall identify all Federal, State, County, or local permits, coordination, certifications or other regulatory authorization requirements under all applicable environmental laws and regulations. Contractor shall then prepare in draft, and submit to the Contracting office for review, all applicable permit applications, coordination, notices, or other required filings, together with all supporting data. Permit applications, notifications or other documents that must be submitted by the Government shall be submitted by the Government, and any documents that must be submitted by the contractor shall be returned to the contractor for submission after review. No work requiring permit or other written authorization shall proceed before the contractor has the permit or authorization or a copy thereof in its possession. Copies of all required environmental permits shall be submitted to the Contracts office to be forwarded to the installation environmental office to have on file prior to the start of work.

4.6       Asbestos

4.6.1    Asbestos shall not be used or included in this project unless specifically approved in writing by the 42nd Contracting Office and installation environmental office.

4.6.2    If workers should encounter any suspect asbestos-containing material such as fibrous insulation, pipe wrap, asbestos-containing plaster, etc., contractor shall cease any activity that may disturb the material and immediately contact the TM/Contract Administrator for coordination with the installation environmental office.

4.6.3    If potential asbestos-containing material has been identified in connection with proposed work, all asbestos abatement activities shall be conducted by a certified Safe-State contractor, following base asbestos protocol, asbestos specification section, Maxwell AFB Asbestos Management and Operations Plan. Contractor shall follow all applicable governing regulations, including, but not limited to: 29 CFR 1926.1101 – OSHA Safety and Health Regulations for Construction, Subpart Z, Toxic and Hazardous Substances, 29 CFR 1910.1001 – OSHA Standards, Subpart Z, Toxic and Hazardous Substances, and CFR Part 61 – EPA National Emission Standards for Hazardous Air Pollutants (NESHAPS).

## 4.7       Polychlorinated Biphenyls (PCBs)

4.7.1     PCBs shall not be used or included in this project.

4.7.2     If contractor encounters any lighting ballasts, electrical transformers, or other equipment that is suspected to contain PCBs, contractor shall contact the TM/Contract Administrator for notification to the installation environmental office. If the equipment is not labeled or does not specify that the unit has “no PCBs,” it is considered to be suspect and shall be handled as if it may contain PCBs. Disposal shall be coordinated through installation environmental office. Contractor shall not remove any hazardous waste from the installation without installation environmental office knowledge prior to scheduling.

## 4.8         Lead Based Paint

4.8.1      Lead-based paint shall not be used or included in this project.

4.8.2      In buildings that were constructed prior to 1978, it should be assumed that lead-based paint is present unless sampling results indicate otherwise. Any activities that will potentially disturb lead-based paint shall be coordinated through the installation environmental office. Contractor is responsible for complying with the Maxwell AFB Lead-Based Paint Management Plan and all applicable Federal, State, and local regulations, including OSHA Lead in Construction Standard 29 CFR 1926.62. Contractor shall be properly trained and is responsible for worker training and protection requirements. Documentation of training shall be provided to the 42nd Contracting Office prior to start of work.

4.8.3      If suspect lead-based paint is encountered during performance of work, contractor shall coordinate lead-based paint work plan through TM/Contract Administrator for coordination with installation environmental office before proceeding with any activities such as sanding, scraping, demolition, or other activities that may disturb lead-based paint.

## 4.9         Ozone Depleting Substances

The use of Class I ozone-depleting substances is generally prohibited. Any use of a Class I ozone-depleting substance shall be approved through the installation environmental office prior to use. All Class I ODSs recovered on site shall be returned to the base Civil Engineering HVAC shop (42 CES/CEOH). All reasonable efforts shall be made to reduce usage of Class II ozone-depleting substances. All usage shall be reported to 42 CES/CEIE.

4.9.1      Contractors shall follow regulations concerning ODS as specified in 42 USC 7671 (b), (c), and (d) and 40 CFR Part 82, Subpart E. All Class I and Class II ODS shall be labeled IAW these regulations.

4.9.2      The contractor shall comply with the applicable requirements of Sections 608 and 609 of the Clean Air Act (42 USC 7671g, National Recycling and Emission Reduction Program and 7671h, Servicing of Motor Vehicle Air Conditioners) as each or both apply to the contract.

## 4.10       Pesticides

Except as may be specified elsewhere in this contract, contractor shall not use or apply pesticides (such as insecticides, rodenticides, herbicides or weed-killers) without specific written prior approval of the TM/Contract Administrator.

## 4.11       Hazardous Materials, Pollution Prevention & Waste Minimization

When a hazardous material is required in performance of this contract, the contractor is required to submit Contractor’s Hazardous Material Questionnaire, Contractor’s Environmental Reporting Entry Form, and Safety Data Sheets (SDS) for each hazardous material to be used. The hazardous material must be approved prior to being brought onto Maxwell AFB or Gunter Annex.

The approval process should be less than 2 days in order to comply with the 10-day suspense time to receive submittals 5 days prior to contract start date. See AF Form 66.

4.12       Site Disturbance During Construction Activities

4.12.1     National Pollutant Discharge Elimination System (NPDES) - For any project that will disturb an area “equal to” or “more than” 1 acre, the contractor is required to submit an ADEM Notice of Intent (NOI) under the NPDES General Construction Permit. A completed copy of the NOI must be submitted to the 42nd Contracting Office and Environmental Department prior to any site work. The “site” encompasses the collective area of disturbance for any project, even if the disturbed areas are non-contiguous. The contractor is responsible for all required inspections under ADEM’s NPDES General Permits. However, Base Environmental will perform additional oversight inspections and instruct changes, alterations and/or modifications as necessary.

4.12.2    The contractor shall use industry recognized Best Management Practices (BMPs) to the maximum extent practical to avoid and control storm water runoff from the construction site and any temporary roads that may be used to access the site (entrances/exits). Contractor shall perform all work under this contract in such a manner that no pollutants of any kind are released into ditches, storm drains, streams, lakes, or other surface waters on or connected to the site. BMPs shall be implemented prior to site disturbance and maintained throughout project duration until permanent stabilization has been achieved. Protective measures shall include:

4.12.3    Silt Fencing: Install silt fencing around all storm drains and runoff channels that can be potentially impacted by the construction/demolition activity. Install silt fencing where appropriate and to the maximum extent necessary to prevent removal of particulates and debris with runoff from the site. Refer to the ADEM Handbook for Type A, B and C methods.

4.12.4    Wattles: Install wattles in front of curb inlets that will be impacted when sediment run-off is inevitable due to tracking, equipment and supply staging areas and/or other disturbed areas. Wattles shall be in lengths that cover entire inlet opening. Contract Administrator does not recommend blocking curb/street inlets unless absolute necessary. Blocking street inlets will cause temporary ponding which may impact traffic flow. The contractor must make all reasonable attempts to maintain sediment on the construction site to eliminate having to protect street inlets. Wattles are an acceptable practice when protecting drop inlets located in landscaped areas where stakes can be used to hold the wattles in place on a disturbed construction site. Straw wattles shall not be used for drop inlet protection on concrete or asphalt pavement areas

4.12.5    Silt Savers: Install silt savers as a primary means for drop inlet protection within the disturbed areas of a construction site. Silt savers come in round or square molds depending on the drop inlet configuration and size. Crushed stone and/or soils shall be used to support the mold and filter fabric in place. Install as per manufacture recommendations.

4.12.6    Hay Bales: Place and stake hay bales or other temporary dams where appropriate for impeding storm water flow across large, open areas of disturbed earth and as particulate barriers to prevent erosion and unintended soil relocation. Hay bales shall not be used as a sole source when protecting drop inlets. Silt fencing and/or crushed stone shall be used in support with hay bales to prevent entry of sediment and any construction debris during the activity. Hay bales shall not be used to protect curb inlets.

4.12.7    Block and Gravel: Install block and gravel inlet protection where an impermeable surface (concrete, asphalt, etc.) exists around the drain and in other areas where this type protection is more appropriate to prevent particulate transport to the inlet. The height of the block and gravel inlet structure shall be a minimum of 12 inches. A geotextile fabric shall also be placed as a filter between the block and crushed stone (ALDOT #57 crushed stone or similar grade shall be used).

4.12.8      Geotextile Fabric (drop inlet barriers):

The contractor may use a non-woven geotextile fabric as a means to protect drop inlets with metal grates. The drop inlet grate can be removed in order to place a sufficient amount of geotextile fabric inside the storm inlet opening. The grate must be replaced on top of the fabric maintaining a tight fit with no gaps in order to provide a sock-like barrier. Excess fabric shall drape outside the grate allowing for any sediment to be captured. This method allows for construction traffic but must be maintained. Sediment overloaded geotextile fabric must be cleaned and replaced as needed.

4.12.9    Stabilization: All disturbed and exposed soils shall be preserved, covered if needed, in a manner that prevents soil migration with rainfall or runoff. Contractor is responsible for repair of any erosion caused by the contractor’s construction activities. All disturbed or exposed soil shall be permanently stabilized at the earliest practicable date. In most cases, seeding is not allowed on the installation; areas shall be repaired with sod, re- vegetation shall be with non-invasive plants that are native species or approved turf species.

4.12.10   Concrete & Asphalt Saw-Cutting: The contractor shall implement means and methods to control and clean-up from saw-cutting activities immediately and not allow for traffic to travel through the saw cut locations until the “saw-cut mud” clean-up activities are completed. Washing into the nearest storm drain is prohibited.

4.12.11  Concrete Wash-Outs:  The contractor must have a location on site or at an approved location by the TM/Contract Administrator where concrete trucks can wash out. The location must be in an area that will not allow the wastewater to flow or drain into storm inlets, drainage ditches, waterways or roadways. For large projects where multiple concrete placements will be performed, a wash out location must be designated and protected. Typically, this is created by using a soil berm and combining with the use of hay bales, silt fencing, and/or wattles.

4.12.12  Materials & Fuel Storage: The contractor must maintain a clean and orderly project site and laydown yard with regards to materials storage. Containers with liquids, oils, lubricants, fuels and other materials must be properly covered and/or stored on site and protected from rainfall and inclement weather. Spill prevention controls and spill response materials must be available and/or on hand in case of a spill. Base Environmental must be notified of any spill for documentation, instructions for clean-up and disposal requirements.

4.12.13   Soil, Sand, and Crushed Stone Stockpiles:  The contractor must store stockpiles in a manner and in a location where sediment run-off will not leave the site. Storm inlets must be protected in affected or in adjacent areas with the use of silt fencing, wattles, berms and/or a combination of thereof, unless sediment control can be maintained on site.

4.12.14  Dust Control: Water shall be used in a manner to control dust during dry periods of the year and continuous  during demolition activities. The amount of water used shall be monitored by the contractor. Excess water can create additional problems.

4.12.15  Construction Entrances/ Exit Pads: The contractor shall construct an adequate construction entrance/exit pad to protect from vehicle and construction equipment tracking onto roadways, parking lots and other impermeable hard surfaces. A layer of non-woven geotextile fabric shall be placed in a designated location(s) for the project. ALDOT #1 crushed stone shall be placed with a minimum thickness of 6 inches on the fabric. The pad must be constructed to an adequate length and width for the project traffic and equipment. The contractor shall not use crusher run, river gravel, or small crushed stone such as ALDOT #57 or #67 stone. This material compacts and thus does not provide an adequate surface for flexing rubber tires to remove mud and sediment. It is the responsibility of the contractor to maintain and replace the crushed stone when conditions do not provide adequate protection from off-site tracking.

## 4.13      Enforcement Mechanism- Construction Site Storm Water Runoff Control

4.13.1     All project sites will be subject to inspections by CEIE and/or CE project managers. Documenting inspections and non-compliance issues will occur on monthly summary reports to the Government Quality Assurance Evaluator (QAE) for Maxwell AFB.

4.13.2     If site condition(s) warrants an instruction for correction or implementation of a BMP, this item will be verbally discussed between the Contract Administrator, the contractor’s representative, the CEIE representative and the CE project manager. Instructions will be given if a site condition is, or has the potential to become, a NPDES non-compliance issue.  The contractor will be given a deadline by which to implement, change and/or fix the issue, depending on the finding.

4.13.3    A follow up inspection by CEIE or the CE project manager will be performed to observe for site corrections. If the site correction has not been implemented or fixed due to a lack of effort, lack of concern or contractor negligence, then a written warning will be documented and placed on file. The contractor will be given a warning letter and a final deadline for implementing the mandatory instruction.

4.13.4     If, on a 2nd follow up site inspection, the contractor has not completed the Base’s instruction, a work stoppage, at the contractor’s loss of time, will be enforced until the compliance issue or issues have been addressed.

4.13.5     If more than one work stoppage has to be enforced for a single project, due to non-compliance issues, the general contractor will be subject to removal from all future bid lists for a time determined by the Contract Administrators.

4.13.6    The above process can be used as guidance for all projects.  However, CEIE and CE reserve the right to work with contractors on a project-to-project basis, based on special conditions. Special conditions may be determined by CEIE and CE. Special conditions may include, but are not limited to, situations such as the following:

        - Unforeseen weather conditions. (i.e. flooding, severe thunderstorms with significant rainfall events, etc.)

        - Vandalism

        - Contractor making continuous efforts to comply with standards, using means and methods typically applied in the construction industry, and exhibiting an overall concern with maintaining a site in compliance with the Base and under State guidelines.

4.13.7    A maintenance plan should be developed to address issues that need immediate corrections, which may result in off-site discharges, when the contractor is not on Base, refuses to return in a timely manner to make corrections and/or cannot be contacted. These issues include, but are not limited to, the following: silt fence repair, street sweeping, inlet protection, etc.  The cost of these corrections could be passed on to the contractor if the contractor is found to be at fault due to negligence.

## 4.14      Other Protection of Water Resources

4.14.1    General: The contractor shall not pollute storm drainage, streams, lakes, or reservoirs with fuels, oils, bitumen, calcium chloride, acids, construction wastes, or other harmful materials or pollutants. It is the responsibility of the contractor to determine and comply with all applicable Federal, State, regional, municipal, and other regulations.

4.14.2    Spillage: The contractor shall take special measures to prevent chemical, fuels, oils, greases, bituminous materials, waste washings, herbicides, paints, cement, and surface drainage from entering public waters. In the event of a spill, the contractor must first notify the Maxwell AFB Fire Department (953-9911), and then notify the TM/Contract Administrator and the installation environmental office. Contractor is responsible to make all required notifications to Federal, State, or local authorities as soon as possible.

4.14.3    Washing and curing water: Water used in aggregate processing, concrete curing, foundation, and concrete lift clean-up and other wastewater shall not be allowed to enter the storm drainage system.

4.14.4     Painting: Contractor shall provide sufficiently-sized drop cloths at each job site to contain any accidental spillage during paint usage. All containers shall be placed on drop cloths before opening and at all times during use. Any unused paint and its containers brought onto the installation by the contractor shall be properly sealed and taken off the installation by the contractor upon completion of the job.

4.14.5    Latex Paint: Locations (sanitary waste drains/entry points) for cleaning of brushes and other paint application equipment are confined to only those designated by installation environmental personnel for the particular job. At the designated sanitary waste disposal site, the volume of water used for cleaning shall be sufficient to provide for adequate dilution of the paint material.

4.14.6    Oil-Based Paint, Polyurethane, and Other Chemicals or Cleaning Solutions: Contractor shall properly dispose of all oil-based paint, polyurethane, cleaning solutions, containers, and used applicators at an off-base site.

4.14.7    Carpet cleaning: Contractor shall vacuum-extract or otherwise capture all cleaning fluids and chemicals applied to carpet during cleaning procedure. Fluids shall be collected in a portable tank and transported off the installation for proper disposal in accordance with all applicable regulations.  No material or fluid used in carpet cleaning activities shall be disposed of anywhere on the installation.

## 4.15        Protection of Land Resources

General: It is intended that the land resources within the project boundaries and outside the limits of permanent work performed under this contract be preserved in their present condition or be restored to a condition after completion of construction that will appear as the natural state and not detract from the appearance of the project. The contractor shall limit his construction activities to areas defined by the Drawings or Specifications.

## 4.16        Control of Air Emissions

4.16.1    Contractor’s actions shall conform to all applicable State, Federal, Air Force and MAFB requirements and directives for the control of air emissions under this and all contracts to be executed within the boundaries of Maxwell-Gunter AFB and associated GSU’s. When installing, servicing or operating air pollution producing equipment, all work shall be completed in accordance with manufactures specifications to ensure optimal operation and minimal emissions to the environment. When new or remanufactured equipment, including boilers and generators, is being installed, all necessary specifications and documentation required to calculate air emissions shall be provided to 42 CES/CEIE 60 days prior to installation. Required emissions data consists of unit capacity, input rating, output rating, and low emissions modifications.

4.16.2    Burning shall only be permissible when approved in writing by a representative from 42 CES/CEIE. All burning operations shall conform with applicable State, Federal, Air Force and MAFB requirements and directives.  It shall never be permissible to burn or allow the burning of any plastic, rubber, paper, treated lumber or other material that is not vegetative waste generated on the project site.

4.16.3    Dust control measures shall be employed when necessary to control dust production on a work site. Vehicles leaving the site shall have all practical amounts of dust/dirt removed by brushing, washing or other equally effective method to ensure that generation of airborne dust due to vehicle movement and tracking onto roadways is minimized.  All bulk containers of loose material to be moved to or from a work site shall be covered to minimize airborne dust during transport.

## 4.17      Waste Disposal

4.17.1    General: Installation environmental office shall be notified 24 hours before any waste will be allowed to leave the facility. Recurrence of pickups can be scheduled for the duration of the project or throughout current fiscal year. All waste containers shall be properly labeled in accordance with applicable regulations. Quantity of waste materials shall be provided to the 42nd Contracting Office and installation environmental office.

4.17.2     Hazardous waste generation, handling, and disposal: Work done under this contract is to be performed on a government facility.  According to rules and procedures of the United States Environmental Protection Agency, the Federal facility is required to have a generator identification number under the RCRA and to be responsible for wastes (as defined under RCRA and TSCA) produced, managed, stored, disposed on, or transported from the facility. Contractor shall, to the greatest extent practicable, use materials, processes, and techniques that will avoid the creation of hazardous waste. Under no circumstances shall contractor bring onto the site hazardous waste that has been generated elsewhere. No hazardous waste, petroleum waste, or universal waste shall be disposed of in solid waste containers.

Prior to generation of any hazardous wastes, contractor shall prepare and submit a written waste management and disposal plan for all hazardous wastes generated on the site, and all planned activities regarding hazardous materials and hazardous waste shall be coordinated through the Contract Administrator with the installation environmental office. Contractor shall follow this plan once it has been approved in writing by the CO in conjunction with the environmental office and shall dispose of all hazardous waste in accordance with all Federal, State, and local requirements. Contractor shall coordinate and schedule all disposal of hazardous waste through the CO in conjunction with the installation environmental office. Installation environmental office must authorize, on site, all shipments of hazardous waste from Maxwell Air Force Base.

4.17.3     Disposal of NON-RCRA wastes: All non-hazardous wastes generated on the site as a result of this contract shall be disposed of properly, in accordance with all Federal, State, and local requirements. Prior to creation of such wastes, the contractor shall submit to the installation environmental management function, through the TM/Contract Administrator, a plan for disposal of wastes. Such plan shall include the types of waste to be created, estimated quantity expected, how they shall be stored, managed and disposed. Contractor shall follow this plan once it has been approved by the installation environmental office and TM/Contract Administrator. Such wastes shall not be created until approved by the TM/Contract Administrator. Unless specified otherwise in the contract, non-hazardous waste shall be disposed of off base by the contractor in a legal manner that will not result in liability to the United States Air Force. Waste manifest, Bill of Laden, and/or landfill receipt shall be provided to the 42nd Contracting Office for forwarding to installation environmental office.

4.17.4     Construction debris: This contract may require the contractor to remove clean construction debris from the site and dispose of the debris off the installation in a manner that is in compliance with all applicable Federal, State, and local regulations. (Site soil, water, or other site media are not covered by this paragraph.) Such debris shall be free of all contamination, including but not limited to, lead paint, asbestos, and insecticides. Prior to removal of any construction debris, that debris shall be certified by an installation representative to be free of contamination and this certification shall be provided to the TM/Contract Administrator. To expedite work, this may be accomplished by a FAX, or other suitable electronic means; however, the original certification form shall be provided to the TM/Contract Administrator. All necessary information shall be provided, and the document shall be signed by an authorized installation representative. The certification form is provided at the end of this section of the specifications. All construction debris removed from the installation shall be covered by a certification. The contractor shall arrange with the installation point of contact whether all debris will be covered by one certification or if several certifications will be required.

4.17.5    Recycling: Contractor shall recycle material to the greatest practicable extent in order to reduce disposal of solid waste. Where construction and/or demolition debris such as concrete, brick, asphalt, wood, carpeting, or other material can be recycled, this alternative will be considered. Contractor shall submit weight verification of recycled/reclaimed material to the 42nd Contracting Office for submission to the installation environmental office for solid waste diversion tracking.

4.17.6    Organic wastes: Organic waste from ground-clearing operations may usually be disposed of at the installation compost facility. Contractor shall check with the TM/Contract Administrator for final clearance.

4.17.7    Consolidated waste disposal plans: Contractor may, at contractor’s option, submit for approval as specified above one consolidated plan for handling hazardous and non-hazardous wastes.

## 4.18     Earthwork and Removal of Potentially Contaminated Media:

4.18.1     Encountering unexpected contaminated soil or groundwater: Unless otherwise specified elsewhere in this contract, the site has been inspected and is, consistent with best professional judgment, free of environmental contamination or pollution. However, work under this contract will be performed on a military installation, where the history of prior military and industrial activities is not necessarily completely known, and unexpected conditions can always arise. Contractor or contractor personnel may encounter soil or groundwater that is suspected to be contaminated, either because of odors, colors, free liquids, unexpected construction debris, or other suspicious conditions. Should this occur, contractor shall cease activity in the area except those initial actions necessary to protect workers, the site, and other personnel. Contractor shall then immediately notify the TM/Contract Administrator and the installation environmental office at 953-5260.

4.18.2    Chlordane: Facilities proposed for demolition, significant renovation, and /or additions that were constructed prior to 1990, will be suspect for the presence of chlordane and other pesticides. It is known that chlordane has been used on Maxwell AFB as a pesticide prior to its EPA ban in 1989. We require that soils around the building foundations be tested for the presence of pesticides (chlordane). The EPA has specific handling and disposal requirements for soils and/or any waste streams that have been contaminated with chlordane that exceed threshold limits. Any suspected chlordane-containing soil will be subject to these provisions.

4.18.3    Removal of potentially contaminated media: The following provisions prohibit the removal from the installation of potentially contaminated soil or other materials found on site and are included, in an abundance of caution, for the protection of the Government, the installation, and the contractor.

4.18.4    Notwithstanding any another clause in this contract, including but not limited to all standard site work general provisions; no media by-product resulting from site preparation, construction or excavation shall be moved off the installation where the construction is occurring without written permission from Contracting Officer. If the construction is off the installation, no media by-product shall be moved off the construction site.

4.18.5    The contractor shall: (1) leave the media in place at the site, subject to appropriate erosion control; or (2) haul the media to, and place it at, a location on the installation that has been designated either in this contract or in writing by the TM/Contract Administrator; and (3) if unforeseen difficulties arise, such as excessive quantity of media is generated, the contractor shall advise the TM/Contract Administrator and shall not remove media from the site without written authorization from the Contracting Officer.

4.19        Resource Conservation

Consumption of resources shall be minimized where possible. Contractors shall shut down electrical and gas-powered equipment when not in use and minimize the consumption of water and other resources.

## 4.20       Protection of Cultural/Historical Resources

4.20.1    Historic facilities: Modifications or renovations to any facilities on Maxwell-Gunter AFB that are listed on or eligible for the National Register of Historic Places or exceed 50 years in age must be reviewed and approved by the installation Cultural Resource Manager. If the proposed action affects any elements that contribute to the facility’s historical characteristics, these actions are subject for review and approval by the State Historic Preservation Office (SHPO).  Plans and drawings for projects that will impact historic facilities shall be submitted to installation environmental office for potential submission to SHPO. SHPO review is a minimum of 30 days, and work shall not proceed until authorized through the CO in conjunction with the installation environmental office. If the contractor or contractor’s representative causes any damage to historical characteristics of a historic facility, contractor shall be responsible for full restoration of damage.

4.20.2    Unexpected artifacts or relics: Should contractor or employees, in the course of site preparation or other work on this contract, find unexpected historic or archeological remains, such as bones, arrow points, pottery remnants, foundations, or other evidence of previous uses of the site, contractor shall cease further site-disturbing activity and immediately notify the TM/Contract Administrator and installation environmental office.

## 4.21       Protection of Natural Resources

4.21.1    Protection of special water resources: If project will involve: any disturbance below the ordinary high-water mark of a pond, lake, stream, river, or other water body; any work within wetland areas; withdrawal of water from water bodies; or discharges into water bodies; planned work shall be coordinated through installation environmental office. Contractor shall obtain any required Federal, State, or local permits and submit copy of permit(s) to installation environmental office prior to work start.

4.21.2     Preservation of trees, shrubs, and other landscape: The following requirements shall be observed by the contractor in order to protect the existing landscape (to include trees, shrubs, turf, flowers, flower beds, sidewalks, patios, fences, etc.):

4.21.3    Tree Protection:  All trees shall be protected unless they are designated on the plans to be removed. Contractor shall install protective fencing around trees in the construction area, at a radius extending from the tree trunk at least out to the drip line of the tree. No vehicle parking or storage of materials is allowed under tree canopies or within the drip line/root zone of the trees or beside existing shrub plantings.  Work shall not damage roots of existing trees without prior coordination with installation Natural Resources Manager. No fences, ropes, cables, signs, or devices of any kind shall be attached to any tree. Pruning or removal of trees/shrubs shall only be permitted after written or electronic coordination with the Natural Resources Manager in the environmental office or the Horticulturist at the installation greenhouse. The TM/Contract Administrator and installation environmental office shall be notified immediately of any damage to trees caused by contractor or contractor’s representative. The 42nd Contracting Office will direct measures, if any, to treat the injury. If the contractor or contractor’s representative causes the death or 60% decline to any protected tree(s) within a 24-month period, the contractor shall remove and replace the damaged tree(s) with size and species of tree(s) directed by the 42nd Contracting Office. The size of replacement tree(s) shall equal caliper size of removed trees.  Contractors shall replace trees in accordance with the AETC Tree Instruction, AETCI 32-7065.

4.21.4    Turf Protection: No driving across, parking, or other equipment operations on existing turf or storage of materials on turf areas shall be permitted unless prior approval has been obtained from the TM/Contract Administrator. If any lawn damage occurs (even with special permission), the contractor shall restore the lawn with approved sod, per “Maxwell Air Force Base Landscape Management Operational Instruction.” (Turf in most areas is Tifton 419 Bermuda grass.) If sod fails to grow or is not viable within 60 days of the date of substantial completion of the contract, sod shall be replaced at contractor’s expense. The use of grass seed to repair turf damage is not permitted.

4.21.5    Repair or replacement of damage:  If any failure to comply with these environmental protection provisions or any other provisions of this contract results in damage to government resources, contractor shall be held responsible. Any landscaping, turf, or other natural resource damage shall be repaired, at no additional cost to the government, to the government standards as defined in “Maxwell Air Force Base Landscape Management Operational Instruction.” Repair work shall be inspected and accepted by the Contracts office or TM/Contract Administrator.  Any discrepancies shall be fixed before acceptance.

## 4.22     Contact Information

If at any time, contractor has environmental protection concerns or questions, first attempt to contact the Contracting Officer, who can contact the installation environmental office, 42 CES/CEIE. If the Contracting Officer is not available, or in case of emergency, contractor may contact the environmental office at 334-953-5260.

## For immediate response in case of any chemical release or spill, contact the MAFB Fire Department at 953-9911. (From a MAFB installation phone, dial 911.)

## INSTALLATION CERTIFICATION FOR CLEAN CONSTRUCTION DEBRIS TO BE REMOVED FROM THE CONSTRUCTION PROJECT SITE

As representative of     Maxwell Air Force Base	, I am authorized to certify, and hereby do so certify, that the construction debris to be removed from the Government project site at:

(describe project and list address, for example: Building 1925, Shop Addition, Maxwell AFB, Montgomery, Alabama)

has been inspected and is free of all contamination, including but not limited to: lead paint, asbestos, PCBs, and pesticides.

CERTIFICATION:

Signed: _ 	_    Date:

Printed Name, Rank or Grade, and Duty Title:

## ORIGINAL OF THIS FORM MUST BE PROVIDED TO THE TM

## Operations and Storage Areas

  - The following are additional implementing guidance to FAR Clause 52.236-10 Operations and Storage Areas.

  - Long Term General Operations and Storage Area(s). The governmental WILL NOT provide long- term storage for general use by the Contractor on Maxwell.

  - Project Specific Operations and Storage Area(s). Project-specific operations and storage areas will be provided at the job site for each task order by the Government, if available, when requested in writing to the Contracting Officer. These sites will only be used for storage of equipment and materials for execution of project requirements associated with each Task Order. The requirement for operations and storage areas (staging areas) associated with a Task Order shall be dependent upon the size of project and in accordance with specific criteria as detailed in the Task Order. Prior to starting the work, the contractor shall submit a site plan to the Contracting Officer for approval, showing the layout and details of all temporary facilities planned for use. The plan shall include the location of the safety and construction fences, location of all site trailers, equipment and material storage areas, construction entrances, trash dumpsters, temporary sanitary facilities, and worker parking areas as required. Site photographs prior to the start of work may be included with the plan. At completion of work, the contractor shall remove the facilities and restore the site to its original condition.

  - Toxic or Hazardous materials may only be temporarily accumulated at the project operations and storage area IAW DFARS Clause 252.223-7006 Prohibition on Storage, Treatment, and Disposal of Toxic or Hazardous Materials.

  - All operations and storage areas shall be completely screened with six-foot high chain-link construction fencing and include visual screening with brown mesh slats. At the entry to the storage area the contractor shall erect a sign in accordance with Maxwell sign standards. The sign will prominently display the company's name and phone number and an emergency contact.

  - All contractor trailers, stored materials, and idle equipment shall be in the designated operations and storage area. The storage area shall be kept clean and orderly. Tarps are to be used, as necessary, to secure loose materials. The on-site representative of the Contracting Officer is the sole judge as to what constitutes an acceptable operations and storage area.

  - Dumpsters may be located outside the operations and storage area but must be sited as approved by the on-site representative of the Contracting Officer. Any movement of a dumpster to another area on the project site must be approved by the Contracting Officer. The Government will not be responsible for other entities illegally disposing of trash in unsecured construction dumpsters.

  - Housekeeping. The contractor shall perform normal housekeeping functions, at the contractor’s expense, inside and outside their facilities and operations and storage areas as outlined in Base regulations and as directed by the Contracting Officer. Such functions include snow and ice removal; sweeping, mopping, dusting, disposal of accumulated waste materials and rubbish; proper labeling, handling, storage and disposal of hazardous wastes; and other operations necessary to keep the site presentable at all times. Contractor facilities shall conform to base standards such as fire code and other safety requirements. All rubbish and waste materials shall be removed daily and shall be placed in approved containers outside the building where designated. The contractor shall not allow grass/weeds within the operations and storage area to exceed six inches in height.

  - All items in the operations and storage area shall be removed within two (2) weeks when no longer needed or when the contract is completed, unless otherwise stated in the TO.

## Vehicles, Pass & Identification, Security Requirements

  - Search, Inspection, and Seizure. All vehicles, personnel, and hand-carried items, entering or exiting any base control point, or while on the base, are subject to search and inspection and seizure of any prohibited item, at any time. Random, unannounced, and regular searches and inspections can be conducted. These searches and inspections are intended to assure prohibited articles are not introduced into, and government property is not removed from the base or its facilities. These delays will not be charged to the Government, as they are to be expected entry procedures for the installation. Delays entering the installation can be experienced during military exercises and increased threat postures; the contractor assumes all liabilities associated with such delays.

  - Parking. Parking of the contractor's vehicles shall be restricted to the area of work. The company name shall be prominently displayed on all construction vehicles parked where work is being accomplished.

  - Driver's Licenses. All persons entering or working on MAFB that are required to operate a motor vehicle shall possess a valid Driver's License. For personnel operating specialized equipment, a Commercial Driver’s License (CDL) is required as appropriate.

  - The use of seatbelts by all vehicle operators and passengers is mandatory on MAFB. Vehicle operators caught not wearing seatbelts will lose their driving privileges, subject to laws governing Military and Civilian Employees.

  - On-base contractor employees shall ensure the following pass and identification items required for contract performance, are obtained for employees and non-government owned vehicles.

  - Base Access. All contractor personnel are required to pass security checks prior to being issued a base pass allowing them access to MAFB. The Contracting Officer or his designated representative will provide instructions and forms for the contractor to fill out and return to the Contracting or Civil Engineer office. These will be reviewed and forwarded to the security office for approval. Once approval/disapproval has been received, they will be forwarded to the contractor. This will be notice that the employees may go to the visitor’s center and get their access pass.

  - FPCON Restrictions. Access to Base may be restricted dependent upon the established ‘FPCON’ level at any time during the execution of the Task Order. Contractor shall be issued badge and vehicle pass allowing normal access to the Base throughout FPCON levels ‘A’ and ‘B’. Increased FPCON levels approaching ‘C’ and/or ‘D’ shall be more restrictive, requiring further confirmation of current security requirements as provided by Contracting Officer.

  - Commercial Vehicle Access. All commercial and company marked vehicles must enter the installation through Kelly St Gate. Vehicle operators must have authorized base access credentials to access the installation. Drivers will be required to open all vehicle compartments and will be moved to a location out of sight of the inspection. If a compartment is sealed the seal will be broken and can be resealed after inspection is conducted. A Security Forces member will sign documentation stating the seal was broken. Major delays frequently occur during peak traffic times. Additional delays will take place if a contractor fails to have proper documentation for their vehicle or fails to pass the vetting process, i.e., has warrants or criminal history that does not meet our entry matrix. These delays do not entitle the Contractor to a claim unless there are unusual circumstances that cause delays significantly longer than identified above.

    - Weather. Occasionally weather dictates early release, late report, or complete base closure resulting in absence of MAFB personnel. When such weather conditions cause one of the above situations, contractor personnel will be denied access to the base, unless they have been notified by the Contracting Officer their contract service has been determined essential. Denied access in these situations will result in no additional cost to the Government.

  - Retrieving Identification Media. The contractor shall retrieve all identification media, including vehicle passes from employees who depart for any reason before the contract expires; e.g., terminated for cause, retirement, etc.

  - Disclosure of Information. The contractor shall comply with DFARS 252.204-7000 when they have access to or generate unclassified information that may be sensitive and inappropriate for release to the public.

## Security Requirements

  - The contractor shall comply with security requirements imposed by the Installation Commander and/or the agency occupying the space where work is to be performed, including any necessary security clearances. Prior to mobilization the contractor shall provide the Contracting Officer or authorized representative a list of personnel requiring authority to work on MAFB. The list shall be kept current, and the Contracting Officer or authorized representative shall be notified as to any changes in the list.

    - Additional Security Requirements: In accordance with DOD 5200.1-R, and AFI 31-401, the contractor shall comply with requirements identified in AFSSI 9100, Communications Security (COMSEC), Command, Control, Communications and Computer (C4) Systems Security, Security Awareness Training Education (SATE), and Operations Security (OPSEC).

  - Reporting Requirements. The contractor shall comply with AFI 71-101VI, "Criminal Investigations Program" requirements. Contractor personnel shall report to an appropriate authority any information or circumstances of which they are aware may pose a threat to the security of DOD personnel, contractor personnel, resources, and classified or unclassified defense information. Contractor employees shall be briefed by their immediate supervisor upon initial on-base assignment.

  - Traffic Laws. The contractor and its employees shall comply with base traffic regulations.

  - Cell Phone Use While Driving. Policy prohibits cell phone use while operating motor vehicles on military installations. Vehicle operators on all military installations will not use cell phones unless the vehicle is safely parked, or they are using a hands-free device. A violation of this nature will result in the loss of on-base driving privileges for 30 days.

  - Key Control. The contractor shall establish and implement methods of making sure all keys issued to the contractor by the Government are not lost or misplaced and are not used by unauthorized persons. The contractor shall not duplicate any keys issued by the Government.

    - The contractor shall immediately report to the Contracting Officer any occurrences of lost or duplicated keys.

    - In the event keys, other than master keys, are lost or duplicated, the contractor may be required, upon written direction of the Contracting Officer, to re-key or replace the affected lock or locks without cost to the government. The government may, however, at its option, replace the affected lock or locks or perform re-keying and deduct the cost of such from the monthly payment due the contractor. In the event a master key is lost or duplicated, the government shall replace all locks and keys for that system and the total cost deducted from the progress payment due the contractor.

    - The contractor shall prohibit the use of keys, issued by the government, by any persons other than the contractor's employees and the opening of locked areas by contractor employees to permit entrance of persons other than contractor employees engaged in performance of contract work requirements in those areas.

  - Lock Combinations. The contractor shall control access to all government provided lock combinations to preclude unauthorized entry.

  - Controlled/Restricted Areas/Free Zones. To establish a free zone in a controlled or restricted area the Contractor shall coordinate with the technical monitor or designated user to coordinate with the 42d SFS to establish the free zone.

## Contractor’s Telephone

  - The contractor shall provide the Contracting Officer with a telephone number at which the contractor, or their representative, may be contacted at any time during standard working hours.

  - Emergency Phone Number: An after standard hours emergency telephone number for the contractor shall be provided to the Contracting Officer or their authorized representative. The emergency telephone number shall also be posted on the sign near the entrance to each project staging area/entrance. Updates shall be provided to the Contracting Officer, or their authorized representative within 24 hours of the change.

  - Communications Security (COMSEC): All communication with Department of Defense (DOD) organizations are subject to COMSEC review. Contractor personnel will be aware that telecommunications networks are continually subject to intercept by unfriendly intelligence organizations. The DOD has authorized monitoring of the military phone calls originating from or terminating at DOD organizations. Therefore, civilian contractor personnel are advised that any time they place a call to or receive a call from a USAF organization, they are subject to COMSEC procedures. The contractor shall assume the responsibility for ensuring wide and frequent dissemination of the above information to all employees dealing with official DOD information.

## Employee Standards

  - The Contracting Officer may, in writing, require the contractor to remove from the site any employee the Contracting Officer deems incompetent, careless, or otherwise objectionable. The following shall apply:

    - All work under this contract shall be performed in a skillful, workmanlike, and professional manner.

    - Proper Attire: Improper attire, i.e. attire not providing sufficient safety protection and a professional appearance (minimum of long trousers, shirt and shoes) will be reported to the Ground Safety Office and the Contracting Officer respectively. In addition, no profane, illegal, offensive or discriminatory language/symbols shall be displayed.

    - Subcontractors: The Government shall not exercise any supervision or control over the contractor's employees performing service under this contract; such employees shall be accountable not to the Government, but solely to the contractor, who in turn, is responsible to the Government.

    - Unauthorized Personnel: Circulation of said personnel will be limited to official business only. Persons in violation of the above will be apprehended and appropriately disciplined.

## Prohibited Items

  - Certain items are prohibited on base. Personnel who are found to be in possession of prohibited items will be challenged and the item confiscated pending an investigation. Personnel in possession of prohibited items are subject to disciplinary action, withdrawal of access authorization, or arrest and prosecution. The following non- government owned items are prohibited on base, unless an exception is noted:

    - Tobacco products use is permitted in designated, outside use areas only. No use will be allowed within any base facility.

    - Alcohol, controlled substances including non-prescription drugs and associated paraphernalia. In accordance with Federal law, marijuana is prohibited on the installation.

    - Firearms, ammunition, and other dangerous or deadly weapons, explosives, or incendiary devices.

    - Cell phone use while driving is prohibited on MAFB.

    - Pets, wild or domestic.

    - Other items prohibited by local, state, or federal law.

    - Other items prohibited by Wing Instructions and regulations, Air Force Instructions, or DOD regulations.

## Materials and Equipment

  - All contractor furnished materials shall meet required specifications of this SOW, the individual Task Order and as set forth in Paragraph 2 of this section.

  - Contractor furnished equipment: The government expects the contractor to provide their own equipment and/or hire subcontractors who have their own equipment common to the trade in which they are employed.

    - Equipment Condition: Equipment and vehicles used on base shall be safe and in good operating condition. The Contracting Officer, or designated representative, reserves the right to inspect any on-base equipment and reject such equipment if he/she considers it unsafe, in poor operating condition, or inappropriate for work. The contractor must notify the Contracting Officer of any contractor equipment broken down on any base road. Every effort should be made to move broken down equipment to the nearest parking lot before leaving it.

  - Government Furnished Equipment, Facilities and Materials (GFE/M): At the time of contract authoring there are no Government furnished equipment or facilities. Government furnished materials will not be provided to the contractor as a general rule. However, the government reserves the right to use GFE/M on any task order. In such cases, the contractor shall provide receipt for these materials to the Government and the material cost shall be excluded from the price of the task order. The contractor shall follow the instructions of the Government representative regarding the disposition of all government- furnished property not consumed in performance of the task order.

    - Property Administrator: The Base Civil Engineer, or their authorized representative, is designated as Property Administrator for Government-furnished equipment/material to be furnished to the contractor for performance under this contract.

    - Transportation: The contractor, with his own forces, shall transport all Government furnished equipment/materials (GFE/M), if any described on the task order. The equipment/material shall be transported from the Government storage area to the work site indicated on the task order.

    - Contractor Responsibility: The contractor assumes the risk and responsibility for the loss or damage to the Government-furnished property.

  - Government Liability: The Government shall not be liable for any loss or damage to the contractor's property, including stock or for expense incidental to such loss or damage. Suspected theft shall be reported to the Security Forces as soon as possible.

## Work

  - Scheduling Work. All scheduling information shall be coordinated at the pre-construction conference and approved by the Contracting Officer. Any agreements on: a sequence of procedure; means of access to premises and building; space for storage of materials and equipment; delivery of materials and use of approaches; use of corridors, stairways, elevators, and means of communications; and the location of partitions, eating spaces, and restrooms for contractor's employees shall be requested and approved in writing to the Contracting Officer or their representative.

  - Permits. The contractor is responsible for acquisition of all permits in accordance with FAR 52.236-7, which includes, but is not limited to the AF Form 103 (Dig Permit), Work Clearance Request and welding permits (The contractor shall obtain a welding permit from the Base Fire Chief immediately prior to performing any welding by a certified welder.)

  - Furniture Moving. Furniture and portable office equipment in the immediate work area shall be moved by the contractor and replaced to original position as identified in each Task Order upon completion of the work. If the work required by the task order will not allow furniture and portable office equipment to be replaced to its original position, new locations will be designated by the Contracting Officer or the representative for replacement by the contractor. This work will be identified in the Task Order Scope of Work or drawing notes.

  - Material Delivery. Delivery of materials and equipment shall be made with a minimum of interference to Government operations and personnel.

    - Incoming Supplies. The contractor shall coordinate with suppliers and shippers to ensure incoming materials are properly identified with the contractor's name, contract number, and task order description. Also, a designated individual shall be identified to receive shipments. No covered storage area is available for the contractor's use.

  - Material Testing. The contractor shall notify the Contracting Officer or the technical monitor a minimum of 48 hours in advance of when and where testing is to be performed so the Government will have the option of witnessing the test.

  - Site Fencing and Mowing. When safety dictates, as defined by the government, the contractor shall provide and maintain at his expense adequate chain link fencing around each work site; all site storage areas are considered a part of the work site and should be controlled in such a fashion that safety is paramount. When grass/weeds exceed six inches in height, all areas contained within each task order shall be mowed at the contractor’s expense.

  - Area. Coordination with affected facility occupants (Using Agency) shall be made through the technical monitor to assist the contractor in completing the work with a minimum of interference and inconvenience. The work shall, so far as practicable, be done in definite sections or divisions and confined to limited areas which shall be completed before work in other sections or divisions are begun in each individual task order.

  - Special Events. A variety of special events may occur during the contract effort. During the course of these events, more stringent standards may be required for contract operations. Examples are stricter requirements for staging areas, worksites, and haul routes. The on-site representative of the Contracting Officer will provide specific requirements to the contractor. The special events, and their approximate time periods will be as identified during the contract performance period if known at the time of contract formation.

  - Elevators. Any temporary use of an existing elevator shall be by arrangement through the Contracting Officers onsite representative and subject to their controls. Such use will be of an intermittent nature. The contractor shall provide and maintain suitable and adequate protection covering for the elevator machinery, the hatchway entrance, and the interior of elevator during the period of temporary use. Loads in excess of the rated capacity of the elevator will not be permitted. On completion of the work, the contractor shall remove the protective coverings along with any resultant dirt and debris and leave the equipment in a condition equal to or better than that in which it was found.

  - Toilet Facilities. Contractor's personnel will be permitted to use existing toilet facilities, if available; on the work premises unless disapproved by the Contracting Officer or their designated representative, on an individual task order basis. If toilet facilities are not available, then the contractor shall provide portable restroom units for his employees on the job site at their expense.

  - Security at the Work Site. Whenever facility security is breached to perform work required under this contract, the contractor will be responsible for providing temporary measures in order to assure security is maintained at the level existing prior to construction. The contractor shall provide adequate protection at their cost against vandalism and theft for all parts of the building wherever work under this contract is performed. This may include such security items as fencing around a facility or closing all openings in a structure during non-working hours. If vandalism or theft occurs as a result of contractor negligence, it will be the responsibility of the contractor to repair or replace lost or damaged materials, equipment, or facilities.

  - Protection of Government Property. Contractor is responsible for protection of existing vegetation, structures, equipment, utilities, and improvements (Reference FAR 52.236-9).

  - Equipment on the Work Site. Contractor shall store all supplies and equipment on project site so as to preclude theft or damage. The contractor is responsible for securing all their equipment left on the work site. The contractor shall cover equipment that is to remain in-place within the area of work and protect it against loss or damage. Equipment removed in performance of work when directed for reuse in work as required by drawings and/or the Statement of Work shall be satisfactorily stored. Equipment temporarily removed shall be protected, cleaned, and replaced equal to its condition prior to starting work. Security for equipment and material that is to be reused and is removed for temporary storage shall be the sole responsibility of the contractor. Contractor shall maintain the work site in a safe and orderly manner.

  - Cleanup and Disposal of Debris. At the end of each workday, the contractor shall clean the work area and stack building materials in a neat manner as approved by the Contracting Officer or their designated representative. Contractor shall ensure that trash is contained and not allowed to be blown around by the wind.

  - Waste Disposal. All spoil, waste and debris removed from the work site and not specified for re-use or identified as salvageable items, shall become the responsibility of the contractor and shall be disposed of off-base/site in areas authorized by the applicable county and/or state agencies and in accordance with current rules and regulations governing the disposal of solid waste. Disposal of hazardous waste shall be in compliance with local, state and federal standards.

  - Weather Related Precautionary Measures. It is the contractor's responsibility to take all necessary precautions to minimize delays resulting from weather conditions. This may include, but is not limited to, trenching, protective covering(s), temporary structures (walls to prevent mud slides), etc.

## Airfield Requirements

  - The contractor shall coordinate all Airfield work with the technical monitor who will contact Airfield Management Operations for construction restrictions and shall comply with all Air Force regulations.

    - Airfield Safety. Base Airfield includes a Restricted Access Security Area, identified by a red boundary line and entry control points labeled “Entry Point.” Individual Task Orders will identify applicable safety and security requirements. Airfield Manager and Base Operations will brief all workers and truck drivers on flightline driving procedures. The flightline Driving Briefing and Agreement for contractor and TDY Personnel will be conducted by Airfield Management. This agreement, along with contractor badges (issued by Base Security Forces) shall be carried by all individuals operating vehicles on the flightline.

  - Access within the flightline fence requires training from Airfield Management that lasts approximately two hours.

  - Government provided two-way VHF radio contact shall be maintained with Base Operations and all vehicles, equipment, contractor and subcontractor personnel working on the flightline, taxiways, and runways. The frequency shall be addressed at the Pre-Construction Conference.

## Work in Restricted Areas

  - General: Because restricted areas are restricted access areas, working conditions will be subject to the following security restrictions and construction sequencing.

  - Flame-Producing Devices: Flame-producing equipment such as matches and lighters are not permitted inside a restricted area. Smoking within this area is prohibited the use of torches for cutting, welding, etc., is also restricted to certain areas and must be coordinated in advance with the Fire Department.

  - Equipment Stockpiles and Construction Debris: Equipment stockpiles and construction debris shall be kept a minimum of 50 feet away from perimeter fencing in areas designated by airfield management or Contracting Officer Representative.

  - Contractor Operational Facilities: The contractor shall be required to provide portable latrine facilities inside the free zone and also locate, as necessary, office and storage trailers in the area. All trailers left inside a restricted area after hours must be lockable from the exterior with a padlock and hasp.

## Miscellaneous:

    - Contractor's use of CBs, recording devices, cell phones, cameras and other digital recording/transmitting/receiving devices shall be prohibited in a restricted area.

    - During the course of this contract, the contractor's workforce may be required to work within safety clear zone of explosives stored inside ammunition storage igloos.

## Utilities Services (FAR 52.236-14)

  - Government Provision: Available water and electricity for Task Orders may be used in reasonable quantities in this work at no cost to the contractor. The contractor shall make arrangements for such services with the Contracting Officer or their designated representative. Should utilities not exist it is the contractor's responsibility to provide them if necessary.

End of Section

# Section 01300 Task Order Execution

## Notification of Work/Inspection

  - Work Start Notice. The contractor shall notify the Contracting Officer in writing fourteen (14) calendar days prior to construction start of each individual task order to allow the Government sufficient time to notify the applicable using organization(s) unless otherwise identified by the Contracting Officer.

    - When either a Suspension of Work is lifted, or other modification is issued the contractor shall notify the Contracting Officer within two (2) working days prior to construction start to allow the Government sufficient time to notify the applicable using organization(s).

  - Notice of Completion of Task Order: When the contractor is ready for the final inspection, he/she will request the inspection in writing by email to the Contracting Officer five (5) working days before the desired date.

  - Final Inspection: The Final Inspection will be performed no later than seven (7) calendar days prior to the end of the completion date of each task order with the contractor by the technical monitor, the Contracting Officer or the designated representative, and other pertinent Government personnel. If any discrepancies are found, they will be documented and repaired. Accepted projects will be fully operational for the purpose intended.

  - Beneficial Occupancy: Use and possession prior to completion (referred to herein as Beneficial Occupancy) is implemented through FAR 52.236-11. Beneficial Occupancy Dates (BODs) will be used to start the warranty of construction for the identified area, even though additional follow-on work in the area may be required by the contractor to complete the project work.

## Closeout

  - Closeout of Task Order: The closing out of various features of the contract shall be done before or on the Government contract construction completion date.

## Warranties

  - Not later than the date the final invoice is submitted, the contractor shall provide a listing to the Contracting Officer identifying as a minimum, the Task Order Number, the extent/location of work (Building number and extent of the work accomplished, e.g., entire roof, west wing, etc.), Project Number and Project Title; the date of final acceptance by the Government; and the date, 1 year from acceptance, the warranty of construction will expire. Other commercial warranties which include any standard warranties on materials and equipment normally provided by the manufacturer or installer, shall also be provided by the contractor to the Contracting Officer.

  - In connection with these 1-year warranty of construction requirements, the contractor shall be responsible for all call-outs on warranty work. The contractor will then be responsible to ensure that the warranty work is completed.

  - In the event the contractor or his designated representative fails to commence and diligently pursue any warranty work required, within a reasonable time after notification, the Government shall have the right to have the work performed by others, and after completion make demand for reimbursement of any and all expenses incurred by the Government while performing the work, including, but not limited to, administrative expenses.

  - Warranty repair work which arises to threaten the health or safety of personnel, or the safety of property or equipment will be handled by the contractor on an immediate basis as directed verbally by the Contracting Officer. Failure of the contractor to respond as verbally directed will be cause for the Contracting Officer to have the warranty repair work performed by another contractor and to proceed against the contractor as outlined above.

## Contractor-Furnished Warranty Data

  - Prior to final inspection and acceptance of the work, the contractor shall submit the data mentioned in the following subparagraphs.

    - Warrantees: A list of all items that are specified to be warranted accompanied by a copy of each specific /warranty therefor. For each specific warranty, a name, address, and telephone number shall be shown on the list for the supplier or distributor. The completion date of the warranty period shall correspond to the applicable specification requirements for each warranted item.

    - Warranty List: The contractor shall furnish warranty list for all warranted items. The warranty list will have the following information on them at a minimum:

      - Project Title

      - Building Number

      - Contract Number

      - Installation Date

      - Warranty Start Date

      - Warranty End Date

      - Installed By

      - Company Honoring Warranty

      - Warranty Certificate Number

      - Point Of Contact and Phone Number

    - Salvageable Materials: All materials removed and not reused in the project as specified herein or shown on the applicable drawings remain the property of the Government, except as noted below. The Contracting Officer will determine if materials removed from the job site are salvageable or unsalvageable. When a material is designated as unsalvageable, the material becomes the property of the contractor.

End of Section

# Section 01400 Contractor’s Quality Control and Program Management

## General

  - The contractor is responsible for quality control and shall establish and maintain an effective quality control system in compliance with the Contract Clause 52.246-12 entitled “Inspection of Construction.” The quality control system shall consist of plans, procedures, and organization necessary to manage all task orders to produce end products which comply with the contract requirements. The system shall cover all construction operations, both on site and off site, and shall be keyed to the proposed construction sequence. The government will hold the project manager responsible for the quality of work on the job. The Contractor Project Manager is subject to removal by the Contracting Officer for non-compliance with quality requirements specified in the contract.

## Quality Control Plan

  - After the Pre-construction Conference before start of construction on the first Task Order, and prior to acceptance by the Government of the Quality Control Plan, the contractor shall meet with the Contracting Officer or their authorized representative to discuss the contractor's quality control system. During the meeting, a mutual understanding of the Quality Control Plan and the interrelationship of contractor's management and control with the Government's quality assurance shall be reached. Minutes of the meeting shall be prepared by the contractor, approved and signed by both the Contracting Officer and the Technical Monitor. The minutes shall become a part of the contract file within 3 working days. There may be occasions when subsequent conferences will be called by either party to reconfirm mutual understandings and/or address deficiencies in the Quality Control system or procedures that may require corrective action by the contractor.

  - The contractor shall furnish for approval by the government, not later than 20 calendar days after award of the Base Contract the contractor’s Quality Control (QC) Plan they propose to implement under the requirements of the Contract Clause entitled “Inspection of Construction.” Construction for any Task Order will be permitted to begin only after acceptance of the QC Plan. The contractor may submit an overall Base Contract QC plan for approval and provide Task Order supplemental QC plans as needed to address specific elements of each task order. The Contractor shall identify their use of an approved Base Contract QC plan with each Task Order supplemental QC Plan.

  - Content of the QC Plan. The QC Plan shall include, as a minimum, the following to cover all construction operations, including work by subcontractors and suppliers:

    - A description of the quality control organization, including a chart showing lines of authority. As a minimum, the staff shall include a QC manager whose responsibility is to implement the QC plan.

    - The name, duties, responsibilities, and authorities of each person assigned a QC function.

    - Procedures for scheduling, reviewing, certifying, and managing submittals. These procedures shall be in accordance with Section 01000 General Contract Requirements.

    - Procedures for tracking construction deficiencies from identification through acceptable corrective action. These procedures will establish verification that identified deficiencies have been corrected.

  - Notification of Changes: After acceptance of the QC Plan, the contractor shall notify the Contracting Officer in writing by email of any proposed change. Proposed changes are subject to acceptance by the Contracting Officer.

## Quality Control Organization:

    - General: The requirements for the QC organization are a QC manager and sufficient number of additional qualified personnel to ensure contract compliance. The contractor shall provide a sufficient QC organization to ensure the quality of work at each work site during construction.

    - QC Manager: The QC manager shall be a construction person with a minimum of five (5) years in related work. This QC manager shall complete quality control inspection of each work site on a daily basis and be available, for immediate response to any given work site during working hours. The QC manager shall be employed by the prime contractor and have complete authority to take any action necessary to ensure compliance with the contract.

    - Additional Requirement: In addition to the above experience and education requirements the QC manager shall have completed a course in Construction Quality Management for Contractors or have comparable experience in construction quality control.

    - Organizational Changes: When it is necessary to make changes to the QC staff the contractor shall revise the QC Plan to reflect the changes and submit the changes to the CO for acceptance.

  - Quality Control Documentation: The contractor shall maintain current records providing documented evidence that required quality control activities and/or tests have been performed.

    - Final Inspection report shall clearly show punchlist items found and date completion expected.

  - Interface with the Government: The QC manager shall request meetings with the government to discuss quality issues when they arise. The government reserves the right to conduct quality meetings at its discretion.

  - Notification of Noncompliance: The Contracting Officer will notify the contractor of any detected noncompliance with the foregoing requirements. The contractor shall take immediate corrective action after receipt of such notice. If the contractor fails or refuses to comply promptly, the Contracting Officer may issue an order stopping all or part of the work until satisfactory corrective action has been taken. No part of the time lost due to such stop orders shall be made the subject of claim for extension of time or for excess costs or damages by the contractor.

## Program Management

  - Key Personnel:  No later than 10 days after contract award the key personnel shall be identified to the Contracting Officer. The Program Manager/ Project Manager/ Construction Site Superintendent/Job Foreman may be the same individual if they are able to meet all the requirements of each position simultaneously.

    - Program Manager: The Contractor shall provide a Program Manager who shall be responsible for the performance of the work. The name(s), contact number(s), and email address of the Program Manager shall be designated in writing to the Contracting Officer as a part of the Program Management Plan.

- Program Manager shall have full authority to act for the Contractor on all contract matters relating to daily operation of this contract with no dollar amount restrictions.

- Program Manager shall be available via cellular telephone.

- Program Manager shall be available during normal duty hours, or by phone within one hour,

and available to meet on the installation with government personnel on any matters relating to the project efforts within 24 hours. After normal duty hours, the Program Manager shall be available by phone within two hours, and available to meet on the installation with government personnel within 48 hours.

    - Construction Site Superintendent/Job Foreman: Worksite superintendents are required IAW FAR 52.236-6 Superintendence by the Contractor. This person shall be able to answer all pertinent questions pertaining to the work being accomplished.. The Contracting Officer shall be notified in writing of changes to Construction Site Superintendent/Job Foreman.

(1) The Construction Site Superintendent/Job Foreman shall be available by cellular telephone during normal duty hours.

    - Site Safety and Health Officer (SSHO): SSHO shall monitor the work site and be available to perform safety and occupational health management, surveillance, inspections, and safety enforcement for the Contractor. The Contractor Quality Control (QC) Officer can be the SSHO on this contract. The SSHO shall meet the following requirements:

- Level 2:

  - Experience with safety work on similar project.

  - 30-hour OSHA construction safety class or equivalent within last 3 years.

  - Competent person training as needed.

End of Section