## 36C10B26Q0267
# | Question | Answer
1 | May we know the resulsts for the network engineering and architectural design from phase 1 award 36C25925P1232 to better prepare our response for this the RFI? | This information is not available
2 | Has a site survey been completed to determine site readiness, required cable length, antenna type, radio location? | Site surveys have not been completed.
3 | Is there a preferred RF power level for each location? | No. Recommended power-level should be a component of the network diagram.
4 | Is remote control required? | Not required but can be included in the response.
5 | What locations require Base station vs Mobile station? | Recommendations should be in the responses based on location of facilities (VAMCs and CMOPs).
6 | What does it mean by “hybrid” configuration? | Fixed, mobile, or combination configuration.
7 | It appears the current Sources Sought 36C10B26Q0267 directly relates to this study (Award # 36C25925P1232. SAM.gov). It would be helpful to see the results of that study in order to provide an accurate ROM cost. | See Question/Answer 1
8 | Reference earlier RFI for this radio project. Can we assume the locations on the attached would still be configured the same? High Frequency Radio System Provide design report of the network recommendation based on the objectives. The vendor will ensure the network includes the following sites: VA Medical Centers (VAMC) – 180 -Note: OCONUS locations are Hawaii, Alaska, American Samoa, the Philippines, Guam, Saipan, Virgin Islands, and Puerto Rico. See attachment Veteran Integrate Service Network – 18 radios HQ and OEM offices -2 radios | Locations considered for this RFI are attached to this amendment in VHA Facility Inventory Locations HFRN.xlsx