## Q&A N6883626Q0009
QUESTION & ANSWER LOG
| QUESTION | ANSWER
1 | The watts and the dimensions do not match. Is it 2 different batteries that you need? | 12Volts / 390 Watts AGM / VRLA Sealed Lead Acid Batteries for Eaton 9390 50.0000 kVA, Serial # EX402CAA03. Dimensions: 13.5” x 6.69” x 8.57”, Unit Weight: 72.80000
2 | Do you need 120 Watts or 390 Watts? Or both? | 12 Volts / 390 Watts
3 | What battery is currently in the UPS battery cabinet? | CSB HRL12390W