| SUBJECT* | DECON SHELTER |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 23667 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24626Q0468 |
| RESPONSE DATE/TIME/ZONE | 04-13-2026 2PM EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 10 DAYS AFTER THE RESPONSE DATE |
| SET-ASIDE | SBA |  |
| PRODUCT SERVICE CODE* | 5411 |  |
| NAICS CODE* | 624221 |  |
| PLACE OF PERFORMANCE | Durham VA Medical Center |  |
|  | Durham NC |  |
| POSTAL CODE | 27705 |  |
| COUNTRY | USA |  |

CONTACT INFORMATION

| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs Network Contracting Office 6 100 Emancipation Drive Hampton VA 23667 |
| --- | --- |
| POINT OF CONTACT* | Contracting Officer Byron Brown Byron.Brown4@va.gov None |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

SALIENT CHARACERISTICS

Item: Decon Tent

Essential: Decon Tent is used for mass decontamination, Mass Decontamination, Infrastructure Protection, Mass Casualty Triage

Significant Physical:

+Articulating external frame with locking straps allows rapid deployment with high system integrity

+ Aircraft-grade aluminum frame with highly corrosion-resistant alochrome treatment and polyester powder coating + Frame can function with 30% of structure missing or broken

+ Portable and light weight; shelter can be relocated while deployed

+ Extremely flexible, UV stable, fire retardant, tear and chemical-resistant fabric on interior; protects exterior frame from contaminants and expedites post-use clean up

+ Spray jets on interior fabric saturate patients with 360° of spray; individual on/off capability allows users to scale up or down based upon operational needs

+ Ergonomic hand sprayers enable personnel to assist for decontamination of both ambulatory and non-ambulatory patients

+ Removable “active” divider curtains with integrated spray jets provide for thorough decontamination while also separating the shelter into three lines – one non-ambulatory center line flanked by two ambulatory lines for privacy between males and females

Functional: Decontamination Shelter provides two shower lines for the effective decontamination of multiple ambulatory or non-ambulatory casualties as well as larger emergency response teams. Small undress and redress areas at each end accommodate the pre-shower doffing of contaminated clothing and post-shower donning of clean clothing inside the shelter. The shelter can be set up by only two to four people in just minute.