# Equipment Statement of Work (SOW)

Surgical Instrumentation

# Introduction

The Department of Veterans Affairs is dedicated to delivering superior healthcare services to Veterans. To enhance the surgical capabilities and ensure high standards of patient care, the Atlanta VAMC seeks to procure surgical-grade instrumentation to be used across various surgical services at the Atlanta VAMC. This procurement will aid in the effective and safe execution of surgeries, ensuring better outcomes for Veterans.

# Background

The Joseph Maxwell Cleland Atlanta VA Medical Center requires the procurement of surgical-grade instruments for its operating room. In mid-September 2025, the Executive Leadership Team was informed that non-surgical grade instruments had inadvertently been mixed with surgical grade ones. Following a comprehensive review of 1,441 surgical trays, 10,313 instruments were identified and removed from service due to being non-conforming; they were found to be damaged, rusty, single-use, or lacking proper identification marks. To address this issue, the Atlanta VAMC needs to acquire enough surgical-grade instruments to replenish the purged sets and ensure sufficient redundancy. This will provide backup trays and prevent the need for SPS to continuously turn over trays, in compliance with VHA Directives.

# Scope

The acquisition of surgical grade instrumentation will bring the Atlanta VAMC operating room in a better position to fully support any elective and urgent/emergent add-on surgical cases. Procuring additional surgical grade instrumentation will allow Atlanta VAMC to be compliant with VHA Directive 1116 and VHA Directive 1220. This equipment is essential for the Surgical program at the Atlanta VAMC Healthcare System. This equipment is needed for immediate patient care.

Specifications/salient characteristics:

- High-quality stainless steel for corrosion resistance and durability

- Instruments must be autoclavable and compatible with standard sterilization processes such as steam sterilization.

- Clearly marked with catalog number, barcode scanning.

- High resistance to wear, rust, and damage from repeated use and sterilization

- Reinforced or replaceable cutting edges for instruments prone to wear.

- Comprehensive documentation including usage instructions, maintenance guidelines, and warranty information.

These instruments do not require installation.

# Applicable Directives

Applicable documents: VHA Directive 1220 and VHA Directive 1116

Manufacturer will comply with VA’s policy for Vendors/Service Providers while on the premises.

# Performance Requirements

The surgical instrumentation is delivered unsterile and will require reprocessing by the sterile processing service (SPS) prior to use in the operating room.

# Deliverables

Vendor is responsible for delivering the following items:

LIGHT CABLE, 3.5MM X 300CM

CLICKLINE INSULATED OUTER TUBE, 5MMX36CM

DOUBLE-ENDED PROBE/OSTIUM SEEKER, BALL TIPS,

CLICKLINE BOWEL GRASPER FORCEPS INSERT, FENESTRATED DOUBLE ACTION JAWS,

BENJAMIN-HAVAS CLIP F/PROX ILLUMINATION,

STAMMBERGER ANTRUM PUNCH,

360º ROTATABLE BACKWARD CUTTING,

COTTLE NASAL SPECULUM W/O SET SCREW DELICATE, SPECIAL MATT FINISH,

MALTZ NASAL RASP WITH COARSE TEETH BACKWARD CUTTING,

CASTROVIEJO CALIPER, LENGTH:8CM MEASURING RANGE,

V.EICKEN LONG CURVED ANTRUM CANNULA, LUER-LOCK, Ø: 2.5MM,

MAXILLARY SINUS OBLONG ANTRUM CURETTE, LARGE SIZE,

DBL-ENDED CURETTE, CURVED OVAL TIPS, SEMI-SHARP/SHARP, WORKING,

DELICATE SCISSORS, ANGLED W/BALL END LENGTH: 12.5CM

WILDER DILATOR FOR SALIVARY DUCT LENGTH: 11CM

SALIVARY DUCT DILATOR, LENGTH: 14CM

FLEXIBLE GRASPING FORCEPS WITH DOUBLE ACTION JAWS

BLAKESLEY SILCUT STRAIGHT NASAL CUTTING FORCEPS, THRU CUTTING

GRÜNWALD-HENKE SILCUT NASAL CUTTING FRCPS,THRU CT,45º

STAMMBERGER SILCUT ANTRUM PUNCH UPSIDE BACKWARD CUTTING

STAMMBERGER SILCUT ANTRUM PUNCH, LEFT SIDE DOWNWARD/FORWARD

KILLIAN-STRUYCKEN NASAL SPECULUM BLADE LENGTH,

COTTLE NASAL SPECULUM W/SLENDER BLADES W/SET SCREW, BLADE LGTH,

JANSEN BAYONET SHAPED NASAL DRESSING FORCEPS,

GRUENWALD BAYONET SHAPED NASAL DRESSING FORCEPS,

RHINOFORCE STRAIGHT NASAL SCISSORS WORKING LENGTH,

RHINOFORCE NASAL SCISSORS, CURVED RIGHT WORKING LENGTH,

RHINOFORCE NASAL SCISSORS, CURVED LEFT WORKING LENGTH,

SLIM SERRATED NASAL SCISSORS, STRAIGHT 10MM BLADE,

SLIM SERRATED NASAL SCISSORS, CURVED RIGHT, 10MM BLADE,

SLIM SERRATED NASAL SCISSORS, CURVED LEFT, 10MM BLADE,

TAKAHASHI STRAIGHT ETHMOID FORCEPS WORKING LENGTH,

TAKAHASHI DELICATE NASAL FORCEPS WITH OVAL CUPPED JAWS, STRAIGHT,

BLAKESLEY STRAIGHT NASAL FORCEPS THRU CUTTING,

BLAKESLEY NASAL FORCEPS, THRU-CUTTING TIP 45º UPTURNED,

STAMMBERGER ANTRUM PUNCH, 360º ROTATABLE SHEATH W/LOCKING,

STAMMBERGER-LUSK ANTRUM PUNCH, PEDIATRIC SIZE,RIGHT SIDE,

STAMMBERGER-LUSK ANTRUM PUNCH, PEDIATRIC SIZE, LEFT SIDE BACKWARD,

OSTRUM PUNCH,360ºROTATABLE SHEATH, LOCK- ING SCREW, SLIGHTLY CRVD,

JANSEN ANGULAR SEPTUM FORCEPS SPOON SHAPED, WORKING LENGTH,

JANSEN-MIDDLETON ANGULAR SEPTUM FORCEPS THRU CUTTING,

BECKER CAPLAN SEPTUM SCISSORS W/DOUBLE ACTION JAWS AND SERRATED,

RUBIN SEPTUM MORCELIZER WITH DOUBLE ACTION JAWS, WORKING,

DOUBLE-ENDED FREER ELEVATOR,

FREER SUCTION ELEVATOR, LENGTH:19CM DISTAL TIP WIDTH,

FREER-JACOBS DOUBLE-ENDED ELEVATOR, 5MM SLIGHT CRVD END/2.5MM 45º,

BALLENGER BAYONET SHAPED SWIVEL KNIFE 4MM WIDE,

JOSEPH ELEVATOR, SLIGHTLY CURVED,

MASING DOUBLE-ENDED ELEVATOR, SHARP AND BLUNT, GRADUATED,

DOUBLE-ENDED COTTLE ELEVATOR, SEMI SHARP AND BLUNT, GRADUATED,

STRAIGHT OSTEOTOME WITH SMALL GUARD,

CURVED RIGHT OSTEOTOME WITH SMALL GUARD,

WALTER FLAT OSTEOTOME,

WALTER FLAT OSTEOTOME,

WALTER FLAT OSTEOTOME,

COTTLE NASAL SPECULUM W/O SET SCREW DELICATE, SPECIAL MATT FINISH,

RUBIN FLAT OSTEOTOME W/ROUNDED CORNERS, STRAIGHT, FINGER,

RUBIN FLAT OSTEOTOME W/FINGER STABILIZER SPECIAL MATTE,

RUBIN FLAT OSTEOTOME W/ROUNDED CORNERS STRAIGHT,

FREER NASAL KNIFE WITH ROUNDED EDGE LENGTH, SURGICAL HANDLE F/MINIATURE BLADES ROUND, JOSEPH SHARP HOOK WITH ONE SHARP CURVE,

JOSEPH SHARP DOUBLE HOOK,

JOSEPH SHARP DOUBLE HOOK,

JOSEPH SHARP DOUBLE HOOK WIDTH,

JOSEPH SHARP DOUBLE HOOK WITDH:10MM,

COTTLE RETRACTOR,DBL,SHARP PRONG ON LEFT BLUNT PRONG ON RIGHT10MM X 14.5CM,

SUCTION TUBE, W/CUTOFF HOLE, Ø: 2MM,

SUCTION TUBE, W/CUTOFF HOLE Ø: 2.5MM,

SUCTION TUBE, W/CUTOFF HOLE, Ø: 3MM,

CLICKLINE PLASTIC HANDLE W/DISENGAGEABLE RATCHET, WITH COMFORTGRIP,

CLICKLINE INSULATED OUTER TUBE,10MMX36CM,

HARTMANN EAR SPECULUM, 3.6CM,

HARTMANN EAR SPECULUM, 3.6CM,

HARTMANN EAR SPECULUM, 3.6CM,

FARRIOR EAR SPECULUM, OVAL, SIZE 1 OUTER DIAM: 3.8MM X 4.8MM,

FARRIOR EAR SPECULUM, OVAL, SIZE 2 OUTER DIAM:4.8MM X 5.8MM,

FARRIOR EAR SPECULUM, OVAL, SIZE 3, OUTER DIAM:5.3MM X 6.3MM,

FARRIOR EAR SPECULUM, OVAL, SIZE 4, OUTER DIAM:5.8MM X 6.8MM,

FARRIOR EAR SPECULUM, OVAL, SIZE 5 OUTER DIAM:6.3MM X 7.3MM,

FARRIOR EAR SPECULUM, OVAL, SIZE 6 OUTER DIAM:6.8MM X 7.8MM,

FARRIOR EAR SPECULUM, OVAL, SIZE 7 OUTER DIAM:7.3MM X 8.3MM,

FARRIOR EAR SPECULUM, OVAL, SIZE 8 OUTER DIAM:7.8MM X 8.8MM,

FARRIOR EAR SPECULUM, OVAL, SIZE 9 OUTER DIAM:8.3MM X 9.3MM,

LUCAE EAR DRESSING FORCEPS, SERRATED LENGTH:14CM,

COTTLE MALLET, LENGTH 18CM,

LEMPERT SLENDER, STRAIGHT RONGEUR LENGTH:15.5CM,

BARON ANGLED CYLINDRICAL SUCTION TUBE W/CUT-OFF HOLE + STYLET,

BARON ANGLED CYLINDRICAL SUCTION TUBE W/CUT-OFF HOLE+STYLET, LUER,

BARON ANGLED CYLINDRICAL SUCTION TUBE W/CUT-OFFHOLE+STYLET,LUER,2.3MM X 7.5CM,

ADAPTOR WITH CUT-OFF HOLE, CONE F/204005-204020,204305-204330,

MALLEABLE SUCTION CANNULA WITH LUER-LOCK, Ø: 0.5MM,

MALLEABLE SUCTION CANNULA WITH LUER-LOCK,Ø: 0.7MM,

MALLEABLE SUCTION CANNULA WITH LUER-LOCK, Ø: 1MM,

MALLEABLE SUCTION CANNULA WITH LUER-LOCK,Ø: 1.3MM,

FERGUSON SUCTION TUBE W/CUT-OFF HOLE, STYLET, LUER, Ø: 6FR,

FERGUSON SUCTION TUBE W/CUT-OFF HOLE, STYLET, LUER, Ø: 8 FR, WL:,

FERGUSON SUCTION TUBE, W/CUT-OFF HOLE, STYLET, LUER, Ø: 9FR,

FERGUSON SUCTION TUBE, W/CUT-OFF HOLE, STYLET, LUER, Ø: 10 FR,

FERGUSON SUCTION TUBE WITH CUT-OFF HOLE STYLET, LUER, Ø:12FR,

NO.3 SURGICAL HANDLE FOR 208010-15 AND 208210-15 BLADES,

LEMPERT CURVED ELEVATOR,

JEWELER FORCEPS WITH FINE POINTS,

DERLACKI OSSICLE HOLDING CLAMP,

ROSEN ELEVATOR WITH 15º ANGLED TIP,

HOUSE TRIANGULAR LANCET KNIFE W/ROUNDED TIP ANGLED 45º UP,

GELFOAM PRESS,

WHITE PLASTIC CUTTING BLOCK, AUTOCLAVABLE, 8CM X 4CM X 1CM,

HARTMANN NASAL SPECULUM,

BECKMANN NASAL SPECULUM F/ADULTS CURVED SIDEWARDS, LENGTH: 15CM,

HARTMANN NASAL SPECULUM FOR CHILDREN, LENGTH:13CM,

KILLIAN-STRUYCKEN NASAL SPECULUM BLADE LENGTH:55MM,

KILLIAN-STRUYCKEN NASAL SPECULUM BLADE LENGTH:65MM,

COTTLE RETRACTOR, DBL, SHARP PRONG ON RIGHT, BLUNT PRONG ON LEFT,

SENN RETRACTOR, DOUBLE-ENDED BLUNT,

SENN-MÜLLER RETRACTOR, DOUBLE-ENDED 3 SHARP PRONGS + BLUNT,

COTTLE KNIFE GUIDE AND RETRACTOR LENGTH,

AUFRICHT NASAL RETRACTOR WORKING LENGTH:40MM,

DELICATE CURVED SCISSORS,

METZENBAUM CURVED SCISSORS,LENGTH:14CM,

FOMON CURVED SCISSORS, LENGTH:12CM,

METZENBAUM CURVED SCISSORS W/TUNGSTEN CARBIDE INSERTS,

STEVENS CURVED SCISSORS, LENGTH:10.5CM,

CRILE-WOOD NEEDLE HOLDER,

HALSEY NEEDLE HOLDER,

TUNGSTEN CARBIDE INSERTS,

MALTZ NASAL RASP WITH COARSE TEETH, 2 GROOVES BACKWARD CUTTING,

RAUNIG NASAL RASP, DOUBLE-ENDED W/DIAMOND COATING,

NASAL RASP W/TUNGSTEN CARBIDE INSERTS DBL ENDED,SIZE 3-4,

NASAL RASP W/TUNGSTEN CARBIDE INSERTS DBL ENDED,SIZE 5-6,

NASAL RASP W/TUNGSTEN CARBIDE INSERTS DBL ENDED,SIZE 7-8,

NASAL RASP W/TUNGSTEN CARBIDE INSERTS DBL ENDED,SIZE 9-10,

HEAVY ELEVATOR FOR REPOSITIONING NASAL FRACTURES,

WALSHAM SEPTUM STRAIGHTENING FORCEPS BIPARTIALE,

ASCH SEPTUM STRAIGHTENING FORCEPS ANGULAR,

FRAZIER SUCTION TUBE WITH CALIBRATIONS MARKED AT 5-9CM, 2.3MM X 10CM,

FRAZIER SUCTION TUBE WITH CALIBRATIONS MARKED AT 5-9CM, 3MM X 10CM,

DELICATE STRAIGHT TISSUE FORCEPS WITH 1X2 TEETH,

ADSON SERRATED DRESSING FORCEPS,

ADSON TISSUE FORCEPS WITH 1X2 TEETH LENGTH,

ADSON TISSUE FORCEPS WITH FINE SIDE GRASPING TEETH,

HALSTEAD CURVED MOSQUITO ARTERY FORCEPS,

DEBAKEY CURVED ATRAUMATIC MOSQUITO ARTERY FORCEPS,

CRILE STRAIGHT HEMOSTATIC ARTERY FORCEPS,

V.EICKEN LONG CURVED ANTRUM CANNULA LUER-LOCK, Ø: 3MM,

V.EICKEN LONG CURVED ANTRUM CANNULA WITH LUER-LOCK,

V.EICKEN SHORT CURVED ANTRUM CANNULA LUER-LOCK, Ø:2.5MM,

V.EICKEN SHORT CURVED ANTRUM CANNULA LUER-LOCK, Ø: 3MM,

V.EICKEN SHORT CURVED ANTRUM CANNULA, LUER-LOCK, Ø: 4MM,

V.EIKEN LONG CURVED ANTRUM CANNULA OUTER DIAMETER: 3MM,

SHARP POINTED SICKLE KNIFE,

MAXILLARY SINUS OBLONG ANTRUM CURETTE, SMALL SIZE,

KUHN-BOLGER FRONTAL SINUS CURETTE, 55º CURVE, SMALL,

KUHN-BOLGER FRONTAL SINUS CURETTE, 90º CURVE, SMALL,

KUHN FRONTAL SINUS SEEKER NO. 6, L:22CM DBL-ENDED, CURVED 77º/77º,

HORIZONTAL OPENING FORCEPS W/DBL ACTION 4MM CUP JAWS, 70º,

HORIZONTAL OPENING FORCEPS W/DBL ACTION 4MM CUP JAWS, 110º CRVD,

HOSEMANN SPHENOID-PUNCH, STRAIGHT, NOT THRU CUT, DIAM: 3.5MM,

BOUGIE, OUTER DIAMETER:1MM FOR USE WITH 745725 GUIDE WIRE,

BOUGIE, OUTER DIAMETER:1.5MM, FOR USE WITH 745725 GUIDE WIRE,

2MM BOUGIE FOR SIALENDOSCOPY,

2.5MM BOUGIE FOR SIALENDOSCOPY,

3MM BOUGIE FOR SIALENDOSCOPY,

3.5MM BOUGIE FOR SIALENDOSCOPY,

ANGLED SERRATED DISSECTING FORCEPS LENGTH,

ANGLED TISSUE FORCEPS, 1X2 TEETH,

SALIVARY DUCT PROBE, SIZE:0000,

SALIVARY DUCT PROBE, SIZE:000,

SALIVARY DUCT PROBE, SIZE:00,

SALIVARY DUCT PROBE, SIZE:0,

SALIVARY DUCT PROBE, SIZE:1,

SALIVARY DUCT PROBE, SIZE:2,

SALIVARY DUCT PROBE, SIZE:3,

SALIVARY DUCT PROBE, SIZE:4,

SALIVARY DUCT PROBE, SIZE:5,

SALIVARY DUCT PROBE, SIZE:6,

SALIVARY DUCT PROBE, SIZE:7,

SALIVARY DUCT PROBE, SIZE:8,

DILATOR FOR SALIVARY DUCT, VERY POINTED FOR WHARTON DUCT,

SALIVARY DUCT DILATOR, LENGTH:11.5CM SIZE 1,

SALIVARY DUCT DILATOR, LENGTH:11.5CM SIZE 2,

SALIVARY DUCT DILATOR, LENGTH:11.5CM SIZE 4,

SALIVARY DUCT DILATOR, SIZE 5 1.3MM-1.8MM,

SURGICAL HANDLE NO. 7 F/208010-208015, 208210-208215 BLADES,

MAIER CURVED DRESSING AND SPONGE HOLDING FORCEPS WITH RATCHET,

METZENBAUM CURVED SCISSORS,

STRAIGHT SUTURE SCISSORS, SHARP/SHARP LENGTH,

CURVED SUTURE SCISSORS, SHARP/SHARP LENGTH,

MAYO STRAIGHT DISSECTING SCISSORS,

ALLIS FORCEPS WITH 4X5 TEETH,

BACKHAUS TOWEL FORCEPS,

LISTER BANDAGE SCISSORS,

HEGAR-MAYO NEEDLE HOLDER, HEAVY, WITH TUNGSTEN CARBIDE INSERTS,

POINTED BIPOLAR FORCEPS WITH CURVED 0.5MM TIPS,

BLUNT BIPOLAR FORCEPS W/CURVED 1MM TIPS,

SLENDER BIPOLAR FORCEPS W/BAYONET SHAFT, BLUNT 0.5MM TIPS,

MICRO BURR FOR SALIVARY STONES DIAM:0.38MM,

MICRO BURR FOR SALIVARY STONES, 0.8MM F/USE W,

MINI SIALENDOSCOPY 0° TELESCOPE IRRIG:0.20MM, 0.89MMX12CM,

MINI SIALENDOSCOPY 0° TELESCOPE IRRIG:0.20MM, 1.1MMX12CM,

MINI SIALENDOSCOPY 0° TELESCOPE IRRIG:0.25MM, 1.6MMX12CM,

FLEXIBLE BIOPSY FORCEPS WITH DOUBLE ACTION JAWS, 0.8MM X 26.5CM,

EXTRACORPOREAL KNOT TIER, ONE END OPEN/ ONE END CLOSED,

OUTER TUBE FOR KOH DETACHABLE NEEDLE HOLDER, 5MM X 33CM,

KOH NEEDLE HOLDER INSERT W/STRAIGHT TC JAWS, F/SUTURES SIZE 0 TO 5-0,

PISTOL GRIP HANDLE FOR DISMANTLING KOH NEEDLE HOLDER, W/RATCHET,

CLICKLINE BABCOCK LONG GRASP FCPS INSERT ATRAUM MULTTEETH,

CLICKLINE DOUBLE ACTION DEBAKEY ATRAUM GRASP FORCEPS INSERT,

CLICKLINE FUNDUS GRASPING FORCEPS INSERT DOUBLE ACTION,

CLICKLINE ALLIGATOR GRASPING FORCEPS INSERT, DOUBLE ACTION JAWS,

CLICKLINE KELLY DISSECT/GRASP FORCEPS INSERT, LONG DBL ACTION JAWS,

CLICKLINE RIGHT ANGLE DISSECT GRASP FCPS INSERT, DOUBLE ACTION JAWS,

CLICKLINE SAWALHE TENACULUM FORCEPS INSERT, DOUBLE ACTION JAWS,

CLICKLINE DISSECTING GRASP FORCEP INSERT ATRAUMATIC DBL ACTN,

CLICKLINE GRASPING FORCEPS INSERT,FENES- TRATED,SERRATED, DOUBLE,

CLICKLINE FRANGENHEIM BIOPSY PUNCH FCPS INSERT,THRU-CUT,SINGLE,

CLICKLINE BIOPSY PUNCH FORCEPS INSERT WITH 2 TEETH, 5MMX36CM,

CLICKLINE SPOON FORCEPS INSERT, SINGLE ACTION JAWS, 10MM X 36CM,

TRAY, SIALENDOSCOPY INSTRUMENT SET STEAM ONLY, DM: 21.55" X 10.18" X,

HEYMANN NASAL SCISSORS, MEDIUM SIZE W/0NE GOLD PLATED HANDLE RING,

BLAKESLEY RHINOFORCE NASAL FORCEPS STRAIGHT, SIZE 0, 3MMX8.5MM,

BLAKESLEY RHINOFORCE NASAL FORCEPS STRAIGHT, SIZE:1, 3.5X9MM,

BLAKESLEY RHINOFORCE NASAL FORCEPS STRAIGHT, SIZE:2, 4X13MM,

BLAKESLEY-WILDE RHINOFORCE NASAL FORCEPS 45º UPTURNED,SIZE:0,

BLAKESLEY-WILDE RHINOFORCE NASAL FORCEPS 45º UPTURNED,SIZE:1,

RHINOFORCE BLAKESLEY-WILDE NASAL FORCEPS 45º UPTURNED, SIZE:2,

BLAKESLEY-WILDE RHINOFORCE NASAL FORCEPS 90º UPTURNED, SIZE:1,

WALTER ANGLED SCISSORS WITH ONE GOLD RING HANDLE,

FOMON ANGULAR SCISSORS,DELICATE ONE GOLD PLTD HNDL RING,

HOPKINS II 0º TELESCOPE, 4MM X 18CM AUTOCLAVABLE,

HOPKINS II 30º TELESCOPE, 4MM X 18CM AUTOCLAVABLE,

HOPKINS II 70º TELESCOPE, 4MM X 18CM AUTOCLAVABLE,

HOPKINS II 45º TELESCOPE, 4MM X 18CM AUTOCLAVABLE,

BIPOLAR HIGH FREQUENCY CORD,

HOPKINS II 15º TELESCOPE WITH 45º ANGLED EYEPIECE, 8590JV/TV, 4MMX17CM,

GOETTINGEN MODEL LARYNGOSCOPE HOLDER WITH WIDE ANGLE ,

HANDLE ONLY FOR 8580B LARYNGOSCOPE,

FIBER OPTIC LIGHT CARRIER, F/8590A-L, 8576P/S,12068A,12067A,8590T,

KANTOR-BERCI VIDEO-LARYNGOSCOPE, MODEL IV, F/ADULTS,

INSERTABLE SUCTION TUBE, F/LARYNGOSCOPES 8590A-JL, OD:3MM,

KANTOR-BERCI VIDEO-LARYNGOSCOPE,MODEL IV FOR ADOLESCENTS/ADULTS,

LARYNGEAL CUTTING FORCEPS W/ROUND 2MM CUP JAWS, STRAIGHT,

MINI FORCEPS WITH ROUND 1MM CUP JAWS, STRAIGHT,

CUTTING FORCEPS WITH ROUND 2MM CUP JAWS, CURVED UP,

MINI FORCEPS WITH ROUND 1MM CUP JAWS CURVED UP,

CUTTING FORCEPS WITH ROUND 2MM CUP JAWS CURVED RIGHT,

MINI FORCEPS WITH ROUND 1MM CUP JAWS CURVED RIGHT,

CUTTING FORCEPS WITH ROUND 2MM CUP JAWS CURVED LEFT,

MINI FORCEPS WITH ROUND 1MM CUP JAWS CURVED LEFT,

LARYNGEAL SPOON FORCEPS W/ROUND 4MM CUP JAWS, STRAIGHT,

LARYNGEAL CUTTING FORCEPS WITH ROUND 4MM CUP JAWS CURVED UP,

LARYNGEAL CUTTING FORCEPS WITH ROUND 4MM CUP JAWS CURVED RIGHT,

LARYNGEAL CUTTING FORCEPS WITH ROUND 4MM CUP JAWS CURVED LEFT,

ALLIGATOR FORCEPS W/O RATCHET, STRAIGHT, SERRATED,

MINI ALLIGATOR GRASPING FORCEPS, STRAIGHT,

KLEINSASSER ALLIGATOR FORCEPS, CURVED RIGHT,W/O RATCHET, WORKING,

ALLIGATOR FORCEPS,CRVD LEFT W/O RATCHET, SERRATED,

ALLIGATOR FORCEPS,CRVD UP W/O RATCHET, SERRATED,

ALLIGATOR FCPS,CRVD UP RIGHT W/TRIANGULAR FENSTRATED JAWS,

ALLIGATOR FRCPS,CRVD UP LEFT W/TRIANGULAR FENSTRATED JAWS,

LARYNGEAL SCISSORS, STRAIGHT WORKING LENGTH:23CM,

MINI LARYNGEAL SCISSORS STRAIGHT, WORKING LENGTH,

LARYNGEAL SCISSORS ANGLED 45º, WORKING LENGTH,

LARYNGEAL SCISSORS ANGLED 15º, WORKING LENGTH,

MINI LARYNGEAL SCISSORS ANGLED 45º, WORKING LENGTH,

LARYNGEAL SCISSORS CURVED RIGHT, WORKING LENGTH,

MINI LARYNGEAL SCISSORS CURVED RIGHT, WORKING LENGT,

LARYNGEAL SCISSORS CURVED LEFT,

MINI LARYNGEAL SCISSORS CURVED LEFT,

LARYNGEAL SCISSORS, STRAIGHT HORIZONTAL CUTTING,

LARYNGEAL KNIFE, CURVED, POINTED F/8597 HANDLE, WL,

LARYNGEAL KNIFE, ROUND, VERTICAL CUTTING F/8597 HANSTANDARD RING HANDLE F/USE W/3MM INSTRUM FORDLE, LARYNGEAL HOOK, BLUNT WITH PROBE END ANGLED 90º,LGTH,

SUCTION TUBE, Ø: 4MM, LENGTH

STANDARD RING HANDLE F/USE W/3MM INSTRUM FOR PHONOSURGERY/ENDOLARYNGEAL, LGTH:9CM

BIOPSY FORCEPS, OVAL CUP SHAPED JAWS,

NEEDLE HOLDER W/RATCHET STRAIGHT,SERRATED 1.8X3.5MM JAW,

SUCTION TUBE W/CUT OFF HOLE,TIP CLOSD W/2 LATERAL OPENINGS, Ø:2MM,

45º ANGLE PROBE, Ø: 1MM,

CONTAINER SYSTEM FOR CLICKLINE & LOTTA INSTRUMENTS TO 34CM 23.5" X11" X 8”,

CONTAINER SYSTEM FOR CLICKLINE INSTRUMENTS TO 43CM. 27" X 11" X 8",

CONTAINER SYSTEM FOR TWO TELESCOPES TO 4MM X 18CM,

CONTAINER SYSTEM FOR 4 TELESCOPES T0 4MM X 18CM, STEAM/STERRAD, TWO LAYER STERILIZATION CONTAINER SYSTEM DM: 23.5"L X 11"W X 8"H,

CONTAINER SYSTEM FOR FESS INSTRUMENTS 18.1" X 11" X 8" (46X28X20.3 CM),

BACKBONE SILICONE BRACKET 8 SLOT MICRO SCALLOPED 1-3MM (5.5"X1.0"H),

BACKBONE SILICONE BRACKET 15 SLOT 2-4MM (9.4"X1.0"H),

BACKBONE SILICONE BRACKET 6 SLOT MICRO 5-7MM (3.7"X0.75"H),

OPEN BASKET IN LOWER RACK FOR KSZ-27717D 1 EA.,

POST FOR KSZ-EC01, DIA: .375”, 1/PKG DIAM: .375", 1/PKG,

SILICONE MAT FULL SIZE (20.3"X9.5") 2 PK,

BLAKESLEY SILCUT STRAIGHT NASAL CUTTING FORCEPS, THRU CUTTING,

BLAKESLEY SILCUT NASAL CUTTING FORCEPS THRU CUT, 45º UPTURNED,

STAMMBERGER SILCUT ANTRUM PUNCH, RIGHT SIDE DOWNWARD/FORWARD,

PUNCH, CIRCULAR CUTTING, 3.5MM X 18CM,

PUNCH, CIRCULAR CUTTING, 4.5MM X 18CM,

COTTLE NASAL SPECULUM W/O SET SCREW DELICATE, SPECIAL MATT FINISH,

COTTLE NASAL SPECULUM W/O SET SCREW DELICATE, SPECIAL MATT FINISH,

MALTZ NASAL RASP WITH COARSE TEETH BACKWARD CUTTING,

CASTROVIEJO CALIPER, LENGTH:8CM MEASURING RANGE:0-15MM,

V.EICKEN LONG CURVED ANTRUM CANNULA, LUER-LOCK, Ø: 2.5MM,

MAXILLARY SINUS OBLONG ANTRUM CURETTE, LARGE SIZE, LENGTH:19CM,

DBL-ENDED CURETTE, CURVED OVAL TIPS, SEMI-SHARP/SHARP, WORKING,

DELICATE SCISSORS, ANGLED W/BALL END,

WILDER DILATOR FOR SALIVARY DUCT,

SALIVARY DUCT DILATOR,

FLEXIBLE GRASPING FORCEPS WITH DOUBLE ACTION JAWS,

BLAKESLEY SILCUT STRAIGHT NASAL CUTTING FORCEPS, THRU CUTTING,

GRÜNWALD-HENKE SILCUT NASAL CUTTING FRCPS,THRU CT,45º,

STAMMBERGER SILCUT ANTRUM PUNCH UPSIDE BACKWARD CUTTING,

STAMMBERGER SILCUT ANTRUM PUNCH, LEFT SIDE DOWNWARD/FORWARD,

STAMMBERGER ANTRUM PUNCH, 360º ROTATABLE BACKWARD CUTTING,

LIGHT CABLE FOR DCI II CAMERA HEAD 3.5MM X 320CM,

STEINER INSULATED SUCTION/COAG TUBE WITH ERGONOMIC HANDLE,

MONOPOLAR HIGH FREQUENCY CORD W/8MM PLUG F/COVIDIEN,

COAGULATION AND SUCTION CANNULA, INSULATED, DIAMETER:5MM,

METAL HANDLE W/O RATCHET FOR SINUFIT, LARYNGOFIT, AND MEDIAFIT,

MEDIAFIT OUTER TUBE, DIAMETER 5MM WORKING LENGTH 21CM,

MEDIAFIT FORCEPS INSERT, FOR BIOPSY FORCEPS, SPOON-SHAPED JAWS,

MEDIAFIT FORCEPS INSERT,F/MAASSEN FORCE

MEDIAFIT FORCEPS INSERT, FOR BIOPSY FORCEPS, W/OVAL JAWS,P SPONGE AND DISSECTING, MEDIAFIT FORCEPS INSERT, FOR BIOPSY FORCEPS, W/OVAL JAWS,

CONTAINER SYSTEM,

VIDEO MEDIASTINOSCOPY DM: 23.5” X 11” X 5”,

VIDEO MEDIASTINOSCOPE, WITH CONTINUOUS LATERAL SLIT, LENGTH 15CM.

Prior to shipping, the contractor will notify the site POCs, by phone followed by email, of all incoming deliveries including line-by-line details for review of requirements. The Manufacturer cannot make any changes to the delivery schedule without the request of the site POC.

All shipments, either single or multiple container deliveries, shall bear the VA Purchase Order number on external shipping labels and associated manifests or packing lists.

This equipment is to be delivered to:

Atlanta Main Campus of the Joseph Maxwell Cleland Atlanta VAMC:

Attn: Atlanta VAMC Campus Warehouse/Surgical Service

1670 Clairmont Rd, Decatur, GA 30033.

# 7. Warranty/Maintenance

Equipment will be free from defects in material and workmanship under normal use and operation for a period of one year.