DESCRIPTION OF REQUIREMENTS

U.S. Drug Enforcement Agency Vetted Unit Trinidad and Tobago Operationalization Goods and Services

- Background

The Embassy of the United States of America in Port of Spain solicits quotations for a comprehensive services contract to support the International Narcotics and Law Enforcement office (INL) in Port of Spain, Trinidad and Tobago, under full and open competition. This contract encompasses the supply and installation of products for a digital forensics lab and related equipment, computer equipment, and building and perimeter security. A data storage system such as the Dell PowerScale A310 data storage system or appropriate equivalent, a rack system with cooling and electrical accessories (e.g. APC NetShelter SX 42U rack system with InRow cooling), laptop workstations, rugged laptops, and an integrated building security with access control and CCTV system should also be contained in the contract.  Computer equipment must be delivered between eight to 12 weeks from the purchase order issuance date, pre-installed with all necessary hardware and software licenses to function seamlessly together for a U.S. government entity in Trinidad and Tobago. Quoted prices shall include all shipping, brokerage, and transportation fees to land the items in Trinidad and Tobago and deliver them to their final destination at the INL office in Port of Spain.

The INL-supported program has previously provided training, equipment, and mentoring to multiple units within the Trinidad and Tobago intelligence and law enforcement entities. This new action will assist INL Port of Spain in meeting the following goals and objectives:

- Trinidad and Tobago institutions have the capacity to restrict transnational organized crime.

- Trinidad and Tobago’s borders are secure from drugs and arms trafficking/smuggling.

- Trinidad and Tobago’s national security actors disrupt maritime drug, arms and human trafficking networks.

- Deliverables

Summary of Deliverables

  - The Contractor shall provide the following items listed below:

| Deliverable | Product Description | Quantity | Unit | SOW Ref. |
| --- | --- | --- | --- | --- |
| CLIN 0001 | Dell Pro 14 Plus with Dual Monitor Docking Station bundle or equivalent products | 16 | Lot | 3.1 |
| CLIN 0002 | Dell Pro Rugged 13 RA13250 bundle or equivalent products | 2 | Lot | 3.2 |
| CLIN 0003 | Dell PowerScale A310 Archive/ Hybrid 80TB usable storage unit bundle or equivalent products | 1 | Lot | 3.3 |
| CLIN 0004 | APC NetShelter bundle or equivalent product | 1 | Lot | 3.4 |
| CLIN 0005 | Building Security, Access Control and CCTV Systems bundle | 1 | Lot | 3.5 |
| CLIN 0006 | Electronic Access Control with Automation System bundle | 1 | Lot | 3.6 |
| CLIN 0007 | Perimeter Protection | 1 | Lot | 3.7 |

- Deliverables Specifications

  - CLIN 0001 - The Contractor shall provide 16 (sixteen) Dell Pro 14 Plus with dual monitor docking station bundles or an equivalent product bundle with the following specifications, or with equivalent specifications:

| Each Dell Pro 14 Plus with Dual Monitor Docking Station bundle consists of the following or equivalent items: |  |  |
| --- | --- | --- |
| Dell Pro 14 Plus PS14250 |  | 1 |  |
| Dell Pro Thunderbolt 4 Smart Dock SD25TB4 |  | 1 |  |
| Dell Wired Mouse - MS116 |  | 1 |  |
| Dell Wired Keyboard - KB216 - US English - Black |  | 1 |  |
| Dell Pro 24 Plus Monitor P2425H |  | 2 |  |
| Dell Dual Monitor Stand - MDS19 |  | 1 |  |
| Dell Pro 14 Plus PB14250 or Equivalent Specifications (page 1 of 2) |  |  |  |  |  | Quantity:1 |
| Module | Description |  |  |  | SKU | Qty |
| Base | Dell Pro 14 Plus (PB14250) XCTO Base |  |  |  | 210-BPDR | 1 |
| Processor | Intel(R) Core(TM) Ultra 7 265U vPro(R) (12 TOPS NPU, 12 cores, up to 5.3 GHz) |  |  |  | 379-BFXR | 1 |
| Operating System | Windows 11 Pro |  |  |  | 619-BBQD | 1 |
| Microsoft Office | Activate Your Microsoft 365 For A 30 Day Trial |  |  |  | 630-ABBT | 1 |
| Base Options | Integrated Intel graphics for Intel Core Ultra 7 265U vPro processor |  |  |  | 338-CRMM | 1 |
| Non-Microsoft Application Software | Dell Additional SW - Dell Pro Laptop |  |  |  | 658-BFVB | 1 |
| AC Adapter | 65W AC adapter, USB Type-C |  |  |  | 492-BDTG | 1 |
| Memory | 16 GB: 1 x 16 GB, DDR5, 5600 MT/s (5200 MT/s with Intel Core processors) |  |  |  | 370-BCNG | 1 |
| Systems Management | Intel(R) vPro(R) Management Disabled |  |  |  | 631-BBZV | 1 |
| Storage | 512 GB SSD |  |  |  | 400-BSLS | 1 |
| PalmRest | Fingerprint Reader, Smart Card Reader with NFC, Control Vault 3+, includes RJ-45 |  |  |  | 346-BLCY | 1 |
| Display | 14", Non-Touch, FHD+, 300 nit, 45% NTSC, Anti-Glare, 5MP+IR Cam, 5G capable |  |  |  | 391-BJQZ | 1 |
| Camera | 5MP HDR + IR Camera with Presence Detection, Facial Recognition, TNR, Camera Shutter, Microphone |  |  |  | 319-BBJW | 1 |
| Keyboard | English US backlit Copilot key keyboard, 79-key |  |  |  | 583-BMLQ | 1 |
| Power Cord | E4 Power Cord 1M for US |  |  |  | 470-BCXK | 1 |
| Wireless | Intel® Wi-Fi 6E AX211, 2x2, 802.11ax, Bluetooth® 5.3 card |  |  |  | 555-BLLZ | 1 |
| Primary Battery | 3-cell, 45 Wh, ExpressCharge Capable, Long Life Cycle, 3-year limited hardware warranty |  |  |  | 451-BDKW | 1 |
| Mobile Broadband | 5G - Qualcomm Snapdragon X72 Global 5G Modem (DW5934e), eSIM capable |  |  |  | 556-BFTW | 1 |
| Chassis Options | 5G WWAN Tray, includes RJ-45, Clamshell |  |  |  | 321-BLNZ | 1 |
| Wireless Driver | Intel(R) AX211 WLAN Driver |  |  |  | 555-BLNY | 1 |
| ENERGY STAR | ENERGY STAR Qualified |  |  |  | 387-BBLW | 1 |
| FGA Module | Custom Configuration |  |  |  | 817-BBBB | 1 |
| Intel Responsiveness Technologies | Intel Rapid Storage Technology Driver |  |  |  | 409-BCYM | 1 |
| Setup and Features Guides | Quick Start Guide |  |  |  | 340-DSKC | 1 |
| Processor Label | Intel Core Ultra 7 Processor Label |  |  |  | 389-FGBC | 1 |
| Packaging | ARL CPU+65W Adapter,Clamshell |  |  |  | 340-DTNX | 1 |
| Operating System Language Pack | English, French, Spanish, Brazilian Portuguese |  |  |  | 619-BBPD | 1 |
| EPEAT | EPEAT Gold with Climate+ |  |  |  | 379-BDZB | 1 |

| Dell Pro 14 Plus PB14250 or Equivalent Specifications (page 2 of 2) |  |  | Quantity:1 |
| --- | --- | --- | --- |
| Module | Description | SKU | Qty |
| Standard Hardware Support Service | ProSupport Plus: Next Business Day Onsite, 1 Year | 714-4121 | 1 |
| Standard Hardware Support Service | ProSupport Plus: Next Business Day Onsite, 4 Years Extended | 714-4141 | 1 |
| Standard Hardware Support Service | ProSupport Plus: Accidental Damage Service, 5 Years | 714-4148 | 1 |
| Standard Hardware Support Service | ProSupport Plus: Keep Your Hard Drive, 5 Years | 714-4149 | 1 |
| Standard Hardware Support Service | ProSupport Plus: 7x24 Technical Support, 5 Years | 714-4150 | 1 |
| Standard Hardware Support Service | Dell Limited Hardware Warranty | 714-7390 | 1 |
| Standard Hardware Support Service | Dell Limited Hardware Warranty Extended Year(s) | 975-3461 | 1 |
| Standard Hardware Support Service | Dell ProSupport Plus | 997-7988 | 1 |

| Dell Pro Thunderbolt 4 Smart Dock SD25TB4 or Equivalent Specifications |  |  | Quantity:1 |
| --- | --- | --- | --- |
| Module | Description | SKU | Qty |
| Dell Pro Thunderbolt 4 Smart Dock SD25TB4 | Dell Pro Thunderbolt 4 Smart Dock SD25TB4 | 210-BRQK | 1 |
| Service | Dell Limited Hardware Warranty | 718-6164 | 1 |
| Service | Advanced Exchange Service for 3 Years | 718-6176 | 1 |

| Dell Wired Mouse - MS116 or Equivalent Specifications |  | Quantity:1 |
| --- | --- | --- |
| Description | SKU | Qty |
| Dell Wired Mouse - MS116 | 452-BDGB | 1 |

| Dell Wired Keyboard - KB216 - US English - Black or Equivalent Specifications |  | Quantity:1 |
| --- | --- | --- |
| Description | SKU | Qty |
| Dell Wired Keyboard - KB216 - US English - Black | 452-BDGB | 1 |

| Dell Pro 24 Plus Monitor - P2425H or Equivalent Specifications |  |  | Quantity:2 |
| --- | --- | --- | --- |
| Module | Description | SKU | Qty |
| Dell Pro 24 Plus Monitor - P2425H | Dell Pro 24 Plus Monitor - P2425H | 210-BMGH | 1 |
| Standard Hardware Support Service | Dell Limited Hardware Warranty | 815-7381 | 1 |
| Standard Hardware Support Service | Advanced Exchange Service for 3 Years | 815-7382 | 1 |

| Dell Pro Dual Monitor Stand - MDS19 or Equivalent Specifications |  | Quantity:1 |
| --- | --- | --- |
| Description | SKU | Qty |
| Dell Pro Dual Monitor Stand - MDS19 | 452-BDGB | 1 |

  - CLIN 0002 - The Contractor shall provide 2 (two) Dell Pro Rugged 13 RA13250 bundles or an equivalent product bundle, with the following specifications, or with equivalent specifications:

| Each Dell Pro Rugged 13 RA13250 bundle or equivalent bundle consists of the following or equivalent items: |  |
| --- | --- |
| Dell Pro Rugged 13 RA13250 | 1 |  |
| Dell Pro Rugged Laptop Backpack | 1 |  |

| Dell Pro Rugged 13 RA13250 or Equivalent Specifications (page 1 of 2) |  |  | Quantity:1 |
| --- | --- | --- | --- |
| Module | Description | SKU | Qty |
| Base | Dell Pro Rugged, RA13250 XCTO | 210-BNNL | 1 |
| Processor | Intel(R) Core(TM) Ultra 7 165H (24 MB cache, 16 cores, up to 5 GHz, 28W) | 379-BFTF | 1 |
| Operating System | Windows 11 Pro | 619-BBQD | 1 |
| Microsoft Office | Activate Your Microsoft 365 For A 30 Day Trial | 658-BCSB | 1 |
| Non-Microsoft Application Software | Dell Additional Software | 634-CVYV | 1 |
| Power Supply | 100W AC adapter, USB Type C | 492-BDTD | 1 |
| Memory | 32GB: LPDDR5x, 6400 MT/s (onboard) | 370-BCGY | 1 |
| Base Options | Intel(R) Core(TM) Ultra 7 165H (24 MB cache, 16 cores, up to 5 GHz, 28W), 32 GB memory, ARC Graphics | 338-CQXT | 1 |
| Systems Management | ME Disable - Manageability | 631-BBYT | 1 |
| Storage | 1TB PCIe NVMe 2230 SSD | 400-BSDK | 1 |
| Display | 13.3" Touch, FHD 1920x1080, 60Hz, WVA, Anti-Glare, 1400 nit, Low Blue Light, IR camera, Passive Pen | 391-BJNK | 1 |
| Camera | FHD HDR IR Camera + Microphone, Touch, WLAN/WWAN/GPS antenna, docking POGO connector with Passthru | 319-BBLG | 1 |
| Keyboard | English US Rugged RGB Single Point backlit Copilot key keyboard | 583-BMJG | 1 |
| Primary Battery | Primary 3 Cell 53.5 Whr Long-lifecycle Battery, 3-year warranty | 389-FJFF | 1 |
| Cable | E5 C5 Power Cord 1M, US | 470-BCRJ | 1 |
| Wireless | Intel® Wi-Fi 6E AX211, 2x2, 802.11ax, MU-MIMO, Bluetooth® 5.3 wireless card | 555-BLHY | 1 |
| Driver | Wireless Intel AX211 WLAN Driver | 555-BLJD | 1 |
| E-Star | ENERGY STAR Qualified | 387-BBLW | 1 |
| Processor Branding | Core Ultra 7 non-vPro CPU Label, Gen 14th | 389-FJDZ | 1 |
| Packaging | Mix Shipment, Dell Pro Rugged 13 RA13250 | 340-DSGD | 1 |
| Mobile Broadband | 5G - Qualcomm(R) Snapdragon(TM) X62 Global 5G (DW5932e), eSIM capable, worldwide | 556-BFRM | 1 |

| Dell Pro Rugged 13 RA13250 or Equivalent Specifications (page 2 of 2) |  |  | Quantity:1 |
| --- | --- | --- | --- |
| Module | Description | SKU | Qty |
| GPS Solutions (Tied) | Dedicated u-blox NEO-M9N GPS Card | 540-BFMS | 1 |
| PalmRest | Full Security: Fingerprint Reader, Contacted and Contactless NFC Smartcard Reader, no Express card | 346-BLCB | 1 |
| Placemat | Quick setup guide, world wide | 340-DRZK | 1 |
| Operating System Language Pack | English, French, Spanish, Brazilian Portuguese | 619-BBPD | 1 |
| Handle | Rigid Handle | 750-BBMM | 1 |
| Second Battery | Battery Airbay Cover | 325-BFXD | 1 |
| Chassis intrusion switch | No additional TBT-4/Type-C port | 325-BFZV | 1 |
| Serial Port/PS2 Adapter | No additional rear port | 590-TFPZ | 1 |
| EPEAT | EPEAT Gold with Climate+ | 379-BFWZ | 1 |
| Diagnostic CD / Diskette | No Resource USB Media | 430-XYPF | 1 |
| Hard Drive Software | Intel Responsiveness Technologies Driver | 409-BCYL | 1 |
| Transportation | Standard Shipment, VS | 800-BBZV | 1 |
| FGA Module | Custom Configuration | 817-BBBB | 1 |
| Hazardous Locations Certification | Hazardous Locations Certification | 389-EBSX | 1 |
| Standard Hardware Support Service | Dell Limited Hardware Warranty | 713-1487 | 1 |
| Standard Hardware Support Service | ProSupport Plus: Accidental Damage Service, 5 Years | 713-1499 | 1 |
| Standard Hardware Support Service | ProSupport Plus: Keep Your Hard Drive, 5 Years | 713-1507 | 1 |
| Standard Hardware Support Service | ProSupport Plus: 7x24 Technical Support, 5 Years | 713-1515 | 1 |
| Standard Hardware Support Service | ProSupport Plus: Next Business Day Onsite, 3 Years | 713-1528 | 1 |
| Standard Hardware Support Service | ProSupport Plus: Next Business Day Onsite, 2 Years Extended | 713-1531 | 1 |
| Standard Hardware Support Service | Dell Limited Hardware Warranty Extended Year(s) | 975-3461 | 1 |
| Standard Hardware Support Service | Dell ProSupport Plus | 997-7988 | 1 |
| Extended Battery Service | 3 Years Extended Battery Service for Year 2 to 4 of System Life (LCL) | 713-1477 | 1 |

| Dell Pro Rugged 18 Premium Backpack or Equivalent Product |  | Quantity:1 |
| --- | --- | --- |
| Description | SKU | Qty |
| Dell Pro Rugged Laptop Backpack | 460-BCML | 1 |

  - CLIN 0003 - The Contractor shall provide 1 (one) Dell PowerScale A310 Archive/ Hybrid 80TB usable storage unit bundle or an equivalent product bundle, with the following specifications or equivalent specifications:

| Dell PowerScale A310 Archive/ Hybrid 80TB usable storage unit bundle consists of the following or equivalent items: |  | Quantity:1 |
| --- | --- | --- |
| Description | Label Reference | Qty |
| PowerScale A310 | 3000194494876.5 | 4 |
| PowerScale Chassis [PowerScale Chassis - AMER] | 3000194494876.5 | 1 |
| Backend Network Switches | 3000194494876.5 | 2 |
| PowerScale Accessories - AMER | 3000194494876.5 | 1 |
| PowerSwitch S5224-ON - [AMER_S5224-ON_12925] | 3000194494876.5 | 2 |

The details of each bundle component are listed below:

| PowerScale A310 or Equivalent Specifications (Page 1 of 3) |  |  | Quantity:4 |
| --- | --- | --- | --- |
| Module | Description | SKUs | Qty |
| Base | AQ16:Q32310 L3 SED/FIPS Node | 210-BQTZ | 1 |
| Node Drive Capacity | SED/FIPS 30TB (15x2TB) | 400-BTCQ | 1 |
| Front-end I/O Modules | 2x25GbE (SFP28) W/O OPTICS | 590-TFQM | 1 |
| Back-end I/O Modules | 2x25GbE (SFP28) Back-end W/O OPTICS | 590-TFQJ | 1 |
| Operating Environment | OneFS Base License A310 2-8TB L3=ID | 149-BCDF | 1 |
| Operating Environment | OneFS Encryption KeyA310 2-8TB L3=ID | 149-BCDM | 1 |
| Software Bundles | SmartQuotas Base License Bundle A310/A3100 L3 =ID | 151-BCLV | 1 |
| Software Bundles | SyncIQ Base License Bundle A310/A3100 L3 =ID | 151-BCMD | 1 |
| Software Bundles | SnapShotIQ Base License Bundle A310/A3100 L3 =ID | 151-BCMG | 1 |
| Software Bundles | SmartPools Base License Bundle A310/A3100 L3 =ID | 151-BCMN | 1 |
| Software Bundles | Enterprise Advanced Bundle A310/A3100 L3=ID | 151-BCMQ | 1 |
| Additional Software | SmartDedupe Base License A310/A3100 L3=ID | 151-BCKV | 1 |
| Additional Software | SmartLock Base License A310/A3100 L3=ID | 151-BCLC | 1 |
| Additional Software | HDFS for OneFS ($0.00) | 151-BBEH | 1 |
| Info - DellStar DOMS Orders Only | ISG Product (info) | 379-BDPD | 1 |
| Dell Services: Hardware Support | Dell Hardware Limited Warranty-LA | 716-9128 | 1 |
| Dell Services: Hardware Support | ProSupport Next Business Day Onsite Service After Problem Diagnosis 3 Years-LA | 716-9129 | 1 |
| Dell Services: Hardware Support | ProSupport Next Business Day Onsite Service After Problem Diagnosis 2 Years Extended-LA | 716-9130 | 1 |
| Dell Services: Hardware Support | ProSupport 7x24 Technical Support and Assistance 5 Years-LA | 716-9132 | 1 |
| Dell Services: Hardware Support | Thank you choosing Dell ProSupport. For tech support, visit //support.dell.com/ProSupport | 911-6619 | 1 |
| Dell Services: Hardware Support | Dell Limited Hardware Warranty Extended Year(s) | 975-3461 | 1 |
| Keep Your Hard Drive or Keep Your Component for En | None | 825-6815 | 1 |

| PowerScale A310 or Equivalent Specifications (Page 2 of 3) |  |  | Quantity:4 |
| --- | --- | --- | --- |
| Module | Description | SKUs | Qty |
| On-site Diagnosis Service | None | 825-6815 | 1 |
| Cache SSD Support Add On | ProSupport Next Business Day Onsite Capacity Addon TB SSD LO Tier 5 Years | 717-6453 | 1 |
| KYHD or Component for Enterprise Add On Service | None | 825-6815 | 1 |
| KYHD or Component for Ent Cache Add On Service | None | 825-6815 | 1 |
| On-Site Diagnosis Additional Support | None | 825-6815 | 1 |
| On-Site Diagnosis Cache Add On Service | None | 825-6815 | 1 |
| Sftwr Svcs - OE Base | 5 Years ProSupport OneFS Enc-Key Mgt Base 2-8TB Software Support-Maint | 716-9711 | 1 |
| Sftwr Svcs - Bundles Base | 5 Years ProSupport Enterprise Advanced Bundle Base Software Support-Maint | 716-9924 | 1 |
| Sftwr Svcs - Additional Sftwr Bases | 5 Years ProSupport SmartLock Base Software Support-Maint | 716-9935 | 1 |
| Sftwr Svcs - Additional Sftwr Bases | 5 Years ProSupport Additional Base Sftwr Spt-Maint | 706-3823 | 1 |
| Deployment Services | ProDeploy Plus PowerScale Node | 886-5737 | 1 |
| Cache SSDs | SED/FIPS 800GB SSD - A310/0 | 400-BTCW | 1 |
| Optional Front end Transceivers | Transceiver/Optic/SFP28/SR/25Gbe/Qty 2 | 407-BCLU | 1 |
| Operating Environment Capacity | OneFS Capacity A310/A3100 L3=CB | 149-BCCW | 30 |
| Software Bundles Capacity | SmartQuotas Capacity License Bundle A3 Tier 3 L3=CB | 151-BCHY | 30 |
| Software Bundles Capacity | SmartPools Capacity License Bundle A3 L3=CB | 151-BCJF | 30 |
| Software Bundles Capacity | Enterprise Advanced Bundle Capacity A310/A3100 L3=CB | 151-BCJJ | 30 |
| Software Bundles Capacity | SyncIQ Capacity License Bundle A3 L3=CB | 151-BCJK | 30 |
| Software Bundles Capacity | SnapShotIQ Capacity License Bundle A3 L3=CB | 151-BCJP | 30 |
| Additional Software Capacity | SmartDedupe Capacity License A310/A3100 L3=CB | 151-BCKC | 30 |
| Additional Software Capacity | SmartLock Capacity License A310/A3100 L3=CB | 151-BCKQ | 30 |
| Services: Support for Drive Capacity Addon | ProSupport Next Business Day Onsite Capacity Addon 5 Years | 717-6495 | 30 |

| PowerScale A310 or Equivalent Specifications (Page 3 of 3) |  |  | Quantity:4 |
| --- | --- | --- | --- |
| Module | Description | SKUs | Qty |
| Sftwr Svcs - OE Capacity | 5 Years ProSupport OneFS Capacity Software Support-Maint | 716-9919 | 30 |
| Sftwr Svcs - Bundles Capacity | 5 Years ProSupport Enterprise Advanced Bundle Capacity Software Support-Maint | 716-9694 | 30 |
| Sftwr Svcs - Additional Sftwr Capacity Add-Ons | 5 Years ProSupport SmartLock Capacity Software Support-Maint | 716-9748 | 30 |

| PowerScale Chassis [PowerScale Chassis - AMER] or Equivalent Specifications |  |  | Quantity:1 |
| --- | --- | --- | --- |
| Module | Description | SKU | Qty |
| Base | Base Chassis - Normal A31-Series | 210-BQWX | 1 |
| Bezel | 4U Bezel UDS | 350-BDGL | 1 |
| Info - DellStar DOMS Orders Only | ISG Product (info) | 379-BDPD | 1 |
| Dell Services: Hardware Support | Dell Hardware Limited Warranty-LA | 876-9030 | 1 |
| Dell Services: Hardware Support | ProSupport Next Business Day Onsite Service After Problem Diagnosis 3 Years-LA | 876-9031 | 1 |
| Dell Services: Hardware Support | ProSupport Next Business Day Onsite Service After Problem Diagnosis 2 Years Extended-LA | 876-9032 | 1 |
| Dell Services: Hardware Support | ProSupport 7x24 Technical Support and Assistance 5 Years-LA | 876-9035 | 1 |
| Dell Services: Hardware Support | Thank you choosing Dell ProSupport. For tech support, visit //support.dell.com/ProSupport | 911-6619 | 1 |
| Dell Services: Hardware Support | Dell Limited Hardware Warranty Extended Year(s) | 975-3461 | 1 |

| PowerScale Accessories - AMER or Equivalent Specifications |  |  | Quantity:1 |
| --- | --- | --- | --- |
| Module | Description | SKU | Qty |
| Accessories | Accessories Label BASE | 210-AXGY | 1 |
| Info - DellStar DOMS Orders Only | ISG Product (info) | 379-BDPD | 1 |
| Chassis Power Cord Kits | PWCRD KIT for Normal Chassis | 450-AJHP | 2 |
| Chassis Power Cord Kits | PWCRD KIT for Normal Chassis | 450-AJHP | 2 |
| Cables | CABLE ETHERNET 10G PASS SFP+ 3M | 470-AEGF | 8 |
| Cables | CABLE QSFP28 100Gb Pass Copper DAC 1M | 470-AEFW | 2 |

| Backend Network Switches or Equivalent Specifications |  |  | Quantity:2 |
| --- | --- | --- | --- |
| Module | Description | SKU | Qty |
| Backend Network Switch | S4112F Dell Networking Switch | 210-AWOS | 1 |
| System Documentation | S4112F Series User Guide | 343-BBQL | 1 |
| Install Kits | S4112F Install Kit | 750-ACVX | 1 |
| Install Kits | DELL Switch, Dual Tray Kit for S4112F, 1U | 750-ACVY | 1 |
| Install Kits | EMC GEN3 Switch Rail 22-31in Offset Kit, S4112F | 750-ACWB | 1 |
| Operating Environment | OS10 Enterprise Software, S4112F | 528-CKSS | 1 |
| Hardware Support Services | ProSupport Next Business Day On-Site Service After Problem Diagnosis 2 Years Ext-LA | 877-7499 | 1 |
| Hardware Support Services | ProSupport 7x24 HW-SW Technical Support and Assistance 5 Years-LA | 877-7502 | 1 |
| Hardware Support Services | Dell Hardware Limited Warranty-LA | 877-7515 | 1 |
| Hardware Support Services | ProSupport Next Business Day On-Site Service After Problem Diagnosis 3 Years-LA | 877-7516 | 1 |
| Hardware Support Services | Thank you choosing Dell ProSupport. For tech support, visit //support.dell.com/ProSupport | 877-7516 | 1 |
| Hardware Support Services | Dell Limited Hardware Warranty Extended Year(s) | 975-3461 | 1 |

| PowerSwitch S5224-ON- [AMER_S5224-ON_12925] or Equivalent Specifications |  |  | Quantity:2 |
| --- | --- | --- | --- |
| Module | Description | SKU | Qty |
| Dell EMC Networking S5224F-ON | Dell EMC S5224F-ON Switch, 24x 25GbE SFP28, 4x 100GbE QSFP28 ports, PSU to IO air, 2x PSU | 210-APHT | 1 |
| System Documentation | S52XX User Manual | 343-BBLP | 1 |
| Operating System | OS10 Enterprise, S5224F-ON | 634-BRWJ | 1 |
| SmartFabric Services | OS10 SmartFabric Services | 634-BYIJ | 1 |
| Dell Services: OS10 Software Support | 5 Years ProSupport OS10 Enterprise Software Support-Maintenance-LA | 848-8617 | 1 |
| Hardware Support Services | Dell Hardware Limited Warranty Initial Year | 818-7969 | 1 |
| Hardware Support Services | ProSupport: 7X24 HW/SW Technical Support and Assistance, 5 Years | 818-8140 | 1 |
| Hardware Support Services | ProSupport: Next Business Day On-Site Service After Problem Diagnosis, Initial Year | 818-8150 | 1 |
| Hardware Support Services | ProSupport: Next Business Day On-Site Service After Problem Diagnosis, 4 Years Extended | 818-8162 | 1 |
| Hardware Support Services | Thank you choosing Dell ProSupport. For tech support, visit //support.dell.com/ProSupport | 911-6619 | 1 |
| Hardware Support Services | Dell Limited Hardware Warranty Extended Year(s) | 975-3461 | 1 |
| Hardware Support Services | Info 3rd Party Software Warranty provided by Vendor | 997-7480 | 1 |
| Deployment Services | ProDeploy Plus Networking S Series 5xxx Switch | 892-3319 | 1 |
| Ethernet Optics | Dell Networking, Transceiver, 25GbE SFP28 SR, No FEC, MMF, Duplex LC | 407-BBXX | 2 |
| Ethernet Optics | Dell Networking Transceiver SFP+ 1/10GBASE-T 30m, rate-adaptive | 407-BDDG | 2 |
| 25/40/100G Cables with Embedded Optics | Dell Networking Cable, 100GbE, QSFP28 to QSFP28, Passive Copper Direct Attach, 0.5 Meter | 470-ABOU | 1 |
| SFP+ 10GbE and SFP28 25GbE Direct Attach Cables | Dell Networking, Cable, SFP28 to SFP28, 25GbE,Passive Copper Twinax Direct Attach Cable,3 Meter | 470-BBCX | 4 |
| MultiMode Fiber LC/LC patch cables | Dell Networking Cable, OM4 LC/LC Fiber Cable, (Optics required), 10 Meter | 470-ACMH | 2 |
| Power Cords | Power Cord, 125V, 15A, 10 Feet, NEMA 5-15/C13 | 450-AAFH | 2 |
| Power Cords | Power Cord, 125V, 15A, 10 Feet, NEMA 5-15/C13 | 450-AAFH | 2 |

  - CLIN 0004 - The Contractor shall provide 1 (one) APC NetShelter SX 42U

unit or an equivalent product with the following specifications, or with equivalent specifications:

| APC NetShelter Bundle or Equivalent Specifications (Page 1 of 2) |  | Quantity: 1 |
| --- | --- | --- |
| Module | Item Description | Qty |
| ACAC10022 | "Isolation Valve Assemblies 1/2" ODF" | 1 |
| ACRD100 | InRow RD, 300mm, Air Cooled, 208-230V, 60Hz | 1 |
| ACDC2551 | Depth Adapter, 1070 to 1200mm, SX42U to SX48U, 600-750mm Width | 1 |
| WASSEM5X 8-5R-PX-20 | 5X8 Scheduled Assembly Service for 1-5 Racks | 1 |
| WASSEM5X8-AX-15 | Scheduled Assembly Service 5X8 for InRow RD10 kW Water/Glycol and Air cooled | 1 |
| WSTRTUP5 X8-AX-15 | Start-up Service 5X8 for In Row ACRD Half Rack 10KW | 1 |
| AR7580A | Vertical Cable Manager for NetShelter SX 750mm Wide 42U | 1 |
| AR8136BLK | "APC 1U 19" Black Modular Toolless Blanking Panel - Qty 10" | 4 |
| WADVPRIME-AX-15 | (1) Year Advantage Prime Service Plan for (1) In Row ACRD Half Rack 10kw | 2 |
| WOE2YR- AX-15 | 2 Year On-Site Warranty Extension for (1) In Row ACRD Half Rack 10KW | 1 |
| ACAC75009 | "Flooded Receiver 17lb, R410A, 6" Diameter, 18" Length" | 1 |
| ACCD75214 | Condenser 1 Fan, Single Circuit, 2.4 MBH/1F TD, 208-240V/ 1/60 | 1 |
| ACCS1001 | APC Rack Air Containment Rear Assembly for | 1 |
| ACCS1002 | APC Rack Air Containment End Caps | 2 |

| APC NetShelter Bundle or Equivalent Specifications (Page 2 of 2) |  | Quantity: 1 |
| --- | --- | --- |
| Module | Item Description | Qty |
| ACCS1003 | APC Rack Air Containment Front Assembly for InRow 300mm | 1 |
| AP8641 | Rack PDU 2G, Metered by Outlet with Switching, ZeroU, 30A, 200/208V, (21) C13 & (3) C19 | 2 |
| SRT10KRMXLT | APC Smart-UPS SRT 10000VA RM 208V | 1 |
| SRT192RMBP2 | APC Smart-UPS SRT 192V 8 and 10kVA RM Battery Pack | 3 |
| WBEXTWA R3YR-SP-07 | Service Pack 3 Year Warranty Extension (for new product purchases) | 1 |
| AR3300B2 | APC NetShelter SX Server Rack Gen 2, 42U, 1991H x 600W x 1070D mm, with Sides, Black [TAA] | 1 |

  - CLIN 0005 - The Contractor shall provide a fully integrated building security, access control and CCTV system for the designated U.S. government-supported facility in Trinidad and Tobago with the following specifications:

| Building Security, Access Control and CCTV Systems Bundle | Quantity:1 |
| --- | --- |
| Description | Qty |
| Building Access Control Systems Equipment and Installation | 1 |
| Supply and Installation Labor | 1 |
| Building Security Equipment Warranty and Maintenance Services | 1 |
| Building Access Control Systems Supply and Installation Labor | 1 |
| Compound Fence and Building Entrance CCTV System | 1 |
| Carpark Entrance CCTV System | 1 |
| Inner office Area CCTV System | 1 |
| Car Park IP Video Entry System for Visitors | 1 |
| Server Room CCTV System | 1 |
| Cabling Materials | 1 |
| CCTV Systems Labor Hours | 1 |
| CCTV Systems Equipment Warranty and Maintenance Services | 1 |

Each component of the Building Security System bundle must meet or exceed the following minimum specifications below:

| Building Access Control Systems Equipment and Installation Specifications | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| Protege GX Server License | 1 |
| Windows 2U Rackmount Server for Protégé GX | 1 |
| Protege GX 50 Camera License | 1 |
| Protege GX DIN Rail IP System Controller with 2 doors onboard | 1 |
| Protege DIN Rail 12V 8A Intelligent Power Supply Unit with Isolated Comms and AC plug-in | 1 |
| Protege DIN Rail 16 Isolated Zone Input Expander (elevator destination reporting) | 1 |
| Protege DIN Rail 8 input and 4 output expanders | 1 |
| DIN Rail cabinet for 8 DIN modules (2 x 4) | 1 |
| Batteries 12v 7 amp | 2 |
| Access Control Power Controller 6A with Fire trigger and access control trigger | 1 |
| Batteries 12v 7 amp | 2 |
| Electric strike or equal | 6 |
| Rim-Type Exit Device for Exit Doors, Push-to-Exit Bar | 1 |
| 1200lb Double Magnetic lock | 1 |
| Push to Exist Buttons | 2 |
| Recessed wide gap magnetic contact or equal | 9 |
| Panic Button (recessed) -HUSK-20 or equal | 1 |
| Water Detector on the Washroom | 2 |
| Protege DIN Rail 2 Door Expander with RS-485 reader ports | 4 |
| TSEC COMBO 13.56MHz / 125KHz Card Reader with Bluetooth- Standard mullion mount Size - Black | 8 |
| TSec Bluetooth/13.56MHz/125kHz Reader Mullion Keypad - BLACK | 4 |
| Ajax leaks protect detectors Hub 2 Plus | 1 |
| ON/OFF actuator for ball valve | 1 |
| Cable | 1 |
| Hardware, Conduit, connectors and miscellaneous equipment | 1 |
| Allow for maintenance manual (3 bound copies) | 2 |
| Allow for three-year maintenance contract | 1 |
| Electronic Security design | 1 |
| As-built drawings Building Access Control Installation Labor | LS |

| Building Security Equipment Warranty and Maintenance Services Specifications | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| Minimum Three Year Building Security Equipment Warranty and Maintenance Services | 1 |

| Compound Fence and Building Entrance CCTV System | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| NDAA COMPLIANT.5.1MP Active Deterrence Fixed Turret Network Camera 1/2.7" Progressive Scan CMOS Sensor, 0.003 lux (Color), 0 lux (IR on), 30m (IR light),30m (warm light ), 2.8 mm @ F1.0 horizontal FOV：103° , vertical FOV：55°diagonal FOV：122°, 120 dB, Red/Blue Light Warning and Sound warnings Supported Intelligent motion detection, line crossing, intrusion, region entrance, region exiting (support alarm triggering by specified target types (human ,vehicle)scene change detection, video blur detection. High quality imaging with 5MP resolution, Efficient H.265+ compression, Focus on human and vehicle targets classification, Water and dust resistant (IP67) and IK10, Built-in microphone and Speaker | 21 |
| Wall mount junction box | 21 |
| NDAA COMPLIANT.5.1MP Active Deterrence PTZ Network Camera 1/2.8" Progressive Scan CMOS Sensor, 5MP (2592 × 1944), Color: 0.005 lux @ F1.6, B/W: 0.0005 lux @ F1.6, 0 lux (IR light on), 200 m (IR light) 50 m (warm light), Active Deterrence LED 1 red light, 1 blue light, 130dB, 32X optical zoom/16X digital zoom, 4.8 ~ 154 mm, Two-way Audio Supported, Basic Event Motion detection, video tampering Smart Event, Smart motion detection, line crossing, area intrusion, region entrance, region exiting (supports alarm triggering by specified target types (human and vehicle), Auto Tracking Supported, Face Detection Supported, Water and dust resistant (IP67) | 2 |
| PTZ Pole mount bracket | 2 |
| PTZ Wall mount junction box | 2 |
| PTZ External Corner Bracket | 2 |

| Carpark Entrance CCTV System | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| NDAA COMPLIANT.5.1MP IQ Pro Series Motorized Dome Network Camera 1/2.7" Progressive Scan CMOS Sensor, 0.006 lux (Color), 0 lux (IR on), 50m (IR light), Strobe Light Supported, Focal Length 2.7 ~ 13.5 mm, F1.6, horizontal FOV:112° to 35.5° , vertical FOV:59° to 20° , diagonal FOV：134° to 41°, Motion detection (support alarm triggering by specified target types (human and vehicle) Smart Event Line crossing detection, Area intrusion, Region Entrance, Region Exiting (support alarm triggering by specified target types (human and vehicle) )Scene Change Detection, Face Detection Supported, Water and dust resistant (IP67) and IK10, Built-in microphone | 2 |
| Wall mount junction box | 2 |

| Inner office Area CCTV System | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| NDAA COMPLIANT.5.1MP Intelligent Dual Light Value Series Fixed Turret network Camera 1/2.7" Progressive Scan CMOS Sensor, Color: 0.006 Lux (F1.6 , AGC ON) , 0 Lux with light, 30m (IR light), 30m (warm light), 2.8 mm @ F1.6 Horizontal FOV: 114°, Vertical FOV: 61°, Diagonal FOV: 135°, 2D/3D DNR, 120 dB, Intelligent motion detection, line crossing, intrusion, region entrance, region exiting (support alarm triggering by specified target types (human ,vehicle) High quality imaging with 5MP resolution, Efficient H.265+ compression, Focus on human and vehicle targets classification, Water and dust resistant (IP67), Built-in microphone | 4 |
| NDAA COMPLIANT. AI TrueColor Dual-sensor 180°Panoramic Network Camera, • High quality image with 5MP, 1/2.8"CMOS sensor•5MP (2592*1944):@ 30/25fps, Ultra 265, H.265, H.264, MJPEG, 120dB true WDR technology enables clear image in strong light scene, Built-in 2 Mic, Supports the detection of sounds over longer distances, Alarm:1 in/1 out, Audio: 1 in/1 out, Smart IR, up to 10m (33ft) IR distance, Supports 256 G Micro SD card, IK10 vandal resistant, IP66 protection, Support PoE power supply | 1 |
| NDAA COMPLIANT. FISHEYE, • High quality image with 5MP, 1/2.8"CMOS sensor•5MP (2592*1944):@ 30/25fps, Ultra 265, H.265, H.264, MJPEG, 120dB true WDR technology enables clear image in strong light scene, Built-in 2 Mic, Supports the detection of sounds over longer distances, Alarm:1 in/1 out, Audio: 1 in/1 out, Smart IR, up to 10m (33ft) IR distance, Supports 256 G Micro SD card, IK10 vandal resistant, IP66 protection, Support PoE power supply | 3 |

| Car Park Internet Protocol (IP) Video Entry System for Visitors | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| IP Video Door/Gate Control System with IP Surveillance Camera and IP Intercom | 1 |
| IP door/gate System Control HUB/PBX | 1 |
| IP door/gate System Indoor station | 1 |

| Server Room CCTV System | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| Wall mount Sever Encloser 1.5 mm Thickness Mesh Front & door lock Fan tray with 4PC fan with removable Sides 42RU -Black | 1 |
| CAT 6 @24 Port Patch Panels | 2 |
| 19"w Horizontal Surge Strip | 1 |
| A 24-port, Layer 3 switch capable of high-power PoE++ output. control, Port mirroring, VLAN, Auto MDI-MDI-X, Auto-Negotiating, non-blocking, internal power supply. Full duplex and flow control. 16.25 watts per port. | 2 |
| 64 CHANNEL 4K NVR W/40TB | 1 |
| Security Station monitor, 32 inch screen | 4 |

| Cabling Materials | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| Cat 6 Cabling | 6 |
| 1' CAT6A UTP 550MHZ Snagless Molded Patch Cord - Blue | 33 |
| Outdoor Camera Wall Mount | 6 |
| Outdoor Camera poles on the fence | 13 |
| Conduit work to camera pole on the fence | 13 |
| Hardware, connectors and MISC. | 1 |
| Electronic Security design | 1 |
| As-built drawings | 2 |

| CCTV Systems Equipment Warranty and Maintenance Services | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| Minimum Three Year CCTV Systems Equipment Warranty and Maintenance Services | 1 |

| CCTV Systems Installation Labor | Quantity:1 |
| --- | --- |
| Item Description | Qty |
| CCTV Systems Installation Labor | LS |

The system shall ensure secure, reliable, and scalable monitoring and access management compliant with applicable security standards. The Contractor shall meet the following requirements:

- Time Frame: Installation and full operational capability to be completed within three to six months, commencing upon contract award.

- Brand and Technology: The system must use the Protégé brand for access control and CCTV components, selected to meet operational, cybersecurity, and integration requirements and is supported by an approved, brand-certified integrator capable of ensuring warranty compliance and long-term technical support.

- Approved Integrator: The Contractor must be an approved integrator of the Protege brand, with verifiable certifications and proven experience installing and maintaining similar systems in secure or government facilities.

- Warranty and Documentation: The Contractor shall provide certified documentation guaranteeing that all manufacturer warranties and service agreements are fully honored throughout the contract term.

- System Capabilities:

  - Real-time access control with customizable user permissions and multi-factor authentication.

  - CCTV with high-definition video capture, 24/7 recording, and secure storage.

  - Integration capability with existing security infrastructure and interoperability with related management platforms.

  - Scalable design allowing future expansion or upgrades without full system replacement.

  - Robust data encryption and compliance with relevant local and international security protocols.

- Maintenance and Support:

  - Scheduled preventative maintenance and rapid response repair services to ensure continuous operation.

  - Post-installation training for facility security personnel covering system operation, troubleshooting, and security best practices.

  - Provision of 24/7 technical support and access to customer service representatives for issue resolution.

- Performance Standards:

  - System uptime of 99.9% or higher.

  - Response to critical system faults or failures within one hour.

  - Compliance with U.S. federal security standards applicable to government facility security systems.

3.6 CLIN 0006 – The Contractor shall Supply and Install an Electronic Access Control System (EACS) with Automation bundle for the designated U.S. government supported facility in Trinidad and Tobago with the following specifications:

| Main compound / Gate: Electronic Access Control System (EACS) with Automation equipment and installation | Quantity: 1 |
| --- | --- |
| Description | Qty |  |
| Protege WX Web Enabled DIN Rail Controller | 1 |  |
| Protege DIN Rail 12V 8A Intelligent Power Supply Unit with Isolated Comms and AC plug-in | 1 |  |
| DIN Rail cabinet for 8 DIN modules (2 x 4) | 1 |  |
| Batteries 12v 7 amp | 2 |  |
| TSec Bluetooth/13.56MHz/125kHz Reader Mullion Keypad - BLACK | 2 |  |
| Vandal Resistant Cover - tSec EXTRA IK10 | 2 |  |
| TSEC COMBO 13.56MHz / 125KHz Card Reader with Bluetooth- Standard mullion mount – Size - Black | 1 |  |
| 600LB magnetic lock | 1 |  |
| Magnetic Lock Brackets: Z-Bracket for 600lb Maglock Exterior | 1 |  |
| ICT Format Photo-ID ISO Proximity Card - 26 Bit | 32 |  |
| Bluetooth NFC Wireless Credential | 32 |  |
| ICT RF Wiegand Receiver Board c/w Antennae - 433 Mhz | 1 |  |
| 3M long antenna extension for RF-RCVR-433 | 1 |  |
| ICT 2-Button RF Wiegand Remote Transmitter - 433 MHz with HID Prox | 32 |  |
| EMX ULTRA-II Vehicle Loop Detector | 2 |  |
| ICARO Gate Operator | 1 |  |
| CP NYLON COATED STEEL RACK 3'3" SECTIONS | 6 |  |
| BLINKER/ ANTENNA | 1 |  |
| PHOTOCELL and Safety loop (presence loop) | 1 |  |
| Pole Mount Bracket for Card Readers | 2 |  |
| Cables | 1 |  |
| Electronic Security Design | 1 |  |
| Hardware Conduit and Misc. | 1 |  |
| Allow for three years Maintenance on gate access control system | 1 |  |
| Allow for three years Maintenance on the Automation Slide Gate Operator | 1 |  |
| Allow for "As-Built" Drawings | 1 |  |
| Access Control and Sliding Gate Automation labors | LS |  |

3.7 	CLIN 0007 - The Contractor shall Contractor shall supply and install razor wire on the unprotected perimeter wall, and supply and install a drain security grill to protect the compound perimeter with the following specifications:

| Perimeter Protection | Quantity: 1 |
| --- | --- |
| Item Description | Qty |  |
| Supply and install approximately 350 feet of razor wire and brackets on the unprotected perimeter wall | 1 |  |
| Supply drain security grill to protect the compound perimeter | 1 |  |
| Installation Labor | 1 |  |

- Evaluation Criteria:

All bidders must provide written confirmation dated within the last year that they are an authorized resellers, capable of honoring all requirements listed in this Statement of Work in the Latin American region, including next-day onsite and 24/7 technical support for five years for the Dell PowerScale A310 data storage system or equivalent; or provide and honor equivalent warranties, installation, configuration, deployment and maintenance services for equivalent products. Additionally, bidders must confirm they are an authorized reseller, able to provide the APC NetShelter SX 42U system with InRow cooling, Smart-UPS,(or equivalent products) and associated service plans (2-year Advantage Prime and warranty extension) as specified in the Latin American region, including installation and delivery to Port of Spain, Trinidad and Tobago, within 8 to 12 weeks of purchase order issuance; or provide and honor equivalent warranties, installation, configuration, deployment and maintenance services for equivalent products.

Bidders must also demonstrate the ability to deliver the building security, access control and CCTV system, including installation and service, meeting all requirements outlined in the SOW.

Award will be made to the lowest priced, technically acceptable, responsible bidder.

The Government reserves the right to reject proposals that are unreasonably low or high in price.

Bidders must submit quotations in the format of the Pricing Table in Section 5. The lowest price will be determined by multiplying the offered quantities times the unit prices in “Quantity” and “Unit Price,” respectively, and summing each line in the “Amount” in the submitted quotation.

The Government will determine contractor responsibility by analyzing whether the apparent successful offeror complies with the requirements of FAR 9.1, including:

- Adequate financial resources or the ability to obtain them to deliver a contract of this scope, including computer equipment, a security system, and vehicle rental services;

- Ability to comply with the required performance period (e.g., computer equipment delivery within 8-12 weeks) taking into consideration all existing commercial and governmental business commitments;

- Satisfactory record of integrity and business ethics

- Necessary organization, experience, and skills or the ability to obtain them, including expertise in IT equipment installation (Dell PowerScale, APC NetShelter), and security system integration

- Pricing Table

| Pricing Table |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CLIN | Description | Quantity | Unit | Unit Price/ $USD | Amount/ $USD |
| CLIN 0001 | Dell Pro 14 Plus with Dual Monitor Docking Station bundle or equivalent products | 16 | Lot |  |  |
| CLIN 0002 | Dell Pro Rugged 13 RA13250 bundle or equivalent products | 2 | Lot |  |  |
| CLIN 0003 | Dell PowerScale A310 Archive/ Hybrid 80TB usable storage unit bundle or equivalent products | 1 | Lot |  |  |
| CLIN 0004 | APC NetShelter Bundle or equivalent product | 1 | Lot |  |  |
| CLIN 0005 | Building Security, Access Control and CCTV Systems bundle | 1 | Lot |  |  |
| CLIN 0006 | Perimeter/gate system: Electronic Access Control with Automation System bundle | 1 | Lot |  |  |
| CLIN 0007 | Perimeter Protection | 1 | Lot |  |  |
| Shipping, Handling and Brokerage to Trinidad and Tobago (if applicable) |  |  |  |  |  |
| Total |  |  |  |  |  |

- Period of Performance

All commodities must be delivered to U.S. Embassy Port of Spain, by July 31, 2026.

- Place of Performance

Port of Spain, Trinidad and Tobago