PRESOLICITATION NOTICE

Transformer 1600 Watts

From: 700 CONS/PKA

Bldg 2767, Kapaun Air Station

D-67661, Kaiserslautern

POCs:

Contracting Specialist: Jonathan Rushin

E-mail:  jonathan.rushin@us.af.mil

TEL: 314-489-0080

Contracting Officer: 1LT Richard Hirth

E-mail:  richard.hirth.1@us.af.mil

TEL: 314-489-6783

Notice to Offeror(s)/Supplier(s):

Funds are not presently available for this effort. No award will be made under this solicitation until funds are available.  The Government reserves the right to cancel this solicitation, either before or after the closing date.  In the event the Government cancels this solicitation, the Government has no obligation to reimburse an offeror for any costs.

# Anticipated award date 30 September 2026

Due to the overseas location of this requirement, no set-aside will be used in accordance with RFO 19.000(b)(1)(ii). The North American Industry Classification System (NAICS) code associated with this requirement is 335311.  The Product Service Code (PSC) is 5950.   Evaluation of commercial items in accordance with RFO 52.212-2 will be utilized using most advantageous to the government.

Once solicited, all responsible sources may submit a quotation, bid, or proposal, as appropriate, which will be considered by the agency.

Description of Requirement:

200 Transformers

-Must be 1600 Watt.

-Transformer 220/240 Volt to 110 Volt.

-Must be step down only.

-All EU plugs must be dual polarity.

-Steel sheet housing must be gray color.

-Must have portable handle.

-Single phase FFP-self cooling.

-2-meter flexible cable, shuko plug type F.

-Must have 2 each U.S. socket only compatible with plugs type A & B.

-Must have 2 primary circuit breaker 4,5 AMP to react as overload and to be used as an on-off switch.

-Location of circuit breaker/on-off switch must be in the front centered above socket.

Interested offerors are encouraged to provide a tech sheet and/or photos of the item you intend to quote.