Statement of Work

Rigging and Electrical Services

1.0 Scope

The Government requires installation and rigging services and electrical hook-up to complete the setup of machines at the Building 122 Model Shop located at Naval Surface Warfare Center, Crane Division (NSWC-CR) located in Crane, Indiana.  These efforts include providing all necessary personnel, equipment, tools, materials, and transportation to perform the requirement defined in this Statement of Work (SOW).  The scope is limited to the tasks specified herein; no facility construction or modification is authorized under this SOW.

2.0 Applicable Documents

2.1 Other Government Regulations / Standards / Publications

Occupational Safety and Health Act (OSHA) (Public Law 91-596)

Occupational Safety and Health Administration (29 CFR Part 1910)

Safety and Occupational Health Requirements (EM 385-1-1)

NSWCCRANEINST 5510.1A	Security Policy, Procedures, and Program Manual

NSWCCRANEINST 5530.1A	Physical Security Policy Manual

3.0 Performance Requirements

3.1 Rigging Services

3.1.1 The contractor shall provide and operate all required rigging equipment for removal, transport and placement of all machines.  Contractor will ensure all necessary permits and licenses are obtained to move and operate machinery IAW with all Federal and State Laws as well as any additional compliances required by the DoD and Navy as noted in 2.1 of this SOW.  All load handling equipment (LHE) operations are required to be completed in accordance with EM 385-1-1, Chapter 16. The requirements apply to all LHE with a hoisting or lifting capacity over 2,000 lbs. (907.2 kg).  LHE includes cranes, derricks, hoists, and power-operated equipment (excavators, forklifts, rough terrain equipment) when used with rigging that can raise, lower, and horizontally move a suspended load.

3.1.2 Government requirements will be specified in detail in individual calls at the time of need.  Services may encompass the following types of tasking:

- Offloading new machinery from delivery transport and moving the equipment to its designated position on the shop floor as identified by the Government Technical Point of Contact (TPOC).

- Relocating existing machinery to new designated positions within the facility.  That Contractor shall have the capability to move heavy equipment up to 60,000 pounds within a constrained industrial facility.

- Placing, leveling, and anchoring the machinery in accordance with the manufacturer's installation manual.

- Removal and disposal of decommissioned equipment

3.1.3 Various types of equipment may be required and will depend on the individual machine’s weight and size.  Rigging hardware may include, but is not limited to, the following:

- High-capacity forklifts

- Gantry Cranes

- Air Skates / Air Dollies

- Machine Skates & Rollers

- Spreader Bars & Lifting Slings

- Hydraulic Toe Jacks & Composite Cribbing Blocks

4.0 Security

The Contractor shall comply with the Security requirements of NSWCCRANEINST 5510.1A and NSWCCRANEINST 5530.1A. Government escorts may be required depending on the classification of the building

or location and the work required. Foreign national visitors will require special approvals prior to visiting the

Command and require Government escorts.

4.1 The Vendor/Contractor personnel shall provide personal identifying information in advance of any personnel

that will be traveling to NSWC Crane Indiana to the Government point of contact. Must be an authorized employee

of the vendor. Employee must be a U.S. Citizen with proper identification. The Vendor/Contractor personnel will be

required to work in Government spaces and may require Government escort. The Vendor/Contractor is required to

coordinate with the Government the dates that access will be required for any work efforts five days in advance. The

Government reserves the right to deny access for any request.

4.2 The Vendor/Contractor personnel shall physically access government facilities and installations for purpose of

the work to be performed within government spaces. Individuals supporting these efforts shall comply with the

latest security regulations applicable to the Government facility/installation.

4.2.1 Depending on the facility, vendor/contractor personnel shall present a proper form of identifications(s)

and vehicle proof of insurance or vehicle rental agreement. Employee must be a U.S. Citizen with proper

identification.

4.2.2 All Vendor/Contractor personnel engaged in work while on government property shall be subject to

inspection of their vehicles at any time by the government, and shall report any known or suspected security

violations to be local host Security Department.

5.0 Occupational Safety, Health and Environmental Requirements

The contractor shall be responsible for ensuring the safety of all company employees, other working personnel, and Government property. The contractor is solely responsible for compliance with the Occupational Safety and Health Act (OSHA) (Public Law 91-596) and the resulting applicable standard, OSHA Standard 29 CFR 1910 (general), and for the protection, safety and health of their employees and any subcontractors assigned to perform work under this Purchase Order.   These regulations apply to all related work, as defined in the regulations.  Nothing contained in this contract shall be construed as relieving the Contractor from any obligations which it may have for compliance with the aforesaid regulations.