Please complete the RFI information sheet and notify this agency if your company can provide a CARRIER or TRANE unit, the model number, and other information these services IAW the specifications identified in item 7 by 3 pm EST on March 27, 2026.

- This is a Request for Information (RFI) on your ability to provide and transport a commercial with the following specifications for the unit (must be either a Carrier or Trane brand chill water HVAC system only):

- 460 Volt / 60 Hertz / 3 Phase

- MCA: 369.4 A (Existing: 404 A)

- MOP: 500 A (Existing: 500 A)

- Single Point Unit Power Connection

- Circuit Breaker Factory

- Evaporator Heat Trace for Freeze Protection [Separate 120V/1Ø 20A Fused Circuit Required]

- UL Listed to U.S. Safety Standards

- AHRI Certified & ASHRAE 90.1 2019 - Compliant

- Low Ambient Head Pressure Control (0 deg F → 105 deg F)

- ASME Pressure Vessel Code R513A, Factory Refrigerant Charge

- Standard Sound Attenuation

- Grooved Pipe Connection

- Factory Installed Flow Switch

- 3/4" Factory Applied Insulation to All Cold Parts

2. Request Issue Date

03/25/2026 3:20 PM EST

- Request Close Date

03/27/2026 03:00 PM EST

- Award Method

Undecided (RFI Only)

- Ordering Contracting Officer

Brittney L. Osborne, SrA

Contracting Officer

Department of the Air Force

(757) 764-3576

6. Ordering Contracting Specialists

DONALD BLACKWELL

Department of the Air Force

donald.blackwell.1.ctr@us.af.mil

Phone: (757) 764-7427

7. Categories MAS/333415HVAC

Actions taken by the Buyer on the Request Delivery

240 days After Receipt of Order (ARO)

If your company can provide a CARRIER or TRANE brand Chill water HVAC chiller model to meet the specifications, please respond with the information below:

Please provide the following details (if they apply):

- Please respond with your:

  - Business Name: __________________________________

  - POC: __________________________________

  - Phone Number: __________________________________

  - Email address: __________________________________

- Provide: NAICS Code ____________ /PSC ___________, that your company provides alteration and dry-cleaning services under.

- Provide UEI _____________________

- Do you have a GSA contract? (Please list the contract number) ___________________

- Is your organization registered in DSBS or SAM.gov? _______________