PERFORMANCE WORK STATEMENT (PWS)

LAMS Maintenance Service

09 March 2026

Part 1

General Information

1.  General:  This is a non-personal service(s) contract under which the personnel rendering the service(s) are not subject, either by the contract’s terms or by the manner of its administration, to the supervision and control usually prevailing in relationships between the Government and its employees.

1.1  Description of Services/Introduction:  This is a non-personal service(s) contract to provide The Contractor shall provide management, supervision, personnel, labor, subcontractor oversight and supervision, and generalized or specialized equipment and materials necessary.  and non-personal services necessary to perform quarterly maintenance once every 3 months as defined in this Performance Work Statement (PWS).

1.2  Background: The Large Area Maintenance Shelter (LAMS) structure is outfitted with XFS Global LLC fabric and has an approximate size of 75'Wide x 87'Long (7 Bays), 14' high at the eave, and 30' high at apex of structure. The LAMS is used to conduct MILES installation ISO the ID units training exercises, MILES training, and other training for the division.

1.3  Scope:  The Contractor shall provide non-personal service(s). The Contractor shall perform the following tasks on site: Conduct maintenance of the LAMS structure in accordance with manufacturer instructions. Provide all material/fabric handling equipment consisting of one (1) manlift and supplies required to conduct a full maintenance check. List all parts required for maintenance of this shelter on the first site visit. The unit will be responsible for procuring these parts before the next site visit. Inspect shelter for overall structural integrity and condition. List any worn, damaged, or broken parts, holes or tears in fabric, areas of concern, and performance status. Inspect all entry access points to proper operating standards (personnel doors, roll-up doors, full-width doors, etc.). Inspect and adjust all fabric connections to proper standards per manufacturer’s specifications. (Tensioning of fabric panels, door and accessory connections, fabric duct boots, HVAC ducting, fabric to ground connections, etc.) Inspect all electrical components (lighting, switches, electrical connections, etc.) Note: the customer is responsible for ensuring that there is appropriate electrical power to properly inspect and adjust electrical system and components, to include winches. Patch any repairable punctures/holes/tears in fabric to prevent further damage. Inspect all cables for signs of wear, pinching, fraying, or damage. Inspect all anchoring and ground connections for signs of inadequate holding. Advise the appropriate users on shelter operating techniques (doors, winches, etc.). Perform a final inspection with the designated Government POC. Provide mission reports for each maintenance including photographs showing the full extent of repairs and maintenance. Perform full inspection and PM service on two Trane 10-ton ECUs. For the first visit, in addition to the normal PM package, quote a “heavy” package that includes replacing belts and anything else that might be recommended for ECUs that haven’t had maintenance performed in a while. The PM will conduct normal services on the second visit.

1.4 Objectives:  Provide inspection of the shelter for overall structural integrity, identity of worn damaged, unserviceable or broken parts and patch any repairable punctures/holes/tears in the fabric to prevent further damage. This contract will extend the life of the shelter.

1.5 General Information:

1.5.1 Quality Control Plan (QCP): The Contractor shall develop and maintain a QCP to ensure services are performed in accordance with (IAW) this PWS. The Contractor shall develop and implement procedures to identify, prevent, and ensure non-recurrence of defective services. The Contractor's QCP is the means by which it assures that the work provided complies with the requirements of the contract.

The Contractor’s Proposed QCP shall be submitted to the Contracting Officer (KO) through the Contracting Officer’s Representative (COR) for review within ten (10) days after date of contract award.

The Government will review and either notify the Contractor in writing of acceptance of the plan or return their comments to the Contractor within ten (10) days. If the Government has provided comments, the Contractor shall then have ten (10) days to submit a Final QCP. After receipt of the Final QCP, the Contractor may receive the Contracting Officer’s acceptance in writing. Any proposed changes to the accepted QCP are required to be resubmitted for acceptance by the Contracting Officer no later than ten (10) days prior to the anticipated change and before implementation by the Contractor. The timeline noted above will apply for review and acceptance for proposed changes. At a minimum, the QCP must include and answer the following to be acceptable:

(a) A chart showing the organizational structure and lines of authority, the names, qualifications, duties, responsibilities, and classification of each member of the Contractor's Quality Control Team.

(b) How the Contractor will monitor work to ensure performance complies with all deliverables (etc. timelines, deadlines, and goals);

(c) How the Contractor will monitor work to ensure performance complies with all specifications and requirements of the contract, including the contract’s clauses.

(d) How the Contractor will monitor and ensure staff qualifications remain current and valid including Department of Defense (DoD) Contractor Personnel Office (DOCPER) processes/approvals throughout contract performance.

(e) How the Contractor will ensure all keys issued will remain controlled items (Paragraph 1.7 Key Control);

(f) How the Contractor will inventory, and track maintenance of all Government Provided Equipment / Materials.

(g) How the Contractor will identify, investigate, and correct any non-conforming performance and prevent similar deficiencies in the future; and

(h) How the Contractor will file and save all Quality Control related documents for the life of the contract plus 5 years.

1.5.1.1 RESERVED

1.5.1.2 The Contractor shall inform the COR of issues or potential issues that might affect the performance within two (2) hours of identifying those issues. Verbal reports shall be followed up by written reports within two (2) days.

1.5.2 Quality Assurance:  The Government will evaluate the Contractor’s performance under this contract in accordance with the Quality Assurance Surveillance Plan (QASP). This plan is primarily focused on what the Government must do to ensure that the Contractor has performed in accordance with the performance standards. It defines how the performance standards will be applied, the frequency of surveillance, and the acceptable quality levels (performance thresholds).

1.5.3 Recognized Holidays:  The following provides information on recognized holidays for the purpose of the PWS. If submittal of any documentation (e.g. deliverables, submittals, etc.) deadlines fall on a holiday, the closest work day prior to the holiday will apply as the deadline for submittal.

1.5.3.1 U.S. Holidays: Work shall not be performed on U.S. federally recognized holidays occurring during the normal workweek unless otherwise directed by the Contracting Officer. When a U.S. holiday occurs on a Saturday or a Sunday, the holiday is observed on the preceding Friday or following Monday, respectively.

New Year’s Day January 1st			M. L. King Memorial Day 3rd Monday in Jan

Presidents’ Day 3rd Monday in February		Memorial Day last Monday in May

Juneteenth June 19th                                          Independence Day July 4th

Labor Day 1st Monday in September                  Columbus Day 2nd Monday in October

Veteran’s Day November 11th                            Thanksgiving Day 4th Thursday in November

Christmas Day December 25th

1.5.4 Operating Hours:  The Government facility office hours, facility operating hours, and the Contractor support hour requirements often coincide, however, they may differ. Please refer to the following.

1.5.4.1 Government Facility Office Hours:  The Government facility office hours are 7:30 am - 5:00 pm Central Standard Time Monday through except U.S. Holidays identified in paragraph 1.5.3.1 above or when the Government facility is closed due to local or national emergencies, administrative closings, or similar Government directed facility closings.

1.5.4.2 Government Facility Operating Hours:  The Government facility operating hours occur between the hours of 0600 to 1800, Monday through Friday. The Government facility may close due to local or national emergencies, administrative closings, or similar Government directed facility closings and will be communicated by the Contracting Officer to the Contractor.

1.5.4.3 Contractor Support Hours:  RESERVED

1.5.4.3.1 Contractor Work Plan: The Contractor shall prepare and maintain a Work Plan. The plan, as a minimum, shall identify regularly scheduled work (to include location, work to be completed, timeline, etc.). The Contractor’s proposed Work Plan shall be submitted to the Contracting Officer via the COR for review within five (5) days after date of contract award. The Government will review and either accept or return their comments to the Contractor within ten (10) days. The Contractor shall then have three (3) days to submit a Final Work Plan. Any proposed change to the accepted Final Work Plan is required to be resubmitted via the COR for review and acceptance by the Contracting Officer at a minimum thirty (30) days prior to implementation. The timeline noted above shall apply for review and acceptance for proposed changes.

1.5.5 Training Holidays: 1st Infantry Division has historically granted military personnel training holidays as compensation for time that they spent in field training. These are typically combined with regular holiday leave schedules (for example, Christmas half days or day on day off schedules). Training holidays may affect access to military operated facilities. If scheduled work or access to facilities is required, coordination with occupants will be necessary or the work in affected facilities shall be rescheduled after the training holiday. However, announced training holidays or exodus of military personnel may provide the Contractor with an opportunity for unrestricted access to facilities and areas. The Contractor shall take full advantage of such opportunities by planning maintenance or actions that are better accomplished when such areas are vacant.

1.5.6 Place of Performance:  The work to be performed under this contract will be performed at BLDG 77680 Armistead Road, Fort Riley, KS 66442.

1.6 Security Requirements:  The following information is provided on security related matters.

1.6.1 Security Program: Contractor personnel performing work under this contract must have a clear local background check at time of the proposal submission, and must maintain the level of security required for the life of the contract. The security requirements are IAW with the DoD Contract Security Classification Specification (DD Form 254), which is currently accessible at the following link:  http://www.dtic.mil/whs/directives/forms/eforms/dd0254.pdf

1.6.2 Personnel Security Clearance Requirements: RESERVED

1.6.3 Installation Access:  Access to U.S. installations, buildings and controlled areas is limited to personnel who meet security criteria and are authorized. Failure to submit required information/data and obtain required documentation or clearances will be grounds for denying access to U.S. installations, buildings and controlled areas. The Contractor shall ensure that any subcontractors used in performance of this contract complies with these requirements and that all employees, of both the Contractor and any subcontractor utilized by the Contractor, are made aware of and comply with these requirements.

The Contractor shall be aware of and comply with the requirements associated with Installation Access Control. The Government is not liable for any costs associated with performance delays due solely to a firm’s failure to comply with Installation Access Control System (IACS) processing requirements.

The Contractor shall return installation passes to the issuing IACS office when the contract is completed or when a Contractor employee no longer requires access.

1.6.3.1 Installation Pass Log:  Contractor and all associated sub-contractors’ employees shall comply with adjudication standards and procedures using the National Crime Information Center Interstate Identification Index (NCIC-III) and Terrorist Screening Database (TSDB) (Army Directive 2014-05/AR 190-13). In addition, the Contractor shall provide the Contracting Officer, via the COR, an Initial Installation Pass Log within three (3) calendar days after contract award. The log must at a minimum contain the following information: Name, Title, Phone number, email address, and date AT Level 1 Training was completed. The log shall be updated as employees are added or removed. The Updated Installation Pass Log shall be current and available at any time upon request by the Government and submitted to the COR within five (5) days after any changes to the log.

1.6.3.2 Individual Termination or Expiration of Employment: The Contractor shall collect the installation access passes the same day employment of an individual has expired or has been terminated and shall return them to the issuing office within one (1) day.

1.6.3.3 Contract Termination or Cancellation: Upon termination or cancellation of this contract, the Contractor shall collect all outstanding installation access passes and return them to the issuing office within three (3) days.

1.6.3.4 Common Access Cards (CAC) and CAC Log: RESERVED

1.6.4 Background Checks:

1.6.4.1 U.S. Citizen:  RESERVED

1.6.4.2 Local Nationals and Third Country Nationals: RESERVED

1.6.5 Physical Security:  The Contractor shall safeguard all Government equipment, information, and property provided for Contractor use. At the close of each work period, Government facilities, equipment, and materials shall be secured IAW the Army Physical Security Program (AR 190-13).

1.6.6 Operations Security (OPSEC) Requirements: Contractor personnel shall adhere to facility security policies and restrictions. The Contractor shall immediately report suspicious activities to security personnel. No photos are authorized unless the contractor has received a brief and gained written authorization from the Garrison OPSEC Officer: Mr. Jason Fitzpatrick @ jason.d.fitzpatrick.civ@army.mil or (785) 239-6303 / Mr. Shane Houle @ shane.m.houle.civ@army.mil or (785) 240-1993. Photos must be approved on the original device the photos were taken on prior to publication or distribution.

1.7 Key Control:  The Contractor shall establish and implement methods of making sure all keys issued to the Contractor by the Government are not lost or misplaced and are not used by unauthorized persons. NOTE: All references to keys include key cards. No keys issued to the Contractor by the Government shall be duplicated. The Contractor shall develop procedures covering key control that shall be included in the Contractor’s Security Plan and the Quality Control Plan. Such procedures shall include turn-in of any issued keys by personnel who no longer require access to locked areas. The Contractor shall immediately report any incidents of lost or duplicate keys to the Contracting Officer. In the event keys, other than master keys, are lost or duplicated, the Contractor shall, upon direction of the Contracting Officer, re-key or replace the affected lock or locks; however, the Government, at its option, may replace the affected lock or locks or perform re-keying. When the replacement of locks or re-keying is performed by the Government, the total cost of re-keying or the replacement of the lock or locks shall be deducted from payment due to the Contractor. In the event a master key is lost or duplicated, all locks and keys for that system shall be replaced by the Government and the total cost deducted from the payment due to the Contractor. The Contractor shall prohibit the use of Government issued keys by any persons other than the Contractor’s employees. The Contractor shall prohibit the opening of locked areas by Contractor employees to permit entrance of persons other than Contractor employees engaged in the performance of assigned work in those areas, or personnel authorized entrance by the Contracting Officer. The Contractor shall establish and implement methods of ensuring that all lock combinations are not revealed to unauthorized persons. The Contractor shall ensure that lock combinations are changed when personnel having access to the combinations no longer have a need to know such combinations. These procedures shall be included in the Quality Control Plan.

1.8 Post Award Conference/Periodic Progress Meetings:  The Contractor shall attend any post award conference convened by the contracting activity or contract administration office in accordance with FAR Subpart 42.5. The Contracting Officer, COR, and other Government personnel, as appropriate, may meet periodically with the Contractor to review the Contractor's performance. At these meetings the Contracting Officer will apprise the Contractor of how the Government views the Contractor's performance and the Contractor shall apprise the Government of problems, if any, being experienced. Appropriate action shall be taken to resolve outstanding issues. These meetings shall be at no additional cost to the Government.

1.8.1 The Contractor shall attend, participate in, and furnish input to scheduled and unscheduled meetings, conferences, and briefings that relate to the functions and services herein as required by the Government to provide effective communication and impart necessary information. The Contract Manager or designated representative shall attend meetings as requested by the Government. Meeting attendees shall at times include Contractor managerial, supervisory, and other personnel knowledgeable of the subject matter. Meetings may start or end outside of regular duty hours.

1.9 Contracting Officer’s Representative (COR):  Refer to Part 2 of this PWS for the definition of a COR. As determined by the Contracting Officer, a COR will be appointed and identified by letter of designation, a copy of which will be provided to the Contractor by the Contracting Officer. The designation letter states the responsibilities and limitations of the COR, especially with regard to changes in cost or price, estimates, or changes in delivery dates. The COR is not authorized to change any of the terms and conditions of the resulting order. The COR monitors all technical aspects of the contract and assists in contract administration. The COR is not authorized to obligate the Government. If the work is not written in the contract, the COR is not authorized to request new work. The COR is authorized to perform the following functions: assure that the Contractor performs the technical requirements of the contract, perform inspections necessary in connection with contract performance, maintain written and oral communications with the Contractor concerning technical aspects of the contract, issue written interpretations of technical requirements, including Government drawings, designs, specifications, monitor Contractor's performance and notifies both the Contracting Officer and Contractor of any deficiencies, coordinate availability of Government property, and coordinate site entry of Contractor personnel.

1.10 Key Personnel:  The following personnel are considered key personnel by the Government: Local Program Manager, Alternate Local Program Manager, and Quality Control Manager. The Contractor shall provide a Program/Contract Manager who shall be responsible for the performance of the work. The name of this person and an Alternate Program/Contract Manager, who shall act for the Contractor when the Program/Contract Manager is absent, along with a Curriculum Vitae (CV) for each of these individuals, shall be provided in writing to the Contracting Officer no later than no later than five (5) days after contract award. The Contract Manager and Alternate Contract Manager shall have full authority to act for the Contractor on all contract matters relating to daily operation of this contract. Qualifications for all key personnel are listed below:

a.  Local Program Manager and Alternate Local Program Manager: The Contractor shall provide a Local Program Manager who shall be responsible for the performance of the work. The name of this person and an Alternate Local Program Manager, who shall act for the Contractor when the Local Program Manager is absent, along with a Curriculum Vitae (CV) for each of these individuals, shall be provided in writing to the Contracting Officer no later than no later than five (5) days after contract award. The Contract Manager and Alternate Contract Manager shall have full authority to act for the Contractor on all contract matters relating to daily operation of this contract. The Contract Manager or Alternate Contract Manager shall be available between the hours and day that have been identified in paragraph 1.6.4.  The Local Program Management shall have a minimum of 5 years’ experience overseeing the type of operation being performed.  The Alternate Local Program Management shall have a minimum of 3 years’ experience overseeing the type of operation being performed.

b.  Quality Control Manager:  The Quality Control Manager shall have a minimum of 5 years’ experience providing oversight of contract work and a minimum of 3 years’ experience overseeing the type of work being performed under this contract.

1.11 Identification of Contractor Employees:  All Contractor personnel attending meetings, answering Government telephones, and working in other situations where their contractor status is not obvious to third parties must identify themselves, to include proper marking of signature blocks in correspondence, to avoid creating an impression in the minds of members of the public that they are Government officials. The Contractor shall ensure that all documents or reports, produced by Contractors are suitably marked as Contractor products or that Contractor participation is appropriately disclosed.

1.12.1 RESERVED

1.12.2 Contractor Identification Badges:  Contractor personnel shall be easily identifiable through the display of badges IAW Contractor Identification. The Contractor shall provide its employees with a laminated identification badge (3”x5”) containing the following information:

a. Employee Name

b. Photograph of Employee

c. Contractor Name

d. Contractor Local Telephone Number

e. Contract Name

f. Contract Number

1.13 Contractor Travel: RESERVED

1.14 Other Direct Costs (ODCs): RESERVED

1.15 Data Rights: RESERVED

1.16 Non-Disclosure Requirements: RESERVED

1.17  Protection of Government and Contract Information: Per Public Use Notice of Limitations stated by Defense imagery Management operations Center and contained at  www.dimoc.mil/resources/limitations/ the Contractor shall not cite any information (e.g., contract information, pictures, locations, etc.) obtained through this contract on any hard copy or digital marketing tools to include its company website.

1.18 Non-Disclosure Statements:  The Contractor shall provide signed non-disclosure agreements to the Government no later than five (5) days prior to commencement of work under the contract. Disclosure of information by Contractor personnel may result in removal of Contractor personnel from performance under this contract.

1.19 Organizational Conflict of Interest (OCI):  RESERVED

1.20 Phase In /Phase Out Period: RESERVED

1.21 Safety:  The following provides information pertaining to Safety and Accident Prevention:

1.21.1 Safety Laws and Regulations:  The Contractor shall comply with FAR 52.236-13, Accident Prevention (November 1991), the references contained therein (e.g. U.S. Army Corps of Engineers Safety and Health Requirements Manual (EM 385-1-1)).

The requirements under FAR 52.236-13 and specifically of the EM 385-1-1 include, but are not limited to the following:

(a) Before initiation of work at the job site, an Accident Prevention Plan, written by the Contractor for the specific work and hazards of the contract and implementing in detail the pertinent requirements of EM 385-1-1; will be reviewed for acceptance by designated Government personnel. Specific requirements for development of the Accident Prevention Plan are found in 01.A and Appendix A of EM 385-1-1. EM 385-1-1 is available online at www.usace.army.mil.

(b) Before beginning each activity involving a type of work presenting hazards not experienced in previous project operations or where a new work crew or subcontractor is to perform work, activity hazard analysis (AHA) shall be prepared by the Contractor performing the work activity (See paragraph 01.a.09 of EM 385-1-1);

(c) The Contractor shall require subcontractors to submit their plan of operations showing methods they propose to use in accomplishing major phases of work.

(d) The Contractor shall discuss the plans in conferences convened by the Contracting Officer prior to starting work on each major phase of operation. Plans shall include all pertinent information such as layout of haul roads, access roads, storage areas, electrical distribution lines, methods of providing minimum exposure to overhead loads, and methods of access to work areas. The plan for accomplishing the initial work phase shall be submitted within fifteen (15) calendar days after award of the contract. Plans for subsequent major phases of work shall be submitted no later than fifteen (15) calendar days prior to initiation of work on each major phase; and

(e) In all areas where construction, demolition, alteration, building, or similar related activities take place, the Contractor shall have the following minimum personal protective clothing and equipment requirements in place for any person working on or visiting the site:

(i) Short sleeve shirt.

(ii) Long trousers.

(iii) Steel-toed safety boots; and

(iv) Hard hat.

1.21.1.1 In addition to other requirements for accident prevention specified in this contract, the Contractor shall comply with all Federal and State requirements governing safety and health protection on construction sites and other applicable occupational safety codes.

The Contractor shall indicate its plan for compliance considering conditions of the work described by the design, technical proposal, operational activities of the Government or others in the area of the work, identification of the coordinator, and implementation of all other accident prevention provisions of this contract.

1.21.1.2 The Contractor shall complete and provide safety notifications required and will provide documented proof to the Contracting Officer via the COR, no later than five (5) days that such notifications were made.

1.22 Environmental Compliance:  The Contractor shall comply with all Federal, State, local, and installation environmental laws, rules, and plans. The Contractor shall use, store, and dispose of all materials, chemicals, and equipment used in the performance of services on the installation IAW with industry standards, local, Federal and State laws, and according to manufacturers’ recommendations. The Contractor shall be financially liable for all fines and associated costs for non-compliance with local, Federal and State laws regarding hazardous waste management including but not limited to: hazardous materials spillage, improper handling and transportation and improper waste disposal. The Contractor shall make all environmental and hazardous material records available the next duty day upon request from the KO or designated Government representative.

1.23 Required Training:  The following provides information on training requirements.

1.23.1 Anti-Terrorism (AT) Level I Training:  All Contractor employees, including subcontractor employees, who are employed under the contract, shall complete AT Level I Training within ten (10) days after contract start date or effective date of incorporation of this requirement into the contract, whichever applies, or ten (10) days after employment of new personnel. Contractor personnel travelling overseas shall complete area of responsibility (AOR) specific AT awareness training for U.S. based Contractor employees and associated subcontractor employees. The Contractor shall submit certificates of completion for each affected Contractor employee and subcontractor employee to the COR (or to the Contracting Officer, if a COR is not assigned) within five (5) days after completion of this training by all employees and subcontractor personnel.  AT Level I awareness training is available at https://jkodirect.jten.mil. Contractor personnel shall complete refresher training every twelve (12) months except AOR specific AT Level I training which shall be completed as required by local AT policies

If training cannot be conducted on the website, the Contractor shall coordinate with the COR who will contact the local AT Officer at their assigned location for classroom training. Contractor personnel completing training in the classroom will receive a certificate or the training attendance roster signed by the AT Officer. Verification of the training shall be provided to the COR within five (5) days after completion of the training.

1.23.2 OPSEC Training:  All Contractor employees, including subcontractors, shall complete Level I OPSEC training within ten (10) days of employment under this contract. Verification of the training shall be provided to the COR within five (5) days after completion of the training. OPSEC Level I training is available at http://www.cdse.edu/catalog/elearning/GS130.html. Contractor personnel must complete refresher training every twelve (12) months. Verification of the training shall be provided to the COR within five (5) days after completion of the training.

If training cannot be conducted on the website, the Contractor shall coordinate with the COR, who will contact the local OPSEC Officer at their assigned location for classroom training. Contractor personnel completing training in the classroom will receive a certificate or the training attendance roster signed by the OPSEC Officer. Verification of the training shall be provided to the COR within five (5) days after completion of the training.

1.23.3 iWATCH Training:  The Contractor and all associated subcontractors shall brief all employees on the local iWATCH program (training standards provided by the requiring activity ATO). This locally developed training will be used to inform employees of the types of behavior to watch for and instruct employees to report suspicious activity to the COR. This training shall be completed within ten (10) days after the contract is awarded and within ten (10) days after new employees commence contract performance, with the results reported to the COR within five (5) days after the contract is awarded and within five (5) days after new employees commence contract performance. Verification of the training shall be provided to the COR within five (5) days after completion of the training. Training slides can be found on the Army OneSource we site: http://www.myarmyonesource.com/familyprogramsandservices/iwatchprogram/default.aspx

1.23.4 Information Assurance (IA) Training: RESERVED

1.24  RESERVED

1.24.1 Contractors performing services in the Federal Republic of Germany (FRG) shall comply with German law. The Contractor shall determine whether performance requires registration with German authorities or authorization to do business in Germany and, if so, shall comply with all requirements. Whether or not registration or authorization to do business is required, the Contractor shall determine what documents or authorization its employees and any subcontractor employees must possess to work in Germany. The Contractor shall ensure affirmatively that its employees and subcontractor employees possess such documents or authorizations.

1.24.2 Contractor employees who: (a) are not nationals of Germany or other European Union countries; (b) are not members of the force, the civilian component or their dependents; or c) do not have assimilated status under Articles 71, 72, or 73 of the Supplementary Agreement to the North Atlantic Treaty Organization Status of Forces Agreement shall possess work and residence permits.

1.24.3 By acceptance of and performance under this contract, the Contractor affirms that it has complied with the requirements above. Compliance with this requirement and German law is a material contract requirement. Noncompliance by the Contractor or subcontractor at any tier shall be grounds for issuing a negative past performance evaluation and terminating this contract for default.

1.25 Notice to Proceed:  If there is a notice to proceed will be provided as indicated below.

☐The effective date of contract will constitute the date of notice to proceed

☐A notice to proceed letter will be issued

☐The date of the letter transmitting the contract will constitute the date of the notice to proceed

1.26 Electromagnetic Compatibility Directive: RESERVED

1.27 Government Property and Services:  Refer to Part 3 of this PWS for Government property (GP) for this contract.

PART 2

DEFINITIONS & ACRONYMS

2.  Definitions and Acronyms

2.1 Definitions:  Although not inclusive of every term used within this PWS, the following provides a list of definitions used throughout this PWS and commonly used in the acquisition field.

Contracting Officer – means a person with the authority to enter into, administer, and/or terminate contracts and make related determinations and findings on behalf of the Government. Note: The only individual who can legally bind the Government.

Contracting Officer's Representative (COR) – As defined in DFARS 202.101, means an individual designated and authorized in writing by the Contracting Officer to perform specific technical or administrative functions. DoD Instruction (DoDI) 5000.72, Part II Definitions states the following when defining a COR: “Defined in subpart 202.101 of Reference (f). Any individual delegated responsibilities pursuant to subpart 1.602-2 of Reference (e), regardless of local terminology, must be certified in accordance with this instruction. For example, local terminology can be COR, Contracting Officer’s technical representative, technical point of contact, technical representative, alternate COR, administrative COR, assistant COR, line item manager, task order manager, quality assurance personnel, quality assurance evaluator, or COR management.” In addition, Army Regulation 70-13, Chapter 2, paragraph 2-2g, states, in part, the following when providing other surveillance support personnel to assist the COR when needed, “…These other surveillance support personnel may serve as on-site representatives of the COR in performance of actual contract surveillance if they meet all COR requirements and have been appointed by the Contracting Officer as alternate CORs.”

Contractor – means a supplier or vendor awarded a contract to provide specific supplies or service to the Government. The term used in this contract refers to the prime.

Contractor-acquired Property - means property acquired, fabricated, or otherwise provided by the Contractor for performing a contract and to which the Government has title.

Day – means, unless otherwise specified, a calendar day.

Defective Service – means a service output that does not meet the standard of performance associated with the Performance Work Statement.

Deliverable – means anything that can be physically delivered but may include non-manufactured things such as meeting minutes or reports.

Equipment - a tangible item that is functionally complete for its intended purpose, durable, nonexpendable, and needed for the performance of a contract. Equipment is not intended for sale and does not ordinarily lose its identity or become a component part of another article when put into use. Equipment does not include material, real property, special test equipment or special tooling.

Government-furnished Property – As reflected in FAR 52.245-1, Government-furnished Property “means property in the possession of, or directly acquired by, the Government and subsequently furnished to the Contractor for performance of a contract. Government-furnished property includes, but is not limited to, spares and property furnished for repair, maintenance, overhaul, or modification. Government-furnished property also includes contractor-acquired property if the contractor-acquired property is a deliverable under a cost contract when accepted by the Government for continued use under the contract

Government Property - means all property owned or leased by the Government. Government property includes both Government-furnished and Contractor-acquired property. Government property includes material, equipment, special tooling, special test equipment, and real property. Government property does not include intellectual property and software.

High Level Objective (HLO) – means a key overarching result-based objective for a project necessary to achieve the project’s vision. HLOs are similar to Level 2 in a Work Breakdown Structure. Each HLO may contain several statements to flesh out the areas necessary to meet the objective.

Key Personnel - contractor personnel that are evaluated in a source selection process and that may be required to be used in the performance of a contract by the Key Personnel listed in the PWS. When key personnel are used as an evaluation factor in best value procurement, an offer can be rejected if it does not have a firm commitment from the persons that are listed in the proposal. The prime contractor is responsible for performance of all subcontractors.

Loss of Government Property - unintended, unforeseen or accidental loss, damage, or destruction of Government property that reduces the Government’s expected economic benefits of the property. Loss of Government property does not include occurrences such as purposeful destructive testing, obsolescence, normal wear and tear, or manufacturing defects. Loss of Government property includes, but is not limited to:

- Items that cannot be found after a reasonable search.

- Theft.

- Damage resulting in unexpected harm to property requiring repair to restore the item to usable condition; or

- Destruction resulting from incidents that render the item useless for its intended purpose or beyond economical repair.

Material - property that may be consumed or expended during the performance of a contract, component parts of a higher assembly, or items that lose their individual identity through incorporation into an end-item. Material does not include equipment, special tooling, and special test equipment or real property.

Non-Personal Services - the personnel rendering the services are not subject, either by the

contract’s terms or by the manner of its administration, to the supervision and control usually prevailing in relationships between the government and its employees. Non personal service contracts are authorized by the government in accordance with FAR 37.012, under general contracting authority, and do not require specific statutory authorization.

Physical Security - actions that prevent the loss or damage of Government property.

Property - all tangible property, both real and personal.

Property Administrator - means an authorized representative of the Contracting Officer appointed in accordance with agency procedures, responsible for administering the contract requirements and obligations relating to Government property in the possession of a Contractor.

Physical Security – means that part of security concerned with physical measures designed to safeguard personnel; to prevent unauthorized access to equipment, installations, material, and documents; and to safeguard against espionage, sabotage, damage, and theft.

Quality Assurance – (or Government contract quality assurance) means the various functions, including, inspection, performed by the Government to determine whether a Contractor has fulfilled the contract obligations pertaining to quality and quantity.

Quality Assurance Surveillance Plan (QASP) – means the key Government-developed surveillance process document and is applied to Performance-Based Service Contracting (PBSC). The QASP is used for managing Contractor performance assessment by ensuring that systematic quality assurance methods validate that Contractor quality control efforts are timely, effective, and are delivering the results specified in the contract or task order. The QASP directly corresponds to the performance objectives and standards (i.e., quality, quantity, timeliness) specified in the Performance Work Statement (PWS). It provides specific details on how the Government will survey, observe, test, sample, evaluate, and document Contractor performance results to determine if the Contractor has met the required standards for each objective in the PWS. The QASP, with very few if any exceptions, is an internal to Government document.

Quality Control – means all necessary measures taken by the Contractor to assure that the quality of an end product or service shall meet contract requirements.

Sensitive Property - means property potentially dangerous to the public safety or security if stolen, lost, or misplaced, or that shall be subject to exceptional physical security, protection, control, and accountability. Examples include weapons, ammunition, explosives, controlled substances, radioactive materials, hazardous materials or wastes, or precious metals.

Statement – means the specific results-based activities required to satisfy HLOs. A statement contains a result, the context of the statement, and the required action(s). Statements focus on “what” is to be accomplished; however, they are not prescriptive in describing “how” the outcome is to be achieved. Each HLO may have several statements to flesh out the areas necessary to meet the objective. Statements are similar to Level 3 in a Work Breakdown Structure.

Subcontractor – means one that enters into a contract with a prime Contractor. The Government does not have privity of contract with the subcontractor.

Unit Acquisition Cost means—

- For Government-furnished property, the dollar value assigned by the Government and identified in the contract; and

- For contractor-acquired property, the cost derived from the contractor’s records that reflect consistently applied generally accepted accounting principles.

Workday - The number of hours per day the Contractor provides services in accordance with the contract.

Work Week - Monday through Friday, unless otherwise specified.

2.2 Acronyms:  Although not inclusive of every term used within this PWS, or that may be included in an acquisition, the following provides a list of acronyms commonly used in the acquisition field.

ACOR			Alternate Contracting Officer's Representative

ADA			Americans with Disabilities Act

AE 			Army in Europe

AFARS		Army Federal Acquisition Regulation Supplement

AHA			Activity Hazard Analysis

AOR			Area of Responsibility

AR			Army Regulation

AT			Anti-terrorism

ATCTS		Army Training Certification Tracking System

CAC			Common Access Card

CCE			Contracting Center of Excellence

CFE 			Conventional Forces Europe

CFR			Code of Federal Regulations

CONUS		Continental United States (excludes Alaska and Hawaii)

COR			Contracting Officer’s Representative

COTS			Commercial-Off-the-Shelf

DA			Department of the Army

DD250		Department of Defense Form 250 (Receiving Report)

DD254		Department of Defense Contract Security Requirement List

DFARS		Defense Federal Acquisition Regulation Supplement

DMDC			Defense Manpower Data Center

DoD			Department of Defense

FAR			Federal Acquisition Regulation

GFP			Government Furnished Property

HLO			High Level Objective

IA			Information Awareness

IAC			Installation Access Control

IACO			Installation Access Control Office

ID			Identification

IGCE			Independent Government Cost Estimate

IT			Information Technology

JTR			Joint Travel Regulation

JPAS			Joint Personnel Adjudication System

KO			Contracting Officer

OCI			Organizational Conflict of Interest

ODC 			Other Direct Costs

OPSEC		Operations Security

PA			Property Administrator

PII			Personally Identifiable Information

PIPO			Phase In/Phase Out

POC			Point of Contact

PRS			Performance Requirements Summary

PWS			Performance Work Statement

QA			Quality Assurance

QAP			Quality Assurance Program

QASP			Quality Assurance Surveillance Plan

QC			Quality Control

QCP			Quality Control Program

RA			Requiring Activity

RCO			Regional Contracting Office

SIGE			Safety and Health Protection Plan

TE			Technical Exhibit

USAG                      United States Army Garrison

USAREUR		United States Army Europe
UOM 			Unit of Measure

WAWF		Wide Area Workflow

PART 3

GOVERNMENT PROPERTY (GP) AND SERVICES

3.  Government Property and Services

3.1Services:  The Government will provide will not provide internet service to any electronic devices.

3.2 Facilities:  Reserved

3.3 Utilities: The Government will provide electric power ot the Vertical Life Module. The Contractor shall instruct employees in utilities conservation practices. The Contractor shall operate under conditions that preclude the waste of utilities, which include turning off the water faucets or valves, light switches, etc. after using the required amount to accomplish tasks requiring the use of the utilities.

3.4 Equipment:  RESERVED

3.5 Special Tooling and Test Equipment:  Refer to Part 7 of this PWS for GP for this contract. Refer to GP FAR Clause 52.245-1.

3.6 Materials: RESERVED

3.7 Training: RESERVED

3.8 Common Access Cards (CAC): RESERVED

PART 4

CONTRACTOR FURNISHED ITEMS AND SERVICES

4.  Contractor Furnished Property and Services

4.1 General:  The Contractor shall provide the appropriate equipment, repairs, and relearn of the trays required for the Vertical Lift to function normally.

4.2 Secret Facility Clearance:  RESERVED

4.3 Materials:  The Contractor shall provide the NORD Part # 10001231, extractor wheels, and NORD Update Kit with CPU #’s 10070631 and 10001395.

4.4 Vehicles and Equipment:  The Contractor shall provide necessary tools to perform maintenance of the Vertical Lift.

4.5 Background Checks): The Contractor shall provide Background Checks in accordance with this PWS and as determined by the Government.

PART 5

SPECIFIC TASKS

5.1 Basic Services:  The Contractor shall provide services for

5.1.1 The Contractor shall conduct maintenance of the LAMS structure in accordance with manufacturer instructions.

5.1.2 The Contractor shall provide all material/fabric handling equipment consisting of one (1) manlift and supplies required to conduct a full maintenance check.

5.1.3 The Contractor shall complete the following tasks:

5.1.3.1 The Contractor shall list all parts required for maintenance of this shelter on the first site visit.

5.1.3.2 Inspect shelter for overall structural integrity and condition.

5.1.3.3. List any worn, damaged, or broken parts, holes or tears in fabric, areas of concern, and performance status.

5.1.3.4. Inspect all entry access points to proper operating standards (personnel doors, roll-up doors, full-width doors, etc.).

5.1.3.5. Inspect and adjust all fabric connections to proper standards per manufacturer’s specifications. (Tensioning of fabric panels, door and accessory connections, fabric duct boots, HVAC ducting, fabric to ground connections, etc.)

5.1.3.6. Inspect all electrical components (lighting, switches, electrical connections, etc.) Note: the customer is responsible for ensuring that there is appropriate electrical power to properly inspect and adjust electrical system and components, to include winches.

5.1.3.7. Patch any repairable punctures/holes/tears in fabric to prevent further damage. Inspect all cables for signs of wear, pinching, fraying, or damage.

5.1.3.8. Inspect all anchoring and ground connections for signs of inadequate holding. Advise the appropriate users on shelter operating techniques (doors, winches, etc.).

5.1.3.9. Perform a final inspection with the designated Government POC.

5.1.3.10. Provide mission reports for each maintenance including photographs showing the full extent of repairs and maintenance.

5.1.4. The Government (unit/activity) will be responsible for procuring these parts before the next site visit.

5.2 Standard:  The Contractor shall meet the requirements listed above.

5.3 Service Contract Reporting

5.3.1 System for Award Management (SAM) Service Contract Report (SCR): The Contractor shall report ALL Contractor labor hours (including subcontractor labor hours) required for performance of services provided under this contract for the DPTMS/TSC via a secure data collection site. The Contractor is required to completely fill in all required data fields through the following web address: www.sam.gov. Reporting inputs will be for the labor executed during the period of performance during each Government FY, which runs from October 1 through September 30. While inputs may be reported any time during the FY, all data shall be reported no later than October 31 of each calendar year. Contractors may direct questions to the help desk by clicking “View Assistance for SAM.gov” which is located at the top of the SAM.gov website. From there, you can the select “Contact Our Service Desk” which will allow you to contact SAM.gov directly. If contract period of performance ends prior to September 30, the Contractor has 30 calendar days from end date of the contract to complete the SAM SCR requirement.

Steps for Submitting a Service Contract Report (SCR)

- Go to www.sam.gov and log in.

- Select Entity Registrations and then select Service Contract Reporting.

- SAM displays your entities which have service contracts and meet the reporting criteria. Select View by entity to see the service contracts for each entity.

- Next, select Add for the service contract against which you want to create a Service Contract Report. Each service contract which meets the FAR Subpart 4.1703 reporting thresholds is displayed.

- You will be taken to the Complete Service Contract Report page. SAM displays the contract details and allows you to report. You are required to enter the following information:

- Total Amount Invoiced: Total dollar amount invoiced for services performed during the previous Government fiscal year under the contract (this amount should include the prime and any subcontract amount).

- Prime Contractor Hours Expended: Prime contractor direct labor hours expended on the services performed during the previous Government fiscal year. The amount you enter is automatically divided by 2,080 hours to calculate a Full Time Employee (FTE) equivalent, displayed under the Prime Contractor Hours Expended as Prime Contractor FTEs.

- Report any required Tier 1 subcontractor information by selecting the Add Tier 1 Subcontract Information button.

- When you are ready to submit the report, select Submit. This saves your report and returns you to the Select Service Contract page where you can create other SCRs or edit an existing SCR.

Steps for Editing a Submitted Report

- Follow steps 1-4 above. Any previously submitted SCR will have a View/Edit button instead of an Add button.

- Select View/Edit. You will be able to view the current SCR, edit available fields, and resubmit the record. You can also delete previously entered information altogether.

STD:  All information provided by the Contractor shall be accurate, complete, and not exceed suspense dates noted in corresponding paragraph above.

AQL: 100% Compliant

PART 6

APPLICABLE PUBLICATIONS

6.  Applicable Publications (Current Editions):  The following publications, manuals, regulations, etc. are mentioned in this PWS and are listed below.

6.1.1	Installation Access Control (AE Reg 190-16)

6.1.2	The Army Physical Security Program (AR 190-13)

6.1.3	Contractor Identification (AE Reg 27-715)

6.1.4	U.S. Army Corps of Engineers Safety and Health Requirements Manual (EM 385-1-1)

6.1.5	Information Assurance Workforce Improvement Program (DoD 8570-M)

6.1.6	Information Assurance Training Certification and Workforce Management Directive (DoDD 8570.01)

6.1.7	Information Assurance (AR 25-2)

6.1.8	Electromagnetic Compatibility Directive (2004/108/EC)

6.1.9	Policies and Procedures for Property Accountability (AR 735-5)

PART 7

ATTACHMENT AND TECHNICAL EXHIBIT LISTING

7.  Attachment and Technical Exhibit List