STATEMENT OF WORK FOR CONSTRUCTION SERVICES

Project No. 668-24-103

Replace Buildings 1,2,3, and 31 Roofing Systems

Mann-Grandstaff VA Medical Center

Spokane, WA

Feb 23, 2026

Attachments to this document include the following.  Contact the CO if any items are missing.

- Project Drawings

- Project Specifications

- Hazmat Survey Reports

  - 668-24-103 HAZ B1

  - 668-24-103 HAZ B2

  - 668-24-103 HAZ B3

  - 668-24-103 HAZ B31

- General

Provide construction services to include labor, materials, tools, equipment, transportation, supervision, and other services necessary for Project 668-24-103, Replace Buildings 1,2,3, and 31 Roofing Systems at the Mann-Grandstaff VA Medical Center, Spokane, Washington.  Total project period of performance shall be 180 calendar days.

- Scope of Work

  - This NRM project will replace aged roofing systems in accordance with the project drawings and project specification.   Review Hazmat survey reports for areas requiring abatement.

- Performance of Work

  - Where conflicts exist between this SOW and the project specifications or project drawings, this SOW takes precedence.

  - Document transmission.

    - VA email servers limit file sizes to 5MB per message.

    - Construction Contractor shall provide a secured File Transfer Protocol (FTP) site to transfer all contract electronic submittals.  The contractor shall send a corresponding email to the COR stating a file is ready for review for each electronic submittal FTP upload, an automatic email from the FTP site is sufficient.  The FTP site shall be accessible by VA staff using Government Furnished Equipment (GFE).

  - As-Built Drawings and Operation and Maintenance (O&M) Manual.

    - The contractor shall deliver the as-built drawings and owner’s manual to the COR no later than thirty (30) days after substantial completion.  O&M are to supplied to the COR as a hard copy in 3 ring binders.

      - Owner’s manual shall contain detailed step by step instruction for operation of all equipment as a system.

  - Contractor laydown will be coordinated with the COR during pre-construction submittal process.  Any references to laydown areas in the project drawings or specifications are not guaranteed.

  - The government does not guarantee the accuracy or completeness of any of the information provided in the attachments to this SOW. The contractor shall make assessments to determine existing conditions prior to the inception of work.

  - The contractor will not have access to any Government-Furnished Equipment. All equipment and supplies used under the terms of this contract shall be the responsibility of the contractor.