STATEMENT OF WORK (SOW)

Contracting Officer fills out blue text.

| Contract Number: | (completed by the CO at time of award) |
| --- | --- |
| Task Order Number: | (completed by the CO at time of award if a TO) |
| IFCAP Tracking Number: | (2237 # goes here after it is done) |
| Follow-on to Contract and Task Order Number: | N/A |

1.  Contracting Officer’s Representative (COR).

| Name: | Bonnie Abelson |
| --- | --- |
| Section: | Sterile Processing Service, SAVAHCS |
| Address: | 3601 S 6’th ave Tucson AZ 85723 |
| Phone Number: | 520 792-1450 ext 15473 |
| Fax Number: |  |

2.  Contract Title.

Drying Cabinet

3.  Background

The Sterile Processing Department utilizes STERRAD low temperature hydrogen peroxide gas plasma sterilizers for devices that cannot tolerate steam sterilization. This method of sterilization requires devices to be completely dry, without even a hint of moisture or the cycle will abort. Use of a drying cabinet will speed drying of devices, increasing efficiency. The drying cabinet can also be used for devices undergoing steam sterilization that may be difficult to dry after coming out of the washer units. The current unit is non-functioning and beyond repair. The previous company purchased from no longer manufactures this product.

4.  Scope

The scope of this aware includes equipment purchase only

5. Specific Tasks.

The work involves installation of the new drying cabinet within Sterile Processing

- Vendor to uncrate and install new cabinet

  - Vendor to ensure cabinet is leveled via adjustable feet and anchored to the wall

- Vendor to provide check-out testing

- Vendor to demonstrate use of equipment to appropriate SPS staff.

5.1  Salient Characteristics:

Sterile Processing Services is requesting purchase of a new drying cabinet. Requirements:

- Must fit in existing space where old cabinet was removed.

- Must have cabinet specs of: 29” W x 87.6” H x 27.6” D, Door swing 24”

- Include HEPA filters

Deliverables:

5.2  Task 2.  N/A

5.2.1  Subtask 1.  N/A

5.2.2  Subtask 2.  N/A

Deliverables:  N/A

6. Performance Monitoring

7. Security Requirements:  N/A

8.  Government-Furnished Equipment (GFE)/Government-Furnished Information (GFI):  N/A

9.  Other Pertinent Information or Special Considerations:

a.  Identification of Possible Follow-on Work:  N/A

b.  Identification of Potential Conflicts of Interest (COI):  N/A

c.  Identification of Non-Disclosure Requirements:  N/A

d.  Packaging, Packing and Shipping Instructions:  Packaging to include all user guides and manufacturer cleaning instructions.

e.  Inspection and Acceptance Criteria:  Equipment must be new and in good working order

10. Risk Control:  N/A

11.  Place of Performance: - (facility address)

12.  Period of Performance - (this can be N/A)

13.  Delivery Schedule. – 90-days after award.