Salient Characteristics

Custom Surgical Packs for the Salisbury VAMC, Charlotte HCC, and Kernersville HCC

**All components must be latex free

- Cysto Pack Functions to be performed/Description of need:

  - Skin Scrub Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Included

        - Vinyl Tray

          - 1ea DynaHex Antiseptic 2oz

          - 2ea Cotton Tip Applicators – 6”

          - 3ea Sponge Sticks

          - 6ea Wing  Sponges

          - Sponges or Gauze

          - 2ea Blue Towels 19 1.2”x21”

          - 1pr Ultra Vinyl Gloves

          - 1ea Poly Bag, 3ml, 10.5”x14.5”

  - Sheet Foam (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2’x2’

  - Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Large

      - Shallow

      - 16”x12”x.75”

      - Plastic

      - Rigid Surface

      - Smooth Edges to maintain integrity of wraps, pouches, and bags

  - Poly Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 7”x10”

      - 1.5ml

      - Zip Closure

      - Write-on Block (labeling)

      - Clear

      - Vented

      - Non-Sterile

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for measurement

      - Latex free

      - Sterile

  - Specimen Container with Lid (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4oz

      - Sterile

  - Specimen Container (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 5oz

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Plastic

      - Sterile

  - Cysto T-Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Spunbond-Meltblown-Spunbond (SMS) Polypropylene Fabric

      - 60”x87”x35”

      - Sterile

  - Gauze (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - X-ray

      - 10/pk

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XLg / XLong

      - AAMI ≥ Level III

      - Poly Reinforced Sirus (PR SIR)

      - Breathable Impervious (BR IMP)

      - Sterile

  - Label Sheet (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Custom - Cysto

      - 23/sheet

  - Litho Legging (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 31”x48”

      - Spunbond-Meltblown-Spunbond (SMS)

      - Sterile

  - Jelly Lube (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Foil pack

      - 1.4oz

      - Sterile

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 30ml

      - Luer Lock

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ml

      - Luer Lock

      - Sterile

      - Bulk Non-sterile (BNS)

  - Y-Tubing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Trans Urethral Resection (TUR)

      - Irrigation

      - Sterile

      - 90”

  - Towel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Absorbent (ABS)

      - 17”x20”

      - Sterile

      - White

  - OR Towel (8ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

- ENT Pack Functions to be performed/Description of need:

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medical

      - 4ml Thick – Durable

      - 20..25”x22.75”

      - Plastic

      - Sterile

  - Sheet Foam (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2’x2’

  - Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Large

      - Shallow

      - 16”x12”x.75”

      - Plastic

      - Rigid Surface

      - Smooth Edges to maintain integrity of wraps, pouches, and bags

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - 12”x18”

      - Plastic

      - Sterile

  - Basin (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Emesis

      - 700ml

      - Graphite

      - Sterile

  - Bowl (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for measurement

      - Latex free

      - Sterile

  - Cautery smoke evacuation (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Push button visual and tactile cues

      - Holster disposable

      - Sterile

      - Integrated smoke evacuation pencil

      - X-ray detectable suction sleeve with “on tip” smoke evacuation

      - Weight ≤14 grams (wo tubing/wire)

      - Pencil 0.488” H x 0.488 W x 7.50” L

      - 3m Lightweight flexible tubing with full length integrated power cord for tangle-free cord management and ROM

      - Rib and knurling for grip and comfort

      - Coated 70mm blade

  - Specimen Container with Lid (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4oz

      - Sterile

  - Cover, Mayo Stand (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Towel

      - 22”x26”

      - Sterile

  - Cup, Medicine (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Sterile

  - Light Handle Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Disposable

      - Sterile

  - Cover, Table (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Vertical Fan Fold (VFF)

      - Heavy Duty (HD)

      - Plastic

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - EENT

      - Split

      - 78”x121”

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Head/Turban

      - Sterile

  - Drape (4ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Utility

      - 15”x26”

      - With Tape

      - Sterile

  - Gauze (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - X-ray Detectable

      - 4”x4”

      - 32 ply

      - 10/pg

      - Sterile

  - Surgical Gown (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Long

      - Non-reinforced Sirus (NR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Label (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blank

      - White

      - Sterile

  - Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Writesite

      - Dual tip

      - Sterile

  - Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 18g x 1.5”

      - Regular

      - Sterile

  - Needle (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 27g x 1.5”

      - Softpack

      - Sterile

  - Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Counter

      - 20ct

      - Foam Magnet (FM Mag)

      - Sterile

  - Spinal Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 27g x 3.5”

      - Quickie

      - Sterile

  - Instrument Roll (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Towel

      - 1’x1’x’10”

      - Sterile

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Non-smudge

      - Sterile

  - Solution (SLN) FOG Reduction Device (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Includes a non-abrasive X-ray detectable adhesive foam pad

      - 6gm

      - Sterile

  - Syringe (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 3ml

      - Luer Lock

      - Sterile

  - Ear/Ulcer Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 1oz

      - Green

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ml

      - Luer Lock

      - Sterile

  - Suction Tubing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 3/16”x12’

      - Connector

      - Sterile

  - Towel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Absorbent (ABS)

      - 17”x20”

      - Sterile

      - White

  - OR Towel (8ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

  - Yankauer (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bulb tip

      - Without ventilation

      - Sterile

- Lap Chole Pack Functions to be performed/Description of need:

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medical

      - 4ml Thick – Durable

      - 21.5”x30.75”

      - Plastic

      - Sterile

  - Sheet Foam (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2’x2’

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12”x18”

      - Plastic

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for Measurement

      - Latex free

      - Sterile

  - Cautery smoke evacuation (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Push button visual and tactile cues

      - Polytetrafluoroethylene PTFE

      - Holster disposable

      - Sterile

      - Integrated smoke evacuation pencil

      - X-ray detectable suction sleeve with “on tip” smoke evacuation

      - Weight ≤14 grams (wo tubing/wire)

      - Pencil 0.488” H x 0.488 W x 7.50” L

      - 3m Lightweight flexible tubing with full length integrated power cord for tangle-free cord management and ROM

      - Rib and knurling for grip and comfort

      - Coated 70mm blade

  - Specimen Container with Lid (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4oz

      - Sterile

      - Cover, Mayo Stand (1ea)

      - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - 26”x30” Towel

      - Sterile

  - Cup, Medicine (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Sterile

  - Light Handle Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Disposable

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Vertical Fan Fold (VFF)

      - Heavy Duty (HD)

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Major Abdominal

      - With pouch

      - Sterile

  - Drape (4ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Utility

      - 15”x26”

      - With Tape

      - Sterile

  - Gauze (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - X-ray

      - 10/pk

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Fully Reinforced Sirus (FR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - Towel

      - AAMI ≥ Level III

      - Sterile

  - Label Sheet (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Custom - Lap Chole

      - Sterile

  - Label Sheet (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Standard

      - 23/Sheet

      - Sterile

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

      - Sterile

  - Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 27g x 1.25”

      - Hypodermic

      - Regular

      - Sterile

      - Bevel

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 20ct

      - Foam Magnet (FM Mag)

  - Pneumoneedle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 120mm

      - Sterile

      - 14-gauge stainless steel needle with spring loaded blunt stylet safety mechanism

      - Attached at proximal end to plastic comfort handle containing a stopcock and Luer lock connector for insufflation tubing.

  - Ruler (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Safety

      - No. 11

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Solution (SLN) FOG Reduction Device (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Includes a non-abrasive X-ray detectable adhesive foam pad

      - 6gm

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ml

      - Luer Lock

      - Sterile

      - Bulk Non-sterile (BNS)

  - Tubing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Insufflation CO2 conditioning

      - Smoke evacuation high flow tube set with inflow and outflow management

      - Length 36” interior diameter 2”

      - Compatible with Stryker PneumoClear Insufflator

      - Ultra-low particulate air (UPLA) filtration capable of filtering particles as small as 0.01 um

      - Suction

      - Sterile

      - White

  - Suction Tubing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - ¼”x144”

      - Reinforced bulb Straight Connector (RIBStCtr)

      - Sterile

  - OR Towel (9ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

      - X-Ray

  - Mayo Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 13”x19”

      - Sterile

      - Pigment free

  - Prep Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10”x5”x2”

      - Pigment free

  - Trocar (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 5mmx10mm

      - Bladeless

      - Stability Sleeve

      - Sterile

  - Chloraprep Applicator (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

  - Trocar Cleaning Device (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Fits 5mm – 12mm Trocar

      - Sterile

  - Grounding Pad (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Universal

      - Split

  - Closure System (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Endo Fascial

      - 14”x5”x2”

  - Drawtape Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Patient Belongings

      - 18”x20 ½”

      - Clear

      - 1.5ml

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Surgical Instrument

      - 28”x25”

      - 2 Compartments

      - Adhesive

- Major Laparotomy Pack Functions to be performed/Description of need:

  - Chloraprep Applicator (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

  - Grounding Pad (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Universal

      - Split

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medical

      - 4ml Thick – Durable

      - 21.5”x30.75”

      - Plastic

      - Sterile

  - Sheet Foam (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2’x2’

  - Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Shallow

      - 20”x14”x.75”

      - Plastic

      - Rigid Surface

      - Smooth Edges to maintain integrity of wraps, pouches, and bags

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12”x18”

      - Plastic

      - Sterile

  - Basin (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Ring

      - 4 ½”x13 ½”

      - Volume 192oz

      - Plastic

      - Blue

      - Must fit ring stand with opening of 12”-13 ¼”

      - Graduated (qts and cc)

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for measurement

      - Latex free

      - Sterile

  - Specimen Container with Lid (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4oz

      - Sterile

  - Cover, Mayo Stand (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Towel

      - XL

      - 26”x30”

      - Sterile

  - Cup, Medicine (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Sterile

  - Light Handle Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Disposable

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Plastic

      - Vertical Fan Fold (VFF)

      - 36”x66” Towel

      - Sterile

  - Cision Blade (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Twin-Back

      - Carbon Steel

      - No. 10

      - Sterile

  - Laparotomy T-Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - With pouch fluid collection 38” x 7.5”

      - Absorbent reinforcement 14” x 38”

      - 102” x 78” x 121”

      - Hook and loop line holders

      - Adhesive strips around opening

      - Anit slip instrument pad

      - Sterile

  - Drape (4ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Utility

      - 15”x26”

      - With Tape

      - Sterile

  - Gauze (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - X-ray

      - 10/pk

      - Sterile

  - Surgical Gown (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Fully Reinforced Sirus (FR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - AAMI ≥ Level III

      - Towel

      - Sterile

  - Label (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Sheet

      - Blank

      - Custom – Major Lap

      - Sterile

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

      - Sterile

  - Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 25g x 1.5”

      - Precision

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 40ct

      - Double Foam (Dbl FM)

  - Pitcher (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 1200cc

      - With handle

      - Sterile

  - Lap Sponge (2pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - Xray

      - Surgical

      - Counter (CNT)

      - 18”x18”

      - 5/pg

      - Sterile

  - Yankauer (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Suction Tip Poole

      - Shatter Resistant Plastic

      - Retractable Screen

      - 3-Position

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Irrigation

      - Bulb

      - 60ml

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ml

      - Luer Lock

      - Sterile

      - Bulk Non-sterile (BNS)

  - Suction Tubing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - ¼”x240”

      - Reinforced bulb Straight Connector (RIBStCtr)

      - Sterile

  - OR Towel (12ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Xray

      - Sterile

  - Prep Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10”x5”x2”

      - Pigment free

      - Sterile

  - CSR Wrap (Central Supply Room) (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 54”x54”

      - Gemini 1

      - Sterile

  - Yankauer (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bulb Tip

      - Without ventilation

      - Sterile

- Minor Procedure Pack Functions to be performed/Description of need:

  - Grounding Pad (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Universal

      - Split

  - Chloraprep Applicator (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medical

      - 4ml Thick – Durable

      - 21.5”x30.75”

      - Plastic

      - Sterile

  - Sheet Foam (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2’x2’

  - Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Shallow

      - 20”x14”x.75”

      - Plastic

      - Rigid Surface

      - Smooth Edges to maintain integrity of wraps, pouches, and bags

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - 12”x18”

      - Plastic

      - Sterile

  - Poly Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 7”x10”

      - 1.5ml

      - Zip Closure

      - Write-on Block (labeling)

      - Clear

      - Sterile

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for measurement

      - Latex free

      - Sterile

  - Specimen Container with Lid (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4oz

      - Sterile

  - Cover, Mayo Stand (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL Towel

      - 26”x30”

      - Sterile

  - Cup, Medicine (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Sterile

  - Light Handle Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Disposable

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Plastic

      - Vertical Fan Fold (VFF)

      - Heavy Duty (HD)

      - Sterile

  - Utility Drape (4ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 15”x26”

      - With tape

      - Sterile

  - Gauze (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - X-ray

      - 10/pk

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Fully Reinforced Sirus (FR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Siris (NR SIR)

      - Towel

      - AAMI ≥ Level III

      - Sterile

  - Label (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Sheet

      - Custom – Minor Pack

  - Label (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Standard

      - 23/Sheet

      - Sterile

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 20ct

      - Foam Magnet (FM MAG)

  - Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 27gx1.5”

      - Non-safety

      - Regular

      - Sterile

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 11

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 15

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Lap Sponge (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - Xray

      - Surgical

      - Counter (CNT)

      - 18”x18”

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Irrigation

      - Bulb

      - 60ml

      - Sterile

      - Thermoplastic Elastomer (TPE)

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ml

      - Luer Lock

      - Sterile

      - Bulk Non-sterile (BNS)

  - Suction Tubing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - ¼”x144

      - Reinforced bulb Straight Connector (RIBStCtr)

      - Scallop female connectors both ends

      - Low memory for ease of use

      - Sterile

  - OR Towel (7ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

      - X-Ray

  - Prep Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10”x5”x2”

      - Pigment free

  - Yankauer (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bulb tip

      - Without ventilation

      - Sterile

- Eye Pack Functions to be performed/Description of need:

  - Gauze (20ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 12 ply

      - Sterile

  - Surgical Gown (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - Towel

      - AAMI ≥ Level III

      - Sterile

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - 6”x12”

      - Hold-tight

      - Sterile

  - Poly Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10”x12”

      - 1.5ml

      - Zip Closure

      - Vent (VNT)

      - Sterile

  - Poly Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 7”x10”

      - 1.5ml

      - Zip Closure

      - Vent (VNT)

      - Sterile

  - Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Recloseable

      - 6”x10”

      - 2ml

      - Zip Closure

      - Vent (VNT)

  - Bowl (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 16oz

      - Plastic

      - Pigment Free

      - Graduated for Measurement

      - Latex free

      - Sterile

  - Cannula (4ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Anterior Chamber

      - 27g

      - Sterile

  - Specimen Container with Lid (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4oz

      - With lid

      - Sterile

  - Cotton Tip Applicator (16ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 6”

      - Plastic

      - Sterile

  - Cover, Mayo Stand (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 24”x53”

      - Sterile

  - Cup, Medicine (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Clear

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 44”x90”

      - Horizontal Fan Fold (HFF)

      - Sterile

  - Cystotome Irrigation (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 27gx5/8”

      - Formed (FMD)

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Steri

      - 18”x23”

      - Adhesive (ADH)

      - Large

      - Sterile

  - Drape (4ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Utility

      - 20”x30”

      - With Tape

      - Sterile

  - Eye Shield (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Universal

      - Perforated Shield (P/S)

      - Clear Shield (C/R)

      - Venter

      - Sterile

  - Eye Spears (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - 6/pk

      - Cellulose

      - Sterile

  - Instrument Wipe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 3”x3”

      - Sterile

  - Knife (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 1.15mm

      - Sideport

      - Micro Vitreo-Retinal (MVR)

      - Angle

      - Sterile

  - Knife (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Safety Slit

      - 2.8mm width

      - 45 Degree Angled up Dual Bevel Blade

      - Surgical Grade

      - Full Handle

      - Stainless Steel / Plastic

      - Sterile

  - Label Sheet (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Custom - Eye

      - Sterile

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

      - Sterile

  - Needle (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Filter

      - 18g x 1.5”

      - Blunt

      - Stainless Steel Needle

      - W/O Syringe

      - Thin Wall

      - Sterile

  - Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 18g x 1.5”

      - Blunt Fill

      - Luer Lock

      - Stainless Steel Needle

      - W/O Syringe

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ct

      - MAG

      - Clear lid

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 1ml

      - Luer Slip Tube (L/S TB)

      - Sterile

  - Syringe (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 30ml

      - Luer Slip Tube (L/S)

      - Sterile

  - Syringe (5ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 3ml

      - Luer Lock

      - Sterile

  - Towel (7ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Absorbent (ABS)

      - 17”x20”

      - White

      - Sterile

  - Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Base

      - Plastic

      - 10”x14”

      - .35mm

      - Sterile

  - Prep Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10”x5”x2”

      - Pigment free

      - Sterile

  - CSR Wrap (Central Supply Room) (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 30”x30”

      - Gemini 1

      - Sterile

- Knee Arthroscopy Pack Functions to be performed/Description of need:

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medical

      - 4ml Thick – Durable

      - 21.5”x30.75”

      - Plastic

      - Sterile

  - Sheet Foam (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2’x2’

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12”x18”

      - Hold-tight

  - Poly Bag (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 7”x10”

      - 1.5ml

      - Zip Closure

      - Vent (VNT)

      - Sterile

  - Cohesive Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 6”x5yd

      - Sterile

  - Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Elastic

      - 6”x5yd

      - Variable Length Compression (VLC) Matrix

      - Sterile

  - Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Esmark

      - 6”x12’

      - Sterile

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for Measurement

      - Latex free

      - Sterile

  - Chloraprep Applicator (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

  - Cover, Mayo Stand (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL Towel

      - 26”x30”

      - Sterile

  - Cup, Medicine (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Sterile

  - Light Handle Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Disposable

      - Blue

      - 1/pk

      - Non Sterile (NS)

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Plastic

      - Vertical Fan Fold (VFF)

      - 36”x36” Towel

      - Heavy Duty (HD)

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 40”x70”

      - Medium

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Arthroscopy

      - With Pouch

      - Spunbond-Meltblown-Spunbond Fabric

  - U-Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x84”

      - Plastic

      - Sterile

  - Dressing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Xeroform

      - 1”x8”

      - Sterile

  - Gauze (10ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 12 ply

      - Sterile

  - Gauze (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - Xray

      - 10/pg

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Fully Reinforced Sirus (FR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - Towel

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL / X-Long

      - Poly Reinforced Sirus (PR SIR)

      - Breathable Impervious (BR IMP)

      - AAMI ≥ Level III

      - Sterile

  - Label Sheet (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Sheet

      - Custom - Knee

      - Sterile

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 20ct

      - Foam Magnet (FM Mag)

      - Sterile

  - Spinal Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 18g x 3.5”

      - Quincke

      - Stainless Steel

      - Sterile

  - Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 22g x 1.5”

      - SureSnap Safety

      - Sterile

  - Undercast Padding (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 6’x4”

      - Synthetic Texture (Syn-Tex)

      - Sterile

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 11

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Stockinette (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Impervious

      - 12”x48”

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 30ml

      - Luer Lock

      - Sterile

  - Suction Tubing (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - ¼”x240

      - Reinforced bulb Straight Connector (RIBStCtr)

      - Sterile

  - OR Towel (5ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

  - Mayo Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 13”x19”

      - Sterile

      - Pigment free

- Shoulder Pack Functions to be performed/Description of need:

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medical

      - 4ml Thick – Durable

      - 20..25”x22.75”

      - Plastic

      - Sterile

  - Sheet Foam (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2’x2’Pouch (1ea)

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12”x18”

      - Plastic

      - Sterile

  - Poly Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10”x12”

      - 1.5ml

      - Zip Closure

      - Vent (VNT)

      - Sterile

  - Poly Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 17”x10”

      - 1.5ml

      - Zip Closure

      - Vent (VNT)

      - Sterile

  - Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Recloseable

      - 5”x7”

      - 2ml

      - Zip Closure

      - Sterile

  - Cohesive Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x5yd

      - Coban

      - Sterile

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 16oz

      - Pigment Free

      - Sterile

  - Chloraprep Applicator (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

  - Mayo Stand Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL Towel

      - 26”x30”

      - Sterile

  - Cup, Medicine (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Sterile

  - Light Handle Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Flex

      - Blue

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 50”x90”

      - Fold

      - Vertical

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Ioban

      - Incise

      - 13”x13”

      - Sterile

  - Shoulder Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2 piece

      - Sterile

  - U-Drape (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 54”x76”

      - Plastic

      - With tape

      - Sterile

  - Gauze (10ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 12 ply

      - Sterile

  - Gauze (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - Xray

      - 10/pk

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL / X-long

      - Poly Reinforced Sirus (PR SIR)

      - Breathable Impervious (BR IMP)

      - AAMI ≥ Level III

      - Sterile

  - Label Sheet (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Custom - Salisbury

      - Sterile

  - Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Regular tip

      - Sterile

  - Instrument Mat (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Orange

      - 10”x16”

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 20ct

      - Foam Magnet (FM Mag)

  - Spinal Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 18g x 3.5”

      - Quicke

      - Sterile

  - Abdominal Pad (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 8”x10”

      - Non-sterile (NS)

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 11

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Stockinette (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Impervious

      - 12”x48”

      - Traction cord

      - S- hook

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 30ml

      - Luer Lock

      - Sterile

  - Suction Tubing (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - ¼”x240

      - Reinforced bulb Straight Connector (RIBStCtr)

      - Sterile

  - OR Towel (5ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

  - Tray Base (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 8”x5.5”x1”

      - Plastic

      - Sterile

  - Mayo Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 19.5”x15.5”x0.8”

      - Pigment free

      - Sterile

  - Poly Wrap (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 3pp

      - 30”x30”

      - White

      - Sterile

  - Shoulder Beach Chair Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Fenestration, pear-shaped, 5.5” x 5.75”

      - Fluid control pouch with malleable wire drawstring pouch and port

      - Velcro Cord-Holding Tabs

      - Length 162”, width 103”

- Podiatry Pack Functions to be performed/Description of need:

  - Basin (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Limb

      - Blue

      - 14.25” Diameter

      - 4” Height

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 50”x50”

      - Fold

      - Vertical

      - Sterile

  - Grounding Pad (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Universal

      - Split

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medical

      - 4ml Thick – Durable

      - 21.5”x27.25”

      - Plastic

      - Sterile

  - Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Paper

      - 18”x13.13”x1.25”

      - 3-Ply Corrugated

      - Disposable

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12”x18”

      - Plastic

      - Sterile

  - Poly Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 7”x10”

      - 1.5ml

      - Zip Closure

      - Vent (VNT)

      - Sterile

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for measurement

      - Latex free

      - Sterile

  - Cautery (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Push Button (PB)

      - Holster (HLST)

      - Silicone (SIL)

      - Sterile

  - Chloraprep Applicator (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

  - Mayo Stand Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 22”x26”

      - Towel

      - Sterile

  - Cup, Medicine (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Sterile

  - Light Handle Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Vertical Fan Fold (VFF)

      - 36”x66” Towel

      - Plastic

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 40”x70”

      - Medium

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 53”x77”

      - ¾ Length

      - Sterile

  - Extremity Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Spunbond-Meltblown-Spunbond (SMS)

      - Sterile

  - Dressing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Xeroform

      - 1”x8”

      - 12 ply

      - Sterile

  - Gauze (8ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 12 ply

      - Sterile

  - Gauze (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - Xray

      - 10/pk

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Fully Reinforced Sirus (FR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - Towel

      - AAMI ≥ Level III

      - Sterile

  - White Label (10ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blank

      - Sterile

  - Lid (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medicine cup

      - 2oz

      - Sterile

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

      - Sterile

  - Needle (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 27g x 1.25”

      - Hypodermic

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 20ct

      - Foam Magnet (FM Mag)

      - Blade Guard (BG)

      - Sterile

  - Instrument Roll (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Towel

      - 1”x1”x10”

      - Sterile

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Sterile

  - Scalpel (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 10

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 15

      - Safety

      - Weighted

      - Stainless Steel (SS)

  - Sponge (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - Lap

      - Xray

      - Surgical Count (SurgCNT)

      - 18”x18”

      - RFID X-ray

      - Sterile

  - Suction Tip (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Frazier

      - 10fr

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bulb

      - Irrigation

      - 60ml

      - Thermoplastic Elastomer (TPE)

      - Sterile

  - Syringe (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ml

      - Luer Lock

      - Sterile

      - Bulk Non-sterile (BNS)

  - Suction Tubing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - ¼”x144”

      - Reinforced bulb Straight Connector (RIBStCtr)

      - Sterile

  - OR Towel (7ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

      - X-Ray

  - Prep Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10”x5”x2”

      - Pigment free

- (J) Total Knee LF Pack Functions to be performed/Description of need:

  - Basin Kit (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Limb

      - Blue

      - 3000ml

      - 14.25” Diameter

      - 4” Height

      - Sterile

  - Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Cohesive

      - 6”x5yd

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 50”x50”

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 40ct

      - Foam Magnet (FM Mag)

      - Sterile

  - Scalpel (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 10

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Sponge (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - Lap

      - Xray

      - Surgical Count (SurgCNT)

      - 18”x18”

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bulb

      - 60ml

      - Thermoplastic Elastomer (TPE)

      - Sterile

  - Yankauer (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bulb tip

      - Without ventilation

      - Sterile

  - Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Elastic

      - 6”x10yd

      - Variable Length Compression (VLC) Matrix

      - Sterile

  - Abdominal Pad (2ea) (part of dressing sub assembly)

    - Physical characteristics and Performance required/Must meet the following specs

      - 5”x9”

      - Non-sterile

      - Undercast Padding (1ea) (part of dressing sub assembly)

      - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4yd

      - Synthetic (Syn)

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - Towel

      - AAMI ≥ Level III

  - Grounding Pad (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Universal

      - Split

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medical

      - 5ml Thick – Durable

      - 20.25”x34.25”

      - Plastic

      - Sterile

  - Sheet Foam (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2’x2’

  - Bedside Bag (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12”x18”

      - Plastic

      - Sterile

  - Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Recloseable

      - 8”x10”

      - 2ml

      - Zip Closure

      - Vented

  - Basin (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Ring

      - 2. 4 ½”x13 ½”

      - Volume 192oz

      - Plastic

      - Blue

      - Must fit ring stand with opening of 12”-13 ¼”

      - Graduated (qts and cc)

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for Measurement

      - Latex free

  - Chloraprep Applicator (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

  - Mayo Stand Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 22”x26”

      - Towel integrated/attached to cover

  - Cup, Medicine (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Clear

      - Sterile

  - Light Handle Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Disposable

  - Table Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Horizontal Fan Fold (HFF)

      - 36”x66” Towel integrated/attached to cover

  - Drape (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 53”x77”

      - Reinforced

      - Sterile

  - Extremity Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - T-drape

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Ioban

      - 23”x33”

      - Sterile

  - U-Drape (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x84”

      - Plastic

      - Sterile

  - Dressing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Island

      - 4”x10”

      - Sterile

  - Gauze (10ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 12 ply

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Poly Reinforced Sirus (PR SIR)

      - Breathable Impervious (BR IMP)

      - Sleeve (SLV) (Part # SPT-2208SMS)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XXL / X-LONG

      - Poly Reinforced Sirus (PR SIR)

      - Breathable Impervious (BR IMP)

      - AAMI ≥ Level III

  - Label Sheet (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Custom – Total Knee

      - Sterile

  - Smoke Evacuator (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Pencil

      - Rocker

      - Coated (CTD)

      - Sterile

  - Pitcher (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 1200cc

      - Graduated

      - With handle

      - Sterile

  - Instrument Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2 pocket

      - With tape

      - Sterile

  - Instrument Roll (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 1’x1’x’15”

      - Sterile

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Non-smudge

      - Sterile

  - Stockinette (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Impervious

      - 12”x48”

      - Sterile

  - Suction Tubing (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - ¼”x240”

      - Do not quote long term shortage (DNQLTS)

  - OR Towel (10ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

      - X-Ray

  - Mayo Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 21.25”x16.4”x0.8”

      - Pigment free

      - Sterile

  - CSR Wrap (Central Supply Room) (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 30”x30”

      - Gemini 1

      - Sterile

- Total Hip LF Pack Functions to be performed/Description of need:

  - Table Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Horizontal Fan Fold (HFF)

      - 36”x66” Towel integrated/attached to cover

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - Towel

      - AAMI ≥ Level III

      - Sterile

  - Grounding Pad (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Universal

      - Split

  - CSR Wrap (Central Supply Room) (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 36”x36”

      - Gemini 1

      - Bedside Bag

      - Physical characteristics and Performance required/Must meet the following specs

      - 12”x18”

      - Plastic

      - Sterile

  - Basin (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Ring

      - Pigment Free

  - Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Cohesive

      - 6”x5yd

      - Sterile

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for Measurement

      - Latex Free

      - Sterile

  - Foam Bump (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”x10”

      - Flat Top

      - Blue

      - Ortho – Limb Positioner

  - Cautery Pencil (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Neptune

      - Smoke Evacuation (SMK EVAC)

      - Push Button

      - Enhanced Safety and Efficiency Protocol (ESEP)

  - Chloraprep Applicator (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

      - Mayo Stand Cover (2ea)

      - Physical characteristics and Performance required/Must meet the following specs

      - 22”x26”

      - Towel integrated/attached to cover

      - Sterile

  - Cup, Medicine (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Clear

      - Sterile

  - Light Handle Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Disposable

      - Blue

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 50”x50”

      - Horizontal Fan Fold (HFF)

      - 36”x66” Towel

  - Scalpel (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 10

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Long Handle

      - Sterile

  - Drape (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 53”x77”

      - Reinforced

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bar

      - Orthomax

      - Spunbond-Meltblown-Spunbond (SMS) Polypropylene Fabric

      - 72”x113”

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Ioban

      - 23”x33”

      - Sterile

  - Drape (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Ortho

      - 6” Split

      - Sterile

  - U-Drape (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Impervious

      - 60”x84”

      - Spunbond-Meltblown-Spunbond (SMS) Polypropylene Fabric

      - Plastic

      - With tape

      - 8”x30”  Split

      - Sterile

  - Dressing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Island

      - 4”x10”

      - Sterile

  - Gauze (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - 10/pk

      - Xray

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Poly Reinforced Sirus (PR SIR)

      - Breathable Impervious (BR IMP)

      - Sleeve (SLV)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XXL / XLong

      - Poly Reinforced Sirus (PR SIR)

      - Breathable Impervious (BR IMP)

      - Impervious Sleeve

      - AAMI ≥ Level III

      - Sterile

  - Label (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - White

      - 0.5”x1.75”

      - P/card Preference

      - Sterile

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 40ct

      - Foam Magnet (FM Mag)

      - Sterile

  - Pitcher (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 1200cc

      - Graduated

      - With handle

      - Sterile

  - Instrument Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2 pocket

      - With tape

      - Sterile

  - Instrument Roll (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 1’x1’x’15”

      - Sterile

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 15

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Sponge (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Lap

      - Xray

      - Surgical Count (SurgCNT)

      - 18”x18”

      - Sterile

  - Stockinette (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Impervious

      - 12”x48”

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bulb

      - Irrigation

      - 60ml

      - Sterile

      - Thermoplastic Elastomer (TPE)

  - Suction Tubing (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 9/32”x12’

      - Clear

      - Sterile

  - Cautery Tip (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 6.5”

      - Extended

  - OR Towel (4ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

      - X-Ray

  - Mayo Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 21.25”x16.4”x0.8”

      - Pigment free

      - Sterile

  - Yankauer (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Open Tip

      - Without ventilation

      - Sterile

- Ortho Upper Extremity Pack Functions to be performed/Description of need:

  - Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medical

      - 4ml Thick – Durable

      - 21.5”x30.75”

      - Plastic

      - Sterile

  - Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Base

      - Plastic

      - 10”x14”

      - .35mm

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12”x18”

      - Plastic

      - Sterile

  - Poly Bag (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 7”x10”

      - 1.5ml

      - Vent (VNT)

      - Sterile

  - Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Esmark

      - 4”x12’

      - Sterile

  - Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Gauze

      - 3”x4.1yd

      - Variable Length Compression (VLC) Matrix

      - Sterile

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Plastic

      - Pigment Free

      - Graduated for measurement

      - Latex free

      - Sterile

  - Chloraprep Applicator (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

  - Mayo Stand Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - 26”x30”

      - Sterile

  - Cup, Medicine (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Graduated

      - 2oz

      - Clear

      - Sterile

  - Light Handle Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Disposable

  - Table Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Horizontal Fan Fold (HFF)

      - Heavy Duty (HD)

      - Plastic

      - Sterile

  - Drape (3ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medium

      - 40”x70”

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Extremity

      - 128” Length

      - 89” Width

      - Spunbond-Meltblown-Spunbond (SMS) Polypropylene Fabric

  - Dressing (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Island

      - 2”x2”

      - Sterile

  - Gauze (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - Xray

      - Custom (CTM)

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Fully Reinforced Sirus (FR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - Towel

      - AAMI ≥ Level III

      - Sterile

  - Label (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Sheet

      - Custom (CSTM) – Upper Extremity

  - Label (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Miscellaneous

      - Drug

      - Blank

      - 10/Sheet

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Dual tip

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 20ct

      - Foam Magnet (FM Mag)

      - Sterile

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Non-smudge

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 15

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ml

      - Luer Lock

      - Bulk Non-sterile (BNS)

      - Sterile

  - OR Towel (7ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - X-Ray

      - Sterile

  - Prep Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10”x5”x2”

      - Pigment free

      - Ssterile

- Pre-Op Kit 1 Pack Functions to be performed/Description of need:

  - Zip-Lock Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - White

      - Write-Block

      - 9”x12”

  - Bouffant Cap (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Brush Stroke (BRSH STRK)

      - Print (PRNT)

      - 24”

  - Cable (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Dual Connect

      - 5 Lead

  - Blood Pressure Cuff (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Flexiport

      - Soft

  - Electrode (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - Foam

      - Radiotransllucent (RT)

      - 5/pk

  - IV Start Kit (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Frame Dress -Latex Free (L-F)

  - Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Regular tip

- Pre-Op Kit 2 Pack Functions to be performed/Description of need:

  - Poly Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12”x15”

      - Write-On

      - 2ml

  - Bouffant Cap (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Brush Stroke (BRSH STRK)

      - Print (PRNT)

      - 24”

  - Cable (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Dual Connect

      - 5 Lead

  - Blood Pressure Cuff (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Flexiport

      - Soft

  - Electrode (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Foam

      - Radiotranslucent (RT)

      - 5/pk

  - Warming Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Standard

      - Bair Paws

      - FLX

  - IV Start Kit (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 7-Piece

        - Chloraprep Scrub (1ea)

        - Tourniquet (1ea)

        - Prevantive Prep Pad (1ea)

        - 4”x4” Gauze (2ea)

        - Dressing Change Label (1ea)

        - SureSite Dressing (1ea)

        - Tape (1ea)

      - Sterile

  - Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Regular tip

      - Label

      - Ruler

- Clinic Procedure Pack Functions to be performed/Description of need:

  - Surgical Gown (1ea) – Outer Fold

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Eclipse (NR ECL)

      - AAMI ≥ Level III

      - Sterile

  - CSR Wrap (Central Supply Room) (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 30”x30”

      - Gemini 1

      - Sterile

  - Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Medium

      - Shallow

      - 11.25x9.25”x.48”

      - Plastic

      - Rigid Surface

      - Smooth Edges to maintain integrity of wraps, pouches, and bags

      - Non Sterile

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 6.5”x12”

      - Plastic

      - Sterile

  - Poly Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 7”x10”

      - 1.5ml

      - Zip Closure

      - Vent (VNT)

      - Sterile

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 8oz

      - Pigment Free

      - Sterile

  - Bipolar Cord (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12’

      - Blue

      - Sterile

  - Mayo Stand Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Towel 26”x30”

      - Sterile

  - Gauze (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - Xray

      - 10/pk

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Eclipse (NR ECL)

      - AAMI ≥ Level III

      - Sterile

  - Label Sheet (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Custom - VAMC

      - Small

      - Sterile

  - Utility Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Sterile

  - Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 18gx1.5”

      - Precision Glide

      - Bevel

      - Sterile

  - Needle (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 27g x 1.25”

      - Hypodermic

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ct

      - Foam Magnet (FM Mag)

      - Sterile

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 15

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 10ml

      - Luer Lock

      - Bulk Non-sterile (BNS)

      - Sterile

  - OR Towel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Sterile

  - CSR Wrap (Central Supply Room) (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 54”x54”

      - Gemini 1

      - Sterile

- Total Shoulder Pack Functions to be performed/Description of need:

  - Table Cover (1ea) – in Outer Fold

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Plastic

      - Horizontal Fan Fold (HFF)

      - 36”x66” Towel

      - Heavy Duty (HD)

      - Sterile

  - Grounding Pad (1ea) – in Outer Fold

    - Physical characteristics and Performance required/Must meet the following specs

      - Universal

      - Split

  - CSR Wrap (Central Supply Room) (1ea) – in Outer Fold

    - Physical characteristics and Performance required/Must meet the following specs

      - 45”x45”

      - Gemini 1

      - Sterile

  - Surgical Gown (1ea) – in Outer Fold

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Bedside Bag (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 12”x18”

      - Plastic

      - Sterile

  - Cohesive Bandage (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 6”x5yd

      - Sterile

  - Bowl (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 32oz

      - Pigment Free

      - Sterile

  - Cautery smoke evacuation (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Push button visual and tactile cues

      - Polytetrafluoroethylene PTFE

      - Holster disposable

      - Sterile

      - Integrated smoke evacuation pencil

      - X-ray detectable suction sleeve with “on tip” smoke evacuation

      - Weight ≤14 grams (wo tubing/wire)

      - Pencil 0.488” H x 0.488 W x 7.50” L

      - 3m Lightweight flexible tubing with full length integrated power cord for tangle-free cord management and ROM

      - Rib and knurling for grip and comfort

      - Coated 70mm blade

  - Chloraprep Applicator (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 26ml

      - Orange

  - Mayo Stand Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Towel

      - 22”x26”

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 50”x50”

      - Fold

      - Vertical

      - Sterile

  - Table Cover (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 60”x90”

      - Plastic

      - Horizontal Fan Fold (HFF)

      - 36”x66” Towel

      - Heavy Duty (HD)

      - Sterile

  - Suction Tubing (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - ¼”x240”

      - Do not quote long term shortage (DNQLTS)

  - Light Handle Cover (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Flex

      - Blue

      - Do not quote long term shortage (DNQLTS)

  - Drape (5ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Universal

      - Absorbent Reinforcement

      - 53”x77”

      - Spunbond-Meltblown-Spunbond (SMS) Polypropylene Fabric

      - ¾ Length

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bar

      - Universal

      - Orthomax

      - Spunbond-Meltblown-Spunbond (SMS) Polypropylene Fabric

      - 72”x113”

      - With Absorbent Reinforcement

      - Sterile

  - Drape (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Ioban

      - Incise

      - 23”x33”

      - Sterile

  - Drape (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Orthopedic - Supine Hip

      - With 6” Split

      - Spunbond-Meltblown-Spunbond (SMS) Polypropylene Fabric

      - 78”x121”

      - Sterile

  - U-Drape (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Impervious

      - 60”x84”

      - Spunbond-Meltblown-Spunbond (SMS) Polypropylene Fabric

      - Plastic

      - With tape

      - 8”x30”  Split

      - Sterile

  - Gauze (1pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - 4”x4”

      - 16 ply

      - Xray

      - 10/pk

      - Sterile

  - Surgical Gown (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL

      - Non-reinforced Sirus (NR SIR)

      - AAMI ≥ Level III

      - Sterile

  - Surgical Gown (2ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - XL / X-long

      - Poly Reinforced Sirus (PR SIR)

      - Breathable Impervious (BR IMP)

      - AAMI ≥ Level III

  - White Label (10ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blank

      - .5”x1.75”

      - 9/sheet

      - Perforated Labels

  - Marker (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin

      - Utility

      - Dual

      - Sterile

  - Needle Counter (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 40ct

      - Foam Magnet (FM Mag)

  - Pitcher (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 1200cc

      - With handle

      - Graduated

      - Sterile

  - Instrument Pouch (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 2 pocket

      - With tape

      - Sterile

  - Instrument Roll (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Towel

      - 1’x1’x’15”

      - Sterile

  - Ruler (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Skin Marker

      - Sterile

  - Scalpel (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - No. 10

      - Safety

      - Weighted

      - Stainless Steel (SS)

      - Sterile

  - Lap Sponge (3pg)

    - Physical characteristics and Performance required/Must meet the following specs

      - Xray

      - Surgical

      - Counter (CNT)

      - 18”x18”

      - 5/pg

      - Sterile

  - Stockinette (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Impervious

      - 12”x48”

      - Traction cord

      - S- hook

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Irrigation

      - Bulb

      - 60ml

      - Thermoplastic Elastomer (TPE)

      - Sterile

  - Syringe (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 30ml

      - Luer Lock

      - Sterile

  - OR Towel (8ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Blue

      - Xray

      - Sterile

  - Mayo Tray (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - 21.25”x16.4”x0.8”

      - Pigment free

      - Sterile

  - Yankauer (1ea)

    - Physical characteristics and Performance required/Must meet the following specs

      - Bulb tip

      - Without ventilation

      - Sterile