## Sheet2
PRICE LIST JBSA DOOR LOCK BPA
ITEM | SERVICE / SUPPLIES | UNIT | PRICE
0001 | Replace / Install Locks
0001AA | Mortise Lock Arrow | EA
0001AB | Mortise Lock Best | EA
0001AC | Mortise Lock Schlage | EA
0001AD | Mortise Lock Sargent | EA
0001AE | Mortise Lock Falcon | EA
0001AF | Mortise Lock Marks | EA
0001AG | Mortise Lock Dorma | EA
0001AH | Mortise Lock PDQ | EA
0002 | Cylindrical Locksets
0002AA | Cylindrical Lock Arrow | EA
0002AB | Cylindrical Lock Best I/C | EA
0002AC | Cylindrical Lock Schlage | EA
0002AD | Cylindrical Lock Sargent | EA
0002AE | Cylindrical Lock Falcon | EA
0002AF | Cylindrical Lock Marks I/C | EA
0002AG | Cylindrical Lock Dorma SFIC | EA
0002AH | Cylindrical Lock PDQ SFIC | EA
0003 | Lever Cylindrical Locksets
0003AA | Lever Cylindrical Arrow | EA
0003AB | Lever Cylindrical Best SFIC | EA
0003AC | Lever Cylindrical Schlage | EA
0003AD | Lever Cylindrical Sargent | EA
0003AE | Lever Cylindrical Falcon | EA
0003AF | Lever Cylindrical Marks | EA
0003AG | Lever Cylindrical Dorma I/C | EA
0003AH | Lever Cylindrical PDQ I/C | EA
0003AJ | Lever Cylindrical Falcon I/C | EA
0003AK | Lever Cylindrical Sargent I/C | EA
0003AL | Lever Cylindrical Schlage I/C | EA
0004 | Replace / Install Deadbolt
0004AA | Deadbolt Arrow | EA
0004AB | Deadbolt Best | EA
0004AC | Deadbolt Schlage | EA
0004AD | Deadbolt Sargent | EA
0004AE | Deadbolt Falcon | EA
0004AF | Deadbolt Marks | EA
0004AG | Rim Lock Yale | EA
0004AH | Deadbolt Arrow I/C | EA
0004AJ | Deadbolt Dorma I/C | EA
0004AK | Deadbolt Falcon I/C | EA
0004AL | Deadbolt Sargent I/C | EA
0004AM | Deadbolt Schlage I/C | EA
0005 | Adams Rite
0005AA | Adams Rite (Catch Type) | EA
0005AB | Adams Rite (Hook) | EA
0005AC | Adams Rite (Deadbolt) | EA
0005AD | Adams Rite (Paddle) | EA
0006 | Rekey Cylinders / Cores
0006AA | Standard Cylinder Rim | EA
0006AB | Standard Cylinder Mortise | EA
0006AC | Master Key Cylinder Rim | EA
0006AD | Master Key Cylinder Mortise | EA
0006AE | Core Arrow | EA
0006AF | Core Schlage | EA
0006AG | Core Sargent | EA
0006AH | Core Falcon | EA
0007 | Replace I/C Cores
0007AA | Combinated (Arrow) | EA
0007AB | Combinated (Best) | EA
0007AC | Combinated (Corbin) | EA
0007AD | Combinated (Falcon) | EA
0007AE | Combinated (Sargent) | EA
0007AF | Combinated (Schlage Everest) | EA
0007AG | Combinated (Yale) | EA
0007AH | Combinated (KSP) | EA
0007AI | Uncombinated (Arrow) | EA
0007AJ | Uncombinated (Best) | EA
0007AK | Uncombinated (Corbin) | EA
0007AL | Uncombinated (Falcon) | EA
0007AM | Uncombinated (Sargent) | EA
0007AN | Uncombinated (Schlage Everest) | EA
0007AO | Uncombinated (Yale) | EA
0007AP | Uncombinated (KSP) | EA
0008 | Replace Mortise Cylinder
0008AA | I/C Cylinder 7 pin Small Format | EA
0008AB | I/C Cylinder (Large Format) | EA
0008AC | 6 Pin Standard Arrow | EA
0008AD | 6 Pin Standard Corbin | EA
0008AE | 6 Pin Standard Falcon | EA
0008AF | 6 Pin Standard Sargent | EA
0008AG | 6 Pin Standard Schalge | EA
0008AH | 6 Pin Standard Yale | EA
0009 | Replace Rim Cylinder
0009AA | I/C Cylinder 7 Pin Small Format | EA
0009AB | I/C Cylinder (Large Format) | EA
0009AC | 6 Pin Standard Arrow | EA
0009AD | 6 Pin Standard Corbin | EA
0009AE | 6 Pin Standard Falcon | EA
0009AF | 6 Pin Standard Sargent | EA
0009AG | 6 Pin Standard Schalge | EA
0009AH | 6 Pin Standard Yale | EA
0010 | Keys
0010AA | Single Sided | EA
0010AB | Double Sided | EA
0010AC | Key By Code | EA
0010AD | Duplicate Best or Falcon | EA
0010AE | Stamp / Stencil Key | EA
0010AF | Duplicate Key Everest | EA
0011 | Replace / Install Exit Devices Surface
0011AA | Surface Vertical Rod Arrow | EA
0011AB | Surface Vertical Rod Best | EA
0011AC | Surface Vertical Rod Percision | EA
0011AD | Surface Vertical Rod Monarch | EA
0011AE | Surface Vertical Rod Von Duprin | EA
0011AF | Surface Vertical Rod Sargent | EA
0011AG | Surface Vertical Rod American | EA
0011AH | Surface Vertical Rod Yale | EA
0011AJ | Surface Vertical Rod PDQ | EA
0012 | Replace / Install Exit Devices Concealed
0012AA | Concealed Rod Arrow | EA
0012AB | Concealed Rod Best | EA
0012AC | Concealed Rod Percision | EA
0012AD | Concealed Rod Monarch | EA
0012AE | Concealed Rod Von Duprin | EA
0012AF | Concealed Rod Sargent | EA
0012AG | Concealed Rod American | EA
0012AH | Concealed Rod Yale | EA
0012aj | Concealed Rod PDQ | EA
0013 | Replace / Install Exit Devices Rim
0013AA | Rim Exit Arrow | EA
0013AB | Rim Exit Best | EA
0013AC | Rim Exit Percision | EA
0013AD | Rim Exit Monarch | EA
0013AE | Rim Exit Von Duprin | EA
0013AF | Rim Exit Sargent | EA
0013AG | Rim Exit American | EA
0013AH | Rim Exit Yale | EA
0013AJ | Rim Exit PDQ | EA
0014 | Replace / Install Exit Devices Mortise
0014AA | Mortise Lock Devices Arrow | EA
0014AB | Mortise Lock Devices Best | EA
0014AC | Mortise Lock Devices Percision | EA
0014AD | Mortise Lock Devices Monarch | EA
0014AE | Mortise Lock Devices Von Duprin | EA
0014AF | Mortise Lock Devices Sargent | EA
0014AG | Mortise Lock Devices American | EA
0014AH | Mortise Lock Devices Yale | EA
0014AJ | Mortise Lock Devices PDQ | EA
0015 | Exit Device Trim Full Escutcheon
0015AA | Knob (American) | EA
0015AB | Knob (Arrow) | EA
0015AC | Knob (Monarch) | EA
0015AD | Knob (Percision) | EA
0015AE | Knob (Sargent) | EA
0015AF | Knob (Von Duprin) | EA
0015AG | Knob (Yale) | EA
0015AH | Lever (American) | EA
0015AJ | Lever (Arrow) | EA
0015AK | Lever (Monarch) | EA
0015AL | Lever (Percision) | EA
0015AM | Lever (Sargent) | EA
0015AN | Lever (Von Duprin) | EA
0015AP | Lever (Yale) | EA
0015AR | Lever PDQ | EA
0016 | Computer Managed Locks
0016AA | AD Cylindrical Lock Keypad - w/ I/C Housing, #AD200CY 70 KP BD SPA 626 | EA
0016AB | AD Cylindrical Lock Keypad - w/ I/C Housing, #AD200CY 70 KP BD SPA 613 | EA
0016AC | AD Cylindrical Lock Swipe Card - w/ I/C Housing, #AD200CY70MKGBD SPA 626 | EA
0016AD | AD Cylindrical Lock Swipe Card - w/ I/C Housing, #AD200CY70MKGBD SPA 613 | EA
0016AE | AD Cylindrical Lock Prox Card - w/ I/C Housing, #AD200CY70PRKBD SPA 626 | EA
0016AF | AD Cylindrical Lock Prox Card - w/ I/C Housing, #AD200CY70PRKBD SPA 613 | EA
0016AG | AD Mortise Lock Keypad - w/ I/C Housing, #AD200MS70KPBD SPA 626 | EA
0016AH | AD Mortise Lock Keypad - w/ I/C Housing, #AD200MS70KPBD SPA 613 | EA
0016AJ | AD Mortise Lock Swipe Card - w/ I/C Housing, #AD200MS70MGKBD SPA 626 | EA
0016AK | AD Mortise Lock Swipe Card - w/ I/C Housing, #AD200MS70MGKBD SPA 613 | EA
0016AL | AD Mortise Lock Prox Card - w/ I/C Housing, #AD200MS70PRKBD SPA 626 | EA
0016AM | AD Mortise Lock Prox Card - w/ I/C Housing, #AD200MS70PRKBD SPA 613 | EA
0016AN | BasisG 45HG Mortise Lock Swipe Card / Keypad Dual Validation 626 Finish | EA
0016AP | BasisG 93KG Cylindrical Lock Trim Swipe Card / Keypad Dual Validation 626 Finish | EA
0017 | Computer Managed Exit Device Trim
0017AA | AD Trim Keypad - w/ I/C Housing #AD993R KP BD SPA 626 | EA
0017AB | AD Trim Keypad - w/ I/C Housing #AD993R KP BD SPA 613 | EA
0017AC | AD Trim Swipe Card - w/ I/C Housing #AD993R MGK BD SPA 626 | EA
0017AD | AD Trim Swipe Card - w/ I/C Housing #AD993R MGK BD SPA 613 | EA
0017AE | AD Trim Prox Card - w/ I/C Housing #AD993R PRK BD SPA 626 | EA
0017AF | AD Trim Prox Card - w/ I/C Housing #AD993R PRK BD SPA 613 | EA
0017AG | Reserved | EA
0017AH | Rim Exit Device X AD Trim Keypad - w/ I/C Housing #AD993R KP BD SPA 626 | EA
0017AJ | Rim Exit Device X AD Trim Keypad - w/ I/C Housing #AD993R KP BD SPA 613 | EA
0017AK | Rim Exit Device X AD Trim Swipe Card - w/ I/C Housing #AD993R MGK BD SPA 626 | EA
0017AL | Rim Exit Device X AD Trim Swipe Card - w/ I/C Housing #AD993R MGK BD SPA 613 | EA
0017AM | Rim Exit Device X AD Trim Prox Card - w/ I/C Housing #AD993R PRK BD SPA 626 | EA
0017AN | Rim Exit Device X AD Trim Prox Card - w/ I/C Housing #AD993R PRK BD SPA 613 | EA
0017AP | VR Exit Device X AD Trim Keypad - w/ I/C Housing #AD993SV KP BD SPA 626 | EA
0017AR | VR Exit Device X AD Trim Keypad - w/ I/C Housing #AD993SV KP BD SPA 613 | EA
0017AS | VR Exit Device X AD Trim Swipe Card - w/ I/C Housing #AD993SV MGK BD SPA 626 | EA
0018 | Replace / Install Access Control Locks
0018AA | Install New Vincard Lock (Including Lock) | EA
0018AB | Install New Vincard Lock (Govt. Provided Lock) | EA
0018AC | Repair Vincard Lock | EA
0018AD | Install Cylindrical CO Lock, Locknetics # CO100CY70KPBD 626 (Including Lock) | EA
0018AE | Install Cylindrical CO Lock, Locknetics # CO100CY70KPBD 626 (Govt. Provided Lock) | EA
0018AF | Repair CO Cylindrical Lock, Locknetics # CO100CY70KPBD 626 | EA
0018AG | Install Mortise CO Lock, Locknetics # CO100MS70KPBD 626 (Including Lock) | EA
0018AH | Install Mortise CO Lock, Locknetics # CO100MS70KPBD 626 (Govt. Provided Lock) | EA
0018AJ | Repair Mortise CO Lock, Locknetics # CO100MS70KPBD 626 | EA
0018AK | Install CO Trim w/ Rim Exit Device For Single Doors 3070 Locknetics # CO993R70KPBD 626 99EO 628 (Including Lock) | EA
0018AL | Install CO Trim w/ Rim Exit Device For Single Doors 3070 Locknetics # CO993R70KPBD 626 99EO 628 (Govt. Provided Lock) | EA
0018AM | Repair CO Trim w/ Rim Exit Device For Single Doors 3070 Locknetics # CO993R70KPBD 626 99EO 628 | EA
0018AN | Install CO Trim w/ Vertical Rod Exit devicew for Double Doors Active Leaf 3070 Locknetics # CO993R70KPBD 626 9927EO 628 (Including Lock) | EA
0018AP | Install CO Trim w/ Vertical Rod Exit devicew for Double Doors Active Leaf 3070 Locknetics # CO993R70KPBD 626 9927EO 628 (Govt. Provided Lock) | EA
0018AR | Repair CO Trim w/ Vertical Rod Exit Device For Double Doors Active Leaf 3070 Locknetics # CO993R70KPBD 626 9927EO 628 | EA
0018AS | Install Keypad Entry System for Single Door (Including Keypad and Controller, Electric strike or Mag Lock, Inside Push Button and Power Supply) | EA
0018AT | Install Keypad Entry System for Single Door (Govt. Provided Keypad and Controller, Electric strike or Mag Lock, Inside Push Button and Power Supply) | EA
0018AU | repair Keypad Entry System for Single Door | EA
0018AV | CO100CY70KPBD 626 Furnish | EA
0018AW | CO100MS70KPBD 626 Furnish | EA
0019 | Simplex Locks
0019AA | Change Combination | EA
0019AB | Replace Simplex Lock (Govt. Provided Lock) | EA
0019AC | Install New Simplex Lock (Govt. Provided Lock) | EA
0019AD | Install Simplex Push Button Knob Lock #1021B (Includes Lock) | EA
0019AE | Install Simplex Push Button Lever Lock #L1021B (Includes Lock) | EA
0019AF | Replace Simplex Push Button Knob Lock #1021B (Includes Lock) | EA
0019AG | Replace Simplex Push Button Lever Lock #L1021B (Includes Lock) | EA
0019AH | Install Simplex Push Button 919 (Govt. Provided Lock) | EA
0019AJ | Install Simplex Push Button 909 (Govt. Provided Lock) | EA
0020 | Miscellaneous Replace / Install
0020AA | Strike | EA
0020AB | Latch | EA
0020AC | Threshold 4 ft | EA
0020AD | Threshold 6 ft | EA
0020AE | Mullion | EA
0020AF | Door Coordinator | EA
0020AG | Adapter Saddle | EA
0020AH | Push Plate | EA
0020AJ | Pull Plate | EA
0020AK | Kick Plate | EA
0020AL | Flush Bolt | EA
0020AM | Latch Guards | EA
0020AN | Door Shields 4S | EA
0020AP | Door Shields 1000-14S | EA
0020AR | Don-Jo Cover Plates | EA
0020AS | Don-Jo Cover Plates | EA
0021 | Mortise Holes
0021AA | Bore Holes on Door / Jamb | EA
0021AB | Bore Holes on Concrete Jamb | EA
0022 | Replace / Install Door Closers
0022AA | Hydraulic Dual Adjustable | EA
0020AB | LCN Door Closer | EA
0023 | Miscellaneous Install Govt. Provided Materials
0023AA | Install Govt. Provided Materials | Per/Hr
0023AB | Service Charge
0024 | Vaults and Skiff Doors
0024AA | Open Existing Dial combination Lock #CDX-07, CDX-08, CDX-09 and CDX-10 includes installing new CDX-10 or Current GSA Approved Lock (Govt. Provided Lock) | EA
0024AB | Open Existing Dial combination Lock #CDX-07, CDX-08, CDX-09 and CDX-10 includes | EA
installing new CDX-10 or Current GSA Approved Lock (Contractor Provided Lock)
0024AC | Repair Dial Combination Lock # CDX-08 Includes Opening Existing Lock | EA
0024AD | Install Dial Combination Lock # CDX-08 New Installation (Includes Lock) | EA
0024AE | Install Dial Combination Lock # CDX-08 New Installation (Govt. Provided Lock) | EA
0024AF | Install Dial Combination Lock # CDX-10 or Current Approved GSA Lock Includes Opening Existing Lock (Contractor Provided Lock) | EA
0024AG | Install Dial Combination Lock # CDX-09 / CDX-10 Includes Opening Existing Lock (Govt. Provided Lock) | EA
0024AH | Repair Dial Combination Lock # CDX-07, CDX-08, CDX-09 and CDX-10 Includes Opening Existing Lock | EA
0024AJ | Install Dial Combination Lock # CDX-10 New Installation (Includes Lock) | EA
0024AK | Install Dial Combination Lock # CDX-10 New Installation (Govt. Provided Lock) | EA
0024AL | S&G Locks Group II, 6630-010 | EA
0024AM | S&G Locks Group II, 6730-010 | EA
0024AN | S&G Locks Group II, 6535 | EA
0024AP | S&G Locks Group II, 6435 | EA
0024AR | S&G Locks Group II, Dial Ring - D200-001 | EA
0024AS | S&G Locks Group II, Dial Ring - D210-001 (Key) | EA
0024AT | S&G Locks Group II, Dial Ring - D230-001 (Spy Proof) | EA
0024AU | S&G Locks Group II, Dial Ring - D240-001 (Key) | EA
0024AV | S&G Locks Group II, 6120-301 (Digital Keypad Entry) | EA
0024AW | S&G Locks Group II, 6120-303 (Digital Keypad Entry) | EA
0024AX | LA GARD, 3600 (Swing Bolt) | EA
0024AY | Programming Fee for Electronic Locks, S&G and LA GARD | EA
0024AZ | S&G Model 2740-100 Series A / CDX-09 / CDX-10 Lock Only | EA
0025 | ADA AUTOMATIC DOOR CLOSER AND ELECTRONIC DEVICES
0025AA | 9540 SINGLE HEADER 1 OPERATOR PUSH OR PULL CLR OR DKB | EA
0025AB | 9540DD DOUBLE HEADER 1 OPERATOR PUSH OR PULL CLR OR DKB | EA
0025AC | 9550 DOUBLE HEADER 2 OPERATOR PUSH OR PULL CLR OR DKB | EA
0025AD | 9540-3077 PUSH ARM | EA
0025AE | 9540-3077T PULL ARM | EA
0025AF | 9530-30288 TRACK | EA
0025AG | 9530-73 TRACK END CAP | EA
0025AH | 9530-3034 TRACK ROLLER | EA
0025AJ | 9530-518 CABLE/PARTS BAG | EA
0025AK | 9540-3454 MOTOR GEARBOX | EA
0025AL | 9540-3462 CONTROLLER | EA
0025AM | 9540-79 ROD FOR ARM | EA
0025AN | 9540-11A SPINDLE PLATE 2 3/4'' | EA
0025AP | 9540-12 BLANK PLATE | EA
0025AR | 8310-8610TW ACTUATOR PKG. 2-BUTTONS W/ BOXES, 2-TRANSMITTERS, 1-RECERIVER | EA
0025AS | 8310-856 PUSHBUTTON ONLY | EA
0025AT | 8310-868S BOX ONLY | EA
0025AU | 8310-865 RECEIVER ONLY | EA
0025AV | 8310-844 TRANSMITTER ONLY | EA
0025AW | 8310-866 BOLLARD POST | EA
0025AX | 8310-806K KEY SWITCH | EA
0025AY | 8310-854 HEADER MOUNT MOTION SENSOR | EA
0025AZ | 8310-877 HEADER MOUNT SAFTEY SENSOR | EA
0025BA | 8310-804-2 DOOR MOUNT SAFTEY SENSOR 2 ELEMENT | EA
0025BB | 8310-3881 SINGLE DOOR SENSOR PACK 2-854, 2-804-2, 1-877, 1-877S, 1-847 | EA
0025BC | 8310-3881 DOUBLE DOOR SENSOR PACK 2-854, -42-804-2, 1-877, 1-877S, -2-847 | EA
0025BD | 8310-845 RELAY AND DOOR SEQUENCER | EA
0025BE | 8310-824 24VAC TRANSFORMER | EA
0025BF | 8310-3803 WIRELESS CONVERSION KIT 1-RECEIVER, 2-TRANSFORMERS | EA
0025BG | PS902 2 AMP POWER SUPPLY | EA
0025BH | PS904 4 AMP POWER SUPPLY | EA
0025BJ | PS906 6 AMP POWER SUPPLY | EA
0025BK | PS914 EL POWER SUPPLY | EA
0025BL | 900-2RS 2 RELAY BOARD | EA
0025BM | 900-4R 4 RELAY BOARD | EA
0025BN | 900-4RL 4 RELAY BOARD PROGRAMMABLE | EA
0025BP | 900-8F 8 FUSED OUTPUTS BOARD | EA
0025BR | 900-FA FIRE ALARM RELAY BOARD | EA
0025BS | 900-BB BATTERY BACKUP BOARD | EA
0025BT | 900-BAT BARRERIES ONLY (2) | EA
0025BU | 900-BBK BATTERY BACKUP KIT 2-BATTERIES 1-900-BB BATTERY BACKUP BOARD | EA
0025BV | EL KIT ELECTRIC LATCH RETRACTION KIT | EA
0025BW | QEL KIT QUIET LATCH RETRACTION KIT | EA
0025BX | RX-2 RX KIT - 2 SWITCHES | EA
0025BY | 788-18 DOOR CORD | EA
0025BZ | 621RDEX PUSH TO EXIT BUTTON | EA
0025CA | 653-04 KETSWITCH SPDT | EA
0025CB | 692 TOUCHBAR | EA
0006AD | Mortise Lock Devices Monarch | EA
0006AE | Mortise Lock Devices Von Duprin | EA
0006AF | Mortise Lock Devices Sargent | EA
0006AG | Mortise Lock Devices American | EA
0006AH | Mortise Lock Devices Yale | EA
Mortise Lock Devices PDQ
0007 | Rekey Cylinders / Cores
0007AA | Standard Cylinder Rim | EA
0007AB | Standard Cylinder Mortise | EA
0007AC | Master Key Cylinder Rim | EA
0007AD | Master Key Cylinder Mortise | EA
0007AE | Core Arrow | EA
0007AF | Core Schlage | EA
0007AG | Core Sargent | EA
0007AH | Core Falcon | EA
0007AI | Core Schlage | EA
0007AJ | Core Sargent | EA
0007AK | Core Falcon | EA
0007AL |  | EA
0007AM |  | EA
0007AN |  | EA
0007AO |  | EA
0007AP |  | EA
0007AQ |  | EA
0007AR |  | EA
0007AS |  | EA
0008 | Keys
0008AA | Single Sided | EA
0008AB | Double Sided | EA
0008AC | Key By Code | EA
0008AD | Duplicate Best or Falcon | EA
0008AE | Stamp / Stencil Key | EA
0008AF | Duplicate Key Everest | EA
0009 | Mortise Holes
0009AA | Bore Holes on Door / Jamb | EA
0009AB | Bore Holes on Concrete Jamb | EA
0010 | Replace / Install Door Closers
0010AA | Hydraulic Dual Adjustable | EA
0010AB | LCN Door Closer | EA
0011 | Simplex Locks
0011AA | Change Combination | EA
0011AB | Replace Simplex Lock (Govt. Provided Lock) | EA
0011AC | Install New Simplex Lock (Govt. Provided Lock) | EA
0011AD | Install Simplex Push Button Knob Lock #1021B (Includes Lock) | EA
0011AE | Install Simplex Push Button Lever Lock #L1021B (Includes Lock) | EA
0011AF | Replace Simplex Push Button Knob Lock #1021B (Includes Lock) | EA
0011AG | Replace Simplex Push Button Lever Lock #L1021B (Includes Lock) | EA
0011AH | Install Simplex Push Button 919 (Govt. Provided Lock) | EA
0011AI | Install Simplex Push Button 909 (Govt. Provided Lock) | EA
Install Simplex Push Button Lever Lock #R1021B (Includes Lock)
Replace Simplex Push Button Lever Lock #R1021B (Includes Lock)
0012 | Miscellaneous Replace / Install
0012AA | Strike | EA
0012AB |  | EA
0012AC | Latch | EA
0012AD | Threshold 4 ft | EA
0012AE | Threshold 6 ft | EA
0012AF | Mullion | EA
0012AG | Door Coordinator | EA
0012AH | Adapter Saddle | EA
0012AI | Push Plate | EA
0012AJ | Pull Plate | EA
0012AK | Kick Plate | EA
0012AL | Flush Bolt | EA
0012AM | Latch Guards | EA
0012AN | Door Shields 4S | EA
0012AO | Door Shields 1000-14S | EA
0012AP | Don-Jo Cover Plates | EA
0013 | Miscellaneous Install Govt. Provided Materials
0013AA | Install Govt. Provided Materials | Per/Hr
0013AB | Service Charge
0014 | Replace / Install Access Control Locks
0014AA | Install New Vincard Lock (Including Lock) | EA
0014AB | Install New Vincard Lock (Govt. Provided Lock) | EA
0014AC | Repair Vincard Lock | EA
0014AD | Install Cylindrical CO Lock, Locknetics # CO100CY70KPBD 626 (Including Lock) | EA
0014AE | Install Cylindrical CO Lock, Locknetics # CO100CY70KPBD 626 (Govt. Provided Lock) | EA
0014AF | Repair CO Cylindrical Lock, Locknetics # CO100CY70KPBD 626 | EA
0014AG | Install Mortise CO Lock, Locknetics # CO100MS70KPBD 626 (Including Lock) | EA
0014AH | Install Mortise CO Lock, Locknetics # CO100MS70KPBD 626 (Govt. Provided Lock) | EA
0014AI | Repair Mortise CO Lock, Locknetics # CO100MS70KPBD 626 | EA
0014AJ | Install CO Trim w/ Rim Exit Device For Single Doors 3070 Locknetics # CO993R70KPBD 626 99EO 628 (Including Lock) | EA
0014AK | Install CO Trim w/ Rim Exit Device For Single Doors 3070 Locknetics # CO993R70KPBD 626 99EO 628 (Govt. Provided Lock) | EA
0014AL | Repair CO Trim w/ Rim Exit Device For Single Doors 3070 Locknetics # CO993R70KPBD 626 99EO 628 | EA
0014AM | Install CO Trim w/ Vertical Rod Exit devicew for Double Doors Active Leaf 3070 Locknetics # CO993R70KPBD 626 9927EO 628 (Including Lock) | EA
0014AN | Install CO Trim w/ Vertical Rod Exit devicew for Double Doors Active Leaf 3070 Locknetics # CO993R70KPBD 626 9927EO 628 (Govt. Provided Lock) | EA
0014AO | Repair CO Trim w/ Vertical Rod Exit Device For Double Doors Active Leaf 3070 Locknetics # CO993R70KPBD 626 9927EO 628 | EA
0014AP | Install Keypad Entry System for Single Door (Including Keypad and Controller, Electric strike or Mag Lock, Inside Push Button and Power Supply) | EA
0014AQ | Install Keypad Entry System for Single Door (Govt. Provided Keypad and Controller, Electric strike or Mag Lock, Inside Push Button and Power Supply) | EA
0014AR | repair Keypad Entry System for Single Door | EA
0014AS | CO100CY70KPBD 626 Furnish | EA
0014AT | CO100MS70KPBD 626 Furnish | EA
0015 | Vaults and Skiff Doors
0015AA | Open Existing Dial combination Lock #CDX-07, CDX-08, CDX-09 and CDX-10 includes installing new CDX-10 or Current GSA Approved Lock (Govt. Provided Lock) | EA
0015AB | Open Existing Dial combination Lock #CDX-07, CDX-08, CDX-09 and CDX-10 includes | EA
installing new CDX-10 or Current GSA Approved Lock (Contractor Provided Lock)
0015AC | Repair Dial Combination Lock # CDX-08 Includes Opening Existing Lock | EA
0015AD | Install Dial Combination Lock # CDX-08 New Installation (Includes Lock) | EA
0015AE | Install Dial Combination Lock # CDX-08 New Installation (Govt. Provided Lock) | EA
0015AF | Install Dial Combination Lock # CDX-10 or Current Approved GSA Lock Includes Opening Existing Lock (Contractor Provided Lock) | EA
0015AG | Install Dial Combination Lock # CDX-09 / CDX-10 Includes Opening Existing Lock (Govt. Provided Lock) | EA
0015AH | Repair Dial Combination Lock # CDX-07, CDX-08, CDX-09 and CDX-10 Includes Opening Existing Lock | EA
0015AI | Install Dial Combination Lock # CDX-10 New Installation (Includes Lock) | EA
0015AJ | Install Dial Combination Lock # CDX-10 New Installation (Govt. Provided Lock) | EA
0015AK | S&G Locks Group II, 6630-010 | EA
0015AL | S&G Locks Group II, 6730-010 | EA
0015AM | S&G Locks Group II, 6535 | EA
0015AN | S&G Locks Group II, 6435 | EA
0015AO | S&G Locks Group II, Dial Ring - D200-001 | EA
0015AP | S&G Locks Group II, Dial Ring - D210-001 (Key) | EA
0015AQ | S&G Locks Group II, Dial Ring - D230-001 (Spy Proof) | EA
0015AR | S&G Locks Group II, Dial Ring - D240-001 (Key) | EA
0015AS | S&G Locks Group II, 6120-301 (Digital Keypad Entry) | EA
0015AT | S&G Locks Group II, 6120-303 (Digital Keypad Entry) | EA
0015AU | LA GARD, 3600 (Swing Bolt) | EA
0015AV | Programming Fee for Electronic Locks, S&G and LA GARD | EA
0015AW | S&G Model 2740-100 Series A / CDX-09 / CDX-10 Lock Only | EA
0016 | Replace Mortise Cylinder
0016AA | I/C Cylinder 7 pin Small Format | EA
0016AB | I/C Cylinder (Large Format) | EA
0016AC | 6 Pin Standard Arrow | EA
0016AD | 6 Pin Standard Corbin | EA
0016AE | 6 Pin Standard Falcon | EA
0016AF | 6 Pin Standard Sargent | EA
0016AG | 6 Pin Standard Schalge | EA
0016AH | 6 Pin Standard Yale | EA
0017 | Replace Rim Cylinder
0017AA | I/C Cylinder 7 Pin Small Format | EA
0017AB | I/C Cylinder (Large Format) | EA
0017AC | 6 Pin Standard Arrow | EA
0017AD | 6 Pin Standard Corbin | EA
0017AE | 6 Pin Standard Falcon | EA
0017AF | 6 Pin Standard Sargent | EA
0017AH | 6 Pin Standard Schalge | EA
0017AH | 6 Pin Standard Yale | EA
0017AI | Adams Rite (Catch Type) | EA
0017AJ | Adams Rite (Deadbolt) | EA
0017AK | Adams Rite (Hook) | EA
0017AL | Adams Rite (Paddle) | EA
0018 | Exit Device Trim Full Escutcheon
0018AA | Knob (American) | EA
0018AB | Knob (Arrow) | EA
0018AC | Knob (Monarch) | EA
0018AD | Knob (Percision) | EA
0018AE | Knob (Sargent) | EA
0018AF | Knob (Von Duprin) | EA
0018AG | Knob (Yale) | EA
0018AH | Lever (American) | EA
0018AI | Lever (Arrow) | EA
0018AJ | Lever (Monarch) | EA
0018AK | Lever (Percision) | EA
0018AL | Lever (Sargent) | EA
0018AM | Lever (Von Duprin) | EA
0018AN | Lever (Yale) | EA
0019 | Replace I/C Cores
0019AA | Combinated (Arrow) | EA
0019AB | Combinated (Best) | EA
0019AC | Combinated (Corbin) | EA
0019AD | Combinated (Falcon) | EA
0019AE | Combinated (Sargent) | EA
0019AF | Combinated (Schlage Everest) | EA
0019AG | Combinated (Yale) | EA
0019AH | Combinated (KSP) | EA
0019AI | Uncombinated (Arrow) | EA
0019AJ | Uncombinated (Best) | EA
0019AK | Uncombinated (Corbin) | EA
0019AL | Uncombinated (Falcon) | EA
0019AM | Uncombinated (Sargent) | EA
0019AN | Uncombinated (Schlage Everest) | EA
0019AO | Uncombinated (Yale) | EA
0019AP | Uncombinated (KSP) | EA
0020 | Computer Managed Locks
0020AA | AD Cylindrical Lock Keypad - w/ I/C Housing, #AD200CY 70 KP BD SPA 626 | EA
0020AB | AD Cylindrical Lock Keypad - w/ I/C Housing, #AD200CY 70 KP BD SPA 613 | EA
0020AC | AD Cylindrical Lock Swipe Card - w/ I/C Housing, #AD200CY70MKGBD SPA 626 | EA
0020AD | AD Cylindrical Lock Swipe Card - w/ I/C Housing, #AD200CY70MKGBD SPA 613 | EA
0020AE | AD Cylindrical Lock Prox Card - w/ I/C Housing, #AD200CY70PRKBD SPA 626 | EA
0020AF | AD Cylindrical Lock Prox Card - w/ I/C Housing, #AD200CY70PRKBD SPA 613 | EA
0020AG | AD Mortise Lock Keypad - w/ I/C Housing, #AD200MS70KPBD SPA 626 | EA
0020AH | AD Mortise Lock Keypad - w/ I/C Housing, #AD200MS70KPBD SPA 613 | EA
0020AI | AD Mortise Lock Swipe Card - w/ I/C Housing, #AD200MS70MGKBD SPA 626 | EA
0020AJ | AD Mortise Lock Swipe Card - w/ I/C Housing, #AD200MS70MGKBD SPA 613 | EA
0020AK | AD Mortise Lock Prox Card - w/ I/C Housing, #AD200MS70PRKBD SPA 626 | EA
0020AL | AD Mortise Lock Prox Card - w/ I/C Housing, #AD200MS70PRKBD SPA 613 | EA
0020AM | BasisG 45HG Mortise Lock Swipe Card / Keypad Dual Validation 626 Finish | EA
0020AN | BasisG 93KG Cylindrical Lock Trim Swipe Card / Keypad Dual Validation 626 Finish | EA
0021 | Computer Managed Exit Device Trim
0021AA | AD Trim Keypad - w/ I/C Housing #AD993R KP BD SPA 626 | EA
0021AB | AD Trim Keypad - w/ I/C Housing #AD993R KP BD SPA 613 | EA
0021AC | AD Trim Swipe Card - w/ I/C Housing #AD993R MGK BD SPA 626 | EA
0021AD | AD Trim Swipe Card - w/ I/C Housing #AD993R MGK BD SPA 613 | EA
0021AE | AD Trim Prox Card - w/ I/C Housing #AD993R PRK BD SPA 626 | EA
0021AF | AD Trim Prox Card - w/ I/C Housing #AD993R PRK BD SPA 613 | EA
0021AG | Reserved | EA
0021AH | Rim Exit Device X AD Trim Keypad - w/ I/C Housing #AD993R KP BD SPA 626 | EA
0021AI | Rim Exit Device X AD Trim Keypad - w/ I/C Housing #AD993R KP BD SPA 613 | EA
0021AJ | Rim Exit Device X AD Trim Swipe Card - w/ I/C Housing #AD993R MGK BD SPA 626 | EA
0021AK | Rim Exit Device X AD Trim Swipe Card - w/ I/C Housing #AD993R MGK BD SPA 613 | EA
0021AL | Rim Exit Device X AD Trim Prox Card - w/ I/C Housing #AD993R PRK BD SPA 626 | EA
0021AM | Rim Exit Device X AD Trim Prox Card - w/ I/C Housing #AD993R PRK BD SPA 613 | EA
0021AN | VR Exit Device X AD Trim Keypad - w/ I/C Housing #AD993SV KP BD SPA 626 | EA
0021AO | VR Exit Device X AD Trim Keypad - w/ I/C Housing #AD993SV KP BD SPA 613 | EA
0021AP | VR Exit Device X AD Trim Swipe Card - w/ I/C Housing #AD993SV MGK BD SPA 626 | EA
0022 | ADA AUTOMATIC DOOR CLOSER AND ELECTRONIC DEVICES
0022AA | 9540 SINGLE HEADER 1 OPERATOR PUSH OR PULL CLR OR DKB | EA
0022AB | 9540DD DOUBLE HEADER 1 OPERATOR PUSH OR PULL CLR OR DKB
0022AC | 9550 DOUBLE HEADER 2 OPERATOR PUSH OR PULL CLR OR DKB
0022AD | 9540-3077 PUSH ARM
0022AE | 9540-3077T PULL ARM
0022AF | 9530-30288 TRACK
0022AG | 9530-73 TRACK END CAP
0022AH | 9530-3034 TRACK ROLLER
0022AI | 9530-518 CABLE/PARTS BAG
0022AJ | 9540-3454 MOTOR GEARBOX
0022AK | 9540-3462 CONTROLLER
0022AL | 9540-79 ROD FOR ARM
0022AM | 9540-11A SPINDLE PLATE 2 3/4''
0022AN | 9540-12 BLANK PLATE
0022AO | 8310-8610TW ACTUATOR PKG. 2-BUTTONS W/ BOXES, 2-TRANSMITTERS, 1-RECERIVER
0022AP | 8310-856 PUSHBUTTON ONLY
0022AQ | 8310-868S BOX ONLY
0022AR | 8310-865 RECEIVER ONLY
0022AS | 8310-844 TRANSMITTER ONLY
0022AT | 8310-866 BOLLARD POST
0022AU | 8310-806K KEY SWITCH
0022AV | 8310-854 HEADER MOUNT MOTION SENSOR
0022AW | 8310-877 HEADER MOUNT SAFTEY SENSOR
0022AX | 8310-804-2 DOOR MOUNT SAFTEY SENSOR 2 ELEMENT
0022AY | 8310-3881 SINGLE DOOR SENSOR PACK 2-854, 2-804-2, 1-877, 1-877S, 1-847
0022AZ | 8310-3881 DOUBLE DOOR SENSOR PACK 2-854, -42-804-2, 1-877, 1-877S, -2-847
0022BA | 8310-845 RELAY AND DOOR SEQUENCER
0022BB | 8310-824 24VAC TRANSFORMER
0022BC | 8310-3803 WIRELESS CONVERSION KIT 1-RECEIVER, 2-TRANSFORMERS
0022BD | PS902 2 AMP POWER SUPPLY
0022BE | PS904 4 AMP POWER SUPPLY
0022BF | PS906 6 AMP POWER SUPPLY
0022BG | PS914 EL POWER SUPPLY
0022BH | 900-2RS 2 RELAY BOARD
0022BI | 900-4R 4 RELAY BOARD
0022BJ | 900-4RL 4 RELAY BOARD PROGRAMMABLE
0022BK | 900-8F 8 FUSED OUTPUTS BOARD
0022BL | 900-FA FIRE ALARM RELAY BOARD
0022BM | 900-BB BATTERY BACKUP BOARD
0022BN | 900-BAT BARRERIES ONLY (2)
0022BO | 900-BBK BATTERY BACKUP KIT 2-BATTERIES 1-900-BB BATTERY BACKUP BOARD
0022BP | EL KIT ELECTRIC LATCH RETRACTION KIT
0022BQ | QEL KIT QUIET LATCH RETRACTION KIT
0022BR | RX-2 RX KIT - 2 SWITCHES
0022BS | 788-18 DOOR CORD
0022BT | 621RDEX PUSH TO EXIT BUTTON
0022BU | 653-04 KETSWITCH SPDT
0022BV | 692 TOUCHBAR