| SUBJECT* | Multi-gas detection equipment |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 21902 |
| --- | --- |
| SOLICITATION NUMBER* | 36C24526Q0466 |
| RESPONSE DATE/TIME/ZONE | 04-30-2026 09:00 EASTERN TIME, NEW YORK, USA |
| ARCHIVE | 60 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | 6665 |
| NAICS CODE* | 334519 |
| CONTRACTING OFFICE ADDRESS | Department of Veterans Affairs VA Maryland Health Care System Contracting Officer (90C) P.O. Box 1000, Bldg. 101, Room 26 Perry Point MD 21902 |
| POINT OF CONTACT* | Contracting Officer Alison Klein alison.klein@va.gov Charles Cameron charles.cameron3@va.gov |

PLACE OF PERFORMANCE

| ADDRESS | Perry Point VA Medical Center |
| --- | --- |
|  | 361 Boiler House Rd |
|  | Perry Point, MD |
| POSTAL CODE | 21902 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL |  |
| --- | --- |
| URL DESCRIPTION |  |
| AGENCY CONTACT’S EMAIL ADDRESS |  |
| EMAIL DESCRIPTION |  |

DESCRIPTION

DESCRIPTION

REQUEST FOR INFORMATION

This RFI is being sent solely for information and planning purposes and does not constitute a solicitation or obligation on the part of the Government.  Per FAR 15.201(e), responses to this notice are not considered offers, shall not be used as a proposal, and cannot be accepted by the Government to form a binding contract.  Neither unsolicited proposals nor any other kinds of offers will be considered in response to this notice.  No evaluation letters and/or results will be issued to the respondents; however, the Government does reserve the right to contact any respondent and/or respondent reference to obtain additional information.  At this time, no solicitation exists; therefore, please do not request a copy of the solicitation.  Any resulting procurement action will be the subject of a separate, future announcement.  The information is provided for discussion purposes and any potential strategy for this acquisition may change prior to any solicitation release.  The acquisition strategy, evaluation methodology, contract type, and any other acquisition decisions are to be determined.

The Department of Veteran Affairs, located at Perry Point VA Medical Center located at 361 Boiler House Rd, Perry Point, Maryland, 21902 is seeking a multi-gas detection equipment.

The associated North American Industrial Classification System (NAICS) code for this procurement is 334519- Other Measuring and Controlling Device Manufacturing, size standard is 600 employees.

Salient Characteristics:

Equipment/Supply/Instrument Dimensions:

  - Height up to 4.1in

  - Width up to 2.3in

  - Depth up to 2.4in

  - Weight up to 8.5oz

Display/Monitor/Screen:

- Height up to 1.8in

- Width up to 1.8in

Power Requirements:

  - Voltage (AC/DC) (compliant to U.S electrical outlets)

  - Power Cable Length 4ft

  - Grounded

  - Battery Powered/Backup

  - Rechargeable, Expendable

  - Hours to Recharge: up to 4hrs

Working Volume/ Product Performance/Additional requirements:

- Operating hours: up to 4hrs

Accessories/Consumables:

- Filters

Warranty and Parts/Service Requirements:

- Minimum Warranty Months/Years: Lifetime Warranty

- Parts/Service/Support options: Lifetime Warranty

Cleaning Instructions (If sterilization is required):

  - Easy access to all panels for access to components needing sterilization purposes if needed

  - Cleaning cloth for the LCD monitor.

Other pertinent information that describes the item, material or service needed:

  - Monitor that allows the user to monitor up to five gases simultaneously and manage worker safety. Sensor configuration to include, at a minimum:

    - Oxygen (O2)

    - Carbon Monoxide (CO)

    - Hydrogen Sulfide (H2S)

    - Hydrogen Cyanide (HCN)

    - Lower Explosive Limit (LEL)

  - Multi-gas monitor that connects workers for live monitoring to instantly receive real-time location data, man-down alarms, and gas alerts.

Responses:

The response must include descriptive literature demonstrating the product meets or exceeds the salient characteristics specified above.

The Government's intent is to include all ancillary items to ensure the equipment can function as designed by the Original Equipment Manufacturer (OEM) and as clinically required. Vendors are encouraged to provide any product solution or configuration so long as they meet the salient characteristics. Additionally, responses can include any additional product that may be beneficial. These items must be clearly identified by brand name and part number.

Responses to this Sources Sought Notice shall include the following:

- Does vendor offer an annual service plan, Yes or No?

- If Yes:

  - What does the plan cover?

  - Does plan cover software updates only?

  - Does the plan cover parts repair or replacement only?

  - Does the plan cover both software and parts?

- Vendor are requested to provide documentation that shows information on their service plan.

- Is the service provided by the OEM or a subcontractor?

- Full name and address of company

- DUNS number/ CAGE Code/ SAM UIE

- Business Size

- Manufacturer or Distributor

  - If distributor provide full name, business size and address of manufacturer.

- Country of Origin designation for all products MUST COMPLETE THIS SECTION

- Technical Literature that clearly shows product(s) meet the identified salient characteristics and page numbers where each salient characteristic is met.

- Any additional product solution or configuration that would be beneficial to the clinical functionality of the product line identified.

- Authorized Distributor Letter Certified by OEM with a current date.

Although not required, vendors responding to this Sources Sought may also submit a Capabilities Statement.