| SUBJECT* | Bruker CellScape System Preventative Maintenance Services Boise VAMC B 4 |
| --- | --- |

GENERAL INFORMATION

| CONTRACTING OFFICE’S ZIP CODE* | 98661 |
| --- | --- |
| SOLICITATION NUMBER* | 36C26026Q0578 |
| RESPONSE DATE/TIME/ZONE | 04-22-2026 3:00PM PACIFIC TIME, LOS ANGELES, USA |
| ARCHIVE | 15 DAYS AFTER THE RESPONSE DATE |
| RECOVERY ACT FUNDS | N |
| SET-ASIDE |  |
| PRODUCT SERVICE CODE* | J066 |
| NAICS CODE* | 811210 |
| CONTRACTING OFFICE ADDRESS | Network Contracting Office 20 ATTN: V4CONT 1601 E. Fourth Plain Blvd Bldg.17, Suite B428 Vancouver WA 98661 |
| POINT OF CONTACT* | Contracting Officer Peter Park Peter.Park2@va.gov |

PLACE OF PERFORMANCE

| ADDRESS | Boise VA Medical Center |
| --- | --- |
|  | 500 W. Fort Street |
|  | Boise ID |
| POSTAL CODE | 83702 |
| COUNTRY | USA |

ADDITIONAL INFORMATION

| AGENCY’S URL | https://www.va.gov/boise-health-care/ |
| --- | --- |
| URL DESCRIPTION | Boise VAMC |
| AGENCY CONTACT’S EMAIL ADDRESS | Peter.Park2@va.gov |
| EMAIL DESCRIPTION | Contracting POC |

DESCRIPTION

# Notice of Sources Sought

The purpose of this Sources Sought Announcement is for market research to make appropriate acquisition decisions and to gain knowledge of potential qualified Service-Disabled Veteran Owned Small Businesses (SDVOSB), Veteran Owned Small Businesses (VOSB), and Small Businesses interested and capable of providing the services requested, as well as any large businesses.  The results from this source sought notice will be used to determine the appropriate set-aside.

The intended contract is a firm-fixed price service contract.

The SBA Non-Manufacturer Rule is not applicable as the intended contract is for services.

The Department of Veterans Affairs, NCO20 is looking for manufacturer authorized service providers with access to OEM parts of the following requirement:

Preventative maintenance and repair of Bruker Spatial Biology CellScape Proteomics System (Serial number CS_24-048)

Statement of Work:

Statement of Work.  Service agreement for a Bruker Spatial Biology CellScape Proteomics System

Background.  Research Services at the Boise VAMC acquired a CellScape Spatial Proteomics system, serial number CS_24-048, in 2024, which is used by researchers to automatically immuno-stain and image samples for biomarker analysis.

Scope.  The instrument’s initial warranty will expire on 7/23/2026 and will require a preventative maintenance and repair contract to maintain its functionality.  Bruker is the sole manufacturer of the instrument.  All service work must be performed by Bruker trained and certified technicians and only OEM parts may be used or risk voiding and nullifying any applicable warranties.  The site of the work will be in Research Services, building #117, room 128.

Specific Tasks.

- For base year and all option years the following must be covered:

- Annual preventative maintenance.

- Service calls to repair instrument malfunctions.

- Cost of all replacement parts, including shipping and handling costs.

- Labor and travel.

- Software updates.

Hours of Coverage & Federal Holidays. The contractor will be required to work during normal Boise VA Medical Center’s business hours.  Those hours are defined as Monday through Friday, 8:00 AM to 4:30 PM.  All visits must be scheduled in advance with Research Services.

Services will not be performed on the following legal government holidays:

New Year’s Day	Jan 1st

Martin Luther King Day	3rd Monday in January

President’s Day	3rd Monday in February

Memorial Day 	Last Monday in May

Juneteenth	June 19th

Independence 	Day July 4th

Labor Day 	1st Monday in September

Columbus Day 	2nd Monday in October

Veteran Day 	November 11th

Thanksgiving 	4th Thursday in November

Christmas 	December 25th

Technical Point of Contact.  The point of contact (POC) will be a Research staff member familiar with the operation of the instrument.  The POC is NOT a Contracting Officer Representative (COR).

Performance Monitoring.  The POC will escort the contractor while in the Research facility and will be available to respond to inquiries by the contractor.  The contractor will review all services performed on the instrument with the POC and provide a copy (hard or electronic) of the service report for Research’s records within 2 weeks of the service call.  The POC will notify the AO of Research Services of all work completed by the contractor.

Security Requirements.  The contractor will not have the need or have access to the VA internet network system or patient information and will not require routine access to VA Facilities.  No security clause is required.  The C&A requirements do not apply, and a Security Accreditation Package is not required.

The contractor will require intermittent access to the Research building only during scheduled visits and will be escorted by a VA Research employee during those times.  No background investigation is required.

Government-Furnished Equipment (GFE)/Government-Furnished Information (GFI).  No GFE or GFI will be needed or provided, since the imager system is a stand-alone instrument.  The contractor does not require access to any additional equipment or materials.

Other Pertinent Information or Special Considerations.  The contractor must be Bruker trained and authorized to repair and provide service to this system according to the manufacturer to avoid invalidating existing warranties.

a.  Identification of Possible Follow-on Work

Repairs that cannot be completed during the initial visit.

b.  Identification of Potential Conflicts of Interest (COI)

It has been determined by the AO that no conflict of interest exists with the contract.

c.  Inspection and Acceptance Criteria

With the contractor present, the POC will verify that the contractual work has been performed and will relay the information to the AO of Research.

Risk Control.  Research building 117 is designated as a BSL-2 facility.  The rooms are marked to denote specific hazards that are currently in use.  In the rooms where the work will be performed, the PPE requirements will be noted, as per policy and PPE will be available.  Additionally, there are no patients, nor patient care in the research buildings.

As per contractor’s requirements, the instrument will be cleaned and disinfected, if necessary, before work commences.

Place of Performance.

Boise VAMC

Research Building #117

500 W. Fort Street

Boise, ID  83702

Payment.  The invoice for the service contract must be submitted via the Financial Services Center Mandatory Electronic Invoice System, Tungsten, on an annual basis.  All invoices must include the following information:  vendor’s name, service contract number, the billed period of performance and PO number.  Payment of submitted invoices will be approved by the AO of Research.

Period of Performance.

Base Year:  July 24, 2026 – July 23, 2027

Option Year One:  July 24, 2027 – July 23, 2028

Option Year Two:  July 24, 2028 – July 23, 2029

Option Year Three:  July 24, 2029 – July 23, 2030

Option Year Four:  July 24, 2030 – July 23, 2031

Delivery Schedule.

| Timeline | Task | Deliverable | Documentation |
| --- | --- | --- | --- |
| Base year | Invoice | Annual | Submission to Tungsten & 1 copy to POC |
| Base year | Service call(s) as required | Service report will be provided within 2 weeks of the visit | 1 copy to POC |
| Option year 1 | Invoice | Annual | Submission to Tungsten & 1 copy to POC |
| Option year 1 | Service call(s) as required | Service report will be provided within 2 weeks of the visit | 1 copy to POC |
| Option year 2 | Invoice | Annual | Submission to Tungsten & 1 copy to POC |
| Option year 2 | Service call(s) as required | Service report will be provided within 2 weeks of the visit | 1 copy to POC |
| Option year 3 | Invoice | Annual | Submission to Tungsten & 1 copy to POC |
| Option year 3 | Service call(s) as required | Service report will be provided within 2 weeks of the visit | 1 copy to POC |
| Option year 4 | Invoice | Annual | Submission to Tungsten & 1 copy to POC |
| Option year 4 | Service call(s) as required | Service report will be provided within 2 weeks of the visit | 1 copy to POC |

Required Information in Your Response to Sources Sought:

In order to be considered a valid source that can impact the set-aside determination of a possible future solicitation, potential contractors shall provide, at a minimum, the following information to peter.park2@va.gov by below response deadline:

1) Company name, address, and point of contact, phone number, e-mail address, and UEI.

2) Please identify your company’s size in comparison to the anticipated North American Industry Classification System (NAICS) code 811210 – Laboratory Instrument Repair and Maintenance Services. To be considered a small business your company must have less than 34 million dollars in average annual receipts. This notice is to determine the marketplace for this specific requirement.  Please check one of the following:

[  ] yes   [  ] no     Service Disabled Veteran Owned Small Business (SDVOSB)

[  ] yes   [  ] no     Veteran Owned Small Business (VOSB)

[  ] yes   [  ] no     Women Owned Small Business (WOSB)

[  ] yes   [  ] no     HUBZone

[  ] yes   [  ] no     Small Business Manufacturers

[  ] yes   [  ] no     All other Small Business (SB)

[  ] yes   [  ] no     Other than Small Business

3) Any socioeconomic business must have an SBA certification at https://search.certifications.sba.gov/.

4) Only authorized service representatives/providers of the manufacturer (Bruker) with access to OEM parts will be considered.  No used, refurbished, remanufactured, or counterfeit parts will be allowed. Please provide a proof of authorized service provider letter from manufacturer stating you have access to OEM parts for repairs.  Your response will not count for a set-aside without a proof of authorized service provider.

5) Please provide a courtesy quote in response to this request to evaluate price reasonableness for any set-aside determination.  (Base + 4 Option Years)

6) Capabilities Statement addressing the requirements in the Statement of Work to include:

- References for similar services currently being provided or previously provided at the required service levels as outlined in the Statement of Work.

The Government is not obligated to nor will it pay for or reimburse any costs associated with responding to this sources sought notice.  This notice shall not be construed as a commitment by the Government to issue a solicitation or ultimately award a contract, nor does it restrict the Government to a particular acquisition approach. The Government will in no way be bound to this information if any solicitation is issued.

Notice to Potential Offerors: All Offerors who provide goods or services to the United States Federal Government must be registered in the System Award Management (SAM located on the web at www.sam.gov).  It is desirable that any Offeror to have completed their business Online Representations and Certifications Application in the System for Award Management (SAM).

Service Address:

# Boise VA Medical Center

# Search Building #117

# 500 W. Fort Street

# Boise, ID 83702

# Point of Contact:

# Peter Park

Contracting Officer

peter.park2@va.gov

Response Deadline: 
04/22/2026 by 3:00pm Pacific Time