Trailer-Mounted Mobile Fuel Bowser

•	Dual axel w/electric brakes

•	Trailer mounted

•	Towable at highway speeds

•	Heavy Duty for off road and remote use

•	No special driver certification requirements

•	Electric trailer jack

•	Safety tow chains

•	Adjustable height hitch

•	DOT trailer Lighting

•	500 Gallon capacity with internally baffled fuel tank

•	Fuel level gauge

•	Diesel driven fuel pump with electric start

•	Mechanical fuel dispensing meter

•	1” x 50’ DIESEL fuel heel w/ high flow swivel & nozzle

•	50’ static discharge reel

•	Work Lights

•	Solar battery charger

•	Spill containment kit

•	Lockable cabinets for security

•	Filtration

•	Weather resistant

•	Air Compressor with hose and reel