## POL Fuel Depot Description
ATTACHMENT J-1502000-06 (Tab 015)
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION - FUELS
Funding Activity: NAVSUP FUELS - DLA ENERGY FUNDED
The Depot Fuel Farm is a bulk fuel storage facility consisting of the following: two vertical aboveground JP-5 bulk storage tanks; three horizontal aboveground storage tanks for storing secondary products - one each for diesel, JP-8 de-fuel, and slop; one horizontal aboveground vault type surge tank; and one horizontal underground product recovery tank. The primary product, JP-5, is received through either a pipeline from Augusta Bay or from the truck off-loading stations. Once received, a system of pumps, filters and associated equipment can condition the fuel for storage, transfer the fuel within the depot system, or transfer fuel between a truck loading and off-loading station and the associated storage tank. The truck loading/unloading system consists of the following: two single point unloading stations for unloading aircraft refueler trucks; two single-point loading stations for aircraft refueler trucks; two JP-5 fuel unlacing positions for commercial trucks; one truck loading/unloading position for diesel fuel; one truck loading/unloading position for waste oil; and one truck loading/unloading position for slop. Preventive Mainenance Program (PM) responsibility includes entire system and components from connection to supply pipeline to the connection to the Aviation Fuels system and includes all visible and pit accessible piping, cathodic protection systems, oil water separators and all miscellaneous equipment as listed.

## Fuels 1 FacilitiesList
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
"Fuels Area 1" Facility Listing
Facility Number | Building Name | Tab Name
1029 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Motor Control Center
1030 & 1030E |  | Control Room
1031 |  | Offload Station 407
1032 |  | Truck Fill Stand 405
1033 |  | Truck Fill Stand 402
1034 |  | Truck Fill Stand 401
1035 |  | Truck Fill Stand 403
1036 |  | Truck Fill Stand 404
1037 |  | Offload Station 406
1038 |  | Filter & Pump station
1040 |  | Pipelines
1041 |  | PRT-302
1042 |  | T-201
1043 |  | T-202
1044 |  | T-203
1045 |  | Bulk Tanks
1046 |  | Bulk Tanks
1047 |  | OWS
1048 |  | Up-LS Pit Valve
1049 |  | LeakDB
1051 |  | Truck Parking
1052 |  | Transfer line & Pits
1056 |  | Pig Receiver

## Bulk Tanks
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 JP5 Bulk Storage Tank 101 & T-102
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| Bulk Tanks | 2 |  |  |  |  | 4.180.000 LT | 2005
| TANK VENT (Windows) | 18 | [5 empty] | 2005
| TANK MANHOLE WITH COVER | 8 | [5 empty] | 2005
| 2" TANK COOLING PIPES (Fire F. Sy.) | I.Q. | [5 empty] | 2005
| TANK CONCRETE JOINTS SEALING | I.Q. | [5 empty] | 2005
| SPRINKLER HEADS | 80 | [5 empty] | 2005
| COOLING PIPE SUPPORTS (Fire F.S.) | I.Q. | [5 empty] | 2005
| BERM LINER | I.Q. | [5 empty] | 2005
| CARPET WALKWAY | I.Q. | [5 empty] | 2005
| TWINS CONNECTIONS (Fire Fight Sy.) | 4 | [5 empty] | 2005
| BACKFLOW PREVENTER (Fire F.S.) | 2 | [5 empty] | 2005
| FLOATING ROOFS | 2 | Petrex |  |  |  |  | 2005
| Tank Basement Waterproof Sealant | I.Q. | [5 empty] | 2005
| BASEMENT SLOPED PIPE | I.Q. | [5 empty] | 2005
| 8" Ball Joints | 4 | Alpha |  |  |  |  | 2005
| 14" Ball Joints | 4 | Alpha |  |  |  |  | 2005
| THERMAL RELEIF VALVES | 14 | Taylor |  |  |  |  | 2005
| 2" Flexible Pipe | 2 | [5 empty] | 2005
| 3" Flexible Pipe | 2 | [5 empty] | 2005
| PRESSURE GAUGE WITH SNUBER | 8 | [5 empty] | 2005
| FROM 1" TO 2" Sight Glasses | 22 | [5 empty] | 2005
| 18 Lit. BASKET STRAINER | 2 |  |  |  |  | 12 LT | 2005
| DIFFERENTIAL PRESSURE GAUGE | 4 | [5 empty] | 2005
| PIPE SIGHT GLASSES | [6 empty] | 2005
| 1/2" Pipe sight glasses | 2 | [5 empty] | 2005
| HORIZONTAL FILTER SEPARATOR | 2 |  |  |  |  | 110 LT | 2005
| 1" In-Line Strainer | 2 | [5 empty] | 2005
| CONCRETE & STEEL SUPPORT PIPES | I.Q. | [5 empty] | 2005
| GROUNDING | I.Q. | [5 empty] | 2005
| LABELING | I.Q. | [5 empty] | 2005
| ARROWS | I.Q. | [5 empty] | 2005
| ATGs | 2 | ENRAF |  |  |  |  | 2005
| ATGs | 2 | Scully |  |  |  |  | 2005

## Filter & Pump Station
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 Filter & Pump Station
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| BASKET STRAINER | 4 |  |  |  |  | 86 LT | 2005
| PRESSURE GAUGE | 26 |  |  |  |  | 0.25 BAR | 2005
| FROM 3/8" TO 1" Plugs | I.Q. | [5 empty] | 2005
| HORIZONTAL FILTER | 3 | FACET |  |  |  | 230 LT | 2005
| HORIZONTAL FILTER | 3 | FACET |  |  |  | 160 LT | 2005
| HORIZONTAL FILTER | 3 | FACET |  |  |  | 445 LT | 2005
| VERTICAL FILTER | 3 | FACET |  |  |  | 620 LT | 2005
| DIFFERENTIAL PRESSURE GAUGE | 15 | FACET |  | 686836 |  |  | 2005
| PIPE SIGHT GLASSES | 9 | [5 empty] | 2005
| SIGHT GLASSES | 60 | [5 empty] | 2005
| HIGH PRESSURE FLEXIBLE PIPES | [6 empty] | 2005
| 4" High Pressure Flexible Pipe | 3 | [5 empty] | 2005
| CONCRETE JOINT SEALING | I.Q. | [5 empty] | 2005
| LABELING | I.Q. | [5 empty] | 2005
| ARROWS | I.Q. | [5 empty] | 2005
| PORTABLE EYEWASH STATION | 5 | [5 empty] | 2008
| Oil-Water Separator | 1

## Truck Fill Stand-401
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 JP5 TRUCK FILL STAND 401
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| NOZZLE & Plastic Plug | 1 | Cla.Val.
| HOSE SUPPORT COVER | 1
| SWEEWEL JOINT | 1
| 1" Sight Glass | 8
| 4" Sight Glass | 1
| 6" Sight Glass | 2
| THERMAL RELEIF VALVES | 8
| BASKET STRAINER | 1
| CONCRETE & STEEL SUPPORTS PIPING | I.Q.
| LABELING | I.Q.
| ARROWS | I.Q.

## Truck Fill Station-402
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 JP5 TRUCK FILL STAND 402
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| NOZZLE & Plastic Plug | 1 | Cla.Val.
| HOSE SUPPORT COVER | 1
| SWEEWEL JOINT | 1
| 1" Sight Glass | 8
| 4" Sight Glass | 1
| 6" Sight Glass | 2
| THERMAL RELEIF VALVES | 8
| BASKET STRAINER | 1
| CONCRETE & STEEL SUPPORTS PIPING | I.Q.
| LABELING | I.Q.
| ARROWS | I.Q.

## Truck Fill Stand-403
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 DIESEL TRUCK FILL STAND 403
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| Fuel Nozzle receptacle & plastic plug | 1 | Cla.Val.
| 1" Sight Glass | 9
| 3" Sight Glass | 2
| THERMAL RELEIF VALVES | 9
| VENT VALVE | 1 | Grouth
| PIPE SIGHT Glass | 2
| PRESSURE GAUGE | 5
| SnUBBER | 4
| 4" Basket strainer | 1
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET
| CONCRETE & STEEL SUPPORTS PIPING | I.Q.
| LABELING | I.Q.
| ARROWS | I.Q.

## Truck Fill Stand-404
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 Slop TRUCK FILL STAND 404
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| Fuel Nozzle receptacle & plastic plug | 1 | Cla.Val.
| 1" Sight Glass | 9
| 3" Sight Glass | 2
| THERMAL RELEIF VALVES | 9
| VENT VALVE | 1 | Grouth
| PIPE SIGHT Glass | 2
| PRESSURE GAUGE | 5
| SnUBBER | 4
| 4" Basket strainer | 1
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET
| CONCRETE & STEEL SUPPORTS PIPING | I.Q.
| LABELING | I.Q.
| ARROWS | I.Q.

## Truck Fill Stand-405
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 DEFUEL TRUCK FILL STAND 405
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| 2" 1/2 Nozzle and Plastic plug | 1 | Cla.Val.
| 3" Sweewel Joint | 1
| 3/4" Thermal Relief valve | 8 | TAYLOR
| 1" Sight Glass | 8
| 3" Sight Glass | 1
| 4" Sight Glass | 2
| 1/2" Pressure gauge and Snubber | 4
| BASKET STRAINER | 1 |  |  |  |  | 12 LT
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET | 686836 | 1954
| METAL & STEEL SUPPORTS PIPING | I.Q.
| LABELING | I.Q.
| ARROWS | I.Q.

## Off Load Station-406
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 OFF LOAD STATION 406
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| SIGHT GLASSES | [6 empty] | 2005
| 1" Sight Glass | 6 | [5 empty] | 2005
| 4" Sight Glass | 5 | [5 empty] | 2005
| 3/4" Thermal Relief Valve | 6 | TAYLOR |  |  |  |  | 2005
| BASKET STRAINER | 1 | FACET |  |  |  | 84 LT | 2005
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET | 686836 | 1916 |  |  | 2005
| 1/2" Pressure gauge | 4 | [5 empty] | 2005
| Flow Indicator | 1 | LC |  |  |  |  | 2005
| PIPE SIGHT GLASSES | 2 | [5 empty] | 2005
| CONCRETE AND STEEL SUPPORTS | I.Q. | [5 empty] | 2005
| LABELING | I.Q. | [5 empty] | 2005
| ARROWS | I.Q. | [5 empty] | 2005

## Off Load Station-407
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 OFF LOAD STATION 407
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| SIGHT GLASSES | [6 empty] | 2005
| 1" Sight Glass | 6 | [5 empty] | 2005
| 4" Sight Glass | 5 | [5 empty] | 2005
| 3/4" Thermal Relief Valve | 6 | TAYLOR |  |  |  |  | 2005
| BASKET STRAINER | 1 | FACET |  |  |  | 84 LT | 2005
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET | 686836 | 1916 |  |  | 2005
| 1/2" Pressure gauge | 4 | [5 empty] | 2005
| Flof Indicator | 1 | LC |  |  |  |  | 2005
| PIPE SIGHT GLASSES | 2 | [5 empty] | 2005
| CONCRETE AND STEEL SUPPORTS | I.Q. | [5 empty] | 2005
| LABELING | I.Q. | [5 empty] | 2005
| ARROWS | I.Q. | [5 empty] | 2005

## T-201, T-202, T-203
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 - AST T201, T202 T203
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| Horizontal Tanks | [5 empty] | 95,000 Lt | 2005
| VENT PIPES | 6 | [5 empty] | 2005
| 3" High Pressure Pipe | 3 | [5 empty] | 2005
| 4" High Pressure Pipe | 6 | [5 empty] | 2005
| THERMAL RELIEF VALVES | 12 | Taylor |  |  |  |  | 2005
| 1" Sight Glass | 12 | [5 empty] | 2005
| BASKET STRAINER | 3 |  |  |  |  | 33 LT | 2005
| PIPING | I.Q. | [5 empty] | 2005
| LABELING | I.Q. | [5 empty] | 2005
| ARROWS | I.Q. | [5 empty] | 2005
| CONTAINEMENT CONCRETE BERM | I.Q. | [5 empty] | 2005
| ATGs | 2 | ENRAF |  |  |  |  | 2005
| ATGs | 2 | Scully |  |  |  |  | 2005

## Product Recovery Tank-302
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 - PRODUCT RECOVERY TANK 302
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| UST-DW FIBERGLASS Tank 302 | 1 | Fluid Containment |  |  |  | 6000 GAL. | 2005
| 1" Sight Glass | 2 | [5 empty] | 2005
| 2" Sight Glass | 2 | [5 empty] | 2005
| 3/4" Thermal Relief Valve | 2 | Taylor |  |  |  |  | 2005
| ATG | 1 | Enraf |  |  |  |  | 2005
| ATG | 1 | Scully |  |  |  |  | 2005
| VENT PIPE | 1 | [5 empty] | 2005
| CONCRETE & STEEL SUPPORTS PIPING | I.Q. | [5 empty] | 2005
| LABELING | I.Q. | [5 empty] | 2005
| ARROWS | I.Q. | [5 empty] | 2005

## Up-Lift St.
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 Up-Lift Station
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| 6" VENT PIPE | 1

## OWS
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 OIL WATER SEPARATOR 1047
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| VENT PIPES | 3
| THERMAL RELIEF VALVE | 1
| PRESSURE GAUGE WITH SNUB | 1
| 1" Sight Glasse | 1
| 2" Sight Glass | 1

## Truck Parking
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 TRUCK PARKING
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| CONCRETE JOINTS SEALENT | I.Q.

## Pipelines
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
Fuel 1 Depot Pipelines
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| FROM 1" TO 14" Piping | I.Q.
| LABELING | I.Q.

## Transfer Line Pits
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
F1 - F2 TRANSFER LINE PITs
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| CONCRETE MANHOLE WITH COVER | 1 | [5 empty] | 2005
| PIPING | I.Q. | [5 empty] | 2005
| LABELING | I.Q. | [5 empty] | 2005

## Pig Receiver
ATTACHMENT J-1502000-06.a
POL SYSTEM FACILITIES AND DISTRIBUTION SYSTEM DESCRIPTION
Preventive Maintenance (PM)
F1 - PIG RECEIVER
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| LEAK DETECTION CONCRETE BOX | 9 | [5 empty] | 2005
| PIPING | I.Q. | [5 empty] | 2005
| CLEANING | I.Q. | [5 empty] | 2005