#### Use this document to detail specifications/requirements for an item and/or ancillary services.

# TITLE: Multiwavelength Tunable Stable Optical Cavity System

## Requesting Lab/Division/Group: PML/Time and Frequency Division/ADI (688.90)

# General Statement of Need

The project aims to develop chip-scaled voltage reference using Rydberg atoms. The development leverages precision laser spectroscopy probe atomic levels through multi-photon transition. The spectroscopy requires specific wavelengths to interact with the atomic media in the cells either with a high power green visible light to reach the highly excited Rydberg states combined with a near IR laser to probe or a visible laser for multiphoton transition. All laser has to be frequency stabilized to a refence and either with optical comb or stable optical reference cavity. Optical combs typically cost are significant higher with limited ports so a reference cavity would be a better choice. All items must be new. Prototypes, first articles, demonstration models, used, refurbished or otherwise developmental systems, will not be considered for award.

Items and/or Ancillary Services

| Item 1: optical reference cavity in a vacuum package Quantity: 1 Specifications: Specification 1.1 cavitity with finesse >10k for 852nm, 510 nm, 638 nm, 656 nm. Specificaiton 1.2 zero crossing temperature characterization and temperature control tuned to the zero crossing. Specification 1.3 vacuum housing to enclouse cavity and ion pump. Separately Priced Options and Services: Item 2: [List minimum specifications. Quantity: [Enter quantity here.] Specifications: [Enter quantity here.] [List any other item(s) or service requirements here using the same format above.] |  |  |
| --- | --- | --- |
| Service Requirements / Item Specifications |  |  |
| Section | Requirements/Specifications |  |
| Planning Considerations ☒ N/A | ☐ List any visits required to allow potential vendors to see site specific constraints. [Explain requirement here] ☐ US citizen required on-site (foreign nationals require preregistration 30 days prior) ☐ Vendor rep on-site more than three days ☐ Other considerations: [List other considerations to ensure an accurate quote] |  |
| Shipping & Delivery ☐ N/A | [Enter shipping and delivery information by item here.] Shipping criteria: ☐ Partial delivery acceptable ☐ Direct delivery to building required [Explain need for requirement here] Building has: ☐ Loading dock ☐ Containerization preference: [Choose container] Other requirements: [List any other requirements here] Delivery date criteria: ☒ Delivery of goods, installation, and training shall be completed no later than: 18 weeks ARO ☐ Deliver no earlier than: [Insert date here] ☐ Other: [List other shipping, delivery, or specil requirements] |  |
| Electronic Media ☒ N/A | [Enter electronic media requirements by item here.] ☐ Software ☐ Electronic manuals ☐ License Key ☐ Other: [List any other Electronic Media requirements here] [Enter email address for software delivery here] |  |
| Installation ☒ N/A | [Enter installation requirements by item here.] ☐ Vendor technician on site ☐ Rigging ☐ Uncrating / Unpackaging ☐ Removal of packaging material ☐ Equipment set up ☐ Start-up services ☐ Turn key installation ☐ Other [Enter details here.] Note: When installation is required, TPOC or COR shall be the coordination point. |  |
| Facility / Utility Considerations ☒ N/A | [List site specific utility considerations by item here.] ☐ OFPM Work Order Number(s) [List any Work Order Number(s) here] ☐ Power available Voltage: [Enter voltage here] (V) Max Current: [Enter max current draw here] (A) Phase: [Choose phase] Frequency: [Typically 60Hz] (Hz) NEMA Plug Type: [Enter plug type here] (i.e.: NEMA L5-20P) Environment: [Choose environment] Other power consideration: [List any other power considerations here] ☐ Utility connections: [List relevant available utilities, pressure(s), and flowrate(s)] ☐ Other considerations: [List other considerations to ensure an accurate quote] |  |
| Warranty ☒ N/A | [Choose warranty type here.] [If you require an Extended Manufacturer Warranty, describe the warranty requirements per item here.] What is included? ☐ Labor ☐ Parts ☐ Travel ☐ Cost and liability for returns ☐ Other: [Enter other requirements here] ☐ Warranty length: [Enter warranty length here] Period Length:[Ex. month, 6 month, year etc.] |  |
| Training ☒ N/A | [Training requirements (who, when, what, where) here. If on-site, is travel necessary?] ☐ On-site ☐ Off-site location: [Enter location(s) here] ☐ Number of trainees: [Enter number of trainees here] Scope of training: ☐ Operations ☐ Maintenance ☐ Troubleshooting ☐ Safety ☐ Other: [Enter other scope requirements here] ☐ Training materials to be provided: [Describe requirement here] ☐ Other: [Enter other training requirements here] Note: When training is required, TPOC or COR shall be the coordination point. |  |
| Inspection and Acceptance ☐ N/A | [Enter inspection requirements per item here] ☒ Planned government acceptance testing (7 business days) ☐ Gov’t acceptance expected to take longer than 7 business days: [Duration] ☐ Inspection and acceptance plan: [Explain here] ☐ Other: [Enter other requirements here] |  |
| Maintenance ☒ N/A | [Describe your maintenance requirements per item here] Period Length: [Ex. month, 6 month, year etc.] What is included? ☐ Labor ☐ Spare parts ☐ Consumables ☐ Travel ☐ Cost and liability for returns ☐ Software updates ☐ Manuals ☐ Service plan length: [Enter service plan length here] ☐ Other: [Enter other requirements here] ☐ Requirements: [Enter requirements here] (i.e.: onsite within 72 hours, etc.) |  |
|  | ☐ Option Period 1 | ☐ Option Period 2 |
|  | ☐ Option Period 3 | ☐ Option Period 4 |
| Government Furnished Material / Equipment ☒ N/A | [List any government furnished material/equipment per item here] ☐ Samples for testing ☐ Government equipment which will leave gov't site (TPOC must coordinate with division property custodian) Serial Number: [Enter Serial Number here] Description: [Enter description here] NIST property number: [Enter NIST property number here] ☐ Other: [Enter other details here] |  |
| Travel ☒ N/A | [Describe any travel requirements per item here] ☐ Explain: [Explain here] ☐ Other: [Enter other requirements here] #### Vendor: To the maximum extent possible, include as part of appropriate sections above (maintenance, repair, etc.). Otherwise, it will be a separate line item, reimbursable per the Federal Travel Regulation. |  |

# Provide suggestions to improve this form by clicking here.