## a. Water System
ATTACHMENT J-1606001-03 (Tab a)
WATER SYSTEM DESCRIPTION AND INVENTORY
MUIC | Location | Asset Number | Asset UID | Description | Master System | System | Sub-System | Quantity | UOM | Install Date | Additional Location Info | Location Description
| AIRFLD-419 | 6-FP-CV-601 | 5340304 | UEM,System Valve, Pump n.1, Check, 6.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-CV-602 | 5340334 | UEM,System Valve, Pump n.2, Check, 6.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-CV-603 | 5340336 | UEM,System Valve, Pump n.3, Check, 6.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-CV-604 | 5340338 | UEM,System Valve, Pump n.4, Check, 6.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-MTR-601 | 5340380 | UEM,Engine, for Pump 6-FP-P-601, 6 cylinders, Diesel, 208.0 HP | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-MTR-602 | 5340392 | UEM,Engine, for Pump 6-FP-P-602, 6 cylinders, Diesel, 208.0 HP | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-MTR-603 | 5340404 | UEM,Engine, for Pump 6-FP-P-603, 6 cylinders, Diesel, 208.0 HP | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-MTR-604 | 5340408 | UEM,Engine, for Pump 6-FP-P-604, 6 cylinders, Diesel, 208.0 HP | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-P-601 | 5340342 | UEM,Pump, Impeller n.1, Fire, red coated, steel, 1780 RPM, Centrifugal, 2,000.0, Gallons Per Minute | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-P-602 | 5340346 | UEM,Pump, Impeller n.2, Fire, red coated, steel, 1780 RPM, Centrifugal, 2,000.0, Gallons Per Minute | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-P-603 | 5340348 | UEM,Pump, Impeller, n.3, Fire, red coated, steel, 1780 RPM, Centrifugal, 2,000.0, Gallons Per Minute | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-P-604 | 5340356 | UEM,Pump, Impeller n.4, Fire, red coated, steel, 1780 RPM, Centrifugal, 2,000.0, Gallons Per Minute | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-P-605 | 5340368 | UEM,Pump, Jockey, Centrifugal, 253.0, Liters Per Minute | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PIPE-602 | 5340424 | UEM,Pipe, Manifold with 28 fire hose valves, 3.0, Meters | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | outside, wall mounted, beside access door | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PLC-601 | 5340210 | UEM,Control System, Generator ATS, PLC | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2021-12-10 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PNL-601 | 5340236 | UEM,Control System, Diesel Pump Controller#1, Motor Control | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1992-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PNL-603 | 5340262 | UEM,Control System, Diesel Pump Controller#3, Motor Control | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1996-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PNL-604 | 5340270 | UEM,Control System, Diesel Pump Controller#4, Motor Control | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1996-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PNL-605 | 5340376 | UEM,Control System, Jockey Pump, Panel | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PRV-601 | 5340292 | UEM,System Valve, Safety valve, Pressure Regulating, Wet System Alarm, Riser pipe, Other, 6.0, Inche | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PRV-602 | 5340296 | UEM,System Valve, Safety valve, Pressure Regulating, Pump n.1, Other, 6.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PRV-603 | 5340298 | UEM,System Valve, Safety valve, Pressure Regulating, Pump n.2, Other, 6.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PRV-604 | 5340300 | UEM,System Valve, Safety valve, Pressure Regulating, Pump n.3, Other, 6.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-PRV-605 | 5340302 | UEM,System Valve, Safety valve, Pressure Regulating, Pump n.4, Other, 6.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 |  | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-601 | 5340218 | UEM,System Valve, Riser pipe, Gate, 6.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | Riser pipe | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-602 | 5340234 | UEM,System Valve, jockey pump, with tamper switch, Gate, 3.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | Near jockey pump | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-603 | 5340240 | UEM,System Valve, To Pump n.1, with tamper switch, Gate, 12.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | To pump n.1 | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-604 | 5340242 | UEM,System Valve, Close to Pump n.1, on 600mm main, elevatedwith tamper switch, Gate, 600.0, Millime | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | Close to Pump n.1, on 600mm main, elevated | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-605 | 5340244 | UEM,System Valve, pump n.1, with tamper switch, Gate, 10.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | pump n.1 | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-606 | 5340246 | UEM,System Valve, pump n.1, elevated, with tamper switch, Gate, 10.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | pump n.1, elevated 10" pipe | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-607 | 5340250 | UEM,System Valve, To Pump n.2, with tamper switch, Gate, 12.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | To pump n.2 | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-608 | 5340264 | UEM,System Valve, pump n.2, with tamper switch, Gate, 10.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | pump n.2 | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-609 | 5340266 | UEM,System Valve, pump n.2, elevated, with tamper switch, Gate, 10.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | pump n.2, elevated 10" pipe | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-610 | 5340268 | UEM,System Valve, To Pump n.3, with tamper switch, Gate, 12.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | To pump n.3 | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-611 | 5340278 | UEM,System Valve, pump n.3, with tamper switch, Gate, 10.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | pump n.3 | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-612 | 5340280 | UEM,System Valve, pump n.3, elevated, with tamper switch, Gate, 10.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | pump n.3, elevated 10" pipe | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-613 | 5340282 | UEM,System Valve, To Pump n.4, with tamper switch, Gate, 12.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | To pump n.4 | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-614 | 5340284 | UEM,System Valve, pump n.4, with tamper switch, Gate, 10.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | pump n.4 | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-615 | 5340286 | UEM,System Valve, pump n.4, elevated, with tamper switch, Gate, 10.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | pump n.4, elevated 10" pipe | FIRE PRO PUMP STATION
| AIRFLD-419 | 6-FP-V-616 | 5340340 | UEM,System Valve, jockey pump, with tamper switch, Gate, 2.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 1997-07-01 | Near jockey pump | FIRE PRO PUMP STATION
| AIRFLD-1012 | 6-FP-CV-1001 | 5338782 | UEM,System Valve, Listed fire main, Check, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 | Between diesel pump and gate valve | PUMP CONTROL ROOM #2
| AIRFLD-1012 | 6-FP-MCC-1001 | 5338788 | UEM,Control System, Diesel Pump Control Panel, Motor Control | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 | Fire pump room | PUMP CONTROL ROOM #2
| AIRFLD-1012 | 6-FP-MTR-1001 | 5338794 | UEM,Engine, Fire pump 6-FP-P-001, Diesel, 104.0 HP | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #2
| AIRFLD-1012 | 6-FP-P-1001 | 5338806 | UEM,Pump, Fire, red coated, steel, Centrifugal, 1,250.0, Gallons Per Minute | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #2
| AIRFLD-1012 | 6-FP-V-1001 | 5338808 | UEM,System Valve, Listed fire main, red coated, with tamper switch, Gate, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #2
| AIRFLD-1012 | 6-FP-V-1002 | 5338810 | UEM,System Valve, Listed fire main, red coated, with tamper switch, Gate, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #2
| AIRFLD-1013 | 6-FP-CV-1002 | 5338822 | UEM,System Valve, Listed fire main, Check, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 | Between diesel pump and gate valve | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-CV-1003 | 5338838 | UEM,System Valve, Listed fire, bypass, Check, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 | Between diesel pump and gate valve | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-MCC-1002 | 5340212 | UEM,Control System, for jockey pump, 400V, 4kW, 8.1A, 50hz, Motor Control | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-MCC-1004 | 5338902 | UEM,Control System, Electrical fire pump controller, Motor Control | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-MTR-1004 | 5338858 | UEM,Motor, Electric, for Pump 6-FP-P-1004, Induction, 100.0 HP, 2,960.0 RPM | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-P-1002 | 5338848 | UEM,Pump, Jockey pump, Centrifugal, 20.0, Liters Per Minute | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-P-1004 | 5338852 | UEM,Pump, Fire, red coated, steel, Centrifugal, 1,250.0, Gallons Per Minute | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-PIPE-1001 | 5340216 | UEM,Pipe, With 6 fire hose outlets and valves, 3.0, Meters | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 | outside, wall mounted, beside access door | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-V-1003 | 5338814 | UEM,System Valve, Listed fire, Supply main line, red coated, with tamper switch, Gate, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-V-1004 | 5338818 | UEM,System Valve, Listed fire, bypass, red coated, with tamper switch, Gate, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-V-1005 | 5338826 | UEM,System Valve, Listed fire, bypass, red coated, with tamper switch, Gate, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-V-1006 | 5338830 | UEM,System Valve, Listed fire, suction pump, red coated, with tamper switch, Gate, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-1013 | 6-FP-V-1007 | 5338834 | UEM,System Valve, Listed fire, test header, red coated, with tamper switch, Gate, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2006-07-01 |  | PUMP CONTROL ROOM #1
| AIRFLD-6183E | 6-6183-WSK-003 | 5288144 | UEM,System Valve, Between fire pump and gate valve n.2, Check, 8.0, Inches IN | K30 - Fire Protection Water Utilities | K3010 - Production | K3010130 - Pump Stations | 1 | EA | 2010-06-22 | Rising vertical pipe | FIRE PROTECTION PUMP EQUIPMENT PWD
| AIRFLD-6183E | 6-6183B-WSK-001 | 5288136 | UEM,System Valve, n.1, upstream of fire pump, Gate, 8.0, Inches IN | K30 - Fire Protection Water Utilities | K3010 - Production | K3010130 - Pump Stations | 1 | EA | 2010-06-22 | Rising vertical pipe | FIRE PROTECTION PUMP EQUIPMENT PWD
| AIRFLD-6183E | 6-6183B-WSK-002 | 5288138 | UEM,System Valve, n.2, downstream of fire pump, Gate, 8.0, Inches IN | K30 - Fire Protection Water Utilities | K3010 - Production | K3010130 - Pump Stations | 1 | EA | 2010-06-22 | Rising vertical pipe | FIRE PROTECTION PUMP EQUIPMENT PWD
| AIRFLD-6184E | 6-6184B-EPN-002 | 4243572 | UEM,Control System, Motor Control | K10 - Potable Water Utilities | K1010 - Production | K1010250 - Plant Electrical | 1 | EA | 2010-06-22 | Fire Protection Electric Pump | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-6184B-MSS-001 | 4243560 | UEM,Instrumentation, Power/Control Panel for Fire Pump, Controller | K10 - Potable Water Utilities | K1010 - Production | K1010250 - Plant Electrical | 1 | EA | 2010-06-22 |  | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-FP-CV-401 | 5343860 | UEM,System Valve, Fire, Red Coated, Check, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2010-06-22 |  | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-FP-CV-402 | 5344130 | UEM,System Valve, Fire, red coated, bypass, Check, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2010-06-22 | 8" pipe, bypass | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-FP-CV-403 | 5344136 | UEM,System Valve, Fire, red coated, Raiser, Check, 2.5, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2010-06-22 | 2.5" raiser pipe | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-FP-V-401 | 5344024 | UEM,System Valve, Fire, red coated, with tamper switch, right-side of pump, Gate, 8.0, Inches IN | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2010-06-22 | To the right of fire pump | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-FP-V-402 | 5344030 | UEM,System Valve, Fire, red coated, with tamper switch, bypass, right side,, Gate, 8.0, Inches IN | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2010-06-22 | bypass, right-side of check valve | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-FP-V-403 | 5344022 | UEM,System Valve, Fire, red coated, with tamper switch, bypass, left, Gate, 8.0, Inches IN | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2010-06-22 | bypass, left side of check valve | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-FP-V-404 | 5344028 | UEM,System Valve, Fire, red coated, with tamper switch, raiser pipe, Gate, 8.0, Inches IN | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2010-06-22 | Raiser pipe | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-FP-V-405 | 5344204 | UEM,System Valve, Fire, red coated, bypass, Gate, 8.0, Inches | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2010-06-22 | Bypass, right-side of check valve | FIRE PROTECTION PUMP EQUIPMENT
| AIRFLD-6184E | 6-FP-V-406 | 5344026 | UEM,System Valve, Fire, red coated, with tamper switch, upper pipe near outlet, Gate, 2.5, Inches IN | K30 - Fire Protection Water Utilities | K3020 - Distribution | K3020110 - Pump Stations | 1 | EA | 2010-06-22 | 2.5 " upper pipe | FIRE PROTECTION PUMP EQUIPMENT
| NISCEM-2104 | 6-2104-MSS-001 | 4198332 | UEM,Control System, Motor Control Panel Fire Pump 1- FP1, Motor Control | K30 - Fire Protection Water Utilities | K3010 - Production | K3010160 - Plant Controls | 1 | EA | 1992-07-01 | Pump Room | FIRE PROTECTION WATER PUMP STATION
| NISCEM-2104 | 6-2104-MSS-002 | 4198334 | UEM,Control System, Motor Control Panel Fire Pump 2-FP2, Motor Control | K30 - Fire Protection Water Utilities | K3010 - Production | K3010160 - Plant Controls | 1 | EA | 1991-07-01 | Pump Room | FIRE PROTECTION WATER PUMP STATION
| NISCEM-2104 | 6-2104-PSK-001 | 4197616 | UEM,Pump, Sprinkler system Fire Pump #1, Centrifugal, 2.0 AA, Liters Per Hour | K30 - Fire Protection Water Utilities | K3010 - Production | K3010130 - Pump Stations | 1 | EA | 1992-07-01 | Pump room serving B2100 | FIRE PROTECTION WATER PUMP STATION
| NISCEM-2104 | 6-2104-PSK-002 | 4197618 | UEM,Pump, Sprinkler system Fire Pump #2, Centrifugal, 2.0, Liters Per Hour | K30 - Fire Protection Water Utilities | K3010 - Production | K3010130 - Pump Stations | 1 | EA | 1992-07-01 | Pump room serving B2100 | FIRE PROTECTION WATER PUMP STATION
| NISCEM-2104 | 6-2104-PSK-003 | 4198330 | UEM,Pump, Jokey Pump, Centrifugal, 2.0, Liters Per Hour | K30 - Fire Protection Water Utilities | K3010 - Production | K3010130 - Pump Stations | 1 | EA | 1991-07-01 |  | FIRE PROTECTION WATER PUMP STATION

## b. Instrumentation
ATTACHMENT J-1606001-03 (Tab b)
WATER SYSTEM DESCRIPTION AND INVENTORY
INSTRUMENTATION
Asset | Description | Frequency | Location
UMA043000625 | INSTRUMENTATION, AE-0101, PROBE | Quarterly | SUPSIT-183
UMA043000063 | INSTRUMENTATION, AE-0101, PROBE | quarterly | AIRFLD-494A
UMA043000617 | INSTRUMENTATION, AE-0201, PROBE | Quarterly | SUPSIT-183
UMA043000275 | INSTRUMENTATION, AE-0201, PROBE | Quarterly | AIRFLD-494A
UMA043000619 | INSTRUMENTATION, AE-0202, PROBE | Quarterly | SUPSIT-183
UMA043000276 | INSTRUMENTATION, AE-0202, PROBE | Quarterly | AIRFLD-494A
UMA043000240 | INSTRUMENTATION, AE-0203, PROBE | Quarterly | AIRFLD-494A
UMA043000627 | INSTRUMENTATION, AE-0203, PROBE | Quarterly | SUPSIT-183
UMA043000623 | INSTRUMENTATION, AE-0301, PROBE | Quarterly | SUPSIT-183
UMA043000277 | INSTRUMENTATION, AE-0301, PROBE | Quarterly | AIRFLD-494A
UMA043000621 | INSTRUMENTATION, AE-0302, PROBE | Quarterly | SUPSIT-183
UMA043000278 | INSTRUMENTATION, AE-0302, PROBE | Quarterly | AIRFLD-494A
UMA043000629 | INSTRUMENTATION, AE-0303, PROBE | Quarterly | SUPSIT-183
UMA043000241 | INSTRUMENTATION, AE-0303, PROBE | Quarterly | AIRFLD-494A
UMA043000633 | INSTRUMENTATION, AE-0401, PROBE | Quarterly | SUPSIT-183
UMA043000635 | INSTRUMENTATION, AE-0402, PROBE | Quarterly | SUPSIT-183
UMA043000156 | INSTRUMENTATION, AE-0402, PROBE | Quarterly | AIRFLD-494A
UMA043000639 | INSTRUMENTATION, AE-0403, PROBE | Quarterly | SUPSIT-183
UMA043000157 | INSTRUMENTATION, AE-0403, PROBE | Quarterly | AIRFLD-494A
UMA043000631 | INSTRUMENTATION, AE-0406, PROBE | Quarterly | SUPSIT-183
UMA043000705 | INSTRUMENTATION, AIR-0102, OTHER |  | SUPSIT-183
UMA043000315 | INSTRUMENTATION, CFCP, ANALYZER | Quarterly | AIRFLD-494A
UMA043000694 | INSTRUMENTATION, CFCP-01, ANALYZER | Quarterly | SUPSIT-183
6-183-PWS-016 | INSTRUMENTATION, CL-0001, ANALYZER | Quarterly | SUPSIT-183
UMA043000004 | INSTRUMENTATION, DI-01, INDICATOR |  | SUPSIT-291
UMA043000013 | INSTRUMENTATION, DI-01, INDICATOR |  | SUPSIT-290
UMA043000020 | INSTRUMENTATION, DI-01, INDICATOR |  | AIRFLD-748
UMA043000316 | INSTRUMENTATION, DPC, ANALYZER | Quarterly | AIRFLD-494A
UMA043000725 | INSTRUMENTATION, DPC-01, ANALYZER | Quarterly | SUPSIT-183
UMA043000706 | INSTRUMENTATION, FE-0101, ELEMENT |  | SUPSIT-183
UMA043000530 | INSTRUMENTATION, FE-0204, ELEMENT |  | SUPSIT-183
UMA043000229 | INSTRUMENTATION, FE-0204, ELEMENT |  | AIRFLD-494A
UMA043000223 | INSTRUMENTATION, FE-0205, ELEMENT |  | AIRFLD-494A
UMA043000535 | INSTRUMENTATION, FE-0205, ELEMENT |  | SUPSIT-183
UMA043000554 | INSTRUMENTATION, FE-0304, ELEMENT |  | SUPSIT-183
UMA043000269 | INSTRUMENTATION, FE-0304, ELEMENT |  | AIRFLD-494A
UMA043000564 | INSTRUMENTATION, FE-0305, ELEMENT |  | SUPSIT-183
UMA043000264 | INSTRUMENTATION, FE-0305, ELEMENT |  | AIRFLD-494A
UMA043000596 | INSTRUMENTATION, FE-0404, ELEMENT |  | SUPSIT-183
UMA043000173 | INSTRUMENTATION, FE-0404, ELEMENT |  | AIRFLD-494A
UMA043000147 | INSTRUMENTATION, FE-0405, ELEMENT |  | AIRFLD-494A
UMA043000593 | INSTRUMENTATION, FE-0405, ELEMENT |  | SUPSIT-183
UMA043000899 | INSTRUMENTATION, FIT-01, TRANSMITTER |  | SUPSIT-204
UMA043000938 | INSTRUMENTATION, FIT-02, TRANSMITTER |  | SUPSIT-238
UMA043000900 | INSTRUMENTATION, FIT-02, TRANSMITTER |  | SUPSIT-204
UMA043000650 | INSTRUMENTATION, FIT-0204/0205, TRANSMITTER |  | SUPSIT-183
UMA043000901 | INSTRUMENTATION, FIT-03, TRANSMITTER |  | SUPSIT-204
UMA043000651 | INSTRUMENTATION, FIT-0304/0305, TRANSMITTER |  | SUPSIT-183
UMA043000648 | INSTRUMENTATION, FIT-0404, ANALYZER |  | SUPSIT-183
UMA043000647 | INSTRUMENTATION, FIT-0405, TRANSMITTER |  | SUPSIT-183
UMA043000661 | INSTRUMENTATION, H-0701, ELEMENT |  | SUPSIT-183
UMA043000390 | INSTRUMENTATION, LS-01, LIMIT SWITCH |  | AIRFLD-535
UMA043000389 | INSTRUMENTATION, LS-02, LIMIT SWITCH |  | AIRFLD-492
UMA043000366 | INSTRUMENTATION, LS-03, LIMIT SWITCH |  | AIRFLD-492
UMA043000365 | INSTRUMENTATION, LS-04, LIMIT SWITCH |  | AIRFLD-492
UMA043000351 | INSTRUMENTATION, LS-05, LIMIT SWITCH |  | AIRFLD-612
UMA043000352 | INSTRUMENTATION, LS-06, LIMIT SWITCH |  | AIRFLD-612
UMA043000353 | INSTRUMENTATION, LS-07, LIMIT SWITCH |  | AIRFLD-612
UMA043000306 | INSTRUMENTATION, LS-AIR-01, LIMIT SWITCH |  | AIRFLD-494A
UMA043000290 | INSTRUMENTATION, LS-AS-01, LIMIT SWITCH |  | AIRFLD-494A
UMA043000185 | INSTRUMENTATION, PS-01, LIMIT SWITCH |  | WEAPNS-823
UMA043000189 | INSTRUMENTATION, PS-02, LIMIT SWITCH |  | WEAPNS-823
UMA043000210 | INSTRUMENTATION, PS-0201, LIMIT SWITCH |  | AIRFLD-494A
UMA043000519 | INSTRUMENTATION, PS-0201, LIMIT SWITCH |  | SUPSIT-183
UMA043000193 | INSTRUMENTATION, PS-03, LIMIT SWITCH |  | WEAPNS-823
UMA043000543 | INSTRUMENTATION, PS-0301, LIMIT SWITCH |  | SUPSIT-183
UMA043000248 | INSTRUMENTATION, PS-0301, LIMIT SWITCH |  | AIRFLD-494A
UMA043000172 | INSTRUMENTATION, PS-0401, LIMIT SWITCH |  | AIRFLD-494A
UMA043000572 | INSTRUMENTATION, PS-0401, LIMIT SWITCH |  | SUPSIT-183
UMA043000292 | INSTRUMENTATION, PSV-0601, ELEMENT |  | AIRFLD-494A
UMA043000685 | INSTRUMENTATION, PSV-0601, ELEMENT |  | SUPSIT-183
UMA043000293 | INSTRUMENTATION, PSV-0602, ELEMENT |  | AIRFLD-494A
UMA043000686 | INSTRUMENTATION, PSV-0602, ELEMENT |  | SUPSIT-183
UMA043000687 | INSTRUMENTATION, PSV-0603, ELEMENT |  | SUPSIT-183
UMA043000526 | INSTRUMENTATION, PT-0201, TRANSMITTER |  | SUPSIT-183
UMA043000549 | INSTRUMENTATION, PT-0301, TRANSMITTER |  | SUPSIT-183
UMA043000578 | INSTRUMENTATION, PT-0401, TRANSMITTER |  | SUPSIT-183
UMA043000683 | INSTRUMENTATION, SC-0601A, OTHER |  | SUPSIT-183
UMA043000684 | INSTRUMENTATION, SC-0601B, OTHER |  | SUPSIT-183
UMA043000294 | INSTRUMENTATION, SG-0601, INDICATOR |  | AIRFLD-494A
UMA043000357 | INSTRUMENTATION, TH-01, THERMOMETER |  | AIRFLD-612
UMA043000380 | INSTRUMENTATION, TRANSMITTER |  | AIRFLD-535
UMA043000225 | INSTRUMENTATION, TRANSMITTER |  | AIRFLD-494A
UMA043000236 | INSTRUMENTATION, TRANSMITTER |  | AIRFLD-494A
UMA043000170 | INSTRUMENTATION, TRANSMITTER |  | AIRFLD-494A
UMA043000169 | INSTRUMENTATION, TRANSMITTER |  | AIRFLD-494A
UMA043000258 | INSTRUMENTATION, TRANSMITTER |  | AIRFLD-494A
UMA043000379 | INSTRUMENTATION, TRANSMITTER |  | AIRFLD-535
UMA043000378 | INSTRUMENTATION, TRANSMITTER |  | AIRFLD-535
UMA043000120 | INSTRUMENTATION, TRANSMITTER PT-0401 |  | AIRFLD-494A
UMA043000681 | INSTRUMENTATION, YS-0601, INDICATOR |  | SUPSIT-183
UMA043000237 | RO #2 Common INSTRUMENTATION, TRANSMITTER |  | AIRFLD-494A
6-PW-INST-200 | UEM,Instrumentation |  | SUPSIT-238
6-PW-INST-201 | UEM,Instrumentation |  | SUPSIT-238
6-PW-INST-129 | UEM,Instrumentation, COND-IN, Analyzer | Quarterly | SUPSIT-183-2
6-PW-INST-130 | UEM,Instrumentation, COND-OUT, Analyzer | Quarterly | SUPSIT-183-2
6-PW-INST-133 | UEM,Instrumentation, COND-PH, Controller | Quarterly | SUPSIT-183-2
6-RW-INST-002 | UEM,Instrumentation, DI-01-01, Indicator |  | AIRFLD-747
6-PW-INST-203 | UEM,Instrumentation, FIT-04, Transmitter, 1 YR |  | SUPSIT-204
6-PW-M-102 | UEM,Instrumentation, FM01, Transmitter, 1 YR |  | SUPSIT-183-2
6-PW-M-101 | UEM,Instrumentation, FM02, Transmitter, 1 YR |  | SUPSIT-183-2
6-PW-M-100 | UEM,Instrumentation, FM03, Transmitter, 1 YR |  | SUPSIT-183-2
6-PW-INST-134 | UEM,Instrumentation, HARDNESS/ALKALINITY, Analyzer | Quarterly | SUPSIT-183-2
new asset | UEM,Instrumentation, TDS, Analyzer, | Quarterly | SUPSIT-183
new asset | UEM,Instrumentation, TDS, Analyzer, | Quarterly | AIRFLD-494
new asset | UEM,Instrumentation, LSI, Analyzer, | Quarterly | SUPSIT-183
new asset | UEM,Instrumentation, LSI, Analyzer, | Quarterly | AIRFLD-494
new asset | MMF chlorine sensor and instrumentation | Quarterly | SUPSIT-183
new asset | MMF chlorine sensor and instrumentation | Quarterly | AIRFLD-494
new asset | RO #1 skid ORP sensor and instrumentation | Quarterly | SUPSIT-183
new asset | RO #1 skid pH sensor and instrumentation | Quarterly | SUPSIT-183
new asset | RO #1 skid Conductivity sensor and instrumentation | Quarterly | SUPSIT-183
new asset | RO #2 skid ORP sensor and instrumentation | Quarterly | SUPSIT-183
new asset | RO #2 skid pH sensor and instrumentation | Quarterly | SUPSIT-183
new asset | RO #2 skid Conductivity sensor and instrumentation | Quarterly | SUPSIT-183
new asset | RO #3 skid ORP sensor and instrumentation | Quarterly | SUPSIT-183
new asset | RO #3 skid pH sensor and instrumentation | Quarterly | SUPSIT-183
new asset | RO #3 skid Conductivity sensor and instrumentation | Quarterly | SUPSIT-183
new asset | RO #1 skid ORP sensor and instrumentation | Quarterly | AIRFLD-494
new asset | RO #1 skid pH sensor and instrumentation | Quarterly | AIRFLD-494
new asset | RO #1 skid Conductivity sensor and instrumentation | Quarterly | AIRFLD-494
new asset | RO #2 skid ORP sensor and instrumentation | Quarterly | AIRFLD-494
new asset | RO #2 skid pH sensor and instrumentation | Quarterly | AIRFLD-494
new asset | RO #2 skid Conductivity sensor and instrumentation | Quarterly | AIRFLD-494
new asset | RO #3 skid ORP sensor and instrumentation | Quarterly | AIRFLD-494
new asset | RO #3 skid pH sensor and instrumentation | Quarterly | AIRFLD-494
new asset | RO #3 skid Conductivity sensor and instrumentation | Quarterly | AIRFLD-494
6-RW-INST-001 | UEM,Instrumentation, Level control DI-03-01, Controller |  | AIRFLD-743
6-PW-INST-127 | UEM,Instrumentation, MAIN/Compressor, Gauge, 1 YR |  | SUPSIT-183-2
6-PW-INST-131 | UEM,Instrumentation, PH-IN, Analyzer, 1 YR | Quarterly | SUPSIT-183-2
6-PW-INST-132 | UEM,Instrumentation, PH-OUT, Analyzer, 1 YR | Quarterly | SUPSIT-183-2
6-PW-INST-128 | UEM,Instrumentation, SECONDARY/ Compressor, Gauge, 1 YR |  | SUPSIT-183-2
6-PW-INST-707 | UEM,Instrumentation, TRANS-TW-01, Transmitter |  | AIRFLD-707

## c. Pressure Gauges
ATTACHMENT J-1606001-03 (Tab c)
WATER SYSTEM DESCRIPTION AND INVENTORY [PRESSURE GAUGES]
PRESSURE GAUGES
No. | Structure | Range | Internal fluid | Diameter | Location | Type (Radial or Rear) | Size
1 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS2 | rear | 1/4"
2 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS2 | rear | 1/4"
3 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS2 | rear | 1/4"
4 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS2 | rear | 1/4"
5 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS2 | rear | 1/4"
6 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS2 | rear | 1/4"
7 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
8 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
9 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
10 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
11 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
12 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
13 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
14 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
15 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
16 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
17 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
18 | INOX | 0-10 bar | Glycerin | 63 | Multimedia Filter NAS2 | rear | 1/4"
19 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | TWST NAS2 | Rad. | 1/2"
20 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | TWST NAS2 | Rad. | 1/2"
21 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | TWST NAS2 | Rad. | 1/2"
22 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | TWST NAS2 | Rad. | 1/2"
23 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | 612 | Rad. | 1/2"
24 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | 612 | Rad. | 1/2"
25 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | 612 | Rad. | 1/2"
26 | INOX | 40 BAR / 600 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
27 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
28 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
29 | INOX | 40 BAR / 600 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
30 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
31 | INOX | 40 BAR / 600 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
32 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
33 | INOX | 12 BAR / 180 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
34 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
35 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
36 | INOX | 40 BAR / 600 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
37 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
38 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
39 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
40 | INOX | 40 BAR / 600 PSI | Glycerin | 115 | RO NAS2 | Rad. | 1/2"
41 | INOX | 40 BAR / 600 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
42 | INOX | 40 BAR / 600 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
43 | INOX | 40 BAR / 600 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
44 | INOX | 6 BAR / 90 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
45 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO FEED NAS2 | Rad. | 1/2"
46 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO FEED NAS2 | Rad. | 1/2"
47 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO FEED NAS2 | Rad. | 1/2"
48 | INOX | 40 BAR / 600 PSI | Glycerin | 100 | RO NAS2 | Rad. | 1/2"
49 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO PF NAS 2 | Rad. | 1/2"
50 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO PF NAS 2 | Rad. | 1/2"
51 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO PF NAS 2 | Rad. | 1/2"
52 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO CIP NAS 2 | Rad. | 1/2"
53 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO CIP NAS 2 | Rad. | 1/2"
54 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO CIP NAS 2 | Rad. | 1/2"
55 | INOX | 2,5 BAR | Glycerin | 63 | RO NAS2 | rear | 1/4"
56 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO NAS2 | rear | 1/4"
57 | INOX | 6 BAR / 90 PSI | Glycerin | 160 | RO NAS2 | Rad. | 1/2"
58 | INOX | 6 BAR / 90 PSI | Glycerin | 160 | RO NAS2 | Rad. | 1/2"
59 | INOX | 6 BAR / 90 PSI | Glycerin | 160 | RO NAS2 | Rad. | 1/2"
60 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO SODIO NAS 2 | Rad. | 1/4"
61 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO SODIO NAS 2 | Rad. | 1/4"
62 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO ANTI SCALANT NAS 2 | Rad. | 1/4"
63 | INOX | 0-20 bar | Glycerin | 63 | RO NAS2 | Rad. | 1/4"
64 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO ACID | Rad. | 1/4"
65 | INOX | 10 BAR / 140 PSI | Glycerin | 50 | RO NAS2 | Rad. | 1/4"
66 | INOX | 12 BAR / 180 PSI | Glycerin | 100 | WELL 6 NAS 1 | Rad. | 1/2"
67 | INOX | 0-16 bar | Glycerin | 100 | WELL 7 NAS 1 | Rad. | 1/2"
68 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RRR | Rad. | 1/2"
69 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RRR | Rad. | 1/2"
70 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RRR | Rad. | 1/2"
71 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
72 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
73 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
74 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
75 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
76 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
77 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
78 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
79 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
80 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
81 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
82 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | Multimedia Filter NAS 1 | rear | 1/2"
83 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | Multimedia Filter NAS 1 | Rad. | 1/4"
84 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS1 | rear | 1/4"
85 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS1 | rear | 1/4"
86 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS1 | rear | 1/4"
87 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS1 | rear | 1/4"
88 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS1 | rear | 1/4"
89 | INOX | 0-4 bar | Glycerin | 63 | Calcite NAS1 | rear | 1/4"
90 | INOX | 10 BAR / 140 PSI | Glycerin | 50 | IRRIGATION NAS 1 | rear | 1/4"
91 | INOX | 10 BAR / 140 PSI | Glycerin | 50 | IRRIGATION NAS 1 | rear | 1/4"
92 | INOX | 25 BAR / 350 PSI | Glycerin | 63 | IRRIGATION NAS 1 | Rad. | 1/4"
93 | INOX | 0-12 bar | Glycerin | 63 | IRRIGATION NAS 1 | rear | 1/4"
94 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
95 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
96 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
97 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
98 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
99 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
100 | INOX | 6 BAR / 90 PSI | Glycerin | 160 | RO NAS 1 | Rad. | 1/2"
101 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
102 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
103 | INOX | 6 BAR / 90 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
104 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
105 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
106 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
107 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
108 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
109 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
110 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
111 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
112 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
113 | INOX | 6 BAR / 90 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
114 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO NAS 1 | rear | 1/4"
115 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO NAS 1 | rear | 1/4"
116 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO NAS 1 | rear | 1/4"
117 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO FEED NAS1 | Rad. | 1/2"
118 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO FEED NAS1 | Rad. | 1/2"
119 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | RO FEED NAS1 | Rad. | 1/2"
120 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
121 | INOX | 6 BAR / 90 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
122 | INOX | 25 BAR / 350 PSI | Glycerin | 100 | RO NAS 1 | Rad. | 1/2"
123 | INOX | 6 BAR / 90 PSI | Glycerin | 160 | RO NAS 1 | Rad. | 1/2"
124 | INOX | 6 BAR / 90 PSI | Glycerin | 160 | RO NAS 1 | Rad. | 1/2"
125 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | NAS 1 CIP | Rad. | 1/2"
126 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | NAS 1 PF | Rad. | 1/2"
127 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | NAS 1 PF | Rad. | 1/2"
128 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | NAS 1 PF | Rad. | 1/2"
129 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | NAS 1 CIP | Rad. | 1/2"
130 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | NAS 1 CIP | Rad. | 1/2"
131 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | SODIUM NAS 1 | Rad. | 1/4"
132 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | SODIUM NAS 1 | Rad. | 1/4"
133 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | SODIUM NAS 1 | Rad. | 1/4"
134 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | SODIUM NAS 1 | Rad. | 1/4"
135 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO NAS 1 | Rad. | 1/4"
136 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | RO NAS 1 | Rad. | 1/4"
137 | INOX | 6 BAR / 90 PSI | Glycerin | 100 | BLDG 204 | Rad. | 1/2"
138 | INOX | 6 BAR / 90 PSI | Glycerin | 100 | BLDG 204 | Rad. | 1/2"
139 | INOX | 6 BAR / 90 PSI | Glycerin | 100 | BLDG 204 | Rad. | 1/2"
140 | INOX | 10 BAR / 140 PSI | Glycerin | 100 | BLDG 204 | Rad. | 1/2"
141 | INOX | 0-16 bar | Glycerin | 100 | WELL 2 NAS 2 | Rad. | 1/2"
142 | INOX | 0-16 bar | Glycerin | 100 | WELL 3 NAS 2 | Rad. | 1/2"
143 | INOX | 0-16 bar | Glycerin | 100 | WELL 1 NAS 2 | Rad. | 1/2"
144 | INOX | 10 BAR / 140 PSI | Glycerin | 63 | MAUW WEAPONS | Rad. | 1/4"
145 | INOX | 6 BAR / 90 PSI | Glycerin | 100 | MAUW WEAPONS | Rad. | 1/2"
146 | INOX | 6 BAR / 90 PSI | Glycerin | 100 | MAUW WEAPONS | Rad. | 1/2"