## Description Aviation Fuel Sys
ATTACHMENT J-1502000-06 (Tab 017)
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Funding Activity: NAVSUP FUELS - DLA ENERGY FUNDED
The Aviation Fuel Support System consists of the following major components / structure: two operating storage tanks; a fuel drain tank; filter pad; pump pad; refueler fill stand; valves pits; three apron mounted hydrant pits; and wide range and high reach pantographs and associated aboveground and underground piping. Fuel is received from the existing Bulk Storage and is filtered prior to storage in one of the two Operating Tanks. The fuel is again filtered prior to delivery to an underground piping system. The fuel is dispensed either from the refueler fill stand into refueler trucks or hydrant pit through pantographs into the aircraft. Preventive Maintenance Program (PM) responsibility includes entire system and components from the connection to the bulk storage (POL) supply pipeline to the fuel delivery endpoints at the truck refueler stand and the hydrant pits to include the pantographs, and includes all visible and pit accessible piping, cathodic protection systems, oil water separators and all miscellaneous equipment as listed.

## Fuels 2 Facility List
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
"Fuels 2" Facility Listing
Facility Number | Building Name | Tab
429 | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information | Lift St.
446 |  | Spill Tank
451 |  | Lift St.
458 |  | HPs
458 |  | Pit-A, M, N, O, R, S, T, U, V, Z
468 |  | TFS
468B
473 & 473C |  | Pump Station
474 |  | Storage Tanks
475 |  | Storage Tanks
487 |  | Grinder station
519 / 466-A |  | Oil interceptor
604 |  | MCC
629 |  | Filter Station - Drain tank
1039 / 1054 |  | Pig Launcher
605 |  | Filter Station
605 |  | Pit-H and Pit-L
n/a |  | CP
n/a |  | Pantographs

## Pump Station
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 PUMP STATION
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| EYEWASH STATION | 1
| BASKET STRAINERS | 3 | BEA FILTER
| PRESSURE GAUGE MANIFOLD INCL. | 6
| DIFFERENTIAL PRESSURE GAUGE manifold included | 3 | GAMMON
| THERMAL RELIEF VALVES | 3 | TAYLOR
| LABELING | I.Q.
| ARROWS | I.Q.

## Filter Station
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 FILTER STATION
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| HORIZONTHAL Filter Separator | 1 | FACET | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information |  |  |  | 2010
| HORIZONTHAL Filter Separator | 1 | FACET |  |  |  |  | 2010
| HORIZONTHAL Filter Separator | 1 | FACET |  |  |  |  | 2010
| HORIZONTHAL Filter Separator | 1 | FACET |  |  |  |  | 2010
| HORIZONTHAL Filter Separator | 1 | FACET |  |  |  |  | 2010
| HORIZONTHAL Filter Separator | 1 | FACET |  |  |  |  | 2010
| VERTICAL Filter Separator | 1 | FACET |  |  |  |  | 1987 | Planned for removal
| VERTICAL Filter Separator | 1 | FACET |  |  |  |  | 1987 | Planned for removal
| VERTICAL Coarse Filter | 1 | FACET |  |  |  |  | 1987 | Planned for removal
| VERTICAL Coarse Filter | 1 | FACET |  |  |  |  | 1987 | Planned for removal
| SIGHT GLASSES SIZE FROM 3/4 TO 2" | 32 | DOUGLASS |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| THERMAL RELIEF VALVES | 1 | TAYLOR |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| DIFFERENTIAL PRESSURE GAUGE | 1 | FACET |  |  |  |  | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| PRESSURE GAUGE | 1 | [5 empty] | 2010
| EYEWASH STATION | 1 | [5 empty] | 2010
| PIPING | I.Q. | [5 empty] | 2003/2010
| LABELING | I.Q. | [5 empty] | 2010
| ARROWS | I.Q. | [5 empty] | n.a.
| MANHOLE MAINTENANCE | I.Q. | [5 empty] | 2003/2010
| Containment Berm | 1 | [5 empty] | 1978
| Tank anchoring | I.Q. | [5 empty] | 1987
| Piping | I.Q. | [5 empty] | 2007
| ATG | 1 | Enraf |  |  |  |  | 2003

## StorageTanks
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 FUEL STORAGE TANK
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| EYE WASH STATION | 2 | [5 empty] | 2003
| JP5 FUEL TANK #1 #2 | 2 | [5 empty] | 2003
| Tank MANHOLEs | 10 | [5 empty] | 2003
| FLOATING ROOF | 2 | [5 empty] | 2003
| 3/4" Thermal Relief Valves | 2 | TAYLOR |  |  |  |  | 2003
| CONTAINEMENT BERM | 2 | [5 empty] | 2003
| FUEL PIPING & STEEL SUPPORTS | I.Q. | [5 empty] | 2003
| LABELING | I.Q. | [5 empty] | 2003
| ARROWS | I.Q. | [5 empty] | 2003
| ATG | 2 | Enraf |  |  |  |  | 2003

## Pantographs
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 PANTHOGRAPHS
ITEMS | DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
1 | PANTH. #1 | 1 | MAYERINCK | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information |  | 10/125 | 100/4 min/inch | 1999
2 | PANTH. #2 | 1 | MAYERINCK |  |  | 10/125 | 100/4 min/inch | 2006
3 | PANTH. #3 | 1 | MAYERINCK |  |  | 10/125 | 100/4 min/inch | 2006
4 | PANTH. #4 | 1 | MAYERINCK |  |  | 10/125 | 100/4 min/inch | 2006

## TFS
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 TRUCK FILL STAND
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| METAL & CONCRETE SUPPORTS | 5 |  | Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information |  |  |  | 2003
| PRESSURE GAUGE WITH MANIFOLD | 3 | [5 empty] | 2003
| BASKET STRAINER | 1 | [5 empty] | 2003
| DIFFERENTIAL PRESSURE GAUGE | 1 | Facet |  |  |  |  | 2003
| 3" Nozzle | 1 | Cla.Val. |  |  |  |  | 2003
| SWEWHEL JOINT | 1 | [5 empty] | 2003
| LABELING | I.Q. | [5 empty] | 2003
| ARROWS | I.Q. | [5 empty] | 2003
Fuel 2 TRUCK FILL STAND West
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| EYEWASH STATION | 1 | [5 empty] | 2016
| BASKET STRAINERS | 1 | [5 empty] | 2016
| PRESSURE GAUGE MANIFOLD INCL. | 3 | [5 empty] | 2016
| DIFFERENTIAL PRESSURE GAUGE manifold included | 1 | [5 empty] | 2016
| Termal Relief Valve | 2 | [5 empty] | 2016
| Swivel Joint | 1 | [5 empty] | 2016
| Sight Glass | 1
| 3" Fuel Hose | 1 | [5 empty] | 2016
| Hose suppports | 1 | [5 empty] | 2016
| Labeling | I.Q. | [5 empty] | 2016
| ARROWS | I.Q. | [5 empty] | 2016

## Pit-L
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 FUEL PIT "L"
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| CONCRETE PIT and Cover | 1 | Alpha |  |  |  |  | 2003
| LABELING | I.Q. | [5 empty] | 2003
| PIPING | I.Q. | [5 empty] | 2003

## Pit-M
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 FUEL PIT "M"
ITEMS | DESCRIPTION | QUANTITY | UFC FREQ | BOSC | NOTE | NOTE UFC | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
3 | CONCRETE PIT WITH COVER | I.Q. | D | X | [7 empty] | 2003
4 | LABELING | I.Q. | M | X | [7 empty] | 2003
5 | PIPING | I.Q. | W | X | [7 empty] | 2003

## Pit-N
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 FUEL PIT "N"
ITEMS | DESCRIPTION | QUANTITY | UFC FREQ | BOSC | NOTE | NOTE UFC | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
2 | CONCRETE PIT WITH COVER | I.Q. | D | X | [7 empty] | 2003
3 | LABELING | I.Q. | M | X | [7 empty] | 2003
4 | PIPING | I.Q. | W | X | [7 empty] | 2003

## Pit-R
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 FUEL PIT "R"
| DESCRIPTION | QUANTITY | UFC FREQ | BOSC | NOTE | NOTE UFC | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| CONCRETE PIT WITH COVER | I.Q. | D | X | [7 empty] | 2003
| LABELING | I.Q. | M | X | [7 empty] | 2003
| PIPING | I.Q. | W | X | [7 empty] | 2003

## Spill Tank
ATTACHMENT J-1502000-06.c
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 SPILL TANK
ITEMS | DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
4 | ATG | 1 | Enraf / Vega |  |  |  |  | 2003

## Lift St.
ATTACHMENT J-1502000-24
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 LIFT STATION 1 & 2
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| CONCRETE MANHOLE WITH COVER | 4 | [5 empty] | 2003

## Pig Launcher
ATTACHMENT J-1502000-24
AVIATION FUEL SUPPORT SYSTEMS DESCRIPTION
Fuel 2 PIG LAUNCHER STATION (Facility 1039)
| DESCRIPTION | QUANTITY | MANUFACTURER | FABBRICATION No. | TYPE No. | PRESSURE | NOM. SIZE | YEAR OF INST.
| LEAK DETECTION CONCRETE BOX | 9 | [5 empty] | 2005
| PIPING | I.Q. | [5 empty] | 2005
| CLEANING | I.Q. | [5 empty] | 2005