## Utility Assets
ATTACHMENT J-1601000-08 UTILITIY ASSET INVENTORY
Reference Section C, Annex 0200000 Management and Administration, Spec Item 2.6.2 Dissemination of Information.
ASSETNUM | CUSTOMERCODE | DESCRIPTION | QUANTITY | UOM | MASTERSYSTEM | ASSEMBLY | PERSONGROUP | MANUFACTURER | MODEL | SERIALNUM | ZONE
6-402-PMP-006 | HRO | UEM,Pump, 6-402-PMP-002, Centrifugal, 750,0, Liters Per Minute | 1 | EA | M10 | M1010100.15623 | GESKTRF | FLYGT | NP 3085.160 |  | SIGONELLA
UMA044000400 |  | CONTROL VALVE, 6S_NG_213, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | G16 | 6036214-2003 | SIGONELLA
6-GD-VLV-320 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.315, Ball, 100.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-GD-GMT-202 |  | UEM,Mechanical Meter, LOC.B.212, Delivery, Other, 25.0, Millimeters | 1 | EA | N10 | N1020100.15445 | GESKTRF |  | ELSTER - BK-G6MT | 30997234 | SIGONELLA
6-NAS2MAIN-GMT-001 |  | UEM,Mechanical Meter, 6-NAS2MAIN-GMT-001, Delivery, Turbine | 1 | EA | N10 | N1020100.18401 | GESKTRF |  | ROMET |  | SIGONELLA
6-GD-VLV-212 |  | UEM,System Valve, INLET ISOLATION_LOC.B.213, Ball, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-FP-V-609 |  | UEM,System Valve, pump n.2, elevated, with tamper switch, Gate, 10.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
UMA045000956 | PW UTIL | UEM,Pump, 6-1-229-T2-LS_PUMP-2, Centrifugal, 1.55, Cubic Meters Per Hour | 1 | EA | M10 | M1010130.20137 | GESKTRF | FLYGT | NA | NA | SIGONELLA
6-GD-VLV-226 |  | UEM,System Valve, OVER PRESSURE_LOC.B.225, Other, 20.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-229B-SWP-001 | PWWASWTR | UEM, Control System, Lift station Pump Control Panel | 1 | EA | M10 | M1020120.15731 | GESKTRF |  | SAREL |  | SIGONELLA
6-FP-CV-1001 |  | UEM,System Valve, Listed fire main, Check, 8.0, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | VIKING | G-1 |  | SIGONELLA
6-402-WWT-011 | PW UTIL | UEM,Pump, 6-2-402-T1-PUMP-S-11 W-PUMP-11, Centrifugal, 558.0, Liters Per Minute | 1 | EA | M10 | M1010170.20133 | GESKTRF | FLYGT | NP 3085 | 182/0441981 | SIGONELLA
6-FP-V-614 |  | UEM,System Valve, pump n.4, with tamper switch, Gate, 10.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-GD-FLT-106 |  | UEM,Filter, LOC.B.175, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  | CALEFFI |  | SIGONELLA
6-GD-FLT-205 |  | UEM,Filter, LOC.B.225, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-GD-FLT-202 |  | UEM,Filter, LOC.B.212, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-003 |  | UEM,System Valve, OUTLET ISOLATION_MAIN RAMP, Ball, 150.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
UMA045000072 | PW UTIL | UEM,System Valve, 6-1-234-CV-2 BALL CHECK, Check, 100.0, Millimeters | 1 | EA | M10 | M1020120.14857 | GESKTRF | BRANDONI | F7.100 | N/A | SIGONELLA
6-FP-V-610 |  | UEM,System Valve, To Pump n.3, with tamper switch, Gate, 12.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-GD-VLV-201 |  | UEM,System Valve, INLET ISOLATION_LOC.B.211, Ball, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | BONGAS |  | SIGONELLA
6-GD-VLV-113 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.158, Ball, 32.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | BON GAS |  | SIGONELLA
6-GD-VLV-314 |  | UEM,System Valve, INLET ISOLATION_LOC.B.315, Ball, 65.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-582-VLV-004 |  | UEM,System Valve, 6-2-582-CV-04 CHECK VALVE, Check, 50.0, Millimeters | 1 | EA | M10 | M1020120.14857 | GESKTRF | BRANDONI | F7.100 |  | SIGONELLA
6-GD-VLV-130 |  | UEM,System Valve, INLET ISOLATION_LOC.B.175, Ball, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | TOPGAS |  | SIGONELLA
6-175-GSL-001 | PW UTIL | CONTROL VALVE, 6S_NG_175, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF | ELSTER | QUATRAMETER | 69152321 | SIGONELLA
6-GD-VLV-235 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.272, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-FP-MTR-601 |  | UEM,Engine, for Pump 6-FP-P-601, 6 cylinders, Diesel, 208.0 HP | 1 | EA | K30 | K3020110.25807 | GESKTRF | CUMMINS | 6BTA 5.9 F1 | 40130243 | SIGONELLA
6-6183B-WSK-002 |  | UEM,System Valve, n.2, downstream of fire pump, Gate, 8.0, Inches IN | 1 | EA | K30 | K3010130.19657 | GESKTRF | MUELLER | 8" |  | SIGONELLA
6-GD-GMT-205 |  | UEM,Mechanical Meter, LOC.B.272, Delivery, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.15445 | GESKTRF |  | ELSTER B-G6MT | 30997237 | SIGONELLA
6-FP-P-605 |  | UEM,Pump, Jockey, Centrifugal, 253.0, Liters Per Minute | 1 | EA | K30 | K3020110.15501 | GESKTRF | EBARA | ETM 3 112-7.5-2 400/690-50/60 B5 | 10PZQX | SIGONELLA
6-FP-CV-601 |  | UEM,System Valve, Pump n.1, Check, 6.0, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | KENNEDY | UNKNOWN | UNKNOWN | SIGONELLA
6-402-VLV-002 | PW UTIL | UEM,System Valve, 6-402-VLV-002, Gate, 150.0, Millimeters | 1 | EA | M10 | M1010100.15075 | GESKTRF | GRINNELL | DN80 | 446465 | SIGONELLA
6-GD-VLV-108 |  | UEM,System Valve, Earthquake_LOC.B.158, Other, 32.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | CIMBERIO |  | SIGONELLA
6-FP-CV-603 |  | UEM,System Valve, Pump n.3, Check, 6.0, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | KENNEDY | UNKNOWN |  | SIGONELLA
UMA045000944 | PW UTIL | UEM,Mixer, 6-2-402-MIXER-S-02 EQ-MX-2, Rotary | 6 | EA | M10 | M1010110.25959 | GESKTRF | FLYGT | 4630 | NA | SIGONELLA
6-GD-VLV-305 |  | UEM,System Valve, Automatic Solenoid Shut-OFF_LOC.B.313, Other, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | GIULIANI ANELLO - MSV112 | 0100084001 | SIGONELLA
6-GD-VLV-002 |  | UEM,System Valve, Earthquake_MAIN RAMP, Other, 150.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | CIMBERIO |  | SIGONELLA
6-510-GMT-001 |  | UEM,Mechanical Meter, MM, Delivery, Electromagnetic, 3.0, Inches | 1 | EA | N10 | N1020100.21905 | GESKTRF |  | SAFOGAS - PHN60 | M120122T10258 | SIGONELLA
6-585-PMP-007 | CBQ | UEM,Pump, 6-585-PMP-007, Centrifugal, 8.0, Cubic Meters Per Hour | 1 | EA | M10 |  | GESKTRF | WILO | MHIL-505-E-3-400-50-2/MOD/IE3 | 4210661/17W09/581324 | SIGONELLA
UMA044000399 |  | CONTROL VALVE, 6S_NG_211, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | G40 | 6668163/2006 | SIGONELLA
6-402-VLV-011 | PW UTIL | UEM,System Valve, 6-2-402-VLV-S-CV4, Check, 80.0, Millimeters | 1 | EA | M10 | M1010110.15073 | GESKTRF | GRINNELL | DN80 | NA | SIGONELLA
6-GD-VLV-112 |  | UEM,System Valve, OVER PRESSURE_LOC.B.158, Other, 20.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | TECNOGASS | 74316/00010 | SIGONELLA
UMA045000076 |  | UEM,Underground Structure, 6-2-832-PS-S-01, Wet Well | 1 | EA | M10 | M1020120.14411 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
UMA045000079 |  | UEM,Pump, 6-2-832-PUMP-S-02, Centrifugal, 450.0, Liters Per Minute | 1 | EA | M10 | M1020120.15481 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
UMA045000043 |  | SYSTEM VALVE, CV-2, CHECK, 100, MILLIMETERS | 1 | EA | M10 | M1020120.14857 | GESKTRF | VALVOTUBI | DN100 | N/A | SIGONELLA
6-FP-PNL-604 |  | UEM,Control System, Diesel Pump Controller#4, Motor Control | 1 | EA | K30 | K3020110.15655 | GESKTRF | JOSLYN HI-VOLTAGE | A1070 | 7282625 | SIGONELLA
6-FP-CV-1002 |  | UEM,System Valve, Listed fire main, Check, 8.0, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | VIKING | G-1 | 08546 | SIGONELLA
6-GD-FLT-104 |  | UEM,Filter, LOC.B.172, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-308 |  | UEM,System Valve, INLET ISOLATION_LOC.B.314, Ball, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | ATHENA |  | SIGONELLA
6-GD-VLV-104 |  | UEM,System Valve, Earthquake_LOC.B.156, Other, 65.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-402-WWT-016 | PW UTIL | UEM,Pump, 6-2-402-DGSTR_PMP-S-16 DGSTR-PUMP-16, Centrifugal, 460.0, Liters Per Minute | 1 | EA | M10 | M1010150.15613 | GESKTRF | OTHER | VL-4 | H40029 | SIGONELLA
6-GD-GMT-204 |  | UEM,Mechanical Meter, LOC.B.225, Delivery, Turbine, 80.0, Millimeters | 1 | EA | N10 | N1020100.18401 | GESKTRF |  | ROMET - G100 | 140292 | SIGONELLA
6-2104-PSK-003 | NCTAMS | UEM,Pump, Jokey Pump, Centrifugal, 2.0, Liters Per Hour | 1 | EA | K30 |  | GESKTRF | SALMSON | V212-OSE-T23 |  | SIGONELLA
UMA045000074 | PW UTIL | UEM,System Valve, 6-1-234-GV-2 GATE VALVE, Check, 100.0, Millimeters | 1 | EA | M10 | M1020120.14857 | GESKTRF | BRANDONI | 20.901 | N/A | SIGONELLA
6-FP-V-1005 |  | UEM,System Valve, Listed fire, bypass, red coated, with tamper switch, Gate, 8.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | GATE VALVE, KS FW 200 8" WITH TAMPER SWITCH |  | SIGONELLA
6-FP-V-403 |  | UEM,System Valve, Fire, red coated, with tamper switch, bypass, left, Gate, 8.0, Inches IN | 1 | EA | K30 | K3020110.14883 | GESKTRF | MUELLER | 8" FLG GV O/L R2360-06 OS&Y WITH TAMPER SWITCH | 080R236006LH | SIGONELLA
6-FP-P-601 |  | UEM,Pump, Impeller n.1, Fire, red coated, steel, 1780 RPM, Centrifugal, 2,000.0, Gallons Per Minute | 1 | EA | K30 | K3020110.15501 | GESKTRF |  | REDDY BUFFALOES PUMP - 8X8LDF | TO BE CHECKED (UNREADABLE) | SIGONELLA
6-402-WWT-042 | PW UTIL | UEM,Mixer, W-ANX-MX-1 6-2-402-MIXER-S01, Rotary | 1 | EA | M10 | M1010150.20989 | GESKTRF | FLYGT | SR-4640 |  | SIGONELLA
6-585-VLV-001 | CBQ | UEM,Control Valve, 6-585-VLV-001, Other | 6 | EA | M10 |  | GESKTRF |  |  |  | SIGONELLA
6-GD-FLT-302 |  | UEM,Filter, LOC.B.314, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF | CALEFFI | FM DN 50 | 6280/00004 | SIGONELLA
6-GD-VLV-321 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.225, Other, 50,0, Millimeters | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | COPRIM ALFA 50 | 19425 | SIGONELLA
UMA045000061 |  | UEM,System Valve, 6-2-431-CV-S-01, Check, 180.0, Millimeters | 1 | EA | M10 | M1020120.14857 | GESKTRF | UNKNOWN | NA | NA | SIGONELLA
6-GD-VLV-315 |  | UEM,System Valve, ISOLATION_LOC.B.315, Ball, 65.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-2104-PSK-003 | NCTAMS | UEM,Pump, Jokey Pump, Centrifugal, 2.0, Liters Per Hour | 1 | EA | K30 |  | GESKTRF | SALMSON | V212-OSE-T23 |  | SIGONELLA
6-FP-V-612 |  | UEM,System Valve, pump n.3, elevated, with tamper switch, Gate, 10.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-GD-VLV-233 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.272, Other, 15.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
UMA045000078 |  | UEM,System Valve, 6-2-832-GV-S-01, Gate, 180.0, Millimeters | 1 | EA | M10 | M1020120.14859 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
6-402-WWT-D10 | PW UTIL | UEM,Mixer, 6-2-402-MIXER-S-01 EQ-MX-1, Rotary | 6 | EA | M10 | M1010110.25959 | GESKTRF | FLYGT | 4630 |  | SIGONELLA
6-GD-VLV-325 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.220, Other, 20.0, Millimeters | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | MADAS FRG/2MC DN 25 |  | SIGONELLA
6-GD-VLV-135 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.175, Ball, 100.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-FP-CV-1003 |  | UEM,System Valve, Listed fire, bypass, Check, 8.0, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | VIKING | G-1 |  | SIGONELLA
6-229-VLV-003 |  | UEM,System Valve, 6-1-229-EQ_OUT_VLV-S-03 EQ_OUT-GV-VALVE-3, Check, 4.0, Inches | 1 | EA | M10 | M1010110.15073 | GESKTRF |  |  |  | SIGONELLA
6-FP-V-606 |  | UEM,System Valve, pump n.1, elevated, with tamper switch, Gate, 10.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH | N/A | SIGONELLA
6-402-VLV-015 | PW UTIL | UEM,System Valve, 6-2-402-VLV-S-CV6, Check, 80.0, Millimeters | 1 | EA | M10 | M1010110.15073 | GESKTRF | GRINNELL | DN80 | NA | SIGONELLA
6-1023-VLV-004 |  | UEM,System Valve, 1023-GV-2, Gate, 80.0, Millimeters | 1 | EA | M10 | M1020120.14859 | GESKTRF | BRANDONI | 20.901 |  | SIGONELLA
6-GD-GMT-201 |  | UEM,Mechanical Meter, LOC.B.211, Delivery, Other, 80.0, Millimeters | 1 | EA | N10 | N1020100.15445 | GESKTRF |  | ELSTER - BK-G40M | 15222626 | SIGONELLA
6-GD-VLV-132 |  | UEM,System Valve, OVER PRESSURE_LOC.B.175, Other, 20.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-FLT-201 |  | UEM,Filter, LOC.B.211, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-123 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.172, Ball, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | GIACOMINI |  | SIGONELLA
UMA045000349 | PW UTIL | UEM,Pump, 6-1-229-LS-PUMP-1, Centrifugal, 300.0, Liters Per Minute | 1 | EA | M10 | M1020120.15481 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
6-EL-BATT-804 |  | UEM,Battery System, ESSHS2SUB-UPS-1, UPS, Lead-acid | 1 | EA | J10 | J1010190.26493 | GESKTRF | LEGRAND | UNKNOWN | UNKNOWN | SIGONELLA
6-GD-VLV-217 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.213, Ball, 32.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-FP-V-1007 |  | UEM,System Valve, Listed fire, test header, red coated, with tamper switch, Gate, 8.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | GATE VALVE, KS FW 200 8" WITH TAMPER SWITCH |  | SIGONELLA
6-GD-VLV-206 |  | UEM,System Valve, INLET ISOLATION_LOC.B.212, Ball, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-FP-PRV-602 |  | UEM,System Valve, Safety valve, Pressure Regulating, Pump n.1, Other, 6.0, Inches | 1 | EA | K30 | K3020110.30779 | GESKTRF | WATTS |  | UNREADABLE | SIGONELLA
6-GD-VLV-236 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.272, Ball, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | TIEMME |  | SIGONELLA
6-559-GMT-001 |  | UEM,Mechanical Meter, 6-559-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-301 |  | UEM,System Valve, INLET ISOLATION_LOC.B.313, Ball, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | ATHENA |  | SIGONELLA
6-FP-V-401 |  | UEM,System Valve, Fire, red coated, with tamper switch, right-side of pump, Gate, 8.0, Inches IN | 1 | EA | K30 | K3020110.14883 | GESKTRF | MUELLER | 8" FLG GV O/L R2360-06 OS&Y (080R236006LH) |  | SIGONELLA
6-FP-V-1006 |  | UEM,System Valve, Listed fire, suction pump, red coated, with tamper switch, Gate, 8.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | GATE VALVE, KS FW 200 8" WITH TAMPER SWITCH |  | SIGONELLA
6-402-WWT-006 | PW UTIL | UEM,Pump, 6-2-402-PMP-S-006 PUMP 6, Centrifugal, 660.0, Liters Per Minute | 1 | EA | M10 | M1010110.15539 | GESKTRF | FLYGT | CP 3085 | 182/0460426 | SIGONELLA
6-1023-VLV-001 |  | UEM,System Valve, 1023-CV-1, Ball, 80.0, Millimeters | 1 | EA | M10 | M1020120.14855 | GESKTRF | BRANDONI | F7.100 |  | SIGONELLA
6-GD-VLV-103 |  | UEM,System Valve, OVER PRESSURE_LOC.B.156, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-101 |  | UEM,System Valve, INLET ISOLATION_LOC.B.156, Ball, 65.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | KROMSCHRODER - 65F160 | 7663 | SIGONELLA
6-GD-VLV-111 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.158, Other, 32.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | GIULIANI ANELLO - MSV114 | 0100083001 | SIGONELLA
6-FP-P-1002 |  | UEM,Pump, Jockey pump, Centrifugal, 20.0, Liters Per Minute | 1 | EA | K30 | K3020110.15501 | GESKTRF |  | ATURIA POMPE - JP/S1 R32-190C / 27 | 223/277 | SIGONELLA
6-402-WWT-037 | PW UTIL | UEM,Mixer, W-ANX-MX-2 6-2-402-MIXER-S02, Rotary | 1 | EA | M10 | M1010150.20989 | GESKTRF | FLYGT | SR-4640 | 410/0440217 | SIGONELLA
6-GD-VLV-302 |  | UEM,System Valve, Earthquake_LOC.B.313, Other, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-402-WWT-004 | PW UTIL | UEM,Pump, 6-2-402-PMP-S-004 PUMP 4, Centrifugal, 660.0, Liters Per Minute | 1 | EA | M10 | M1010110.15539 | GESKTRF | FLYGT | CP 3085 | 182/0460424 | SIGONELLA
6-GD-VLV-120 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.172, Other, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
UMA045000064 |  | UEM,System Valve, 6-2-431-GV-S-02, Gate, 180.0, Millimeters | 1 | EA | M10 | M1020120.14859 | GESKTRF | UNKNOWN | NA | NA | SIGONELLA
6-GD-GMT-106 |  | UEM,Mechanical Meter, LOC.B175, Delivery, Turbine, 80.0, Millimeters | 1 | EA | N10 | N1020100.18401 | GESKTRF |  | ROMET - G160 | 140293 | SIGONELLA
6-402-VLV-016 | PW UTIL | UEM,System Valve, 6-2-402-VLV-S-GV6, Gate, 80.0, Millimeters | 1 | EA | M10 | M1010110.15071 | GESKTRF | GRINNELL | DN80 | NA | SIGONELLA
UMA045000063 |  | UEM,System Valve, 6-2-431-GV-S-01, Gate, 180.0, Millimeters | 1 | EA | M10 | M1020120.14859 | GESKTRF | UNKNOWN | NA | NA | SIGONELLA
UMA044000410 |  | CONTROL VALVE, 6S_NG_723, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | FIRENZE | 54138205 | SIGONELLA
6-GD-FLT-206 |  | UEM,Filter, LOC.B.272, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-122 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.172, Other, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | GIULIANI ANELLO - MSV112 | 010.0084.001 | SIGONELLA
6-1023-VLV-002 |  | UEM,System Valve, 1023-CV-2, Ball, 80.0, Millimeters | 1 | EA | M10 | M1020120.14855 | GESKTRF | BRANDONI | F7.100 |  | SIGONELLA
6-GD-VLV-202 |  | UEM,System Valve, Earthquake_LOC.B.211, Other, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-FP-P-604 |  | UEM,Pump, Impeller n.4, Fire, red coated, steel, 1780 RPM, Centrifugal, 2,000.0, Gallons Per Minute | 1 | EA | K30 | K3020110.15501 | GESKTRF |  | REDDY BUFFALOES PUMP - 8X8LDF |  | SIGONELLA
UMA045000073 | PW UTIL | UEM,System Valve, 6-1-234-GV-1 GATE VALVE, Check, 100.0, Millimeters | 1 | EA | M10 | M1020120.14857 | GESKTRF | BRANDONI | 20.901 | N/A | SIGONELLA
6-FP-V-601 |  | UEM,System Valve, Riser pipe, Gate, 6.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | VIKING | J-1 WITH TAMPER SWITCH | N/A | SIGONELLA
6-FP-PNL-603 |  | UEM,Control System, Diesel Pump Controller#3, Motor Control | 1 | EA | K30 | K3020110.15655 | GESKTRF | JOSLYN HI-VOLTAGE | A1070 | 7292425 | SIGONELLA
UMA045000067 |  | UEM,Control System, 6-2-431-MCC-S-01, Motor Control | 1 | EA | M10 | M1020120.15641 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
6-GD-VLV-116 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.170, Other, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-FP-V-406 |  | UEM,System Valve, Fire, red coated, with tamper switch, upper pipe near outlet, Gate, 2.5, Inches IN | 1 | EA | K30 | K3020110.14883 | GESKTRF | MUELLER | WITH TAMPER SWITCH |  | SIGONELLA
6-FP-MTR-603 |  | UEM,Engine, for Pump 6-FP-P-603, 6 cylinders, Diesel, 208.0 HP | 1 | EA | K30 | K3020110.25807 | GESKTRF | CUMMINS | 6BTA 5.9 F1 | 45130263 | SIGONELLA
6-FP-PIPE-1001 |  | UEM,Pipe, With 6 fire hose outlets and valves, 3.0, Meters | 1 | EA | K30 | K3020110.25631 | GESKTRF | VIKING | N/A | N/A | SIGONELLA
6-2104-PSK-002 | NCTAMS | UEM,Pump, Sprinkler system Fire Pump #2, Centrifugal, 2.0, Liters Per Hour | 1 | EA | K30 |  | GESKTRF |  | HUIS POMPEN - HGRL100-250 |  | SIGONELLA
6-FP-V-603 |  | UEM,System Valve, To Pump n.1, with tamper switch, Gate, 12.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH | N/A | SIGONELLA
6-FP-CV-402 |  | UEM,System Valve, Fire, red coated, bypass, Check, 8.0, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | MUELLER |  |  | SIGONELLA
6-GD-VLV-309 |  | UEM,System Valve, Earthquake_LOC.B.314, Other, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-229-MIXER-002 |  | UEM,Mixer, 6-1-229-MIXER-S-02 EQUALIZATION_TANK-MIXER-2, Rotary | 1 | EA | M10 | M1010110.25959 | GESKTRF | FLYGT | 4630 |  | SIGONELLA
6-402-VLV-004 | PW UTIL | UEM,System Valve, 6-402-VLV-004, Gate, 150.0, Millimeters | 1 | EA | M10 | M1010100.15075 | GESKTRF | GRINNELL | DN80 | 54645 | SIGONELLA
6-GD-VLV-215 |  | UEM,System Valve, OVER PRESSURE_LOC.B.213, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | MAD - MVS1 |  | SIGONELLA
6-GD-VLV-219 |  | UEM,System Valve, INLET ISOLATION_LOC.B.220, Ball, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | BONGAS |  | SIGONELLA
6-GD-VLV-121 |  | UEM,System Valve, OVER PRESSURE_LOC.B.172, Other, 20.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | TECNOGAS |  | SIGONELLA
6-FP-V-1001 |  | UEM,System Valve, Listed fire main, red coated, with tamper switch, Gate, 8.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | O5YSU-2 KS FW 8" WITH TAMPER SWITCH |  | SIGONELLA
6-GD-FLT-105 |  | UEM,Filter, LOC.B.173, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-318 |  | UEM,System Valve, Earthquake_LOC.B.315, Other, 65.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-114 |  | UEM,System Valve, INLET ISOLATION_LOC.B.170, Ball, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | BRANDONI |  | SIGONELLA
6-GD-VLV-306 |  | UEM,System Valve, OVER PRESSURE_LOC.B.313, Other, 20.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | TECNOGAS - MVS/1 DN20 |  | SIGONELLA
6-618-GMT-003 |  | UEM,Mechanical Meter, 6-618-GMT-003, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF | ELSTER |  |  | SIGONELLA
6-GD-VLV-307 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.313, Ball, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | ATHENA |  | SIGONELLA
6-FP-V-607 |  | UEM,System Valve, To Pump n.2, with tamper switch, Gate, 12.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-229-MIXER-003 |  | UEM,Mixer, 6-1-229-SAND_MIXER-S-03 SAND_MIXER, Rotary | 1 | EA | M10 | M1010120.20985 | GESKTRF | ECO PLANET | DFO 20 |  | SIGONELLA
6-FP-V-611 |  | UEM,System Valve, pump n.3, with tamper switch, Gate, 10.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-402-VLV-012 | PW UTIL | UEM,System Valve, 6-2-402-VLV-S-GV4, Gate, 80.0, Millimeters | 1 | EA | M10 | M1010110.15071 | GESKTRF | GRINNELL | DN80 | NA | SIGONELLA
6-FP-P-602 |  | UEM,Pump, Impeller n.2, Fire, red coated, steel, 1780 RPM, Centrifugal, 2,000.0, Gallons Per Minute | 1 | EA | K30 | K3020110.15501 | GESKTRF |  | REDDY BUFFALOES PUMP - 8X8LDF | 95-3064LDF8 | SIGONELLA
6-402-PMP-004 | PWWASWTR | UEM,Pump, 6-402-PMP-001, Centrifugal, 750,0, Liters Per Minute | 1 | EA | M10 | M1010100.15623 | GESKTRF | FLYGT | NP 3085.160 |  | SIGONELLA
6-FP-P-01 | PW ADMIN | UEM,Engine, Fire Pump Engine, Diesel, 94.0 HP | 1 | EA | K30 |  | GESKTRF | CLARKE UK LTD | JU4H UF40(JOHN DEERE) | PF4045T757092 | SIGONELLA
6-723-GMT-001 |  | UEM,Mechanical Meter, 6-723-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF | ELSTER |  |  | SIGONELLA
6-1023-EPN-001 |  | UEM,Control System, 1023-MCC, Motor Control | 1 | EA | M10 | M1020120.15641 | GESKTRF |  |  |  | SIGONELLA
6-GD-GMT-103 |  | UEM,Mechanical Meter, LOC.B.170, Delivery, Turbine, 80.0, Millimeters | 1 | EA | N10 | N1020100.18401 | GESKTRF |  | ELSTER - BK G65M | 15222629 | SIGONELLA
6-402-VLV-014 | PW UTIL | UEM,System Valve, 6-2-402-VLV-S-GV5, Gate, 80.0, Millimeters | 1 | EA | M10 | M1010110.15071 | GESKTRF | GRINNELL | DN80 | NA | SIGONELLA
6-229-MIXER-001 |  | UEM,Mixer, 6-1-229-MIXER-S-01 EQUALIZATION_TANK-MIXER-1, Rotary | 1 | EA | M10 | M1010110.25959 | GESKTRF | FLYGT | 4630 |  | SIGONELLA
6-FP-PRV-603 |  | UEM,System Valve, Safety valve, Pressure Regulating, Pump n.2, Other, 6.0, Inches | 1 | EA | K30 | K3020110.30779 | GESKTRF | WATTS |  |  | SIGONELLA
6-402-WWT-011 | PW UTIL | UEM,Pump, 6-2-402-T1-PUMP-S-11 W-PUMP-11, Centrifugal, 558.0, Liters Per Minute | 1 | EA | M10 | M1010170.20133 | GESKTRF | FLYGT | NP 3085 | 182/0441981 | SIGONELLA
6-GD-VLV-231 |  | UEM,System Valve, INLET ISOLATION_LOC.B.272, Ball, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-1023-VLV-003 |  | UEM,System Valve, 1023-GV-1, Gate, 80.0, Millimeters | 1 | EA | M10 | M1020120.14859 | GESKTRF | BRANDONI | 20.901 |  | SIGONELLA
6-GD-VLV-133 |  | UEM,System Valve, Earthquake_LOC.B.175, Other, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-FP-CV-401 |  | UEM,System Valve, Fire, Red Coated, Check, 8.0, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | MUELLER |  | N/A | SIGONELLA
6-FP-MTR-1001 |  | UEM,Engine, Fire pump 6-FP-P-001, Diesel, 104.0 HP | 1 | EA | K30 | K3020110.25807 | GESKTRF | CLARKE UK LTD | IK6HUF20 |  | SIGONELLA
UMA045000075 | PW UTIL | UEM,System Valve, 6-1-234-CV-1 BALL CHECK, Check, 100.0, Millimeters | 1 | EA | M10 | M1020120.14857 | GESKTRF | BRANDONI | F7.100 | N/A | SIGONELLA
6-229-VLV-009 |  | UEM,System Valve, 6-1-229-EQ_OUT_VLV-S-09 EQ_OUT-CV-VALVE-9, Check, 4.0, Inches | 1 | EA | M10 | M1010110.15073 | GESKTRF |  |  |  | SIGONELLA
6-234-SWP-002 | PWWASWTR | UEM,Control System, SEWAGE PUMPS 1-2 CONTROL PANEL, Panel | 1 | EA | M10 | M1020120.15731 | GESKTRF |  | SCHEINDER |  | SIGONELLA
6-GD-VLV-324 |  | UEM,System Valve, Automatic Solenoid Shut-Off_LOC.B211, Other, 80,0, Millimeters | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-FLT-103 |  | UEM,Filter, LOC.B.170, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-6183B-WSK-002 |  | UEM,System Valve, n.2, downstream of fire pump, Gate, 8.0, Inches IN | 1 | EA | K30 | K3010130.19657 | GESKTRF | MUELLER | 8" |  | SIGONELLA
6-GD-VLV-241 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.273, Ball, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | TIEMME |  | SIGONELLA
6-FP-PNL-605 |  | UEM,Control System, Jockey Pump, Panel | 1 | EA | K30 | K3020110.15659 | GESKTRF | JOSLYN HI-VOLTAGE | JOSLYN CLARK | A60-303649-9 | SIGONELLA
6-GD-VLV-216 |  | UEM,System Valve, ISOLATION_LOC.B.213, Ball, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-GD-GMT-105 |  | UEM,Mechanical Meter, LOC.B.173, Delivery, Other, 40.0, Millimeters | 1 | EA | N10 | N1020100.15445 | GESKTRF |  | ELSTER - BK-G16MT | 30997238 | SIGONELLA
6-429-MH-001 |  | UEM,Underground Structure, 6-2-429-WW-OWS-01, Manhole | 1 | EA | M30 |  | GESKTRF |  |  |  | SIGONELLA
UMA045000083 |  | UEM,System Valve, 6-2-832-CV-S-02, Check, 180.0, Millimeters | 1 | EA | M10 | M1020120.14857 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
6-GD-VLV-117 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.170, Ball, 100.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-FP-P-1001 |  | UEM,Pump, Fire, red coated, steel, Centrifugal, 1,250.0, Gallons Per Minute | 1 | EA | K30 | K3020110.15501 | GESKTRF | SAARMSTRONGLTD | 8X6X12.5HF 4600F |  | SIGONELLA
6-GD-VLV-107 |  | UEM,System Valve, INLET ISOLATION_LOC.B.158, Ball, 32.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | ATHENA |  | SIGONELLA
UMA044000412 |  | SYSTEM VALVE, GV_NG_612_WEST, OTHER, 000, MILLIMETERS | 1 | EA | N10 | N1020100.18027 | GESKTRF | UNKNOWN | UNKNOWN | UNKNOWN | SIGONELLA
6-234-MCC-001 |  | UEM,Control System, 6-1-234-MCC-S-01, Motor Control | 1 | EA | M10 | M1020100.15835 | GESKTRF | UNKNOWN | N/A |  | SIGONELLA
6-GD-FLT-001 |  | UEM,Filter, MAIN RAMP, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-GD-GMT-203 |  | UEM,Mechanical Meter, LOC.B.213, Delivery, Other, 50.0, Millimeters | 1 | EA | N10 | N1020100.15445 | GESKTRF |  | ELSTER - BK-G6MT | 30997234 | SIGONELLA
6-GD-VLV-127 |  | UEM,System Valve, OVER PRESSURE_LOC.B.173, Other, 20.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | TECNOGAS |  | SIGONELLA
6-GD-VLV-311 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.314, Other, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | GIULIANI ANELLO - MSV200 | 0100085001 | SIGONELLA
6-FP-V-604 |  | UEM,System Valve, Close to Pump n.1, on 600mm main, elevatedwith tamper switch, Gate, 600.0, Millime | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | G8 WITH TAMPER SWITCH |  | SIGONELLA
6-GD-VLV-223 |  | UEM,System Valve, INLET ISOLATION_LOC.B.225, Ball, 100.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-431-LST-002 |  | UEM,Pump, 6-2-431-PUMP-01, Centrifugal, 420.0, Liters Per Minute | 1 | EA | M10 | M1020120.15481 | GESKTRF | FLYGT | 3069-160-1 | 1880424 | SIGONELLA
6-585-PMP-008 | CBQ | UEM,Pump, 6-585-PMP-008, Centrifugal, 8.0, Cubic Meters Per Hour | 1 | EA | M10 |  | GESKTRF | WILO | GPH-2MHIL505-T | 17W10/583174 | SIGONELLA
6-FP-V-1003 |  | UEM,System Valve, Listed fire, Supply main line, red coated, with tamper switch, Gate, 8.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | GATE VALVE, KS FW 200 8" WITH TAMPER SWITCH |  | SIGONELLA
6-6184B-EPN-002 | PW ADMIN | UEM,Control System, Motor Control | 1 | EA | K10 | K1010250.23337 | GESKTRF | TORNATECH | JP3-415-2/3/50 |  | SIGONELLA
6-402-VLV-006 | PW UTIL | UEM,System Valve, 6-402-VLV-006, Gate, 150.0, Millimeters | 1 | EA | M10 | M1010100.15075 | GESKTRF | GRINNELL | DN80 | 5646648 | SIGONELLA
6-FP-CV-604 |  | UEM,System Valve, Pump n.4, Check, 6.0, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | KENNEDY | UNKNOWN |  | SIGONELLA
6-GD-GMT-001 |  | UEM,Mechanical Meter, MAIN RAMP, Delivery, Turbine, 150.0, Millimeters | 1 | EA | N10 | N1020100.18401 | GESKTRF |  | ROMET - G1000 | 140290 | SIGONELLA
6-GD-FLT-204 |  | UEM,Filter, LOC.B.220, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-FP-V-605 |  | UEM,System Valve, pump n.1, with tamper switch, Gate, 10.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-GD-VLV-312 |  | UEM,System Valve, OVER PRESSURE_LOC.B.314, Other, 20.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | TECNOGAS |  | SIGONELLA
6-FP-PRV-605 |  | UEM,System Valve, Safety valve, Pressure Regulating, Pump n.4, Other, 6.0, Inches | 1 | EA | K30 | K3020110.30779 | GESKTRF | WATTS |  |  | SIGONELLA
6-GD-VLV-213 |  | UEM,System Valve, Earthquake_LOC.B.213, Other, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-622-GMT-001 |  | UEM,Mechanical Meter, 6-622-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF | ELSTER |  |  | SIGONELLA
6-GD-FLT-101 |  | UEM,Filter, LOC.B.156, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
UMA044000402 |  | CONTROL VALVE, EU_6S_NG_BL_173_1, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | G25 | 9569903-2012 | SIGONELLA
6-6183B-WSK-001 |  | UEM,System Valve, n.1, upstream of fire pump, Gate, 8.0, Inches IN | 1 | EA | K30 | K3010130.19657 | GESKTRF | MUELLER | 8" |  | SIGONELLA
6-FP-MCC-1004 |  | UEM,Control System, Electrical fire pump controller, Motor Control | 1 | EA | K30 | K3020110.15655 | GESKTRF | FIRETROL | MARK II - FTA1300-AM100FZ |  | SIGONELLA
6-229-PUMP-012 |  | UEM,Pump, 6-1-229-PUMP-S-001, EQ_TANK-PUMP 1, Centrifugal, 330.0, Liters Per Minute | 1 | EA | M10 | M1010110.15539 | GESKTRF | FLYGT | CP 3085 |  | SIGONELLA
6-231-PMP-002 | PW PWO | UEM,Pump, Sump, Submersible, 24.0, Cubic Meters Per Hour | 1 | EA | M10 |  | GESKTRF | DAB | VS 1000T-NA |  | SIGONELLA
6-FP-PRV-601 |  | UEM,System Valve, Safety valve, Pressure Regulating, Wet System Alarm, Riser pipe, Other, 6.0, Inche | 1 | EA | K30 | K3020110.30779 | GESKTRF | VIKING | N/A | N/A | SIGONELLA
6-GD-VLV-319 |  | UEM,System Valve, Automatic Solenoid Shut-Off_LOC.B.315, Other, 100.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-FP-V-405 |  | UEM,System Valve, Fire, red coated, bypass, Gate, 8.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | MUELLER | 8" FLG GV O/L R2360-06 OS&Y WITH TAMPER SWITCH | (080R236006LH) | SIGONELLA
6-231-EPN-001 | HRO | UEM,Low Voltage Breaker Panel, LVP, Pole Mounted | 1 | EA | M10 |  | GESKTRF |  |  |  | SIGONELLA
6-6184B-MSS-001 | PW ADMIN | UEM,Instrumentation, Power/Control Panel for Fire Pump, Controller | 1 | EA | K10 | K1010250.30785 | GESKTRF | TORNATECH | GPY-415-60-3-50 |  | SIGONELLA
6-GD-GMT-301 |  | UEM,Mechanical Meter, LOC.B.313, Delivery, Other, 40.0, Millimeters | 1 | EA | N10 | N1020100.15445 | GESKTRF | ELSTER | BK-G16M | 32109730 | SIGONELLA
6-FP-V-615 |  | UEM,System Valve, pump n.4, elevated, with tamper switch, Gate, 10.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-720-GMT-001 |  | UEM,Mechanical Meter, 6-720-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF | ELSTER |  |  | SIGONELLA
6-GD-VLV-316 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.315, Other, 60.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-FP-V-1004 |  | UEM,System Valve, Listed fire, bypass, red coated, with tamper switch, Gate, 8.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | GATE VALVE, KS FW 200 8" WITH TAMPER SWITCH |  | SIGONELLA
6-2104-MSS-002 | NCTAMS | UEM,Control System, Motor Control Panel Fire Pump 2-FP2, Motor Control | 1 | EA | K30 |  | GESKTRF | METRON | MP430-75KW-400 | N53474-01/17923002 | SIGONELLA
6-620-GMT-001 | PW BSVE | UEM,Mechanical Meter, 6-620-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF | ELSTER |  |  | SIGONELLA
6-FP-MCC-1002 |  | UEM,Control System, for jockey pump, 400V, 4kW, 8.1A, 50hz, Motor Control | 1 | EA | K30 | K3020110.15655 | GESKTRF |  | DEL MIGLIO CARLO - ADJ/5/NFPA | 0196 (2005) | SIGONELLA
6-FP-PNL-601 |  | UEM,Control System, Diesel Pump Controller#1, Motor Control | 1 | EA | K30 | K3020110.15655 | GESKTRF | JOSLYN HI-VOLTAGE | A1070 | 7292423 | SIGONELLA
UMA044000403 |  | CONTROL VALVE, EU_6S_NG_BL_172_1, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | G25 | 9569904/2012 | SIGONELLA
UMA045000040 |  | SYSTEM VALVE, GV-1, GATE, 100, MILLIMETERS | 1 | EA | M10 | M1020120.14859 | GESKTRF | VALVOTUBI | DN100 | N/A | SIGONELLA
6-832-EPN-001 |  | UEM,Control System, 6-2-832-MCC-S-01, Motor Control | 1 | EA | M10 | M1020120.15641 | GESKTRF |  |  |  | SIGONELLA
6-585-PMP-006 | CBQ | UEM,Pump, 6-585-PMP-006, Centrifugal, 8.0, Cubic Meters Per Hour | 1 | EA | M10 |  | GESKTRF | WILO | MHIL-505-E-3-400-50-2/MOD/IE3 | 4110342/16W39 | SIGONELLA
6-FP-PRV-604 |  | UEM,System Valve, Safety valve, Pressure Regulating, Pump n.3, Other, 6.0, Inches | 1 | EA | K30 | K3020110.30779 | GESKTRF | WATTS |  |  | SIGONELLA
UMA045000070 | PW UTIL | UEM,Pump, 234-PUMP-2, Centrifugal, 500.0, Liters Per Minute | 1 | EA | M10 | M1020120.15481 | GESKTRF | KSB | AMAREX NF 65-170/042 ULG-152 | - | SIGONELLA
6-FP-CV-602 |  | UEM,System Valve, Pump n.2, Check, 6.0, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | KENNEDY | UNKNOWN |  | SIGONELLA
6-GD-VLV-229 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.225, Ball, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-229-PUMP-011 |  | UEM,Pump, 6-1-229-PUMP-S-003 EQ_TANK-PUMP 3, Centrifugal, 330.0, Liters Per Minute | 1 | EA | M10 | M1010110.15539 | GESKTRF | FLYGT | CP 3085 |  | SIGONELLA
UMA044000416 |  | CONTROL VALVE, 6S_NG_722, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | FIRENZE | 54138204/2002 | SIGONELLA
6-GD-VLV-234 |  | UEM,System Valve, OVER PRESSURE_LOC.B.272, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-240 |  | UEM,System Valve, Earthquake_LOC.B.273, Other, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-402-VLV-005 | PW UTIL | UEM,System Valve, 6-402-VLV-005, Check, 150.0, Millimeters | 1 | EA | M10 | M1010100.18037 | GESKTRF | GRINNELL | DN80 | NA | SIGONELLA
6-GD-GMT-104 |  | UEM,Mechanical Meter, LOC.B.172, Delivery, Other, 40.0, Millimeters | 1 | EA | N10 | N1020100.15445 | GESKTRF |  | ELSTER - BK-G16MT | 30997238 | SIGONELLA
6-GD-VLV-134 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.175, Other, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | GIULIANI ANELLO |  | SIGONELLA
UMA045000044 |  | UEM,Pump, P-1, Centrifugal, 720.0, Liters Per Minute | 1 | EA | M10 | M1020120.15481 | GESKTRF | KSB | N/A | N/A | SIGONELLA
6-2104-MSS-002 | NCTAMS | UEM,Control System, Motor Control Panel Fire Pump 2-FP2, Motor Control | 1 | EA | K30 |  | GESKTRF | METRON | MP430-75KW-400 | N53474-01/17923002 | SIGONELLA
6-FP-V-404 |  | UEM,System Valve, Fire, red coated, with tamper switch, raiser pipe, Gate, 8.0, Inches IN | 1 | EA | K30 | K3020110.14883 | GESKTRF | MUELLER | 8" FLG GV O/L R2360-06 OS&Y WITH TAMPER SWITCH | 080R236006LH | SIGONELLA
6-231-PMP-001 | PW PWO | UEM,Pump, Sump, Submersible, 24.0, Cubic Meters Per Hour | 1 | EA | M10 |  | GESKTRF | DAB | VS 1000T-NA |  | SIGONELLA
UMA044000405 |  | CONTROL VALVE, S6_NG_618, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | G40 | 7428420-2010 | SIGONELLA
6-FP-P-1004 |  | UEM,Pump, Fire, red coated, steel, Centrifugal, 1,250.0, Gallons Per Minute | 1 | EA | K30 | K3020110.15501 | GESKTRF | SAARMSTRONGLTD | 8X6X10LF 4600F | 527933 - FP/S1 | SIGONELLA
6-6183-WSK-003 |  | UEM,System Valve, Between fire pump and gate valve n.2, Check, 8.0, Inches IN | 1 | EA | K30 | K3010130.19659 | GESKTRF | MUELLER | 8" |  | SIGONELLA
6-GD-VLV-124 |  | UEM,System Valve, INLET ISOLATION_LOC.B.173, Ball, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | TOPGAS |  | SIGONELLA
UMA045000049 |  | UEM,Control System, 6-2-565-MCC-S-01, Motor Control | 1 | EA | M10 | M1020120.15641 | GESKTRF | TREND CONTROL SYSTEMS | IQ412 | N/A | SIGONELLA
UMA045000045 |  | UEM,Pump, P-2, Centrifugal, 720.0, Liters Per Minute | 1 | EA | M10 | M1020120.15481 | GESKTRF | KSB | N/A | N/A | SIGONELLA
6-402-WWT-005 | PW UTIL | UEM,Pump, 6-2-402-PMP-S-005 PUMP 5, Centrifugal, 660.0, Liters Per Minute | 1 | EA | M10 | M1010110.15539 | GESKTRF | FLYGT | CP 3085 | 182/0460425 | SIGONELLA
6-429-LC-001 |  | UEM,Instrumentation, 6-2-429-MLS-OWS-001 Fisical Level sensor HHL HL LL, Switch | 1 | EA | M30 |  | GESKTRF |  |  |  | SIGONELLA
6-2104-PSK-001 | NCTAMS | UEM,Pump, Sprinkler system Fire Pump #1, Centrifugal, 2.0 AA, Liters Per Hour | 1 | EA | K30 |  | GESKTRF |  | HUIS POMPEN - HGRL100-250 |  | SIGONELLA
6-GD-VLV-125 |  | UEM,System Valve, Earthquake_LOC.B.173, Other, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-6184B-EPN-002 | PW ADMIN | UEM,Control System, Motor Control | 1 | EA | K10 | K1010250.23337 | GESKTRF | TORNATECH | JP3-415-2/3/50 |  | SIGONELLA
6-FP-PNL-01 |  | UEM,Low Voltage Breaker Panel, Fire Pump Controller, Wall Mounted | 1 | EA | K30 |  | GESKTRF | TORNATECH | GPDN12 F BCE 10 | Z 43473 | SIGONELLA
UMA044000414 |  | SYSTEM VALVE, GV_NG_612_SOUTH, OTHER, 000, MILLIMETERS | 1 | EA | N10 | N1020100.18027 | GESKTRF | UNKNOWN | UNKNOWN | UNKNOWN | SIGONELLA
UMA044000411 |  | SYSTEM VALVE, GV_NG_414, OTHER, 000, MILLIMETERS | 1 | EA | N10 | N1020100.18027 | GESKTRF | UNKNOWN | UNKNOWN | UNKNOWN | SIGONELLA
6-GD-GMT-102 |  | UEM,Mechanical Meter, LOC.B.158, Delivery, Other, 32.0, Millimeters | 1 | EA | N10 | N1020100.15445 | GESKTRF |  | ELSTER- BK G10M | 32109717 | SIGONELLA
6-GD-VLV-214 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.213, Other, 20.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | PIETRO FIORENTINI - FE 25 | 201101/18970 | SIGONELLA
6-FP-V-608 |  | UEM,System Valve, pump n.2, with tamper switch, Gate, 10.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-GD-VLV-001 |  | UEM,System Valve, INLET ISOLATION_MAIN RAMP, Ball, 150.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | TOPGAS |  | SIGONELLA
UMA044000409 |  | CONTROL VALVE, 6S_NG_725, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | FIRENZE | 54234643 | SIGONELLA
6-1023-LST-002 |  | UEM,Pump, SUBMERSIBLE PUMP 2, Submersible, 870.0, Liters Per Minute | 1 | EA | M10 | M1020120.15503 | GESKTRF | LOWARA | 1320 VORTEX |  | SIGONELLA
UMA045000077 |  | UEM,Pump, 6-2-832-PUMP-S-01, Centrifugal, 450.0, Liters Per Minute | 1 | EA | M10 | M1020120.15481 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
6-GD-VLV-242 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.273, Other, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
UMA045000081 |  | UEM,System Valve, 6-2-832-GV-S-03, Gate, 180.0, Millimeters | 1 | EA | M10 | M1020120.14859 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
UMA044000398 |  | CONTROL VALVE, 6S_NG_220, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | G40 | 666816-2004 | SIGONELLA
UMA044000404 |  | CONTROL VALVE, 6S_NG_273, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF | ELSTER | INSTROMET | 80085642 | SIGONELLA
6-EL-BATT-805 |  | UEM,Battery System, ESSHS2SUB-UPS-2, UPS, Lead-acid | 1 | EA | J10 | J1010190.26493 | GESKTRF | LEGRAND | UNKNOWN | UNKNOWN | SIGONELLA
6-FP-V-616 |  | UEM,System Valve, jockey pump, with tamper switch, Gate, 2.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | KSII 8300 - AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-GD-VLV-119 |  | UEM,System Valve, Earthquake_LOC.B.172, Other, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-322 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.313, Other, 40,0, Millimeters | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | MADAS RG/2MC DN40 | 9429 | SIGONELLA
UMA044000407 |  | CONTROL VALVE, S6_NG_624, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF | ELSTER | BK-G65M | 15184357 | SIGONELLA
6-GD-VLV-239 |  | UEM,System Valve, ISOLATION_LOC.B.273, Ball, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
UMA045000062 |  | UEM,System Valve, 6-2-431-CV-S-02, Check, 180.0, Millimeters | 1 | EA | M10 | M1020120.14857 | GESKTRF | UNKNOWN | NA | NA | SIGONELLA
UMA045000082 |  | UEM,System Valve, 6-2-832-CV-S-01, Check, 180.0, Millimeters | 1 | EA | M10 | M1020120.14857 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
6-FP-CV-403 |  | UEM,System Valve, Fire, red coated, Raiser, Check, 2.5, Inches | 1 | EA | K30 | K3020110.14881 | GESKTRF | MUELLER |  |  | SIGONELLA
6-2104-PSK-002 | NCTAMS | UEM,Pump, Sprinkler system Fire Pump #2, Centrifugal, 2.0, Liters Per Hour | 1 | EA | K30 |  | GESKTRF |  | HUIS POMPEN - HGRL100-250 |  | SIGONELLA
UMA045000041 |  | SYSTEM VALVE, GV-2, GATE, 100, MILLIMETERS | 1 | EA | M10 | M1020120.14859 | GESKTRF | VALVOTUBI | DN100 | N/A | SIGONELLA
UMA045000350 | PW UTIL | UEM,Pump, 6-1-229-LS-PUMP-2, Centrifugal, 300.0, Liters Per Minute | 1 | EA | M10 | M1020120.15481 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
6-GD-VLV-232 |  | UEM,System Valve, Earthquake_LOC.B.272, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-402-VLV-013 | PW UTIL | UEM,System Valve, 6-2-402-VLV-S-CV5, Check, 80.0, Millimeters | 1 | EA | M10 | M1010110.15073 | GESKTRF | GRINNELL | DN80 | NA | SIGONELLA
6-2104-MSS-001 | NCTAMS | UEM,Control System, Motor Control Panel Fire Pump 1- FP1, Motor Control | 1 | EA | K30 |  | GESKTRF | METRON | MP430-75KW-400 | N53474-01/17923002 | SIGONELLA
6-FP-PIPE-602 |  | UEM,Pipe, Manifold with 28 fire hose valves, 3.0, Meters | 1 | EA | K30 | K3020110.25631 | GESKTRF | VIKING | N/A |  | SIGONELLA
6-402-WWT-016 | PW UTIL | UEM,Pump, 6-2-402-DGSTR_PMP-S-16 DGSTR-PUMP-16, Centrifugal, 460.0, Liters Per Minute | 1 | EA | M10 | M1010150.15613 | GESKTRF | OTHER | VL-4 | H40029 | SIGONELLA
6-234-PMP-001 | PW UTIL | UEM,Pump, 234-PUMP-1, Centrifugal, 190.0, Cubic Meters Per Hour | 1 | EA | M10 | M1020120.15481 | GESKTRF | KSB | AMAREX NF 65-170/042 ULG-152 |  | SIGONELLA
6-FP-V-613 |  | UEM,System Valve, To Pump n.4, with tamper switch, Gate, 12.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | AWWA200W WITH TAMPER SWITCH |  | SIGONELLA
6-402-VLV-003 | PW UTIL | UEM,System Valve, 6-402-VLV-003, Check, 150.0, Millimeters | 1 | EA | M10 | M1010100.18037 | GESKTRF | GRINNELL | DN80 | NA | SIGONELLA
6-GD-VLV-228 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.225, Other, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | GIULIANI ANELLO | 27086/11 | SIGONELLA
6-229-PUMP-010 |  | UEM,Pump, 6-1-229-PUMP-S-002 EQ_TANK-PUMP 2, Centrifugal, 330.0, Liters Per Minute | 1 | EA | M10 | M1010110.15539 | GESKTRF | FLYGT | CP 3085 |  | SIGONELLA
6-GD-FLT-301 |  | UEM,Filter, LOC.B.313, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF | CALEFFI | FM DN 40 | 2013/00022 | SIGONELLA
UMA044000413 |  | SYSTEM VALVE, GV_NG_612_EAST, OTHER, 000, MILLIMETERS | 1 | EA | N10 | N1020100.18027 | GESKTRF | UNKNOWN | UNKNOWN | UNKNOWN | SIGONELLA
6-582-ULS-S-01 |  | UEM,Instrumentation, 6-2-582-ULS-S-01 ULTRASONIC LEVEL SENSOR, Switch | 1 | EA | M10 | M1020120.16219 | GESKTRF |  |  |  | SIGONELLA
UMA044000408 |  | CONTROL VALVE, 6S_NG_720, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | FIRENZE | 59023628 | SIGONELLA
6-2104-MSS-001 | NCTAMS | UEM,Control System, Motor Control Panel Fire Pump 1- FP1, Motor Control | 1 | EA | K30 |  | GESKTRF | METRON | MP430-75KW-400 | N53474-01/17923002 | SIGONELLA
6-FP-PLC-601 |  | UEM,Control System, Generator ATS, PLC | 1 | EA | K30 | K3020110.30781 | GESKTRF |  | TECNOELETTRA 637A RS | 004-258/2021 | SIGONELLA
6-GD-VLV-105 |  | UEM,System Valve, Automatic Solenoid Shut-Off_LOC.B.156, Other, 100.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-230 |  | UEM,System Valve, Outlet Boiler Isolation_LOC.B.225, Ball, 63.0, Millimeters | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-229-MCC-001 |  | UEM,Control System, 6-1-229-MCC-S-01 EQUALIZATION_TANK-MCC-01, Motor Control | 1 | EA | M10 | M1010110.15737 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-118 |  | UEM,System Valve, INLET ISOLATION_LOC.B.172, Ball, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | CIM 11/G |  | SIGONELLA
6-FP-TNK-01 |  | UEM,Tank, AST6183, Above Ground, Steel, Diesel | 1 | EA | K30 |  | GESKTRF | LANCASTER |  |  | SIGONELLA
6-GD-VLV-126 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.173, Other, 32.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-725-GMT-001 |  | UEM,Mechanical Meter, 6-725-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF | ELSTER |  |  | SIGONELLA
6-GD-VLV-129 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.173, Ball, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
UMA045000351 | PW UTIL | UEM,Control System, 6-1-229-LS-PNL, Motor Control | 1 | EA | M10 | M1020120.15641 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
6-560-GMT-001 |  | UEM,Mechanical Meter, 6-560-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF | ELSTER |  |  | SIGONELLA
6-GD-VLV-207 |  | UEM,System Valve, Earthquake_LOC.B.212, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-227 |  | UEM,System Valve, Earthquake_LOC.B.225, Other, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-429-MCC-001 |  | UEM,Control System, 6-2-442-MCC-OWS-001, Motor Control | 1 | EA | M30 |  | GESKTRF |  |  |  | SIGONELLA
6-GD-GMT-101 |  | UEM,Mechanical Meter, LOC.B.156, Delivery, Turbine, 100.0, Millimeters | 1 | EA | N10 | N1020100.18401 | GESKTRF | ROMET | G400 | 140295 | SIGONELLA
6-229-VLV-002 |  | UEM,System Valve, 6-1-229-EQ_OUT_VLV-S-02 EQ_OUT-CV-VALVE-2, Check, 4.0, Inches | 1 | EA | M10 | M1010110.15073 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-102 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.156, Other, 60.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-220 |  | UEM,System Valve, Earthquake_LOC.B.220, Other, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-FP-VLV-01 |  | UEM,System Valve, Fire pump OSY 8" Shut Off, Gate, Inches IN | 2 | EA | K30 |  | GESKTRF | VIKING PUMPS |  |  | SIGONELLA
6-GD-VLV-224 |  | UEM,System Valve, ISOLATION_LOC.B.225, Ball, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | ALFA VALVOLE |  | SIGONELLA
6-GD-FLT-207 |  | UEM,Filter, LOC.B.273, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
UMA044000406 |  | CONTROL VALVE, S6_NG_620, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | G40 | 6785178-2006 | SIGONELLA
6-GD-VLV-205 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.211, Ball, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-6183-WSK-003 |  | UEM,System Valve, Between fire pump and gate valve n.2, Check, 8.0, Inches IN | 1 | EA | K30 | K3010130.19659 | GESKTRF | MUELLER | 8" |  | SIGONELLA
6-FP-V-1002 |  | UEM,System Valve, Listed fire main, red coated, with tamper switch, Gate, 8.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | O5YSU-2 KS FW 8" WITH TAMPER SWITCH |  | SIGONELLA
UMA045000042 |  | SYSTEM VALVE, CV-1, CHECK, 100, MILLIMETERS | 1 | EA | M10 | M1020120.14857 | GESKTRF | VALVOTUBI | DN100 | N/A | SIGONELLA
6-722-GMT-001 |  | UEM,Mechanical Meter, 6-722-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF | ELSTER |  |  | SIGONELLA
UMA045000080 |  | UEM,System Valve, 6-2-832-GV-S-02, Gate, 180.0, Millimeters | 1 | EA | M10 | M1020120.14859 | GESKTRF | UNKNOWN | N/A | NA | SIGONELLA
6-GD-VLV-128 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.173, Other, 40.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | GIULIANI ANELLO - MSV112 | 010.0084.001 | SIGONELLA
6-GD-GMT-206 |  | UEM,Mechanical Meter, LOC.B.273, Delivery, Turbine, 80.0, Millimeters | 1 | EA | N10 | N1020100.18401 | GESKTRF |  | ROMET | 6140394 | SIGONELLA
6-FP-V-602 |  | UEM,System Valve, jockey pump, with tamper switch, Gate, 3.0, Inches | 1 | EA | K30 | K3020110.14883 | GESKTRF | KENNEDY | KSII 8300 - AWWA200W WITH TAMPER SWITCH | N/A | SIGONELLA
6-1023-LST-001 |  | UEM,Pump, 6-2-1023-PUMP-S-001; SUBMERSIBLE PUMP 1, Submersible, 870.0, Liters Per Minute | 1 | EA | M10 | M1020120.15503 | GESKTRF | LOWARA | 1320 VORTEX |  | SIGONELLA
6-GD-VLV-209 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.212, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
UMA044000401 |  | CONTROL VALVE, 65_NG_157, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | G25 | 6060641 | SIGONELLA
6-GD-VLV-131 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.175, Other, 32.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-106 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.156, Ball, 100.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-FP-MTR-1004 |  | UEM,Motor, Electric, for Pump 6-FP-P-1004, Induction, 100.0 HP, 2,960.0 RPM | 1 | EA | K30 | K3020110.14753 | GESKTRF | MARELLIMOTORI | A4C 280 M2-B3 | R025722 -09/2005 (A4C2841A10822 6314-Z-C3) | SIGONELLA
6-FP-MCC-1001 | NEX | UEM,Control System, Diesel Pump Control Panel, Motor Control | 1 | EA | K30 | K3020110.15655 | GESKTRF | FIRETROL INC | FTA1100-JL24N MARK II DIESEL CONTROL |  | SIGONELLA
6-GD-GMT-303 |  | UEM,Mechanical Meter, LOC.B.315, Delivery, Turbine, 100.0, Millimeters | 1 | EA | N10 | N1020100.18401 | GESKTRF | ROMET |  |  | SIGONELLA
6-GD-VLV-313 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.314, Ball, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  | ATHENA |  | SIGONELLA
6-6184B-MSS-001 | PW ADMIN | UEM,Instrumentation, Power/Control Panel for Fire Pump, Controller | 1 | EA | K10 | K1010250.30785 | GESKTRF | TORNATECH | GPY-415-60-3-50 |  | SIGONELLA
UMA044000397 |  | CONTROL VALVE, 6S_NG_212, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF | SAMGAS | RS/2001AL | 3866495/2008 | SIGONELLA
6-GD-FLT-102 |  | UEM,Filter, LOC.B.158, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-115 |  | UEM,System Valve, Earthquake_LOC.B.170, Other, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-208 |  | UEM,System Valve, Automatic Solenoid Shut-Off_LOC.B212, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-FP-MTR-602 |  | UEM,Engine, for Pump 6-FP-P-602, 6 cylinders, Diesel, 208.0 HP | 1 | EA | K30 | K3020110.25807 | GESKTRF | CUMMINS | 6BTA 5.9 F1 | 45136629 | SIGONELLA
6-6183B-WSK-001 |  | UEM,System Valve, n.1, upstream of fire pump, Gate, 8.0, Inches IN | 1 | EA | K30 | K3010130.19657 | GESKTRF | MUELLER | 8" |  | SIGONELLA
6-FP-P-603 |  | UEM,Pump, Impeller, n.3, Fire, red coated, steel, 1780 RPM, Centrifugal, 2,000.0, Gallons Per Minute | 1 | EA | K30 | K3020110.15501 | GESKTRF |  | REDDY BUFFALOES PUMP - 8X8LDF | 45130263 | SIGONELLA
6-GD-GMT-302 |  | UEM,Mechanical Meter, LOC.B.314, Delivery, Other, 50.0, Millimeters | 1 | EA | N10 | N1020100.15445 | GESKTRF | ELSTER | BK-G25M | 32142482 | SIGONELLA
6-623-GMT-001 |  | UEM,Mechanical Meter, 6-623-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF | ELSTER |  |  | SIGONELLA
6-402-EQP-002 | PW UTIL | UEM,Control System, 6-2-402-MCC1-S-01, Motor Control | 1 | EA | M10 | M1010270.15735 | GESKTRF | UNKNOWN | Q-MCC-1-ANS | 4493 | SIGONELLA
UMA045000955 | PW UTIL | UEM,Pump, 6-1-229-T1-LS_PUMP-1, Centrifugal, 1.55, Cubic Meters Per Hour | 1 | EA | M10 | M1010130.20137 | GESKTRF | FLYGT | NA | NA | SIGONELLA
6-229-VLV-007 |  | UEM,System Valve, 6-1-229-EQ_OUT_VLV-S-07 EQ_OUT-CV-VALVE-7, Check, 4.0, Inches | 1 | EA | M10 | M1010110.15073 | GESKTRF |  |  |  | SIGONELLA
6-FP-MTR-604 |  | UEM,Engine, for Pump 6-FP-P-604, 6 cylinders, Diesel, 208.0 HP | 1 | EA | K30 | K3020110.25807 | GESKTRF | CUMMINS | 6BTA 5.9 F1 | 95-3065LDF8 | SIGONELLA
6-GD-VLV-238 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.273, Other, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-FLT-303 |  | UEM,Filter, LOC.B.315, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-FP-V-402 |  | UEM,System Valve, Fire, red coated, with tamper switch, bypass, right side,, Gate, 8.0, Inches IN | 1 | EA | K30 | K3020110.14883 | GESKTRF | MUELLER | 8" FLG GV O/L R2360-06 OS&Y WITH TAMPER SWITCH | 080R236006LH | SIGONELLA
6-GD-FLT-203 |  | UEM,Filter, LOC.B.213, Cartridge | 1 | EA | N10 | N1020100.25823 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-203 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.211, Other, 15.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | PIETRO FIORENTINI |  | SIGONELLA
UMA044000415 |  | CONTROL VALVE, 6S_NG_622, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF |  | G65 | 6654388-2007 | SIGONELLA
6-2104-PSK-001 | NCTAMS | UEM,Pump, Sprinkler system Fire Pump #1, Centrifugal, 2.0 AA, Liters Per Hour | 1 | EA | K30 |  | GESKTRF |  | HUIS POMPEN - HGRL100-250 |  | SIGONELLA
6-GD-VLV-222 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.220, Other, 50.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-210 |  | UEM,System Valve, ISOLATION_LOC.B.212, Ball, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-563-GMT-001 |  | UEM,Mechanical Meter, 6-563-GMT-001, Delivery, Orifice | 1 | EA | N10 | N1020100.18413 | GESKTRF |  |  |  | SIGONELLA
6-229B-SWP-001 | PWWASWTR | UEM, Control System, Lift station Pump Control Panel | 1 | EA | M10 | M1020120.15731 | GESKTRF |  | SAREL |  | SIGONELLA
6-GD-VLV-237 |  | UEM,System Valve, INLET ISOLATION_LOC.B.273, Ball, 80.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-211 |  | UEM,System Valve, OUTLET ISOLATION_LOC.B.212, Ball, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18021 | GESKTRF |  |  |  | SIGONELLA
6-GD-VLV-218 |  | UEM,System Valve, Automatic Solenoid Shut-off_LOC.B.213, Other, 32.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-402-VLV-001 | PW UTIL | UEM,System Valve, 6-402-VLV-001, Check, 150.0, Millimeters | 1 | EA | M10 | M1010100.18037 | GESKTRF | GRINNELL | DN150 | NA | SIGONELLA
6-GD-VLV-310 |  | UEM,System Valve, PRESSURE REGULATING_LOC.B.314, Other, 20.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  |  |  | SIGONELLA
6-156-GSL-001 | PW UTIL | CONTROL VALVE, 6S_NG_156, FLOW CONTROL | 1 | EA | N10 | N1020100.18273 | GESKTRF | ELSTER | ELKRO GAS | 80058617/2003 | SIGONELLA
6-402-WWT-037 | PW UTIL | UEM,Mixer, W-ANX-MX-2 6-2-402-MIXER-S02, Rotary | 1 | EA | M10 | M1010150.20989 | GESKTRF | FLYGT | SR-4640 | 410/0440217 | SIGONELLA
6-431-LST-003 |  | UEM,Pump, 6-2-431-PUMP-02, Centrifugal, 720,0, Liters Per Minute | 1 | EA | M10 | M1020120.15481 | GESKTRF | FLYGT | 3069.160 | 2050410 | SIGONELLA
UMA045000048 |  | UEM,Underground Structure, 6-2-565-WET WELL-S-01, Wet Well | 1 | EA | M10 | M1020120.14411 | GESKTRF |  | N/A | N/A | SIGONELLA
6-GD-VLV-317 |  | UEM,System Valve, OVER PRESSURE_LOC.B.315, Other, 25.0, Millimeters, 1 YR | 1 | EA | N10 | N1020100.18027 | GESKTRF |  | TECNOGAS |  | SIGONELLA
6-429-MH-002 |  | UEM,Underground Structure, 6-2-429-WW-OWS-02, Manhole | 1 | EA | M30 |  | GESKTRF |  |  |  | SIGONELLA
Overall - Summary |  |  | 372 |  |  | Overall - Summary